## QAQC
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Column efficiency | DILUTION BY OXIDATION REAGENT | Analyst QUALITY CODE NO3-N: | Analyst NOTES: | NO3-N-- determined concentration | NO3-N-- blank corrected | NO3-N-- dilution corrected | NO3-N- % Error in check stds | NO3-N- DQO (<=20%) | NO3-N- RPD of duplicates | NO3-N- DQO (<=20% if conc>LOQ) | NO3-N- PR of spikes | NO3-N- DQO (80-120%) if conc>LOQ | Analyst QUALITY CODE PO4-P: | Analyst NOTES: | PO4-P-- determined concentration | PO4-P-- blank corrected | PO4-P-- dilution corrected | PO4-P- % Error in check stds | PO4-P- DQO (<=20%) | PO4-P- RPD of duplicates | PO4-P- DQO (<=20% if conc>LOQ) | PO4-P- PR of spikes | PO4-P- DQO (80-120%) if conc>LOQ | original order
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | dye | S16 | 1 | 1 | TP | ug P/L | 0.0892 | 1.08 | 12.8 | TN | ug N/L | -0.0154 | -0.249 | -130 |  | 1 | 1 |  | 12.8 | 12.8 | 12.8 | [6 empty] | 1 |  | -130 | -130 | -130 | [6 empty] | 1
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | dye | S16 | 1 | 1 | TP | ug P/L | 0.0838 | 1.02 | 10.8 | TN | ug N/L | -0.0113 | -0.126 | -117 |  | 1 | 1 |  | 10.8 | 10.8 | 10.8 | [6 empty] | 1 |  | -117 | -117 | -117 | [6 empty] | 2
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | nitrite in water | S1 | 1 | 1 | TP | ug P/L | 0.0952 | 1.18 | 15.9 | TN | ug N/L | 0.604 | 8.84 | 823 | 101.9231 | 1 | 1 |  | 15.9 | 15.9 | 15.9 | [6 empty] | 1 |  | 823 | 823 | 823 | [6 empty] | 3
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | nitrate in water | S2 | 1 | 1 | TP | ug P/L | 0.0952 | 1.17 | 15.4 | TN | ug N/L | 0.624 | 9.01 | 840 |  | 1 | 1 |  | 15.4 | 15.4 | 15.4 | [6 empty] | 1 |  | 840 | 840 | 840 | [6 empty] | 4
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0938 | 1.12 | 14 | TN | ug N/L | 0.00993 | -0.00511 | -104 |  | 1 | 1 |  | 14 | 14 | 14 | [6 empty] | 1 |  | -104 | -104 | -104 | [6 empty] | 5
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | bisulfate carrier | S4 | 1 | 1 | TP | ug P/L | 0.00846 | 0.108 | -16.6 | TN | ug N/L | -0.0179 | -0.191 | -124 |  | 1 | 1 |  | -16.6 | -16.6 | -16.6 | [6 empty] | 1 |  | -124 | -124 | -124 | [6 empty] | 6
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 150 | 1 | 1 | 1 | TP | ug P/L | 0.328 | 5.5 | 150 | TN | ug N/L | 0.7 | 10.6 | 1500 |  | 1 | 1 |  | 150 | 150 | 150 | [6 empty] | 1 |  | 1500 | 1500 | 1500 | [6 empty] | 7
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 150 | 1 | 1 | 1 | TP | ug P/L | 0.323 | 5.46 | 150 | TN | ug N/L | 0.646 | 9.54 | 1500 |  | 1 | 1 |  | 150 | 150 | 150 | [6 empty] | 1 |  | 1500 | 1500 | 1500 | [6 empty] | 8
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 100 | 3 | 1 | 1 | TP | ug P/L | 0.219 | 3.72 | 100 | TN | ug N/L | 0.476 | 6.86 | 1000 |  | 1 | 1 |  | 100 | 100 | 100 | [6 empty] | 1 |  | 1000 | 1000 | 1000 | [6 empty] | 9
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 100 | 3 | 1 | 1 | TP | ug P/L | 0.216 | 3.72 | 100 | TN | ug N/L | 0.475 | 6.91 | 1000 |  | 1 | 1 |  | 100 | 100 | 100 | [6 empty] | 1 |  | 1000 | 1000 | 1000 | [6 empty] | 10
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 50 | 5 | 1 | 1 | TP | ug P/L | 0.117 | 2.02 | 50 | TN | ug N/L | 0.274 | 3.91 | 500 |  | 1 | 1 |  | 50 | 50 | 50 | [6 empty] | 1 |  | 500 | 500 | 500 | [6 empty] | 11
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 50 | 5 | 1 | 1 | TP | ug P/L | 0.116 | 2.03 | 50 | TN | ug N/L | 0.289 | 4.09 | 500 |  | 1 | 1 |  | 50 | 50 | 50 | [6 empty] | 1 |  | 500 | 500 | 500 | [6 empty] | 12
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 25 | 7 | 1 | 1 | TP | ug P/L | 0.066 | 1.18 | 25 | TN | ug N/L | 0.153 | 2.16 | 250 |  | 1 | 1 |  | 25 | 25 | 25 | [6 empty] | 1 |  | 250 | 250 | 250 | [6 empty] | 13
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 25 | 7 | 1 | 1 | TP | ug P/L | 0.0649 | 1.21 | 25 | TN | ug N/L | 0.154 | 2.17 | 250 |  | 1 | 1 |  | 25 | 25 | 25 | [6 empty] | 1 |  | 250 | 250 | 250 | [6 empty] | 14
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 10 | 9 | 1 | 1 | TP | ug P/L | 0.0335 | 0.681 | 10 | TN | ug N/L | 0.0872 | 1.33 | 100 |  | 1 | 1 |  | 10 | 10 | 10 | [6 empty] | 1 |  | 100 | 100 | 100 | [6 empty] | 15
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 10 | 9 | 1 | 1 | TP | ug P/L | 0.0355 | 0.668 | 10 | TN | ug N/L | 0.0841 | 1.35 | 100 |  | 1 | 1 |  | 10 | 10 | 10 | [6 empty] | 1 |  | 100 | 100 | 100 | [6 empty] | 16
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 5 | 11 | 1 | 1 | TP | ug P/L | 0.0254 | 0.512 | 5 | TN | ug N/L | 0.0583 | 1.03 | 50 |  | 1 | 1 |  | 5 | 5 | 5 | [6 empty] | 1 |  | 50 | 50 | 50 | [6 empty] | 17
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 5 | 11 | 1 | 1 | TP | ug P/L | 0.026 | 0.512 | 5 | TN | ug N/L | 0.0518 | 0.935 | 50 |  | 1 | 1 |  | 5 | 5 | 5 | [6 empty] | 1 |  | 50 | 50 | 50 | [6 empty] | 18
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 2.5 | 13 | 1 | 1 | TP | ug P/L | 0.0224 | 0.441 | 2.5 | TN | ug N/L | 0.0379 | 0.656 | 25 |  | 1 | 1 |  | 2.5 | 2.5 | 2.5 | [6 empty] | 1 |  | 25 | 25 | 25 | [6 empty] | 19
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 2.5 | 13 | 1 | 1 | TP | ug P/L | 0.0212 | 0.458 | 2.5 | TN | ug N/L | 0.0393 | 0.687 | 25 |  | 1 | 1 |  | 2.5 | 2.5 | 2.5 | [6 empty] | 1 |  | 25 | 25 | 25 | [6 empty] | 20
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 0 | 15 | 1 | 1 | TP | ug P/L | 0.017 | 0.411 | 0 | TN | ug N/L | 0.0258 | 0.465 | 0 |  | 1 | 1 |  | 0 | 0 | 0 | [6 empty] | 1 |  | 0 | 0 | 0 | [6 empty] | 21
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | cal std 0 | 15 | 1 | 1 | TP | ug P/L | 0.0189 | 0.428 | 0 | TN | ug N/L | 0.0332 | 0.549 | 0 |  | 1 | 1 |  | 0 | 0 | 0 | [6 empty] | 1 |  | 0 | 0 | 0 | [6 empty] | 22
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | nitrite in water | S1 | 1 | 1 | TP | ug P/L | 0.0903 | 1.09 | 22.1 | TN | ug N/L | 0.607 | 8.95 | 1320 |  | 1 | 1 |  | 22.1 | 22.1 | 22.1 | [6 empty] | 1 |  | 1320 | 1320 | 1320 | [6 empty] | 23
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | nitrate in water | S2 | 1 | 1 | TP | ug P/L | 0.101 | 1.27 | 27.7 | TN | ug N/L | 0.612 | 8.98 | 1320 |  | 1 | 1 |  | 27.7 | 27.7 | 27.7 | [6 empty] | 1 |  | 1320 | 1320 | 1320 | [6 empty] | 24
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0936 | 1.11 | 22.9 | TN | ug N/L | 0.0106 | 0.0811 | -60.2 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | [6 empty] | 1 |  | -60.2 | -60.2 | -60.2 | [6 empty] | 25
2023-03-15 | OM_3-15-2023_11-53-23AM.OMN | bisulfate carrier | S4 | 1 | 1 | TP | ug P/L | 0.0072 | 0.0777 | -9.87 | TN | ug N/L | -0.019 | -0.201 | -98 |  | 1 | 1 |  | -9.87 | -9.87 | -9.87 | [6 empty] | 1 |  | -98 | -98 | -98 | [6 empty] | 26
0
0
0
0
0
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | dye | S16 | 1 | 1 | TP | ug P/L | 0.0856 | 1.04 | 20.8 | TN | ug N/L | -0.00845 | -0.0742 | -81.2 |  | 1 | 1 |  | 20.8 | 20.8 | 20.8 | [6 empty] | 1 |  | -81.2 | -81.2 | -81.2 | [6 empty] | 34
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | nitrite in water | S1 | 1 | 1 | TP | ug P/L | 0.0913 | 1.1 | 22.4 | TN | ug N/L | 0.547 | 8.03 | 1160 | 94.7696 | 1 | 1 |  | 22.4 | 22.4 | 22.4 | [6 empty] | 1 |  | 1160 | 1160 | 1160 | [6 empty] | 35
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | nitrate in water | S2 | 1 | 1 | TP | ug P/L | 0.0915 | 1.1 | 22.5 | TN | ug N/L | 0.535 | 7.61 | 1090 |  | 1 | 1 |  | 22.5 | 22.5 | 22.5 | [6 empty] | 1 |  | 1090 | 1090 | 1090 | [6 empty] | 36
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0916 | 1.1 | 22.6 | TN | ug N/L | 0.00455 | -0.0479 | -77.6 |  | 1 | 1 |  | 22.6 | 22.6 | 22.6 | [6 empty] | 1 |  | -77.6 | -77.6 | -77.6 | [6 empty] | 37
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate carrier | S4 | 1 | 1 | TP | ug P/L | 0.00739 | 0.0808 | -9.77 | TN | ug N/L | 0.0212 | 0.66 | 20.1 |  | 1 | 1 |  | -9.77 | -9.77 | -9.77 | [6 empty] | 1 |  | 20.1 | 20.1 | 20.1 | [6 empty] | 38
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank1 | 20 | 1 | 1 | TP | ug P/L | 0.017 | 0.351 | -1.11 | TN | ug N/L | 0.0245 | 0.473 | -5.87 |  | 1 | 1 |  | -1.11 | -1.11 | -1.11 | [6 empty] | 1 |  | -5.87 | -5.87 | -5.87 | [6 empty] | 39
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblan2 | 21 | 1 | 1 | TP | ug P/L | 0.0154 | 0.33 | -1.77 | TN | ug N/L | 0.0269 | 0.473 | -5.77 |  | 1 | 1 |  | -1.77 | -1.77 | -1.77 | [6 empty] | 1 |  | -5.77 | -5.77 | -5.77 | [6 empty] | 40
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank3 | 22 | 1 | 1 | TP | ug P/L | 0.0176 | 0.35 | -1.14 | TN | ug N/L | 0.0261 | 0.466 | -6.83 |  | 1 | 1 |  | -1.14 | -1.14 | -1.14 | [6 empty] | 1 |  | -6.83 | -6.83 | -6.83 | [6 empty] | 41
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank4 | 23 | 1 | 1 | TP | ug P/L | 0.0164 | 0.333 | -1.69 | TN | ug N/L | 0.0282 | 0.407 | -15 |  | 1 | 1 |  | -1.69 | -1.69 | -1.69 | [6 empty] | 1 |  | -15 | -15 | -15 | [6 empty] | 42
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank5 | 24 | 1 | 1 | TP | ug P/L | 0.0165 | 0.379 | -0.225 | TN | ug N/L | 0.0283 | 0.479 | -5.05 |  | 1 | 1 |  | -0.225 | -0.225 | -0.225 | [6 empty] | 1 |  | -5.05 | -5.05 | -5.05 | [6 empty] | 43
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest1 | 25 | 1 | 1 | TP | ug P/L | 0.0942 | 1.63 | 38.8 | TN | ug N/L | 0.209 | 3.06 | 367 |  | 1 | 1 |  | 38.8 | 38.8 | 38.8 | [6 empty] | 1 |  | 367 | 367 | 367 | [6 empty] | 44
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest2 | 26 | 1 | 1 | TP | ug P/L | 0.0935 | 1.66 | 39.9 | TN | ug N/L | 0.229 | 3.19 | 387 |  | 1 | 1 |  | 39.9 | 39.9 | 39.9 | [6 empty] | 1 |  | 387 | 387 | 387 | [6 empty] | 45
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest3 | 27 | 1 | 1 | TP | ug P/L | 0.0945 | 1.66 | 39.7 | TN | ug N/L | 0.232 | 3.54 | 439 |  | 1 | 1 |  | 39.7 | 39.7 | 39.7 | [6 empty] | 1 |  | 439 | 439 | 439 | [6 empty] | 46
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest4 | 28 | 1 | 1 | TP | ug P/L | 0.0921 | 1.65 | 39.5 | TN | ug N/L | 0.221 | 3.14 | 379 |  | 1 | 1 |  | 39.5 | 39.5 | 39.5 | [6 empty] | 1 |  | 379 | 379 | 379 | [6 empty] | 47
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest5 | 29 | 1 | 1 | TP | ug P/L | 0.0946 | 1.69 | 40.6 | TN | ug N/L | 0.222 | 3.2 | 387 |  | 1 | 1 |  | 40.6 | 40.6 | 40.6 | [6 empty] | 1 |  | 387 | 387 | 387 | [6 empty] | 48
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk1 | 30 | 1 | 1 | TP | ug P/L | 0.063 | 1.11 | 22.8 | TN | ug N/L | 0.15 | 2.19 | 239 |  | 1 | 1 |  | 22.8 | 22.8 | 22.8 | [6 empty] | 1 |  | 239 | 239 | 239 | [6 empty] | 49
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk2 | 31 | 1 | 1 | TP | ug P/L | 0.0625 | 1.11 | 22.9 | TN | ug N/L | 0.146 | 2.08 | 222 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | [6 empty] | 1 |  | 222 | 222 | 222 | [6 empty] | 50
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk3 | 32 | 1 | 1 | TP | ug P/L | 0.0644 | 1.1 | 22.7 | TN | ug N/L | 0.14 | 2.09 | 223 |  | 1 | 1 |  | 22.7 | 22.7 | 22.7 | [6 empty] | 1 |  | 223 | 223 | 223 | [6 empty] | 51
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk4 | 33 | 1 | 1 | TP | ug P/L | 0.062 | 1.1 | 22.5 | TN | ug N/L | 0.14 | 2.03 | 215 |  | 1 | 1 |  | 22.5 | 22.5 | 22.5 | [6 empty] | 1 |  | 215 | 215 | 215 | [6 empty] | 52
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk5 | 34 | 1 | 1 | TP | ug P/L | 0.0644 | 1.17 | 24.7 | TN | ug N/L | 0.147 | 2.14 | 231 |  | 1 | 1 |  | 24.7 | 24.7 | 24.7 | [6 empty] | 1 |  | 231 | 231 | 231 | [6 empty] | 53
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s1 | 35 | 1 | 1 | TP | ug P/L | 0.0512 | 0.949 | 17.8 | TN | ug N/L | 0.198 | 2.92 | 345 |  | 1 | 1 |  | 17.8 | 17.8 | 17.8 | [6 empty] | 1 |  | 345 | 345 | 345 | [6 empty] | 54
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s2 | 36 | 1 | 1 | TP | ug P/L | 0.0842 | 1.55 | 36.4 | TN | ug N/L | 0.578 | 8.51 | 1240 |  | 1 | 1 |  | 36.4 | 36.4 | 36.4 | [6 empty] | 1 |  | 1240 | 1240 | 1240 | [6 empty] | 55
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s3 | 37 | 1 | 1 | TP | ug P/L | 0.137 | 2.43 | 63.2 | TN | ug N/L | 0.474 | 6.86 | 963 |  | 1 | 1 |  | 63.2 | 63.2 | 63.2 | [6 empty] | 1 |  | 963 | 963 | 963 | [6 empty] | 56
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s4 | 38 | 1 | 1 | TP | ug P/L | 0.0459 | 0.846 | 14.6 | TN | ug N/L | 0.157 | 2.26 | 248 |  | 1 | 1 |  | 14.6 | 14.6 | 14.6 | [6 empty] | 1 |  | 248 | 248 | 248 | [6 empty] | 57
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s5 | 39 | 1 | 1 | TP | ug P/L | 0.049 | 0.905 | 16.4 | TN | ug N/L | 0.326 | 4.65 | 608 |  | 1 | 1 |  | 16.4 | 16.4 | 16.4 | [6 empty] | 1 |  | 608 | 608 | 608 | [6 empty] | 58
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s6 | 40 | 1 | 1 | TP | ug P/L | 0.0712 | 1.27 | 27.7 | TN | ug N/L | 0.394 | 5.64 | 765 |  | 1 | 1 |  | 27.7 | 27.7 | 27.7 | [6 empty] | 1 |  | 765 | 765 | 765 | [6 empty] | 59
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s7 | 41 | 1 | 1 | TP | ug P/L | 0.0732 | 1.32 | 29.3 | TN | ug N/L | 0.283 | 4.11 | 526 |  | 1 | 1 |  | 29.3 | 29.3 | 29.3 | [6 empty] | 1 |  | 526 | 526 | 526 | [6 empty] | 60
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s8 | 42 | 1 | 1 | TP | ug P/L | 0.0631 | 1.18 | 25.1 | TN | ug N/L | 0.352 | 5.04 | 671 |  | 1 | 1 |  | 25.1 | 25.1 | 25.1 | [6 empty] | 1 |  | 671 | 671 | 671 | [6 empty] | 61
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s9 | 43 | 1 | 1 | TP | ug P/L | 0.0455 | 0.84 | 14.4 | TN | ug N/L | 0.163 | 2.37 | 265 |  | 1 | 1 |  | 14.4 | 14.4 | 14.4 | [6 empty] | 1 |  | 265 | 265 | 265 | [6 empty] | 62
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s10 | 44 | 1 | 1 | TP | ug P/L | 0.175 | 3.07 | 82 | TN | ug N/L | 0.586 | 8.7 | 1270 |  | 1 | 1 |  | 82 | 82 | 82 | [6 empty] | 1 |  | 1270 | 1270 | 1270 | [6 empty] | 63
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s5 DUP | 45 | 1 | 1 | TP | ug P/L | 0.0501 | 0.935 | 17.4 | TN | ug N/L | 0.334 | 4.83 | 637 |  | 1 | 1 |  | 17.4 | 17.4 | 17.4 |  |  | 5.9172 | PASS |  |  | 1 |  | 637 | 637 | 637 |  |  | 4.6586 | PASS |  |  | 64
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | S10 SPK | 46 | 1 | 1 | TP | ug P/L | 0.22 | 3.79 | 103 | TN | ug N/L | 0.661 | 9.95 | 1490 |  | 1 | 1 |  | 103 | 103 | 103 |  |  |  |  | 94.3 | PASS | 1 |  | 1490 | 1490 | 1490 |  |  |  |  | 102.9 | PASS | 65
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0635 | 1.14 | 23.8 | TN | ug N/L | 0.146 | 2.2 | 239 |  | 1 | 1 |  | 23.8 | 23.8 | 23.8 | -4.8 | PASS |  |  |  |  | 1 |  | 239 | 239 | 239 | -4.4 | PASS |  |  |  |  | 66
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.093 | 1.13 | 23.5 | TN | ug N/L | 0.00381 | 0.0391 | -65.7 |  | 1 | 1 |  | 23.5 | 23.5 | 23.5 | [6 empty] | 1 |  | -65.7 | -65.7 | -65.7 | [6 empty] | 67
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00691 | 0.0742 | -9.98 | TN | ug N/L | 0.0089 | -0.0753 | -81.3 |  | 1 | 1 |  | -9.98 | -9.98 | -9.98 | [6 empty] | 1 |  | -81.3 | -81.3 | -81.3 | [6 empty] | 68
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | S11 | 47 | 1 | 1 | TP | ug P/L | 0.0564 | 1.05 | 21 | TN | ug N/L | 0.211 | 2.95 | 350 |  | 1 | 1 |  | 21 | 21 | 21 | [6 empty] | 1 |  | 350 | 350 | 350 | [6 empty] | 69
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s12 | 48 | 1 | 1 | TP | ug P/L | 0.0969 | 1.71 | 41.4 | TN | ug N/L | 0.404 | 5.86 | 801 |  | 1 | 1 |  | 41.4 | 41.4 | 41.4 | [6 empty] | 1 |  | 801 | 801 | 801 | [6 empty] | 70
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s13 | 49 | 1 | 1 | TP | ug P/L | 0.0771 | 1.37 | 30.8 | TN | ug N/L | 0.219 | 3.2 | 388 |  | 1 | 1 |  | 30.8 | 30.8 | 30.8 | [6 empty] | 1 |  | 388 | 388 | 388 | [6 empty] | 71
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s14 | 50 | 1 | 1 | TP | ug P/L | 0.0755 | 1.35 | 30.2 | TN | ug N/L | 0.182 | 2.65 | 306 |  | 1 | 1 |  | 30.2 | 30.2 | 30.2 | [6 empty] | 1 |  | 306 | 306 | 306 | [6 empty] | 72
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s15 | 51 | 1 | 1 | TP | ug P/L | 0.0473 | 0.817 | 13.7 | TN | ug N/L | 0.137 | 2.08 | 223 |  | 1 | 1 |  | 13.7 | 13.7 | 13.7 | [6 empty] | 1 |  | 223 | 223 | 223 | [6 empty] | 73
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s16 | 52 | 1 | 1 | TP | ug P/L | 0.0512 | 0.942 | 17.6 | TN | ug N/L | 0.271 | 3.99 | 507 |  | 1 | 1 |  | 17.6 | 17.6 | 17.6 | [6 empty] | 1 |  | 507 | 507 | 507 | [6 empty] | 74
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s17 | 53 | 1 | 1 | TP | ug P/L | 0.0538 | 0.985 | 18.9 | TN | ug N/L | 0.23 | 3.35 | 410 |  | 1 | 1 |  | 18.9 | 18.9 | 18.9 | [6 empty] | 1 |  | 410 | 410 | 410 | [6 empty] | 75
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s18 | 54 | 1 | 1 | TP | ug P/L | 0.0937 | 1.69 | 40.8 | TN | ug N/L | 0.975 | 15.7 | 2580 |  | 1 | 1 |  | 40.8 | 40.8 | 40.8 | [6 empty] | 1 |  | 2580 | 2580 | 2580 | [6 empty] | 76
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s19 | 55 | 1 | 1 | TP | ug P/L | 0.0644 | 1.19 | 25.4 | TN | ug N/L | 0.295 | 4.32 | 558 |  | 1 | 1 |  | 25.4 | 25.4 | 25.4 | [6 empty] | 1 |  | 558 | 558 | 558 | [6 empty] | 77
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s20 | 56 | 1 | 1 | TP | ug P/L | 0.0576 | 1.15 | 24.1 | TN | ug N/L | 0.194 | 2.85 | 336 |  | 1 | 1 |  | 24.1 | 24.1 | 24.1 | [6 empty] | 1 |  | 336 | 336 | 336 | [6 empty] | 78
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s15 DUP | 57 | 1 | 1 | TP | ug P/L | 0.048 | 0.931 | 17.2 | TN | ug N/L | 0.151 | 2.22 | 243 |  | 1 | 1 |  | 17.2 | 17.2 | 17.2 |  |  | 22.6537 | FAIL |  |  | 1 |  | 243 | 243 | 243 |  |  | 8.5837 | PASS |  |  | 79
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | S20 SPK | 58 | 1 | 1 | TP | ug P/L | 0.104 | 1.9 | 47.1 | TN | ug N/L | 0.28 | 3.99 | 508 |  | 1 | 1 |  | 47.1 | 47.1 | 47.1 |  |  |  |  | 96.71 | PASS | 1 |  | 508 | 508 | 508 |  |  |  |  | 73.88 | FAIL | 80
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0635 | 1.14 | 23.8 | TN | ug N/L | 0.149 | 2.17 | 236 |  | 1 | 1 |  | 23.8 | 23.8 | 23.8 | -4.8 | PASS |  |  |  |  | 1 |  | 236 | 236 | 236 | -5.6 | PASS |  |  |  |  | 81
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0964 | 1.23 | 26.6 | TN | ug N/L | -0.00779 | -0.0832 | -82.4 |  | 1 | 1 |  | 26.6 | 26.6 | 26.6 | [6 empty] | 1 |  | -82.4 | -82.4 | -82.4 | [6 empty] | 82
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00613 | 0.0765 | -9.91 | TN | ug N/L | -0.0147 | -0.153 | -91.9 |  | 1 | 1 |  | -9.91 | -9.91 | -9.91 | [6 empty] | 1 |  | -91.9 | -91.9 | -91.9 | [6 empty] | 83
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s21 | 59 | 1 | 1 | TP | ug P/L | 0.0835 | 1.5 | 34.8 | TN | ug N/L | 0.655 | 9.71 | 1450 |  | 1 | 1 |  | 34.8 | 34.8 | 34.8 | [6 empty] | 1 |  | 1450 | 1450 | 1450 | [6 empty] | 84
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s22 | 60 | 1 | 1 | TP | ug P/L | 0.0657 | 1.21 | 25.9 | TN | ug N/L | 0.178 | 2.66 | 307 |  | 1 | 1 |  | 25.9 | 25.9 | 25.9 | [6 empty] | 1 |  | 307 | 307 | 307 | [6 empty] | 85
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s23 | 61 | 1 | 1 | TP | ug P/L | 0.0557 | 1.05 | 21 | TN | ug N/L | 0.222 | 3.2 | 387 |  | 1 | 1 |  | 21 | 21 | 21 | [6 empty] | 1 |  | 387 | 387 | 387 | [6 empty] | 86
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s24 | 62 | 1 | 1 | TP | ug P/L | 0.0989 | 1.74 | 42.3 | TN | ug N/L | 0.798 | 12.2 | 1900 |  | 1 | 1 |  | 42.3 | 42.3 | 42.3 | [6 empty] | 1 |  | 1900 | 1900 | 1900 | [6 empty] | 87
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s25 | 63 | 1 | 1 | TP | ug P/L | 0.0579 | 1.04 | 20.6 | TN | ug N/L | 0.152 | 2.29 | 252 |  | 1 | 1 |  | 20.6 | 20.6 | 20.6 | [6 empty] | 1 |  | 252 | 252 | 252 | [6 empty] | 88
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s26 | 64 | 1 | 1 | TP | ug P/L | 0.0548 | 1 | 19.5 | TN | ug N/L | 0.218 | 3.13 | 378 |  | 1 | 1 |  | 19.5 | 19.5 | 19.5 | [6 empty] | 1 |  | 378 | 378 | 378 | [6 empty] | 89
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s27 | 65 | 1 | 1 | TP | ug P/L | 0.105 | 1.86 | 45.9 | TN | ug N/L | 0.704 | 10.6 | 1610 |  | 1 | 1 |  | 45.9 | 45.9 | 45.9 | [6 empty] | 1 |  | 1610 | 1610 | 1610 | [6 empty] | 90
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s28 | 66 | 1 | 1 | TP | ug P/L | 0.0548 | 1.04 | 20.7 | TN | ug N/L | 0.261 | 3.67 | 458 |  | 1 | 1 |  | 20.7 | 20.7 | 20.7 | [6 empty] | 1 |  | 458 | 458 | 458 | [6 empty] | 91
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s29 | 67 | 1 | 1 | TP | ug P/L | 0.095 | 1.83 | 44.9 | TN | ug N/L | 0.751 | 11.3 | 1730 |  | 1 | 1 |  | 44.9 | 44.9 | 44.9 | [6 empty] | 1 |  | 1730 | 1730 | 1730 | [6 empty] | 92
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s30 | 68 | 1 | 1 | TP | ug P/L | 0.189 | 3.34 | 89.7 | TN | ug N/L | 0.52 | 7.57 | 1080 |  | 1 | 1 |  | 89.7 | 89.7 | 89.7 | [6 empty] | 1 |  | 1080 | 1080 | 1080 | [6 empty] | 93
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s25 DUP | 69 | 1 | 1 | TP | ug P/L | 0.0591 | 1.13 | 23.5 | TN | ug N/L | 0.164 | 2.55 | 292 |  | 1 | 1 |  | 23.5 | 23.5 | 23.5 |  |  | 13.1519 | PASS |  |  | 1 |  | 292 | 292 | 292 |  |  | 14.7059 | PASS |  |  | 94
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s30 SPK | 70 | 1 | 1 | TP | ug P/L | 0.227 | 3.89 | 105 | TN | ug N/L | 0.566 | 8.33 | 1210 |  | 1 | 1 |  | 105 | 105 | 105 |  |  |  |  | 71.7 | FAIL | 1 |  | 1210 | 1210 | 1210 |  |  |  |  | 64.1 | FAIL | 95
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0628 | 1.15 | 24 | TN | ug N/L | 0.152 | 2.17 | 235 |  | 1 | 1 |  | 24 | 24 | 24 | -4 | PASS |  |  |  |  | 1 |  | 235 | 235 | 235 | -6 | PASS |  |  |  |  | 96
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0909 | 1.09 | 22.1 | TN | ug N/L | -0.0104 | -0.0159 | -73.2 |  | 1 | 1 |  | 22.1 | 22.1 | 22.1 | [6 empty] | 1 |  | -73.2 | -73.2 | -73.2 | [6 empty] | 97
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00809 | 0.0822 | -9.73 | TN | ug N/L | -0.0189 | -0.175 | -94.9 |  | 1 | 1 |  | -9.73 | -9.73 | -9.73 | [6 empty] | 1 |  | -94.9 | -94.9 | -94.9 | [6 empty] | 98
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s31 | 71 | 1 | 1 | TP | ug P/L | 0.0638 | 1.18 | 25.1 | TN | ug N/L | 0.163 | 2.38 | 267 |  | 1 | 1 |  | 25.1 | 25.1 | 25.1 | [6 empty] | 1 |  | 267 | 267 | 267 | [6 empty] | 99
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s32 | 72 | 1 | 1 | TP | ug P/L | 0.0684 | 1.24 | 27 | TN | ug N/L | 0.331 | 4.85 | 641 |  | 1 | 1 |  | 27 | 27 | 27 | [6 empty] | 1 |  | 641 | 641 | 641 | [6 empty] | 100
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s33 | 73 | 1 | 1 | TP | ug P/L | 0.0932 | 1.66 | 40 | TN | ug N/L | 0.62 | 9.3 | 1380 |  | 1 | 1 |  | 40 | 40 | 40 | [6 empty] | 1 |  | 1380 | 1380 | 1380 | [6 empty] | 101
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s34 | 74 | 1 | 1 | TP | ug P/L | 0.0675 | 1.22 | 26.3 | TN | ug N/L | 0.227 | 3.33 | 408 |  | 1 | 1 |  | 26.3 | 26.3 | 26.3 | [6 empty] | 1 |  | 408 | 408 | 408 | [6 empty] | 102
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s35 | 75 | 1 | 1 | TP | ug P/L | 0.0484 | 0.926 | 17.1 | TN | ug N/L | 0.332 | 4.82 | 635 |  | 1 | 1 |  | 17.1 | 17.1 | 17.1 | [6 empty] | 1 |  | 635 | 635 | 635 | [6 empty] | 103
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s36 | 76 | 1 | 1 | TP | ug P/L | 0.0589 | 1.15 | 24.2 | TN | ug N/L | 0.211 | 3.01 | 359 |  | 1 | 1 |  | 24.2 | 24.2 | 24.2 | [6 empty] | 1 |  | 359 | 359 | 359 | [6 empty] | 104
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s37 | 77 | 1 | 1 | TP | ug P/L | 0.0979 | 1.8 | 44 | TN | ug N/L | 0.684 | 10.3 | 1550 |  | 1 | 1 |  | 44 | 44 | 44 | [6 empty] | 1 |  | 1550 | 1550 | 1550 | [6 empty] | 105
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s38 | 78 | 1 | 1 | TP | ug P/L | 0.08 | 1.45 | 33.3 | TN | ug N/L | 0.305 | 4.46 | 579 |  | 1 | 1 |  | 33.3 | 33.3 | 33.3 | [6 empty] | 1 |  | 579 | 579 | 579 | [6 empty] | 106
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s39 | 79 | 1 | 1 | TP | ug P/L | 0.123 | 2.16 | 55 | TN | ug N/L | 0.458 | 6.74 | 943 |  | 1 | 1 |  | 55 | 55 | 55 | [6 empty] | 1 |  | 943 | 943 | 943 | [6 empty] | 107
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s40 | 80 | 1 | 1 | TP | ug P/L | 0.0532 | 0.986 | 19 | TN | ug N/L | 0.181 | 2.53 | 288 |  | 1 | 1 |  | 19 | 19 | 19 | [6 empty] | 1 |  | 288 | 288 | 288 | [6 empty] | 108
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s35 DUP | 81 | 1 | 1 | TP | ug P/L | 0.0468 | 0.904 | 16.4 | TN | ug N/L | 0.318 | 4.63 | 605 |  | 1 | 1 |  | 16.4 | 16.4 | 16.4 |  |  | 4.1791 | PASS |  |  | 1 |  | 605 | 605 | 605 |  |  | 4.8387 | PASS |  |  | 109
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s40 SPK | 82 | 1 | 1 | TP | ug P/L | 0.107 | 1.95 | 48.6 | TN | ug N/L | 0.284 | 4.04 | 515 |  | 1 | 1 |  | 48.6 | 48.6 | 48.6 |  |  |  |  | 123.26 | FAIL | 1 |  | 515 | 515 | 515 |  |  |  |  | 95.95 | PASS | 110
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0647 | 1.19 | 25.2 | TN | ug N/L | 0.149 | 2.14 | 231 |  | 1 | 1 |  | 25.2 | 25.2 | 25.2 | 0.8 | PASS |  |  |  |  | 1 |  | 231 | 231 | 231 | -7.6 | PASS |  |  |  |  | 111
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0957 | 1.19 | 25.2 | TN | ug N/L | -0.00704 | -0.0668 | -80.2 |  | 1 | 1 |  | 25.2 | 25.2 | 25.2 | [6 empty] | 1 |  | -80.2 | -80.2 | -80.2 | [6 empty] | 112
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00678 | 0.0871 | -9.57 | TN | ug N/L | -0.0164 | -0.17 | -94.2 |  | 1 | 1 |  | -9.57 | -9.57 | -9.57 | [6 empty] | 1 |  | -94.2 | -94.2 | -94.2 | [6 empty] | 113
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s41 | 83 | 1 | 1 | TP | ug P/L | 0.0928 | 1.65 | 39.5 | TN | ug N/L | 0.717 | 10.9 | 1670 |  | 1 | 1 |  | 39.5 | 39.5 | 39.5 | [6 empty] | 1 |  | 1670 | 1670 | 1670 | [6 empty] | 114
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s42 | 84 | 1 | 1 | TP | ug P/L | 0.0581 | 1.07 | 21.6 | TN | ug N/L | 0.415 | 6.01 | 824 |  | 1 | 1 |  | 21.6 | 21.6 | 21.6 | [6 empty] | 1 |  | 824 | 824 | 824 | [6 empty] | 115
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s43 | 85 | 1 | 1 | TP | ug P/L | 0.0721 | 1.33 | 29.6 | TN | ug N/L | 0.642 | 9.5 | 1410 |  | 1 | 1 |  | 29.6 | 29.6 | 29.6 | [6 empty] | 1 |  | 1410 | 1410 | 1410 | [6 empty] | 116
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s44 | 86 | 1 | 1 | TP | ug P/L | 0.0594 | 0.979 | 18.8 | TN | ug N/L | 0.449 | 6.55 | 913 |  | 1 | 1 |  | 18.8 | 18.8 | 18.8 | [6 empty] | 1 |  | 913 | 913 | 913 | [6 empty] | 117
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s45 | 87 | 1 | 1 | TP | ug P/L | 0.0681 | 1.25 | 27.2 | TN | ug N/L | 0.473 | 6.84 | 960 |  | 1 | 1 |  | 27.2 | 27.2 | 27.2 | [6 empty] | 1 |  | 960 | 960 | 960 | [6 empty] | 118
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s46 | 88 | 1 | 1 | TP | ug P/L | 0.0693 | 1.25 | 27.2 | TN | ug N/L | 0.277 | 4.06 | 518 |  | 1 | 1 |  | 27.2 | 27.2 | 27.2 | [6 empty] | 1 |  | 518 | 518 | 518 | [6 empty] | 119
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s47 | 89 | 1 | 1 | TP | ug P/L | 0.054 | 0.976 | 18.7 | TN | ug N/L | 0.17 | 2.5 | 284 |  | 1 | 1 |  | 18.7 | 18.7 | 18.7 | [6 empty] | 1 |  | 284 | 284 | 284 | [6 empty] | 120
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s48 | 90 | 1 | 1 | TP | ug P/L | 0.0459 | 0.874 | 15.5 | TN | ug N/L | 0.222 | 3.3 | 403 |  | 1 | 1 |  | 15.5 | 15.5 | 15.5 | [6 empty] | 1 |  | 403 | 403 | 403 | [6 empty] | 121
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s49 | 91 | 1 | 1 | TP | ug P/L | 0.0753 | 1.39 | 31.5 | TN | ug N/L | 0.554 | 8.23 | 1190 |  | 1 | 1 |  | 31.5 | 31.5 | 31.5 | [6 empty] | 1 |  | 1190 | 1190 | 1190 | [6 empty] | 122
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s50 | 92 | 1 | 1 | TP | ug P/L | 0.0506 | 0.916 | 16.8 | TN | ug N/L | 0.339 | 4.68 | 614 |  | 1 | 1 |  | 16.8 | 16.8 | 16.8 | [6 empty] | 1 |  | 614 | 614 | 614 | [6 empty] | 123
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s45 DUP | 93 | 1 | 1 | TP | ug P/L | 0.069 | 1.25 | 27.2 | TN | ug N/L | 0.488 | 7.08 | 999 |  | 1 | 1 |  | 27.2 | 27.2 | 27.2 |  |  | 0 | PASS |  |  | 1 |  | 999 | 999 | 999 |  |  | 3.9816 | PASS |  |  | 124
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s50 SPK | 94 | 1 | 1 | TP | ug P/L | 0.0999 | 1.74 | 42.2 | TN | ug N/L | 0.419 | 6.16 | 849 |  | 1 | 1 |  | 42.2 | 42.2 | 42.2 |  |  |  |  | 10.582 | FAIL | 1 |  | 849 | 849 | 849 |  |  |  |  | 102.49 | PASS | 125
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | nitrite | S1 | 1 | 1 | TP | ug P/L | 0.0986 | 1.28 | 28 | TN | ug N/L | 0.597 | 8.82 | 1290 | 98.5261 | 1 | 1 |  | 28 | 28 | 28 | [6 empty] | 1 |  | 1290 | 1290 | 1290 | [6 empty] | 126
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | nitrate | S2 | 1 | 1 | TP | ug P/L | 0.0944 | 1.13 | 23.5 | TN | ug N/L | 0.598 | 8.69 | 1270 |  | 1 | 1 |  | 23.5 | 23.5 | 23.5 | [6 empty] | 1 |  | 1270 | 1270 | 1270 | [6 empty] | 127
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk1500/150 | 1 | 1 | 1 | TP | ug P/L | 0.323 | 5.46 | 149 | TN | ug N/L | 0.643 | 9.48 | 1410 |  | 1 | 1 |  | 149 | 149 | 149 | -0.66667 | PASS |  |  |  |  | 1 |  | 1410 | 1410 | 1410 | -6 | PASS |  |  |  |  | 128
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk1000/100 | 3 | 1 | 1 | TP | ug P/L | 0.217 | 3.77 | 102 | TN | ug N/L | 0.459 | 6.69 | 935 |  | 1 | 1 |  | 102 | 102 | 102 | 2 | PASS |  |  |  |  | 1 |  | 935 | 935 | 935 | -6.5 | PASS |  |  |  |  | 129
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk500/50 | 5 | 1 | 1 | TP | ug P/L | 0.115 | 2.05 | 51.5 | TN | ug N/L | 0.273 | 3.93 | 498 |  | 1 | 1 |  | 51.5 | 51.5 | 51.5 | 3 | PASS |  |  |  |  | 1 |  | 498 | 498 | 498 | -0.4 | PASS |  |  |  |  | 130
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0668 | 1.18 | 25.1 | TN | ug N/L | 0.149 | 2.08 | 222 |  | 1 | 1 |  | 25.1 | 25.1 | 25.1 | 0.4 | PASS |  |  |  |  | 1 |  | 222 | 222 | 222 | -11.2 | PASS |  |  |  |  | 131
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk100/10 | 9 | 1 | 1 | TP | ug P/L | 0.0331 | 0.617 | 7.36 | TN | ug N/L | 0.0674 | 1.12 | 84.5 |  | 1 | 1 |  | 7.36 | 7.36 | 7.36 | -26.4 | FAIL |  |  |  |  | 1 |  | 84.5 | 84.5 | 84.5 | -15.5 | PASS |  |  |  |  | 132
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk50/5 | 11 | 1 | 1 | TP | ug P/L | 0.0236 | 0.504 | 3.76 | TN | ug N/L | 0.0488 | 0.84 | 45.4 |  | 1 | 1 |  | 3.76 | 3.76 | 3.76 | -24.8 | FAIL |  |  |  |  | 1 |  | 45.4 | 45.4 | 45.4 | -9.2 | PASS |  |  |  |  | 133
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk25/2.5 | 13 | 1 | 1 | TP | ug P/L | 0.0207 | 0.453 | 2.15 | TN | ug N/L | 0.0413 | 0.694 | 24.9 |  | 1 | 1 |  | 2.15 | 2.15 | 2.15 | -14 | PASS |  |  |  |  | 1 |  | 24.9 | 24.9 | 24.9 | -0.4 | PASS |  |  |  |  | 134
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk0 | 15 | 1 | 1 | TP | ug P/L | 0.0159 | 0.351 | -1.12 | TN | ug N/L | 0.0256 | 0.442 | -10.1 |  | 1 | 1 |  | -1.12 | -1.12 | -1.12 | [6 empty] | 1 |  | -10.1 | -10.1 | -10.1 | [6 empty] | 135
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0952 | 1.18 | 25.1 | TN | ug N/L | -0.00722 | -0.101 | -84.9 |  | 1 | 1 |  | 25.1 | 25.1 | 25.1 | [6 empty] | 1 |  | -84.9 | -84.9 | -84.9 | [6 empty] | 136
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00642 | 0.0685 | -10.2 | TN | ug N/L | -0.0139 | -0.138 | -89.9 |  | 1 | 1 |  | -10.2 | -10.2 | -10.2 | [6 empty] | 1 |  | -89.9 | -89.9 | -89.9 | [6 empty] | 137
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s51 | 95 | 1 | 1 | TP | ug P/L | 0.0591 | 1.1 | 22.6 | TN | ug N/L | 0.241 | 3.51 | 435 |  | 1 | 1 |  | 22.6 | 22.6 | 22.6 | [6 empty] | 1 |  | 435 | 435 | 435 | [6 empty] | 138
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s52 | 96 | 1 | 1 | TP | ug P/L | 0.0511 | 0.962 | 18.2 | TN | ug N/L | 0.17 | 2.41 | 270 |  | 1 | 1 |  | 18.2 | 18.2 | 18.2 | [6 empty] | 1 |  | 270 | 270 | 270 | [6 empty] | 139
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s53 | 97 | 1 | 1 | TP | ug P/L | 0.0606 | 1.12 | 23 | TN | ug N/L | 0.181 | 2.57 | 294 |  | 1 | 1 |  | 23 | 23 | 23 | [6 empty] | 1 |  | 294 | 294 | 294 | [6 empty] | 140
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s54 | 98 | 1 | 1 | TP | ug P/L | 0.06 | 1.11 | 22.8 | TN | ug N/L | 0.445 | 6.42 | 891 |  | 1 | 1 |  | 22.8 | 22.8 | 22.8 | [6 empty] | 1 |  | 891 | 891 | 891 | [6 empty] | 141
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s55 | 99 | 1 | 1 | TP | ug P/L | 0.0505 | 0.914 | 16.7 | TN | ug N/L | 0.215 | 3.12 | 376 |  | 1 | 1 |  | 16.7 | 16.7 | 16.7 | [6 empty] | 1 |  | 376 | 376 | 376 | [6 empty] | 142
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s56 | 100 | 1 | 1 | TP | ug P/L | 0.0782 | 1.39 | 31.4 | TN | ug N/L | 0.228 | 3.33 | 407 |  | 1 | 1 |  | 31.4 | 31.4 | 31.4 | [6 empty] | 1 |  | 407 | 407 | 407 | [6 empty] | 143
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s57 | 101 | 1 | 1 | TP | ug P/L | 0.0591 | 1.15 | 24.1 | TN | ug N/L | 0.196 | 2.93 | 347 |  | 1 | 1 |  | 24.1 | 24.1 | 24.1 | [6 empty] | 1 |  | 347 | 347 | 347 | [6 empty] | 144
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s58 | 102 | 1 | 1 | TP | ug P/L | 0.113 | 1.96 | 48.9 | TN | ug N/L | 0.483 | 7.05 | 994 |  | 1 | 1 |  | 48.9 | 48.9 | 48.9 | [6 empty] | 1 |  | 994 | 994 | 994 | [6 empty] | 145
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s59 | 103 | 1 | 1 | TP | ug P/L | 0.054 | 0.976 | 18.6 | TN | ug N/L | 0.333 | 4.81 | 634 |  | 1 | 1 |  | 18.6 | 18.6 | 18.6 | [6 empty] | 1 |  | 634 | 634 | 634 | [6 empty] | 146
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s60 | 104 | 1 | 1 | TP | ug P/L | 0.0512 | 0.949 | 17.8 | TN | ug N/L | 0.151 | 2.23 | 244 |  | 1 | 1 |  | 17.8 | 17.8 | 17.8 | [6 empty] | 1 |  | 244 | 244 | 244 | [6 empty] | 147
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s55 DUP | 105 | 1 | 1 | TP | ug P/L | 0.0494 | 0.919 | 16.9 | TN | ug N/L | 0.211 | 3.15 | 381 |  | 1 | 1 |  | 16.9 | 16.9 | 16.9 |  |  | 1.1905 | PASS |  |  | 1 |  | 381 | 381 | 381 |  |  | 1.321 | PASS |  |  | 148
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s60 SPK | 106 | 1 | 1 | TP | ug P/L | 0.0994 | 1.71 | 41.4 | TN | ug N/L | 0.249 | 3.64 | 454 |  | 1 | 1 |  | 41.4 | 41.4 | 41.4 |  |  |  |  | 98.54 | PASS | 1 |  | 454 | 454 | 454 |  |  |  |  | 88.54 | PASS | 149
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0653 | 1.15 | 24.1 | TN | ug N/L | 0.153 | 2.27 | 250 |  | 1 | 1 |  | 24.1 | 24.1 | 24.1 | -3.6 | PASS |  |  |  |  | 1 |  | 250 | 250 | 250 | 0 | PASS |  |  |  |  | 150
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0947 | 1.2 | 25.7 | TN | ug N/L | -0.00866 | -0.101 | -84.8 |  | 1 | 1 |  | 25.7 | 25.7 | 25.7 | [6 empty] | 1 |  | -84.8 | -84.8 | -84.8 | [6 empty] | 151
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00581 | 0.0571 | -10.5 | TN | ug N/L | -0.0164 | -0.152 | -91.7 |  | 1 | 1 |  | -10.5 | -10.5 | -10.5 | [6 empty] | 1 |  | -91.7 | -91.7 | -91.7 | [6 empty] | 152
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s61 | 107 | 1 | 1 | TP | ug P/L | 0.194 | 3.36 | 90.5 | TN | ug N/L | 0.642 | 9.63 | 1430 |  | 1 | 1 |  | 90.5 | 90.5 | 90.5 | [6 empty] | 1 |  | 1430 | 1430 | 1430 | [6 empty] | 153
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s62 | 108 | 1 | 1 | TP | ug P/L | 0.0521 | 0.963 | 18.3 | TN | ug N/L | 0.3 | 4.39 | 568 |  | 1 | 1 |  | 18.3 | 18.3 | 18.3 | [6 empty] | 1 |  | 568 | 568 | 568 | [6 empty] | 154
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s63 | 109 | 1 | 1 | TP | ug P/L | 0.0441 | 0.841 | 14.4 | TN | ug N/L | 0.317 | 4.57 | 597 |  | 1 | 1 |  | 14.4 | 14.4 | 14.4 | [6 empty] | 1 |  | 597 | 597 | 597 | [6 empty] | 155
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s64 | 110 | 1 | 1 | TP | ug P/L | 0.0441 | 0.802 | 13.2 | TN | ug N/L | 0.145 | 2.08 | 223 |  | 1 | 1 |  | 13.2 | 13.2 | 13.2 | [6 empty] | 1 |  | 223 | 223 | 223 | [6 empty] | 156
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s65 | 111 | 1 | 1 | TP | ug P/L | 0.0478 | 0.839 | 14.3 | TN | ug N/L | 0.158 | 2.3 | 255 |  | 1 | 1 |  | 14.3 | 14.3 | 14.3 | [6 empty] | 1 |  | 255 | 255 | 255 | [6 empty] | 157
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s66 | 112 | 1 | 1 | TP | ug P/L | 0.0595 | 1.11 | 22.7 | TN | ug N/L | 0.374 | 5.43 | 731 |  | 1 | 1 |  | 22.7 | 22.7 | 22.7 | [6 empty] | 1 |  | 731 | 731 | 731 | [6 empty] | 158
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s67 | 113 | 1 | 1 | TP | ug P/L | 0.0503 | 0.942 | 17.6 | TN | ug N/L | 0.156 | 2.37 | 265 |  | 1 | 1 |  | 17.6 | 17.6 | 17.6 | [6 empty] | 1 |  | 265 | 265 | 265 | [6 empty] | 159
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s68 | 114 | 1 | 1 | TP | ug P/L | 0.0734 | 1.35 | 30.4 | TN | ug N/L | 0.368 | 5.37 | 723 |  | 1 | 1 |  | 30.4 | 30.4 | 30.4 | [6 empty] | 1 |  | 723 | 723 | 723 | [6 empty] | 160
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s69 | 115 | 1 | 1 | TP | ug P/L | 0.0485 | 0.884 | 15.8 | TN | ug N/L | 0.324 | 4.7 | 617 |  | 1 | 1 |  | 15.8 | 15.8 | 15.8 | [6 empty] | 1 |  | 617 | 617 | 617 | [6 empty] | 161
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s70 | 116 | 1 | 1 | TP | ug P/L | 0.0588 | 1.05 | 21 | TN | ug N/L | 0.331 | 4.82 | 635 |  | 1 | 1 |  | 21 | 21 | 21 | [6 empty] | 1 |  | 635 | 635 | 635 | [6 empty] | 162
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s65 DUP | 117 | 1 | 1 | TP | ug P/L | 0.0482 | 0.896 | 16.2 | TN | ug N/L | 0.148 | 2.27 | 250 |  | 1 | 1 |  | 16.2 | 16.2 | 16.2 |  |  | 12.459 | PASS |  |  | 1 |  | 250 | 250 | 250 |  |  | 1.9802 | PASS |  |  | 163
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s70 SPK | 118 | 1 | 1 | TP | ug P/L | 0.103 | 1.8 | 44 | TN | ug N/L | 0.412 | 5.98 | 820 |  | 1 | 1 |  | 44 | 44 | 44 |  |  |  |  | 96.4 | PASS | 1 |  | 820 | 820 | 820 |  |  |  |  | 82.2 | PASS | 164
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0624 | 1.15 | 24 | TN | ug N/L | 0.147 | 2.1 | 226 |  | 1 | 1 |  | 24 | 24 | 24 | -4 | PASS |  |  |  |  | 1 |  | 226 | 226 | 226 | -9.6 | PASS |  |  |  |  | 165
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0925 | 1.11 | 22.9 | TN | ug N/L | -0.00813 | 0.103 | -56.8 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | [6 empty] | 1 |  | -56.8 | -56.8 | -56.8 | [6 empty] | 166
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00432 | 0.0481 | -10.8 | TN | ug N/L | -0.0154 | -0.177 | -95.2 |  | 1 | 1 |  | -10.8 | -10.8 | -10.8 | [6 empty] | 1 |  | -95.2 | -95.2 | -95.2 | [6 empty] | 167
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s71 | 119 | 1 | 1 | TP | ug P/L | 0.0718 | 1.3 | 28.7 | TN | ug N/L | 0.247 | 3.61 | 449 |  | 1 | 1 |  | 28.7 | 28.7 | 28.7 | [6 empty] | 1 |  | 449 | 449 | 449 | [6 empty] | 168
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s72 | 120 | 1 | 1 | TP | ug P/L | 0.0471 | 0.857 | 14.9 | TN | ug N/L | 0.322 | 4.6 | 601 |  | 1 | 1 |  | 14.9 | 14.9 | 14.9 | [6 empty] | 1 |  | 601 | 601 | 601 | [6 empty] | 169
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s73 | 121 | 1 | 1 | TP | ug P/L | 0.0746 | 1.34 | 29.9 | TN | ug N/L | 0.335 | 4.82 | 635 |  | 1 | 1 |  | 29.9 | 29.9 | 29.9 | [6 empty] | 1 |  | 635 | 635 | 635 | [6 empty] | 170
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s74 | 122 | 1 | 1 | TP | ug P/L | 0.0727 | 1.31 | 28.9 | TN | ug N/L | 0.243 | 3.5 | 433 |  | 1 | 1 |  | 28.9 | 28.9 | 28.9 | [6 empty] | 1 |  | 433 | 433 | 433 | [6 empty] | 171
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s75 | 123 | 1 | 1 | TP | ug P/L | 0.0678 | 1.3 | 28.7 | TN | ug N/L | 0.162 | 2.46 | 279 |  | 1 | 1 |  | 28.7 | 28.7 | 28.7 | [6 empty] | 1 |  | 279 | 279 | 279 | [6 empty] | 172
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s76 | 124 | 1 | 1 | TP | ug P/L | 0.0901 | 1.62 | 38.7 | TN | ug N/L | 0.76 | 11.7 | 1800 |  | 1 | 1 |  | 38.7 | 38.7 | 38.7 | [6 empty] | 1 |  | 1800 | 1800 | 1800 | [6 empty] | 173
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s77 | 125 | 1 | 1 | TP | ug P/L | 0.0556 | 1.05 | 20.8 | TN | ug N/L | 0.214 | 3.08 | 370 |  | 1 | 1 |  | 20.8 | 20.8 | 20.8 | [6 empty] | 1 |  | 370 | 370 | 370 | [6 empty] | 174
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s78 | 126 | 1 | 1 | TP | ug P/L | 0.0768 | 1.39 | 31.6 | TN | ug N/L | 0.39 | 5.71 | 776 |  | 1 | 1 |  | 31.6 | 31.6 | 31.6 | [6 empty] | 1 |  | 776 | 776 | 776 | [6 empty] | 175
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s79 | 127 | 1 | 1 | TP | ug P/L | 0.0499 | 0.911 | 16.6 | TN | ug N/L | 0.321 | 4.65 | 609 |  | 1 | 1 |  | 16.6 | 16.6 | 16.6 | [6 empty] | 1 |  | 609 | 609 | 609 | [6 empty] | 176
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s80 | 128 | 1 | 1 | TP | ug P/L | 0.0789 | 1.43 | 32.8 | TN | ug N/L | 0.49 | 7.23 | 1020 |  | 1 | 1 |  | 32.8 | 32.8 | 32.8 | [6 empty] | 1 |  | 1020 | 1020 | 1020 | [6 empty] | 177
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s75 DUP | 129 | 1 | 1 | TP | ug P/L | 0.0773 | 1.4 | 31.7 | TN | ug N/L | 0.19 | 2.74 | 319 |  | 1 | 1 |  | 31.7 | 31.7 | 31.7 |  |  | 9.9338 | PASS |  |  | 1 |  | 319 | 319 | 319 |  |  | 13.3779 | PASS |  |  | 178
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s80 SPK | 130 | 1 | 1 | TP | ug P/L | 0.114 | 2.01 | 50.5 | TN | ug N/L | 0.547 | 8.08 | 1170 |  | 1 | 1 |  | 50.5 | 50.5 | 50.5 |  |  |  |  | 75.85 | FAIL | 1 |  | 1170 | 1170 | 1170 |  |  |  |  | 71.7 | FAIL | 179
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.064 | 1.16 | 24.5 | TN | ug N/L | 0.148 | 2.14 | 232 |  | 1 | 1 |  | 24.5 | 24.5 | 24.5 | -2 | PASS |  |  |  |  | 1 |  | 232 | 232 | 232 | -7.2 | PASS |  |  |  |  | 180
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0973 | 1.25 | 27.2 | TN | ug N/L | 0.00713 | 0.12 | -54.6 |  | 1 | 1 |  | 27.2 | 27.2 | 27.2 | [6 empty] | 1 |  | -54.6 | -54.6 | -54.6 | [6 empty] | 181
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00482 | 0.0633 | -10.3 | TN | ug N/L | 0.0164 | 0.336 | -24.8 |  | 1 | 1 |  | -10.3 | -10.3 | -10.3 | [6 empty] | 1 |  | -24.8 | -24.8 | -24.8 | [6 empty] | 182
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s81 | 131 | 1 | 1 | TP | ug P/L | 0.0849 | 1.54 | 36 | TN | ug N/L | 0.444 | 6.48 | 901 |  | 1 | 1 |  | 36 | 36 | 36 | [6 empty] | 1 |  | 901 | 901 | 901 | [6 empty] | 183
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s82 | 132 | 1 | 1 | TP | ug P/L | 0.0971 | 1.73 | 41.9 | TN | ug N/L | 0.774 | 12 | 1860 |  | 1 | 1 |  | 41.9 | 41.9 | 41.9 | [6 empty] | 1 |  | 1860 | 1860 | 1860 | [6 empty] | 184
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s83 | 133 | 1 | 1 | TP | ug P/L | 0.0551 | 1.01 | 19.7 | TN | ug N/L | 0.326 | 4.81 | 634 |  | 1 | 1 |  | 19.7 | 19.7 | 19.7 | [6 empty] | 1 |  | 634 | 634 | 634 | [6 empty] | 185
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s84 | 134 | 1 | 1 | TP | ug P/L | 0.043 | 0.79 | 12.8 | TN | ug N/L | 0.193 | 2.73 | 318 |  | 1 | 1 |  | 12.8 | 12.8 | 12.8 | [6 empty] | 1 |  | 318 | 318 | 318 | [6 empty] | 186
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s85 | 135 | 1 | 1 | TP | ug P/L | 0.0763 | 1.35 | 30.3 | TN | ug N/L | 0.682 | 10.2 | 1540 |  | 1 | 1 |  | 30.3 | 30.3 | 30.3 | [6 empty] | 1 |  | 1540 | 1540 | 1540 | [6 empty] | 187
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s86 | 136 | 1 | 1 | TP | ug P/L | 0.0598 | 1.12 | 23.2 | TN | ug N/L | 0.436 | 6.38 | 885 |  | 1 | 1 |  | 23.2 | 23.2 | 23.2 | [6 empty] | 1 |  | 885 | 885 | 885 | [6 empty] | 188
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s87 | 137 | 1 | 1 | TP | ug P/L | 0.0566 | 1.12 | 23.1 | TN | ug N/L | 0.223 | 3.32 | 405 |  | 1 | 1 |  | 23.1 | 23.1 | 23.1 | [6 empty] | 1 |  | 405 | 405 | 405 | [6 empty] | 189
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s88 | 138 | 1 | 1 | TP | ug P/L | 0.0585 | 1.07 | 21.5 | TN | ug N/L | 0.339 | 4.91 | 650 |  | 1 | 1 |  | 21.5 | 21.5 | 21.5 | [6 empty] | 1 |  | 650 | 650 | 650 | [6 empty] | 190
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s89 | 139 | 1 | 1 | TP | ug P/L | 0.072 | 1.3 | 28.7 | TN | ug N/L | 0.401 | 5.77 | 786 |  | 1 | 1 |  | 28.7 | 28.7 | 28.7 | [6 empty] | 1 |  | 786 | 786 | 786 | [6 empty] | 191
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s90 | 140 | 1 | 1 | TP | ug P/L | 0.0624 | 1.15 | 24.1 | TN | ug N/L | 0.191 | 2.81 | 329 |  | 1 | 1 |  | 24.1 | 24.1 | 24.1 | [6 empty] | 1 |  | 329 | 329 | 329 | [6 empty] | 192
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s85 DUP | 141 | 1 | 1 | TP | ug P/L | 0.0622 | 1.14 | 23.7 | TN | ug N/L | 0.686 | 10.3 | 1560 |  | 1 | 1 |  | 23.7 | 23.7 | 23.7 |  |  | 24.4444 | FAIL |  |  | 1 |  | 1560 | 1560 | 1560 |  |  | 1.2903 | PASS |  |  | 193
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s90 SPK | 142 | 1 | 1 | TP | ug P/L | 0.106 | 1.87 | 46.3 | TN | ug N/L | 0.274 | 3.96 | 503 |  | 1 | 1 |  | 46.3 | 46.3 | 46.3 |  |  |  |  | 93.43 | PASS | 1 |  | 503 | 503 | 503 |  |  |  |  | 74.63 | FAIL | 194
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0646 | 1.15 | 24.1 | TN | ug N/L | 0.133 | 1.94 | 202 |  | 1 | 1 |  | 24.1 | 24.1 | 24.1 | -3.6 | PASS |  |  |  |  | 1 |  | 202 | 202 | 202 | -19.2 | PASS |  |  |  |  | 195
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0952 | 1.22 | 26.4 | TN | ug N/L | -0.00614 | -0.0759 | -81.4 |  | 1 | 1 |  | 26.4 | 26.4 | 26.4 | [6 empty] | 1 |  | -81.4 | -81.4 | -81.4 | [6 empty] | 196
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00633 | 0.0604 | -10.4 | TN | ug N/L | -0.018 | -0.192 | -97.3 |  | 1 | 1 |  | -10.4 | -10.4 | -10.4 | [6 empty] | 1 |  | -97.3 | -97.3 | -97.3 | [6 empty] | 197
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s91 | 143 | 1 | 1 | TP | ug P/L | 0.0555 | 1.03 | 20.4 | TN | ug N/L | 0.335 | 4.82 | 635 |  | 1 | 1 |  | 20.4 | 20.4 | 20.4 | [6 empty] | 1 |  | 635 | 635 | 635 | [6 empty] | 198
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s92 | 144 | 1 | 1 | TP | ug P/L | 0.0728 | 1.31 | 29 | TN | ug N/L | 0.341 | 4.87 | 643 |  | 1 | 1 |  | 29 | 29 | 29 | [6 empty] | 1 |  | 643 | 643 | 643 | [6 empty] | 199
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s93 | 145 | 1 | 1 | TP | ug P/L | 0.0597 | 1.07 | 21.7 | TN | ug N/L | 0.347 | 5 | 664 |  | 1 | 1 |  | 21.7 | 21.7 | 21.7 | [6 empty] | 1 |  | 664 | 664 | 664 | [6 empty] | 200
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s94 | 146 | 1 | 1 | TP | ug P/L | 0.0575 | 1.04 | 20.7 | TN | ug N/L | 0.219 | 3.14 | 379 |  | 1 | 1 |  | 20.7 | 20.7 | 20.7 | [6 empty] | 1 |  | 379 | 379 | 379 | [6 empty] | 201
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s95 | 147 | 1 | 1 | TP | ug P/L | 0.072 | 1.28 | 28 | TN | ug N/L | 0.446 | 6.53 | 909 |  | 1 | 1 |  | 28 | 28 | 28 | [6 empty] | 1 |  | 909 | 909 | 909 | [6 empty] | 202
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s96 | 148 | 1 | 1 | TP | ug P/L | 0.0766 | 1.4 | 31.8 | TN | ug N/L | 0.61 | 9.02 | 1330 |  | 1 | 1 |  | 31.8 | 31.8 | 31.8 | [6 empty] | 1 |  | 1330 | 1330 | 1330 | [6 empty] | 203
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s97 | 149 | 1 | 1 | TP | ug P/L | 0.102 | 1.8 | 44.1 | TN | ug N/L | 0.704 | 10.6 | 1600 |  | 1 | 1 |  | 44.1 | 44.1 | 44.1 | [6 empty] | 1 |  | 1600 | 1600 | 1600 | [6 empty] | 204
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s98 | 150 | 1 | 1 | TP | ug P/L | 0.0538 | 0.977 | 18.7 | TN | ug N/L | 0.163 | 2.36 | 263 |  | 1 | 1 |  | 18.7 | 18.7 | 18.7 | [6 empty] | 1 |  | 263 | 263 | 263 | [6 empty] | 205
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s99 | 151 | 1 | 1 | TP | ug P/L | 0.0504 | 0.931 | 17.2 | TN | ug N/L | 0.227 | 3.32 | 406 |  | 1 | 1 |  | 17.2 | 17.2 | 17.2 | [6 empty] | 1 |  | 406 | 406 | 406 | [6 empty] | 206
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s100 | 152 | 1 | 1 | TP | ug P/L | 0.049 | 0.921 | 16.9 | TN | ug N/L | 0.149 | 2.16 | 234 |  | 1 | 1 |  | 16.9 | 16.9 | 16.9 | [6 empty] | 1 |  | 234 | 234 | 234 | [6 empty] | 207
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s95 DUP | 153 | 1 | 1 | TP | ug P/L | 0.0665 | 1.22 | 26.2 | TN | ug N/L | 0.449 | 6.48 | 900 |  | 1 | 1 |  | 26.2 | 26.2 | 26.2 |  |  | 6.6421 | PASS |  |  | 1 |  | 900 | 900 | 900 |  |  | 0.99502 | PASS |  |  | 208
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s100 SPK | 154 | 1 | 1 | TP | ug P/L | 0.097 | 1.7 | 41.2 | TN | ug N/L | 0.252 | 3.73 | 467 |  | 1 | 1 |  | 41.2 | 41.2 | 41.2 |  |  |  |  | 101.32 | PASS | 1 |  | 467 | 467 | 467 |  |  |  |  | 97.87 | PASS | 209
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 2.9 | 9.73 | 254 | TN | ug N/L | -0.024 | -0.2 | -98.4 |  | 1 | 1 |  | 254 | 254 | 254 | 916 | FAIL |  |  |  |  | 1 |  | -98.4 | -98.4 | -98.4 | -139.36 | FAIL |  |  |  |  | 210
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.095 | 1.21 | 25.9 | TN | ug N/L | 0.00522 | 0.0508 | -64.1 |  | 1 | 1 |  | 25.9 | 25.9 | 25.9 | [6 empty] | 1 |  | -64.1 | -64.1 | -64.1 | [6 empty] | 211
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00564 | 0.0621 | -10.4 | TN | ug N/L | -0.0171 | -0.186 | -96.5 |  | 1 | 1 |  | -10.4 | -10.4 | -10.4 | [6 empty] | 1 |  | -96.5 | -96.5 | -96.5 | [6 empty] | 212
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s101 | 155 | 1 | 1 | TP | ug P/L | 0.0597 | 1.08 | 21.8 | TN | ug N/L | 0.324 | 4.71 | 618 |  | 1 | 1 |  | 21.8 | 21.8 | 21.8 | [6 empty] | 1 |  | 618 | 618 | 618 | [6 empty] | 213
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s102 | 156 | 1 | 1 | TP | ug P/L | 0.0463 | 0.896 | 16.1 | TN | ug N/L | 0.256 | 3.66 | 457 |  | 1 | 1 |  | 16.1 | 16.1 | 16.1 | [6 empty] | 1 |  | 457 | 457 | 457 | [6 empty] | 214
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s103 | 157 | 1 | 1 | TP | ug P/L | 0.0905 | 1.57 | 37.1 | TN | ug N/L | 0.769 | 11.8 | 1830 |  | 1 | 1 |  | 37.1 | 37.1 | 37.1 | [6 empty] | 1 |  | 1830 | 1830 | 1830 | [6 empty] | 215
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s104 | 158 | 1 | 1 | TP | ug P/L | 0.0568 | 1.17 | 24.8 | TN | ug N/L | 0.252 | 3.66 | 457 |  | 1 | 1 |  | 24.8 | 24.8 | 24.8 | [6 empty] | 1 |  | 457 | 457 | 457 | [6 empty] | 216
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s105 | 159 | 1 | 1 | TP | ug P/L | 0.0783 | 1.42 | 32.4 | TN | ug N/L | 0.905 | 14.3 | 2290 |  | 1 | 1 |  | 32.4 | 32.4 | 32.4 | [6 empty] | 1 |  | 2290 | 2290 | 2290 | [6 empty] | 217
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s106 | 160 | 1 | 1 | TP | ug P/L | 0.0793 | 1.45 | 33.3 | TN | ug N/L | 0.381 | 5.56 | 753 |  | 1 | 1 |  | 33.3 | 33.3 | 33.3 | [6 empty] | 1 |  | 753 | 753 | 753 | [6 empty] | 218
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s107 | 161 | 1 | 1 | TP | ug P/L | 0.117 | 2.04 | 51.4 | TN | ug N/L | 0.497 | 7.42 | 1060 |  | 1 | 1 |  | 51.4 | 51.4 | 51.4 | [6 empty] | 1 |  | 1060 | 1060 | 1060 | [6 empty] | 219
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s108 | 162 | 1 | 1 | TP | ug P/L | 0.0482 | 0.917 | 16.8 | TN | ug N/L | 0.173 | 2.63 | 304 |  | 1 | 1 |  | 16.8 | 16.8 | 16.8 | [6 empty] | 1 |  | 304 | 304 | 304 | [6 empty] | 220
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s105 DUP | 163 | 1 | 1 | TP | ug P/L | 0.0859 | 1.55 | 36.5 | TN | ug N/L | 0.892 | 14 | 2250 |  | 1 | 1 |  | 36.5 | 36.5 | 36.5 |  |  | 1.6304 | PASS |  |  | 1 |  | 2250 | 2250 | 2250 |  |  | 20.5882 | FAIL |  |  | 221
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s108 SPK | 164 | 1 | 1 | TP | ug P/L | 0.0971 | 1.72 | 41.7 | TN | ug N/L | 0.271 | 3.72 | 466 |  | 1 | 1 |  | 41.7 | 41.7 | 41.7 |  |  |  |  | 103.77 | PASS | 1 |  | 466 | 466 | 466 |  |  |  |  | 69.46 | FAIL | 222
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | nitrite | S1 | 1 | 1 | TP | ug P/L | 0.096 | 1.23 | 26.6 | TN | ug N/L | 0.529 | 7.72 | 1110 | 103.7565 | 1 | 1 |  | 26.6 | 26.6 | 26.6 | [6 empty] | 1 |  | 1110 | 1110 | 1110 | [6 empty] | 223
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | nitrate | S2 | 1 | 1 | TP | ug P/L | 0.0924 | 1.11 | 23 | TN | ug N/L | 0.554 | 8.01 | 1160 |  | 1 | 1 |  | 23 | 23 | 23 | [6 empty] | 1 |  | 1160 | 1160 | 1160 | [6 empty] | 224
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk1500/150 | 1 | 1 | 1 | TP | ug P/L | 0.319 | 5.44 | 148 | TN | ug N/L | 0.618 | 9.05 | 1330 |  | 1 | 1 |  | 148 | 148 | 148 | -1.3333 | PASS |  |  |  |  | 1 |  | 1330 | 1330 | 1330 | -11.3333 | PASS |  |  |  |  | 225
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk1000/100 | 3 | 1 | 1 | TP | ug P/L | 0.215 | 3.74 | 101 | TN | ug N/L | 0.454 | 6.55 | 912 |  | 1 | 1 |  | 101 | 101 | 101 | 1 | PASS |  |  |  |  | 1 |  | 912 | 912 | 912 | -8.8 | PASS |  |  |  |  | 226
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk500/50 | 5 | 1 | 1 | TP | ug P/L | 0.112 | 1.95 | 48.6 | TN | ug N/L | 0.232 | 3.34 | 409 |  | 1 | 1 |  | 48.6 | 48.6 | 48.6 | -2.8 | PASS |  |  |  |  | 1 |  | 409 | 409 | 409 | -18.2 | PASS |  |  |  |  | 227
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0635 | 1.15 | 24.2 | TN | ug N/L | 0.144 | 2.13 | 230 |  | 1 | 1 |  | 24.2 | 24.2 | 24.2 | -3.2 | PASS |  |  |  |  | 1 |  | 230 | 230 | 230 | -8 | PASS |  |  |  |  | 228
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk100/10 | 9 | 1 | 1 | TP | ug P/L | 0.0346 | 0.669 | 8.99 | TN | ug N/L | 0.0783 | 1.14 | 87.8 |  | 1 | 1 |  | 8.99 | 8.99 | 8.99 | -10.1 | PASS |  |  |  |  | 1 |  | 87.8 | 87.8 | 87.8 | -12.2 | PASS |  |  |  |  | 229
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk50/5 | 11 | 1 | 1 | TP | ug P/L | 0.0265 | 0.534 | 4.73 | TN | ug N/L | 0.0517 | 0.843 | 45.8 |  | 1 | 1 |  | 4.73 | 4.73 | 4.73 | -5.4 | PASS |  |  |  |  | 1 |  | 45.8 | 45.8 | 45.8 | -8.4 | PASS |  |  |  |  | 230
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk25/2.5 | 13 | 1 | 1 | TP | ug P/L | 0.0207 | 0.441 | 1.77 | TN | ug N/L | 0.0387 | 0.663 | 20.6 |  | 1 | 1 |  | 1.77 | 1.77 | 1.77 | -29.2 | FAIL |  |  |  |  | 1 |  | 20.6 | 20.6 | 20.6 | -17.6 | PASS |  |  |  |  | 231
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk0 | 15 | 1 | 1 | TP | ug P/L | 0.0159 | 0.324 | -1.96 | TN | ug N/L | 0.0277 | 0.508 | -0.973 |  | 1 | 1 |  | -1.96 | -1.96 | -1.96 | [6 empty] | 1 |  | -0.973 | -0.973 | -0.973 | [6 empty] | 232
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0957 | 1.25 | 27.2 | TN | ug N/L | -0.00702 | -0.0664 | -80.1 |  | 1 | 1 |  | 27.2 | 27.2 | 27.2 | [6 empty] | 1 |  | -80.1 | -80.1 | -80.1 | [6 empty] | 233
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s18 dil | 165 | 1 | 1 | TP | ug P/L | 0.0689 | 1.26 | 27.5 | TN | ug N/L | 0.627 | 9.33 | 1380 |  | 1 | 1 |  | 27.5 | 27.5 | 27.5 | [6 empty] | 1 |  | 1380 | 1380 | 1380 | [6 empty] | 234
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s24 dil | 166 | 1 | 1 | TP | ug P/L | 0.0605 | 1.13 | 23.3 | TN | ug N/L | 0.468 | 6.82 | 957 |  | 1 | 1 |  | 23.3 | 23.3 | 23.3 | [6 empty] | 1 |  | 957 | 957 | 957 | [6 empty] | 235
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s27 dil | 167 | 1 | 1 | TP | ug P/L | 0.0618 | 1.15 | 24 | TN | ug N/L | 0.4 | 5.84 | 797 |  | 1 | 1 |  | 24 | 24 | 24 | [6 empty] | 1 |  | 797 | 797 | 797 | [6 empty] | 236
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s29 dil | 168 | 1 | 1 | TP | ug P/L | 0.0547 | 1.06 | 21.3 | TN | ug N/L | 0.434 | 6.35 | 879 |  | 1 | 1 |  | 21.3 | 21.3 | 21.3 | [6 empty] | 1 |  | 879 | 879 | 879 | [6 empty] | 237
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s37 dil | 169 | 1 | 1 | TP | ug P/L | 0.0599 | 1.11 | 22.8 | TN | ug N/L | 0.376 | 5.54 | 749 |  | 1 | 1 |  | 22.8 | 22.8 | 22.8 | [6 empty] | 1 |  | 749 | 749 | 749 | [6 empty] | 238
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s41 dil | 170 | 1 | 1 | TP | ug P/L | 0.0567 | 1.03 | 20.3 | TN | ug N/L | 0.422 | 6.13 | 843 |  | 1 | 1 |  | 20.3 | 20.3 | 20.3 | [6 empty] | 1 |  | 843 | 843 | 843 | [6 empty] | 239
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s76 dil | 171 | 1 | 1 | TP | ug P/L | 0.0557 | 0.979 | 18.7 | TN | ug N/L | 0.456 | 6.66 | 930 |  | 1 | 1 |  | 18.7 | 18.7 | 18.7 | [6 empty] | 1 |  | 930 | 930 | 930 | [6 empty] | 240
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s82 dil | 172 | 1 | 1 | TP | ug P/L | 0.0573 | 1.09 | 22.2 | TN | ug N/L | 0.467 | 6.83 | 958 |  | 1 | 1 |  | 22.2 | 22.2 | 22.2 | [6 empty] | 1 |  | 958 | 958 | 958 | [6 empty] | 241
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s85 dil | 173 | 1 | 1 | TP | ug P/L | 0.0485 | 0.914 | 16.7 | TN | ug N/L | 0.409 | 6.11 | 841 |  | 1 | 1 |  | 16.7 | 16.7 | 16.7 | [6 empty] | 1 |  | 841 | 841 | 841 | [6 empty] | 242
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s97 dil | 174 | 1 | 1 | TP | ug P/L | 0.0598 | 1.11 | 22.9 | TN | ug N/L | 0.426 | 6.16 | 849 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | [6 empty] | 1 |  | 849 | 849 | 849 | [6 empty] | 243
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s103 dil | 175 | 1 | 1 | TP | ug P/L | 0.0571 | 0.986 | 19 | TN | ug N/L | 0.512 | 7.53 | 1070 |  | 1 | 1 |  | 19 | 19 | 19 | [6 empty] | 1 |  | 1070 | 1070 | 1070 | [6 empty] | 244
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | s105 dil | 176 | 1 | 1 | TP | ug P/L | 0.0521 | 0.947 | 17.7 | TN | ug N/L | 0.568 | 8.37 | 1220 |  | 1 | 1 |  | 17.7 | 17.7 | 17.7 | [6 empty] | 1 |  | 1220 | 1220 | 1220 | [6 empty] | 245
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | chk 250/25 | 7 | 1 | 1 | TP | ug P/L | 0.0641 | 1.11 | 22.9 | TN | ug N/L | 0.139 | 2.1 | 225 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | [6 empty] | 1 |  | 225 | 225 | 225 | [6 empty] | 246
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | water | S3 | 1 | 1 | TP | ug P/L | 0.0963 | 1.22 | 26.1 | TN | ug N/L | -0.0147 | -0.14 | -90.1 |  | 1 | 1 |  | 26.1 | 26.1 | 26.1 | [6 empty] | 1 |  | -90.1 | -90.1 | -90.1 | [6 empty] | 247
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | bisulfate | S4 | 1 | 1 | TP | ug P/L | 0.00714 | 0.0917 | -9.42 | TN | ug N/L | -0.0173 | -0.183 | -96 |  | 1 | 1 |  | -9.42 | -9.42 | -9.42 | [6 empty] | 1 |  | -96 | -96 | -96 | [6 empty] | 248

## method checks
Detection Date | Run File Name | Sample ID | Cup Number | Auto Dilution Factor | Manual Dilution Factor | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Analyte Name | Concentration Units | Peak Height | Peak Area | Peak Concentration | Column efficiency | DILUTION BY OXIDATION REAGENT | Analyst QUALITY CODE NO3-N: | Analyst NOTES: | PO4-P-- determined concentration | PO4-P-- blank corrected | PO4-P-- dilution corrected | PO4-P- % Error in check stds | PO4-P- DQO (<=20%) | PO4-P- RPD of duplicates | PO4-P- DQO (<=20% if conc>LOQ) | PO4-P- PR of spikes | PO4-P- DQO (80-120%) if conc>LOQ | Analyst QUALITY CODE PO4-P: | Analyst NOTES: | NO3-N-- determined concentration | NO3-N-- blank corrected | NO3-N-- dilution corrected | NO3-N- % Error in check stds | NO3-N- DQO (<=20%) | NO3-N- RPD of duplicates | NO3-N- DQO (<=20% if conc>LOQ) | NO3-N- PR of spikes | NO3-N- DQO (80-120%) if conc>LOQ
BLANKS-digested type I reagent grade water
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank1 | 20 | 1 | 1 | TP | ug P/L | 0.017 | 0.351 | -1.11 | TN | ug N/L | 0.0245 | 0.473 | -5.87 |  | 1 | 1 |  | -1.11 | -1.11 | -1.11 | [6 empty] | 1 |  | -5.87 | -5.87 | -5.87 | [6 empty] | 39
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblan2 | 21 | 1 | 1 | TP | ug P/L | 0.0154 | 0.33 | -1.77 | TN | ug N/L | 0.0269 | 0.473 | -5.77 |  | 1 | 1 |  | -1.77 | -1.77 | -1.77 | [6 empty] | 1 |  | -5.77 | -5.77 | -5.77 | [6 empty] | 40
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank3 | 22 | 1 | 1 | TP | ug P/L | 0.0176 | 0.35 | -1.14 | TN | ug N/L | 0.0261 | 0.466 | -6.83 |  | 1 | 1 |  | -1.14 | -1.14 | -1.14 | [6 empty] | 1 |  | -6.83 | -6.83 | -6.83 | [6 empty] | 41
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank4 | 23 | 1 | 1 | TP | ug P/L | 0.0164 | 0.333 | -1.69 | TN | ug N/L | 0.0282 | 0.407 | -15 |  | 1 | 1 |  | -1.69 | -1.69 | -1.69 | [6 empty] | 1 |  | -15 | -15 | -15 | [6 empty] | 42
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | waterblank5 | 24 | 1 | 1 | TP | ug P/L | 0.0165 | 0.379 | -0.225 | TN | ug N/L | 0.0283 | 0.479 | -5.05 |  | 1 | 1 |  | -0.225 | -0.225 | -0.225 | [6 empty] | 1 |  | -5.05 | -5.05 | -5.05 | [6 empty] | 43
[7 empty] | Known Conc |  |  | 0 |  | Known Conc |  |  | 0
[7 empty] | Mean |  | 0.3486 | -1.187 |  | Mean |  | 0.4596 | -7.704
[7 empty] | Std Dev |  | 0.019501 | 0.61775 |  | Std Dev |  | 0.029762 | 4.1274
[7 empty] | CV or %RSD |  | 5.5942 | -52.0433 |  | CV or %RSD |  | 6.4757 | -53.5753
[7 empty] | T value |  | 3.7469 | 3.7469 |  | T value |  | 3.7469 | 3.7469
[7 empty] | MDL |  | 0.07307 | 2.3147 |  | MDL |  | 0.11152 | 15.4653
[7 empty] | LOQ |  | 0.19501 | 6.1775 |  | LOQ |  | 0.29762 | 41.2744
[7 empty] | Error as % |  |  |  |  | Error as %
[7 empty] | Known/MDL |  |  |  |  | Known/MDL
[7 empty] | Mean PR |  |  |  |  | Mean PR
[7 empty] | S/N |  | 17.8757 | -1.9215 |  | S/N |  | 15.4423 | -1.8665 | [5 empty] | MEANS | -1.187 | [9 empty] | MEANS | -7.704
|  |  | Different from 0? |  | one sample T-test |  |  |  | p value | 0.4149 |  |  |  | p value | 0.3504
[7 empty] | count |  | 5 |  |  |  |  | 5
[7 empty] | std error of mean |  | 0.27627 |  |  |  |  | 1.8458
[7 empty] | df |  | 4 |  |  |  |  | 4
[7 empty] | t |  | 4.2966 |  |  |  |  | 4.1737
[7 empty] | p value |  | 0.01268 |  |  |  |  | 0.013989
DIGESTION CHECK - is organic material completely converted to inorganic?
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest1 | 25 | 1 | 1 | TP | ug P/L | 0.0942 | 1.63 | 38.8 | TN | ug N/L | 0.209 | 3.06 | 367 |  | 1 | 1 |  | 38.8 | 38.8 | 38.8 | [6 empty] | 1 |  | 367 | 367 | 367 | [6 empty] | 44
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest2 | 26 | 1 | 1 | TP | ug P/L | 0.0935 | 1.66 | 39.9 | TN | ug N/L | 0.229 | 3.19 | 387 |  | 1 | 1 |  | 39.9 | 39.9 | 39.9 | [6 empty] | 1 |  | 387 | 387 | 387 | [6 empty] | 45
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest3 | 27 | 1 | 1 | TP | ug P/L | 0.0945 | 1.66 | 39.7 | TN | ug N/L | 0.232 | 3.54 | 439 |  | 1 | 1 |  | 39.7 | 39.7 | 39.7 | [6 empty] | 1 |  | 439 | 439 | 439 | [6 empty] | 46
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest4 | 28 | 1 | 1 | TP | ug P/L | 0.0921 | 1.65 | 39.5 | TN | ug N/L | 0.221 | 3.14 | 379 |  | 1 | 1 |  | 39.5 | 39.5 | 39.5 | [6 empty] | 1 |  | 379 | 379 | 379 | [6 empty] | 47
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | digest5 | 29 | 1 | 1 | TP | ug P/L | 0.0946 | 1.69 | 40.6 | TN | ug N/L | 0.222 | 3.2 | 387 |  | 1 | 1 |  | 40.6 | 40.6 | 40.6 | [6 empty] | 1 |  | 387 | 387 | 387 | [6 empty] | 48
[9 empty] | Known Conc | 40 |  |  |  | Known Conc | 400 | [5 empty] | Known Conc | 40 | [9 empty] | Known Conc | 400
[9 empty] | Mean | 39.7 |  |  |  | Mean | 391.8 | [5 empty] | Mean | 39.7 | [9 empty] | Mean | 391.8
[9 empty] | Std Dev | 0.65192 |  |  |  | Std Dev | 27.6261 | [5 empty] | Std Dev | 0.65192 | [9 empty] | Std Dev | 27.6261
[9 empty] | CV or %RSD | 1.6421 |  |  |  | CV or %RSD | 7.0511 | [5 empty] | CV or %RSD | 1.6421 | [9 empty] | CV or %RSD | 7.0511
[9 empty] | T value | 3.7469 |  |  |  | T value | 3.7469 | [5 empty] | T value | 3.7469 | [9 empty] | T value | 3.7469
[9 empty] | MDL | 2.4427 |  |  |  | MDL | 103.5134 | [5 empty] | MDL | 2.4427 | [9 empty] | MDL | 103.5134
[9 empty] | LOQ | 6.5192 |  |  |  | LOQ | 276.2607 | [5 empty] | LOQ | 6.5192 | [9 empty] | LOQ | 276.2607
[9 empty] | Error as % | -0.75 |  |  |  | Error as % | -2.05 | [5 empty] | Error as % | -0.75 | [9 empty] | Error as % | -2.05
[9 empty] | Known/MDL |  |  |  |  | Known/MDL | [6 empty] | Known/MDL | [10 empty] | Known/MDL
[9 empty] | Mean PR | 99.25 |  |  |  | Mean PR | 97.95 | [5 empty] | Mean PR | [10 empty] | Mean PR
[9 empty] | S/N | 60.897 |  |  |  | S/N | 14.1823 | [5 empty] | S/N | 60.897 | [9 empty] | S/N | 14.1823
SPIKED BLANKS- used for MDL determination (250 ul spiking soln 1000/10000 into 10 ml sample)
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk1 | 30 | 1 | 1 | TP | ug P/L | 0.063 | 1.11 | 22.8 | TN | ug N/L | 0.15 | 2.19 | 239 |  | 1 | 1 |  | 22.8 | 22.8 | 22.8 | [6 empty] | 1 |  | 239 | 239 | 239 | [6 empty] | 49
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk2 | 31 | 1 | 1 | TP | ug P/L | 0.0625 | 1.11 | 22.9 | TN | ug N/L | 0.146 | 2.08 | 222 |  | 1 | 1 |  | 22.9 | 22.9 | 22.9 | [6 empty] | 1 |  | 222 | 222 | 222 | [6 empty] | 50
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk3 | 32 | 1 | 1 | TP | ug P/L | 0.0644 | 1.1 | 22.7 | TN | ug N/L | 0.14 | 2.09 | 223 |  | 1 | 1 |  | 22.7 | 22.7 | 22.7 | [6 empty] | 1 |  | 223 | 223 | 223 | [6 empty] | 51
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk4 | 33 | 1 | 1 | TP | ug P/L | 0.062 | 1.1 | 22.5 | TN | ug N/L | 0.14 | 2.03 | 215 |  | 1 | 1 |  | 22.5 | 22.5 | 22.5 | [6 empty] | 1 |  | 215 | 215 | 215 | [6 empty] | 52
2023-03-15 | OM_3-15-2023_12-40-40PM.OMN | spk5 | 34 | 1 | 1 | TP | ug P/L | 0.0644 | 1.17 | 24.7 | TN | ug N/L | 0.147 | 2.14 | 231 |  | 1 | 1 |  | 24.7 | 24.7 | 24.7 | [6 empty] | 1 |  | 231 | 231 | 231 | [6 empty] | 53
[9 empty] | Known Conc | 24.39 |  |  |  | Known Conc | 243.9 | [5 empty] | Known Conc | 24.39 | [9 empty] | Known Conc | 243.9
[9 empty] | Mean | 23.12 |  |  |  | Mean | 226 | [5 empty] | Mean | 23.12 | [9 empty] | Mean | 226
[9 empty] | Std Dev | 0.89554 |  |  |  | Std Dev | 9.2195 | [5 empty] | Std Dev | 0.89554 | [9 empty] | Std Dev | 9.2195
[9 empty] | CV or %RSD | 3.8735 |  |  |  | CV or %RSD | 4.0794 | [5 empty] | CV or %RSD | 3.8735 | [9 empty] | CV or %RSD | 4.0794
[9 empty] | T value | 3.7469 |  |  |  | T value | 3.7469 | [5 empty] | T value | 3.7469 | [9 empty] | T value | 3.7469
[9 empty] | MDL | 3.3556 |  |  |  | MDL | 34.5451 | [5 empty] | MDL | 3.3556 | [9 empty] | MDL | 34.5451
[9 empty] | LOQ | 8.9554 |  |  |  | LOQ | 92.1954 | [5 empty] | LOQ | 8.9554 | [9 empty] | LOQ | 92.1954
[9 empty] | Error as % | -5.2071 |  |  |  | Error as % | -7.3391 | [5 empty] | Error as % | -5.2071 | [9 empty] | Error as % | -7.3391
[9 empty] | Known/MDL |  |  |  |  | Known/MDL | [6 empty] | Known/MDL | [10 empty] | Known/MDL
[9 empty] | Mean PR | 94.7929 |  |  |  | Mean PR | 92.6609 | [5 empty] | Mean PR | [10 empty] | Mean PR
[9 empty] | S/N | 25.8167 |  |  |  | S/N | 24.5131 | [5 empty] | S/N | 25.8167 | [9 empty] | S/N | 24.5131