## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN01aug23_001.gcd | 2023-08-01 10:06 | air new batch | Unknown | 0 | 6.062 | 2289 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN01aug23_001.gcd | 2023-08-01 10:06 | air new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN01aug23_001.gcd | 2023-08-01 10:06 | air new batch | Unknown | 0 | 12.221 | 2651 | 0.487 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.6423 | 621.9186 | 1.9321 | 525.8843 | 1.7322 | 502.8989 | 0.86739 | 444.0824 | 4.6423 | 621.9186 | 49 | BRN01aug23_001.gcd | 2023-08-01 10:06 | air new batch | Unknown | 0 | 2.701 | 5396698 | 0 | ----- | ----- | ----- | -----
50 | BRN01aug23_002.gcd | 2023-08-01 10:37 | spiked air | Unknown | 0 | 5.992 | 599982 | 1.281 | ----- | ----- | ----- | ----- | 50 | BRN01aug23_002.gcd | 2023-08-01 10:37 | spiked air | Unknown | 0 | 5.941 | 5007 | 1.255 | ----- | ----- | ----- | ----- | 50 | BRN01aug23_002.gcd | 2023-08-01 10:37 | spiked air | Unknown | 0 | 12.166 | 6218 | 1.48 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1311.3695 | 1477.8376 | 1591.1993 | 1185.2203 | 1537.0201 | 1184.3949 | 1377.2951 | 1180.5739 | 1311.3695 | 1477.8376 | 50 | BRN01aug23_002.gcd | 2023-08-01 10:37 | spiked air | Unknown | 0 | 2.695 | 5275985 | 0 | ----- | ----- | ----- | -----
51 | BRN01aug23_003.gcd | 2023-08-01 11:07 | yellow | Unknown | 0 | 6.097 | 2364 | -0.002 | ----- | ----- | ----- | ----- | 51 | BRN01aug23_003.gcd | 2023-08-01 11:07 | yellow | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN01aug23_003.gcd | 2023-08-01 11:07 | yellow | Unknown | 0 | 12.191 | 1842 | 0.262 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.4733 | 426.1805 | 2.1424 | 376.1238 | 1.9987 | 348.2772 | 0.98071 | 276.9548 | 4.4733 | 426.1805 | 51 | BRN01aug23_003.gcd | 2023-08-01 11:07 | yellow | Unknown | 0 | 2.719 | 5047773 | 0 | ----- | ----- | ----- | -----
52 | BRN01aug23_004.gcd | 2023-08-01 11:38 | 081 compromised by leak | Unknown | 0 | 6.014 | 39357 | 0.077 | ----- | ----- | ----- | ----- | 52 | BRN01aug23_004.gcd | 2023-08-01 11:38 | 081 compromised by leak | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN01aug23_004.gcd | 2023-08-01 11:38 | 081 compromised by leak | Unknown | 0 | 12.179 | 1197 | 0.081 | ----- | ----- | ----- | ----- | 1 |  | 52 | 106.9006 | 269.6945 | 122.8263 | 256.6639 | 103.1073 | 224.9851 | 89.8155 | 143.6833 | 106.9006 | 269.6945 | 52 | BRN01aug23_004.gcd | 2023-08-01 11:38 | 081 compromised by leak | Unknown | 0 | 2.782 | 2914042 | 0 | ----- | ----- | ----- | -----
53 | BRN01aug23_005.gcd | 2023-08-01 12:09 | 132 | Unknown | 0 | 6 | 20781 | 0.037 | ----- | ----- | ----- | ----- | 53 | BRN01aug23_005.gcd | 2023-08-01 12:09 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN01aug23_005.gcd | 2023-08-01 12:09 | 132 | Unknown | 0 | 12.135 | 1690 | 0.219 | ----- | ----- | ----- | ----- | 1 |  | 53 | 52.1356 | 389.3373 | 65.3908 | 347.9767 | 54.2946 | 319.2236 | 46.289 | 245.5501 | 52.1356 | 389.3373 | 53 | BRN01aug23_005.gcd | 2023-08-01 12:09 | 132 | Unknown | 0 | 2.835 | 1167797 | 0 | ----- | ----- | ----- | -----
54 | BRN01aug23_006.gcd | 2023-08-01 12:39 | 183 | Unknown | 0 | 6.01 | 391827 | 0.833 | ----- | ----- | ----- | ----- | 54 | BRN01aug23_006.gcd | 2023-08-01 12:39 | 183 | Unknown | 0 | 5.969 | 3183 | 0.786 | ----- | ----- | ----- | ----- | 54 | BRN01aug23_006.gcd | 2023-08-01 12:39 | 183 | Unknown | 0 | 12.175 | 2728 | 0.509 | ----- | ----- | ----- | ----- | 1 |  | 54 | 911.3888 | 640.5177 | 1105.8889 | 540.1341 | 1013.4915 | 517.6146 | 905.1746 | 459.9877 | 911.3888 | 640.5177 | 54 | BRN01aug23_006.gcd | 2023-08-01 12:39 | 183 | Unknown | 0 | 2.866 | 894587 | 0 | ----- | ----- | ----- | -----
55 | BRN01aug23_007.gcd | 2023-08-01 13:10 | 74 | Unknown | 0 | 5.995 | 127271 | 0.266 | ----- | ----- | ----- | ----- | 55 | BRN01aug23_007.gcd | 2023-08-01 13:10 | 74 | Unknown | 0 | 5.933 | 835 | 0.182 | ----- | ----- | ----- | ----- | 55 | BRN01aug23_007.gcd | 2023-08-01 13:10 | 74 | Unknown | 0 | 12.065 | 85950 | 22.641 | ----- | ----- | ----- | ----- | 1 |  | 55 | 351.3216 | 19210.6702 | 387.0077 | 15506.2527 | 332.9897 | 16309.6628 | 295.0577 | 17473.6385 | 351.3216 | 19210.6702 | 55 | BRN01aug23_007.gcd | 2023-08-01 13:10 | 74 | Unknown | 0 | 2.836 | 1156739 | 0 | ----- | ----- | ----- | -----
56 | BRN01aug23_008.gcd | 2023-08-01 13:41 | 308 | Unknown | 0 | 5.998 | 21313 | 0.038 | ----- | ----- | ----- | ----- | 56 | BRN01aug23_008.gcd | 2023-08-01 13:41 | 308 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN01aug23_008.gcd | 2023-08-01 13:41 | 308 | Unknown | 0 | 12.029 | 121214 | 31.45 | ----- | ----- | ----- | ----- | 1 |  | 56 | 53.7191 | 27646.7709 | 67.0436 | 21585.6364 | 55.6937 | 22933.3533 | 47.5363 | 24576.2727 | 53.7191 | 27646.7709 | 56 | BRN01aug23_008.gcd | 2023-08-01 13:41 | 308 | Unknown | 0 | 2.856 | 752123 | 0 | ----- | ----- | ----- | -----
57 | BRN01aug23_009.gcd | 2023-08-01 14:11 | 16 | Unknown | 0 | 5.931 | 21561637 | 48.274 | ----- | ----- | ----- | ----- | 57 | BRN01aug23_009.gcd | 2023-08-01 14:11 | 16 | Unknown | 0 | 5.899 | 189750 | 47.826 | ----- | ----- | ----- | ----- | 57 | BRN01aug23_009.gcd | 2023-08-01 14:11 | 16 | Unknown | 0 | 12.078 | 89928 | 23.65 | ----- | ----- | ----- | ----- | 1 |  | 57 | 46918.7738 | 20167.4055 | 36711.3016 | 16199.8574 | 48215.3784 | 17058.8802 | 46416.2469 | 18278.0362 | 46918.7738 | 20167.4055 | 57 | BRN01aug23_009.gcd | 2023-08-01 14:11 | 16 | Unknown | 0 | 2.875 | 676162 | 0 | ----- | ----- | ----- | -----
58 | BRN01aug23_010.gcd | 2023-08-01 14:42 | 250 | Unknown | 0 | 6.01 | 7893 | 0.009 | ----- | ----- | ----- | ----- | 58 | BRN01aug23_010.gcd | 2023-08-01 14:42 | 250 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN01aug23_010.gcd | 2023-08-01 14:42 | 250 | Unknown | 0 | 12.039 | 112795 | 29.374 | ----- | ----- | ----- | ----- | 1 |  | 58 | 8.7516 | 25641.9626 | 18.3034 | 20148.4184 | 19.8497 | 21355.6747 | 13.837 | 22886.3429 | 8.7516 | 25641.9626 | 58 | BRN01aug23_010.gcd | 2023-08-01 14:42 | 250 | Unknown | 0 | 2.853 | 814952 | 0 | ----- | ----- | ----- | -----
59 | BRN01aug23_011.gcd | 2023-08-01 15:13 | 254 | Unknown | 0 | 6.021 | 4375 | 0.002 | ----- | ----- | ----- | ----- | 59 | BRN01aug23_011.gcd | 2023-08-01 15:13 | 254 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN01aug23_011.gcd | 2023-08-01 15:13 | 254 | Unknown | 0 | 12.011 | 140809 | 36.218 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.2091 | 32290.4579 | 7.8701 | 24896.2669 | 8.9014 | 26596.4329 | 4.6288 | 28495.5308 | 2.2091 | 32290.4579 | 59 | BRN01aug23_011.gcd | 2023-08-01 15:13 | 254 | Unknown | 0 | 2.859 | 714077 | 0 | ----- | ----- | ----- | -----
60 | BRN01aug23_012.gcd | 2023-08-01 15:43 | 406 | Unknown | 0 | 5.995 | 80932 | 0.166 | ----- | ----- | ----- | ----- | 60 | BRN01aug23_012.gcd | 2023-08-01 15:43 | 406 | Unknown | 0 | 5.948 | 486 | 0.092 | ----- | ----- | ----- | ----- | 60 | BRN01aug23_012.gcd | 2023-08-01 15:43 | 406 | Unknown | 0 | 12.188 | 680 | -0.063 | ----- | ----- | ----- | ----- | 1 |  | 60 | 225.5267 | 143.9891 | 249.3315 | 160.873 | 212.0528 | 126.1505 | 187.0308 | 36.8442 | 225.5267 | 143.9891 | 60 | BRN01aug23_012.gcd | 2023-08-01 15:43 | 406 | Unknown | 0 | 2.852 | 849117 | 0 | ----- | ----- | ----- | -----
61 | BRN01aug23_013.gcd | 2023-08-01 16:14 | 350 | Unknown | 0 | 6.017 | 23001 | 0.042 | ----- | ----- | ----- | ----- | 61 | BRN01aug23_013.gcd | 2023-08-01 16:14 | 350 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN01aug23_013.gcd | 2023-08-01 16:14 | 350 | Unknown | 0 | 12.166 | 622 | -0.079 | ----- | ----- | ----- | ----- | 1 |  | 61 | 58.7377 | 129.8715 | 72.2845 | 150.1245 | 60.1326 | 115.0621 | 51.4937 | 24.8575 | 58.7377 | 129.8715 | 61 | BRN01aug23_013.gcd | 2023-08-01 16:14 | 350 | Unknown | 0 | 2.873 | 797193 | 0 | ----- | ----- | ----- | -----
62 | BRN01aug23_014.gcd | 2023-08-01 16:45 | 77 | Unknown | 0 | 6.015 | 80725 | 0.166 | ----- | ----- | ----- | ----- | 62 | BRN01aug23_014.gcd | 2023-08-01 16:45 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN01aug23_014.gcd | 2023-08-01 16:45 | 77 | Unknown | 0 | 12.19 | 810 | -0.026 | ----- | ----- | ----- | ----- | 1 |  | 62 | 224.9496 | 175.6208 | 248.7086 | 184.9628 | 211.5114 | 151.0033 | 186.5475 | 63.7103 | 224.9496 | 175.6208 | 62 | BRN01aug23_014.gcd | 2023-08-01 16:45 | 77 | Unknown | 0 | 2.864 | 985444 | 0 | ----- | ----- | ----- | -----
63 | BRN01aug23_015.gcd | 2023-08-01 17:15 | 131 | Unknown | 0 | 5.928 | 22823779 | 51.24 | ----- | ----- | ----- | ----- | 63 | BRN01aug23_015.gcd | 2023-08-01 17:15 | 131 | Unknown | 0 | 5.896 | 208597 | 52.475 | ----- | ----- | ----- | ----- | 63 | BRN01aug23_015.gcd | 2023-08-01 17:15 | 131 | Unknown | 0 | 12.111 | 61418 | 16.325 | ----- | ----- | ----- | ----- | 1 |  | 63 | 51602.8763 | 13281.9568 | 40315.0095 | 11184.948 | 52897.0707 | 11677.9281 | 50927.8424 | 12495.1348 | 51602.8763 | 13281.9568 | 63 | BRN01aug23_015.gcd | 2023-08-01 17:15 | 131 | Unknown | 0 | 2.881 | 612399 | 0 | ----- | ----- | ----- | -----
64 | BRN01aug23_016.gcd | 2023-08-01 17:46 | 44 | Unknown | 0 | 6.03 | 5453 | 0.004 | ----- | ----- | ----- | ----- | 64 | BRN01aug23_016.gcd | 2023-08-01 17:46 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN01aug23_016.gcd | 2023-08-01 17:46 | 44 | Unknown | 0 | 12.048 | 129494 | 33.476 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.7935 | 29612.8241 | 11.0112 | 22990.4465 | 12.4087 | 24482.7358 | 7.0682 | 26234.7727 | 2.7935 | 29612.8241 | 64 | BRN01aug23_016.gcd | 2023-08-01 17:46 | 44 | Unknown | 0 | 2.858 | 1109651 | 0 | ----- | ----- | ----- | -----
65 | BRN01aug23_017.gcd | 2023-08-01 18:17 | 38 | Unknown | 0 | 5.994 | 477208 | 1.017 | ----- | ----- | ----- | ----- | 65 | BRN01aug23_017.gcd | 2023-08-01 18:17 | 38 | Unknown | 0 | 5.951 | 4382 | 1.095 | ----- | ----- | ----- | ----- | 65 | BRN01aug23_017.gcd | 2023-08-01 18:17 | 38 | Unknown | 0 | 12.16 | 3567 | 0.743 | ----- | ----- | ----- | ----- | 1 |  | 65 | 1075.6478 | 842.8248 | 1313.5094 | 695.3531 | 1229.4997 | 677.9455 | 1099.6732 | 633.2742 | 1075.6478 | 842.8248 | 65 | BRN01aug23_017.gcd | 2023-08-01 18:17 | 38 | Unknown | 0 | 2.815 | 1613713 | 0 | ----- | ----- | ----- | -----
66 | BRN01aug23_018.gcd | 2023-08-01 18:47 | 239 | Unknown | 0 | 6.005 | 9783 | 0.014 | ----- | ----- | ----- | ----- | 66 | BRN01aug23_018.gcd | 2023-08-01 18:47 | 239 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN01aug23_018.gcd | 2023-08-01 18:47 | 239 | Unknown | 0 | 12.047 | 106804 | 27.887 | ----- | ----- | ----- | ----- | 1 |  | 66 | 17.7858 | 24211.8006 | 24.1258 | 19120.2683 | 25.1392 | 20231.5874 | 20.2691 | 21681.5778 | 17.7858 | 24211.8006 | 66 | BRN01aug23_018.gcd | 2023-08-01 18:47 | 239 | Unknown | 0 | 2.848 | 964371 | 0 | ----- | ----- | ----- | -----
67 | BRN01aug23_019.gcd | 2023-08-01 19:18 | 309 | Unknown | 0 | 5.997 | 86231 | 0.177 | ----- | ----- | ----- | ----- | 67 | BRN01aug23_019.gcd | 2023-08-01 19:18 | 309 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN01aug23_019.gcd | 2023-08-01 19:18 | 309 | Unknown | 0 | 12.112 | 43557 | 11.622 | ----- | ----- | ----- | ----- | 1 |  | 67 | 240.2547 | 9740.8695 | 265.2527 | 7991.2098 | 225.9086 | 8293.3917 | 199.4015 | 8851.115 | 240.2547 | 9740.8695 | 67 | BRN01aug23_019.gcd | 2023-08-01 19:18 | 309 | Unknown | 0 | 2.854 | 818202 | 0 | ----- | ----- | ----- | -----
68 | BRN01aug23_020.gcd | 2023-08-01 19:49 | 365 | Unknown | 0 | 6.02 | 3646 | 0 | ----- | ----- | ----- | ----- | 68 | BRN01aug23_020.gcd | 2023-08-01 19:49 | 365 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN01aug23_020.gcd | 2023-08-01 19:49 | 365 | Unknown | 0 | 12.031 | 132477 | 34.201 | ----- | ----- | ----- | ----- | 1 |  | 68 | 2.5252 | 30319.7515 | 5.7739 | 23494.4425 | 6.4533 | 25040.3789 | 3.1706 | 26831.4159 | 2.5252 | 30319.7515 | 68 | BRN01aug23_020.gcd | 2023-08-01 19:49 | 365 | Unknown | 0 | 2.862 | 738026 | 0 | ----- | ----- | ----- | -----
69 | BRN01aug23_021.gcd | 2023-08-01 20:19 | 280 | Unknown | 0 | 6.024 | 4538 | 0.002 | ----- | ----- | ----- | ----- | 69 | BRN01aug23_021.gcd | 2023-08-01 20:19 | 280 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN01aug23_021.gcd | 2023-08-01 20:19 | 280 | Unknown | 0 | 12.11 | 44268 | 11.811 | ----- | ----- | ----- | ----- | 1 |  | 69 | 2.2169 | 9885.873 | 8.3419 | 8119.1096 | 9.4404 | 8428.3196 | 4.976 | 8996.4852 | 2.2169 | 9885.873 | 69 | BRN01aug23_021.gcd | 2023-08-01 20:19 | 280 | Unknown | 0 | 2.855 | 786641 | 0 | ----- | ----- | ----- | -----
70 | BRN01aug23_022.gcd | 2023-08-01 20:50 | 241 | Unknown | 0 | 6.009 | 8501 | 0.011 | ----- | ----- | ----- | ----- | 70 | BRN01aug23_022.gcd | 2023-08-01 20:50 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN01aug23_022.gcd | 2023-08-01 20:50 | 241 | Unknown | 0 | 12.029 | 124482 | 32.251 | ----- | ----- | ----- | ----- | 1 |  | 70 | 11.2369 | 28423.4145 | 20.1599 | 22141.1234 | 21.5965 | 23545.1392 | 15.7929 | 25231.2774 | 11.2369 | 28423.4145 | 70 | BRN01aug23_022.gcd | 2023-08-01 20:50 | 241 | Unknown | 0 | 2.854 | 814057 | 0 | ----- | ----- | ----- | -----
71 | BRN01aug23_023.gcd | 2023-08-01 21:21 | 390 | Unknown | 0 | 6.017 | 44466 | 0.088 | ----- | ----- | ----- | ----- | 71 | BRN01aug23_023.gcd | 2023-08-01 21:21 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN01aug23_023.gcd | 2023-08-01 21:21 | 390 | Unknown | 0 | 12.174 | 10338 | 2.621 | ----- | ----- | ----- | ----- | 1 |  | 71 | 121.772 | 2452.0067 | 138.5241 | 1944.7867 | 116.5178 | 1971.0298 | 101.7769 | 2030.4372 | 121.772 | 2452.0067 | 71 | BRN01aug23_023.gcd | 2023-08-01 21:21 | 390 | Unknown | 0 | 2.863 | 1015476 | 0 | ----- | ----- | ----- | -----
72 | BRN01aug23_024.gcd | 2023-08-01 21:51 | 158 | Unknown | 0 | 6.015 | 133289 | 0.278 | ----- | ----- | ----- | ----- | 72 | BRN01aug23_024.gcd | 2023-08-01 21:51 | 158 | Unknown | 0 | 5.964 | 1049 | 0.237 | ----- | ----- | ----- | ----- | 72 | BRN01aug23_024.gcd | 2023-08-01 21:51 | 158 | Unknown | 0 | 12.096 | 77853 | 20.574 | ----- | ----- | ----- | ----- | 1 |  | 72 | 367.1615 | 17259.2895 | 404.6304 | 14088.3216 | 348.6575 | 14783.0823 | 309.0617 | 15833.8361 | 367.1615 | 17259.2895 | 72 | BRN01aug23_024.gcd | 2023-08-01 21:51 | 158 | Unknown | 0 | 2.868 | 897519 | 0 | ----- | ----- | ----- | -----
73 | BRN01aug23_025.gcd | 2023-08-01 22:22 | 235 | Unknown | 0 | 6.059 | 3163 | -0.001 | ----- | ----- | ----- | ----- | 73 | BRN01aug23_025.gcd | 2023-08-01 22:22 | 235 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN01aug23_025.gcd | 2023-08-01 22:22 | 235 | Unknown | 0 | 12.049 | 128041 | 33.121 | ----- | ----- | ----- | ----- | 1 |  | 73 | 3.0508 | 29268.2207 | 4.3975 | 22744.5488 | 4.7974 | 24211.0067 | 2.2895 | 25943.9871 | 3.0508 | 29268.2207 | 73 | BRN01aug23_025.gcd | 2023-08-01 22:22 | 235 | Unknown | 0 | 2.87 | 902392 | 0 | ----- | ----- | ----- | -----
74 | BRN01aug23_026.gcd | 2023-08-01 22:53 | 87 | Unknown | 0 | 6.038 | 4457 | 0.002 | ----- | ----- | ----- | ----- | 74 | BRN01aug23_026.gcd | 2023-08-01 22:53 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN01aug23_026.gcd | 2023-08-01 22:53 | 87 | Unknown | 0 | 12.136 | 40008 | 10.677 | ----- | ----- | ----- | ----- | 1 |  | 74 | 2.2094 | 9010.1801 | 8.1073 | 7351.841 | 9.1729 | 7619.6452 | 4.8025 | 8125.1053 | 2.2094 | 9010.1801 | 74 | BRN01aug23_026.gcd | 2023-08-01 22:53 | 87 | Unknown | 0 | 2.866 | 931814 | 0 | ----- | ----- | ----- | -----
75 | BRN01aug23_027.gcd | 2023-08-01 23:23 | 268 | Unknown | 0 | 6 | 26675 | 0.05 | ----- | ----- | ----- | ----- | 75 | BRN01aug23_027.gcd | 2023-08-01 23:23 | 268 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN01aug23_027.gcd | 2023-08-01 23:23 | 268 | Unknown | 0 | 12.149 | 1308 | 0.113 | ----- | ----- | ----- | ----- | 1 |  | 75 | 69.6299 | 296.6517 | 83.6756 | 277.2258 | 69.7915 | 246.2038 | 60.1056 | 166.6199 | 69.6299 | 296.6517 | 75 | BRN01aug23_027.gcd | 2023-08-01 23:23 | 268 | Unknown | 0 | 2.844 | 1049569 | 0 | ----- | ----- | ----- | -----
76 | BRN01aug23_028.gcd | 2023-08-01 23:54 | 211 | Unknown | 0 | 5.999 | 46397 | 0.092 | ----- | ----- | ----- | ----- | 76 | BRN01aug23_028.gcd | 2023-08-01 23:54 | 211 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN01aug23_028.gcd | 2023-08-01 23:54 | 211 | Unknown | 0 | 12.149 | 9362 | 2.351 | ----- | ----- | ----- | ----- | 1 |  | 76 | 127.3713 | 2222.6322 | 144.4462 | 1765.0432 | 121.5847 | 1784.7313 | 106.2968 | 1829.1886 | 127.3713 | 2222.6322 | 76 | BRN01aug23_028.gcd | 2023-08-01 23:54 | 211 | Unknown | 0 | 2.846 | 999528 | 0 | ----- | ----- | ----- | -----
77 | BRN01aug23_029.gcd | 2023-08-02 00:25 | 225 | Unknown | 0 | 5.998 | 95614 | 0.198 | ----- | ----- | ----- | ----- | 77 | BRN01aug23_029.gcd | 2023-08-02 00:25 | 225 | Unknown | 0 | 5.972 | 852 | 0.186 | ----- | ----- | ----- | ----- | 77 | BRN01aug23_029.gcd | 2023-08-02 00:25 | 225 | Unknown | 0 | 12.158 | 908 | 0.001 | ----- | ----- | ----- | ----- | 1 |  | 77 | 266.1164 | 199.456 | 293.332 | 203.1214 | 250.4265 | 169.7382 | 221.2954 | 83.9626 | 266.1164 | 199.456 | 77 | BRN01aug23_029.gcd | 2023-08-02 00:25 | 225 | Unknown | 0 | 2.848 | 989704 | 0 | ----- | ----- | ----- | -----
78 | BRN01aug23_030.gcd | 2023-08-02 00:55 | 175 | Unknown | 0 | 6.02 | 61462 | 0.124 | ----- | ----- | ----- | ----- | 78 | BRN01aug23_030.gcd | 2023-08-02 00:55 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN01aug23_030.gcd | 2023-08-02 00:55 | 175 | Unknown | 0 | 12.127 | 54967 | 14.637 | ----- | ----- | ----- | ----- | 1 |  | 78 | 170.6516 | 11714.7518 | 190.4391 | 10036.0603 | 161.0846 | 10456.7049 | 141.5385 | 11180.8735 | 170.6516 | 11714.7518 | 78 | BRN01aug23_030.gcd | 2023-08-02 00:55 | 175 | Unknown | 0 | 2.863 | 1093706 | 0 | ----- | ----- | ----- | -----
79 | BRN01aug23_031.gcd | 2023-08-02 01:26 | 278 | Unknown | 0 | 6 | 25356 | 0.047 | ----- | ----- | ----- | ----- | 79 | BRN01aug23_031.gcd | 2023-08-02 01:26 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN01aug23_031.gcd | 2023-08-02 01:26 | 278 | Unknown | 0 | 12.159 | 1623 | 0.2 | ----- | ----- | ----- | ----- | 1 |  | 79 | 65.7244 | 373.0906 | 79.5886 | 335.5689 | 66.3242 | 306.4168 | 57.0141 | 231.7069 | 65.7244 | 373.0906 | 79 | BRN01aug23_031.gcd | 2023-08-02 01:26 | 278 | Unknown | 0 | 2.841 | 1090878 | 0 | ----- | ----- | ----- | -----