## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN01nov23_001.gcd | 2023-11-01 11:07 | QC outside air | Unknown | 0 | 6.095 | 2561 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN01nov23_001.gcd | 2023-11-01 11:07 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN01nov23_001.gcd | 2023-11-01 11:07 | QC outside air | Unknown | 0 | 12.295 | 2151 | 0.348 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.0585 | 501.0137 | 2.6959 | 433.335 | 2.6956 | 407.338 | 1.2862 | 340.7936 | 4.0585 | 501.0137 | 49 | BRN01nov23_001.gcd | 2023-11-01 11:07 | QC outside air | Unknown | 0 | 2.717 | 5321643 | 0 | ----- | ----- | ----- | -----
50 | BRN01nov23_002.gcd | 2023-11-01 11:37 | QC spiked air | Unknown | 0 | 6.024 | 1067683 | 2.287 | ----- | ----- | ----- | ----- | 50 | BRN01nov23_002.gcd | 2023-11-01 11:37 | QC spiked air | Unknown | 0 | 5.977 | 8836 | 2.24 | ----- | ----- | ----- | ----- | 50 | BRN01nov23_002.gcd | 2023-11-01 11:37 | QC spiked air | Unknown | 0 | 12.229 | 9251 | 2.32 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2204.202 | 2196.4905 | 2237.7129 | 1744.5935 | 2550.0834 | 1763.5417 | 2408.6625 | 1806.2977 | 2204.202 | 2196.4905 | 50 | BRN01nov23_002.gcd | 2023-11-01 11:37 | QC spiked air | Unknown | 0 | 2.711 | 5571797 | 0 | ----- | ----- | ----- | -----
51 | BRN01nov23_003.gcd | 2023-11-01 12:08 | QC reference tank new batch | Unknown | 0 | 6.064 | 4008 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN01nov23_003.gcd | 2023-11-01 12:08 | QC reference tank new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN01nov23_003.gcd | 2023-11-01 12:08 | QC reference tank new batch | Unknown | 0 | 12.265 | 1395 | 0.137 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.2965 | 317.7724 | 6.812 | 293.3408 | 7.6767 | 262.8344 | 3.8754 | 184.5968 | 2.2965 | 317.7724 | 51 | BRN01nov23_003.gcd | 2023-11-01 12:08 | QC reference tank new batch | Unknown | 0 | 2.717 | 5511077 | 0 | ----- | ----- | ----- | -----
52 | BRN01nov23_004.gcd | 2023-11-01 12:38 | 360 | Unknown | 0 | 6.062 | 3148 | -0.001 | ----- | ----- | ----- | ----- | 52 | BRN01nov23_004.gcd | 2023-11-01 12:38 | 360 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN01nov23_004.gcd | 2023-11-01 12:38 | 360 | Unknown | 0 | 12.188 | 35229 | 9.398 | ----- | ----- | ----- | ----- | 1 |  | 52 | 3.0711 | 8008.0983 | 4.3549 | 6488.3839 | 4.7455 | 6711.7468 | 2.2632 | 7146.4619 | 3.0711 | 8008.0983 | 52 | BRN01nov23_004.gcd | 2023-11-01 12:38 | 360 | Unknown | 0 | 2.873 | 790100 | 0 | ----- | ----- | ----- | -----
53 | BRN01nov23_005.gcd | 2023-11-01 13:09 | 237 | Unknown | 0 | 6.061 | 3565 | 0 | ----- | ----- | ----- | ----- | 53 | BRN01nov23_005.gcd | 2023-11-01 13:09 | 237 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN01nov23_005.gcd | 2023-11-01 13:09 | 237 | Unknown | 0 | 12.047 | 171250 | 43.459 | ----- | ----- | ----- | ----- | 1 |  | 53 | 2.5958 | 39442.1686 | 5.5424 | 29943.7517 | 6.1775 | 32262.2921 | 3.0181 | 34545.2611 | 2.5958 | 39442.1686 | 53 | BRN01nov23_005.gcd | 2023-11-01 13:09 | 237 | Unknown | 0 | 2.846 | 1239699 | 0 | ----- | ----- | ----- | -----
54 | BRN01nov23_006.gcd | 2023-11-01 13:40 | 148 | Unknown | 0 | 6.041 | 7179 | 0.008 | ----- | ----- | ----- | ----- | 54 | BRN01nov23_006.gcd | 2023-11-01 13:40 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN01nov23_006.gcd | 2023-11-01 13:40 | 148 | Unknown | 0 | 12.184 | 28322 | 7.537 | ----- | ----- | ----- | ----- | 1 |  | 54 | 6.3426 | 6522.9939 | 16.1434 | 5235.3787 | 17.7437 | 5398.2657 | 11.6772 | 5729.9869 | 6.3426 | 6522.9939 | 54 | BRN01nov23_006.gcd | 2023-11-01 13:40 | 148 | Unknown | 0 | 2.848 | 1200646 | 0 | ----- | ----- | ----- | -----
55 | BRN01nov23_007.gcd | 2023-11-01 14:10 | 130 | Unknown | 0 | 6.023 | 110256 | 0.229 | ----- | ----- | ----- | ----- | 55 | BRN01nov23_007.gcd | 2023-11-01 14:10 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN01nov23_007.gcd | 2023-11-01 14:10 | 130 | Unknown | 0 | 12.167 | 46117 | 12.302 | ----- | ----- | ----- | ----- | 1 |  | 55 | 305.9184 | 9559.1957 | 336.8623 | 8451.424 | 288.6438 | 8779.131 | 255.432 | 9374.4085 | 305.9184 | 9559.1957 | 55 | BRN01nov23_007.gcd | 2023-11-01 14:10 | 130 | Unknown | 0 | 2.866 | 817599 | 0 | ----- | ----- | ----- | -----
56 | BRN01nov23_008.gcd | 2023-11-01 14:41 | 299 | Unknown | 0 | 6.026 | 153075 | 0.321 | ----- | ----- | ----- | ----- | 56 | BRN01nov23_008.gcd | 2023-11-01 14:41 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN01nov23_008.gcd | 2023-11-01 14:41 | 299 | Unknown | 0 | 12.12 | 96738 | 25.368 | ----- | ----- | ----- | ----- | 1 |  | 56 | 418.435 | 21802.2506 | 462.1536 | 17382.6384 | 400.1086 | 18340.2826 | 355.0629 | 19653.2223 | 418.435 | 21802.2506 | 56 | BRN01nov23_008.gcd | 2023-11-01 14:41 | 299 | Unknown | 0 | 2.862 | 972604 | 0 | ----- | ----- | ----- | -----
57 | BRN01nov23_009.gcd | 2023-11-01 15:11 | 44 | Unknown | 0 | 6.035 | 10567 | 0.015 | ----- | ----- | ----- | ----- | 57 | BRN01nov23_009.gcd | 2023-11-01 15:11 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN01nov23_009.gcd | 2023-11-01 15:11 | 44 | Unknown | 0 | 12.212 | 6118 | 1.452 | ----- | ----- | ----- | ----- | 1 |  | 57 | 21.5593 | 1454.0002 | 26.5855 | 1166.7577 | 27.4194 | 1165.295 | 22.3323 | 1159.9354 | 21.5593 | 1454.0002 | 57 | BRN01nov23_009.gcd | 2023-11-01 15:11 | 44 | Unknown | 0 | 2.828 | 1671896 | 0 | ----- | ----- | ----- | -----
58 | BRN01nov23_010.gcd | 2023-11-01 15:42 | 411 | Unknown | 0 | 6.037 | 19470 | 0.034 | ----- | ----- | ----- | ----- | 58 | BRN01nov23_010.gcd | 2023-11-01 15:42 | 411 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN01nov23_010.gcd | 2023-11-01 15:42 | 411 | Unknown | 0 | 12.216 | 2396 | 0.416 | ----- | ----- | ----- | ----- | 1 |  | 58 | 48.2294 | 560.2856 | 61.3161 | 478.688 | 50.8465 | 454.1639 | 43.215 | 391.4067 | 48.2294 | 560.2856 | 58 | BRN01nov23_010.gcd | 2023-11-01 15:42 | 411 | Unknown | 0 | 2.85 | 1302111 | 0 | ----- | ----- | ----- | -----
59 | BRN01nov23_011.gcd | 2023-11-01 16:12 | 384 | Unknown | 0 | 6.062 | 4375 | 0.002 | ----- | ----- | ----- | ----- | 59 | BRN01nov23_011.gcd | 2023-11-01 16:12 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN01nov23_011.gcd | 2023-11-01 16:12 | 384 | Unknown | 0 | 12.183 | 45162 | 12.049 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.2091 | 9326.2075 | 7.8701 | 8279.8387 | 8.9014 | 8597.9524 | 4.6288 | 9179.2346 | 2.2091 | 9326.2075 | 59 | BRN01nov23_011.gcd | 2023-11-01 16:12 | 384 | Unknown | 0 | 2.872 | 866590 | 0 | ----- | ----- | ----- | -----
60 | BRN01nov23_012.gcd | 2023-11-01 16:43 | 351 | Unknown | 0 | 6.056 | 3937 | 0.001 | ----- | ----- | ----- | ----- | 60 | BRN01nov23_012.gcd | 2023-11-01 16:43 | 351 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN01nov23_012.gcd | 2023-11-01 16:43 | 351 | Unknown | 0 | 12.208 | 19159 | 5.045 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.3302 | 4485.6566 | 6.608 | 3563.8678 | 7.4379 | 3653.3743 | 3.7341 | 3847.0977 | 2.3302 | 4485.6566 | 60 | BRN01nov23_012.gcd | 2023-11-01 16:43 | 351 | Unknown | 0 | 2.87 | 880451 | 0 | ----- | ----- | ----- | -----
61 | BRN01nov23_013.gcd | 2023-11-01 17:14 | 86 | Unknown | 0 | 6.024 | 102292 | 0.212 | ----- | ----- | ----- | ----- | 61 | BRN01nov23_013.gcd | 2023-11-01 17:14 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN01nov23_013.gcd | 2023-11-01 17:14 | 86 | Unknown | 0 | 12.167 | 47987 | 12.797 | ----- | ----- | ----- | ----- | 1 |  | 61 | 284.3534 | 10015.1973 | 313.2289 | 8787.076 | 267.8633 | 9133.8136 | 236.8689 | 9756.4467 | 284.3534 | 10015.1973 | 61 | BRN01nov23_013.gcd | 2023-11-01 17:14 | 86 | Unknown | 0 | 2.862 | 888266 | 0 | ----- | ----- | ----- | -----
62 | BRN01nov23_014.gcd | 2023-11-01 17:44 | 101 | Unknown | 0 | 6.065 | 3072 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN01nov23_014.gcd | 2023-11-01 17:44 | 101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN01nov23_014.gcd | 2023-11-01 17:44 | 101 | Unknown | 0 | 12.086 | 125585 | 32.521 | ----- | ----- | ----- | ----- | 1 |  | 62 | 3.178 | 28685.3464 | 4.1393 | 22328.3062 | 4.4824 | 23751.5479 | 2.131 | 25452.2285 | 3.178 | 28685.3464 | 62 | BRN01nov23_014.gcd | 2023-11-01 17:44 | 101 | Unknown | 0 | 2.87 | 778079 | 0 | ----- | ----- | ----- | -----
63 | BRN01nov23_015.gcd | 2023-11-01 18:15 | 245 | Unknown | 0 | 6.041 | 10755 | 0.016 | ----- | ----- | ----- | ----- | 63 | BRN01nov23_015.gcd | 2023-11-01 18:15 | 245 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN01nov23_015.gcd | 2023-11-01 18:15 | 245 | Unknown | 0 | 12.227 | 5305 | 1.226 | ----- | ----- | ----- | ----- | 1 |  | 63 | 22.1251 | 1259.864 | 27.1793 | 1016.6105 | 27.9143 | 1010.0004 | 22.7734 | 992.1253 | 22.1251 | 1259.864 | 63 | BRN01nov23_015.gcd | 2023-11-01 18:15 | 245 | Unknown | 0 | 2.863 | 1032495 | 0 | ----- | ----- | ----- | -----
64 | BRN01nov23_016.gcd | 2023-11-01 18:45 | 368 | Unknown | 0 | 6.023 | 147824 | 0.31 | ----- | ----- | ----- | ----- | 64 | BRN01nov23_016.gcd | 2023-11-01 18:45 | 368 | Unknown | 0 | 5.986 | 1082 | 0.245 | ----- | ----- | ----- | ----- | 64 | BRN01nov23_016.gcd | 2023-11-01 18:45 | 368 | Unknown | 0 | 12.117 | 89461 | 23.532 | ----- | ----- | ----- | ----- | 1 |  | 64 | 404.9479 | 20055.1559 | 446.9498 | 16118.5341 | 386.4632 | 16970.952 | 342.8608 | 18183.6452 | 404.9479 | 20055.1559 | 64 | BRN01nov23_016.gcd | 2023-11-01 18:45 | 368 | Unknown | 0 | 2.864 | 882353 | 0 | ----- | ----- | ----- | -----
65 | BRN01nov23_017.gcd | 2023-11-01 19:16 | 196 | Unknown | 0 | 6.023 | 332876 | 0.707 | ----- | ----- | ----- | ----- | 65 | BRN01nov23_017.gcd | 2023-11-01 19:16 | 196 | Unknown | 0 | 5.987 | 2818 | 0.692 | ----- | ----- | ----- | ----- | 65 | BRN01nov23_017.gcd | 2023-11-01 19:16 | 196 | Unknown | 0 | 12.188 | 21606 | 5.713 | ----- | ----- | ----- | ----- | 1 |  | 65 | 797.8184 | 5037.2277 | 955.5935 | 4011.2802 | 863.3207 | 4119.6187 | 770.1985 | 4350.347 | 797.8184 | 5037.2277 | 65 | BRN01nov23_017.gcd | 2023-11-01 19:16 | 196 | Unknown | 0 | 2.869 | 815871 | 0 | ----- | ----- | ----- | -----
66 | BRN01nov23_018.gcd | 2023-11-01 19:46 | 150 | Unknown | 0 | 6.062 | 3215 | -0.001 | ----- | ----- | ----- | ----- | 66 | BRN01nov23_018.gcd | 2023-11-01 19:46 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN01nov23_018.gcd | 2023-11-01 19:46 | 150 | Unknown | 0 | 12.067 | 149440 | 38.291 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.9821 | 34325.8964 | 4.5452 | 26339.2067 | 4.977 | 28205.9466 | 2.3811 | 30215.6274 | 2.9821 | 34325.8964 | 66 | BRN01nov23_018.gcd | 2023-11-01 19:46 | 150 | Unknown | 0 | 2.84 | 1347165 | 0 | ----- | ----- | ----- | -----
67 | BRN01nov23_019.gcd | 2023-11-01 20:17 | 181 | Unknown | 0 | 6.054 | 4985 | 0.003 | ----- | ----- | ----- | ----- | 67 | BRN01nov23_019.gcd | 2023-11-01 20:17 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN01nov23_019.gcd | 2023-11-01 20:17 | 181 | Unknown | 0 | 12.167 | 46146 | 12.31 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.3856 | 9566.2696 | 9.6415 | 8456.6326 | 10.9026 | 8784.6323 | 5.9677 | 9380.3346 | 2.3856 | 9566.2696 | 67 | BRN01nov23_019.gcd | 2023-11-01 20:17 | 181 | Unknown | 0 | 2.855 | 1061431 | 0 | ----- | ----- | ----- | -----
68 | BRN01nov23_020.gcd | 2023-11-01 20:48 | 415 | Unknown | 0 | 6.041 | 7431 | 0.008 | ----- | ----- | ----- | ----- | 68 | BRN01nov23_020.gcd | 2023-11-01 20:48 | 415 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN01nov23_020.gcd | 2023-11-01 20:48 | 415 | Unknown | 0 | 12.187 | 27496 | 7.313 | ----- | ----- | ----- | ----- | 1 |  | 68 | 7.13 | 6342.4787 | 16.9033 | 5085.1324 | 18.4937 | 5241.0842 | 12.4226 | 5560.4293 | 7.13 | 6342.4787 | 68 | BRN01nov23_020.gcd | 2023-11-01 20:48 | 415 | Unknown | 0 | 2.863 | 894145 | 0 | ----- | ----- | ----- | -----
69 | BRN01nov23_021.gcd | 2023-11-01 21:18 | 194 | Unknown | 0 | 6.06 | 3513 | 0 | ----- | ----- | ----- | ----- | 69 | BRN01nov23_021.gcd | 2023-11-01 21:18 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN01nov23_021.gcd | 2023-11-01 21:18 | 194 | Unknown | 0 | 12.086 | 128389 | 33.206 | ----- | ----- | ----- | ----- | 1 |  | 69 | 2.6448 | 29350.7705 | 5.3939 | 22803.4665 | 6 | 24276.0933 | 2.9212 | 26013.6414 | 2.6448 | 29350.7705 | 69 | BRN01nov23_021.gcd | 2023-11-01 21:18 | 194 | Unknown | 0 | 2.844 | 1265835 | 0 | ----- | ----- | ----- | -----
70 | BRN01nov23_022.gcd | 2023-11-01 21:49 | 66 | Unknown | 0 | 6.042 | 14374 | 0.023 | ----- | ----- | ----- | ----- | 70 | BRN01nov23_022.gcd | 2023-11-01 21:49 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN01nov23_022.gcd | 2023-11-01 21:49 | 66 | Unknown | 0 | 12.221 | 8871 | 2.215 | ----- | ----- | ----- | ----- | 1 |  | 70 | 32.9943 | 2106.9114 | 38.9012 | 1674.5737 | 37.4394 | 1690.9976 | 31.2635 | 1727.9274 | 32.9943 | 2106.9114 | 70 | BRN01nov23_022.gcd | 2023-11-01 21:49 | 66 | Unknown | 0 | 2.868 | 999489 | 0 | ----- | ----- | ----- | -----
71 | BRN01nov23_023.gcd | 2023-11-01 22:19 | 201 | Unknown | 0 | 6.027 | 31658 | 0.06 | ----- | ----- | ----- | ----- | 71 | BRN01nov23_023.gcd | 2023-11-01 22:19 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN01nov23_023.gcd | 2023-11-01 22:19 | 201 | Unknown | 0 | 12.204 | 14374 | 3.733 | ----- | ----- | ----- | ----- | 1 |  | 71 | 84.3348 | 3391.3003 | 99.09 | 2686.8006 | 82.8866 | 2741.0913 | 71.7823 | 2862.1331 | 84.3348 | 3391.3003 | 71 | BRN01nov23_023.gcd | 2023-11-01 22:19 | 201 | Unknown | 0 | 2.838 | 1398688 | 0 | ----- | ----- | ----- | -----
72 | BRN01nov23_024.gcd | 2023-11-01 22:50 | 106 | Unknown | 0 | 6.032 | 297833 | 0.632 | ----- | ----- | ----- | ----- | 72 | BRN01nov23_024.gcd | 2023-11-01 22:50 | 106 | Unknown | 0 | 5.975 | 2596 | 0.635 | ----- | ----- | ----- | ----- | 72 | BRN01nov23_024.gcd | 2023-11-01 22:50 | 106 | Unknown | 0 | 12.205 | 19999 | 5.275 | ----- | ----- | ----- | ----- | 1 |  | 72 | 730.2461 | 4675.6142 | 863.563 | 3717.5391 | 773.6545 | 3813.4475 | 689.6976 | 4019.8863 | 730.2461 | 4675.6142 | 72 | BRN01nov23_024.gcd | 2023-11-01 22:50 | 106 | Unknown | 0 | 2.83 | 1763611 | 0 | ----- | ----- | ----- | -----
73 | BRN01nov23_025.gcd | 2023-11-01 23:20 | 217 | Unknown | 0 | 6.062 | 2907 | -0.001 | ----- | ----- | ----- | ----- | 73 | BRN01nov23_025.gcd | 2023-11-01 23:20 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN01nov23_025.gcd | 2023-11-01 23:20 | 217 | Unknown | 0 | 12.182 | 32813 | 8.748 | ----- | ----- | ----- | ----- | 1 |  | 73 | 3.4315 | 7493.5723 | 3.672 | 6050.7762 | 3.9087 | 6252.4806 | 1.8499 | 6651.2699 | 3.4315 | 7493.5723 | 73 | BRN01nov23_025.gcd | 2023-11-01 23:20 | 217 | Unknown | 0 | 2.86 | 918586 | 0 | ----- | ----- | ----- | -----
74 | BRN01nov23_026.gcd | 2023-11-01 23:51 | 15 | Unknown | 0 | 6.026 | 30144 | 0.057 | ----- | ----- | ----- | ----- | 74 | BRN01nov23_026.gcd | 2023-11-01 23:51 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN01nov23_026.gcd | 2023-11-01 23:51 | 15 | Unknown | 0 | 12.198 | 13252 | 3.425 | ----- | ----- | ----- | ----- | 1 |  | 74 | 79.8752 | 3131.6698 | 94.4109 | 2480.7274 | 78.9085 | 2527.0689 | 68.2349 | 2631.0067 | 79.8752 | 3131.6698 | 74 | BRN01nov23_026.gcd | 2023-11-01 23:51 | 15 | Unknown | 0 | 2.835 | 1423029 | 0 | ----- | ----- | ----- | -----
75 | BRN01nov23_027.gcd | 2023-11-02 00:21 | 151 | Unknown | 0 | 6.03 | 14173 | 0.023 | ----- | ----- | ----- | ----- | 75 | BRN01nov23_027.gcd | 2023-11-02 00:21 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN01nov23_027.gcd | 2023-11-02 00:21 | 151 | Unknown | 0 | 12.208 | 8719 | 2.173 | ----- | ----- | ----- | ----- | 1 |  | 75 | 32.3917 | 2071.0428 | 38.2355 | 1646.5608 | 36.9105 | 1661.9787 | 30.792 | 1696.5772 | 32.3917 | 2071.0428 | 75 | BRN01nov23_027.gcd | 2023-11-02 00:21 | 151 | Unknown | 0 | 2.861 | 930820 | 0 | ----- | ----- | ----- | -----
76 | BRN01nov23_028.gcd | 2023-11-02 00:52 | 135 | Unknown | 0 | 6.067 | 3069 | -0.001 | ----- | ----- | ----- | ----- | 76 | BRN01nov23_028.gcd | 2023-11-02 00:52 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN01nov23_028.gcd | 2023-11-02 00:52 | 135 | Unknown | 0 | 12.077 | 137494 | 35.418 | ----- | ----- | ----- | ----- | 1 |  | 76 | 3.1823 | 31507.0657 | 4.1308 | 24339.5759 | 4.472 | 25977.606 | 2.1259 | 27833.8644 | 3.1823 | 31507.0657 | 76 | BRN01nov23_028.gcd | 2023-11-02 00:52 | 135 | Unknown | 0 | 2.856 | 1169643 | 0 | ----- | ----- | ----- | -----
77 | BRN01nov23_029.gcd | 2023-11-02 01:23 | 252 | Unknown | 0 | 6.07 | 3639 | 0 | ----- | ----- | ----- | ----- | 77 | BRN01nov23_029.gcd | 2023-11-02 01:23 | 252 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN01nov23_029.gcd | 2023-11-02 01:23 | 252 | Unknown | 0 | 12.069 | 153389 | 39.234 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.531 | 35255.1525 | 5.7539 | 26996.2864 | 6.4295 | 28941.5505 | 3.1573 | 31001.367 | 2.531 | 35255.1525 | 77 | BRN01nov23_029.gcd | 2023-11-02 01:23 | 252 | Unknown | 0 | 2.844 | 1443476 | 0 | ----- | ----- | ----- | -----
78 | BRN01nov23_030.gcd | 2023-11-02 01:53 | 118 | Unknown | 0 | 6.028 | 21780 | 0.039 | ----- | ----- | ----- | ----- | 78 | BRN01nov23_030.gcd | 2023-11-02 01:53 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN01nov23_030.gcd | 2023-11-02 01:53 | 118 | Unknown | 0 | 12.204 | 4239 | 0.93 | ----- | ----- | ----- | ----- | 1 |  | 78 | 55.1085 | 1004.4003 | 68.494 | 819.6127 | 56.9218 | 806.3466 | 48.6312 | 772.0427 | 55.1085 | 1004.4003 | 78 | BRN01nov23_030.gcd | 2023-11-02 01:53 | 118 | Unknown | 0 | 2.861 | 918497 | 0 | ----- | ----- | ----- | -----
79 | BRN01nov23_031.gcd | 2023-11-02 02:24 | 355 | Unknown | 0 | 6.06 | 4143 | 0.001 | ----- | ----- | ----- | ----- | 79 | BRN01nov23_031.gcd | 2023-11-02 02:24 | 355 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN01nov23_031.gcd | 2023-11-02 02:24 | 355 | Unknown | 0 | 12.191 | 20012 | 5.278 | ----- | ----- | ----- | ----- | 1 |  | 79 | 2.2474 | 4678.549 | 7.2006 | 3719.9167 | 8.129 | 3815.9246 | 4.148 | 4022.5601 | 2.2474 | 4678.549 | 79 | BRN01nov23_031.gcd | 2023-11-02 02:24 | 355 | Unknown | 0 | 2.864 | 859834 | 0 | ----- | ----- | ----- | -----