## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN04oct23_001.gcd | 2023-10-04 11:57 | QC outside air | Unknown | 0 | 6.091 | 1732 | -0.004 | ----- | ----- | ----- | ----- | 49 | BRN04oct23_001.gcd | 2023-10-04 11:57 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN04oct23_001.gcd | 2023-10-04 11:57 | QC outside air | Unknown | 0 | 12.238 | 2629 | 0.481 | ----- | ----- | ----- | ----- | 1 |  | 49 | 6.0869 | 616.6036 | 0.37781 | 521.8128 | -0.2674 | 498.6944 | 0.076921 | 439.5379 | 6.0869 | 616.6036 | 49 | BRN04oct23_001.gcd | 2023-10-04 11:57 | QC outside air | Unknown | 0 | 2.732 | 5134803 | 0 | ----- | ----- | ----- | -----
50 | BRN04oct23_002.gcd | 2023-10-04 12:27 | QC spiked air | Unknown | 0 | 5.994 | 1140982 | 2.444 | ----- | ----- | ----- | ----- | 50 | BRN04oct23_002.gcd | 2023-10-04 12:27 | QC spiked air | Unknown | 0 | 5.947 | 9128 | 2.315 | ----- | ----- | ----- | ----- | 50 | BRN04oct23_002.gcd | 2023-10-04 12:27 | QC spiked air | Unknown | 0 | 12.162 | 10908 | 2.778 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2343.3909 | 2585.5632 | 2293.1809 | 2049.7045 | 2624.847 | 2079.8169 | 2480.7141 | 2147.9471 | 2343.3909 | 2585.5632 | 50 | BRN04oct23_002.gcd | 2023-10-04 12:27 | QC spiked air | Unknown | 0 | 2.7 | 5399423 | 0 | ----- | ----- | ----- | -----
51 | BRN04oct23_003.gcd | 2023-10-04 12:58 | QC reference tank reused | Unknown | 0 | 6.028 | 3530 | 0 | ----- | ----- | ----- | ----- | 51 | BRN04oct23_003.gcd | 2023-10-04 12:58 | QC reference tank reused | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN04oct23_003.gcd | 2023-10-04 12:58 | QC reference tank reused | Unknown | 0 | 12.181 | 1717 | 0.227 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.6284 | 395.8834 | 5.4424 | 352.9767 | 6.0581 | 324.3845 | 2.9528 | 251.1287 | 2.6284 | 395.8834 | 51 | BRN04oct23_003.gcd | 2023-10-04 12:58 | QC reference tank reused | Unknown | 0 | 2.696 | 5493458 | 0 | ----- | ----- | ----- | -----
52 | BRN04oct23_004.gcd | 2023-10-04 13:29 | 332 | Unknown | 0 | 6.053 | 2520 | -0.002 | ----- | ----- | ----- | ----- | 52 | BRN04oct23_004.gcd | 2023-10-04 13:29 | 332 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN04oct23_004.gcd | 2023-10-04 13:29 | 332 | Unknown | 0 | 11.963 | 234227 | 57.859 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4.1414 | 53997.1603 | 2.5805 | 40016.81 | 2.551 | 43888.2836 | 1.2217 | 46910.9353 | 4.1414 | 53997.1603 | 52 | BRN04oct23_004.gcd | 2023-10-04 13:29 | 332 | Unknown | 0 | 2.885 | 665722 | 0 | ----- | ----- | ----- | -----
53 | BRN04oct23_005.gcd | 2023-10-04 13:59 | 334 | Unknown | 0 | 5.857 | 37686809 | 87.535 | ----- | ----- | ----- | ----- | 53 | BRN04oct23_005.gcd | 2023-10-04 13:59 | 334 | Unknown | 0 | 5.839 | 434263 | 106.799 | ----- | ----- | ----- | ----- | 53 | BRN04oct23_005.gcd | 2023-10-04 13:59 | 334 | Unknown | 0 | 12.105 | 65989 | 17.514 | ----- | ----- | ----- | ----- | 1 |  | 53 | 106584.7724 | 14390.3743 | 83645.5433 | 11995.8556 | 107846.2452 | 12542.4338 | 103878.4225 | 13425.0982 | 106584.7724 | 14390.3743 | 53 | BRN04oct23_005.gcd | 2023-10-04 13:59 | 334 | Unknown | 0 | 2.89 | 551455 | 0 | ----- | ----- | ----- | -----
54 | BRN04oct23_006.gcd | 2023-10-04 14:30 | 225 | Unknown | 0 | 6.018 | 146887 | 0.308 | ----- | ----- | ----- | ----- | 54 | BRN04oct23_006.gcd | 2023-10-04 14:30 | 225 | Unknown | 0 | 5.972 | 1390 | 0.325 | ----- | ----- | ----- | ----- | 54 | BRN04oct23_006.gcd | 2023-10-04 14:30 | 225 | Unknown | 0 | 12.081 | 92450 | 24.288 | ----- | ----- | ----- | ----- | 1 |  | 54 | 402.5321 | 20773.2926 | 444.2321 | 16638.5647 | 384.0276 | 17533.6077 | 340.683 | 18787.5955 | 402.5321 | 20773.2926 | 54 | BRN04oct23_006.gcd | 2023-10-04 14:30 | 225 | Unknown | 0 | 2.883 | 759509 | 0 | ----- | ----- | ----- | -----
55 | BRN04oct23_007.gcd | 2023-10-04 15:01 | 351 | Unknown | 0 | 5.988 | 1376091 | 2.951 | ----- | ----- | ----- | ----- | 55 | BRN04oct23_007.gcd | 2023-10-04 15:01 | 351 | Unknown | 0 | 5.941 | 12665 | 3.224 | ----- | ----- | ----- | ----- | 55 | BRN04oct23_007.gcd | 2023-10-04 15:01 | 351 | Unknown | 0 | 11.975 | 181294 | 45.807 | ----- | ----- | ----- | ----- | 1 |  | 55 | 2788.4951 | 41785.2425 | 2965.1104 | 31583.6437 | 3530.1867 | 34125.129 | 3353.2129 | 36530.9908 | 2788.4951 | 41785.2425 | 55 | BRN04oct23_007.gcd | 2023-10-04 15:01 | 351 | Unknown | 0 | 2.861 | 666479 | 0 | ----- | ----- | ----- | -----
56 | BRN04oct23_008.gcd | 2023-10-04 15:31 | 355 | Unknown | 0 | 5.998 | 13514 | 0.022 | ----- | ----- | ----- | ----- | 56 | BRN04oct23_008.gcd | 2023-10-04 15:31 | 355 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN04oct23_008.gcd | 2023-10-04 15:31 | 355 | Unknown | 0 | 12.136 | 7701 | 1.891 | ----- | ----- | ----- | ----- | 1 |  | 56 | 30.4151 | 1830.2748 | 36.0652 | 1458.8728 | 35.1762 | 1467.6089 | 29.2462 | 1486.5832 | 30.4151 | 1830.2748 | 56 | BRN04oct23_008.gcd | 2023-10-04 15:31 | 355 | Unknown | 0 | 2.848 | 922582 | 0 | ----- | ----- | ----- | -----
57 | BRN04oct23_009.gcd | 2023-10-04 16:02 | 74 | Unknown | 0 | 6.02 | 22954 | 0.042 | ----- | ----- | ----- | ----- | 57 | BRN04oct23_009.gcd | 2023-10-04 16:02 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN04oct23_009.gcd | 2023-10-04 16:02 | 74 | Unknown | 0 | 12.001 | 190652 | 47.976 | ----- | ----- | ----- | ----- | 1 |  | 57 | 58.5981 | 43960.8596 | 72.1387 | 33100.1352 | 60.009 | 35857.7829 | 51.3836 | 38376.4627 | 58.5981 | 43960.8596 | 57 | BRN04oct23_009.gcd | 2023-10-04 16:02 | 74 | Unknown | 0 | 2.88 | 785030 | 0 | ----- | ----- | ----- | -----
58 | BRN04oct23_010.gcd | 2023-10-04 16:33 | 377 | Unknown | 0 | 6.019 | 684584 | 1.462 | ----- | ----- | ----- | ----- | 58 | BRN04oct23_010.gcd | 2023-10-04 16:33 | 377 | Unknown | 0 | 5.968 | 5346 | 1.343 | ----- | ----- | ----- | ----- | 58 | BRN04oct23_010.gcd | 2023-10-04 16:33 | 377 | Unknown | 0 | 12.172 | 9431 | 2.37 | ----- | ----- | ----- | ----- | 1 |  | 58 | 1473.476 | 2238.8768 | 1768.2321 | 1777.7544 | 1746.8073 | 1797.903 | 1567.1877 | 1843.4179 | 1473.476 | 2238.8768 | 58 | BRN04oct23_010.gcd | 2023-10-04 16:33 | 377 | Unknown | 0 | 2.882 | 802163 | 0 | ----- | ----- | ----- | -----
59 | BRN04oct23_011.gcd | 2023-10-04 17:04 | 135 | Unknown | 0 | 5.998 | 20344 | 0.036 | ----- | ----- | ----- | ----- | 59 | BRN04oct23_011.gcd | 2023-10-04 17:04 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN04oct23_011.gcd | 2023-10-04 17:04 | 135 | Unknown | 0 | 12.138 | 10470 | 2.657 | ----- | ----- | ----- | ----- | 1 |  | 59 | 50.8341 | 2482.9619 | 64.0329 | 1969.0871 | 53.1453 | 1996.2236 | 45.2644 | 2057.6515 | 50.8341 | 2482.9619 | 59 | BRN04oct23_011.gcd | 2023-10-04 17:04 | 135 | Unknown | 0 | 2.855 | 809733 | 0 | ----- | ----- | ----- | -----
60 | BRN04oct23_012.gcd | 2023-10-04 17:34 | 237 | Unknown | 0 | 6.017 | 604442 | 1.29 | ----- | ----- | ----- | ----- | 60 | BRN04oct23_012.gcd | 2023-10-04 17:34 | 237 | Unknown | 0 | 5.962 | 4994 | 1.252 | ----- | ----- | ----- | ----- | 60 | BRN04oct23_012.gcd | 2023-10-04 17:34 | 237 | Unknown | 0 | 12.175 | 9713 | 2.448 | ----- | ----- | ----- | ----- | 1 |  | 60 | 1319.922 | 2305.2224 | 1600.8237 | 1829.6983 | 1548.1227 | 1851.7336 | 1387.3345 | 1901.5695 | 1319.922 | 2305.2224 | 60 | BRN04oct23_012.gcd | 2023-10-04 17:34 | 237 | Unknown | 0 | 2.871 | 949522 | 0 | ----- | ----- | ----- | -----
61 | BRN04oct23_013.gcd | 2023-10-04 18:05 | 376 | Unknown | 0 | 6.001 | 13666 | 0.022 | ----- | ----- | ----- | ----- | 61 | BRN04oct23_013.gcd | 2023-10-04 18:05 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN04oct23_013.gcd | 2023-10-04 18:05 | 376 | Unknown | 0 | 12.149 | 9267 | 2.325 | ----- | ----- | ----- | ----- | 1 |  | 61 | 30.8711 | 2200.2594 | 36.5642 | 1747.5413 | 35.5762 | 1766.596 | 29.6027 | 1809.5973 | 30.8711 | 2200.2594 | 61 | BRN04oct23_013.gcd | 2023-10-04 18:05 | 376 | Unknown | 0 | 2.849 | 898847 | 0 | ----- | ----- | ----- | -----
62 | BRN04oct23_014.gcd | 2023-10-04 18:35 | 196 | Unknown | 0 | 6.023 | 23689 | 0.043 | ----- | ----- | ----- | ----- | 62 | BRN04oct23_014.gcd | 2023-10-04 18:35 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN04oct23_014.gcd | 2023-10-04 18:35 | 196 | Unknown | 0 | 12.008 | 186505 | 47.017 | ----- | ----- | ----- | ----- | 1 |  | 62 | 60.7807 | 42997.6182 | 74.4193 | 32429.4581 | 61.9416 | 35090.3083 | 53.1066 | 37559.1929 | 60.7807 | 42997.6182 | 62 | BRN04oct23_014.gcd | 2023-10-04 18:35 | 196 | Unknown | 0 | 2.851 | 1402404 | 0 | ----- | ----- | ----- | -----
63 | BRN04oct23_015.gcd | 2023-10-04 19:06 | 125 | Unknown | 0 | 5.998 | 18939 | 0.033 | ----- | ----- | ----- | ----- | 63 | BRN04oct23_015.gcd | 2023-10-04 19:06 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN04oct23_015.gcd | 2023-10-04 19:06 | 125 | Unknown | 0 | 12.105 | 43771 | 11.679 | ----- | ----- | ----- | ----- | 1 |  | 63 | 46.6457 | 9784.5618 | 59.6648 | 8029.7123 | 49.4498 | 8334.0047 | 41.9699 | 8894.8719 | 46.6457 | 9784.5618 | 63 | BRN04oct23_015.gcd | 2023-10-04 19:06 | 125 | Unknown | 0 | 2.838 | 1112080 | 0 | ----- | ----- | ----- | -----
64 | BRN04oct23_016.gcd | 2023-10-04 19:37 | 108 | Unknown | 0 | 5.996 | 86886 | 0.179 | ----- | ----- | ----- | ----- | 64 | BRN04oct23_016.gcd | 2023-10-04 19:37 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN04oct23_016.gcd | 2023-10-04 19:37 | 108 | Unknown | 0 | 12.154 | 6359 | 1.519 | ----- | ----- | ----- | ----- | 1 |  | 64 | 242.069 | 1511.4327 | 267.2175 | 1211.2504 | 227.6208 | 1211.3253 | 200.9303 | 1209.6734 | 242.069 | 1511.4327 | 64 | BRN04oct23_016.gcd | 2023-10-04 19:37 | 108 | Unknown | 0 | 2.858 | 766296 | 0 | ----- | ----- | ----- | -----
65 | BRN04oct23_017.gcd | 2023-10-04 20:08 | 130 | Unknown | 0 | 6.287 | 175895 | 0.37 | ----- | ----- | ----- | ----- | 65 | BRN04oct23_017.gcd | 2023-10-04 20:08 | 130 | Unknown | 0 | 6.252 | 1411 | 0.33 | ----- | ----- | ----- | ----- | 65 | BRN04oct23_017.gcd | 2023-10-04 20:08 | 130 | Unknown | 0 | 12.348 | 96395 | 25.282 | ----- | ----- | ----- | ----- | 1 |  | 65 | 476.0376 | 21719.9989 | 527.7039 | 17323.2044 | 459.3317 | 18275.7781 | 408.0396 | 19584.0148 | 476.0376 | 21719.9989 | 65 | BRN04oct23_017.gcd | 2023-10-04 20:08 | 130 | Unknown | 0 | 2.888 | 5116 | 0 | ----- | ----- | ----- | -----
66 | BRN04oct23_018.gcd | 2023-10-04 20:38 | 37 | Unknown | 0 | 6.039 | 2537 | -0.002 | ----- | ----- | ----- | ----- | 66 | BRN04oct23_018.gcd | 2023-10-04 20:38 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN04oct23_018.gcd | 2023-10-04 20:38 | 37 | Unknown | 0 | 11.937 | 234837 | 57.995 | ----- | ----- | ----- | ----- | 1 |  | 66 | 4.1068 | 54136.5547 | 2.6284 | 40111.9437 | 2.611 | 44000.2631 | 1.2483 | 47029.7203 | 4.1068 | 54136.5547 | 66 | BRN04oct23_018.gcd | 2023-10-04 20:38 | 37 | Unknown | 0 | 2.848 | 910952 | 0 | ----- | ----- | ----- | -----
67 | BRN04oct23_019.gcd | 2023-10-04 21:09 | 128 | Unknown | 0 | 6.045 | 2394 | -0.002 | ----- | ----- | ----- | ----- | 67 | BRN04oct23_019.gcd | 2023-10-04 21:09 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN04oct23_019.gcd | 2023-10-04 21:09 | 128 | Unknown | 0 | 11.975 | 219655 | 54.592 | ----- | ----- | ----- | ----- | 1 |  | 67 | 4.4075 | 50658.1873 | 2.2266 | 37730.32 | 2.1051 | 41209.6603 | 1.0265 | 44067.6914 | 4.4075 | 50658.1873 | 67 | BRN04oct23_019.gcd | 2023-10-04 21:09 | 128 | Unknown | 0 | 2.877 | 820710 | 0 | ----- | ----- | ----- | -----
68 | BRN04oct23_020.gcd | 2023-10-04 21:40 | 387 | Unknown | 0 | 6.021 | 17898 | 0.031 | ----- | ----- | ----- | ----- | 68 | BRN04oct23_020.gcd | 2023-10-04 21:40 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN04oct23_020.gcd | 2023-10-04 21:40 | 387 | Unknown | 0 | 12.144 | 38237 | 10.204 | ----- | ----- | ----- | ----- | 1 |  | 68 | 43.5384 | 8641.2587 | 56.4264 | 7032.1958 | 46.7114 | 7283.2832 | 39.5287 | 7762.5759 | 43.5384 | 8641.2587 | 68 | BRN04oct23_020.gcd | 2023-10-04 21:40 | 387 | Unknown | 0 | 2.878 | 815387 | 0 | ----- | ----- | ----- | -----
69 | BRN04oct23_021.gcd | 2023-10-04 22:10 | 68 | Unknown | 0 | 6 | 11904 | 0.018 | ----- | ----- | ----- | ----- | 69 | BRN04oct23_021.gcd | 2023-10-04 22:10 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN04oct23_021.gcd | 2023-10-04 22:10 | 68 | Unknown | 0 | 12.143 | 12087 | 3.104 | ----- | ----- | ----- | ----- | 1 |  | 69 | 25.5804 | 2860.8738 | 30.8406 | 2266.5894 | 30.9388 | 2304.8009 | 25.4692 | 2390.9545 | 25.5804 | 2860.8738 | 69 | BRN04oct23_021.gcd | 2023-10-04 22:10 | 68 | Unknown | 0 | 2.852 | 857262 | 0 | ----- | ----- | ----- | -----
70 | BRN04oct23_022.gcd | 2023-10-04 22:41 | 358 | Unknown | 0 | 6.021 | 19780 | 0.035 | ----- | ----- | ----- | ----- | 70 | BRN04oct23_022.gcd | 2023-10-04 22:41 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN04oct23_022.gcd | 2023-10-04 22:41 | 358 | Unknown | 0 | 12.177 | 9481 | 2.384 | ----- | ----- | ----- | ----- | 1 |  | 70 | 49.1535 | 2250.6455 | 62.2798 | 1786.965 | 51.6619 | 1807.4476 | 43.9419 | 1853.7287 | 49.1535 | 2250.6455 | 70 | BRN04oct23_022.gcd | 2023-10-04 22:41 | 358 | Unknown | 0 | 2.879 | 813967 | 0 | ----- | ----- | ----- | -----
71 | BRN04oct23_023.gcd | 2023-10-04 23:12 | 346 | Unknown | 0 | 6.025 | 2475 | -0.002 | ----- | ----- | ----- | ----- | 71 | BRN04oct23_023.gcd | 2023-10-04 23:12 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN04oct23_023.gcd | 2023-10-04 23:12 | 346 | Unknown | 0 | 11.93 | 235160 | 58.067 | ----- | ----- | ----- | ----- | 1 |  | 71 | 4.2345 | 54210.3528 | 2.454 | 40162.2988 | 2.3919 | 44059.5523 | 1.1514 | 47092.6102 | 4.2345 | 54210.3528 | 71 | BRN04oct23_023.gcd | 2023-10-04 23:12 | 346 | Unknown | 0 | 2.851 | 850135 | 0 | ----- | ----- | ----- | -----
72 | BRN04oct23_024.gcd | 2023-10-04 23:42 | 301 | Unknown | 0 | 6.012 | 3895 | 0.001 | ----- | ----- | ----- | ----- | 72 | BRN04oct23_024.gcd | 2023-10-04 23:42 | 301 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN04oct23_024.gcd | 2023-10-04 23:42 | 301 | Unknown | 0 | 12.155 | 7087 | 1.721 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.3527 | 1684.6001 | 6.4874 | 1345.6071 | 7.2964 | 1350.3597 | 3.6513 | 1359.9011 | 2.3527 | 1684.6001 | 72 | BRN04oct23_024.gcd | 2023-10-04 23:42 | 301 | Unknown | 0 | 2.854 | 821113 | 0 | ----- | ----- | ----- | -----
73 | BRN04oct23_025.gcd | 2023-10-05 00:13 | 323 | Unknown | 0 | 5.997 | 13702 | 0.022 | ----- | ----- | ----- | ----- | 73 | BRN04oct23_025.gcd | 2023-10-05 00:13 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN04oct23_025.gcd | 2023-10-05 00:13 | 323 | Unknown | 0 | 12.134 | 12912 | 3.331 | ----- | ----- | ----- | ----- | 1 |  | 73 | 30.9791 | 3052.7671 | 36.6825 | 2418.2498 | 35.671 | 2462.2055 | 29.6872 | 2560.9557 | 30.9791 | 3052.7671 | 73 | BRN04oct23_025.gcd | 2023-10-05 00:13 | 323 | Unknown | 0 | 2.853 | 840876 | 0 | ----- | ----- | ----- | -----
74 | BRN04oct23_026.gcd | 2023-10-05 00:44 | 366 | Unknown | 0 | 5.991 | 850629 | 1.819 | ----- | ----- | ----- | ----- | 74 | BRN04oct23_026.gcd | 2023-10-05 00:44 | 366 | Unknown | 0 | 5.941 | 7216 | 1.824 | ----- | ----- | ----- | ----- | 74 | BRN04oct23_026.gcd | 2023-10-05 00:44 | 366 | Unknown | 0 | 11.953 | 201795 | 50.536 | ----- | ----- | ----- | ----- | 1 |  | 74 | 1790.8619 | 46542.1235 | 1929.9895 | 34891.5519 | 2135.2373 | 37917.2189 | 2008.8645 | 40568.1209 | 1790.8619 | 46542.1235 | 74 | BRN04oct23_026.gcd | 2023-10-05 00:44 | 366 | Unknown | 0 | 2.843 | 979676 | 0 | ----- | ----- | ----- | -----
75 | BRN04oct23_027.gcd | 2023-10-05 01:15 | 73 | Unknown | 0 | 5.998 | 21725 | 0.039 | ----- | ----- | ----- | ----- | 75 | BRN04oct23_027.gcd | 2023-10-05 01:15 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN04oct23_027.gcd | 2023-10-05 01:15 | 73 | Unknown | 0 | 12.143 | 5137 | 1.18 | ----- | ----- | ----- | ----- | 1 |  | 75 | 54.9449 | 1219.6721 | 68.3232 | 985.5734 | 56.7772 | 977.9073 | 48.5023 | 957.4445 | 54.9449 | 1219.6721 | 75 | BRN04oct23_027.gcd | 2023-10-05 01:15 | 73 | Unknown | 0 | 2.852 | 866386 | 0 | ----- | ----- | ----- | -----
76 | BRN04oct23_028.gcd | 2023-10-05 01:45 | 177 | Unknown | 0 | 5.85 | 40094380 | 93.675 | ----- | ----- | ----- | ----- | 76 | BRN04oct23_028.gcd | 2023-10-05 01:45 | 177 | Unknown | 0 | 5.832 | 475808 | 116.545 | ----- | ----- | ----- | ----- | 76 | BRN04oct23_028.gcd | 2023-10-05 01:45 | 177 | Unknown | 0 | 12.12 | 55795 | 14.855 | ----- | ----- | ----- | ----- | 1 |  | 76 | 116484.8869 | 11916.0964 | 91659.141 | 10183.8148 | 117739.5586 | 10613.5273 | 113411.4556 | 11349.6806 | 116484.8869 | 11916.0964 | 76 | BRN04oct23_028.gcd | 2023-10-05 01:45 | 177 | Unknown | 0 | 2.891 | 589860 | 0 | ----- | ----- | ----- | -----
77 | BRN04oct23_029.gcd | 2023-10-05 02:16 | 28 | Unknown | 0 | 5.978 | 4048307 | 8.74 | ----- | ----- | ----- | ----- | 77 | BRN04oct23_029.gcd | 2023-10-05 02:16 | 28 | Unknown | 0 | 5.932 | 33547 | 8.573 | ----- | ----- | ----- | ----- | 77 | BRN04oct23_029.gcd | 2023-10-05 02:16 | 28 | Unknown | 0 | 12.067 | 70714 | 18.738 | ----- | ----- | ----- | ----- | 1 |  | 77 | 7702.9841 | 15534.3386 | 6933.7722 | 12831.3261 | 8864.964 | 13435.3512 | 8494.4534 | 14385.2718 | 7702.9841 | 15534.3386 | 77 | BRN04oct23_029.gcd | 2023-10-05 02:16 | 28 | Unknown | 0 | 2.853 | 763748 | 0 | ----- | ----- | ----- | -----
78 | BRN04oct23_030.gcd | 2023-10-05 02:47 | 44 | Unknown | 0 | 5.977 | 4208400 | 9.089 | ----- | ----- | ----- | ----- | 78 | BRN04oct23_030.gcd | 2023-10-05 02:47 | 44 | Unknown | 0 | 5.932 | 35741 | 9.134 | ----- | ----- | ----- | ----- | 78 | BRN04oct23_030.gcd | 2023-10-05 02:47 | 44 | Unknown | 0 | 12.07 | 70176 | 18.598 | ----- | ----- | ----- | ----- | 1 |  | 78 | 7988.9783 | 15404.1762 | 7350.9122 | 12736.3388 | 9424.4546 | 13333.718 | 9033.6447 | 14276.0016 | 7988.9783 | 15404.1762 | 78 | BRN04oct23_030.gcd | 2023-10-05 02:47 | 44 | Unknown | 0 | 2.855 | 714526 | 0 | ----- | ----- | ----- | -----