## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN06sep23_001.gcd | 2023-09-06 12:28 | QC outside air | Unknown | 0 | 6.08 | 2151 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN06sep23_001.gcd | 2023-09-06 12:28 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN06sep23_001.gcd | 2023-09-06 12:28 | QC outside air | Unknown | 0 | 12.228 | 4001 | 0.864 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.969 | 947.2228 | 1.5458 | 775.6106 | 1.2401 | 760.8729 | 0.66314 | 722.8982 | 4.969 | 947.2228 | 49 | BRN06sep23_001.gcd | 2023-09-06 12:28 | QC outside air | Unknown | 0 | 2.695 | 5367183 | 0 | ----- | ----- | ----- | -----
50 | BRN06sep23_002.gcd | 2023-09-06 12:59 | QC spiked air | Unknown | 0 | 6.006 | 9597 | 0.013 | ----- | ----- | ----- | ----- | 50 | BRN06sep23_002.gcd | 2023-09-06 12:59 | QC spiked air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN06sep23_002.gcd | 2023-09-06 12:59 | QC spiked air | Unknown | 0 | 12.183 | 2074 | 0.326 | ----- | ----- | ----- | ----- | 1 |  | 50 | 16.7256 | 482.3741 | 23.5461 | 419.0796 | 24.637 | 392.6209 | 19.59 | 324.886 | 16.7256 | 482.3741 | 50 | BRN06sep23_002.gcd | 2023-09-06 12:59 | QC spiked air | Unknown | 0 | 2.695 | 5293621 | 0 | ----- | ----- | ----- | -----
51 | BRN06sep23_003.gcd | 2023-09-06 13:29 | QC reference tank | Unknown | 0 | 6.046 | 3853 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN06sep23_003.gcd | 2023-09-06 13:29 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN06sep23_003.gcd | 2023-09-06 13:29 | QC reference tank | Unknown | 0 | 12.192 | 2059 | 0.322 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.3771 | 478.7424 | 6.3668 | 416.3025 | 7.1547 | 389.7539 | 3.5689 | 321.7871 | 2.3771 | 478.7424 | 51 | BRN06sep23_003.gcd | 2023-09-06 13:29 | QC reference tank | Unknown | 0 | 2.695 | 5410167 | 0 | ----- | ----- | ----- | -----
52 | BRN06sep23_004.gcd | 2023-09-06 14:00 | 135 | Unknown | 0 | 6.047 | 3707 | 0 | ----- | ----- | ----- | ----- | 52 | BRN06sep23_004.gcd | 2023-09-06 14:00 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN06sep23_004.gcd | 2023-09-06 14:00 | 135 | Unknown | 0 | 11.998 | 182734 | 46.142 | ----- | ----- | ----- | ----- | 1 |  | 52 | 2.4767 | 42120.4907 | 5.9484 | 31817.7157 | 6.6605 | 34391.9335 | 3.2867 | 36815.2612 | 2.4767 | 42120.4907 | 52 | BRN06sep23_004.gcd | 2023-09-06 14:00 | 135 | Unknown | 0 | 2.88 | 655870 | 0 | ----- | ----- | ----- | -----
53 | BRN06sep23_005.gcd | 2023-09-06 14:31 | 148 | Unknown | 0 | 6.024 | 13901 | 0.022 | ----- | ----- | ----- | ----- | 53 | BRN06sep23_005.gcd | 2023-09-06 14:31 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN06sep23_005.gcd | 2023-09-06 14:31 | 148 | Unknown | 0 | 12.175 | 6452 | 1.545 | ----- | ----- | ----- | ----- | 1 |  | 53 | 31.576 | 1533.5813 | 37.3375 | 1228.4178 | 36.1947 | 1229.0875 | 30.154 | 1228.866 | 31.576 | 1533.5813 | 53 | BRN06sep23_005.gcd | 2023-09-06 14:31 | 148 | Unknown | 0 | 2.878 | 728618 | 0 | ----- | ----- | ----- | -----
54 | BRN06sep23_006.gcd | 2023-09-06 15:02 | 80 | Unknown | 0 | 6.12 | 2312 | -0.003 | ----- | ----- | ----- | ----- | 54 | BRN06sep23_006.gcd | 2023-09-06 15:02 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN06sep23_006.gcd | 2023-09-06 15:02 | 80 | Unknown | 0 | 11.999 | 203261 | 50.872 | ----- | ----- | ----- | ----- | 1 |  | 54 | 4.5898 | 46880.9648 | 1.9965 | 35126.0747 | 1.814 | 38187.8627 | 0.90197 | 40855.989 | 4.5898 | 46880.9648 | 54 | BRN06sep23_006.gcd | 2023-09-06 15:02 | 80 | Unknown | 0 | 2.885 | 769395 | 0 | ----- | ----- | ----- | -----
55 | BRN06sep23_007.gcd | 2023-09-06 15:32 | 321 | Unknown | 0 | 6.024 | 14951 | 0.025 | ----- | ----- | ----- | ----- | 55 | BRN06sep23_007.gcd | 2023-09-06 15:32 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN06sep23_007.gcd | 2023-09-06 15:32 | 321 | Unknown | 0 | 12.187 | 3100 | 0.613 | ----- | ----- | ----- | ----- | 1 |  | 55 | 34.7234 | 730.2969 | 40.8215 | 608.9668 | 38.9578 | 588.7057 | 32.6169 | 536.8248 | 34.7234 | 730.2969 | 55 | BRN06sep23_007.gcd | 2023-09-06 15:32 | 321 | Unknown | 0 | 2.867 | 962617 | 0 | ----- | ----- | ----- | -----
56 | BRN06sep23_008.gcd | 2023-09-06 16:03 | 197 | Unknown | 0 | 6.084 | 2358 | -0.002 | ----- | ----- | ----- | ----- | 56 | BRN06sep23_008.gcd | 2023-09-06 16:03 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN06sep23_008.gcd | 2023-09-06 16:03 | 197 | Unknown | 0 | 12 | 186377 | 46.987 | ----- | ----- | ----- | ----- | 1 |  | 56 | 4.4866 | 42967.8647 | 2.1255 | 32408.7228 | 1.9774 | 35066.6108 | 0.97159 | 37533.9533 | 4.4866 | 42967.8647 | 56 | BRN06sep23_008.gcd | 2023-09-06 16:03 | 197 | Unknown | 0 | 2.876 | 775968 | 0 | ----- | ----- | ----- | -----
57 | BRN06sep23_009.gcd | 2023-09-06 16:34 | 311 | Unknown | 0 | 5.895 | 29465694 | 67.135 | ----- | ----- | ----- | ----- | 57 | BRN06sep23_009.gcd | 2023-09-06 16:34 | 311 | Unknown | 0 | 5.872 | 319940 | 79.58 | ----- | ----- | ----- | ----- | 57 | BRN06sep23_009.gcd | 2023-09-06 16:34 | 311 | Unknown | 0 | 12.12 | 54702 | 14.568 | ----- | ----- | ----- | ----- | 1 |  | 57 | 78985.3779 | 11650.3 | 61652.3639 | 9988.7536 | 80264.3186 | 10406.5095 | 77300.2061 | 11126.8397 | 78985.3779 | 11650.3 | 57 | BRN06sep23_009.gcd | 2023-09-06 16:34 | 311 | Unknown | 0 | 2.888 | 546340 | 0 | ----- | ----- | ----- | -----
58 | BRN06sep23_010.gcd | 2023-09-06 17:04 | 319 | Unknown | 0 | 6.001 | 4820149 | 10.424 | ----- | ----- | ----- | ----- | 58 | BRN06sep23_010.gcd | 2023-09-06 17:04 | 319 | Unknown | 0 | 5.956 | 40819 | 10.43 | ----- | ----- | ----- | ----- | 58 | BRN06sep23_010.gcd | 2023-09-06 17:04 | 319 | Unknown | 0 | 12.1 | 84832 | 22.356 | ----- | ----- | ----- | ----- | 1 |  | 58 | 9073.0397 | 18941.5508 | 8316.5015 | 15310.9605 | 10718.6512 | 16099.0058 | 10280.8841 | 17247.4205 | 9073.0397 | 18941.5508 | 58 | BRN06sep23_010.gcd | 2023-09-06 17:04 | 319 | Unknown | 0 | 2.887 | 602725 | 0 | ----- | ----- | ----- | -----
59 | BRN06sep23_011.gcd | 2023-09-06 17:35 | 382 | Unknown | 0 | 6.002 | 16627 | 0.028 | ----- | ----- | ----- | ----- | 59 | BRN06sep23_011.gcd | 2023-09-06 17:35 | 382 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN06sep23_011.gcd | 2023-09-06 17:35 | 382 | Unknown | 0 | 12.172 | 3032 | 0.594 | ----- | ----- | ----- | ----- | 1 |  | 59 | 39.74 | 713.8951 | 52.47 | 596.3858 | 43.3676 | 575.7109 | 36.5479 | 522.7798 | 39.74 | 713.8951 | 59 | BRN06sep23_011.gcd | 2023-09-06 17:35 | 382 | Unknown | 0 | 2.854 | 795705 | 0 | ----- | ----- | ----- | -----
60 | BRN06sep23_012.gcd | 2023-09-06 18:06 | 299 | Unknown | 0 | 6.005 | 10662 | 0.015 | ----- | ----- | ----- | ----- | 60 | BRN06sep23_012.gcd | 2023-09-06 18:06 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN06sep23_012.gcd | 2023-09-06 18:06 | 299 | Unknown | 0 | 11.969 | 198985 | 49.893 | ----- | ----- | ----- | ----- | 1 |  | 60 | 21.8452 | 45892.1478 | 26.8854 | 34441.269 | 27.6695 | 37398.2588 | 22.5552 | 40016.0343 | 21.8452 | 45892.1478 | 60 | BRN06sep23_012.gcd | 2023-09-06 18:06 | 299 | Unknown | 0 | 2.851 | 856875 | 0 | ----- | ----- | ----- | -----
61 | BRN06sep23_013.gcd | 2023-09-06 18:37 | 237 | Unknown | 0 | 5.998 | 5341597 | 11.564 | ----- | ----- | ----- | ----- | 61 | BRN06sep23_013.gcd | 2023-09-06 18:37 | 237 | Unknown | 0 | 5.954 | 44755 | 11.434 | ----- | ----- | ----- | ----- | 61 | BRN06sep23_013.gcd | 2023-09-06 18:37 | 237 | Unknown | 0 | 12.099 | 82523 | 21.768 | ----- | ----- | ----- | ----- | 1 |  | 61 | 9986.0907 | 18385.4162 | 9065.0544 | 14907.1276 | 11721.0816 | 15663.8083 | 11246.9422 | 16780.0117 | 9986.0907 | 18385.4162 | 61 | BRN06sep23_013.gcd | 2023-09-06 18:37 | 237 | Unknown | 0 | 2.882 | 661339 | 0 | ----- | ----- | ----- | -----
62 | BRN06sep23_014.gcd | 2023-09-06 19:07 | 284 | Unknown | 0 | 6.01 | 10313 | 0.015 | ----- | ----- | ----- | ----- | 62 | BRN06sep23_014.gcd | 2023-09-06 19:07 | 284 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN06sep23_014.gcd | 2023-09-06 19:07 | 284 | Unknown | 0 | 12.167 | 6144 | 1.459 | ----- | ----- | ----- | ----- | 1 |  | 62 | 20.7947 | 1460.1988 | 25.7858 | 1171.5581 | 26.7508 | 1170.261 | 21.7364 | 1165.3015 | 20.7947 | 1460.1988 | 62 | BRN06sep23_014.gcd | 2023-09-06 19:07 | 284 | Unknown | 0 | 2.855 | 834121 | 0 | ----- | ----- | ----- | -----
63 | BRN06sep23_015.gcd | 2023-09-06 19:38 | 141 | Unknown | 0 | 6.018 | 131417 | 0.274 | ----- | ----- | ----- | ----- | 63 | BRN06sep23_015.gcd | 2023-09-06 19:38 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN06sep23_015.gcd | 2023-09-06 19:38 | 141 | Unknown | 0 | 12.101 | 84773 | 22.342 | ----- | ----- | ----- | ----- | 1 |  | 63 | 362.2465 | 18927.3458 | 399.1549 | 15300.65 | 343.7847 | 16087.8877 | 304.7062 | 17235.4806 | 362.2465 | 18927.3458 | 63 | BRN06sep23_015.gcd | 2023-09-06 19:38 | 141 | Unknown | 0 | 2.883 | 690501 | 0 | ----- | ----- | ----- | -----
64 | BRN06sep23_016.gcd | 2023-09-06 20:09 | 125 | Unknown | 0 | 6.027 | 13753 | 0.022 | ----- | ----- | ----- | ----- | 64 | BRN06sep23_016.gcd | 2023-09-06 20:09 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN06sep23_016.gcd | 2023-09-06 20:09 | 125 | Unknown | 0 | 12.183 | 3035 | 0.594 | ----- | ----- | ----- | ----- | 1 |  | 64 | 31.1321 | 714.6188 | 36.8502 | 596.9408 | 35.8052 | 576.2842 | 29.8068 | 523.3994 | 31.1321 | 714.6188 | 64 | BRN06sep23_016.gcd | 2023-09-06 20:09 | 125 | Unknown | 0 | 2.88 | 796454 | 0 | ----- | ----- | ----- | -----
65 | BRN06sep23_017.gcd | 2023-09-06 20:39 | 414 | Unknown | 0 | 6.011 | 7072 | 0.008 | ----- | ----- | ----- | ----- | 65 | BRN06sep23_017.gcd | 2023-09-06 20:39 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN06sep23_017.gcd | 2023-09-06 20:39 | 414 | Unknown | 0 | 12.166 | 6505 | 1.56 | ----- | ----- | ----- | ----- | 1 |  | 65 | 6.029 | 1546.2001 | 15.8215 | 1238.2009 | 17.423 | 1239.21 | 11.3663 | 1239.8036 | 6.029 | 1546.2001 | 65 | BRN06sep23_017.gcd | 2023-09-06 20:39 | 414 | Unknown | 0 | 2.857 | 800703 | 0 | ----- | ----- | ----- | -----
66 | BRN06sep23_018.gcd | 2023-09-06 21:10 | 69 | Unknown | 0 | 6.029 | 10599 | 0.015 | ----- | ----- | ----- | ----- | 66 | BRN06sep23_018.gcd | 2023-09-06 21:10 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN06sep23_018.gcd | 2023-09-06 21:10 | 69 | Unknown | 0 | 12.2 | 44603 | 11.9 | ----- | ----- | ----- | ----- | 2 | CO2 pk not quite swamped | 66 | 21.6556 | 9954.0341 | 26.6865 | 8179.3498 | 27.5037 | 8491.8875 | 22.4074 | 9064.9699 | 21.6556 | 9954.0341 | 66 | BRN06sep23_018.gcd | 2023-09-06 21:10 | 69 | Unknown | 0 | 2.884 | 704865 | 0 | ----- | ----- | ----- | -----
67 | BRN06sep23_019.gcd | 2023-09-06 21:41 | 223 | Unknown | 0 | 5.883 | 33855424 | 77.922 | ----- | ----- | ----- | ----- | 67 | BRN06sep23_019.gcd | 2023-09-06 21:41 | 223 | Unknown | 0 | 5.863 | 386832 | 95.579 | ----- | ----- | ----- | ----- | 67 | BRN06sep23_019.gcd | 2023-09-06 21:41 | 223 | Unknown | 0 | 12.12 | 64124 | 17.03 | ----- | ----- | ----- | ----- | 1 |  | 67 | 95197.6281 | 13938.3386 | 74510.4609 | 11665.3164 | 96466.5701 | 12189.7915 | 92912.9835 | 13045.7954 | 95197.6281 | 13938.3386 | 67 | BRN06sep23_019.gcd | 2023-09-06 21:41 | 223 | Unknown | 0 | 2.892 | 682989 | 0 | ----- | ----- | ----- | -----
68 | BRN06sep23_020.gcd | 2023-09-06 22:11 | 172 | Unknown | 0 | 6.03 | 17725 | 0.031 | ----- | ----- | ----- | ----- | 68 | BRN06sep23_020.gcd | 2023-09-06 22:11 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN06sep23_020.gcd | 2023-09-06 22:11 | 172 | Unknown | 0 | 12.196 | 3192 | 0.638 | ----- | ----- | ----- | ----- | 1 |  | 68 | 43.0217 | 752.4809 | 55.888 | 625.9872 | 46.2563 | 606.2867 | 39.123 | 555.8264 | 43.0217 | 752.4809 | 68 | BRN06sep23_020.gcd | 2023-09-06 22:11 | 172 | Unknown | 0 | 2.874 | 975757 | 0 | ----- | ----- | ----- | -----
69 | BRN06sep23_021.gcd | 2023-09-06 22:42 | 400 | Unknown | 0 | 6.019 | 151199 | 0.317 | ----- | ----- | ----- | ----- | 69 | BRN06sep23_021.gcd | 2023-09-06 22:42 | 400 | Unknown | 0 | 5.979 | 1549 | 0.366 | ----- | ----- | ----- | ----- | 69 | BRN06sep23_021.gcd | 2023-09-06 22:42 | 400 | Unknown | 0 | 12.101 | 81441 | 21.492 | ----- | ----- | ----- | ----- | 1 |  | 69 | 413.6265 | 18124.6609 | 456.727 | 14717.6608 | 395.2344 | 15459.8145 | 350.704 | 16560.8898 | 413.6265 | 18124.6609 | 69 | BRN06sep23_021.gcd | 2023-09-06 22:42 | 400 | Unknown | 0 | 2.88 | 776723 | 0 | ----- | ----- | ----- | -----
70 | BRN06sep23_022.gcd | 2023-09-06 23:13 | 392 | Unknown | 0 | 6.027 | 17327 | 0.03 | ----- | ----- | ----- | ----- | 70 | BRN06sep23_022.gcd | 2023-09-06 23:13 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN06sep23_022.gcd | 2023-09-06 23:13 | 392 | Unknown | 0 | 12.179 | 7007 | 1.699 | ----- | ----- | ----- | ----- | 1 |  | 70 | 41.8326 | 1665.5944 | 54.6493 | 1330.8459 | 45.2092 | 1335.0821 | 38.1896 | 1343.3939 | 41.8326 | 1665.5944 | 70 | BRN06sep23_022.gcd | 2023-09-06 23:13 | 392 | Unknown | 0 | 2.885 | 699982 | 0 | ----- | ----- | ----- | -----
71 | BRN06sep23_023.gcd | 2023-09-06 23:44 | 393 | Unknown | 0 | 5.99 | 2202355 | 4.735 | ----- | ----- | ----- | ----- | 71 | BRN06sep23_023.gcd | 2023-09-06 23:44 | 393 | Unknown | 0 | 5.941 | 20686 | 5.281 | ----- | ----- | ----- | ----- | 71 | BRN06sep23_023.gcd | 2023-09-06 23:44 | 393 | Unknown | 0 | 12.038 | 115408 | 30.02 | ----- | ----- | ----- | ----- | 1 |  | 71 | 4336.4519 | 26264.8142 | 4489.1771 | 20595.4392 | 5581.4022 | 21845.5846 | 5330.0177 | 23411.2326 | 4336.4519 | 26264.8142 | 71 | BRN06sep23_023.gcd | 2023-09-06 23:44 | 393 | Unknown | 0 | 2.847 | 949035 | 0 | ----- | ----- | ----- | -----
72 | BRN06sep23_024.gcd | 2023-09-07 00:14 | 293 | Unknown | 0 | 6.044 | 3738 | 0.001 | ----- | ----- | ----- | ----- | 72 | BRN06sep23_024.gcd | 2023-09-07 00:14 | 293 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN06sep23_024.gcd | 2023-09-07 00:14 | 293 | Unknown | 0 | 11.966 | 198269 | 49.729 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.4537 | 45726.4279 | 6.0372 | 34326.3765 | 6.7657 | 37265.9845 | 3.3461 | 39875.2959 | 2.4537 | 45726.4279 | 72 | BRN06sep23_024.gcd | 2023-09-07 00:14 | 293 | Unknown | 0 | 2.853 | 870925 | 0 | ----- | ----- | ----- | -----
73 | BRN06sep23_025.gcd | 2023-09-07 00:45 | 257 | Unknown | 0 | 6.02 | 280381 | 0.594 | ----- | ----- | ----- | ----- | 73 | BRN06sep23_025.gcd | 2023-09-07 00:45 | 257 | Unknown | 0 | 5.967 | 2122 | 0.513 | ----- | ----- | ----- | ----- | 73 | BRN06sep23_025.gcd | 2023-09-07 00:45 | 257 | Unknown | 0 | 12.023 | 167731 | 42.632 | ----- | ----- | ----- | ----- | 1 |  | 73 | 696.5769 | 38619.3008 | 816.9826 | 29366.2058 | 728.8885 | 31608.8554 | 649.5331 | 33848.326 | 696.5769 | 38619.3008 | 73 | BRN06sep23_025.gcd | 2023-09-07 00:45 | 257 | Unknown | 0 | 2.878 | 830645 | 0 | ----- | ----- | ----- | -----
74 | BRN06sep23_026.gcd | 2023-09-07 01:16 | 153 | Unknown | 0 | 6.031 | 12816 | 0.02 | ----- | ----- | ----- | ----- | 74 | BRN06sep23_026.gcd | 2023-09-07 01:16 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN06sep23_026.gcd | 2023-09-07 01:16 | 153 | Unknown | 0 | 12.197 | 3233 | 0.65 | ----- | ----- | ----- | ----- | 1 |  | 74 | 28.3201 | 762.3647 | 33.7866 | 633.5721 | 33.3392 | 614.1216 | 27.6087 | 564.2944 | 28.3201 | 762.3647 | 74 | BRN06sep23_026.gcd | 2023-09-07 01:16 | 153 | Unknown | 0 | 2.882 | 812675 | 0 | ----- | ----- | ----- | -----
75 | BRN06sep23_027.gcd | 2023-09-07 01:46 | 315 | Unknown | 0 | 6 | 382707 | 0.814 | ----- | ----- | ----- | ----- | 75 | BRN06sep23_027.gcd | 2023-09-07 01:46 | 315 | Unknown | 0 | 5.951 | 3101 | 0.765 | ----- | ----- | ----- | ----- | 75 | BRN06sep23_027.gcd | 2023-09-07 01:46 | 315 | Unknown | 0 | 12.158 | 8967 | 2.242 | ----- | ----- | ----- | ----- | 1 |  | 75 | 893.8273 | 2129.5543 | 1083.0084 | 1692.2646 | 990.3143 | 1709.325 | 884.3298 | 1747.7269 | 893.8273 | 2129.5543 | 75 | BRN06sep23_027.gcd | 2023-09-07 01:46 | 315 | Unknown | 0 | 2.832 | 1379467 | 0 | ----- | ----- | ----- | -----
76 | BRN06sep23_028.gcd | 2023-09-07 02:17 | 387 | Unknown | 0 | 6.018 | 268687 | 0.569 | ----- | ----- | ----- | ----- | 76 | BRN06sep23_028.gcd | 2023-09-07 02:17 | 387 | Unknown | 0 | 5.979 | 2112 | 0.511 | ----- | ----- | ----- | ----- | 76 | BRN06sep23_028.gcd | 2023-09-07 02:17 | 387 | Unknown | 0 | 12.017 | 174649 | 44.256 | ----- | ----- | ----- | ----- | 1 |  | 76 | 674.01 | 40236.0143 | 785.4924 | 30500.1269 | 698.851 | 32893.0638 | 622.5927 | 35217.8303 | 674.01 | 40236.0143 | 76 | BRN06sep23_028.gcd | 2023-09-07 02:17 | 387 | Unknown | 0 | 2.881 | 747647 | 0 | ----- | ----- | ----- | -----
77 | BRN06sep23_029.gcd | 2023-09-07 02:48 | 341 | Unknown | 0 | 6.011 | 2425801 | 5.218 | ----- | ----- | ----- | ----- | 77 | BRN06sep23_029.gcd | 2023-09-07 02:48 | 341 | Unknown | 0 | 5.966 | 20312 | 5.185 | ----- | ----- | ----- | ----- | 77 | BRN06sep23_029.gcd | 2023-09-07 02:48 | 341 | Unknown | 0 | 12.066 | 116883 | 30.384 | ----- | ----- | ----- | ----- | 1 |  | 77 | 4750.702 | 26616.1582 | 4418.1041 | 20847.3973 | 5485.8164 | 22122.0334 | 5237.8995 | 23707.3712 | 4750.702 | 26616.1582 | 77 | BRN06sep23_029.gcd | 2023-09-07 02:48 | 341 | Unknown | 0 | 2.883 | 717440 | 0 | ----- | ----- | ----- | -----
78 | BRN06sep23_030.gcd | 2023-09-07 03:19 | 230 | Unknown | 0 | 6.035 | 5869 | 0.005 | ----- | ----- | ----- | ----- | 78 | BRN06sep23_030.gcd | 2023-09-07 03:19 | 230 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN06sep23_030.gcd | 2023-09-07 03:19 | 230 | Unknown | 0 | 12.006 | 181708 | 45.903 | ----- | ----- | ----- | ----- | 1 |  | 78 | 3.3546 | 41881.6437 | 12.2366 | 31650.9661 | 13.7261 | 34201.8422 | 8.0999 | 36612.7294 | 3.3546 | 41881.6437 | 78 | BRN06sep23_030.gcd | 2023-09-07 03:19 | 230 | Unknown | 0 | 2.879 | 809136 | 0 | ----- | ----- | ----- | -----
79 | BRN06sep23_031.gcd | 2023-09-07 03:49 | 111 | Unknown | 0 | 6.022 | 444743 | 0.947 | ----- | ----- | ----- | ----- | 79 | BRN06sep23_031.gcd | 2023-09-07 03:49 | 111 | Unknown | 0 | 5.972 | 4092 | 1.02 | ----- | ----- | ----- | ----- | 79 | BRN06sep23_031.gcd | 2023-09-07 03:49 | 111 | Unknown | 0 | 12.182 | 13167 | 3.401 | ----- | ----- | ----- | ----- | 1 |  | 79 | 1013.2224 | 3111.954 | 1235.9666 | 2465.1094 | 1147.5731 | 2510.8534 | 1025.856 | 2613.4945 | 1013.2224 | 3111.954 | 79 | BRN06sep23_031.gcd | 2023-09-07 03:49 | 111 | Unknown | 0 | 2.863 | 1210268 | 0 | ----- | ----- | ----- | -----