## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN09may23_001.gcd(Read only) | 2023-05-09 12:45 | QC outside air | Unknown | 0 | 6.058 | 2668 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN09may23_001.gcd(Read only) | 2023-05-09 12:45 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN09may23_001.gcd(Read only) | 2023-05-09 12:45 | QC outside air | Unknown | 0 | 12.21 | 3383 | 0.691 | ----- | ----- | ----- | ----- | 1 |  | 49 | 3.8508 | 798.5121 | 2.9972 | 661.3198 | 3.0723 | 642.7855 | 1.4568 | 595.274 | 3.8508 | 798.5121 | 49 | BRN09may23_001.gcd(Read only) | 2023-05-09 12:45 | QC outside air | Unknown | 0 | 2.71 | 5055940 | 0 | ----- | ----- | ----- | -----
50 | BRN09may23_002.gcd | 2023-05-09 13:15 | QC spiked air new batch | Unknown | 0 | 5.989 | 1362493 | 2.922 | ----- | ----- | ----- | ----- | 50 | BRN09may23_002.gcd | 2023-05-09 13:15 | QC spiked air new batch | Unknown | 0 | 5.941 | 12037 | 3.062 | ----- | ----- | ----- | ----- | 50 | BRN09may23_002.gcd | 2023-05-09 13:15 | QC spiked air new batch | Unknown | 0 | 12.171 | 5682 | 1.331 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2762.8076 | 1349.9628 | 2845.8023 | 1086.2463 | 3369.4789 | 1082.0154 | 3198.3347 | 1069.9455 | 2762.8076 | 1349.9628 | 50 | BRN09may23_002.gcd | 2023-05-09 13:15 | QC spiked air new batch | Unknown | 0 | 2.692 | 5408573 | 0 | ----- | ----- | ----- | -----
51 | BRN09may23_003.gcd | 2023-05-09 13:46 | QC reference tank | Unknown | 0 | 6.026 | 3297 | 0 | ----- | ----- | ----- | ----- | 51 | BRN09may23_003.gcd | 2023-05-09 13:46 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN09may23_003.gcd | 2023-05-09 13:46 | QC reference tank | Unknown | 0 | 12.188 | 1740 | 0.233 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.8797 | 401.4591 | 4.7784 | 357.236 | 5.2595 | 328.7808 | 2.5271 | 255.8807 | 2.8797 | 401.4591 | 51 | BRN09may23_003.gcd | 2023-05-09 13:46 | QC reference tank | Unknown | 0 | 2.706 | 5160273 | 0 | ----- | ----- | ----- | -----
52 | BRN09may23_004.gcd | 2023-05-09 14:17 | 402 | Unknown | 0 | 6.01 | 7893 | 0.009 | ----- | ----- | ----- | ----- | 52 | BRN09may23_004.gcd | 2023-05-09 14:17 | 402 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN09may23_004.gcd | 2023-05-09 14:17 | 402 | Unknown | 0 | 12.107 | 46551 | 12.417 | ----- | ----- | ----- | ----- | 1 |  | 52 | 8.7516 | 9665.0526 | 18.3034 | 8529.3631 | 19.8497 | 8861.4579 | 13.837 | 9463.09 | 8.7516 | 9665.0526 | 52 | BRN09may23_004.gcd | 2023-05-09 14:17 | 402 | Unknown | 0 | 2.859 | 885389 | 0 | ----- | ----- | ----- | -----
53 | BRN09may23_005.gcd | 2023-05-09 14:47 | 141 | Unknown | 0 | 6.023 | 4240 | 0.002 | ----- | ----- | ----- | ----- | 53 | BRN09may23_005.gcd | 2023-05-09 14:47 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN09may23_005.gcd | 2023-05-09 14:47 | 141 | Unknown | 0 | 12.147 | 15196 | 3.959 | ----- | ----- | ----- | ----- | 1 |  | 53 | 2.2243 | 3580.7821 | 7.4802 | 2837.6737 | 8.4527 | 2897.8625 | 4.3471 | 3031.4202 | 2.2243 | 3580.7821 | 53 | BRN09may23_005.gcd | 2023-05-09 14:47 | 141 | Unknown | 0 | 2.853 | 993764 | 0 | ----- | ----- | ----- | -----
54 | BRN09may23_006.gcd | 2023-05-09 15:18 | 298 | Unknown | 0 | 5.993 | 113545 | 0.236 | ----- | ----- | ----- | ----- | 54 | BRN09may23_006.gcd | 2023-05-09 15:18 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN09may23_006.gcd | 2023-05-09 15:18 | 298 | Unknown | 0 | 12.068 | 87327 | 22.991 | ----- | ----- | ----- | ----- | 1 |  | 54 | 314.766 | 19541.9943 | 346.5922 | 15746.5715 | 297.2213 | 16569.0656 | 263.0953 | 17752.1753 | 314.766 | 19541.9943 | 54 | BRN09may23_006.gcd | 2023-05-09 15:18 | 298 | Unknown | 0 | 2.849 | 897869 | 0 | ----- | ----- | ----- | -----
55 | BRN09may23_007.gcd | 2023-05-09 15:48 | 387 | Unknown | 0 | 6.014 | 8862 | 0.012 | ----- | ----- | ----- | ----- | 55 | BRN09may23_007.gcd | 2023-05-09 15:48 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN09may23_007.gcd | 2023-05-09 15:48 | 387 | Unknown | 0 | 12.131 | 28053 | 7.464 | ----- | ----- | ----- | ----- | 1 |  | 55 | 12.9015 | 6464.2746 | 21.2696 | 5186.458 | 22.6133 | 5347.0795 | 17.005 | 5674.7716 | 12.9015 | 6464.2746 | 55 | BRN09may23_007.gcd | 2023-05-09 15:48 | 387 | Unknown | 0 | 2.855 | 1000784 | 0 | ----- | ----- | ----- | -----
56 | BRN09may23_008.gcd | 2023-05-09 16:19 | 325 | Unknown | 0 | 6.009 | 11194 | 0.017 | ----- | ----- | ----- | ----- | 56 | BRN09may23_008.gcd | 2023-05-09 16:19 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN09may23_008.gcd | 2023-05-09 16:19 | 325 | Unknown | 0 | 12.145 | 14667 | 3.814 | ----- | ----- | ----- | ----- | 1 |  | 56 | 23.4457 | 3458.9114 | 28.5715 | 2740.5887 | 29.0699 | 2796.9745 | 23.8034 | 2922.479 | 23.4457 | 3458.9114 | 56 | BRN09may23_008.gcd | 2023-05-09 16:19 | 325 | Unknown | 0 | 2.867 | 785414 | 0 | ----- | ----- | ----- | -----
57 | BRN09may23_009.gcd | 2023-05-09 16:50 | 273 | Unknown | 0 | 6.008 | 17047 | 0.029 | ----- | ----- | ----- | ----- | 57 | BRN09may23_009.gcd | 2023-05-09 16:50 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN09may23_009.gcd | 2023-05-09 16:50 | 273 | Unknown | 0 | 12.164 | 3684 | 0.775 | ----- | ----- | ----- | ----- | 1 |  | 57 | 40.9957 | 870.9859 | 53.7776 | 716.9917 | 44.4726 | 700.3021 | 37.533 | 657.4364 | 40.9957 | 870.9859 | 57 | BRN09may23_009.gcd | 2023-05-09 16:50 | 273 | Unknown | 0 | 2.861 | 884964 | 0 | ----- | ----- | ----- | -----
58 | BRN09may23_010.gcd | 2023-05-09 17:20 | 21 | Unknown | 0 | 6.001 | 8398 | 0.011 | ----- | ----- | ----- | ----- | 58 | BRN09may23_010.gcd | 2023-05-09 17:20 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN09may23_010.gcd | 2023-05-09 17:20 | 21 | Unknown | 0 | 12.102 | 45555 | 12.153 | ----- | ----- | ----- | ----- | 1 |  | 58 | 10.7878 | 9422.0954 | 19.8443 | 8350.4631 | 21.3035 | 8672.5143 | 15.454 | 9259.5579 | 10.7878 | 9422.0954 | 58 | BRN09may23_010.gcd | 2023-05-09 17:20 | 21 | Unknown | 0 | 2.824 | 1420743 | 0 | ----- | ----- | ----- | -----
59 | BRN09may23_011.gcd | 2023-05-09 17:51 | 333 | Unknown | 0 | 6.007 | 14424 | 0.023 | ----- | ----- | ----- | ----- | 59 | BRN09may23_011.gcd | 2023-05-09 17:51 | 333 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN09may23_011.gcd | 2023-05-09 17:51 | 333 | Unknown | 0 | 12.152 | 3605 | 0.753 | ----- | ----- | ----- | ----- | 1 |  | 59 | 33.1441 | 851.9725 | 39.067 | 702.3812 | 37.571 | 685.2067 | 31.3808 | 641.1218 | 33.1441 | 851.9725 | 59 | BRN09may23_011.gcd | 2023-05-09 17:51 | 333 | Unknown | 0 | 2.838 | 1282053 | 0 | ----- | ----- | ----- | -----
60 | BRN09may23_012.gcd | 2023-05-09 18:21 | 297 | Unknown | 0 | 6.007 | 23460 | 0.043 | ----- | ----- | ----- | ----- | 60 | BRN09may23_012.gcd | 2023-05-09 18:21 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN09may23_012.gcd | 2023-05-09 18:21 | 297 | Unknown | 0 | 12.167 | 2982 | 0.58 | ----- | ----- | ----- | ----- | 1 |  | 60 | 60.1008 | 701.8322 | 73.7088 | 587.1346 | 61.3395 | 566.1558 | 52.5698 | 512.4525 | 60.1008 | 701.8322 | 60 | BRN09may23_012.gcd | 2023-05-09 18:21 | 297 | Unknown | 0 | 2.858 | 948305 | 0 | ----- | ----- | ----- | -----
61 | BRN09may23_013.gcd | 2023-05-09 18:52 | 134 | Unknown | 0 | 6.015 | 7374 | 0.008 | ----- | ----- | ----- | ----- | 61 | BRN09may23_013.gcd | 2023-05-09 18:52 | 134 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN09may23_013.gcd | 2023-05-09 18:52 | 134 | Unknown | 0 | 12.118 | 45621 | 12.171 | ----- | ----- | ----- | ----- | 1 |  | 61 | 6.9459 | 9438.1975 | 16.7312 | 8362.3217 | 18.3247 | 8685.0357 | 12.2524 | 9273.0465 | 6.9459 | 9438.1975 | 61 | BRN09may23_013.gcd | 2023-05-09 18:52 | 134 | Unknown | 0 | 2.858 | 973958 | 0 | ----- | ----- | ----- | -----
62 | BRN09may23_014.gcd | 2023-05-09 19:23 | 231 | Unknown | 0 | 5.997 | 23841 | 0.044 | ----- | ----- | ----- | ----- | 62 | BRN09may23_014.gcd | 2023-05-09 19:23 | 231 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN09may23_014.gcd | 2023-05-09 19:23 | 231 | Unknown | 0 | 12.146 | 19126 | 5.036 | ----- | ----- | ----- | ----- | 1 |  | 62 | 61.2318 | 4478.1809 | 74.8909 | 3557.8289 | 62.3412 | 3647.0852 | 53.4629 | 3840.3089 | 61.2318 | 4478.1809 | 62 | BRN09may23_014.gcd | 2023-05-09 19:23 | 231 | Unknown | 0 | 2.851 | 889426 | 0 | ----- | ----- | ----- | -----
63 | BRN09may23_015.gcd | 2023-05-09 19:53 | 209 | Unknown | 0 | 6.009 | 18521 | 0.032 | ----- | ----- | ----- | ----- | 63 | BRN09may23_015.gcd | 2023-05-09 19:53 | 209 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN09may23_015.gcd | 2023-05-09 19:53 | 209 | Unknown | 0 | 12.175 | 3707 | 0.782 | ----- | ----- | ----- | ----- | 1 |  | 63 | 45.3984 | 876.5203 | 58.3647 | 721.2452 | 48.3503 | 704.697 | 40.9897 | 662.1862 | 45.3984 | 876.5203 | 63 | BRN09may23_015.gcd | 2023-05-09 19:53 | 209 | Unknown | 0 | 2.863 | 880461 | 0 | ----- | ----- | ----- | -----
64 | BRN09may23_016.gcd | 2023-05-09 20:24 | 66 | Unknown | 0 | 5.994 | 136413 | 0.285 | ----- | ----- | ----- | ----- | 64 | BRN09may23_016.gcd | 2023-05-09 20:24 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN09may23_016.gcd | 2023-05-09 20:24 | 66 | Unknown | 0 | 12.156 | 5372 | 1.245 | ----- | ----- | ----- | ----- | 1 |  | 64 | 375.3391 | 1275.8857 | 413.7552 | 1028.9874 | 356.7874 | 1022.7992 | 316.329 | 1005.9559 | 375.3391 | 1275.8857 | 64 | BRN09may23_016.gcd | 2023-05-09 20:24 | 66 | Unknown | 0 | 2.849 | 925635 | 0 | ----- | ----- | ----- | -----
65 | BRN09may23_017.gcd | 2023-05-09 20:54 | 240 | Unknown | 0 | 6.011 | 7649 | 0.009 | ----- | ----- | ----- | ----- | 65 | BRN09may23_017.gcd | 2023-05-09 20:54 | 240 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN09may23_017.gcd | 2023-05-09 20:54 | 240 | Unknown | 0 | 12.118 | 44060 | 11.756 | ----- | ----- | ----- | ----- | 1 |  | 65 | 7.8664 | 9843.5006 | 17.5628 | 8081.6996 | 19.1366 | 8388.8487 | 13.0822 | 8953.9604 | 7.8664 | 9843.5006 | 65 | BRN09may23_017.gcd | 2023-05-09 20:54 | 240 | Unknown | 0 | 2.857 | 977216 | 0 | ----- | ----- | ----- | -----
66 | BRN09may23_018.gcd | 2023-05-09 21:25 | 382 | Unknown | 0 | 6.002 | 340909 | 0.724 | ----- | ----- | ----- | ----- | 66 | BRN09may23_018.gcd | 2023-05-09 21:25 | 382 | Unknown | 0 | 5.944 | 3422 | 0.848 | ----- | ----- | ----- | ----- | 66 | BRN09may23_018.gcd | 2023-05-09 21:25 | 382 | Unknown | 0 | 12.097 | 60725 | 16.144 | ----- | ----- | ----- | ----- | 1 |  | 66 | 813.3018 | 13113.7627 | 976.4075 | 11061.779 | 883.8332 | 11546.8028 | 788.6241 | 12354.0518 | 813.3018 | 13113.7627 | 66 | BRN09may23_018.gcd | 2023-05-09 21:25 | 382 | Unknown | 0 | 2.861 | 841349 | 0 | ----- | ----- | ----- | -----
67 | BRN09may23_019.gcd | 2023-05-09 21:56 | 33 | Unknown | 0 | 6.012 | 4387 | 0.002 | ----- | ----- | ----- | ----- | 67 | BRN09may23_019.gcd | 2023-05-09 21:56 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN09may23_019.gcd | 2023-05-09 21:56 | 33 | Unknown | 0 | 12.139 | 15221 | 3.966 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.2087 | 3586.5353 | 7.9048 | 2842.2609 | 8.9412 | 2902.6301 | 4.6541 | 3036.5683 | 2.2087 | 3586.5353 | 67 | BRN09may23_019.gcd | 2023-05-09 21:56 | 33 | Unknown | 0 | 2.847 | 952807 | 0 | ----- | ----- | ----- | -----
68 | BRN09may23_020.gcd | 2023-05-09 22:26 | 321 | Unknown | 0 | 6.002 | 198473 | 0.418 | ----- | ----- | ----- | ----- | 68 | BRN09may23_020.gcd | 2023-05-09 22:26 | 321 | Unknown | 0 | 5.958 | 1459 | 0.342 | ----- | ----- | ----- | ----- | 68 | BRN09may23_020.gcd | 2023-05-09 22:26 | 321 | Unknown | 0 | 12.102 | 56137 | 14.944 | ----- | ----- | ----- | ----- | 1 |  | 68 | 531.4129 | 11999.2442 | 591.7225 | 10244.8188 | 517.8028 | 10678.2952 | 460.372 | 11419.3951 | 531.4129 | 11999.2442 | 68 | BRN09may23_020.gcd | 2023-05-09 22:26 | 321 | Unknown | 0 | 2.856 | 913835 | 0 | ----- | ----- | ----- | -----
69 | BRN09may23_021.gcd | 2023-05-09 22:57 | 86 | Unknown | 0 | 6.002 | 116631 | 0.243 | ----- | ----- | ----- | ----- | 69 | BRN09may23_021.gcd | 2023-05-09 22:57 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN09may23_021.gcd | 2023-05-09 22:57 | 86 | Unknown | 0 | 12.078 | 78097 | 20.637 | ----- | ----- | ----- | ----- | 1 |  | 69 | 323.0365 | 17318.172 | 355.7056 | 14131.1707 | 305.267 | 14829.1164 | 270.284 | 15883.2998 | 323.0365 | 17318.172 | 69 | BRN09may23_021.gcd | 2023-05-09 22:57 | 86 | Unknown | 0 | 2.854 | 988649 | 0 | ----- | ----- | ----- | -----
70 | BRN09may23_022.gcd | 2023-05-09 23:27 | 393 | Unknown | 0 | 6.007 | 12785 | 0.02 | ----- | ----- | ----- | ----- | 70 | BRN09may23_022.gcd | 2023-05-09 23:27 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN09may23_022.gcd | 2023-05-09 23:27 | 393 | Unknown | 0 | 12.145 | 14996 | 3.904 | ----- | ----- | ----- | ----- | 1 |  | 70 | 28.227 | 3534.7362 | 33.6859 | 2800.9727 | 33.2576 | 2859.7207 | 27.536 | 2990.2343 | 28.227 | 3534.7362 | 70 | BRN09may23_022.gcd | 2023-05-09 23:27 | 393 | Unknown | 0 | 2.855 | 994476 | 0 | ----- | ----- | ----- | -----
71 | BRN09may23_023.gcd | 2023-05-09 23:58 | 171 | Unknown | 0 | 5.996 | 31560 | 0.06 | ----- | ----- | ----- | ----- | 71 | BRN09may23_023.gcd | 2023-05-09 23:58 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN09may23_023.gcd | 2023-05-09 23:58 | 171 | Unknown | 0 | 12.153 | 4059 | 0.88 | ----- | ----- | ----- | ----- | 1 |  | 71 | 84.0463 | 961.1615 | 98.7872 | 786.3344 | 82.6291 | 771.9549 | 71.5527 | 734.8748 | 84.0463 | 961.1615 | 71 | BRN09may23_023.gcd | 2023-05-09 23:58 | 171 | Unknown | 0 | 2.847 | 951440 | 0 | ----- | ----- | ----- | -----
72 | BRN09may23_024.gcd | 2023-05-10 00:28 | 26 | Unknown | 0 | 6 | 9752 | 0.013 | ----- | ----- | ----- | ----- | 72 | BRN09may23_024.gcd | 2023-05-10 00:28 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN09may23_024.gcd | 2023-05-10 00:28 | 26 | Unknown | 0 | 12.111 | 32677 | 8.712 | ----- | ----- | ----- | ----- | 1 |  | 72 | 17.6065 | 7464.4507 | 24.0291 | 6026.1209 | 25.0558 | 6226.6222 | 20.1552 | 6623.386 | 17.6065 | 7464.4507 | 72 | BRN09may23_024.gcd | 2023-05-10 00:28 | 26 | Unknown | 0 | 2.838 | 1130464 | 0 | ----- | ----- | ----- | -----
73 | BRN09may23_025.gcd | 2023-05-10 00:59 | 116 | Unknown | 0 | 6.008 | 32304 | 0.062 | ----- | ----- | ----- | ----- | 73 | BRN09may23_025.gcd | 2023-05-10 00:59 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN09may23_025.gcd | 2023-05-10 00:59 | 116 | Unknown | 0 | 12.167 | 3320 | 0.674 | ----- | ----- | ----- | ----- | 1 |  | 73 | 86.2354 | 783.3327 | 101.0853 | 649.6661 | 84.5838 | 630.7468 | 73.2957 | 582.2627 | 86.2354 | 783.3327 | 73 | BRN09may23_025.gcd | 2023-05-10 00:59 | 116 | Unknown | 0 | 2.859 | 978143 | 0 | ----- | ----- | ----- | -----
74 | BRN09may23_026.gcd | 2023-05-10 01:30 | 161 | Unknown | 0 | 6.013 | 10723 | 0.016 | ----- | ----- | ----- | ----- | 74 | BRN09may23_026.gcd | 2023-05-10 01:30 | 161 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN09may23_026.gcd | 2023-05-10 01:30 | 161 | Unknown | 0 | 12.159 | 8874 | 2.216 | ----- | ----- | ----- | ----- | 1 |  | 74 | 22.0288 | 2107.6191 | 27.0781 | 1675.1266 | 27.8301 | 1691.5704 | 22.6983 | 1728.5462 | 22.0288 | 2107.6191 | 74 | BRN09may23_026.gcd | 2023-05-10 01:30 | 161 | Unknown | 0 | 2.851 | 1123724 | 0 | ----- | ----- | ----- | -----
75 | BRN09may23_027.gcd | 2023-05-10 02:00 | 344 | Unknown | 0 | 5.999 | 10840 | 0.016 | ----- | ----- | ----- | ----- | 75 | BRN09may23_027.gcd | 2023-05-10 02:00 | 344 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN09may23_027.gcd | 2023-05-10 02:00 | 344 | Unknown | 0 | 12.138 | 9166 | 2.297 | ----- | ----- | ----- | ----- | 1 |  | 75 | 22.3808 | 2176.4645 | 27.4482 | 1728.9327 | 28.1381 | 1747.3151 | 22.9729 | 1788.7681 | 22.3808 | 2176.4645 | 75 | BRN09may23_027.gcd | 2023-05-10 02:00 | 344 | Unknown | 0 | 2.85 | 899253 | 0 | ----- | ----- | ----- | -----
76 | BRN09may23_028.gcd | 2023-05-10 02:31 | 392 | Unknown | 0 | 6.012 | 15872 | 0.027 | ----- | ----- | ----- | ----- | 76 | BRN09may23_028.gcd | 2023-05-10 02:31 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN09may23_028.gcd | 2023-05-10 02:31 | 392 | Unknown | 0 | 12.167 | 4457 | 0.99 | ----- | ----- | ----- | ----- | 1 |  | 76 | 37.4812 | 1056.7276 | 50.1185 | 859.9109 | 41.3812 | 847.9974 | 34.7772 | 817.0549 | 37.4812 | 1056.7276 | 76 | BRN09may23_028.gcd | 2023-05-10 02:31 | 392 | Unknown | 0 | 2.863 | 904765 | 0 | ----- | ----- | ----- | -----
77 | BRN09may23_029.gcd | 2023-05-10 03:01 | 133 | Unknown | 0 | 6.008 | 26135 | 0.049 | ----- | ----- | ----- | ----- | 77 | BRN09may23_029.gcd | 2023-05-10 03:01 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN09may23_029.gcd | 2023-05-10 03:01 | 133 | Unknown | 0 | 12.152 | 4309 | 0.949 | ----- | ----- | ----- | ----- | 1 |  | 77 | 68.0317 | 1021.2074 | 82.0027 | 832.5531 | 68.372 | 819.7209 | 58.84 | 786.4965 | 68.0317 | 1021.2074 | 77 | BRN09may23_029.gcd | 2023-05-10 03:01 | 133 | Unknown | 0 | 2.853 | 1076601 | 0 | ----- | ----- | ----- | -----
78 | BRN09may23_030.gcd | 2023-05-10 03:32 | 208 | Unknown | 0 | 6.007 | 26422 | 0.049 | ----- | ----- | ----- | ----- | 78 | BRN09may23_030.gcd | 2023-05-10 03:32 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN09may23_030.gcd | 2023-05-10 03:32 | 208 | Unknown | 0 | 12.142 | 19400 | 5.111 | ----- | ----- | ----- | ----- | 1 |  | 78 | 68.8812 | 4540.2222 | 82.8919 | 3607.9659 | 69.1265 | 3699.3024 | 59.5126 | 3896.6753 | 68.8812 | 4540.2222 | 78 | BRN09may23_030.gcd | 2023-05-10 03:32 | 208 | Unknown | 0 | 2.859 | 948239 | 0 | ----- | ----- | ----- | -----
79 | BRN09may23_031.gcd | 2023-05-10 04:03 | 188 | Unknown | 0 | 6.008 | 150998 | 0.316 | ----- | ----- | ----- | ----- | 79 | BRN09may23_031.gcd | 2023-05-10 04:03 | 188 | Unknown | 0 | 5.951 | 1147 | 0.262 | ----- | ----- | ----- | ----- | 79 | BRN09may23_031.gcd | 2023-05-10 04:03 | 188 | Unknown | 0 | 12.171 | 5691 | 1.334 | ----- | ----- | ----- | ----- | 1 |  | 79 | 413.1107 | 1352.1121 | 456.1452 | 1087.9084 | 394.7121 | 1083.7346 | 350.237 | 1071.8032 | 413.1107 | 1352.1121 | 79 | BRN09may23_031.gcd | 2023-05-10 04:03 | 188 | Unknown | 0 | 2.865 | 907635 | 0 | ----- | ----- | ----- | -----
80 | BRN09may23_032.gcd | 2023-05-10 04:33 | 281 | Unknown | 0 | 6.016 | 8878 | 0.012 | ----- | ----- | ----- | ----- | 80 | BRN09may23_032.gcd | 2023-05-10 04:33 | 281 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN09may23_032.gcd | 2023-05-10 04:33 | 281 | Unknown | 0 | 12.126 | 38418 | 10.252 | ----- | ----- | ----- | ----- | 1 |  | 80 | 12.9785 | 8679.0945 | 21.3189 | 7064.8823 | 22.658 | 7317.6648 | 17.0596 | 7799.6345 | 12.9785 | 8679.0945 | 80 | BRN09may23_032.gcd | 2023-05-10 04:33 | 281 | Unknown | 0 | 2.856 | 1037434 | 0 | ----- | ----- | ----- | -----
81 | BRN09may23_033.gcd | 2023-05-10 05:04 | 50 | Unknown | 0 | 6.016 | 8655 | 0.011 | ----- | ----- | ----- | ----- | 81 | BRN09may23_033.gcd | 2023-05-10 05:04 | 50 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN09may23_033.gcd | 2023-05-10 05:04 | 50 | Unknown | 0 | 12.13 | 40189 | 10.725 | ----- | ----- | ----- | ----- | 1 |  | 81 | 11.9298 | 9047.7235 | 20.6326 | 7384.4873 | 22.0321 | 7654.0164 | 16.3053 | 8162.1475 | 11.9298 | 9047.7235 | 81 | BRN09may23_033.gcd | 2023-05-10 05:04 | 50 | Unknown | 0 | 2.856 | 1104914 | 0 | ----- | ----- | ----- | -----