## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN11jul23_001.gcd | 2023-07-11 11:26 | air new batch | Unknown | 0 | 6.072 | 2239 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN11jul23_001.gcd | 2023-07-11 11:26 | air new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN11jul23_001.gcd | 2023-07-11 11:26 | air new batch | Unknown | 0 | 12.213 | 2680 | 0.496 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.7583 | 628.9241 | 1.792 | 531.2512 | 1.5542 | 508.4412 | 0.79275 | 450.0727 | 4.7583 | 628.9241 | 49 | BRN11jul23_001.gcd | 2023-07-11 11:26 | air new batch | Unknown | 0 | 2.697 | 5335083 | 0 | ----- | ----- | ----- | -----
50 | BRN11jul23_002.gcd | 2023-07-11 11:57 | spiked air old batch | Unknown | 0 | 5.992 | 1061531 | 2.273 | ----- | ----- | ----- | ----- | 50 | BRN11jul23_002.gcd | 2023-07-11 11:57 | spiked air old batch | Unknown | 0 | 5.944 | 9326 | 2.366 | ----- | ----- | ----- | ----- | 50 | BRN11jul23_002.gcd | 2023-07-11 11:57 | spiked air old batch | Unknown | 0 | 12.165 | 8687 | 2.164 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2192.5108 | 2063.4889 | 2330.7931 | 1640.6629 | 2675.5408 | 1655.8694 | 2529.569 | 1689.9771 | 2192.5108 | 2063.4889 | 50 | BRN11jul23_002.gcd | 2023-07-11 11:57 | spiked air old batch | Unknown | 0 | 2.699 | 5172418 | 0 | ----- | ----- | ----- | -----
51 | BRN11jul23_003.gcd | 2023-07-11 12:28 | yellow | Unknown | 0 | 6.043 | 3579 | 0 | ----- | ----- | ----- | ----- | 51 | BRN11jul23_003.gcd | 2023-07-11 12:28 | yellow | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN11jul23_003.gcd | 2023-07-11 12:28 | yellow | Unknown | 0 | 12.205 | 1499 | 0.166 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.5831 | 343.0111 | 5.5824 | 312.6036 | 6.2252 | 282.7143 | 3.0443 | 206.086 | 2.5831 | 343.0111 | 51 | BRN11jul23_003.gcd | 2023-07-11 12:28 | yellow | Unknown | 0 | 2.718 | 5066958 | 0 | ----- | ----- | ----- | -----
52 | BRN11jul23_004.gcd | 2023-07-11 12:58 | 179 | Unknown | 0 | 6.016 | 13297 | 0.021 | ----- | ----- | ----- | ----- | 52 | BRN11jul23_004.gcd | 2023-07-11 12:58 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN11jul23_004.gcd | 2023-07-11 12:58 | 179 | Unknown | 0 | 12.173 | 7145 | 1.737 | ----- | ----- | ----- | ----- | 1 |  | 52 | 29.7639 | 1698.3756 | 35.3546 | 1356.3085 | 34.6051 | 1361.4359 | 28.7371 | 1371.8687 | 29.7639 | 1698.3756 | 52 | BRN11jul23_004.gcd | 2023-07-11 12:58 | 179 | Unknown | 0 | 2.871 | 803097 | 0 | ----- | ----- | ----- | -----
53 | BRN11jul23_005.gcd | 2023-07-11 13:29 | 271 | Unknown | 0 | 6.059 | 2856 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN11jul23_005.gcd | 2023-07-11 13:29 | 271 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN11jul23_005.gcd | 2023-07-11 13:29 | 271 | Unknown | 0 | 12.077 | 91086 | 23.943 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.5158 | 20445.6688 | 3.5278 | 16401.3931 | 3.7308 | 17276.8815 | 1.7646 | 18512.0455 | 3.5158 | 20445.6688 | 53 | BRN11jul23_005.gcd | 2023-07-11 13:29 | 271 | Unknown | 0 | 2.878 | 662709 | 0 | ----- | ----- | ----- | -----
54 | BRN11jul23_006.gcd | 2023-07-11 13:59 | 31 | Unknown | 0 | 6.035 | 2896 | -0.001 | ----- | ----- | ----- | ----- | 54 | BRN11jul23_006.gcd | 2023-07-11 13:59 | 31 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN11jul23_006.gcd | 2023-07-11 13:59 | 31 | Unknown | 0 | 12.045 | 108231 | 28.242 | ----- | ----- | ----- | ----- | 1 |  | 54 | 3.4494 | 24552.7182 | 3.6409 | 19365.5728 | 3.8704 | 20499.4404 | 1.8315 | 21968.7077 | 3.4494 | 24552.7182 | 54 | BRN11jul23_006.gcd | 2023-07-11 13:59 | 31 | Unknown | 0 | 2.858 | 753100 | 0 | ----- | ----- | ----- | -----
55 | BRN11jul23_007.gcd | 2023-07-11 14:30 | 397 | Unknown | 0 | 6.075 | 2193 | -0.003 | ----- | ----- | ----- | ----- | 55 | BRN11jul23_007.gcd | 2023-07-11 14:30 | 397 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN11jul23_007.gcd | 2023-07-11 14:30 | 397 | Unknown | 0 | 12.078 | 103056 | 26.952 | ----- | ----- | ----- | ----- | 1 |  | 55 | 4.8673 | 23315.5911 | 1.6633 | 18474.7612 | 1.3901 | 19527.7592 | 0.72472 | 20926.939 | 4.8673 | 23315.5911 | 55 | BRN11jul23_007.gcd | 2023-07-11 14:30 | 397 | Unknown | 0 | 2.844 | 1395501 | 0 | ----- | ----- | ----- | -----
56 | BRN11jul23_008.gcd | 2023-07-11 15:01 | 354 | Unknown | 0 | 6.019 | 15390 | 0.026 | ----- | ----- | ----- | ----- | 56 | BRN11jul23_008.gcd | 2023-07-11 15:01 | 354 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN11jul23_008.gcd | 2023-07-11 15:01 | 354 | Unknown | 0 | 12.17 | 7167 | 1.743 | ----- | ----- | ----- | ----- | 1 |  | 56 | 36.0383 | 1703.6 | 48.6169 | 1360.3676 | 40.1129 | 1365.6372 | 33.6466 | 1376.408 | 36.0383 | 1703.6 | 56 | BRN11jul23_008.gcd | 2023-07-11 15:01 | 354 | Unknown | 0 | 2.866 | 938404 | 0 | ----- | ----- | ----- | -----
57 | BRN11jul23_009.gcd | 2023-07-11 15:32 | 109 | Unknown | 0 | 5.997 | 146997 | 0.308 | ----- | ----- | ----- | ----- | 57 | BRN11jul23_009.gcd | 2023-07-11 15:32 | 109 | Unknown | 0 | 5.953 | 1181 | 0.271 | ----- | ----- | ----- | ----- | 57 | BRN11jul23_009.gcd | 2023-07-11 15:32 | 109 | Unknown | 0 | 12.118 | 44468 | 11.865 | ----- | ----- | ----- | ----- | 1 |  | 57 | 402.8159 | 9926.5785 | 444.5512 | 8155.0756 | 384.3136 | 8466.271 | 340.9386 | 9037.3723 | 402.8159 | 9926.5785 | 57 | BRN11jul23_009.gcd | 2023-07-11 15:32 | 109 | Unknown | 0 | 2.85 | 900764 | 0 | ----- | ----- | ----- | -----
58 | BRN11jul23_010.gcd | 2023-07-11 16:02 | 277 | Unknown | 0 | 6.005 | 12398 | 0.019 | ----- | ----- | ----- | ----- | 58 | BRN11jul23_010.gcd | 2023-07-11 16:02 | 277 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN11jul23_010.gcd | 2023-07-11 16:02 | 277 | Unknown | 0 | 12.04 | 113427 | 29.531 | ----- | ----- | ----- | ----- | 1 |  | 58 | 27.0647 | 25792.6614 | 32.4319 | 20256.6168 | 32.239 | 21474.1884 | 26.6281 | 23013.3286 | 27.0647 | 25792.6614 | 58 | BRN11jul23_010.gcd | 2023-07-11 16:02 | 277 | Unknown | 0 | 2.852 | 877046 | 0 | ----- | ----- | ----- | -----
59 | BRN11jul23_011.gcd | 2023-07-11 16:33 | 372 | Unknown | 0 | 5.998 | 132974 | 0.278 | ----- | ----- | ----- | ----- | 59 | BRN11jul23_011.gcd | 2023-07-11 16:33 | 372 | Unknown | 0 | 5.958 | 1422 | 0.333 | ----- | ----- | ----- | ----- | 59 | BRN11jul23_011.gcd | 2023-07-11 16:33 | 372 | Unknown | 0 | 12.124 | 43338 | 11.564 | ----- | ----- | ----- | ----- | 1 |  | 59 | 366.3352 | 9696.1131 | 403.7094 | 7951.8017 | 347.8376 | 8251.8284 | 308.3288 | 8806.3334 | 366.3352 | 9696.1131 | 59 | BRN11jul23_011.gcd | 2023-07-11 16:33 | 372 | Unknown | 0 | 2.859 | 775585 | 0 | ----- | ----- | ----- | -----
60 | BRN11jul23_012.gcd | 2023-07-11 17:04 | 362 | Unknown | 0 | 6.001 | 33576 | 0.065 | ----- | ----- | ----- | ----- | 60 | BRN11jul23_012.gcd | 2023-07-11 17:04 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN11jul23_012.gcd | 2023-07-11 17:04 | 362 | Unknown | 0 | 12.156 | 2969 | 0.576 | ----- | ----- | ----- | ----- | 1 |  | 60 | 89.9739 | 698.6955 | 105.0123 | 584.7293 | 87.9254 | 563.6715 | 76.2757 | 509.7673 | 89.9739 | 698.6955 | 60 | BRN11jul23_012.gcd | 2023-07-11 17:04 | 362 | Unknown | 0 | 2.847 | 975026 | 0 | ----- | ----- | ----- | -----
61 | BRN11jul23_013.gcd | 2023-07-11 17:34 | 224 | Unknown | 0 | 6.003 | 31646 | 0.06 | ----- | ----- | ----- | ----- | 61 | BRN11jul23_013.gcd | 2023-07-11 17:34 | 224 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN11jul23_013.gcd | 2023-07-11 17:34 | 224 | Unknown | 0 | 12.154 | 2097 | 0.333 | ----- | ----- | ----- | ----- | 1 |  | 61 | 84.2995 | 487.9423 | 99.0529 | 423.3378 | 82.855 | 397.0169 | 71.7541 | 329.6377 | 84.2995 | 487.9423 | 61 | BRN11jul23_013.gcd | 2023-07-11 17:34 | 224 | Unknown | 0 | 2.85 | 945999 | 0 | ----- | ----- | ----- | -----
62 | BRN11jul23_014.gcd | 2023-07-11 18:05 | 160 | Unknown | 0 | 5.999 | 83829 | 0.172 | ----- | ----- | ----- | ----- | 62 | BRN11jul23_014.gcd | 2023-07-11 18:05 | 160 | Unknown | 0 | 5.96 | 1380 | 0.322 | ----- | ----- | ----- | ----- | 62 | BRN11jul23_014.gcd | 2023-07-11 18:05 | 160 | Unknown | 0 | 12.138 | 26802 | 7.125 | ----- | ----- | ----- | ----- | 1 |  | 62 | 233.5896 | 6190.3298 | 258.0414 | 4958.8301 | 219.6287 | 5109.0041 | 193.7945 | 5417.9412 | 233.5896 | 6190.3298 | 62 | BRN11jul23_014.gcd | 2023-07-11 18:05 | 160 | Unknown | 0 | 2.855 | 822912 | 0 | ----- | ----- | ----- | -----
63 | BRN11jul23_015.gcd | 2023-07-11 18:36 | 96 | Unknown | 0 | 6.072 | 2222 | -0.003 | ----- | ----- | ----- | ----- | 63 | BRN11jul23_015.gcd | 2023-07-11 18:36 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN11jul23_015.gcd | 2023-07-11 18:36 | 96 | Unknown | 0 | 12.057 | 109559 | 28.572 | ----- | ----- | ----- | ----- | 1 |  | 63 | 4.7983 | 24869.8345 | 1.7444 | 19593.6293 | 1.4936 | 20748.6512 | 0.76754 | 22235.8243 | 4.7983 | 24869.8345 | 63 | BRN11jul23_015.gcd | 2023-07-11 18:36 | 96 | Unknown | 0 | 2.855 | 896810 | 0 | ----- | ----- | ----- | -----
64 | BRN11jul23_016.gcd | 2023-07-11 19:06 | 102 | Unknown | 0 | 6.02 | 107358 | 0.223 | ----- | ----- | ----- | ----- | 64 | BRN11jul23_016.gcd | 2023-07-11 19:06 | 102 | Unknown | 0 | 5.959 | 1008 | 0.226 | ----- | ----- | ----- | ----- | 64 | BRN11jul23_016.gcd | 2023-07-11 19:06 | 102 | Unknown | 0 | 12.196 | 664 | -0.067 | ----- | ----- | ----- | ----- | 1 |  | 64 | 298.0943 | 140.0949 | 328.2744 | 157.9079 | 281.0838 | 123.0916 | 248.6783 | 33.5375 | 298.0943 | 140.0949 | 64 | BRN11jul23_016.gcd | 2023-07-11 19:06 | 102 | Unknown | 0 | 2.868 | 1003553 | 0 | ----- | ----- | ----- | -----
65 | BRN11jul23_017.gcd | 2023-07-11 19:37 | 222 | Unknown | 0 | 6.015 | 374860 | 0.797 | ----- | ----- | ----- | ----- | 65 | BRN11jul23_017.gcd | 2023-07-11 19:37 | 222 | Unknown | 0 | 5.967 | 4472 | 1.118 | ----- | ----- | ----- | ----- | 65 | BRN11jul23_017.gcd | 2023-07-11 19:37 | 222 | Unknown | 0 | 12.183 | 5432 | 1.262 | ----- | ----- | ----- | ----- | 1 |  | 65 | 878.7147 | 1290.23 | 1063.213 | 1040.0707 | 970.3561 | 1034.2606 | 866.3838 | 1018.3414 | 878.7147 | 1290.23 | 65 | BRN11jul23_017.gcd | 2023-07-11 19:37 | 222 | Unknown | 0 | 2.875 | 798538 | 0 | ----- | ----- | ----- | -----
66 | BRN11jul23_018.gcd | 2023-07-11 20:08 | 41 | Unknown | 0 | 5.951 | 19486799 | 43.435 | ----- | ----- | ----- | ----- | 66 | BRN11jul23_018.gcd | 2023-07-11 20:08 | 41 | Unknown | 0 | 5.913 | 160952 | 40.687 | ----- | ----- | ----- | ----- | 66 | BRN11jul23_018.gcd | 2023-07-11 20:08 | 41 | Unknown | 0 | 12.065 | 112513 | 29.304 | ----- | ----- | ----- | ----- | 1 |  | 66 | 39734.0771 | 25574.7098 | 31209.3845 | 20100.1238 | 41034.2685 | 21302.7894 | 39495.9897 | 22829.6749 | 39734.0771 | 25574.7098 | 66 | BRN11jul23_018.gcd | 2023-07-11 20:08 | 41 | Unknown | 0 | 2.861 | 967364 | 0 | ----- | ----- | ----- | -----
67 | BRN11jul23_019.gcd | 2023-07-11 20:38 | 203 | Unknown | 0 | 6.059 | 2891 | -0.001 | ----- | ----- | ----- | ----- | 67 | BRN11jul23_019.gcd | 2023-07-11 20:38 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN11jul23_019.gcd | 2023-07-11 20:38 | 203 | Unknown | 0 | 12.066 | 108982 | 28.429 | ----- | ----- | ----- | ----- | 1 |  | 67 | 3.4576 | 24732.069 | 3.6268 | 19494.5687 | 3.853 | 20640.3791 | 1.8231 | 22119.7764 | 3.4576 | 24732.069 | 67 | BRN11jul23_019.gcd | 2023-07-11 20:38 | 203 | Unknown | 0 | 2.868 | 912859 | 0 | ----- | ----- | ----- | -----
68 | BRN11jul23_020.gcd | 2023-07-11 21:09 | 375 | Unknown | 0 | 5.94 | 18264144 | 40.605 | ----- | ----- | ----- | ----- | 68 | BRN11jul23_020.gcd | 2023-07-11 21:09 | 375 | Unknown | 0 | 5.902 | 152833 | 38.667 | ----- | ----- | ----- | ----- | 68 | BRN11jul23_020.gcd | 2023-07-11 21:09 | 375 | Unknown | 0 | 12.085 | 75123 | 19.873 | ----- | ----- | ----- | ----- | 1 |  | 68 | 37702.506 | 16600.1494 | 29659.2175 | 13608.3939 | 39003.6876 | 14267.8969 | 37539.1577 | 15280.2029 | 37702.506 | 16600.1494 | 68 | BRN11jul23_020.gcd | 2023-07-11 21:09 | 375 | Unknown | 0 | 2.868 | 625291 | 0 | ----- | ----- | ----- | -----
69 | BRN11jul23_021.gcd | 2023-07-11 21:40 | 265 | Unknown | 0 | 6.017 | 139378 | 0.291 | ----- | ----- | ----- | ----- | 69 | BRN11jul23_021.gcd | 2023-07-11 21:40 | 265 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN11jul23_021.gcd | 2023-07-11 21:40 | 265 | Unknown | 0 | 12.093 | 85343 | 22.487 | ----- | ----- | ----- | ----- | 1 |  | 69 | 383.0721 | 19064.5689 | 422.4008 | 15400.2414 | 364.5013 | 16195.2951 | 323.225 | 17350.825 | 383.0721 | 19064.5689 | 69 | BRN11jul23_021.gcd | 2023-07-11 21:40 | 265 | Unknown | 0 | 2.876 | 795604 | 0 | ----- | ----- | ----- | -----
70 | BRN11jul23_022.gcd | 2023-07-11 22:10 | 140 | Unknown | 0 | 5.948 | 19105888 | 42.552 | ----- | ----- | ----- | ----- | 70 | BRN11jul23_022.gcd | 2023-07-11 22:10 | 140 | Unknown | 0 | 5.913 | 161996 | 40.947 | ----- | ----- | ----- | ----- | 70 | BRN11jul23_022.gcd | 2023-07-11 22:10 | 140 | Unknown | 0 | 12.107 | 67070 | 17.795 | ----- | ----- | ----- | ----- | 1 |  | 70 | 39995.1199 | 14652.2551 | 31408.7477 | 12187.2444 | 41295.1833 | 12746.7823 | 39747.428 | 13644.8702 | 39995.1199 | 14652.2551 | 70 | BRN11jul23_022.gcd | 2023-07-11 22:10 | 140 | Unknown | 0 | 2.878 | 662364 | 0 | ----- | ----- | ----- | -----
71 | BRN11jul23_023.gcd | 2023-07-11 22:41 | 206 | Unknown | 0 | 6.017 | 73533 | 0.15 | ----- | ----- | ----- | ----- | 71 | BRN11jul23_023.gcd | 2023-07-11 22:41 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN11jul23_023.gcd | 2023-07-11 22:41 | 206 | Unknown | 0 | 12.16 | 24302 | 6.447 | ----- | ----- | ----- | ----- | 1 |  | 71 | 204.8139 | 5638.6012 | 227.0241 | 4503.3496 | 192.6946 | 4633.0815 | 169.75 | 4904.4516 | 204.8139 | 5638.6012 | 71 | BRN11jul23_023.gcd | 2023-07-11 22:41 | 206 | Unknown | 0 | 2.866 | 940893 | 0 | ----- | ----- | ----- | -----
72 | BRN11jul23_024.gcd | 2023-07-11 23:12 | 12 | Unknown | 0 | 6.016 | 106992 | 0.222 | ----- | ----- | ----- | ----- | 72 | BRN11jul23_024.gcd | 2023-07-11 23:12 | 12 | Unknown | 0 | 5.936 | 607 | 0.123 | ----- | ----- | ----- | ----- | 72 | BRN11jul23_024.gcd | 2023-07-11 23:12 | 12 | Unknown | 0 | 12.214 | 134 | -0.215 | ----- | ----- | ----- | ----- | 1 |  | 72 | 297.1043 | 10.9678 | 327.1888 | 59.6725 | 280.1288 | 21.7625 | 247.8253 | -76.0027 | 297.1043 | 10.9678 | 72 | BRN11jul23_024.gcd | 2023-07-11 23:12 | 12 | Unknown | 0 | 2.868 | 936306 | 0 | ----- | ----- | ----- | -----
73 | BRN11jul23_025.gcd | 2023-07-11 23:42 | 399 | Unknown | 0 | 6 | 30253 | 0.057 | ----- | ----- | ----- | ----- | 73 | BRN11jul23_025.gcd | 2023-07-11 23:42 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN11jul23_025.gcd | 2023-07-11 23:42 | 399 | Unknown | 0 | 12.162 | 2659 | 0.49 | ----- | ----- | ----- | ----- | 1 |  | 73 | 80.1965 | 623.8512 | 94.7479 | 527.3648 | 79.1949 | 504.4278 | 68.4903 | 445.7349 | 80.1965 | 623.8512 | 73 | BRN11jul23_025.gcd | 2023-07-11 23:42 | 399 | Unknown | 0 | 2.851 | 915763 | 0 | ----- | ----- | ----- | -----
74 | BRN11jul23_026.gcd | 2023-07-12 00:13 | 193 | Unknown | 0 | 6.002 | 31880 | 0.061 | ----- | ----- | ----- | ----- | 74 | BRN11jul23_026.gcd | 2023-07-12 00:13 | 193 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN11jul23_026.gcd | 2023-07-12 00:13 | 193 | Unknown | 0 | 12.159 | 3431 | 0.705 | ----- | ----- | ----- | ----- | 1 |  | 74 | 84.9881 | 810.0749 | 99.7757 | 670.1985 | 83.4698 | 651.9578 | 72.3024 | 605.1873 | 84.9881 | 810.0749 | 74 | BRN11jul23_026.gcd | 2023-07-12 00:13 | 193 | Unknown | 0 | 2.843 | 1078083 | 0 | ----- | ----- | ----- | -----
75 | BRN11jul23_027.gcd | 2023-07-12 00:44 | 279 | Unknown | 0 | 6.017 | 100889 | 0.209 | ----- | ----- | ----- | ----- | 75 | BRN11jul23_027.gcd | 2023-07-12 00:44 | 279 | Unknown | 0 | 5.971 | 1124 | 0.256 | ----- | ----- | ----- | ----- | 75 | BRN11jul23_027.gcd | 2023-07-12 00:44 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 75 | 280.5336 | #VALUE! | 309.0548 | #VALUE! | 264.2008 | #VALUE! | 233.5976 | #VALUE! | 280.5336 | #VALUE! | 75 | BRN11jul23_027.gcd | 2023-07-12 00:44 | 279 | Unknown | 0 | 2.87 | 913747 | 0 | ----- | ----- | ----- | -----
76 | BRN11jul23_028.gcd | 2023-07-12 01:14 | 274 | Unknown | 0 | 6.051 | 2171 | -0.003 | ----- | ----- | ----- | ----- | 76 | BRN11jul23_028.gcd | 2023-07-12 01:14 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN11jul23_028.gcd | 2023-07-12 01:14 | 274 | Unknown | 0 | 12.04 | 117474 | 30.53 | ----- | ----- | ----- | ----- | 1 |  | 76 | 4.9203 | 26756.884 | 1.6017 | 20948.2748 | 1.3116 | 22232.7805 | 0.6924 | 23825.9962 | 4.9203 | 26756.884 | 76 | BRN11jul23_028.gcd | 2023-07-12 01:14 | 274 | Unknown | 0 | 2.848 | 983149 | 0 | ----- | ----- | ----- | -----
77 | BRN11jul23_029.gcd | 2023-07-12 01:45 | 416 | Unknown | 0 | 6.077 | 1973 | -0.003 | ----- | ----- | ----- | ----- | 77 | BRN11jul23_029.gcd | 2023-07-12 01:45 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN11jul23_029.gcd | 2023-07-12 01:45 | 416 | Unknown | 0 | 12.069 | 107132 | 27.969 | ----- | ----- | ----- | ----- | 1 |  | 77 | 5.4207 | 24290.1762 | 1.0487 | 19176.6748 | 0.6022 | 20293.1601 | 0.40787 | 21747.5846 | 5.4207 | 24290.1762 | 77 | BRN11jul23_029.gcd | 2023-07-12 01:45 | 416 | Unknown | 0 | 2.87 | 919123 | 0 | ----- | ----- | ----- | -----
78 | BRN11jul23_030.gcd | 2023-07-12 02:16 | 10 | Unknown | 0 | 6.016 | 155191 | 0.325 | ----- | ----- | ----- | ----- | 78 | BRN11jul23_030.gcd | 2023-07-12 02:16 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN11jul23_030.gcd | 2023-07-12 02:16 | 10 | Unknown | 0 | 12.09 | 86221 | 22.71 | ----- | ----- | ----- | ----- | 1 |  | 78 | 423.8454 | 19275.8886 | 468.2676 | 15553.5674 | 405.6054 | 16360.7194 | 359.9787 | 17528.4635 | 423.8454 | 19275.8886 | 78 | BRN11jul23_030.gcd | 2023-07-12 02:16 | 10 | Unknown | 0 | 2.876 | 793885 | 0 | ----- | ----- | ----- | -----
79 | BRN11jul23_031.gcd | 2023-07-12 02:46 | 316 | Unknown | 0 | 6.018 | 110826 | 0.23 | ----- | ----- | ----- | ----- | 79 | BRN11jul23_031.gcd | 2023-07-12 02:46 | 316 | Unknown | 0 | 5.972 | 1023 | 0.23 | ----- | ----- | ----- | ----- | 79 | BRN11jul23_031.gcd | 2023-07-12 02:46 | 316 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 79 | 307.4542 | #VALUE! | 338.5498 | #VALUE! | 290.1305 | #VALUE! | 256.7602 | #VALUE! | 307.4542 | #VALUE! | 79 | BRN11jul23_031.gcd | 2023-07-12 02:46 | 316 | Unknown | 0 | 2.875 | 860601 | 0 | ----- | ----- | ----- | -----
80 | BRN11jul23_032.gcd | 2023-07-12 03:17 | 120 | Unknown | 0 | 6.015 | 475063 | 1.012 | ----- | ----- | ----- | ----- | 80 | BRN11jul23_032.gcd | 2023-07-12 03:17 | 120 | Unknown | 0 | 5.968 | 4227 | 1.055 | ----- | ----- | ----- | ----- | 80 | BRN11jul23_032.gcd | 2023-07-12 03:17 | 120 | Unknown | 0 | 12.176 | 5639 | 1.319 | ----- | ----- | ----- | ----- | [13 empty] | 80 | BRN11jul23_032.gcd | 2023-07-12 03:17 | 120 | Unknown | 0 | 2.875 | 850137 | 0 | ----- | ----- | ----- | -----