## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN11oct23_001.gcd | 2023-10-11 11:15 | QC outside air | Unknown | 0 | 6.065 | 2361 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN11oct23_001.gcd | 2023-10-11 11:15 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN11oct23_001.gcd | 2023-10-11 11:15 | QC outside air | Unknown | 0 | 12.226 | 2218 | 0.367 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.48 | 517.2282 | 2.134 | 445.7384 | 1.9881 | 420.1436 | 0.97615 | 354.6351 | 4.48 | 517.2282 | 49 | BRN11oct23_001.gcd | 2023-10-11 11:15 | QC outside air | Unknown | 0 | 2.708 | 5234557 | 0 | ----- | ----- | ----- | -----
50 | BRN11oct23_002.gcd | 2023-10-11 11:45 | QC spiked air | Unknown | 0 | 6.007 | 1051860 | 2.253 | ----- | ----- | ----- | ----- | 50 | BRN11oct23_002.gcd | 2023-10-11 11:45 | QC spiked air | Unknown | 0 | 5.955 | 8253 | 2.09 | ----- | ----- | ----- | ----- | 50 | BRN11oct23_002.gcd | 2023-10-11 11:45 | QC spiked air | Unknown | 0 | 12.198 | 10306 | 2.612 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2174.1292 | 2444.5 | 2126.9684 | 1938.8954 | 2400.8022 | 1964.9222 | 2264.7963 | 2023.8396 | 2174.1292 | 2444.5 | 50 | BRN11oct23_002.gcd | 2023-10-11 11:45 | QC spiked air | Unknown | 0 | 2.704 | 5194042 | 0 | ----- | ----- | ----- | -----
51 | BRN11oct23_003.gcd | 2023-10-11 12:16 | QC reference tank reused | Unknown | 0 | 6.039 | 3859 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN11oct23_003.gcd | 2023-10-11 12:16 | QC reference tank reused | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN11oct23_003.gcd | 2023-10-11 12:16 | QC reference tank reused | Unknown | 0 | 12.203 | 1452 | 0.153 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.3735 | 331.6064 | 6.384 | 303.8985 | 7.175 | 273.7301 | 3.5807 | 196.3746 | 2.3735 | 331.6064 | 51 | BRN11oct23_003.gcd | 2023-10-11 12:16 | QC reference tank reused | Unknown | 0 | 2.698 | 5471713 | 0 | ----- | ----- | ----- | -----
52 | BRN11oct23_004.gcd | 2023-10-11 12:46 | 24 | Unknown | 0 | 6.036 | 3424 | 0 | ----- | ----- | ----- | ----- | 52 | BRN11oct23_004.gcd | 2023-10-11 12:46 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN11oct23_004.gcd | 2023-10-11 12:46 | 24 | Unknown | 0 | 12.159 | 26831 | 7.133 | ----- | ----- | ----- | ----- | 1 |  | 52 | 2.7355 | 6196.6964 | 5.1401 | 4964.1091 | 5.6956 | 5114.5236 | 2.7572 | 5423.8958 | 2.7355 | 6196.6964 | 52 | BRN11oct23_004.gcd | 2023-10-11 12:46 | 24 | Unknown | 0 | 2.86 | 810826 | 0 | ----- | ----- | ----- | -----
53 | BRN11oct23_005.gcd | 2023-10-11 13:17 | 390 | Unknown | 0 | 6.011 | 30076 | 0.057 | ----- | ----- | ----- | ----- | 53 | BRN11oct23_005.gcd | 2023-10-11 13:17 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN11oct23_005.gcd | 2023-10-11 13:17 | 390 | Unknown | 0 | 12.159 | 26255 | 6.977 | ----- | ----- | ----- | ----- | 1 |  | 53 | 79.6748 | 6070.0989 | 94.2006 | 4859.2381 | 78.7298 | 5004.8896 | 68.0756 | 5305.6169 | 79.6748 | 6070.0989 | 53 | BRN11oct23_005.gcd | 2023-10-11 13:17 | 390 | Unknown | 0 | 2.865 | 723720 | 0 | ----- | ----- | ----- | -----
54 | BRN11oct23_006.gcd | 2023-10-11 13:47 | 49 | Unknown | 0 | 6.039 | 3396 | 0 | ----- | ----- | ----- | ----- | 54 | BRN11oct23_006.gcd | 2023-10-11 13:47 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN11oct23_006.gcd | 2023-10-11 13:47 | 49 | Unknown | 0 | 11.974 | 231239 | 57.192 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2.7658 | 53313.917 | 5.0603 | 39550.1361 | 5.5996 | 43339.5926 | 2.706 | 46328.8093 | 2.7658 | 53313.917 | 54 | BRN11oct23_006.gcd | 2023-10-11 13:47 | 49 | Unknown | 0 | 2.871 | 691563 | 0 | ----- | ----- | ----- | -----
55 | BRN11oct23_007.gcd | 2023-10-11 14:18 | 385 | Unknown | 0 | 6.011 | 286414 | 0.607 | ----- | ----- | ----- | ----- | 55 | BRN11oct23_007.gcd | 2023-10-11 14:18 | 385 | Unknown | 0 | 5.962 | 2807 | 0.689 | ----- | ----- | ----- | ----- | 55 | BRN11oct23_007.gcd | 2023-10-11 14:18 | 385 | Unknown | 0 | 12.182 | 14161 | 3.675 | ----- | ----- | ----- | ----- | 1 |  | 55 | 708.2173 | 3342.1005 | 833.1413 | 2647.6919 | 744.372 | 2700.4645 | 663.4231 | 2818.2611 | 708.2173 | 3342.1005 | 55 | BRN11oct23_007.gcd | 2023-10-11 14:18 | 385 | Unknown | 0 | 2.868 | 748483 | 0 | ----- | ----- | ----- | -----
56 | BRN11oct23_008.gcd | 2023-10-11 14:49 | 112 | Unknown | 0 | 6.009 | 144836 | 0.303 | ----- | ----- | ----- | ----- | 56 | BRN11oct23_008.gcd | 2023-10-11 14:49 | 112 | Unknown | 0 | 5.961 | 952 | 0.212 | ----- | ----- | ----- | ----- | 56 | BRN11oct23_008.gcd | 2023-10-11 14:49 | 112 | Unknown | 0 | 12.092 | 91031 | 23.929 | ----- | ----- | ----- | ----- | 1 |  | 56 | 397.2345 | 20432.455 | 438.2783 | 16391.8248 | 378.6956 | 17266.5284 | 335.9154 | 18500.9326 | 397.2345 | 20432.455 | 56 | BRN11oct23_008.gcd | 2023-10-11 14:49 | 112 | Unknown | 0 | 2.845 | 1085413 | 0 | ----- | ----- | ----- | -----
57 | BRN11oct23_009.gcd | 2023-10-11 15:19 | 42 | Unknown | 0 | 6.053 | 2410 | -0.002 | ----- | ----- | ----- | ----- | 57 | BRN11oct23_009.gcd | 2023-10-11 15:19 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN11oct23_009.gcd | 2023-10-11 15:19 | 42 | Unknown | 0 | 11.985 | 214933 | 53.526 | ----- | ----- | ----- | ----- | 1 |  | 57 | 4.3727 | 49572.4797 | 2.2715 | 36983.6731 | 2.1619 | 40340.1815 | 1.051 | 43144.0242 | 4.3727 | 49572.4797 | 57 | BRN11oct23_009.gcd | 2023-10-11 15:19 | 42 | Unknown | 0 | 2.862 | 763339 | 0 | ----- | ----- | ----- | -----
58 | BRN11oct23_010.gcd | 2023-10-11 15:50 | 191 | Unknown | 0 | 6.007 | 564309 | 1.204 | ----- | ----- | ----- | ----- | 58 | BRN11oct23_010.gcd | 2023-10-11 15:50 | 191 | Unknown | 0 | 5.956 | 4457 | 1.114 | ----- | ----- | ----- | ----- | 58 | BRN11oct23_010.gcd | 2023-10-11 15:50 | 191 | Unknown | 0 | 12.166 | 17348 | 4.55 | ----- | ----- | ----- | ----- | 1 |  | 58 | 1242.9364 | 4073.9273 | 1513.0502 | 3232.2584 | 1448.0432 | 3308.1861 | 1296.88 | 3474.4513 | 1242.9364 | 4073.9273 | 58 | BRN11oct23_010.gcd | 2023-10-11 15:50 | 191 | Unknown | 0 | 2.863 | 755610 | 0 | ----- | ----- | ----- | -----
59 | BRN11oct23_011.gcd | 2023-10-11 16:20 | 188 | Unknown | 0 | 6.009 | 150477 | 0.315 | ----- | ----- | ----- | ----- | 59 | BRN11oct23_011.gcd | 2023-10-11 16:20 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN11oct23_011.gcd | 2023-10-11 16:20 | 188 | Unknown | 0 | 12.097 | 88080 | 23.182 | ----- | ----- | ----- | ----- | 1 |  | 59 | 411.773 | 19723.1103 | 454.637 | 15877.8869 | 393.3582 | 16710.8915 | 349.0263 | 17904.4496 | 411.773 | 19723.1103 | 59 | BRN11oct23_011.gcd | 2023-10-11 16:20 | 188 | Unknown | 0 | 2.864 | 741899 | 0 | ----- | ----- | ----- | -----
60 | BRN11oct23_012.gcd | 2023-10-11 16:51 | 338 | Unknown | 0 | 6.055 | 2011 | -0.003 | ----- | ----- | ----- | ----- | 60 | BRN11oct23_012.gcd | 2023-10-11 16:51 | 338 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN11oct23_012.gcd | 2023-10-11 16:51 | 338 | Unknown | 0 | 11.98 | 212819 | 53.047 | ----- | ----- | ----- | ----- | 1 |  | 60 | 5.3214 | 49085.8265 | 1.1547 | 36648.4984 | 0.7387 | 39950.6881 | 0.46159 | 42730.1373 | 5.3214 | 49085.8265 | 60 | BRN11oct23_012.gcd | 2023-10-11 16:51 | 338 | Unknown | 0 | 2.837 | 1253200 | 0 | ----- | ----- | ----- | -----
61 | BRN11oct23_013.gcd | 2023-10-11 17:22 | 232 | Unknown | 0 | 6.017 | 27293 | 0.051 | ----- | ----- | ----- | ----- | 61 | BRN11oct23_013.gcd | 2023-10-11 17:22 | 232 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN11oct23_013.gcd | 2023-10-11 17:22 | 232 | Unknown | 0 | 11.976 | 223924 | 55.553 | ----- | ----- | ----- | ----- | 1 |  | 61 | 71.4579 | 51638.1687 | 85.5895 | 38402.9289 | 71.4159 | 41995.1026 | 61.554 | 44901.768 | 71.4579 | 51638.1687 | 61 | BRN11oct23_013.gcd | 2023-10-11 17:22 | 232 | Unknown | 0 | 2.87 | 740121 | 0 | ----- | ----- | ----- | -----
62 | BRN11oct23_014.gcd | 2023-10-11 17:52 | 328 | Unknown | 0 | 6.034 | 3969 | 0.001 | ----- | ----- | ----- | ----- | 62 | BRN11oct23_014.gcd | 2023-10-11 17:52 | 328 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN11oct23_014.gcd | 2023-10-11 17:52 | 328 | Unknown | 0 | 12.154 | 26356 | 7.004 | ----- | ----- | ----- | ----- | 1 |  | 62 | 2.3143 | 6092.3193 | 6.6999 | 4877.6299 | 7.5456 | 5024.1144 | 3.7976 | 5326.358 | 2.3143 | 6092.3193 | 62 | BRN11oct23_014.gcd | 2023-10-11 17:52 | 328 | Unknown | 0 | 2.86 | 807993 | 0 | ----- | ----- | ----- | -----
63 | BRN11oct23_015.gcd | 2023-10-11 18:23 | 274 | Unknown | 0 | 6.066 | 2205 | -0.003 | ----- | ----- | ----- | ----- | 63 | BRN11oct23_015.gcd | 2023-10-11 18:23 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN11oct23_015.gcd | 2023-10-11 18:23 | 274 | Unknown | 0 | 11.972 | 239891 | 59.118 | ----- | ----- | ----- | ----- | 1 |  | 63 | 4.8387 | 55290.3001 | 1.6968 | 40898.3528 | 1.433 | 44927.5757 | 0.74241 | 48013.1526 | 4.8387 | 55290.3001 | 63 | BRN11oct23_015.gcd | 2023-10-11 18:23 | 274 | Unknown | 0 | 2.868 | 821640 | 0 | ----- | ----- | ----- | -----
64 | BRN11oct23_016.gcd | 2023-10-11 18:53 | 270 | Unknown | 0 | 6.035 | 4549 | 0.002 | ----- | ----- | ----- | ----- | 64 | BRN11oct23_016.gcd | 2023-10-11 18:53 | 270 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN11oct23_016.gcd | 2023-10-11 18:53 | 270 | Unknown | 0 | 12.155 | 26134 | 6.944 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.2185 | 6043.4661 | 8.3738 | 4837.2026 | 9.4766 | 4981.8574 | 4.9997 | 5280.768 | 2.2185 | 6043.4661 | 64 | BRN11oct23_016.gcd | 2023-10-11 18:53 | 270 | Unknown | 0 | 2.865 | 736941 | 0 | ----- | ----- | ----- | -----
65 | BRN11oct23_017.gcd | 2023-10-11 19:24 | 371 | Unknown | 0 | 5.836 | 42643521 | 100.263 | ----- | ----- | ----- | ----- | 65 | BRN11oct23_017.gcd | 2023-10-11 19:24 | 371 | Unknown | 0 | 5.815 | 475957 | 116.58 | ----- | ----- | ----- | ----- | 65 | BRN11oct23_017.gcd | 2023-10-11 19:24 | 371 | Unknown | 0 | 12.092 | 76267 | 20.167 | ----- | ----- | ----- | ----- | 1 |  | 65 | 116520.2692 | 16876.4347 | 91687.902 | 13809.6203 | 117774.916 | 14483.8136 | 113445.5251 | 15512.2479 | 116520.2692 | 16876.4347 | 65 | BRN11oct23_017.gcd | 2023-10-11 19:24 | 371 | Unknown | 0 | 2.868 | 584068 | 0 | ----- | ----- | ----- | -----
66 | BRN11oct23_018.gcd | 2023-10-11 19:54 | 223 | Unknown | 0 | 6.033 | 4904 | 0.003 | ----- | ----- | ----- | ----- | 66 | BRN11oct23_018.gcd | 2023-10-11 19:54 | 223 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN11oct23_018.gcd | 2023-10-11 19:54 | 223 | Unknown | 0 | 12.163 | 25368 | 6.737 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.339 | 5874.5555 | 9.4054 | 4697.6625 | 10.6393 | 4836.0397 | 5.7837 | 5123.4426 | 2.339 | 5874.5555 | 66 | BRN11oct23_018.gcd | 2023-10-11 19:54 | 223 | Unknown | 0 | 2.865 | 833361 | 0 | ----- | ----- | ----- | -----
67 | BRN11oct23_019.gcd | 2023-10-11 20:25 | 363 | Unknown | 0 | 6.012 | 712099 | 1.522 | ----- | ----- | ----- | ----- | 67 | BRN11oct23_019.gcd | 2023-10-11 20:25 | 363 | Unknown | 0 | 5.961 | 6331 | 1.596 | ----- | ----- | ----- | ----- | 67 | BRN11oct23_019.gcd | 2023-10-11 20:25 | 363 | Unknown | 0 | 12.173 | 17139 | 4.492 | ----- | ----- | ----- | ----- | 1 |  | 67 | 1526.1403 | 4026.2188 | 1761.8886 | 3193.9622 | 1908.564 | 3268.3425 | 1790.4133 | 3431.4349 | 1526.1403 | 4026.2188 | 67 | BRN11oct23_019.gcd | 2023-10-11 20:25 | 363 | Unknown | 0 | 2.86 | 942808 | 0 | ----- | ----- | ----- | -----
68 | BRN11oct23_020.gcd | 2023-10-11 20:55 | 317 | Unknown | 0 | 6.008 | 328374 | 0.697 | ----- | ----- | ----- | ----- | 68 | BRN11oct23_020.gcd | 2023-10-11 20:55 | 317 | Unknown | 0 | 5.962 | 3335 | 0.825 | ----- | ----- | ----- | ----- | 68 | BRN11oct23_020.gcd | 2023-10-11 20:55 | 317 | Unknown | 0 | 12.171 | 16435 | 4.299 | ----- | ----- | ----- | ----- | 1 |  | 68 | 789.1399 | 3865.2232 | 943.8825 | 3064.9242 | 851.8178 | 3134.122 | 759.8676 | 3286.5213 | 789.1399 | 3865.2232 | 68 | BRN11oct23_020.gcd | 2023-10-11 20:55 | 317 | Unknown | 0 | 2.847 | 1050933 | 0 | ----- | ----- | ----- | -----
69 | BRN11oct23_021.gcd | 2023-10-11 21:26 | 388 | Unknown | 0 | 6.005 | 284471 | 0.603 | ----- | ----- | ----- | ----- | 69 | BRN11oct23_021.gcd | 2023-10-11 21:26 | 388 | Unknown | 0 | 5.955 | 3268 | 0.808 | ----- | ----- | ----- | ----- | 69 | BRN11oct23_021.gcd | 2023-10-11 21:26 | 388 | Unknown | 0 | 12.002 | 182664 | 46.125 | ----- | ----- | ----- | ----- | 1 |  | 69 | 704.4686 | 42104.1978 | 827.9436 | 31806.3432 | 739.3863 | 34378.9654 | 658.9503 | 36801.445 | 704.4686 | 42104.1978 | 69 | BRN11oct23_021.gcd | 2023-10-11 21:26 | 388 | Unknown | 0 | 2.863 | 718432 | 0 | ----- | ----- | ----- | -----
70 | BRN11oct23_022.gcd | 2023-10-11 21:56 | 119 | Unknown | 0 | 6.033 | 4255 | 0.002 | ----- | ----- | ----- | ----- | 70 | BRN11oct23_022.gcd | 2023-10-11 21:56 | 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN11oct23_022.gcd | 2023-10-11 21:56 | 119 | Unknown | 0 | 12.16 | 27130 | 7.214 | ----- | ----- | ----- | ----- | 1 |  | 70 | 2.2216 | 6262.2936 | 7.5235 | 5018.531 | 8.5027 | 5171.43 | 4.3782 | 5485.2873 | 2.2216 | 6262.2936 | 70 | BRN11oct23_022.gcd | 2023-10-11 21:56 | 119 | Unknown | 0 | 2.859 | 813162 | 0 | ----- | ----- | ----- | -----
71 | BRN11oct23_023.gcd | 2023-10-11 22:27 | 152 | Unknown | 0 | 6.006 | 227798 | 0.481 | ----- | ----- | ----- | ----- | 71 | BRN11oct23_023.gcd | 2023-10-11 22:27 | 152 | Unknown | 0 | 5.948 | 1549 | 0.366 | ----- | ----- | ----- | ----- | 71 | BRN11oct23_023.gcd | 2023-10-11 22:27 | 152 | Unknown | 0 | 11.999 | 184223 | 46.487 | ----- | ----- | ----- | ----- | 1 |  | 71 | 595.0629 | 42466.9682 | 673.6295 | 32059.4788 | 593.5629 | 34667.7459 | 528.2203 | 37109.0934 | 595.0629 | 42466.9682 | 71 | BRN11oct23_023.gcd | 2023-10-11 22:27 | 152 | Unknown | 0 | 2.86 | 785771 | 0 | ----- | ----- | ----- | -----
72 | BRN11oct23_024.gcd | 2023-10-11 22:57 | 320 | Unknown | 0 | 6.053 | 3124 | -0.001 | ----- | ----- | ----- | ----- | 72 | BRN11oct23_024.gcd | 2023-10-11 22:57 | 320 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN11oct23_024.gcd | 2023-10-11 22:57 | 320 | Unknown | 0 | 11.982 | 216433 | 53.865 | ----- | ----- | ----- | ----- | 1 |  | 72 | 3.1042 | 49917.5654 | 4.2868 | 37221.1578 | 4.6625 | 40616.4605 | 2.2213 | 43437.5615 | 3.1042 | 49917.5654 | 72 | BRN11oct23_024.gcd | 2023-10-11 22:57 | 320 | Unknown | 0 | 2.867 | 816985 | 0 | ----- | ----- | ----- | -----
73 | BRN11oct23_025.gcd | 2023-10-11 23:28 | 416 | Unknown | 0 | 6.005 | 556017 | 1.186 | ----- | ----- | ----- | ----- | 73 | BRN11oct23_025.gcd | 2023-10-11 23:28 | 416 | Unknown | 0 | 5.955 | 5087 | 1.276 | ----- | ----- | ----- | ----- | 73 | BRN11oct23_025.gcd | 2023-10-11 23:28 | 416 | Unknown | 0 | 12.159 | 17799 | 4.673 | ----- | ----- | ----- | ----- | 1 |  | 73 | 1227.0227 | 4176.7415 | 1494.5874 | 3314.8788 | 1427.3169 | 3394.1596 | 1278.1586 | 3567.2685 | 1227.0227 | 4176.7415 | 73 | BRN11oct23_025.gcd | 2023-10-11 23:28 | 416 | Unknown | 0 | 2.859 | 826662 | 0 | ----- | ----- | ----- | -----
74 | BRN11oct23_026.gcd | 2023-10-11 23:59 | 98 | Unknown | 0 | 5.839 | 43036303 | 101.286 | ----- | ----- | ----- | ----- | 74 | BRN11oct23_026.gcd | 2023-10-11 23:59 | 98 | Unknown | 0 | 5.82 | 488514 | 119.511 | ----- | ----- | ----- | ----- | 74 | BRN11oct23_026.gcd | 2023-10-11 23:59 | 98 | Unknown | 0 | 12.095 | 80227 | 21.182 | ----- | ----- | ----- | ----- | 1 |  | 74 | 119498.9224 | 17831.9803 | 94112.2605 | 14504.9048 | 120751.4658 | 15230.889 | 116313.6513 | 16314.9647 | 119498.9224 | 17831.9803 | 74 | BRN11oct23_026.gcd | 2023-10-11 23:59 | 98 | Unknown | 0 | 2.875 | 619368 | 0 | ----- | ----- | ----- | -----
75 | BRN11oct23_027.gcd | 2023-10-12 00:29 | 399 | Unknown | 0 | 6.004 | 656442 | 1.402 | ----- | ----- | ----- | ----- | 75 | BRN11oct23_027.gcd | 2023-10-12 00:29 | 399 | Unknown | 0 | 5.958 | 5699 | 1.433 | ----- | ----- | ----- | ----- | 75 | BRN11oct23_027.gcd | 2023-10-12 00:29 | 399 | Unknown | 0 | 12.16 | 16963 | 4.444 | ----- | ----- | ----- | ----- | 1 |  | 75 | 1419.5824 | 3986.0122 | 1710.6408 | 3161.7085 | 1677.2158 | 3234.7889 | 1504.1498 | 3395.2089 | 1419.5824 | 3986.0122 | 75 | BRN11oct23_027.gcd | 2023-10-12 00:29 | 399 | Unknown | 0 | 2.86 | 825106 | 0 | ----- | ----- | ----- | -----
76 | BRN11oct23_028.gcd | 2023-10-12 01:00 | 227 | Unknown | 0 | 6.004 | 287142 | 0.609 | ----- | ----- | ----- | ----- | 76 | BRN11oct23_028.gcd | 2023-10-12 01:00 | 227 | Unknown | 0 | 5.961 | 2327 | 0.566 | ----- | ----- | ----- | ----- | 76 | BRN11oct23_028.gcd | 2023-10-12 01:00 | 227 | Unknown | 0 | 12.16 | 14132 | 3.667 | ----- | ----- | ----- | ----- | 1 |  | 76 | 709.6219 | 3335.3987 | 835.0871 | 2642.3668 | 746.2398 | 2694.9331 | 665.0989 | 2812.2877 | 709.6219 | 3335.3987 | 76 | BRN11oct23_028.gcd | 2023-10-12 01:00 | 227 | Unknown | 0 | 2.86 | 796950 | 0 | ----- | ----- | ----- | -----
77 | BRN11oct23_029.gcd | 2023-10-12 01:30 | 345 | Unknown | 0 | 6.005 | 286041 | 0.606 | ----- | ----- | ----- | ----- | 77 | BRN11oct23_029.gcd | 2023-10-12 01:30 | 345 | Unknown | 0 | 5.948 | 2289 | 0.556 | ----- | ----- | ----- | ----- | 77 | BRN11oct23_029.gcd | 2023-10-12 01:30 | 345 | Unknown | 0 | 12.166 | 14441 | 3.752 | ----- | ----- | ----- | ----- | 1 |  | 77 | 707.4977 | 3406.7678 | 832.1439 | 2699.1012 | 743.415 | 2753.8703 | 662.5645 | 2875.9327 | 707.4977 | 3406.7678 | 77 | BRN11oct23_029.gcd | 2023-10-12 01:30 | 345 | Unknown | 0 | 2.855 | 881315 | 0 | ----- | ----- | ----- | -----