## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN13sep23_001.gcd(Read only) | 2023-09-13 10:45 | QC outside air | Unknown | 0 | 6.096 | 2456 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN13sep23_001.gcd(Read only) | 2023-09-13 10:45 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN13sep23_001.gcd(Read only) | 2023-09-13 10:45 | QC outside air | Unknown | 0 | 12.217 | 3810 | 0.81 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.2744 | 901.2992 | 2.4007 | 740.2928 | 2.3247 | 724.378 | 1.122 | 683.4565 | 4.2744 | 901.2992 | 49 | BRN13sep23_001.gcd(Read only) | 2023-09-13 10:45 | QC outside air | Unknown | 0 | 2.699 | 5460380 | 0 | ----- | ----- | ----- | -----
50 | BRN13sep23_002.gcd | 2023-09-13 11:16 | QC spiked air | Unknown | 0 | 5.99 | 1060423 | 2.271 | ----- | ----- | ----- | ----- | 50 | BRN13sep23_002.gcd | 2023-09-13 11:16 | QC spiked air | Unknown | 0 | 5.943 | 9195 | 2.332 | ----- | ----- | ----- | ----- | 50 | BRN13sep23_002.gcd | 2023-09-13 11:16 | QC spiked air | Unknown | 0 | 12.16 | 8414 | 2.089 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2190.405 | 1999.0062 | 2305.9082 | 1590.3418 | 2642.0011 | 1603.7477 | 2497.246 | 1633.6671 | 2190.405 | 1999.0062 | 50 | BRN13sep23_002.gcd | 2023-09-13 11:16 | QC spiked air | Unknown | 0 | 2.696 | 5240885 | 0 | ----- | ----- | ----- | -----
51 | BRN13sep23_003.gcd | 2023-09-13 11:46 | QC reference tank | Unknown | 0 | 6.06 | 3401 | 0 | ----- | ----- | ----- | ----- | 51 | BRN13sep23_003.gcd | 2023-09-13 11:46 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN13sep23_003.gcd | 2023-09-13 11:46 | QC reference tank | Unknown | 0 | 12.2 | 1912 | 0.281 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.7603 | 443.1406 | 5.0745 | 389.0853 | 5.6167 | 361.657 | 2.7152 | 291.4171 | 2.7603 | 443.1406 | 51 | BRN13sep23_003.gcd | 2023-09-13 11:46 | QC reference tank | Unknown | 0 | 2.726 | 4905903 | 0 | ----- | ----- | ----- | -----
52 | BRN13sep23_004.gcd | 2023-09-13 12:17 | 302 | Unknown | 0 | 6.012 | 185182 | 0.39 | ----- | ----- | ----- | ----- | 52 | BRN13sep23_004.gcd | 2023-09-13 12:17 | 302 | Unknown | 0 | 5.963 | 1438 | 0.337 | ----- | ----- | ----- | ----- | 52 | BRN13sep23_004.gcd | 2023-09-13 12:17 | 302 | Unknown | 0 | 11.999 | 179365 | 45.357 | ----- | ----- | ----- | ----- | 1 |  | 52 | 499.0098 | 41335.8837 | 554.1374 | 31269.6769 | 483.3975 | 33767.6165 | 429.5754 | 36150.0211 | 499.0098 | 41335.8837 | 52 | BRN13sep23_004.gcd | 2023-09-13 12:17 | 302 | Unknown | 0 | 2.884 | 629489 | 0 | ----- | ----- | ----- | -----
53 | BRN13sep23_005.gcd | 2023-09-13 12:48 | 360 | Unknown | 0 | 5.998 | 4235957 | 9.149 | ----- | ----- | ----- | ----- | 53 | BRN13sep23_005.gcd | 2023-09-13 12:48 | 360 | Unknown | 0 | 5.952 | 33051 | 8.446 | ----- | ----- | ----- | ----- | 53 | BRN13sep23_005.gcd | 2023-09-13 12:48 | 360 | Unknown | 0 | 12.1 | 65710 | 17.442 | ----- | ----- | ----- | ----- | 1 |  | 53 | 8038.1106 | 14322.7688 | 6839.4733 | 11946.4354 | 8738.4526 | 12489.6865 | 8372.532 | 13368.3666 | 8038.1106 | 14322.7688 | 53 | BRN13sep23_005.gcd | 2023-09-13 12:48 | 360 | Unknown | 0 | 2.875 | 748172 | 0 | ----- | ----- | ----- | -----
54 | BRN13sep23_006.gcd | 2023-09-13 13:18 | 356 | Unknown | 0 | 6.013 | 467444 | 0.996 | ----- | ----- | ----- | ----- | 54 | BRN13sep23_006.gcd | 2023-09-13 13:18 | 356 | Unknown | 0 | 5.961 | 3648 | 0.906 | ----- | ----- | ----- | ----- | 54 | BRN13sep23_006.gcd | 2023-09-13 13:18 | 356 | Unknown | 0 | 12.163 | 8695 | 2.166 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1056.8772 | 2065.3775 | 1290.3689 | 1642.1374 | 1204.8867 | 1657.3967 | 1077.4902 | 1691.6271 | 1056.8772 | 2065.3775 | 54 | BRN13sep23_006.gcd | 2023-09-13 13:18 | 356 | Unknown | 0 | 2.879 | 744015 | 0 | ----- | ----- | ----- | -----
55 | BRN13sep23_007.gcd | 2023-09-13 13:49 | 229 | Unknown | 0 | 6.019 | 22821 | 0.041 | ----- | ----- | ----- | ----- | 55 | BRN13sep23_007.gcd | 2023-09-13 13:49 | 229 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN13sep23_007.gcd | 2023-09-13 13:49 | 229 | Unknown | 0 | 12.176 | 4874 | 1.106 | ----- | ----- | ----- | ----- | 1 |  | 55 | 58.203 | 1156.7009 | 71.7259 | 936.9784 | 59.6593 | 927.6645 | 51.0718 | 903.1496 | 58.203 | 1156.7009 | 55 | BRN13sep23_007.gcd | 2023-09-13 13:49 | 229 | Unknown | 0 | 2.877 | 760269 | 0 | ----- | ----- | ----- | -----
56 | BRN13sep23_008.gcd | 2023-09-13 14:20 | 407 | Unknown | 0 | 6.071 | 3297 | 0 | ----- | ----- | ----- | ----- | 56 | BRN13sep23_008.gcd | 2023-09-13 14:20 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN13sep23_008.gcd | 2023-09-13 14:20 | 407 | Unknown | 0 | 11.994 | 198571 | 49.798 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.8797 | 45796.3316 | 4.7784 | 34374.8446 | 5.2595 | 37321.7782 | 2.5271 | 39934.6608 | 2.8797 | 45796.3316 | 56 | BRN13sep23_008.gcd | 2023-09-13 14:20 | 407 | Unknown | 0 | 2.877 | 750492 | 0 | ----- | ----- | ----- | -----
57 | BRN13sep23_009.gcd | 2023-09-13 14:50 | 178 | Unknown | 0 | 6.09 | 3037 | -0.001 | ----- | ----- | ----- | ----- | 57 | BRN13sep23_009.gcd | 2023-09-13 14:50 | 178 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN13sep23_009.gcd | 2023-09-13 14:50 | 178 | Unknown | 0 | 11.999 | 196764 | 49.383 | ----- | ----- | ----- | ----- | 1 |  | 57 | 3.2293 | 45377.9555 | 4.0401 | 34084.6678 | 4.361 | 36987.8955 | 2.0707 | 39579.3847 | 3.2293 | 45377.9555 | 57 | BRN13sep23_009.gcd | 2023-09-13 14:50 | 178 | Unknown | 0 | 2.883 | 772871 | 0 | ----- | ----- | ----- | -----
58 | BRN13sep23_010.gcd | 2023-09-13 15:21 | 181 | Unknown | 0 | 6.015 | 187727 | 0.395 | ----- | ----- | ----- | ----- | 58 | BRN13sep23_010.gcd | 2023-09-13 15:21 | 181 | Unknown | 0 | 5.966 | 1738 | 0.414 | ----- | ----- | ----- | ----- | 58 | BRN13sep23_010.gcd | 2023-09-13 15:21 | 181 | Unknown | 0 | 12.003 | 184932 | 46.652 | ----- | ----- | ----- | ----- | 1 |  | 58 | 505.2575 | 42631.8828 | 561.3567 | 32174.4986 | 489.9889 | 34799.0509 | 435.4747 | 37248.9644 | 505.2575 | 42631.8828 | 58 | BRN13sep23_010.gcd | 2023-09-13 15:21 | 181 | Unknown | 0 | 2.88 | 725850 | 0 | ----- | ----- | ----- | -----
59 | BRN13sep23_011.gcd | 2023-09-13 15:51 | 405 | Unknown | 0 | 5.993 | 530427 | 1.131 | ----- | ----- | ----- | ----- | 59 | BRN13sep23_011.gcd | 2023-09-13 15:51 | 405 | Unknown | 0 | 5.943 | 4945 | 1.24 | ----- | ----- | ----- | ----- | 59 | BRN13sep23_011.gcd | 2023-09-13 15:51 | 405 | Unknown | 0 | 12.143 | 10791 | 2.746 | ----- | ----- | ----- | ----- | 1 |  | 59 | 1177.8952 | 2558.1731 | 1436.9012 | 2028.1721 | 1363.2485 | 2057.4878 | 1220.3124 | 2123.828 | 1177.8952 | 2558.1731 | 59 | BRN13sep23_011.gcd | 2023-09-13 15:51 | 405 | Unknown | 0 | 2.852 | 866059 | 0 | ----- | ----- | ----- | -----
60 | BRN13sep23_012.gcd | 2023-09-13 16:22 | 386 | Unknown | 0 | 5.999 | 4682482 | 10.123 | ----- | ----- | ----- | ----- | 60 | BRN13sep23_012.gcd | 2023-09-13 16:22 | 386 | Unknown | 0 | 5.954 | 37725 | 9.64 | ----- | ----- | ----- | ----- | 60 | BRN13sep23_012.gcd | 2023-09-13 16:22 | 386 | Unknown | 0 | 12.109 | 68992 | 18.292 | ----- | ----- | ----- | ----- | 1 |  | 60 | 8830.2982 | 15117.6387 | 7728.1526 | 12527.1681 | 9930.2269 | 13110.0165 | 9521.0664 | 14035.4739 | 8830.2982 | 15117.6387 | 60 | BRN13sep23_012.gcd | 2023-09-13 16:22 | 386 | Unknown | 0 | 2.881 | 687197 | 0 | ----- | ----- | ----- | -----
61 | BRN13sep23_013.gcd | 2023-09-13 16:53 | 66 | Unknown | 0 | 6.002 | 23033 | 0.042 | ----- | ----- | ----- | ----- | 61 | BRN13sep23_013.gcd | 2023-09-13 16:53 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN13sep23_013.gcd | 2023-09-13 16:53 | 66 | Unknown | 0 | 12.152 | 6197 | 1.474 | ----- | ----- | ----- | ----- | 1 |  | 61 | 58.8328 | 1472.8325 | 72.3838 | 1181.3433 | 60.2167 | 1180.384 | 51.5688 | 1176.2399 | 58.8328 | 1472.8325 | 61 | BRN13sep23_013.gcd | 2023-09-13 16:53 | 66 | Unknown | 0 | 2.858 | 766595 | 0 | ----- | ----- | ----- | -----
62 | BRN13sep23_014.gcd | 2023-09-13 17:23 | 79 | Unknown | 0 | 5.908 | 26035304 | 58.864 | ----- | ----- | ----- | ----- | 62 | BRN13sep23_014.gcd | 2023-09-13 17:23 | 79 | Unknown | 0 | 5.882 | 273861 | 68.436 | ----- | ----- | ----- | ----- | 62 | BRN13sep23_014.gcd | 2023-09-13 17:23 | 79 | Unknown | 0 | 12.075 | 74598 | 19.738 | ----- | ----- | ----- | ----- | 1 |  | 62 | 67713.3496 | 16473.3218 | 52812.0784 | 13515.9928 | 68998.8135 | 14168.795 | 66444.3561 | 15173.6913 | 67713.3496 | 16473.3218 | 62 | BRN13sep23_014.gcd | 2023-09-13 17:23 | 79 | Unknown | 0 | 2.884 | 617042 | 0 | ----- | ----- | ----- | -----
63 | BRN13sep23_015.gcd | 2023-09-13 17:54 | 14 | Unknown | 0 | 5.882 | 26047008 | 58.892 | ----- | ----- | ----- | ----- | 63 | BRN13sep23_015.gcd | 2023-09-13 17:54 | 14 | Unknown | 0 | 5.858 | 285242 | 71.198 | ----- | ----- | ----- | ----- | 63 | BRN13sep23_015.gcd | 2023-09-13 17:54 | 14 | Unknown | 0 | 12.079 | 70846 | 18.772 | ----- | ----- | ----- | ----- | 1 |  | 63 | 70505.313 | 15566.2707 | 54994.2333 | 12854.626 | 71789.1934 | 13460.2857 | 69133.2833 | 14412.0793 | 70505.313 | 15566.2707 | 63 | BRN13sep23_015.gcd | 2023-09-13 17:54 | 14 | Unknown | 0 | 2.865 | 604297 | 0 | ----- | ----- | ----- | -----
64 | BRN13sep23_016.gcd | 2023-09-13 18:25 | 287 | Unknown | 0 | 6.042 | 5762 | 0.005 | ----- | ----- | ----- | ----- | 64 | BRN13sep23_016.gcd | 2023-09-13 18:25 | 287 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN13sep23_016.gcd | 2023-09-13 18:25 | 287 | Unknown | 0 | 11.997 | 196107 | 49.232 | ----- | ----- | ----- | ----- | 1 |  | 64 | 3.1924 | 45225.7735 | 11.9207 | 33979.0619 | 13.3891 | 36866.474 | 7.8297 | 39450.1699 | 3.1924 | 45225.7735 | 64 | BRN13sep23_016.gcd | 2023-09-13 18:25 | 287 | Unknown | 0 | 2.853 | 1269533 | 0 | ----- | ----- | ----- | -----
65 | BRN13sep23_017.gcd | 2023-09-13 18:55 | 304 | Unknown | 0 | 6.024 | 29057 | 0.055 | ----- | ----- | ----- | ----- | 65 | BRN13sep23_017.gcd | 2023-09-13 18:55 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN13sep23_017.gcd | 2023-09-13 18:55 | 304 | Unknown | 0 | 12.179 | 5591 | 1.306 | ----- | ----- | ----- | ----- | 1 |  | 65 | 76.669 | 1328.2266 | 91.0491 | 1069.4393 | 76.052 | 1064.6329 | 65.6878 | 1051.162 | 76.669 | 1328.2266 | 65 | BRN13sep23_017.gcd | 2023-09-13 18:55 | 304 | Unknown | 0 | 2.881 | 801175 | 0 | ----- | ----- | ----- | -----
66 | BRN13sep23_018.gcd | 2023-09-13 19:26 | 342 | Unknown | 0 | 6.004 | 15639 | 0.026 | ----- | ----- | ----- | ----- | 66 | BRN13sep23_018.gcd | 2023-09-13 19:26 | 342 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN13sep23_018.gcd | 2023-09-13 19:26 | 342 | Unknown | 0 | 12.2 | 51487 | 13.722 | ----- | ----- | ----- | ----- | 3 | CO2 pk swamped | 66 | 36.7838 | nd | 49.3927 | 9414.1221 | 40.7681 | 9797.3526 | 34.2307 | 10471.0116 | 36.7838 | 10867.9076 | 66 | BRN13sep23_018.gcd | 2023-09-13 19:26 | 342 | Unknown | 0 | 2.846 | 1020411 | 0 | ----- | ----- | ----- | -----
67 | BRN13sep23_019.gcd | 2023-09-13 19:57 | 233 | Unknown | 0 | 6.001 | 23990 | 0.044 | ----- | ----- | ----- | ----- | 67 | BRN13sep23_019.gcd | 2023-09-13 19:57 | 233 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN13sep23_019.gcd | 2023-09-13 19:57 | 233 | Unknown | 0 | 12.144 | 5910 | 1.394 | ----- | ----- | ----- | ----- | 1 |  | 67 | 61.674 | 1404.3893 | 75.3531 | 1128.3516 | 62.733 | 1125.5661 | 53.8122 | 1117.0056 | 61.674 | 1404.3893 | 67 | BRN13sep23_019.gcd | 2023-09-13 19:57 | 233 | Unknown | 0 | 2.854 | 861812 | 0 | ----- | ----- | ----- | -----
68 | BRN13sep23_020.gcd | 2023-09-13 20:28 | 133 | Unknown | 0 | 6 | 426400 | 0.908 | ----- | ----- | ----- | ----- | 68 | BRN13sep23_020.gcd | 2023-09-13 20:28 | 133 | Unknown | 0 | 5.962 | 3959 | 0.986 | ----- | ----- | ----- | ----- | 68 | BRN13sep23_020.gcd | 2023-09-13 20:28 | 133 | Unknown | 0 | 12.092 | 74652 | 19.752 | ----- | ----- | ----- | ----- | 1 |  | 68 | 977.9342 | 16486.3679 | 1191.3936 | 13525.4985 | 1101.1712 | 14178.9887 | 984.0737 | 15184.6475 | 977.9342 | 16486.3679 | 68 | BRN13sep23_020.gcd | 2023-09-13 20:28 | 133 | Unknown | 0 | 2.864 | 741503 | 0 | ----- | ----- | ----- | -----
69 | BRN13sep23_021.gcd | 2023-09-13 20:58 | 298 | Unknown | 0 | 6.057 | 4548 | 0.002 | ----- | ----- | ----- | ----- | 69 | BRN13sep23_021.gcd | 2023-09-13 20:58 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN13sep23_021.gcd | 2023-09-13 20:58 | 298 | Unknown | 0 | 12.007 | 182863 | 46.172 | ----- | ----- | ----- | ----- | 1 |  | 69 | 2.2183 | 42150.515 | 8.3709 | 31838.6719 | 9.4733 | 34415.8315 | 4.9976 | 36840.722 | 2.2183 | 42150.515 | 69 | BRN13sep23_021.gcd | 2023-09-13 20:58 | 298 | Unknown | 0 | 2.881 | 794605 | 0 | ----- | ----- | ----- | -----
70 | BRN13sep23_022.gcd | 2023-09-13 21:29 | 318 | Unknown | 0 | 6.025 | 18978 | 0.033 | ----- | ----- | ----- | ----- | 70 | BRN13sep23_022.gcd | 2023-09-13 21:29 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN13sep23_022.gcd | 2023-09-13 21:29 | 318 | Unknown | 0 | 12.192 | 3661 | 0.769 | ----- | ----- | ----- | ----- | 1 |  | 70 | 46.7621 | 865.4509 | 59.7861 | 712.7381 | 49.5524 | 695.9073 | 42.0613 | 652.6867 | 46.7621 | 865.4509 | 70 | BRN13sep23_022.gcd | 2023-09-13 21:29 | 318 | Unknown | 0 | 2.876 | 880901 | 0 | ----- | ----- | ----- | -----
71 | BRN13sep23_023.gcd | 2023-09-13 22:00 | 151 | Unknown | 0 | 6.002 | 20055 | 0.036 | ----- | ----- | ----- | ----- | 71 | BRN13sep23_023.gcd | 2023-09-13 22:00 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN13sep23_023.gcd | 2023-09-13 22:00 | 151 | Unknown | 0 | 12.153 | 3014 | 0.588 | ----- | ----- | ----- | ----- | 1 |  | 71 | 49.9731 | 709.5527 | 63.1347 | 593.0554 | 52.3852 | 572.2711 | 44.5867 | 519.062 | 49.9731 | 709.5527 | 71 | BRN13sep23_023.gcd | 2023-09-13 22:00 | 151 | Unknown | 0 | 2.853 | 884932 | 0 | ----- | ----- | ----- | -----
72 | BRN13sep23_024.gcd | 2023-09-13 22:30 | 201 | Unknown | 0 | 5.994 | 874032 | 1.87 | ----- | ----- | ----- | ----- | 72 | BRN13sep23_024.gcd | 2023-09-13 22:30 | 201 | Unknown | 0 | 5.943 | 8461 | 2.143 | ----- | ----- | ----- | ----- | 72 | BRN13sep23_024.gcd | 2023-09-13 22:30 | 201 | Unknown | 0 | 12.05 | 94486 | 24.801 | ----- | ----- | ----- | ----- | 1 |  | 72 | 1835.5129 | 21262.0432 | 2166.4791 | 16992.1487 | 2454.0636 | 17916.7024 | 2316.1257 | 19198.7237 | 1835.5129 | 21262.0432 | 72 | BRN13sep23_024.gcd | 2023-09-13 22:30 | 201 | Unknown | 0 | 2.847 | 961279 | 0 | ----- | ----- | ----- | -----
73 | BRN13sep23_025.gcd | 2023-09-13 23:01 | 94 | Unknown | 0 | 6 | 35739 | 0.069 | ----- | ----- | ----- | ----- | 73 | BRN13sep23_025.gcd | 2023-09-13 23:01 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN13sep23_025.gcd | 2023-09-13 23:01 | 94 | Unknown | 0 | 12.154 | 9340 | 2.345 | ----- | ----- | ----- | ----- | 1 |  | 73 | 96.3195 | 2217.4518 | 111.6839 | 1760.9902 | 93.6067 | 1780.5315 | 81.3423 | 1824.6517 | 96.3195 | 2217.4518 | 73 | BRN13sep23_025.gcd | 2023-09-13 23:01 | 94 | Unknown | 0 | 2.857 | 808242 | 0 | ----- | ----- | ----- | -----
74 | BRN13sep23_026.gcd | 2023-09-13 23:32 | 118 | Unknown | 0 | 6.088 | 2796 | -0.001 | ----- | ----- | ----- | ----- | 74 | BRN13sep23_026.gcd | 2023-09-13 23:32 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN13sep23_026.gcd | 2023-09-13 23:32 | 118 | Unknown | 0 | 11.994 | 191098 | 48.079 | ----- | ----- | ----- | ----- | 1 |  | 74 | 3.6186 | 44064.3702 | 3.3583 | 33172.1364 | 3.5211 | 35940.2897 | 1.6653 | 38464.3059 | 3.6186 | 44064.3702 | 74 | BRN13sep23_026.gcd | 2023-09-13 23:32 | 118 | Unknown | 0 | 2.879 | 808527 | 0 | ----- | ----- | ----- | -----
75 | BRN13sep23_027.gcd | 2023-09-14 00:02 | 86 | Unknown | 0 | 6.027 | 20882 | 0.037 | ----- | ----- | ----- | ----- | 75 | BRN13sep23_027.gcd | 2023-09-14 00:02 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN13sep23_027.gcd | 2023-09-14 00:02 | 86 | Unknown | 0 | 12.191 | 3941 | 0.847 | ----- | ----- | ----- | ----- | 1 |  | 75 | 52.4363 | 932.8001 | 65.7047 | 764.5165 | 54.5603 | 749.4087 | 46.5258 | 710.5083 | 52.4363 | 932.8001 | 75 | BRN13sep23_027.gcd | 2023-09-14 00:02 | 86 | Unknown | 0 | 2.888 | 701842 | 0 | ----- | ----- | ----- | -----
76 | BRN13sep23_028.gcd | 2023-09-14 00:33 | 325 | Unknown | 0 | 6.027 | 20207 | 0.036 | ----- | ----- | ----- | ----- | 76 | BRN13sep23_028.gcd | 2023-09-14 00:33 | 325 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN13sep23_028.gcd | 2023-09-14 00:33 | 325 | Unknown | 0 | 12.177 | 3629 | 0.76 | ----- | ----- | ----- | ----- | 1 |  | 76 | 50.426 | 857.7493 | 63.6071 | 706.8199 | 52.785 | 689.7927 | 44.9431 | 646.0782 | 50.426 | 857.7493 | 76 | BRN13sep23_028.gcd | 2023-09-14 00:33 | 325 | Unknown | 0 | 2.878 | 894243 | 0 | ----- | ----- | ----- | -----
77 | BRN13sep23_029.gcd | 2023-09-14 01:04 | 411 | Unknown | 0 | 6.046 | 4143 | 0.001 | ----- | ----- | ----- | ----- | 77 | BRN13sep23_029.gcd | 2023-09-14 01:04 | 411 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN13sep23_029.gcd | 2023-09-14 01:04 | 411 | Unknown | 0 | 11.997 | 190776 | 48.004 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.2474 | 43989.64 | 7.2006 | 33120.156 | 8.129 | 35880.7227 | 4.148 | 38400.8865 | 2.2474 | 43989.64 | 77 | BRN13sep23_029.gcd | 2023-09-14 01:04 | 411 | Unknown | 0 | 2.875 | 871244 | 0 | ----- | ----- | ----- | -----