## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN17may23_001.gcd | 2023-05-17 11:27 | QC outside air | Unknown | 0 | 6.056 | 1829 | -0.004 | ----- | ----- | ----- | ----- | 49 | BRN17may23_001.gcd | 2023-05-17 11:27 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN17may23_001.gcd | 2023-05-17 11:27 | QC outside air | Unknown | 0 | 12.221 | 3016 | 0.589 | ----- | ----- | ----- | ----- | 1 |  | 49 | 5.8112 | 710.0352 | 0.64753 | 593.4254 | 0.08341 | 572.6533 | 0.2081 | 519.4751 | 5.8112 | 710.0352 | 49 | BRN17may23_001.gcd | 2023-05-17 11:27 | QC outside air | Unknown | 0 | 2.699 | 5241396 | 0 | ----- | ----- | ----- | -----
50 | BRN17may23_002.gcd | 2023-05-17 11:58 | QC spiked air new batch | Unknown | 0 | 5.988 | 1337925 | 2.869 | ----- | ----- | ----- | ----- | 50 | BRN17may23_002.gcd | 2023-05-17 11:58 | QC spiked air new batch | Unknown | 0 | 5.943 | 10988 | 2.793 | ----- | ----- | ----- | ----- | 50 | BRN17may23_002.gcd | 2023-05-17 11:58 | QC spiked air new batch | Unknown | 0 | 12.175 | 5254 | 1.212 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2716.3797 | 1247.6656 | 2646.5178 | 1007.1889 | 3101 | 1000.258 | 2939.5949 | 981.5973 | 2716.3797 | 1247.6656 | 50 | BRN17may23_002.gcd | 2023-05-17 11:58 | QC spiked air new batch | Unknown | 0 | 2.691 | 5447302 | 0 | ----- | ----- | ----- | -----
51 | BRN17may23_003.gcd | 2023-05-17 12:29 | QC reference tank | Unknown | 0 | 6.009 | 3114 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN17may23_003.gcd | 2023-05-17 12:29 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN17may23_003.gcd | 2023-05-17 12:29 | QC reference tank | Unknown | 0 | 12.187 | 2393 | 0.415 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.1182 | 559.5602 | 4.2584 | 478.1328 | 4.6279 | 453.5905 | 2.2039 | 390.787 | 3.1182 | 559.5602 | 51 | BRN17may23_003.gcd | 2023-05-17 12:29 | QC reference tank | Unknown | 0 | 2.691 | 5441330 | 0 | ----- | ----- | ----- | -----
52 | BRN17may23_004.gcd | 2023-05-17 12:59 | 125 | Unknown | 0 | 6.008 | 9707 | 0.013 | ----- | ----- | ----- | ----- | 52 | BRN17may23_004.gcd | 2023-05-17 12:59 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN17may23_004.gcd | 2023-05-17 12:59 | 125 | Unknown | 0 | 12.14 | 19556 | 5.154 | ----- | ----- | ----- | ----- | 1 |  | 52 | 17.3481 | 4575.5144 | 23.8887 | 3636.5068 | 24.9345 | 3729.0308 | 19.9904 | 3928.7654 | 17.3481 | 4575.5144 | 52 | BRN17may23_004.gcd | 2023-05-17 12:59 | 125 | Unknown | 0 | 2.861 | 883921 | 0 | ----- | ----- | ----- | -----
53 | BRN17may23_005.gcd | 2023-05-17 13:30 | 113 | Unknown | 0 | 6.011 | 10439 | 0.015 | ----- | ----- | ----- | ----- | 53 | BRN17may23_005.gcd | 2023-05-17 13:30 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN17may23_005.gcd | 2023-05-17 13:30 | 113 | Unknown | 0 | 12.114 | 47049 | 12.549 | ----- | ----- | ----- | ----- | 1 |  | 53 | 21.174 | 9786.5007 | 26.1822 | 8618.7664 | 27.0825 | 8955.9175 | 22.032 | 9564.837 | 21.174 | 9786.5007 | 53 | BRN17may23_005.gcd | 2023-05-17 13:30 | 113 | Unknown | 0 | 2.861 | 920673 | 0 | ----- | ----- | ----- | -----
54 | BRN17may23_006.gcd | 2023-05-17 14:00 | 303 | Unknown | 0 | 5.992 | 96344 | 0.199 | ----- | ----- | ----- | ----- | 54 | BRN17may23_006.gcd | 2023-05-17 14:00 | 303 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN17may23_006.gcd | 2023-05-17 14:00 | 303 | Unknown | 0 | 12.055 | 86183 | 22.7 | ----- | ----- | ----- | ----- | 1 |  | 54 | 268.1168 | 19266.744 | 295.5106 | 15546.9334 | 252.3331 | 16353.5603 | 222.9981 | 17520.7761 | 268.1168 | 19266.744 | 54 | BRN17may23_006.gcd | 2023-05-17 14:00 | 303 | Unknown | 0 | 2.856 | 757666 | 0 | ----- | ----- | ----- | -----
55 | BRN17may23_007.gcd | 2023-05-17 14:31 | 153 | Unknown | 0 | 6.004 | 54696 | 0.11 | ----- | ----- | ----- | ----- | 55 | BRN17may23_007.gcd | 2023-05-17 14:31 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN17may23_007.gcd | 2023-05-17 14:31 | 153 | Unknown | 0 | 12.141 | 405 | -0.14 | ----- | ----- | ----- | ----- | 1 |  | 55 | 151.3021 | 77.0252 | 169.8285 | 109.9067 | 143.3512 | 73.5753 | 125.7153 | -19.9907 | 151.3021 | 77.0252 | 55 | BRN17may23_007.gcd | 2023-05-17 14:31 | 153 | Unknown | 0 | 2.861 | 860654 | 0 | ----- | ----- | ----- | -----
56 | BRN17may23_008.gcd | 2023-05-17 15:01 | 81 | Unknown | 0 | 6.004 | 107428 | 0.223 | ----- | ----- | ----- | ----- | 56 | BRN17may23_008.gcd | 2023-05-17 15:01 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN17may23_008.gcd | 2023-05-17 15:01 | 81 | Unknown | 0 | 12.072 | 86314 | 22.733 | ----- | ----- | ----- | ----- | 1 |  | 56 | 298.2836 | 19298.2684 | 328.482 | 15569.8024 | 281.2664 | 16378.2401 | 248.8414 | 17547.2771 | 298.2836 | 19298.2684 | 56 | BRN17may23_008.gcd | 2023-05-17 15:01 | 81 | Unknown | 0 | 2.869 | 747194 | 0 | ----- | ----- | ----- | -----
57 | BRN17may23_009.gcd | 2023-05-17 15:32 | 228 | Unknown | 0 | 6.012 | 7208 | 0.008 | ----- | ----- | ----- | ----- | 57 | BRN17may23_009.gcd | 2023-05-17 15:32 | 228 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN17may23_009.gcd | 2023-05-17 15:32 | 228 | Unknown | 0 | 12.103 | 56281 | 14.982 | ----- | ----- | ----- | ----- | 1 |  | 57 | 6.4297 | 12034.2509 | 16.2307 | 10270.5002 | 17.8304 | 10705.5648 | 11.7621 | 11448.7468 | 6.4297 | 12034.2509 | 57 | BRN17may23_009.gcd | 2023-05-17 15:32 | 228 | Unknown | 0 | 2.858 | 948796 | 0 | ----- | ----- | ----- | -----
58 | BRN17may23_010.gcd | 2023-05-17 16:03 | 381 | Unknown | 0 | 6.01 | 11697 | 0.018 | ----- | ----- | ----- | ----- | 58 | BRN17may23_010.gcd | 2023-05-17 16:03 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN17may23_010.gcd | 2023-05-17 16:03 | 381 | Unknown | 0 | 12.15 | 21308 | 5.632 | ----- | ----- | ----- | ----- | 1 |  | 58 | 24.9582 | 4970.3485 | 30.1768 | 3956.8337 | 30.394 | 4062.8491 | 24.9835 | 4289.0767 | 24.9582 | 4970.3485 | 58 | BRN17may23_010.gcd | 2023-05-17 16:03 | 381 | Unknown | 0 | 2.859 | 956677 | 0 | ----- | ----- | ----- | -----
59 | BRN17may23_011.gcd | 2023-05-17 16:33 | 342 | Unknown | 0 | 6.05 | 62224 | 0.126 | ----- | ----- | ----- | ----- | 59 | BRN17may23_011.gcd | 2023-05-17 16:33 | 342 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN17may23_011.gcd | 2023-05-17 16:33 | 342 | Unknown | 0 | 12.196 | 514 | -0.109 | ----- | ----- | ----- | ----- | 1 |  | 59 | 172.8218 | 103.5755 | 192.7556 | 130.109 | 163.081 | 94.4145 | 143.3201 | 2.5371 | 172.8218 | 103.5755 | 59 | BRN17may23_011.gcd | 2023-05-17 16:33 | 342 | Unknown | 0 | 2.902 | 950152 | 0 | ----- | ----- | ----- | -----
60 | BRN17may23_012.gcd | 2023-05-17 17:04 | 14 | Unknown | 0 | 6.015 | 6492 | 0.006 | ----- | ----- | ----- | ----- | 60 | BRN17may23_012.gcd | 2023-05-17 17:04 | 14 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN17may23_012.gcd | 2023-05-17 17:04 | 14 | Unknown | 0 | 12.112 | 52669 | 14.033 | ----- | ----- | ----- | ----- | 1 |  | 60 | 4.5445 | 11155.6537 | 14.0855 | 9625.5371 | 15.6616 | 10021.3492 | 9.739 | 10712.1892 | 4.5445 | 11155.6537 | 60 | BRN17may23_012.gcd | 2023-05-17 17:04 | 14 | Unknown | 0 | 2.856 | 973446 | 0 | ----- | ----- | ----- | -----
61 | BRN17may23_013.gcd | 2023-05-17 17:34 | 276 | Unknown | 0 | 6.014 | 8717 | 0.011 | ----- | ----- | ----- | ----- | 61 | BRN17may23_013.gcd | 2023-05-17 17:34 | 276 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN17may23_013.gcd | 2023-05-17 17:34 | 276 | Unknown | 0 | 12.141 | 28365 | 7.549 | ----- | ----- | ----- | ----- | 1 |  | 61 | 12.216 | 6532.3742 | 20.8232 | 5243.1979 | 22.2067 | 5406.4476 | 16.5136 | 5738.8128 | 12.216 | 6532.3742 | 61 | BRN17may23_013.gcd | 2023-05-17 17:34 | 276 | Unknown | 0 | 2.867 | 830465 | 0 | ----- | ----- | ----- | -----
62 | BRN17may23_014.gcd | 2023-05-17 18:05 | 377 | Unknown | 0 | 5.999 | 7566 | 0.009 | ----- | ----- | ----- | ----- | 62 | BRN17may23_014.gcd | 2023-05-17 18:05 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN17may23_014.gcd | 2023-05-17 18:05 | 377 | Unknown | 0 | 12.083 | 57551 | 15.315 | ----- | ----- | ----- | ----- | 1 |  | 62 | 7.58 | 12342.9171 | 17.3115 | 10496.8838 | 18.8925 | 10946.0382 | 12.8295 | 11707.5665 | 7.58 | 12342.9171 | 62 | BRN17may23_014.gcd | 2023-05-17 18:05 | 377 | Unknown | 0 | 2.844 | 993793 | 0 | ----- | ----- | ----- | -----
63 | BRN17may23_015.gcd | 2023-05-17 18:36 | 170 | Unknown | 0 | 6.013 | 9696 | 0.013 | ----- | ----- | ----- | ----- | 63 | BRN17may23_015.gcd | 2023-05-17 18:36 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN17may23_015.gcd | 2023-05-17 18:36 | 170 | Unknown | 0 | 12.119 | 48891 | 13.037 | ----- | ----- | ----- | ----- | 1 |  | 63 | 17.2853 | 10235.5362 | 23.8544 | 8949.1804 | 24.9048 | 9305.2344 | 19.9502 | 9941.0685 | 17.2853 | 10235.5362 | 63 | BRN17may23_015.gcd | 2023-05-17 18:36 | 170 | Unknown | 0 | 2.861 | 931111 | 0 | ----- | ----- | ----- | -----
64 | BRN17may23_016.gcd | 2023-05-17 19:06 | 163 | Unknown | 0 | 6.011 | 22672 | 0.041 | ----- | ----- | ----- | ----- | 64 | BRN17may23_016.gcd | 2023-05-17 19:06 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN17may23_016.gcd | 2023-05-17 19:06 | 163 | Unknown | 0 | 12.164 | 8997 | 2.25 | ----- | ----- | ----- | ----- | 1 |  | 64 | 57.7603 | 2136.6285 | 71.2634 | 1697.7928 | 59.2675 | 1715.0522 | 50.7225 | 1753.9142 | 57.7603 | 2136.6285 | 64 | BRN17may23_016.gcd | 2023-05-17 19:06 | 163 | Unknown | 0 | 2.865 | 842985 | 0 | ----- | ----- | ----- | -----
65 | BRN17may23_017.gcd | 2023-05-17 19:37 | 181 | Unknown | 0 | 6.008 | 57665 | 0.116 | ----- | ----- | ----- | ----- | 65 | BRN17may23_017.gcd | 2023-05-17 19:37 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN17may23_017.gcd | 2023-05-17 19:37 | 181 | Unknown | 0 | 12.218 | 504 | -0.112 | ----- | ----- | ----- | ----- | 1 |  | 65 | 159.8107 | 101.1401 | 178.8819 | 128.2557 | 151.1342 | 92.5027 | 132.6596 | 0.47032 | 159.8107 | 101.1401 | 65 | BRN17may23_017.gcd | 2023-05-17 19:37 | 181 | Unknown | 0 | 2.854 | 1036695 | 0 | ----- | ----- | ----- | -----
66 | BRN17may23_018.gcd | 2023-05-17 20:07 | 169 | Unknown | 0 | 6.04 | 10500 | 0.015 | ----- | ----- | ----- | ----- | 66 | BRN17may23_018.gcd | 2023-05-17 20:07 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN17may23_018.gcd | 2023-05-17 20:07 | 169 | Unknown | 0 | 12.168 | 31076 | 8.28 | ----- | ----- | ----- | ----- | 1 |  | 66 | 21.3576 | 7120.3601 | 26.3743 | 5735.7023 | 27.2431 | 5922.1706 | 22.1751 | 6295.0641 | 21.3576 | 7120.3601 | 66 | BRN17may23_018.gcd | 2023-05-17 20:07 | 169 | Unknown | 0 | 2.884 | 1050545 | 0 | ----- | ----- | ----- | -----
67 | BRN17may23_019.gcd | 2023-05-17 20:38 | 213 | Unknown | 0 | 6.015 | 24031 | 0.044 | ----- | ----- | ----- | ----- | 67 | BRN17may23_019.gcd | 2023-05-17 20:38 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN17may23_019.gcd | 2023-05-17 20:38 | 213 | Unknown | 0 | 12.176 | 8919 | 2.228 | ----- | ----- | ----- | ----- | 1 |  | 67 | 61.7956 | 2118.2339 | 75.4802 | 1683.4193 | 62.8408 | 1700.1613 | 53.9083 | 1737.8272 | 61.7956 | 2118.2339 | 67 | BRN17may23_019.gcd | 2023-05-17 20:38 | 213 | Unknown | 0 | 2.868 | 887185 | 0 | ----- | ----- | ----- | -----
68 | BRN17may23_020.gcd | 2023-05-17 21:09 | 386 | Unknown | 0 | 5.998 | 65089 | 0.132 | ----- | ----- | ----- | ----- | 68 | BRN17may23_020.gcd | 2023-05-17 21:09 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN17may23_020.gcd | 2023-05-17 21:09 | 386 | Unknown | 0 | 12.153 | 380 | -0.147 | ----- | ----- | ----- | ----- | 1 |  | 68 | 180.9647 | 70.9341 | 201.4569 | 105.2729 | 170.5862 | 68.7957 | 150.0178 | -25.1577 | 180.9647 | 70.9341 | 68 | BRN17may23_020.gcd | 2023-05-17 21:09 | 386 | Unknown | 0 | 2.823 | 1494549 | 0 | ----- | ----- | ----- | -----
69 | BRN17may23_021.gcd | 2023-05-17 21:39 | 283 | Unknown | 0 | 6.02 | 6549 | 0.007 | ----- | ----- | ----- | ----- | 69 | BRN17may23_021.gcd | 2023-05-17 21:39 | 283 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN17may23_021.gcd | 2023-05-17 21:39 | 283 | Unknown | 0 | 12.124 | 51628 | 13.759 | ----- | ----- | ----- | ----- | 1 |  | 69 | 4.6743 | 10902.2387 | 14.2554 | 9439.3509 | 15.8364 | 9824.0754 | 9.8946 | 10499.7853 | 4.6743 | 10902.2387 | 69 | BRN17may23_021.gcd | 2023-05-17 21:39 | 283 | Unknown | 0 | 2.861 | 951309 | 0 | ----- | ----- | ----- | -----