## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN18oct23_001.gcd | 2023-10-18 10:59 | QC outside air | Unknown | 0 | 6.065 | 2472 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN18oct23_001.gcd | 2023-10-18 10:59 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN18oct23_001.gcd | 2023-10-18 10:59 | QC outside air | Unknown | 0 | 12.221 | 3029 | 0.593 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.2407 | 713.1714 | 2.4456 | 595.8307 | 2.3813 | 575.1376 | 1.1468 | 522.1602 | 4.2407 | 713.1714 | 49 | BRN18oct23_001.gcd | 2023-10-18 10:59 | QC outside air | Unknown | 0 | 2.702 | 5534267 | 0 | ----- | ----- | ----- | -----
50 | BRN18oct23_002.gcd | 2023-10-18 11:29 | QC spiked air | Unknown | 0 | 6.01 | 1011714 | 2.166 | ----- | ----- | ----- | ----- | 50 | BRN18oct23_002.gcd | 2023-10-18 11:29 | QC spiked air | Unknown | 0 | 5.958 | 8316 | 2.106 | ----- | ----- | ----- | ----- | 50 | BRN18oct23_002.gcd | 2023-10-18 11:29 | QC spiked air | Unknown | 0 | 12.203 | 11064 | 2.821 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2097.7868 | 2622.0638 | 2138.9356 | 2078.4118 | 2416.9344 | 2109.5884 | 2280.3434 | 2180.1048 | 2097.7868 | 2622.0638 | 50 | BRN18oct23_002.gcd | 2023-10-18 11:29 | QC spiked air | Unknown | 0 | 2.704 | 5549957 | 0 | ----- | ----- | ----- | -----
51 | BRN18oct23_003.gcd | 2023-10-18 12:00 | QC reference tank new batch | Unknown | 0 | 6.044 | 4096 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN18oct23_003.gcd | 2023-10-18 12:00 | QC reference tank new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN18oct23_003.gcd | 2023-10-18 12:00 | QC reference tank new batch | Unknown | 0 | 12.237 | 1212 | 0.086 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.2623 | 273.338 | 7.0652 | 259.4426 | 7.9718 | 227.8525 | 4.0525 | 146.7829 | 2.2623 | 273.338 | 51 | BRN18oct23_003.gcd | 2023-10-18 12:00 | QC reference tank new batch | Unknown | 0 | 2.702 | 5685035 | 0 | ----- | ----- | ----- | -----
52 | BRN18oct23_004.gcd | 2023-10-18 12:30 | 397 | Unknown | 0 | 6.033 | 4416 | 0.002 | ----- | ----- | ----- | ----- | 52 | BRN18oct23_004.gcd | 2023-10-18 12:30 | 397 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN18oct23_004.gcd | 2023-10-18 12:30 | 397 | Unknown | 0 | 12.162 | 26465 | 7.034 | ----- | ----- | ----- | ----- | 1 |  | 52 | 2.2083 | 6116.2893 | 7.9887 | 4897.4771 | 9.0373 | 5044.8616 | 4.7154 | 5348.7414 | 2.2083 | 6116.2893 | 52 | BRN18oct23_004.gcd | 2023-10-18 12:30 | 397 | Unknown | 0 | 2.863 | 782175 | 0 | ----- | ----- | ----- | -----
53 | BRN18oct23_005.gcd | 2023-10-18 13:01 | 10 | Unknown | 0 | 6.006 | 282318 | 0.598 | ----- | ----- | ----- | ----- | 53 | BRN18oct23_005.gcd | 2023-10-18 13:01 | 10 | Unknown | 0 | 5.965 | 2483 | 0.606 | ----- | ----- | ----- | ----- | 53 | BRN18oct23_005.gcd | 2023-10-18 13:01 | 10 | Unknown | 0 | 12.165 | 18052 | 4.742 | ----- | ----- | ----- | ----- | 1 |  | 53 | 700.3144 | 4234.3365 | 822.1771 | 3361.2156 | 733.8607 | 3442.3857 | 653.9933 | 3619.3321 | 700.3144 | 4234.3365 | 53 | BRN18oct23_005.gcd | 2023-10-18 13:01 | 10 | Unknown | 0 | 2.863 | 774636 | 0 | ----- | ----- | ----- | -----
54 | BRN18oct23_006.gcd | 2023-10-18 13:32 | 179 | Unknown | 0 | 6.033 | 4648 | 0.003 | ----- | ----- | ----- | ----- | 54 | BRN18oct23_006.gcd | 2023-10-18 13:32 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN18oct23_006.gcd | 2023-10-18 13:32 | 179 | Unknown | 0 | 12.162 | 26463 | 7.033 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2.2384 | 6115.8496 | 8.6609 | 4897.113 | 9.8024 | 5044.4809 | 5.2147 | 5348.3307 | 2.2384 | 6115.8496 | 54 | BRN18oct23_006.gcd | 2023-10-18 13:32 | 179 | Unknown | 0 | 2.863 | 763926 | 0 | ----- | ----- | ----- | -----
55 | BRN18oct23_007.gcd | 2023-10-18 14:02 | 172 | Unknown | 0 | 6.008 | 278097 | 0.589 | ----- | ----- | ----- | ----- | 55 | BRN18oct23_007.gcd | 2023-10-18 14:02 | 172 | Unknown | 0 | 5.956 | 2822 | 0.693 | ----- | ----- | ----- | ----- | 55 | BRN18oct23_007.gcd | 2023-10-18 14:02 | 172 | Unknown | 0 | 12.163 | 18285 | 4.806 | ----- | ----- | ----- | ----- | 1 |  | 55 | 692.1697 | 4287.327 | 810.8496 | 3403.8824 | 723.0243 | 3486.7976 | 644.273 | 3667.2771 | 692.1697 | 4287.327 | 55 | BRN18oct23_007.gcd | 2023-10-18 14:02 | 172 | Unknown | 0 | 2.862 | 797139 | 0 | ----- | ----- | ----- | -----
56 | BRN18oct23_008.gcd | 2023-10-18 14:33 | 262 | Unknown | 0 | 6.051 | 3068 | -0.001 | ----- | ----- | ----- | ----- | 56 | BRN18oct23_008.gcd | 2023-10-18 14:33 | 262 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN18oct23_008.gcd | 2023-10-18 14:33 | 262 | Unknown | 0 | 11.979 | 206954 | 51.714 | ----- | ----- | ----- | ----- | 1 |  | 56 | 3.1838 | 47733.7605 | 4.128 | 35715.6651 | 4.4685 | 38869.3317 | 2.1241 | 41580.6713 | 3.1838 | 47733.7605 | 56 | BRN18oct23_008.gcd | 2023-10-18 14:33 | 262 | Unknown | 0 | 2.862 | 780477 | 0 | ----- | ----- | ----- | -----
57 | BRN18oct23_009.gcd | 2023-10-18 15:03 | 271 | Unknown | 0 | 6.06 | 2364 | -0.002 | ----- | ----- | ----- | ----- | 57 | BRN18oct23_009.gcd | 2023-10-18 15:03 | 271 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN18oct23_009.gcd | 2023-10-18 15:03 | 271 | Unknown | 0 | 11.981 | 213315 | 53.159 | ----- | ----- | ----- | ----- | 1 |  | 57 | 4.4733 | 49200.041 | 2.1424 | 36727.1895 | 1.9987 | 40042.0865 | 0.98071 | 42827.2666 | 4.4733 | 49200.041 | 57 | BRN18oct23_009.gcd | 2023-10-18 15:03 | 271 | Unknown | 0 | 2.858 | 844618 | 0 | ----- | ----- | ----- | -----
58 | BRN18oct23_010.gcd | 2023-10-18 15:34 | 265 | Unknown | 0 | 6.044 | 2463 | -0.002 | ----- | ----- | ----- | ----- | 58 | BRN18oct23_010.gcd | 2023-10-18 15:34 | 265 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN18oct23_010.gcd | 2023-10-18 15:34 | 265 | Unknown | 0 | 11.975 | 218622 | 54.359 | ----- | ----- | ----- | ----- | 1 |  | 58 | 4.2596 | 50420.8302 | 2.4203 | 37567.2203 | 2.3495 | 41019.5123 | 1.1328 | 43865.7242 | 4.2596 | 50420.8302 | 58 | BRN18oct23_010.gcd | 2023-10-18 15:34 | 265 | Unknown | 0 | 2.86 | 809458 | 0 | ----- | ----- | ----- | -----
59 | BRN18oct23_011.gcd | 2023-10-18 16:04 | 160 | Unknown | 0 | 6.062 | 2601 | -0.002 | ----- | ----- | ----- | ----- | 59 | BRN18oct23_011.gcd | 2023-10-18 16:04 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN18oct23_011.gcd | 2023-10-18 16:04 | 160 | Unknown | 0 | 12.004 | 190909 | 48.035 | ----- | ----- | ----- | ----- | 1 |  | 59 | 3.9794 | 44020.5078 | 2.8085 | 33141.6277 | 2.8366 | 35905.3268 | 1.3496 | 38427.0821 | 3.9794 | 44020.5078 | 59 | BRN18oct23_011.gcd | 2023-10-18 16:04 | 160 | Unknown | 0 | 2.87 | 766425 | 0 | ----- | ----- | ----- | -----
60 | BRN18oct23_012.gcd | 2023-10-18 16:35 | 224 | Unknown | 0 | 5.86 | 37653293 | 87.45 | ----- | ----- | ----- | ----- | 60 | BRN18oct23_012.gcd | 2023-10-18 16:35 | 224 | Unknown | 0 | 5.839 | 399380 | 98.557 | ----- | ----- | ----- | ----- | 60 | BRN18oct23_012.gcd | 2023-10-18 16:35 | 224 | Unknown | 0 | 12.047 | 132008 | 34.087 | ----- | ----- | ----- | ----- | 1 |  | 60 | 98218.8823 | 30208.6536 | 76925.7339 | 23415.2761 | 99485.879 | 24952.723 | 95822.403 | 26737.6392 | 98218.8823 | 30208.6536 | 60 | BRN18oct23_012.gcd | 2023-10-18 16:35 | 224 | Unknown | 0 | 2.862 | 709875 | 0 | ----- | ----- | ----- | -----
61 | BRN18oct23_013.gcd | 2023-10-18 17:05 | 354 | Unknown | 0 | 6.016 | 16236 | 0.027 | ----- | ----- | ----- | ----- | 61 | BRN18oct23_013.gcd | 2023-10-18 17:05 | 354 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN18oct23_013.gcd | 2023-10-18 17:05 | 354 | Unknown | 0 | 12.185 | 7763 | 1.909 | ----- | ----- | ----- | ----- | 1 |  | 61 | 38.5704 | 1844.9655 | 51.2523 | 1470.3074 | 42.3389 | 1479.4477 | 35.6309 | 1499.3742 | 38.5704 | 1844.9655 | 61 | BRN18oct23_013.gcd | 2023-10-18 17:05 | 354 | Unknown | 0 | 2.861 | 824906 | 0 | ----- | ----- | ----- | -----
62 | BRN18oct23_014.gcd | 2023-10-18 17:36 | 206 | Unknown | 0 | 6.008 | 178071 | 0.374 | ----- | ----- | ----- | ----- | 62 | BRN18oct23_014.gcd | 2023-10-18 17:36 | 206 | Unknown | 0 | 5.978 | 1368 | 0.319 | ----- | ----- | ----- | ----- | 62 | BRN18oct23_014.gcd | 2023-10-18 17:36 | 206 | Unknown | 0 | 12.084 | 92123 | 24.205 | ----- | ----- | ----- | ----- | 1 |  | 62 | 481.4445 | 20694.7632 | 533.9101 | 16581.7274 | 464.9723 | 17472.0667 | 413.0868 | 18721.5449 | 481.4445 | 20694.7632 | 62 | BRN18oct23_014.gcd | 2023-10-18 17:36 | 206 | Unknown | 0 | 2.863 | 757567 | 0 | ----- | ----- | ----- | -----
63 | BRN18oct23_015.gcd | 2023-10-18 18:06 | 269 | Unknown | 0 | 6.034 | 4919 | 0.003 | ----- | ----- | ----- | ----- | 63 | BRN18oct23_015.gcd | 2023-10-18 18:06 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN18oct23_015.gcd | 2023-10-18 18:06 | 269 | Unknown | 0 | 12.158 | 26176 | 6.956 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.3471 | 6052.712 | 9.4491 | 4844.8515 | 10.6881 | 4989.8521 | 5.8176 | 5289.3933 | 2.3471 | 6052.712 | 63 | BRN18oct23_015.gcd | 2023-10-18 18:06 | 269 | Unknown | 0 | 2.862 | 796423 | 0 | ----- | ----- | ----- | -----
64 | BRN18oct23_016.gcd | 2023-10-18 18:37 | 277 | Unknown | 0 | 6.018 | 34608 | 0.067 | ----- | ----- | ----- | ----- | 64 | BRN18oct23_016.gcd | 2023-10-18 18:37 | 277 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN18oct23_016.gcd | 2023-10-18 18:37 | 277 | Unknown | 0 | 12.158 | 24081 | 6.387 | ----- | ----- | ----- | ----- | 1 |  | 64 | 93.0033 | 5589.5541 | 108.1964 | 4463.0474 | 90.6362 | 4591.0001 | 78.6931 | 4859.0438 | 93.0033 | 5589.5541 | 64 | BRN18oct23_016.gcd | 2023-10-18 18:37 | 277 | Unknown | 0 | 2.87 | 762489 | 0 | ----- | ----- | ----- | -----
65 | BRN18oct23_017.gcd | 2023-10-18 19:07 | 12 | Unknown | 0 | 6.055 | 2616 | -0.002 | ----- | ----- | ----- | ----- | 65 | BRN18oct23_017.gcd | 2023-10-18 19:07 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN18oct23_017.gcd | 2023-10-18 19:07 | 12 | Unknown | 0 | 11.977 | 215053 | 53.553 | ----- | ----- | ----- | ----- | 1 |  | 65 | 3.9502 | 49600.0934 | 2.8507 | 37002.6822 | 2.8894 | 40362.2865 | 1.3735 | 43167.5114 | 3.9502 | 49600.0934 | 65 | BRN18oct23_017.gcd | 2023-10-18 19:07 | 12 | Unknown | 0 | 2.832 | 1321648 | 0 | ----- | ----- | ----- | -----
66 | BRN18oct23_018.gcd | 2023-10-18 19:38 | 31 | Unknown | 0 | 6.021 | 8734 | 0.011 | ----- | ----- | ----- | ----- | 66 | BRN18oct23_018.gcd | 2023-10-18 19:38 | 31 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN18oct23_018.gcd | 2023-10-18 19:38 | 31 | Unknown | 0 | 12.154 | 24916 | 6.614 | ----- | ----- | ----- | ----- | 1 |  | 66 | 12.2952 | 5774.6339 | 20.8755 | 4615.2883 | 22.2545 | 4749.9869 | 16.5709 | 5030.5942 | 12.2952 | 5774.6339 | 66 | BRN18oct23_018.gcd | 2023-10-18 19:38 | 31 | Unknown | 0 | 2.861 | 791875 | 0 | ----- | ----- | ----- | -----
67 | BRN18oct23_019.gcd | 2023-10-18 20:09 | 222 | Unknown | 0 | 6.011 | 172825 | 0.363 | ----- | ----- | ----- | ----- | 67 | BRN18oct23_019.gcd | 2023-10-18 20:09 | 222 | Unknown | 0 | 5.968 | 1832 | 0.439 | ----- | ----- | ----- | ----- | 67 | BRN18oct23_019.gcd | 2023-10-18 20:09 | 222 | Unknown | 0 | 12.094 | 85834 | 22.612 | ----- | ----- | ----- | ----- | 1 |  | 67 | 468.3839 | 19182.752 | 518.9349 | 15485.9972 | 451.3717 | 16287.8076 | 400.9175 | 17450.1698 | 468.3839 | 19182.752 | 67 | BRN18oct23_019.gcd | 2023-10-18 20:09 | 222 | Unknown | 0 | 2.87 | 726187 | 0 | ----- | ----- | ----- | -----
68 | BRN18oct23_020.gcd | 2023-10-18 20:39 | 272 | Unknown | 0 | 6.012 | 429064 | 0.913 | ----- | ----- | ----- | ----- | 68 | BRN18oct23_020.gcd | 2023-10-18 20:39 | 272 | Unknown | 0 | 5.963 | 3502 | 0.868 | ----- | ----- | ----- | ----- | 68 | BRN18oct23_020.gcd | 2023-10-18 20:39 | 272 | Unknown | 0 | 12.163 | 22660 | 6 | ----- | ----- | ----- | ----- | 1 |  | 68 | 983.06 | 5273.1238 | 1197.9011 | 4203.7631 | 1107.9153 | 4320.3849 | 990.1452 | 4567.0181 | 983.06 | 5273.1238 | 68 | BRN18oct23_020.gcd | 2023-10-18 20:39 | 272 | Unknown | 0 | 2.868 | 799425 | 0 | ----- | ----- | ----- | -----
69 | BRN18oct23_021.gcd | 2023-10-18 21:10 | 316 | Unknown | 0 | 6.045 | 2785 | -0.001 | ----- | ----- | ----- | ----- | 69 | BRN18oct23_021.gcd | 2023-10-18 21:10 | 316 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN18oct23_021.gcd | 2023-10-18 21:10 | 316 | Unknown | 0 | 11.976 | 204943 | 51.256 | ----- | ----- | ----- | ----- | 1 |  | 69 | 3.6378 | 47269.5143 | 3.3272 | 35394.8197 | 3.4826 | 38498.297 | 1.6472 | 41186.1364 | 3.6378 | 47269.5143 | 69 | BRN18oct23_021.gcd | 2023-10-18 21:10 | 316 | Unknown | 0 | 2.854 | 907217 | 0 | ----- | ----- | ----- | -----
70 | BRN18oct23_022.gcd | 2023-10-18 21:40 | 109 | Unknown | 0 | 6.014 | 193341 | 0.407 | ----- | ----- | ----- | ----- | 70 | BRN18oct23_022.gcd | 2023-10-18 21:40 | 109 | Unknown | 0 | 5.971 | 1593 | 0.377 | ----- | ----- | ----- | ----- | 70 | BRN18oct23_022.gcd | 2023-10-18 21:40 | 109 | Unknown | 0 | 12.166 | 20249 | 5.343 | ----- | ----- | ----- | ----- | 1 |  | 70 | 518.9672 | 4732.025 | 577.2441 | 3763.2575 | 504.5231 | 3861.0838 | 448.484 | 4071.3045 | 518.9672 | 4732.025 | 70 | BRN18oct23_022.gcd | 2023-10-18 21:40 | 109 | Unknown | 0 | 2.862 | 907230 | 0 | ----- | ----- | ----- | -----
71 | BRN18oct23_023.gcd | 2023-10-18 22:11 | 193 | Unknown | 0 | 6.003 | 540367 | 1.152 | ----- | ----- | ----- | ----- | 71 | BRN18oct23_023.gcd | 2023-10-18 22:11 | 193 | Unknown | 0 | 5.956 | 5924 | 1.491 | ----- | ----- | ----- | ----- | 71 | BRN18oct23_023.gcd | 2023-10-18 22:11 | 193 | Unknown | 0 | 12.154 | 22536 | 5.966 | ----- | ----- | ----- | ----- | 1 |  | 71 | 1196.9808 | 5245.4239 | 1459.4354 | 4181.1253 | 1388.1536 | 4296.7672 | 1242.7943 | 4541.5303 | 1196.9808 | 5245.4239 | 71 | BRN18oct23_023.gcd | 2023-10-18 22:11 | 193 | Unknown | 0 | 2.858 | 813341 | 0 | ----- | ----- | ----- | -----
72 | BRN18oct23_024.gcd | 2023-10-18 22:41 | 401 | Unknown | 0 | 5.855 | 39322516 | 91.698 | ----- | ----- | ----- | ----- | 72 | BRN18oct23_024.gcd | 2023-10-18 22:41 | 401 | Unknown | 0 | 5.833 | 422279 | 103.974 | ----- | ----- | ----- | ----- | 72 | BRN18oct23_024.gcd | 2023-10-18 22:41 | 401 | Unknown | 0 | 12.041 | 97927 | 25.667 | ----- | ----- | ----- | ----- | 1 |  | 72 | 103716.1724 | 22087.2993 | 81336.0618 | 17588.5505 | 104979.5622 | 18563.8559 | 101116.1079 | 19893.0818 | 103716.1724 | 22087.2993 | 72 | BRN18oct23_024.gcd | 2023-10-18 22:41 | 401 | Unknown | 0 | 2.874 | 604423 | 0 | ----- | ----- | ----- | -----
73 | BRN18oct23_025.gcd | 2023-10-18 23:12 | 375 | Unknown | 0 | 6.005 | 217647 | 0.459 | ----- | ----- | ----- | ----- | 73 | BRN18oct23_025.gcd | 2023-10-18 23:12 | 375 | Unknown | 0 | 5.952 | 2876 | 0.707 | ----- | ----- | ----- | ----- | 73 | BRN18oct23_025.gcd | 2023-10-18 23:12 | 375 | Unknown | 0 | 12.163 | 18637 | 4.902 | ----- | ----- | ----- | ----- | 1 |  | 73 | 575.4541 | 4367.2872 | 645.4359 | 3468.3274 | 567.3617 | 3553.8887 | 504.75 | 3739.7038 | 575.4541 | 4367.2872 | 73 | BRN18oct23_025.gcd | 2023-10-18 23:12 | 375 | Unknown | 0 | 2.857 | 838901 | 0 | ----- | ----- | ----- | -----
74 | BRN18oct23_026.gcd | 2023-10-18 23:42 | 120 | Unknown | 0 | 6.021 | 16784 | 0.029 | ----- | ----- | ----- | ----- | 74 | BRN18oct23_026.gcd | 2023-10-18 23:42 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN18oct23_026.gcd | 2023-10-18 23:42 | 120 | Unknown | 0 | 12.176 | 7956 | 1.962 | ----- | ----- | ----- | ----- | 1 |  | 74 | 40.2095 | 1890.6738 | 52.9588 | 1505.8992 | 43.7807 | 1516.3 | 36.9161 | 1539.1898 | 40.2095 | 1890.6738 | 74 | BRN18oct23_026.gcd | 2023-10-18 23:42 | 120 | Unknown | 0 | 2.863 | 888561 | 0 | ----- | ----- | ----- | -----
75 | BRN18oct23_027.gcd | 2023-10-19 00:13 | 203 | Unknown | 0 | 6.012 | 197500 | 0.416 | ----- | ----- | ----- | ----- | 75 | BRN18oct23_027.gcd | 2023-10-19 00:13 | 203 | Unknown | 0 | 5.962 | 1913 | 0.459 | ----- | ----- | ----- | ----- | 75 | BRN18oct23_027.gcd | 2023-10-19 00:13 | 203 | Unknown | 0 | 12.158 | 18708 | 4.922 | ----- | ----- | ----- | ----- | 1 |  | 75 | 529.0596 | 4383.4019 | 588.9808 | 3481.3244 | 515.2855 | 3567.4208 | 458.1184 | 3754.3119 | 529.0596 | 4383.4019 | 75 | BRN18oct23_027.gcd | 2023-10-19 00:13 | 203 | Unknown | 0 | 2.863 | 845801 | 0 | ----- | ----- | ----- | -----
76 | BRN18oct23_028.gcd | 2023-10-19 00:43 | 96 | Unknown | 0 | 6.034 | 5257 | 0.004 | ----- | ----- | ----- | ----- | 76 | BRN18oct23_028.gcd | 2023-10-19 00:43 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN18oct23_028.gcd | 2023-10-19 00:43 | 96 | Unknown | 0 | 12.151 | 24662 | 6.545 | ----- | ----- | ----- | ----- | 1 |  | 76 | 2.5939 | 5718.4015 | 10.4365 | 4568.9872 | 11.781 | 4701.6268 | 6.5996 | 4978.4138 | 2.5939 | 5718.4015 | 76 | BRN18oct23_028.gcd | 2023-10-19 00:43 | 96 | Unknown | 0 | 2.867 | 808577 | 0 | ----- | ----- | ----- | -----
77 | BRN18oct23_029.gcd | 2023-10-19 01:14 | 284 | Unknown | 0 | 6.03 | 4588 | 0.002 | ----- | ----- | ----- | ----- | 77 | BRN18oct23_029.gcd | 2023-10-19 01:14 | 284 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN18oct23_029.gcd | 2023-10-19 01:14 | 284 | Unknown | 0 | 12.145 | 25921 | 6.886 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.225 | 5996.5512 | 8.4868 | 4798.4083 | 9.6051 | 4941.3121 | 5.084 | 5237.0239 | 2.225 | 5996.5512 | 77 | BRN18oct23_029.gcd | 2023-10-19 01:14 | 284 | Unknown | 0 | 2.857 | 824791 | 0 | ----- | ----- | ----- | -----
78 | BRN18oct23_030.gcd | 2023-10-19 01:44 | 279 | Unknown | 0 | 6.005 | 190021 | 0.4 | ----- | ----- | ----- | ----- | 78 | BRN18oct23_030.gcd | 2023-10-19 01:44 | 279 | Unknown | 0 | 5.959 | 1373 | 0.32 | ----- | ----- | ----- | ----- | 78 | BRN18oct23_030.gcd | 2023-10-19 01:44 | 279 | Unknown | 0 | 12.15 | 21578 | 5.705 | ----- | ----- | ----- | ----- | 1 |  | 78 | 510.8716 | 5030.9472 | 567.8548 | 4006.1649 | 495.9288 | 4114.2848 | 440.7912 | 4344.5902 | 510.8716 | 5030.9472 | 78 | BRN18oct23_030.gcd | 2023-10-19 01:44 | 279 | Unknown | 0 | 2.847 | 1009529 | 0 | ----- | ----- | ----- | -----
79 | BRN18oct23_031.gcd | 2023-10-19 02:15 | 140 | Unknown | 0 | 6.02 | 8451 | 0.011 | ----- | ----- | ----- | ----- | 79 | BRN18oct23_031.gcd | 2023-10-19 02:15 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN18oct23_031.gcd | 2023-10-19 02:15 | 140 | Unknown | 0 | 12.144 | 26400 | 7.016 | ----- | ----- | ----- | ----- | 1 |  | 79 | 11.0175 | 6101.9965 | 20.0066 | 4885.6418 | 21.4544 | 5032.4894 | 15.628 | 5335.3936 | 11.0175 | 6101.9965 | 79 | BRN18oct23_031.gcd | 2023-10-19 02:15 | 140 | Unknown | 0 | 2.856 | 858660 | 0 | ----- | ----- | ----- | -----