## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
43 | BRN19apr23_001.gcd | 2023-04-19 15:46 | QC outside air | Unknown | 0 | 6.107 | 2543 | -0.002 | ----- | ----- | ----- | ----- | 43 | BRN19apr23_001.gcd | 2023-04-19 15:46 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN19apr23_001.gcd | 2023-04-19 15:46 | QC outside air | Unknown | 0 | 12.279 | 2815 | 0.45 | ----- | ----- | ----- | ----- | 1 |  | 43 | 4.0947 | 661.5258 | 2.6452 | 556.2336 | 2.6321 | 534.2412 | 1.2578 | 477.9583 | 4.0947 | 661.5258 | 43 | BRN19apr23_001.gcd | 2023-04-19 15:46 | QC outside air | Unknown | 0 | 2.713 | 5241244 | 0 | ----- | ----- | ----- | -----
44 | BRN19apr23_002.gcd | 2023-04-19 16:16 | QC spiked air | Unknown | 0 | 6.022 | 311592 | 0.59 | ----- | ----- | ----- | ----- | 44 | BRN19apr23_002.gcd | 2023-04-19 16:16 | QC spiked air | Unknown | 0 | 5.974 | 2249 | 0.606 | ----- | ----- | ----- | ----- | 44 | BRN19apr23_002.gcd | 2023-04-19 16:16 | QC spiked air | Unknown | 0 | 12.239 | 4469 | 1.115 | ----- | ----- | ----- | ----- | 1 |  | 44 | 756.7826 | 1059.6068 | 899.9362 | 862.129 | 808.8957 | 850.2901 | 721.3284 | 819.5326 | 756.7826 | 1059.6068 | 44 | BRN19apr23_002.gcd | 2023-04-19 16:16 | QC spiked air | Unknown | 0 | 2.717 | 5160612 | 0 | ----- | ----- | ----- | -----
45 | BRN19apr23_003.gcd | 2023-04-19 16:47 | QC reference tank | Unknown | 0 | 6.041 | 3928 | 0.001 | ----- | ----- | ----- | ----- | 45 | BRN19apr23_003.gcd | 2023-04-19 16:47 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN19apr23_003.gcd | 2023-04-19 16:47 | QC reference tank | Unknown | 0 | 12.226 | 2007 | 0.123 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2.3348 | 466.1508 | 6.5821 | 406.675 | 7.4076 | 379.8149 | 3.7163 | 311.0441 | 2.3348 | 466.1508 | 45 | BRN19apr23_003.gcd | 2023-04-19 16:47 | QC reference tank | Unknown | 0 | 2.698 | 5485295 | 0 | ----- | ----- | ----- | -----
46 | BRN19apr23_004.gcd | 2023-04-19 17:17 | 308 | Unknown | 0 | 6.026 | 12184 | 0.016 | ----- | ----- | ----- | ----- | 46 | BRN19apr23_004.gcd | 2023-04-19 17:17 | 308 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN19apr23_004.gcd | 2023-04-19 17:17 | 308 | Unknown | 0 | 12.167 | 25134 | 9.108 | ----- | ----- | ----- | ----- | 1 |  | 46 | 26.4218 | 5822.8494 | 31.7413 | 4655.0207 | 31.6758 | 4791.4911 | 26.1261 | 5075.3764 | 26.4218 | 5822.8494 | 46 | BRN19apr23_004.gcd | 2023-04-19 17:17 | 308 | Unknown | 0 | 2.86 | 1019724 | 0 | ----- | ----- | ----- | -----
47 | BRN19apr23_005.gcd | 2023-04-19 17:48 | 102 | Unknown | 0 | 6.026 | 13179 | 0.018 | ----- | ----- | ----- | ----- | 47 | BRN19apr23_005.gcd | 2023-04-19 17:48 | 102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN19apr23_005.gcd | 2023-04-19 17:48 | 102 | Unknown | 0 | 12.168 | 26492 | 9.614 | ----- | ----- | ----- | ----- | 1 |  | 47 | 29.4098 | 6122.2251 | 34.969 | 4902.3932 | 34.2946 | 5050.0007 | 28.4603 | 5354.2858 | 29.4098 | 6122.2251 | 47 | BRN19apr23_005.gcd | 2023-04-19 17:48 | 102 | Unknown | 0 | 2.848 | 1259067 | 0 | ----- | ----- | ----- | -----
48 | BRN19apr23_006.gcd | 2023-04-19 18:19 | 315 | Unknown | 0 | 6.028 | 11851 | 0.016 | ----- | ----- | ----- | ----- | 48 | BRN19apr23_006.gcd | 2023-04-19 18:19 | 315 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN19apr23_006.gcd | 2023-04-19 18:19 | 315 | Unknown | 0 | 12.171 | 24922 | 9.028 | ----- | ----- | ----- | ----- | 1 |  | 48 | 25.4211 | 5775.9615 | 30.6704 | 4616.382 | 30.7993 | 4751.1292 | 25.3448 | 5031.8268 | 25.4211 | 5775.9615 | 48 | BRN19apr23_006.gcd | 2023-04-19 18:19 | 315 | Unknown | 0 | 2.854 | 1134485 | 0 | ----- | ----- | ----- | -----
49 | BRN19apr23_007.gcd | 2023-04-19 18:49 | 413 | Unknown | 0 | 6.021 | 41102 | 0.072 | ----- | ----- | ----- | ----- | 49 | BRN19apr23_007.gcd | 2023-04-19 18:49 | 413 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN19apr23_007.gcd | 2023-04-19 18:49 | 413 | Unknown | 0 | 12.196 | 6322 | 1.855 | ----- | ----- | ----- | ----- | 1 |  | 49 | 111.9892 | 1502.6187 | 128.1927 | 1204.42 | 107.6884 | 1204.2585 | 93.9014 | 1202.0374 | 111.9892 | 1502.6187 | 49 | BRN19apr23_007.gcd | 2023-04-19 18:49 | 413 | Unknown | 0 | 2.859 | 1043100 | 0 | ----- | ----- | ----- | -----
50 | BRN19apr23_008.gcd | 2023-04-19 19:20 | 206 | Unknown | 0 | 6.013 | 47636 | 0.084 | ----- | ----- | ----- | ----- | 50 | BRN19apr23_008.gcd | 2023-04-19 19:20 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN19apr23_008.gcd | 2023-04-19 19:20 | 206 | Unknown | 0 | 12.184 | 5155 | 1.389 | ----- | ----- | ----- | ----- | 1 |  | 50 | 130.9578 | 1223.9796 | 148.2428 | 988.8989 | 124.8354 | 981.3459 | 109.1966 | 961.1603 | 130.9578 | 1223.9796 | 50 | BRN19apr23_008.gcd | 2023-04-19 19:20 | 206 | Unknown | 0 | 2.855 | 955793 | 0 | ----- | ----- | ----- | -----
51 | BRN19apr23_009.gcd | 2023-04-19 19:50 | 38 | Unknown | 0 | 6.028 | 10367 | 0.013 | ----- | ----- | ----- | ----- | 51 | BRN19apr23_009.gcd | 2023-04-19 19:50 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN19apr23_009.gcd | 2023-04-19 19:50 | 38 | Unknown | 0 | 12.185 | 6660 | 1.99 | ----- | ----- | ----- | ----- | 1 |  | 51 | 20.9573 | 1583.0894 | 25.9556 | 1266.8098 | 26.893 | 1268.8128 | 21.8631 | 1271.79 | 20.9573 | 1583.0894 | 51 | BRN19apr23_009.gcd | 2023-04-19 19:50 | 38 | Unknown | 0 | 2.868 | 847702 | 0 | ----- | ----- | ----- | -----
52 | BRN19apr23_010.gcd | 2023-04-19 20:21 | 193 | Unknown | 0 | 6.024 | 17387 | 0.026 | ----- | ----- | ----- | ----- | 52 | BRN19apr23_010.gcd | 2023-04-19 20:21 | 193 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN19apr23_010.gcd | 2023-04-19 20:21 | 193 | Unknown | 0 | 12.192 | 7890 | 2.477 | ----- | ----- | ----- | ----- | 1 |  | 52 | 42.0119 | 1875.0468 | 54.836 | 1493.7284 | 45.3671 | 1503.6978 | 38.3303 | 1525.5743 | 42.0119 | 1875.0468 | 52 | BRN19apr23_010.gcd | 2023-04-19 20:21 | 193 | Unknown | 0 | 2.866 | 899432 | 0 | ----- | ----- | ----- | -----
53 | BRN19apr23_011.gcd | 2023-04-19 20:52 | 397 | Unknown | 0 | 6.017 | 12841 | 0.018 | ----- | ----- | ----- | ----- | 53 | BRN19apr23_011.gcd | 2023-04-19 20:52 | 397 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN19apr23_011.gcd | 2023-04-19 20:52 | 397 | Unknown | 0 | 12.168 | 24389 | 8.829 | ----- | ----- | ----- | ----- | 1 |  | 53 | 28.3951 | 5657.8971 | 33.8678 | 4519.2135 | 33.405 | 4649.647 | 27.6674 | 4922.3264 | 28.3951 | 5657.8971 | 53 | BRN19apr23_011.gcd | 2023-04-19 20:52 | 397 | Unknown | 0 | 2.852 | 1031629 | 0 | ----- | ----- | ----- | -----
54 | BRN19apr23_012.gcd | 2023-04-19 21:22 | 251 | Unknown | 0 | 6.019 | 117319 | 0.218 | ----- | ----- | ----- | ----- | 54 | BRN19apr23_012.gcd | 2023-04-19 21:22 | 251 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN19apr23_012.gcd | 2023-04-19 21:22 | 251 | Unknown | 0 | 12.111 | 79482 | 27.92 | ----- | ----- | ----- | ----- | 1 |  | 54 | 324.8763 | 17652.3102 | 357.7352 | 14374.2503 | 307.0604 | 15090.3797 | 271.8865 | 16164.0096 | 324.8763 | 17652.3102 | 54 | BRN19apr23_012.gcd | 2023-04-19 21:22 | 251 | Unknown | 0 | 2.874 | 764336 | 0 | ----- | ----- | ----- | -----
55 | BRN19apr23_013.gcd | 2023-04-19 21:53 | 44 | Unknown | 0 | 6.019 | 45272 | 0.08 | ----- | ----- | ----- | ----- | 55 | BRN19apr23_013.gcd | 2023-04-19 21:53 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN19apr23_013.gcd | 2023-04-19 21:53 | 44 | Unknown | 0 | 12.197 | 5867 | 1.674 | ----- | ----- | ----- | ----- | 1 |  | 55 | 124.1105 | 1394.1283 | 140.9967 | 1120.4112 | 118.6328 | 1117.3527 | 103.6636 | 1108.1305 | 124.1105 | 1394.1283 | 55 | BRN19apr23_013.gcd | 2023-04-19 21:53 | 44 | Unknown | 0 | 2.862 | 968160 | 0 | ----- | ----- | ----- | -----
56 | BRN19apr23_014.gcd | 2023-04-19 22:23 | 229 | Unknown | 0 | 6.027 | 12159 | 0.016 | ----- | ----- | ----- | ----- | 56 | BRN19apr23_014.gcd | 2023-04-19 22:23 | 229 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN19apr23_014.gcd | 2023-04-19 22:23 | 229 | Unknown | 0 | 12.174 | 25962 | 9.416 | ----- | ----- | ----- | ----- | 1 |  | 56 | 26.3467 | 6005.585 | 31.6607 | 4805.8762 | 31.61 | 4949.1167 | 26.0674 | 5245.4443 | 26.3467 | 6005.585 | 56 | BRN19apr23_014.gcd | 2023-04-19 22:23 | 229 | Unknown | 0 | 2.857 | 1103673 | 0 | ----- | ----- | ----- | -----
57 | BRN19apr23_015.gcd | 2023-04-19 22:54 | 343 | Unknown | 0 | 6.022 | 52447 | 0.094 | ----- | ----- | ----- | ----- | 57 | BRN19apr23_015.gcd | 2023-04-19 22:54 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN19apr23_015.gcd | 2023-04-19 22:54 | 343 | Unknown | 0 | 12.195 | 5710 | 1.611 | ----- | ----- | ----- | ----- | 1 |  | 57 | 144.8384 | 1356.6493 | 162.9611 | 1091.4174 | 137.4542 | 1087.3639 | 120.454 | 1075.7249 | 144.8384 | 1356.6493 | 57 | BRN19apr23_015.gcd | 2023-04-19 22:54 | 343 | Unknown | 0 | 2.867 | 925605 | 0 | ----- | ----- | ----- | -----
58 | BRN19apr23_016.gcd | 2023-04-19 23:24 | 138 | Unknown | 0 | 6.014 | 16479 | 0.025 | ----- | ----- | ----- | ----- | 58 | BRN19apr23_016.gcd | 2023-04-19 23:24 | 138 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN19apr23_016.gcd | 2023-04-19 23:24 | 138 | Unknown | 0 | 12.167 | 20034 | 7.186 | ----- | ----- | ----- | ----- | 1 |  | 58 | 39.2974 | 4683.5152 | 52.0091 | 3723.9402 | 42.9782 | 3820.1167 | 36.2008 | 4027.0851 | 39.2974 | 4683.5152 | 58 | BRN19apr23_016.gcd | 2023-04-19 23:24 | 138 | Unknown | 0 | 2.853 | 983762 | 0 | ----- | ----- | ----- | -----
59 | BRN19apr23_017.gcd | 2023-04-19 23:55 | 334 | Unknown | 0 | 6.014 | 15774 | 0.023 | ----- | ----- | ----- | ----- | 59 | BRN19apr23_017.gcd | 2023-04-19 23:55 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN19apr23_017.gcd | 2023-04-19 23:55 | 334 | Unknown | 0 | 12.166 | 22023 | 7.939 | ----- | ----- | ----- | ----- | 1 |  | 59 | 37.1879 | 5130.6778 | 49.8132 | 4087.45 | 41.1233 | 4199.0533 | 34.5473 | 4436.0766 | 37.1879 | 5130.6778 | 59 | BRN19apr23_017.gcd | 2023-04-19 23:55 | 334 | Unknown | 0 | 2.846 | 1103554 | 0 | ----- | ----- | ----- | -----
60 | BRN19apr23_018.gcd | 2023-04-20 00:26 | 232 | Unknown | 0 | 6.01 | 58738 | 0.106 | ----- | ----- | ----- | ----- | 60 | BRN19apr23_018.gcd | 2023-04-20 00:26 | 232 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN19apr23_018.gcd | 2023-04-20 00:26 | 232 | Unknown | 0 | 12.185 | 5244 | 1.425 | ----- | ----- | ----- | ----- | 1 |  | 60 | 162.8788 | 1245.2735 | 182.1502 | 1005.3415 | 153.9464 | 998.3477 | 135.1689 | 979.533 | 162.8788 | 1245.2735 | 60 | BRN19apr23_018.gcd | 2023-04-20 00:26 | 232 | Unknown | 0 | 2.844 | 1153572 | 0 | ----- | ----- | ----- | -----
61 | BRN19apr23_019.gcd | 2023-04-20 00:56 | 165 | Unknown | 0 | 6.02 | 43183 | 0.076 | ----- | ----- | ----- | ----- | 61 | BRN19apr23_019.gcd | 2023-04-20 00:56 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN19apr23_019.gcd | 2023-04-20 00:56 | 165 | Unknown | 0 | 12.198 | 4926 | 1.298 | ----- | ----- | ----- | ----- | 1 |  | 61 | 118.0451 | 1169.1565 | 134.586 | 946.5873 | 113.1507 | 937.5986 | 98.7735 | 913.8849 | 118.0451 | 1169.1565 | 61 | BRN19apr23_019.gcd | 2023-04-20 00:56 | 165 | Unknown | 0 | 2.848 | 1250817 | 0 | ----- | ----- | ----- | -----
62 | BRN19apr23_020.gcd | 2023-04-20 01:27 | 179 | Unknown | 0 | 6.012 | 11773 | 0.016 | ----- | ----- | ----- | ----- | 62 | BRN19apr23_020.gcd | 2023-04-20 01:27 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN19apr23_020.gcd | 2023-04-20 01:27 | 179 | Unknown | 0 | 12.153 | 25403 | 9.208 | ----- | ----- | ----- | ----- | 1 |  | 62 | 25.1867 | 5882.285 | 30.4203 | 4704.0399 | 30.594 | 4842.7028 | 25.1618 | 5130.6317 | 25.1867 | 5882.285 | 62 | BRN19apr23_020.gcd | 2023-04-20 01:27 | 179 | Unknown | 0 | 2.845 | 1133266 | 0 | ----- | ----- | ----- | -----
63 | BRN19apr23_021.gcd | 2023-04-20 01:57 | 288 | Unknown | 0 | 6.015 | 116289 | 0.216 | ----- | ----- | ----- | ----- | 63 | BRN19apr23_021.gcd | 2023-04-20 01:57 | 288 | Unknown | 0 | 5.962 | 862 | 0.295 | ----- | ----- | ----- | ----- | 63 | BRN19apr23_021.gcd | 2023-04-20 01:57 | 288 | Unknown | 0 | 12.11 | 79869 | 28.045 | ----- | ----- | ----- | ----- | 1 |  | 63 | 322.1214 | 17745.6479 | 354.6964 | 14442.1292 | 304.3755 | 15163.3713 | 269.4874 | 16242.4288 | 322.1214 | 17745.6479 | 63 | BRN19apr23_021.gcd | 2023-04-20 01:57 | 288 | Unknown | 0 | 2.846 | 1241021 | 0 | ----- | ----- | ----- | -----