## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN23aug23_001.gcd | 2023-08-23 10:01 | QC outside air | Unknown | 0 | 6.083 | 2134 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN23aug23_001.gcd | 2023-08-23 10:01 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN23aug23_001.gcd | 2023-08-23 10:01 | QC outside air | Unknown | 0 | 12.22 | 3042 | 0.596 | ----- | ----- | ----- | ----- | 1 |  | 49 | 5.0106 | 716.3074 | 1.4982 | 598.2359 | 1.1794 | 577.6219 | 0.63837 | 524.8452 | 5.0106 | 716.3074 | 49 | BRN23aug23_001.gcd | 2023-08-23 10:01 | QC outside air | Unknown | 0 | 2.696 | 5277131 | 0 | ----- | ----- | ----- | -----
50 | BRN23aug23_002.gcd | 2023-08-23 10:32 | QC spiked air | Unknown | 0 | 6.01 | 971735 | 2.08 | ----- | ----- | ----- | ----- | 50 | BRN23aug23_002.gcd | 2023-08-23 10:32 | QC spiked air | Unknown | 0 | 5.96 | 8879 | 2.251 | ----- | ----- | ----- | ----- | 50 | BRN23aug23_002.gcd | 2023-08-23 10:32 | QC spiked air | Unknown | 0 | 12.188 | 7826 | 1.926 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2021.7025 | 1859.8896 | 2245.8811 | 1481.926 | 2561.0933 | 1491.4773 | 2419.273 | 1512.3712 | 2021.7025 | 1859.8896 | 50 | BRN23aug23_002.gcd | 2023-08-23 10:32 | QC spiked air | Unknown | 0 | 2.723 | 4945995 | 0 | ----- | ----- | ----- | -----
51 | BRN23aug23_003.gcd | 2023-08-23 11:03 | QC reference tank | Unknown | 0 | 6.05 | 3474 | 0 | ----- | ----- | ----- | ----- | 51 | BRN23aug23_003.gcd | 2023-08-23 11:03 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN23aug23_003.gcd | 2023-08-23 11:03 | QC reference tank | Unknown | 0 | 12.205 | 1707 | 0.224 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.6835 | 393.459 | 5.2826 | 351.1249 | 5.8667 | 322.473 | 2.849 | 249.0625 | 2.6835 | 393.459 | 51 | BRN23aug23_003.gcd | 2023-08-23 11:03 | QC reference tank | Unknown | 0 | 2.721 | 4950361 | 0 | ----- | ----- | ----- | -----
52 | BRN23aug23_004.gcd | 2023-08-23 11:33 | 82 | Unknown | 0 | 6.002 | 20626 | 0.037 | ----- | ----- | ----- | ----- | 52 | BRN23aug23_004.gcd | 2023-08-23 11:33 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN23aug23_004.gcd | 2023-08-23 11:33 | 82 | Unknown | 0 | 12.04 | 120768 | 31.341 | ----- | ----- | ----- | ----- | 1 |  | 52 | 51.674 | 27540.7108 | 64.9092 | 21509.7224 | 53.887 | 22849.833 | 45.9256 | 24486.8387 | 51.674 | 27540.7108 | 52 | BRN23aug23_004.gcd | 2023-08-23 11:33 | 82 | Unknown | 0 | 2.849 | 920170 | 0 | ----- | ----- | ----- | -----
53 | BRN23aug23_005.gcd | 2023-08-23 12:04 | 327 | Unknown | 0 | 6.055 | 2675 | -0.002 | ----- | ----- | ----- | ----- | 53 | BRN23aug23_005.gcd | 2023-08-23 12:04 | 327 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN23aug23_005.gcd | 2023-08-23 12:04 | 327 | Unknown | 0 | 11.998 | 159693 | 40.733 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.8377 | 36735.9303 | 3.0169 | 28041.1608 | 3.0969 | 30114.7834 | 1.4681 | 32254.0358 | 3.8377 | 36735.9303 | 53 | BRN23aug23_005.gcd | 2023-08-23 12:04 | 327 | Unknown | 0 | 2.855 | 787553 | 0 | ----- | ----- | ----- | -----
54 | BRN23aug23_006.gcd | 2023-08-23 12:35 | 173 | Unknown | 0 | 6.014 | 459498 | 0.979 | ----- | ----- | ----- | ----- | 54 | BRN23aug23_006.gcd | 2023-08-23 12:35 | 173 | Unknown | 0 | 5.968 | 4202 | 1.048 | ----- | ----- | ----- | ----- | 54 | BRN23aug23_006.gcd | 2023-08-23 12:35 | 173 | Unknown | 0 | 12.189 | 2632 | 0.482 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1041.5989 | 617.3284 | 1271.4222 | 522.368 | 1184.8395 | 499.2678 | 1059.4262 | 440.1576 | 1041.5989 | 617.3284 | 54 | BRN23aug23_006.gcd | 2023-08-23 12:35 | 173 | Unknown | 0 | 2.875 | 796220 | 0 | ----- | ----- | ----- | -----
55 | BRN23aug23_007.gcd | 2023-08-23 13:05 | 17 | Unknown | 0 | 5.999 | 33877 | 0.065 | ----- | ----- | ----- | ----- | 55 | BRN23aug23_007.gcd | 2023-08-23 13:05 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN23aug23_007.gcd | 2023-08-23 13:05 | 17 | Unknown | 0 | 12.05 | 103533 | 27.071 | ----- | ----- | ----- | ----- | 1 |  | 55 | 90.8579 | 23429.7136 | 105.9411 | 18557.0114 | 88.716 | 19617.3593 | 76.9808 | 21023.0201 | 90.8579 | 23429.7136 | 55 | BRN23aug23_007.gcd | 2023-08-23 13:05 | 17 | Unknown | 0 | 2.854 | 809054 | 0 | ----- | ----- | ----- | -----
56 | BRN23aug23_008.gcd | 2023-08-23 13:36 | 300 | Unknown | 0 | 6.019 | 32527 | 0.062 | ----- | ----- | ----- | ----- | 56 | BRN23aug23_008.gcd | 2023-08-23 13:36 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN23aug23_008.gcd | 2023-08-23 13:36 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 56 | 86.8912 | #VALUE! | 101.774 | #VALUE! | 85.1696 | #VALUE! | 73.8182 | #VALUE! | 86.8912 | #VALUE! | 56 | BRN23aug23_008.gcd | 2023-08-23 13:36 | 300 | Unknown | 0 | 2.869 | 906796 | 0 | ----- | ----- | ----- | -----
57 | BRN23aug23_009.gcd | 2023-08-23 14:07 | 218 | Unknown | 0 | 6.018 | 34388 | 0.066 | ----- | ----- | ----- | ----- | 57 | BRN23aug23_009.gcd | 2023-08-23 14:07 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN23aug23_009.gcd | 2023-08-23 14:07 | 218 | Unknown | 0 | 12.189 | 233 | -0.188 | ----- | ----- | ----- | ----- | 1 |  | 57 | 92.3578 | 35.1072 | 107.5177 | 78.0248 | 90.0583 | 40.6907 | 78.1778 | -55.5403 | 92.3578 | 35.1072 | 57 | BRN23aug23_009.gcd | 2023-08-23 14:07 | 218 | Unknown | 0 | 2.87 | 879665 | 0 | ----- | ----- | ----- | -----
58 | BRN23aug23_010.gcd | 2023-08-23 14:37 | 396 | Unknown | 0 | 5.994 | 576664 | 1.23 | ----- | ----- | ----- | ----- | 58 | BRN23aug23_010.gcd | 2023-08-23 14:37 | 396 | Unknown | 0 | 5.948 | 5552 | 1.396 | ----- | ----- | ----- | ----- | 58 | BRN23aug23_010.gcd | 2023-08-23 14:37 | 396 | Unknown | 0 | 12.078 | 76455 | 20.215 | ----- | ----- | ----- | ----- | 1 |  | 58 | 1266.6429 | 16921.828 | 1540.3516 | 13842.6733 | 1478.8943 | 14519.2923 | 1324.7542 | 15550.3747 | 1266.6429 | 16921.828 | 58 | BRN23aug23_010.gcd | 2023-08-23 14:37 | 396 | Unknown | 0 | 2.851 | 872965 | 0 | ----- | ----- | ----- | -----
59 | BRN23aug23_011.gcd | 2023-08-23 15:08 | 76 | Unknown | 0 | 5.993 | 734155 | 1.569 | ----- | ----- | ----- | ----- | 59 | BRN23aug23_011.gcd | 2023-08-23 15:08 | 76 | Unknown | 0 | 5.947 | 6714 | 1.694 | ----- | ----- | ----- | ----- | 59 | BRN23aug23_011.gcd | 2023-08-23 15:08 | 76 | Unknown | 0 | 12.075 | 79677 | 21.041 | ----- | ----- | ----- | ----- | 1 |  | 59 | 1568.3356 | 17699.3423 | 1834.6367 | 14408.4552 | 2006.6649 | 15127.159 | 1884.9558 | 16203.5241 | 1568.3356 | 17699.3423 | 59 | BRN23aug23_011.gcd | 2023-08-23 15:08 | 76 | Unknown | 0 | 2.848 | 904980 | 0 | ----- | ----- | ----- | -----
60 | BRN23aug23_012.gcd | 2023-08-23 15:39 | 312 | Unknown | 0 | 6.062 | 3287 | 0 | ----- | ----- | ----- | ----- | 60 | BRN23aug23_012.gcd | 2023-08-23 15:39 | 312 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN23aug23_012.gcd | 2023-08-23 15:39 | 312 | Unknown | 0 | 12.001 | 162756 | 41.459 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.8918 | 37454.24 | 4.7499 | 28547.0455 | 5.2251 | 30684.3697 | 2.5092 | 32861.9528 | 2.8918 | 37454.24 | 60 | BRN23aug23_012.gcd | 2023-08-23 15:39 | 312 | Unknown | 0 | 2.845 | 980615 | 0 | ----- | ----- | ----- | -----
61 | BRN23aug23_013.gcd | 2023-08-23 16:09 | 166 | Unknown | 0 | 6.021 | 29290 | 0.055 | ----- | ----- | ----- | ----- | 61 | BRN23aug23_013.gcd | 2023-08-23 16:09 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN23aug23_013.gcd | 2023-08-23 16:09 | 166 | Unknown | 0 | 12.202 | 823 | -0.023 | ----- | ----- | ----- | ----- | 1 |  | 61 | 77.3566 | 178.7831 | 91.7699 | 187.3717 | 76.6643 | 153.4886 | 66.2338 | 66.3968 | 77.3566 | 178.7831 | 61 | BRN23aug23_013.gcd | 2023-08-23 16:09 | 166 | Unknown | 0 | 2.87 | 880888 | 0 | ----- | ----- | ----- | -----
62 | BRN23aug23_014.gcd | 2023-08-23 16:40 | 238 | Unknown | 0 | 5.895 | 29548304 | 67.336 | ----- | ----- | ----- | ----- | 62 | BRN23aug23_014.gcd | 2023-08-23 16:40 | 238 | Unknown | 0 | 5.872 | 312330 | 77.747 | ----- | ----- | ----- | ----- | 62 | BRN23aug23_014.gcd | 2023-08-23 16:40 | 238 | Unknown | 0 | 12.124 | 55859 | 14.871 | ----- | ----- | ----- | ----- | 1 |  | 62 | 77129.6444 | 11931.657 | 60191.4188 | 10195.2319 | 78409.6829 | 10625.6479 | 75513.0234 | 11362.7271 | 77129.6444 | 11931.657 | 62 | BRN23aug23_014.gcd | 2023-08-23 16:40 | 238 | Unknown | 0 | 2.881 | 620127 | 0 | ----- | ----- | ----- | -----
63 | BRN23aug23_015.gcd | 2023-08-23 17:11 | 97 | Unknown | 0 | 5.892 | 28395250 | 64.539 | ----- | ----- | ----- | ----- | 63 | BRN23aug23_015.gcd | 2023-08-23 17:11 | 97 | Unknown | 0 | 5.871 | 315585 | 78.531 | ----- | ----- | ----- | ----- | 63 | BRN23aug23_015.gcd | 2023-08-23 17:11 | 97 | Unknown | 0 | 12.104 | 69700 | 18.476 | ----- | ----- | ----- | ----- | 1 |  | 63 | 77923.6747 | 15288.9941 | 60816.2574 | 12652.2677 | 79203.2446 | 13243.7895 | 76277.7239 | 14179.3115 | 77923.6747 | 15288.9941 | 63 | BRN23aug23_015.gcd | 2023-08-23 17:11 | 97 | Unknown | 0 | 2.879 | 676519 | 0 | ----- | ----- | ----- | -----
64 | BRN23aug23_016.gcd | 2023-08-23 17:41 | 337 | Unknown | 0 | 6.003 | 27436 | 0.051 | ----- | ----- | ----- | ----- | 64 | BRN23aug23_016.gcd | 2023-08-23 17:41 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN23aug23_016.gcd | 2023-08-23 17:41 | 337 | Unknown | 0 | 12.051 | 106333 | 27.77 | ----- | ----- | ----- | ----- | 1 |  | 64 | 71.8807 | 24099.2398 | 86.0323 | 19039.2462 | 71.7918 | 20143.1645 | 61.8891 | 21586.7839 | 71.8807 | 24099.2398 | 64 | BRN23aug23_016.gcd | 2023-08-23 17:41 | 337 | Unknown | 0 | 2.848 | 945011 | 0 | ----- | ----- | ----- | -----
65 | BRN23aug23_017.gcd | 2023-08-23 18:12 | 121 | Unknown | 0 | 6.023 | 42106 | 0.083 | ----- | ----- | ----- | ----- | 65 | BRN23aug23_017.gcd | 2023-08-23 18:12 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN23aug23_017.gcd | 2023-08-23 18:12 | 121 | Unknown | 0 | 12.224 | 185 | -0.201 | ----- | ----- | ----- | ----- | 1 |  | 65 | 114.9127 | 23.4044 | 131.2781 | 69.1269 | 110.3239 | 31.5134 | 96.2521 | -65.4614 | 114.9127 | 23.4044 | 65 | BRN23aug23_017.gcd | 2023-08-23 18:12 | 121 | Unknown | 0 | 2.87 | 964467 | 0 | ----- | ----- | ----- | -----
66 | BRN23aug23_018.gcd | 2023-08-23 18:43 | 282 | Unknown | 0 | 5.99 | 2712854 | 5.84 | ----- | ----- | ----- | ----- | 66 | BRN23aug23_018.gcd | 2023-08-23 18:43 | 282 | Unknown | 0 | 5.941 | 23468 | 5.994 | ----- | ----- | ----- | ----- | 66 | BRN23aug23_018.gcd | 2023-08-23 18:43 | 282 | Unknown | 0 | 12.085 | 74844 | 19.802 | ----- | ----- | ----- | ----- | 1 |  | 66 | 5280.1486 | 16532.7524 | 5017.8824 | 13559.2936 | 6292.2417 | 14215.2324 | 6015.0693 | 15223.6013 | 5280.1486 | 16532.7524 | 66 | BRN23aug23_018.gcd | 2023-08-23 18:43 | 282 | Unknown | 0 | 2.855 | 781806 | 0 | ----- | ----- | ----- | -----
67 | BRN23aug23_019.gcd | 2023-08-23 19:14 | 389 | Unknown | 0 | 6.064 | 3240 | -0.001 | ----- | ----- | ----- | ----- | 67 | BRN23aug23_019.gcd | 2023-08-23 19:14 | 389 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN23aug23_019.gcd | 2023-08-23 19:14 | 389 | Unknown | 0 | 12.043 | 140341 | 36.105 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.9501 | 32179.9158 | 4.6163 | 24817.7588 | 5.0632 | 26509.0908 | 2.4254 | 28402.1531 | 2.9501 | 32179.9158 | 67 | BRN23aug23_019.gcd | 2023-08-23 19:14 | 389 | Unknown | 0 | 2.869 | 953367 | 0 | ----- | ----- | ----- | -----
68 | BRN23aug23_020.gcd | 2023-08-23 19:44 | 27 | Unknown | 0 | 6.012 | 2298118 | 4.942 | ----- | ----- | ----- | ----- | 68 | BRN23aug23_020.gcd | 2023-08-23 19:44 | 27 | Unknown | 0 | 5.966 | 18497 | 4.72 | ----- | ----- | ----- | ----- | 68 | BRN23aug23_020.gcd | 2023-08-23 19:44 | 27 | Unknown | 0 | 12.109 | 70865 | 18.776 | ----- | ----- | ----- | ----- | 1 |  | 68 | 4514.2159 | 15570.8669 | 4073.2042 | 12857.9796 | 5021.8641 | 13463.8747 | 4790.778 | 14415.9379 | 4514.2159 | 15570.8669 | 68 | BRN23aug23_020.gcd | 2023-08-23 19:44 | 27 | Unknown | 0 | 2.875 | 830761 | 0 | ----- | ----- | ----- | -----
69 | BRN23aug23_021.gcd | 2023-08-23 20:15 | 286 | Unknown | 0 | 6.022 | 42656 | 0.084 | ----- | ----- | ----- | ----- | 69 | BRN23aug23_021.gcd | 2023-08-23 20:15 | 286 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN23aug23_021.gcd | 2023-08-23 20:15 | 286 | Unknown | 0 | 12.214 | 212 | -0.194 | ----- | ----- | ----- | ----- | 1 |  | 69 | 116.5128 | 29.9875 | 132.9676 | 74.132 | 111.7675 | 36.6757 | 97.5397 | -59.8807 | 116.5128 | 29.9875 | 69 | BRN23aug23_021.gcd | 2023-08-23 20:15 | 286 | Unknown | 0 | 2.847 | 1427466 | 0 | ----- | ----- | ----- | -----
70 | BRN23aug23_022.gcd | 2023-08-23 20:46 | 198 | Unknown | 0 | 6.025 | 32083 | 0.061 | ----- | ----- | ----- | ----- | 70 | BRN23aug23_022.gcd | 2023-08-23 20:46 | 198 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN23aug23_022.gcd | 2023-08-23 20:46 | 198 | Unknown | 0 | 12.209 | 1500 | 0.166 | ----- | ----- | ----- | ----- | 1 |  | 70 | 85.5853 | 343.2538 | 100.4028 | 312.7888 | 84.0032 | 282.9054 | 72.778 | 206.2926 | 85.5853 | 343.2538 | 70 | BRN23aug23_022.gcd | 2023-08-23 20:46 | 198 | Unknown | 0 | 2.867 | 1048125 | 0 | ----- | ----- | ----- | -----
71 | BRN23aug23_023.gcd | 2023-08-23 21:16 | 129 | Unknown | 0 | 6.006 | 12709 | 0.02 | ----- | ----- | ----- | ----- | 71 | BRN23aug23_023.gcd | 2023-08-23 21:16 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN23aug23_023.gcd | 2023-08-23 21:16 | 129 | Unknown | 0 | 12.034 | 123716 | 32.064 | ----- | ----- | ----- | ----- | 1 |  | 71 | 27.9988 | 28241.4522 | 33.4391 | 22011.0408 | 33.0576 | 23401.7714 | 27.3577 | 25077.797 | 27.9988 | 28241.4522 | 71 | BRN23aug23_023.gcd | 2023-08-23 21:16 | 129 | Unknown | 0 | 2.85 | 924879 | 0 | ----- | ----- | ----- | -----
72 | BRN23aug23_024.gcd | 2023-08-23 21:47 | 57 | Unknown | 0 | 6.025 | 24705 | 0.046 | ----- | ----- | ----- | ----- | 72 | BRN23aug23_024.gcd | 2023-08-23 21:47 | 57 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN23aug23_024.gcd | 2023-08-23 21:47 | 57 | Unknown | 0 | 12.201 | 1468 | 0.157 | ----- | ----- | ----- | ----- | 1 |  | 72 | 63.7948 | 335.4891 | 77.5704 | 306.8619 | 64.6128 | 276.7886 | 55.4882 | 199.6806 | 63.7948 | 335.4891 | 72 | BRN23aug23_024.gcd | 2023-08-23 21:47 | 57 | Unknown | 0 | 2.874 | 919099 | 0 | ----- | ----- | ----- | -----
73 | BRN23aug23_025.gcd | 2023-08-23 22:18 | 127 | Unknown | 0 | 6.024 | 32594 | 0.062 | ----- | ----- | ----- | ----- | 73 | BRN23aug23_025.gcd | 2023-08-23 22:18 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN23aug23_025.gcd | 2023-08-23 22:18 | 127 | Unknown | 0 | 12.155 | 1101 | 0.055 | ----- | ----- | ----- | ----- | 1 |  | 73 | 87.0882 | 246.3711 | 101.9808 | 238.8793 | 85.3456 | 206.6335 | 73.9751 | 123.8458 | 87.0882 | 246.3711 | 73 | BRN23aug23_025.gcd | 2023-08-23 22:18 | 127 | Unknown | 0 | 2.875 | 899380 | 0 | ----- | ----- | ----- | -----
74 | BRN23aug23_026.gcd | 2023-08-23 22:48 | 92 | Unknown | 0 | 5.997 | 628517 | 1.342 | ----- | ----- | ----- | ----- | 74 | BRN23aug23_026.gcd | 2023-08-23 22:48 | 92 | Unknown | 0 | 5.953 | 5840 | 1.47 | ----- | ----- | ----- | ----- | 74 | BRN23aug23_026.gcd | 2023-08-23 22:48 | 92 | Unknown | 0 | 12.18 | 3903 | 0.836 | ----- | ----- | ----- | ----- | 1 |  | 74 | 1366.0754 | 923.664 | 1652.2157 | 757.49 | 1607.9716 | 742.1479 | 1441.4719 | 702.6613 | 1366.0754 | 923.664 | 74 | BRN23aug23_026.gcd | 2023-08-23 22:48 | 92 | Unknown | 0 | 2.849 | 969407 | 0 | ----- | ----- | ----- | -----
75 | BRN23aug23_027.gcd | 2023-08-23 23:19 | 192 | Unknown | 0 | 6.097 | 2527 | -0.002 | ----- | ----- | ----- | ----- | 75 | BRN23aug23_027.gcd | 2023-08-23 23:19 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN23aug23_027.gcd | 2023-08-23 23:19 | 192 | Unknown | 0 | 12.034 | 152870 | 39.111 | ----- | ----- | ----- | ----- | 1 |  | 75 | 4.1271 | 35133.0972 | 2.6002 | 26910.041 | 2.5757 | 28844.9022 | 1.2326 | 30898.1461 | 4.1271 | 35133.0972 | 75 | BRN23aug23_027.gcd | 2023-08-23 23:19 | 192 | Unknown | 0 | 2.872 | 914253 | 0 | ----- | ----- | ----- | -----
76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | 5.999 | 44758 | 0.089 | ----- | ----- | ----- | ----- | 76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | 12.182 | 830 | -0.021 | ----- | ----- | ----- | ----- | 1 |  | 76 | 122.6194 | 180.4858 | 139.42 | 188.6688 | 117.284 | 154.8268 | 102.4604 | 67.8434 | 122.6194 | 180.4858 | 76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | 2.851 | 910611 | 0 | ----- | ----- | ----- | -----
77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | 6.093 | 2311 | -0.003 | ----- | ----- | ----- | ----- | 77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | 12.006 | 152399 | 38.998 | ----- | ----- | ----- | ----- | 1 |  | 77 | 4.5921 | 35022.3112 | 1.9937 | 26831.7428 | 1.8105 | 28757.1849 | 0.90046 | 30804.4597 | 4.5921 | 35022.3112 | 77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | 2.832 | 1283078 | 0 | ----- | ----- | ----- | -----
78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 6.089 | 25804 | 0.048 | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 12.243 | 1411 | 0.141 | ----- | ----- | ----- | ----- | 1 |  | 78 | 67.0515 | 321.6559 | 80.9771 | 296.3044 | 67.5019 | 265.8928 | 58.0642 | 187.9029 | 67.0515 | 321.6559 | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 2.929 | 1177676 | 0 | ----- | ----- | ----- | -----
78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 6.089 | 25804 | 0.048 | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 12.243 | 1411 | 0.141 | ----- | ----- | ----- | -----