## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN23may23_001.gcd | 2023-05-23 10:34 | QC outside air | Unknown | 0 | 6.075 | 1656 | -0.004 | ----- | ----- | ----- | ----- | 49 | BRN23may23_001.gcd | 2023-05-23 10:34 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN23may23_001.gcd | 2023-05-23 10:34 | QC outside air | Unknown | 0 | 12.223 | 3463 | 0.714 | ----- | ----- | ----- | ----- | 1 |  | 49 | 6.31 | 817.7823 | 0.16675 | 676.1174 | -0.54303 | 658.0726 | -0.023944 | 611.7961 | 6.31 | 817.7823 | 49 | BRN23may23_001.gcd | 2023-05-23 10:34 | QC outside air | Unknown | 0 | 2.694 | 5477933 | 0 | ----- | ----- | ----- | -----
50 | BRN23may23_002.gcd | 2023-05-23 11:05 | QC spiked air new batch | Unknown | 0 | 6.001 | 1313585 | 2.816 | ----- | ----- | ----- | ----- | 50 | BRN23may23_002.gcd | 2023-05-23 11:05 | QC spiked air new batch | Unknown | 0 | 5.951 | 10250 | 2.603 | ----- | ----- | ----- | ----- | 50 | BRN23may23_002.gcd | 2023-05-23 11:05 | QC spiked air new batch | Unknown | 0 | 12.193 | 5144 | 1.182 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2670.3605 | 1221.3473 | 2506.3201 | 986.8667 | 2912.0914 | 979.2445 | 2757.5389 | 958.8895 | 2670.3605 | 1221.3473 | 50 | BRN23may23_002.gcd | 2023-05-23 11:05 | QC spiked air new batch | Unknown | 0 | 2.708 | 5207904 | 0 | ----- | ----- | ----- | -----
51 | BRN23may23_003.gcd | 2023-05-23 11:35 | QC reference tank reused | Unknown | 0 | 6.024 | 2719 | -0.002 | ----- | ----- | ----- | ----- | 51 | BRN23may23_003.gcd | 2023-05-23 11:35 | QC reference tank reused | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN23may23_003.gcd | 2023-05-23 11:35 | QC reference tank reused | Unknown | 0 | 12.205 | 2775 | 0.522 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.7562 | 651.8677 | 3.141 | 548.8316 | 3.2513 | 526.5968 | 1.5393 | 469.696 | 3.7562 | 651.8677 | 51 | BRN23may23_003.gcd | 2023-05-23 11:35 | QC reference tank reused | Unknown | 0 | 2.709 | 5248387 | 0 | ----- | ----- | ----- | -----
52 | BRN23may23_004.gcd | 2023-05-23 12:06 | 168 | Unknown | 0 | 5.982 | 4176534 | 9.02 | ----- | ----- | ----- | ----- | 52 | BRN23may23_004.gcd | 2023-05-23 12:06 | 168 | Unknown | 0 | 5.936 | 32765 | 8.373 | ----- | ----- | ----- | ----- | 52 | BRN23may23_004.gcd | 2023-05-23 12:06 | 168 | Unknown | 0 | 12.101 | 55218 | 14.703 | ----- | ----- | ----- | ----- | 1 |  | 52 | 7932.128 | 11775.7934 | 6785.1001 | 10080.8597 | 8665.4999 | 10504.2464 | 8302.2262 | 11232.0494 | 7932.128 | 11775.7934 | 52 | BRN23may23_004.gcd | 2023-05-23 12:06 | 168 | Unknown | 0 | 2.832 | 1179721 | 0 | ----- | ----- | ----- | -----
53 | BRN23may23_005.gcd | 2023-05-23 12:36 | 150 | Unknown | 0 | 6.008 | 34485 | 0.066 | ----- | ----- | ----- | ----- | 53 | BRN23may23_005.gcd | 2023-05-23 12:36 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN23may23_005.gcd | 2023-05-23 12:36 | 150 | Unknown | 0 | 12.163 | 473 | -0.121 | ----- | ----- | ----- | ----- | 1 |  | 53 | 92.6425 | 93.59 | 107.8169 | 122.5102 | 90.3131 | 86.576 | 78.405 | -5.9366 | 92.6425 | 93.59 | 53 | BRN23may23_005.gcd | 2023-05-23 12:36 | 150 | Unknown | 0 | 2.851 | 1115220 | 0 | ----- | ----- | ----- | -----
54 | BRN23may23_006.gcd | 2023-05-23 13:07 | 82 | Unknown | 0 | 6.012 | 32528 | 0.062 | ----- | ----- | ----- | ----- | 54 | BRN23may23_006.gcd | 2023-05-23 13:07 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN23may23_006.gcd | 2023-05-23 13:07 | 82 | Unknown | 0 | 12.185 | 3382 | 0.691 | ----- | ----- | ----- | ----- | 1 |  | 54 | 86.8941 | 798.2712 | 101.7771 | 661.1348 | 85.1723 | 642.5944 | 73.8205 | 595.0675 | 86.8941 | 798.2712 | 54 | BRN23may23_006.gcd | 2023-05-23 13:07 | 82 | Unknown | 0 | 2.781 | 2848317 | 0 | ----- | ----- | ----- | -----
55 | BRN23may23_007.gcd | 2023-05-23 13:38 | 259 | Unknown | 0 | 5.998 | 33549 | 0.064 | ----- | ----- | ----- | ----- | 55 | BRN23may23_007.gcd | 2023-05-23 13:38 | 259 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN23may23_007.gcd | 2023-05-23 13:38 | 259 | Unknown | 0 | 12.164 | 2952 | 0.571 | ----- | ----- | ----- | ----- | 1 |  | 55 | 89.8946 | 694.5934 | 104.9289 | 581.5838 | 87.8544 | 560.4227 | 76.2124 | 506.256 | 89.8946 | 694.5934 | 55 | BRN23may23_007.gcd | 2023-05-23 13:38 | 259 | Unknown | 0 | 2.854 | 839221 | 0 | ----- | ----- | ----- | -----
56 | BRN23may23_008.gcd | 2023-05-23 14:08 | 106 | Unknown | 0 | 6.016 | 7874 | 0.009 | ----- | ----- | ----- | ----- | 56 | BRN23may23_008.gcd | 2023-05-23 14:08 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN23may23_008.gcd | 2023-05-23 14:08 | 106 | Unknown | 0 | 12.128 | 48106 | 12.829 | ----- | ----- | ----- | ----- | 1 |  | 56 | 8.6803 | 10044.2059 | 18.2457 | 8808.4209 | 19.7944 | 9156.3805 | 13.7776 | 9780.7521 | 8.6803 | 10044.2059 | 56 | BRN23may23_008.gcd | 2023-05-23 14:08 | 106 | Unknown | 0 | 2.869 | 817285 | 0 | ----- | ----- | ----- | -----
57 | BRN23may23_009.gcd | 2023-05-23 14:39 | 205 | Unknown | 0 | 5.997 | 227232 | 0.48 | ----- | ----- | ----- | ----- | 57 | BRN23may23_009.gcd | 2023-05-23 14:39 | 205 | Unknown | 0 | 5.937 | 1199 | 0.275 | ----- | ----- | ----- | ----- | 57 | BRN23may23_009.gcd | 2023-05-23 14:39 | 205 | Unknown | 0 | 12.161 | 4871 | 1.106 | ----- | ----- | ----- | ----- | 1 |  | 57 | 593.9697 | 1155.9823 | 672.0619 | 936.4241 | 592.1026 | 927.0914 | 526.9121 | 902.5302 | 593.9697 | 1155.9823 | 57 | BRN23may23_009.gcd | 2023-05-23 14:39 | 205 | Unknown | 0 | 2.862 | 706562 | 0 | ----- | ----- | ----- | -----
58 | BRN23may23_010.gcd | 2023-05-23 15:09 | 349 | Unknown | 0 | 6.016 | 6502 | 0.006 | ----- | ----- | ----- | ----- | 58 | BRN23may23_010.gcd | 2023-05-23 15:09 | 349 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN23may23_010.gcd | 2023-05-23 15:09 | 349 | Unknown | 0 | 12.118 | 53468 | 14.243 | ----- | ----- | ----- | ----- | 1 |  | 58 | 4.567 | 11350.0976 | 14.1153 | 9768.3486 | 15.6923 | 10172.7391 | 9.7662 | 10875.1783 | 4.567 | 11350.0976 | 58 | BRN23may23_010.gcd | 2023-05-23 15:09 | 349 | Unknown | 0 | 2.864 | 903185 | 0 | ----- | ----- | ----- | -----
59 | BRN23may23_011.gcd | 2023-05-23 15:40 | 128 | Unknown | 0 | 6.019 | 9715 | 0.013 | ----- | ----- | ----- | ----- | 59 | BRN23may23_011.gcd | 2023-05-23 15:40 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN23may23_011.gcd | 2023-05-23 15:40 | 128 | Unknown | 0 | 12.147 | 27016 | 7.183 | ----- | ----- | ----- | ----- | 1 |  | 59 | 17.3939 | 6237.2929 | 23.9137 | 4997.7828 | 24.9561 | 5149.7336 | 20.0196 | 5461.8811 | 17.3939 | 6237.2929 | 59 | BRN23may23_011.gcd | 2023-05-23 15:40 | 128 | Unknown | 0 | 2.856 | 1106976 | 0 | ----- | ----- | ----- | -----
60 | BRN23may23_012.gcd | 2023-05-23 16:10 | 238 | Unknown | 0 | 6.017 | 5885 | 0.005 | ----- | ----- | ----- | ----- | 60 | BRN23may23_012.gcd | 2023-05-23 16:10 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN23may23_012.gcd | 2023-05-23 16:10 | 238 | Unknown | 0 | 12.12 | 56800 | 15.118 | ----- | ----- | ----- | ----- | 1 |  | 60 | 3.3799 | 12160.4068 | 12.2839 | 10363.0389 | 13.7764 | 10803.8433 | 8.1406 | 11554.5264 | 3.3799 | 12160.4068 | 60 | BRN23may23_012.gcd | 2023-05-23 16:10 | 238 | Unknown | 0 | 2.858 | 1055473 | 0 | ----- | ----- | ----- | -----
61 | BRN23may23_013.gcd | 2023-05-23 16:41 | 230 | Unknown | 0 | 6.012 | 5935 | 0.005 | ----- | ----- | ----- | ----- | 61 | BRN23may23_013.gcd | 2023-05-23 16:41 | 230 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN23may23_013.gcd | 2023-05-23 16:41 | 230 | Unknown | 0 | 12.094 | 68532 | 18.173 | ----- | ----- | ----- | ----- | 1 |  | 61 | 3.4608 | 15006.284 | 12.4317 | 12445.855 | 13.9333 | 13023.0931 | 8.2682 | 13942.0063 | 3.4608 | 15006.284 | 61 | BRN23may23_013.gcd | 2023-05-23 16:41 | 230 | Unknown | 0 | 2.824 | 1527712 | 0 | ----- | ----- | ----- | -----
62 | BRN23may23_014.gcd | 2023-05-23 17:12 | 184 | Unknown | 0 | 6.008 | 8569 | 0.011 | ----- | ----- | ----- | ----- | 62 | BRN23may23_014.gcd | 2023-05-23 17:12 | 184 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN23may23_014.gcd | 2023-05-23 17:12 | 184 | Unknown | 0 | 12.106 | 49884 | 13.299 | ----- | ----- | ----- | ----- | 1 |  | 62 | 11.5397 | 10477.4907 | 20.3685 | 9127.1259 | 21.7891 | 9493.5012 | 16.0183 | 10143.8185 | 11.5397 | 10477.4907 | 62 | BRN23may23_014.gcd | 2023-05-23 17:12 | 184 | Unknown | 0 | 2.853 | 905053 | 0 | ----- | ----- | ----- | -----
63 | BRN23may23_015.gcd | 2023-05-23 17:42 | 104 | Unknown | 0 | 6.015 | 35793 | 0.069 | ----- | ----- | ----- | ----- | 63 | BRN23may23_015.gcd | 2023-05-23 17:42 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN23may23_015.gcd | 2023-05-23 17:42 | 104 | Unknown | 0 | 12.195 | 3813 | 0.811 | ----- | ----- | ----- | ----- | 1 |  | 63 | 96.4777 | 902.0208 | 111.8503 | 740.8476 | 93.7486 | 724.9512 | 81.4688 | 684.0761 | 96.4777 | 902.0208 | 63 | BRN23may23_015.gcd | 2023-05-23 17:42 | 104 | Unknown | 0 | 2.874 | 760086 | 0 | ----- | ----- | ----- | -----
64 | BRN23may23_016.gcd | 2023-05-23 18:13 | 76 | Unknown | 0 | 6.015 | 36209 | 0.07 | ----- | ----- | ----- | ----- | 64 | BRN23may23_016.gcd | 2023-05-23 18:13 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN23may23_016.gcd | 2023-05-23 18:13 | 76 | Unknown | 0 | 12.191 | 1029 | 0.035 | ----- | ----- | ----- | ----- | 1 |  | 64 | 97.6964 | 228.8731 | 113.1326 | 225.5401 | 94.8411 | 192.8696 | 82.4431 | 108.9673 | 97.6964 | 228.8731 | 64 | BRN23may23_016.gcd | 2023-05-23 18:13 | 76 | Unknown | 0 | 2.811 | 2111175 | 0 | ----- | ----- | ----- | -----
65 | BRN23may23_017.gcd | 2023-05-23 18:43 | 300 | Unknown | 0 | 6.018 | 5576 | 0.004 | ----- | ----- | ----- | ----- | 65 | BRN23may23_017.gcd | 2023-05-23 18:43 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN23may23_017.gcd | 2023-05-23 18:43 | 300 | Unknown | 0 | 12.107 | 62245 | 16.541 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.9399 | 13482.6219 | 11.3728 | 11331.8544 | 12.8003 | 11834.3876 | 7.368 | 12663.4658 | 2.9399 | 13482.6219 | 65 | BRN23may23_017.gcd | 2023-05-23 18:43 | 300 | Unknown | 0 | 2.826 | 1728778 | 0 | ----- | ----- | ----- | -----
66 | BRN23may23_018.gcd | 2023-05-23 19:14 | 167 | Unknown | 0 | 6.019 | 5902 | 0.005 | ----- | ----- | ----- | ----- | 66 | BRN23may23_018.gcd | 2023-05-23 19:14 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN23may23_018.gcd | 2023-05-23 19:14 | 167 | Unknown | 0 | 12.114 | 63024 | 16.744 | ----- | ----- | ----- | ----- | 1 |  | 66 | 3.4071 | 13671.589 | 12.3341 | 11470.1556 | 13.8297 | 11981.7457 | 8.1839 | 12821.9947 | 3.4071 | 13671.589 | 66 | BRN23may23_018.gcd | 2023-05-23 19:14 | 167 | Unknown | 0 | 2.823 | 1755548 | 0 | ----- | ----- | ----- | -----
67 | BRN23may23_019.gcd | 2023-05-23 19:45 | 410 | Unknown | 0 | 6.015 | 34104 | 0.066 | ----- | ----- | ----- | ----- | 67 | BRN23may23_019.gcd | 2023-05-23 19:45 | 410 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN23may23_019.gcd | 2023-05-23 19:45 | 410 | Unknown | 0 | 12.163 | 16067 | 4.198 | ----- | ----- | ----- | ----- | 1 |  | 67 | 91.5243 | 3780.8865 | 106.6416 | 2997.4478 | 89.3123 | 3063.9549 | 77.5125 | 3210.761 | 91.5243 | 3780.8865 | 67 | BRN23may23_019.gcd | 2023-05-23 19:45 | 410 | Unknown | 0 | 2.872 | 789956 | 0 | ----- | ----- | ----- | -----
68 | BRN23may23_020.gcd | 2023-05-23 20:15 | 282 | Unknown | 0 | 6.013 | 60902 | 0.123 | ----- | ----- | ----- | ----- | 68 | BRN23may23_020.gcd | 2023-05-23 20:15 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN23may23_020.gcd | 2023-05-23 20:15 | 282 | Unknown | 0 | 12.174 | 8719 | 2.173 | ----- | ----- | ----- | ----- | 1 |  | 68 | 169.0556 | 2071.0428 | 188.7361 | 1646.5608 | 159.6172 | 1661.9787 | 140.2292 | 1696.5772 | 169.0556 | 2071.0428 | 68 | BRN23may23_020.gcd | 2023-05-23 20:15 | 282 | Unknown | 0 | 2.871 | 801799 | 0 | ----- | ----- | ----- | -----
69 | BRN23may23_021.gcd | 2023-05-23 20:46 | 160 | Unknown | 0 | 6.012 | 36643 | 0.071 | ----- | ----- | ----- | ----- | 69 | BRN23may23_021.gcd | 2023-05-23 20:46 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN23may23_021.gcd | 2023-05-23 20:46 | 160 | Unknown | 0 | 12.159 | 16497 | 4.316 | ----- | ----- | ----- | ----- | 1 |  | 69 | 98.9672 | 3879.4199 | 114.4699 | 3076.2909 | 95.9809 | 3145.9432 | 83.4596 | 3299.2846 | 98.9672 | 3879.4199 | 69 | BRN23may23_021.gcd | 2023-05-23 20:46 | 160 | Unknown | 0 | 2.871 | 765347 | 0 | ----- | ----- | ----- | -----
70 | BRN23may23_022.gcd | 2023-05-23 21:16 | 357 | Unknown | 0 | 6.013 | 38582 | 0.075 | ----- | ----- | ----- | ----- | 70 | BRN23may23_022.gcd | 2023-05-23 21:16 | 357 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN23may23_022.gcd | 2023-05-23 21:16 | 357 | Unknown | 0 | 12.184 | 4008 | 0.865 | ----- | ----- | ----- | ----- | 1 |  | 70 | 104.6375 | 948.9052 | 120.4413 | 776.9049 | 101.0725 | 762.2104 | 88.0006 | 724.3436 | 104.6375 | 948.9052 | 70 | BRN23may23_022.gcd | 2023-05-23 21:16 | 357 | Unknown | 0 | 2.871 | 766617 | 0 | ----- | ----- | ----- | -----
71 | BRN23may23_023.gcd | 2023-05-23 21:47 | 374 | Unknown | 0 | 6 | 51202 | 0.102 | ----- | ----- | ----- | ----- | 71 | BRN23may23_023.gcd | 2023-05-23 21:47 | 374 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN23may23_023.gcd | 2023-05-23 21:47 | 374 | Unknown | 0 | 12.152 | 630 | -0.077 | ----- | ----- | ----- | ----- | 1 |  | 71 | 141.2534 | 131.819 | 159.1559 | 151.6071 | 134.1892 | 116.5915 | 117.5411 | 26.5109 | 141.2534 | 131.819 | 71 | BRN23may23_023.gcd | 2023-05-23 21:47 | 374 | Unknown | 0 | 2.851 | 924808 | 0 | ----- | ----- | ----- | -----
72 | BRN23may23_024.gcd | 2023-05-23 22:18 | 89 | Unknown | 0 | 5.999 | 110963 | 0.231 | ----- | ----- | ----- | ----- | 72 | BRN23may23_024.gcd | 2023-05-23 22:18 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN23may23_024.gcd | 2023-05-23 22:18 | 89 | Unknown | 0 | 12.056 | 93404 | 24.529 | ----- | ----- | ----- | ----- | 1 |  | 72 | 307.8231 | 21002.3466 | 338.9553 | 16804.3068 | 290.4878 | 17713.1296 | 257.0795 | 18980.2625 | 307.8231 | 21002.3466 | 72 | BRN23may23_024.gcd | 2023-05-23 22:18 | 89 | Unknown | 0 | 2.847 | 989047 | 0 | ----- | ----- | ----- | -----
73 | BRN23may23_025.gcd | 2023-05-23 22:48 | 339 | Unknown | 0 | 6.012 | 65466 | 0.133 | ----- | ----- | ----- | ----- | 73 | BRN23may23_025.gcd | 2023-05-23 22:48 | 339 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN23may23_025.gcd | 2023-05-23 22:48 | 339 | Unknown | 0 | 12.163 | 9956 | 2.515 | ----- | ----- | ----- | ----- | 1 |  | 73 | 182.0343 | 2362.3345 | 202.6008 | 1874.4505 | 171.5737 | 1898.1175 | 150.899 | 1951.6756 | 182.0343 | 2362.3345 | 73 | BRN23may23_025.gcd | 2023-05-23 22:48 | 339 | Unknown | 0 | 2.849 | 1184419 | 0 | ----- | ----- | ----- | -----
74 | BRN23may23_026.gcd | 2023-05-23 23:19 | 147 | Unknown | 0 | 6.011 | 99573 | 0.206 | ----- | ----- | ----- | ----- | 74 | BRN23may23_026.gcd | 2023-05-23 23:19 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN23may23_026.gcd | 2023-05-23 23:19 | 147 | Unknown | 0 | 12.08 | 87571 | 23.053 | ----- | ----- | ----- | ----- | 1 |  | 74 | 276.945 | 19600.6877 | 305.1365 | 15789.1304 | 260.7651 | 16615.0245 | 230.5289 | 17801.521 | 276.945 | 19600.6877 | 74 | BRN23may23_026.gcd | 2023-05-23 23:19 | 147 | Unknown | 0 | 2.867 | 847235 | 0 | ----- | ----- | ----- | -----
75 | BRN23may23_027.gcd | 2023-05-23 23:50 | 396 | Unknown | 0 | 6.015 | 5146 | 0.004 | ----- | ----- | ----- | ----- | 75 | BRN23may23_027.gcd | 2023-05-23 23:50 | 396 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN23may23_027.gcd | 2023-05-23 23:50 | 396 | Unknown | 0 | 12.107 | 65393 | 17.36 | ----- | ----- | ----- | ----- | 1 |  | 75 | 2.4992 | 14245.9477 | 10.1117 | 11890.2723 | 11.4236 | 12429.7519 | 6.3391 | 13303.9033 | 2.4992 | 14245.9477 | 75 | BRN23may23_027.gcd | 2023-05-23 23:50 | 396 | Unknown | 0 | 2.84 | 1373247 | 0 | ----- | ----- | ----- | -----
76 | BRN23may23_028.gcd | 2023-05-24 00:20 | 378 | Unknown | 0 | 6.016 | 35456 | 0.069 | ----- | ----- | ----- | ----- | 76 | BRN23may23_028.gcd | 2023-05-24 00:20 | 378 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN23may23_028.gcd | 2023-05-24 00:20 | 378 | Unknown | 0 | 12.204 | 838 | -0.019 | ----- | ----- | ----- | ----- | 1 |  | 76 | 95.4901 | 182.4317 | 110.8114 | 190.1511 | 92.8635 | 156.3562 | 80.6794 | 69.4967 | 95.4901 | 182.4317 | 76 | BRN23may23_028.gcd | 2023-05-24 00:20 | 378 | Unknown | 0 | 2.874 | 808922 | 0 | ----- | ----- | ----- | -----
77 | BRN23may23_029.gcd | 2023-05-24 00:51 | 294 | Unknown | 0 | 6.017 | 10239 | 0.014 | ----- | ----- | ----- | ----- | 77 | BRN23may23_029.gcd | 2023-05-24 00:51 | 294 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN23may23_029.gcd | 2023-05-24 00:51 | 294 | Unknown | 0 | 12.15 | 26322 | 6.995 | ----- | ----- | ----- | ----- | 1 |  | 77 | 20.5719 | 6084.8402 | 25.5533 | 4871.4388 | 26.556 | 5017.6427 | 21.5627 | 5319.3759 | 20.5719 | 6084.8402 | 77 | BRN23may23_029.gcd | 2023-05-24 00:51 | 294 | Unknown | 0 | 2.871 | 820035 | 0 | ----- | ----- | ----- | -----
78 | BRN23may23_030.gcd | 2023-05-24 01:21 | 364 | Unknown | 0 | 5.998 | 4765826 | 10.305 | ----- | ----- | ----- | ----- | 78 | BRN23may23_030.gcd | 2023-05-24 01:21 | 364 | Unknown | 0 | 5.952 | 36210 | 9.253 | ----- | ----- | ----- | ----- | 78 | BRN23may23_030.gcd | 2023-05-24 01:21 | 364 | Unknown | 0 | 12.119 | 50766 | 13.532 | ----- | ----- | ----- | ----- | 1 |  | 78 | 8977.3388 | 10692.3313 | 7440.0862 | 9285.0764 | 9544.0289 | 9660.6961 | 9148.8806 | 10323.8624 | 8977.3388 | 10692.3313 | 78 | BRN23may23_030.gcd | 2023-05-24 01:21 | 364 | Unknown | 0 | 2.877 | 661156 | 0 | ----- | ----- | ----- | -----