## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN27sep23_001.gcd | 2023-09-27 11:58 | QC outside air | Unknown | 0 | 6.08 | 2145 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN27sep23_001.gcd | 2023-09-27 11:58 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN27sep23_001.gcd | 2023-09-27 11:58 | QC outside air | Unknown | 0 | 12.217 | 4272 | 0.939 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.9836 | 1012.3242 | 1.529 | 825.7132 | 1.2187 | 812.6517 | 0.65439 | 778.8567 | 4.9836 | 1012.3242 | 49 | BRN27sep23_001.gcd | 2023-09-27 11:58 | QC outside air | Unknown | 0 | 2.715 | 5684847 | 0 | ----- | ----- | ----- | -----
50 | BRN27sep23_002.gcd | 2023-09-27 12:29 | QC spiked air | Unknown | 0 | 6.015 | 1051122 | 2.251 | ----- | ----- | ----- | ----- | 50 | BRN27sep23_002.gcd | 2023-09-27 12:29 | QC spiked air | Unknown | 0 | 5.97 | 8808 | 2.233 | ----- | ----- | ----- | ----- | 50 | BRN27sep23_002.gcd | 2023-09-27 12:29 | QC spiked air | Unknown | 0 | 12.182 | 12717 | 3.277 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2172.7263 | 3007.4666 | 2232.3941 | 2382.4105 | 2542.9142 | 2425.0028 | 2401.7533 | 2520.7768 | 2172.7263 | 3007.4666 | 50 | BRN27sep23_002.gcd | 2023-09-27 12:29 | QC spiked air | Unknown | 0 | 2.728 | 5078726 | 0 | ----- | ----- | ----- | -----
51 | BRN27sep23_003.gcd | 2023-09-27 13:00 | QC reference tank | Unknown | 0 | 6.044 | 3281 | 0 | ----- | ----- | ----- | ----- | 51 | BRN27sep23_003.gcd | 2023-09-27 13:00 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN27sep23_003.gcd | 2023-09-27 13:00 | QC reference tank | Unknown | 0 | 12.171 | 862 | -0.012 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.8991 | 188.2691 | 4.7329 | 194.5982 | 5.2044 | 160.9443 | 2.4985 | 74.4564 | 2.8991 | 188.2691 | 51 | BRN27sep23_003.gcd | 2023-09-27 13:00 | QC reference tank | Unknown | 0 | 2.724 | 5013260 | 0 | ----- | ----- | ----- | -----
52 | BRN27sep23_004.gcd | 2023-09-27 13:30 | 378 | Unknown | 0 | 5.906 | 27186044 | 61.623 | ----- | ----- | ----- | ----- | 52 | BRN27sep23_004.gcd | 2023-09-27 13:30 | 378 | Unknown | 0 | 5.88 | 271876 | 67.954 | ----- | ----- | ----- | ----- | 52 | BRN27sep23_004.gcd | 2023-09-27 13:30 | 378 | Unknown | 0 | 12.007 | 169335 | 43.01 | ----- | ----- | ----- | ----- | 1 |  | 52 | 67225.8628 | 38994.4989 | 52431.5683 | 29629.6505 | 68511.6011 | 31906.7492 | 65974.8567 | 34166.0753 | 67225.8628 | 38994.4989 | 52 | BRN27sep23_004.gcd | 2023-09-27 13:30 | 378 | Unknown | 0 | 2.889 | 543068 | 0 | ----- | ----- | ----- | -----
53 | BRN27sep23_005.gcd | 2023-09-27 14:01 | 141 | Unknown | 0 | 5.994 | 73272 | 0.15 | ----- | ----- | ----- | ----- | 53 | BRN27sep23_005.gcd | 2023-09-27 14:01 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN27sep23_005.gcd | 2023-09-27 14:01 | 141 | Unknown | 0 | 11.98 | 183180 | 46.245 | ----- | ----- | ----- | ----- | 1 |  | 53 | 204.0801 | 42224.2901 | 226.2355 | 31890.1601 | 192.0115 | 34474.5551 | 169.1403 | 36903.2846 | 204.0801 | 42224.2901 | 53 | BRN27sep23_005.gcd | 2023-09-27 14:01 | 141 | Unknown | 0 | 2.867 | 619718 | 0 | ----- | ----- | ----- | -----
54 | BRN27sep23_006.gcd | 2023-09-27 14:32 | 59 | Unknown | 0 | 5.991 | 392028 | 0.834 | ----- | ----- | ----- | ----- | 54 | BRN27sep23_006.gcd | 2023-09-27 14:32 | 59 | Unknown | 0 | 5.938 | 3599 | 0.893 | ----- | ----- | ----- | ----- | 54 | BRN27sep23_006.gcd | 2023-09-27 14:32 | 59 | Unknown | 0 | 12.128 | 23617 | 6.261 | ----- | ----- | ----- | ----- | 1 |  | 54 | 911.7758 | 5486.4324 | 1106.3917 | 4378.411 | 1014.002 | 4502.6432 | 905.6339 | 4763.6998 | 911.7758 | 5486.4324 | 54 | BRN27sep23_006.gcd | 2023-09-27 14:32 | 59 | Unknown | 0 | 2.854 | 800416 | 0 | ----- | ----- | ----- | -----
55 | BRN27sep23_007.gcd | 2023-09-27 15:02 | 80 | Unknown | 0 | 6.051 | 2207 | -0.003 | ----- | ----- | ----- | ----- | 55 | BRN27sep23_007.gcd | 2023-09-27 15:02 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN27sep23_007.gcd | 2023-09-27 15:02 | 80 | Unknown | 0 | 11.937 | 224322 | 55.643 | ----- | ----- | ----- | ----- | 1 |  | 55 | 4.8339 | 51729.4567 | 1.7024 | 38465.5198 | 1.4401 | 42068.2994 | 0.74536 | 44979.4818 | 4.8339 | 51729.4567 | 55 | BRN27sep23_007.gcd | 2023-09-27 15:02 | 80 | Unknown | 0 | 2.857 | 745655 | 0 | ----- | ----- | ----- | -----
56 | BRN27sep23_008.gcd | 2023-09-27 15:33 | 15 | Unknown | 0 | 5.995 | 297516 | 0.631 | ----- | ----- | ----- | ----- | 56 | BRN27sep23_008.gcd | 2023-09-27 15:33 | 15 | Unknown | 0 | 5.944 | 3074 | 0.758 | ----- | ----- | ----- | ----- | 56 | BRN27sep23_008.gcd | 2023-09-27 15:33 | 15 | Unknown | 0 | 12.135 | 22389 | 5.927 | ----- | ----- | ----- | ----- | 1 |  | 56 | 729.6346 | 5212.568 | 862.7214 | 4154.2861 | 772.842 | 4268.7682 | 688.9685 | 4511.314 | 729.6346 | 5212.568 | 56 | BRN27sep23_008.gcd | 2023-09-27 15:33 | 15 | Unknown | 0 | 2.859 | 776652 | 0 | ----- | ----- | ----- | -----
57 | BRN27sep23_009.gcd | 2023-09-27 16:04 | 22 | Unknown | 0 | 5.983 | 3915178 | 8.451 | ----- | ----- | ----- | ----- | 57 | BRN27sep23_009.gcd | 2023-09-27 16:04 | 22 | Unknown | 0 | 5.937 | 34693 | 8.866 | ----- | ----- | ----- | ----- | 57 | BRN27sep23_009.gcd | 2023-09-27 16:04 | 22 | Unknown | 0 | 12.08 | 67208 | 17.83 | ----- | ----- | ----- | ----- | 1 |  | 57 | 7464.433 | 14685.6798 | 7151.6545 | 12211.6664 | 9157.2289 | 12772.8666 | 8776.1144 | 13672.9219 | 7464.433 | 14685.6798 | 57 | BRN27sep23_009.gcd | 2023-09-27 16:04 | 22 | Unknown | 0 | 2.822 | 1476274 | 0 | ----- | ----- | ----- | -----
58 | BRN27sep23_010.gcd | 2023-09-27 16:34 | 230 | Unknown | 0 | 6.038 | 4565 | 0.002 | ----- | ----- | ----- | ----- | 58 | BRN27sep23_010.gcd | 2023-09-27 16:34 | 230 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN27sep23_010.gcd | 2023-09-27 16:34 | 230 | Unknown | 0 | 12.163 | 14104 | 3.659 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.221 | 3328.9273 | 8.4202 | 2637.2252 | 9.5294 | 2689.5923 | 5.0343 | 2806.5203 | 2.221 | 3328.9273 | 58 | BRN27sep23_010.gcd | 2023-09-27 16:34 | 230 | Unknown | 0 | 2.878 | 817787 | 0 | ----- | ----- | ----- | -----
59 | BRN27sep23_011.gcd | 2023-09-27 17:05 | 150 | Unknown | 0 | 6.08 | 1742 | -0.004 | ----- | ----- | ----- | ----- | 59 | BRN27sep23_011.gcd | 2023-09-27 17:05 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN27sep23_011.gcd | 2023-09-27 17:05 | 150 | Unknown | 0 | 11.954 | 209264 | 52.24 | ----- | ----- | ----- | ----- | 1 |  | 59 | 6.058 | 48266.6237 | 0.40559 | 36083.5881 | -0.23119 | 39295.3703 | 0.090318 | 42033.6117 | 6.058 | 48266.6237 | 59 | BRN27sep23_011.gcd | 2023-09-27 17:05 | 150 | Unknown | 0 | 2.856 | 773361 | 0 | ----- | ----- | ----- | -----
60 | BRN27sep23_012.gcd | 2023-09-27 17:36 | 21 | Unknown | 0 | 6.085 | 1906 | -0.003 | ----- | ----- | ----- | ----- | 60 | BRN27sep23_012.gcd | 2023-09-27 17:36 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN27sep23_012.gcd | 2023-09-27 17:36 | 21 | Unknown | 0 | 11.979 | 202024 | 50.589 | ----- | ----- | ----- | ----- | 1 |  | 60 | 5.5996 | 46595.0646 | 0.86193 | 34928.2039 | 0.36112 | 37959.5001 | 0.31417 | 40613.0953 | 5.5996 | 46595.0646 | 60 | BRN27sep23_012.gcd | 2023-09-27 17:36 | 21 | Unknown | 0 | 2.881 | 748018 | 0 | ----- | ----- | ----- | -----
61 | BRN27sep23_013.gcd | 2023-09-27 18:06 | 68 | Unknown | 0 | 6.037 | 3608 | 0 | ----- | ----- | ----- | ----- | 61 | BRN27sep23_013.gcd | 2023-09-27 18:06 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN27sep23_013.gcd | 2023-09-27 18:06 | 68 | Unknown | 0 | 12.161 | 14683 | 3.818 | ----- | ----- | ----- | ----- | 1 |  | 61 | 2.5574 | 3462.6012 | 5.6653 | 2743.5256 | 6.324 | 2800.0261 | 3.0988 | 2925.7742 | 2.5574 | 3462.6012 | 61 | BRN27sep23_013.gcd | 2023-09-27 18:06 | 68 | Unknown | 0 | 2.878 | 777799 | 0 | ----- | ----- | ----- | -----
62 | BRN27sep23_014.gcd | 2023-09-27 18:37 | 414 | Unknown | 0 | 6.065 | 1823 | -0.004 | ----- | ----- | ----- | ----- | 62 | BRN27sep23_014.gcd | 2023-09-27 18:37 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN27sep23_014.gcd | 2023-09-27 18:37 | 414 | Unknown | 0 | 11.938 | 222309 | 55.19 | ----- | ----- | ----- | ----- | 1 |  | 62 | 5.828 | 51267.6085 | 0.63084 | 38148.7441 | 0.061742 | 41698.0326 | 0.1999 | 44586.3389 | 5.828 | 51267.6085 | 62 | BRN27sep23_014.gcd | 2023-09-27 18:37 | 414 | Unknown | 0 | 2.854 | 801802 | 0 | ----- | ----- | ----- | -----
63 | BRN27sep23_015.gcd | 2023-09-27 19:08 | 257 | Unknown | 0 | 5.993 | 71538 | 0.146 | ----- | ----- | ----- | ----- | 63 | BRN27sep23_015.gcd | 2023-09-27 19:08 | 257 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN27sep23_015.gcd | 2023-09-27 19:08 | 257 | Unknown | 0 | 11.952 | 204751 | 51.212 | ----- | ----- | ----- | ----- | 1 |  | 63 | 199.1995 | 47225.1731 | 220.994 | 35364.1604 | 187.4728 | 38462.8657 | 165.089 | 41148.4575 | 199.1995 | 47225.1731 | 63 | BRN27sep23_015.gcd | 2023-09-27 19:08 | 257 | Unknown | 0 | 2.855 | 757313 | 0 | ----- | ----- | ----- | -----
64 | BRN27sep23_016.gcd | 2023-09-27 19:38 | 321 | Unknown | 0 | 6.036 | 2633 | -0.002 | ----- | ----- | ----- | ----- | 64 | BRN27sep23_016.gcd | 2023-09-27 19:38 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN27sep23_016.gcd | 2023-09-27 19:38 | 321 | Unknown | 0 | 12.141 | 38617 | 10.305 | ----- | ----- | ----- | ----- | 1 |  | 64 | 3.9174 | 8720.6585 | 2.8986 | 7100.8146 | 2.9492 | 7355.4643 | 1.4006 | 7840.3766 | 3.9174 | 8720.6585 | 64 | BRN27sep23_016.gcd | 2023-09-27 19:38 | 321 | Unknown | 0 | 2.883 | 712411 | 0 | ----- | ----- | ----- | -----
65 | BRN27sep23_017.gcd | 2023-09-27 20:09 | 153 | Unknown | 0 | 6.033 | 3576 | 0 | ----- | ----- | ----- | ----- | 65 | BRN27sep23_017.gcd | 2023-09-27 20:09 | 153 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN27sep23_017.gcd | 2023-09-27 20:09 | 153 | Unknown | 0 | 12.157 | 15210 | 3.963 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.5858 | 3584.004 | 5.5738 | 2840.2425 | 6.215 | 2900.5323 | 3.0387 | 3034.3031 | 2.5858 | 3584.004 | 65 | BRN27sep23_017.gcd | 2023-09-27 20:09 | 153 | Unknown | 0 | 2.88 | 765861 | 0 | ----- | ----- | ----- | -----
66 | BRN27sep23_018.gcd | 2023-09-27 20:40 | 289 | Unknown | 0 | 6.022 | 3223 | -0.001 | ----- | ----- | ----- | ----- | 66 | BRN27sep23_018.gcd | 2023-09-27 20:40 | 289 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN27sep23_018.gcd | 2023-09-27 20:40 | 289 | Unknown | 0 | 11.938 | 227410 | 56.335 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.9718 | 52437.3009 | 4.568 | 38950.4741 | 5.0046 | 42636.0431 | 2.3952 | 45582.1723 | 2.9718 | 52437.3009 | 66 | BRN27sep23_018.gcd | 2023-09-27 20:40 | 289 | Unknown | 0 | 2.836 | 1156209 | 0 | ----- | ----- | ----- | -----
67 | BRN27sep23_019.gcd | 2023-09-27 21:10 | 393 | Unknown | 0 | 6.015 | 4474 | 0.002 | ----- | ----- | ----- | ----- | 67 | BRN27sep23_019.gcd | 2023-09-27 21:10 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN27sep23_019.gcd | 2023-09-27 21:10 | 393 | Unknown | 0 | 11.942 | 223600 | 55.48 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.2104 | 51563.8443 | 8.1565 | 38351.9608 | 9.2291 | 41935.5114 | 4.8388 | 44838.4976 | 2.2104 | 51563.8443 | 67 | BRN27sep23_019.gcd | 2023-09-27 21:10 | 393 | Unknown | 0 | 2.835 | 1173410 | 0 | ----- | ----- | ----- | -----
68 | BRN27sep23_020.gcd | 2023-09-27 21:41 | 90 | Unknown | 0 | 6.023 | 39700 | 0.078 | ----- | ----- | ----- | ----- | 68 | BRN27sep23_020.gcd | 2023-09-27 21:41 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN27sep23_020.gcd | 2023-09-27 21:41 | 90 | Unknown | 0 | 12.136 | 41509 | 11.077 | ----- | ----- | ----- | ----- | 1 |  | 68 | 107.9016 | 9320.617 | 123.8815 | 7622.4461 | 104.0079 | 7904.6469 | 90.6187 | 8432.2394 | 107.9016 | 9320.617 | 68 | BRN27sep23_020.gcd | 2023-09-27 21:41 | 90 | Unknown | 0 | 2.879 | 902938 | 0 | ----- | ----- | ----- | -----
69 | BRN27sep23_021.gcd | 2023-09-27 22:12 | 148 | Unknown | 0 | 5.994 | 177223 | 0.373 | ----- | ----- | ----- | ----- | 69 | BRN27sep23_021.gcd | 2023-09-27 22:12 | 148 | Unknown | 0 | 5.928 | 1659 | 0.394 | ----- | ----- | ----- | ----- | 69 | BRN27sep23_021.gcd | 2023-09-27 22:12 | 148 | Unknown | 0 | 12.062 | 89638 | 23.577 | ----- | ----- | ----- | ----- | 1 |  | 69 | 479.3392 | 20097.7023 | 531.4924 | 16149.3601 | 462.7743 | 17004.279 | 411.12 | 18219.4221 | 479.3392 | 20097.7023 | 69 | BRN27sep23_021.gcd | 2023-09-27 22:12 | 148 | Unknown | 0 | 2.846 | 955460 | 0 | ----- | ----- | ----- | -----
70 | BRN27sep23_022.gcd | 2023-09-27 22:43 | 319 | Unknown | 0 | 6.023 | 12316 | 0.019 | ----- | ----- | ----- | ----- | 70 | BRN27sep23_022.gcd | 2023-09-27 22:43 | 319 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN27sep23_022.gcd | 2023-09-27 22:43 | 319 | Unknown | 0 | 12.175 | 7278 | 1.774 | ----- | ----- | ----- | ----- | 1 |  | 70 | 26.8184 | 1729.9527 | 32.1671 | 1380.8463 | 32.0232 | 1386.8343 | 26.4358 | 1399.3108 | 26.8184 | 1729.9527 | 70 | BRN27sep23_022.gcd | 2023-09-27 22:43 | 319 | Unknown | 0 | 2.876 | 879544 | 0 | ----- | ----- | ----- | -----
71 | BRN27sep23_023.gcd | 2023-09-27 23:13 | 245 | Unknown | 0 | 6.017 | 155263 | 0.326 | ----- | ----- | ----- | ----- | 71 | BRN27sep23_023.gcd | 2023-09-27 23:13 | 245 | Unknown | 0 | 5.969 | 1561 | 0.369 | ----- | ----- | ----- | ----- | 71 | BRN27sep23_023.gcd | 2023-09-27 23:13 | 245 | Unknown | 0 | 12.097 | 77525 | 20.49 | ----- | ----- | ----- | ----- | 1 |  | 71 | 424.0292 | 17180.1284 | 468.4755 | 14030.7094 | 405.7924 | 14721.1974 | 360.146 | 15767.3391 | 424.0292 | 17180.1284 | 71 | BRN27sep23_023.gcd | 2023-09-27 23:13 | 245 | Unknown | 0 | 2.884 | 737134 | 0 | ----- | ----- | ----- | -----
72 | BRN27sep23_024.gcd | 2023-09-27 23:44 | 293 | Unknown | 0 | 5.858 | 32807552 | 75.326 | ----- | ----- | ----- | ----- | 72 | BRN27sep23_024.gcd | 2023-09-27 23:44 | 293 | Unknown | 0 | 5.834 | 350861 | 87.001 | ----- | ----- | ----- | ----- | 72 | BRN27sep23_024.gcd | 2023-09-27 23:44 | 293 | Unknown | 0 | 11.963 | 199959 | 50.116 | ----- | ----- | ----- | ----- | 1 |  | 72 | 86501.7777 | 46117.515 | 67592.3987 | 34597.4579 | 87776.1743 | 37578.1694 | 84538.8084 | 40207.4438 | 86501.7777 | 46117.515 | 72 | BRN27sep23_024.gcd | 2023-09-27 23:44 | 293 | Unknown | 0 | 2.855 | 732919 | 0 | ----- | ----- | ----- | -----
73 | BRN27sep23_025.gcd | 2023-09-28 00:15 | 299 | Unknown | 0 | 5.996 | 16890 | 0.029 | ----- | ----- | ----- | ----- | 73 | BRN27sep23_025.gcd | 2023-09-28 00:15 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN27sep23_025.gcd | 2023-09-28 00:15 | 299 | Unknown | 0 | 12.144 | 9863 | 2.49 | ----- | ----- | ----- | ----- | 1 |  | 73 | 40.5264 | 2340.4832 | 53.2889 | 1857.324 | 44.0596 | 1880.3658 | 37.1647 | 1932.4995 | 40.5264 | 2340.4832 | 73 | BRN27sep23_025.gcd | 2023-09-28 00:15 | 299 | Unknown | 0 | 2.851 | 869963 | 0 | ----- | ----- | ----- | -----
74 | BRN27sep23_026.gcd | 2023-09-28 00:45 | 106 | Unknown | 0 | 5.994 | 41124 | 0.081 | ----- | ----- | ----- | ----- | 74 | BRN27sep23_026.gcd | 2023-09-28 00:45 | 106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN27sep23_026.gcd | 2023-09-28 00:45 | 106 | Unknown | 0 | 12.139 | 13244 | 3.422 | ----- | ----- | ----- | ----- | 1 |  | 74 | 112.0533 | 3129.8144 | 128.2603 | 2479.2575 | 107.7462 | 2525.5427 | 93.9529 | 2629.3585 | 112.0533 | 3129.8144 | 74 | BRN27sep23_026.gcd | 2023-09-28 00:45 | 106 | Unknown | 0 | 2.848 | 932723 | 0 | ----- | ----- | ----- | -----
75 | BRN27sep23_027.gcd | 2023-09-28 01:16 | 197 | Unknown | 0 | 5.98 | 3720312 | 8.027 | ----- | ----- | ----- | ----- | 75 | BRN27sep23_027.gcd | 2023-09-28 01:16 | 197 | Unknown | 0 | 5.933 | 30188 | 7.714 | ----- | ----- | ----- | ----- | 75 | BRN27sep23_027.gcd | 2023-09-28 01:16 | 197 | Unknown | 0 | 12.074 | 67083 | 17.798 | ----- | ----- | ----- | ----- | 1 |  | 75 | 7114.0679 | 14655.4038 | 6295.1949 | 12189.5451 | 8008.0131 | 12749.2395 | 7668.5935 | 13647.5128 | 7114.0679 | 14655.4038 | 75 | BRN27sep23_027.gcd | 2023-09-28 01:16 | 197 | Unknown | 0 | 2.84 | 1021411 | 0 | ----- | ----- | ----- | -----
76 | BRN27sep23_028.gcd | 2023-09-28 01:47 | 69 | Unknown | 0 | 6.03 | 4897 | 0.003 | ----- | ----- | ----- | ----- | 76 | BRN27sep23_028.gcd | 2023-09-28 01:47 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN27sep23_028.gcd | 2023-09-28 01:47 | 69 | Unknown | 0 | 12.17 | 16712 | 4.375 | ----- | ----- | ----- | ----- | 1 |  | 76 | 2.3353 | 3928.6234 | 9.385 | 3115.7037 | 10.6166 | 3186.9351 | 5.7679 | 3343.5429 | 2.3353 | 3928.6234 | 76 | BRN27sep23_028.gcd | 2023-09-28 01:47 | 69 | Unknown | 0 | 2.879 | 827199 | 0 | ----- | ----- | ----- | -----
77 | BRN27sep23_029.gcd | 2023-09-28 02:17 | 391 | Unknown | 0 | 6.023 | 30244 | 0.057 | ----- | ----- | ----- | ----- | 77 | BRN27sep23_029.gcd | 2023-09-28 02:17 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN27sep23_029.gcd | 2023-09-28 02:17 | 391 | Unknown | 0 | 12.173 | 12567 | 3.236 | ----- | ----- | ----- | ----- | 1 |  | 77 | 80.17 | 2972.5964 | 94.72 | 2354.8386 | 79.1713 | 2396.3845 | 68.4692 | 2489.8685 | 80.17 | 2972.5964 | 77 | BRN27sep23_029.gcd | 2023-09-28 02:17 | 391 | Unknown | 0 | 2.881 | 842277 | 0 | ----- | ----- | ----- | -----
78 | KXPR27sep23_040.gcd | 2023-09-28 07:55 | K423 | Unknown | 0 | 6.037 | 2773 | -0.002 | ----- | ----- | ----- | ----- | 78 | KXPR27sep23_040.gcd | 2023-09-28 07:55 | K423 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | KXPR27sep23_040.gcd | 2023-09-28 07:55 | K423 | Unknown | 0 | 12.171 | 17966 | 4.719 | ----- | ----- | ----- | ----- | 1 |  | 78 | 3.659 | 4214.7653 | 3.2934 | 3345.4657 | 3.4406 | 3425.9928 | 1.6275 | 3601.6349 | 3.659 | 4214.7653 | 78 | KXPR27sep23_040.gcd | 2023-09-28 07:55 | K423 | Unknown | 0 | 2.735 | 4885485 | 0 | ----- | ----- | ----- | -----
79 | KXPR27sep23_041.gcd | 2023-09-28 02:48 | K426 | Unknown | 0 | 6.021 | 3537 | 0 | ----- | ----- | ----- | ----- | 79 | KXPR27sep23_041.gcd | 2023-09-28 02:48 | K426 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | KXPR27sep23_041.gcd | 2023-09-28 02:48 | K426 | Unknown | 0 | 12.168 | 5959 | 1.408 | ----- | ----- | ----- | ----- | 1 |  | 79 | 2.6218 | 1416.08 | 5.4624 | 1137.3997 | 6.082 | 1134.9254 | 2.9658 | 1127.1191 | 2.6218 | 1416.08 | 79 | KXPR27sep23_041.gcd | 2023-09-28 02:48 | K426 | Unknown | 0 | 2.697 | 5141826 | 0 | ----- | ----- | ----- | -----
80 | KXPR27sep23_042.gcd | 2023-09-28 03:19 | K418 | Unknown | 0 | 5.998 | 15883 | 0.027 | ----- | ----- | ----- | ----- | 80 | KXPR27sep23_042.gcd | 2023-09-28 03:19 | K418 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | KXPR27sep23_042.gcd | 2023-09-28 03:19 | K418 | Unknown | 0 | 12.141 | 5142 | 1.181 | ----- | ----- | ----- | ----- | 1 |  | 80 | 37.5141 | 1220.8686 | 50.1528 | 986.4972 | 41.4101 | 978.8625 | 34.803 | 958.4766 | 37.5141 | 1220.8686 | 80 | KXPR27sep23_042.gcd | 2023-09-28 03:19 | K418 | Unknown | 0 | 2.699 | 5084693 | 0 | ----- | ----- | ----- | -----
81 | KXPR27sep23_043.gcd | 2023-09-28 03:49 | K421 | Unknown | 0 | 6.002 | 7457 | 0.009 | ----- | ----- | ----- | ----- | 81 | KXPR27sep23_043.gcd | 2023-09-28 03:49 | K421 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | KXPR27sep23_043.gcd | 2023-09-28 03:49 | K421 | Unknown | 0 | 12.131 | 5646 | 1.321 | ----- | ----- | ----- | ----- | 1 |  | 81 | 7.2151 | 1341.3648 | 16.9818 | 1079.5975 | 18.5707 | 1075.1389 | 12.5005 | 1062.5147 | 7.2151 | 1341.3648 | 81 | KXPR27sep23_043.gcd | 2023-09-28 03:49 | K421 | Unknown | 0 | 2.699 | 5066901 | 0 | ----- | ----- | ----- | -----
82 | KXPR27sep23_044.gcd | 2023-09-28 04:20 | K420 | Unknown | 0 | 6.003 | 7522 | 0.009 | ----- | ----- | ----- | ----- | 82 | KXPR27sep23_044.gcd | 2023-09-28 04:20 | K420 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | KXPR27sep23_044.gcd | 2023-09-28 04:20 | K420 | Unknown | 0 | 12.133 | 7737 | 1.901 | ----- | ----- | ----- | ----- | 1 |  | 82 | 7.4311 | 1838.8053 | 17.1783 | 1465.5123 | 18.7628 | 1474.4831 | 12.6963 | 1494.0102 | 7.4311 | 1838.8053 | 82 | KXPR27sep23_044.gcd | 2023-09-28 04:20 | K420 | Unknown | 0 | 2.7 | 5042140 | 0 | ----- | ----- | ----- | -----
83 | KXPR27sep23_045.gcd | 2023-09-28 04:51 | K105 | Unknown | 0 | 6.063 | 2355 | -0.002 | ----- | ----- | ----- | ----- | 83 | KXPR27sep23_045.gcd | 2023-09-28 04:51 | K105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | KXPR27sep23_045.gcd | 2023-09-28 04:51 | K105 | Unknown | 0 | 12.197 | 5014 | 1.145 | ----- | ----- | ----- | ----- | 1 |  | 83 | 4.4933 | 1190.2296 | 2.1171 | 962.8475 | 1.9668 | 954.41 | 0.96703 | 932.0522 | 4.4933 | 1190.2296 | 83 | KXPR27sep23_045.gcd | 2023-09-28 04:51 | K105 | Unknown | 0 | 2.735 | 4699953 | 0 | ----- | ----- | ----- | -----
84 | KXPR27sep23_046.gcd | 2023-09-28 05:22 | K293 | Unknown | 0 | 6.05 | 1878 | -0.003 | ----- | ----- | ----- | ----- | 84 | KXPR27sep23_046.gcd | 2023-09-28 05:22 | K293 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | KXPR27sep23_046.gcd | 2023-09-28 05:22 | K293 | Unknown | 0 | 12.166 | 4347 | 0.96 | ----- | ----- | ----- | ----- | 1 |  | 84 | 5.6758 | 1030.3293 | 0.78394 | 839.5777 | 0.26021 | 826.9811 | 0.2754 | 794.3427 | 5.6758 | 1030.3293 | 84 | KXPR27sep23_046.gcd | 2023-09-28 05:22 | K293 | Unknown | 0 | 2.694 | 5259764 | 0 | ----- | ----- | ----- | -----
85 | KXPR27sep23_047.gcd | 2023-09-28 05:52 | K234 | Unknown | 0 | 6.062 | 1813 | -0.004 | ----- | ----- | ----- | ----- | 85 | KXPR27sep23_047.gcd | 2023-09-28 05:52 | K234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | KXPR27sep23_047.gcd | 2023-09-28 05:52 | K234 | Unknown | 0 | 12.181 | 1767 | 0.241 | ----- | ----- | ----- | ----- | 1 |  | 85 | 5.856 | 408.0039 | 0.60301 | 362.2358 | 0.025619 | 333.9416 | 0.18627 | 261.4592 | 5.856 | 408.0039 | 85 | KXPR27sep23_047.gcd | 2023-09-28 05:52 | K234 | Unknown | 0 | 2.694 | 5249913 | 0 | ----- | ----- | ----- | -----
86 | KXPR27sep23_048.gcd | 2023-09-28 06:23 | K428 | Unknown | 0 | 6.048 | 2320 | -0.002 | ----- | ----- | ----- | ----- | 86 | KXPR27sep23_048.gcd | 2023-09-28 06:23 | K428 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | KXPR27sep23_048.gcd | 2023-09-28 06:23 | K428 | Unknown | 0 | 12.196 | 7340 | 1.791 | ----- | ----- | ----- | ----- | 1 |  | 86 | 4.5717 | 1744.6673 | 2.019 | 1392.2842 | 1.8424 | 1398.674 | 0.91403 | 1412.1031 | 4.5717 | 1744.6673 | 86 | KXPR27sep23_048.gcd | 2023-09-28 06:23 | K428 | Unknown | 0 | 2.731 | 5004848 | 0 | ----- | ----- | ----- | -----
87 | KXPR27sep23_049.gcd | 2023-09-28 06:54 | K278 | Unknown | 0 | 6.028 | 2957 | -0.001 | ----- | ----- | ----- | ----- | 87 | KXPR27sep23_049.gcd | 2023-09-28 06:54 | K278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | KXPR27sep23_049.gcd | 2023-09-28 06:54 | K278 | Unknown | 0 | 12.136 | 11094 | 2.83 | ----- | ----- | ----- | ----- | 1 |  | 87 | 3.3516 | 2629.0807 | 3.8135 | 2083.9321 | 4.0829 | 2115.3136 | 1.9343 | 2186.2889 | 3.3516 | 2629.0807 | 87 | KXPR27sep23_049.gcd | 2023-09-28 06:54 | K278 | Unknown | 0 | 2.7 | 5203201 | 0 | ----- | ----- | ----- | -----
88 | KXPR27sep23_050.gcd | 2023-09-28 07:24 | K160 | Unknown | 0 | 6.046 | 3540 | 0 | ----- | ----- | ----- | ----- | 88 | KXPR27sep23_050.gcd | 2023-09-28 07:24 | K160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | KXPR27sep23_050.gcd | 2023-09-28 07:24 | K160 | Unknown | 0 | 12.195 | 5965 | 1.409 | ----- | ----- | ----- | ----- | 1 |  | 88 | 2.619 | 1417.5114 | 5.471 | 1138.5076 | 6.0922 | 1136.0714 | 2.9714 | 1128.3575 | 2.619 | 1417.5114 | 88 | KXPR27sep23_050.gcd | 2023-09-28 07:24 | K160 | Unknown | 0 | 2.735 | 4926066 | 0 | ----- | ----- | ----- | -----