## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN27jun23_001.gcd | 2023-06-27 10:15 | QC outside air old | Unknown | 0 | 6.061 | 1866 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN27jun23_001.gcd | 2023-06-27 10:15 | QC outside air old | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN27jun23_001.gcd | 2023-06-27 10:15 | QC outside air old | Unknown | 0 | 12.206 | 3148 | 0.626 | ----- | ----- | ----- | ----- | 1 |  | 49 | 5.7088 | 741.8721 | 0.75052 | 617.8472 | 0.21694 | 597.8785 | 0.25885 | 546.7387 | 5.7088 | 741.8721 | 49 | BRN27jun23_001.gcd | 2023-06-27 10:15 | QC outside air old | Unknown | 0 | 2.709 | 4936866 | 0 | ----- | ----- | ----- | -----
50 | BRN27jun23_002.gcd | 2023-06-27 10:46 | QC spiked air new batch | Unknown | 0 | 6.033 | 1163145 | 2.492 | ----- | ----- | ----- | ----- | 50 | BRN27jun23_002.gcd | 2023-06-27 10:46 | QC spiked air new batch | Unknown | 0 | 5.988 | 9611 | 2.439 | ----- | ----- | ----- | ----- | 50 | BRN27jun23_002.gcd | 2023-06-27 10:46 | QC spiked air new batch | Unknown | 0 | 12.215 | 5953 | 1.406 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2385.4372 | 1414.6486 | 2384.9323 | 1136.2917 | 2748.5065 | 1133.7794 | 2599.8879 | 1125.8807 | 2385.4372 | 1414.6486 | 50 | BRN27jun23_002.gcd | 2023-06-27 10:46 | QC spiked air new batch | Unknown | 0 | 2.734 | 5512871 | 0 | ----- | ----- | ----- | -----
51 | BRN27jun23_003.gcd | 2023-06-27 11:17 | QC reference tank | Unknown | 0 | 6.035 | 3000 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN27jun23_003.gcd | 2023-06-27 11:17 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN27jun23_003.gcd | 2023-06-27 11:17 | QC reference tank | Unknown | 0 | 12.196 | 1641 | 0.206 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.285 | 377.4558 | 3.9352 | 338.9024 | 4.2325 | 309.8574 | 2.0074 | 235.426 | 3.285 | 377.4558 | 51 | BRN27jun23_003.gcd | 2023-06-27 11:17 | QC reference tank | Unknown | 0 | 2.719 | 5019397 | 0 | ----- | ----- | ----- | -----
52 | BRN27jun23_004.gcd | 2023-06-27 11:47 | 284 compromised w big air bubble | Unknown | 0 | 5.993 | 132526 | 0.277 | ----- | ----- | ----- | ----- | 52 | BRN27jun23_004.gcd | 2023-06-27 11:47 | 284 compromised w big air bubble | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN27jun23_004.gcd | 2023-06-27 11:47 | 284 compromised w big air bubble | Unknown | 0 | 12.065 | 85137 | 22.434 | ----- | ----- | ----- | ----- | 1 |  | 52 | 365.1595 | 19014.9791 | 402.3993 | 15364.2535 | 346.6715 | 16156.4789 | 307.2865 | 17309.1411 | 365.1595 | 19014.9791 | 52 | BRN27jun23_004.gcd | 2023-06-27 11:47 | 284 compromised w big air bubble | Unknown | 0 | 2.813 | 1619575 | 0 | ----- | ----- | ----- | -----
53 | BRN27jun23_005.gcd | 2023-06-27 12:18 | 318 | Unknown | 0 | 6.02 | 2933 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN27jun23_005.gcd | 2023-06-27 12:18 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN27jun23_005.gcd | 2023-06-27 12:18 | 318 | Unknown | 0 | 12.049 | 96720 | 25.364 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.3896 | 21797.9344 | 3.7456 | 17379.5198 | 3.9993 | 18336.8976 | 1.8937 | 19649.5906 | 3.3896 | 21797.9344 | 53 | BRN27jun23_005.gcd | 2023-06-27 12:18 | 318 | Unknown | 0 | 2.85 | 870342 | 0 | ----- | ----- | ----- | -----
54 | BRN27jun23_006.gcd | 2023-06-27 12:48 | 57 | Unknown | 0 | 5.973 | 11794915 | 25.872 | ----- | ----- | ----- | ----- | 54 | BRN27jun23_006.gcd | 2023-06-27 12:48 | 57 | Unknown | 0 | 5.931 | 94404 | 24.023 | ----- | ----- | ----- | ----- | 54 | BRN27jun23_006.gcd | 2023-06-27 12:48 | 57 | Unknown | 0 | 12.111 | 61345 | 16.306 | ----- | ----- | ----- | ----- | 1 |  | 54 | 23004.3837 | 13264.2413 | 18516.0959 | 11171.9764 | 24312.4194 | 11664.1162 | 23381.3116 | 12480.2744 | 23004.3837 | 13264.2413 | 54 | BRN27jun23_006.gcd | 2023-06-27 12:48 | 57 | Unknown | 0 | 2.877 | 682841 | 0 | ----- | ----- | ----- | -----
55 | BRN27jun23_007.gcd | 2023-06-27 13:19 | 389 | Unknown | 0 | 6.019 | 9486 | 0.013 | ----- | ----- | ----- | ----- | 55 | BRN27jun23_007.gcd | 2023-06-27 13:19 | 389 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN27jun23_007.gcd | 2023-06-27 13:19 | 389 | Unknown | 0 | 12.142 | 32536 | 8.674 | ----- | ----- | ----- | ----- | 1 |  | 55 | 16.1107 | 7434.2405 | 23.2008 | 6000.5566 | 24.3354 | 6199.8125 | 19.1896 | 6594.476 | 16.1107 | 7434.2405 | 55 | BRN27jun23_007.gcd | 2023-06-27 13:19 | 389 | Unknown | 0 | 2.871 | 828323 | 0 | ----- | ----- | ----- | -----
56 | BRN27jun23_008.gcd | 2023-06-27 13:50 | 337 | Unknown | 0 | 5.993 | 123655 | 0.258 | ----- | ----- | ----- | ----- | 56 | BRN27jun23_008.gcd | 2023-06-27 13:50 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN27jun23_008.gcd | 2023-06-27 13:50 | 337 | Unknown | 0 | 12.073 | 73250 | 19.391 | ----- | ----- | ----- | ----- | 1 |  | 56 | 341.749 | 16147.5735 | 376.3904 | 13278.5836 | 323.5712 | 13914.298 | 286.6404 | 14900.1458 | 341.749 | 16147.5735 | 56 | BRN27jun23_008.gcd | 2023-06-27 13:50 | 337 | Unknown | 0 | 2.837 | 1128693 | 0 | ----- | ----- | ----- | -----
57 | BRN27jun23_009.gcd | 2023-06-27 14:20 | 94 | Unknown | 0 | 6.057 | 2301 | -0.003 | ----- | ----- | ----- | ----- | 57 | BRN27jun23_009.gcd | 2023-06-27 14:20 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN27jun23_009.gcd | 2023-06-27 14:20 | 94 | Unknown | 0 | 12.074 | 90919 | 23.901 | ----- | ----- | ----- | ----- | 1 |  | 57 | 4.6148 | 20405.5461 | 1.9657 | 16372.3392 | 1.7749 | 17245.4453 | 0.88541 | 18478.3022 | 4.6148 | 20405.5461 | 57 | BRN27jun23_009.gcd | 2023-06-27 14:20 | 94 | Unknown | 0 | 2.869 | 803405 | 0 | ----- | ----- | ----- | -----
58 | BRN27jun23_010.gcd | 2023-06-27 14:51 | 91 | Unknown | 0 | 6.038 | 3241 | -0.001 | ----- | ----- | ----- | ----- | 58 | BRN27jun23_010.gcd | 2023-06-27 14:51 | 91 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN27jun23_010.gcd | 2023-06-27 14:51 | 91 | Unknown | 0 | 12.109 | 61496 | 16.346 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.9488 | 13300.8853 | 4.6191 | 11198.8074 | 5.0666 | 11692.6858 | 2.4272 | 12511.0127 | 2.9488 | 13300.8853 | 58 | BRN27jun23_010.gcd | 2023-06-27 14:51 | 91 | Unknown | 0 | 2.864 | 882359 | 0 | ----- | ----- | ----- | -----
59 | BRN27jun23_011.gcd | 2023-06-27 15:22 | 178 | Unknown | 0 | 6.042 | 22880 | 0.042 | ----- | ----- | ----- | ----- | 59 | BRN27jun23_011.gcd | 2023-06-27 15:22 | 178 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN27jun23_011.gcd | 2023-06-27 15:22 | 178 | Unknown | 0 | 12.25 | 317 | -0.164 | ----- | ----- | ----- | ----- | 1 |  | 59 | 58.3783 | 55.5822 | 71.909 | 93.5955 | 59.8144 | 56.7508 | 51.2101 | -38.1787 | 58.3783 | 55.5822 | 59 | BRN27jun23_011.gcd | 2023-06-27 15:22 | 178 | Unknown | 0 | 2.889 | 1037326 | 0 | ----- | ----- | ----- | -----
60 | BRN27jun23_012.gcd | 2023-06-27 15:52 | 68 | Unknown | 0 | 6.015 | 24484 | 0.045 | ----- | ----- | ----- | ----- | 60 | BRN27jun23_012.gcd | 2023-06-27 15:52 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN27jun23_012.gcd | 2023-06-27 15:52 | 68 | Unknown | 0 | 12.175 | 3503 | 0.725 | ----- | ----- | ----- | ----- | 1 |  | 60 | 63.1395 | 827.4152 | 76.8852 | 683.5159 | 64.0318 | 665.7161 | 54.9702 | 620.0569 | 63.1395 | 827.4152 | 60 | BRN27jun23_012.gcd | 2023-06-27 15:52 | 68 | Unknown | 0 | 2.867 | 891837 | 0 | ----- | ----- | ----- | -----
61 | BRN27jun23_013.gcd | 2023-06-27 16:23 | 152 | Unknown | 0 | 6.015 | 29547 | 0.056 | ----- | ----- | ----- | ----- | 61 | BRN27jun23_013.gcd | 2023-06-27 16:23 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN27jun23_013.gcd | 2023-06-27 16:23 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 61 | 78.1148 | #VALUE! | 92.5648 | #VALUE! | 77.3397 | #VALUE! | 66.836 | #VALUE! | 78.1148 | #VALUE! | 61 | BRN27jun23_013.gcd | 2023-06-27 16:23 | 152 | Unknown | 0 | 2.868 | 884430 | 0 | ----- | ----- | ----- | -----
62 | BRN27jun23_014.gcd | 2023-06-27 16:54 | 122 | Unknown | 0 | 6.012 | 19666 | 0.035 | ----- | ----- | ----- | ----- | 62 | BRN27jun23_014.gcd | 2023-06-27 16:54 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN27jun23_014.gcd | 2023-06-27 16:54 | 122 | Unknown | 0 | 12.168 | 2638 | 0.484 | ----- | ----- | ----- | ----- | 1 |  | 62 | 48.8137 | 618.778 | 61.9254 | 523.4784 | 51.3621 | 500.4144 | 43.6746 | 441.397 | 48.8137 | 618.778 | 62 | BRN27jun23_014.gcd | 2023-06-27 16:54 | 122 | Unknown | 0 | 2.864 | 913538 | 0 | ----- | ----- | ----- | -----
63 | BRN27jun23_015.gcd | 2023-06-27 17:24 | 295 | Unknown | 0 | 6.066 | 2150 | -0.003 | ----- | ----- | ----- | ----- | 63 | BRN27jun23_015.gcd | 2023-06-27 17:24 | 295 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN27jun23_015.gcd | 2023-06-27 17:24 | 295 | Unknown | 0 | 12.078 | 89923 | 23.649 | ----- | ----- | ----- | ----- | 1 |  | 63 | 4.9714 | 20166.2037 | 1.543 | 16198.9868 | 1.2366 | 17057.9389 | 0.66168 | 18277.0257 | 4.9714 | 20166.2037 | 63 | BRN27jun23_015.gcd | 2023-06-27 17:24 | 295 | Unknown | 0 | 2.869 | 860014 | 0 | ----- | ----- | ----- | -----
64 | BRN27jun23_016.gcd | 2023-06-27 17:55 | 233 | Unknown | 0 | 6.001 | 13419 | 0.021 | ----- | ----- | ----- | ----- | 64 | BRN27jun23_016.gcd | 2023-06-27 17:55 | 233 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN27jun23_016.gcd | 2023-06-27 17:55 | 233 | Unknown | 0 | 12.153 | 7971 | 1.966 | ----- | ----- | ----- | ----- | 1 |  | 64 | 30.13 | 1894.2248 | 35.7539 | 1508.6652 | 34.9262 | 1519.1641 | 29.0233 | 1542.2842 | 30.13 | 1894.2248 | 64 | BRN27jun23_016.gcd | 2023-06-27 17:55 | 233 | Unknown | 0 | 2.854 | 818595 | 0 | ----- | ----- | ----- | -----
65 | BRN27jun23_017.gcd | 2023-06-27 18:25 | 267 | Unknown | 0 | 6.015 | 19472 | 0.034 | ----- | ----- | ----- | ----- | 65 | BRN27jun23_017.gcd | 2023-06-27 18:25 | 267 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN27jun23_017.gcd | 2023-06-27 18:25 | 267 | Unknown | 0 | 12.189 | 69 | -0.234 | ----- | ----- | ----- | ----- | 1 |  | 65 | 48.2354 | -4.8862 | 61.3223 | 47.6223 | 50.8518 | 9.3347 | 43.2197 | -89.4378 | 48.2354 | -4.8862 | 65 | BRN27jun23_017.gcd | 2023-06-27 18:25 | 267 | Unknown | 0 | 2.865 | 884854 | 0 | ----- | ----- | ----- | -----
66 | BRN27jun23_018.gcd | 2023-06-27 18:56 | 194 | Unknown | 0 | 5.999 | 20757 | 0.037 | ----- | ----- | ----- | ----- | 66 | BRN27jun23_018.gcd | 2023-06-27 18:56 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN27jun23_018.gcd | 2023-06-27 18:56 | 194 | Unknown | 0 | 12.154 | 3998 | 0.863 | ----- | ----- | ----- | ----- | 1 |  | 66 | 52.0641 | 946.5017 | 65.3163 | 775.0559 | 54.2315 | 760.2997 | 46.2327 | 722.2787 | 52.0641 | 946.5017 | 66 | BRN27jun23_018.gcd | 2023-06-27 18:56 | 194 | Unknown | 0 | 2.845 | 999260 | 0 | ----- | ----- | ----- | -----
67 | BRN27jun23_019.gcd | 2023-06-27 19:27 | 173 | Unknown | 0 | 6.038 | 2898 | -0.001 | ----- | ----- | ----- | ----- | 67 | BRN27jun23_019.gcd | 2023-06-27 19:27 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN27jun23_019.gcd | 2023-06-27 19:27 | 173 | Unknown | 0 | 12.107 | 63104 | 16.765 | ----- | ----- | ----- | ----- | 1 |  | 67 | 3.4462 | 13690.9923 | 3.6466 | 11484.3543 | 3.8774 | 11996.8776 | 1.8348 | 12838.2732 | 3.4462 | 13690.9923 | 67 | BRN27jun23_019.gcd | 2023-06-27 19:27 | 173 | Unknown | 0 | 2.868 | 840684 | 0 | ----- | ----- | ----- | -----
68 | BRN27jun23_020.gcd | 2023-06-27 19:57 | 305 | Unknown | 0 | 6.011 | 223703 | 0.472 | ----- | ----- | ----- | ----- | 68 | BRN27jun23_020.gcd | 2023-06-27 19:57 | 305 | Unknown | 0 | 5.974 | 1805 | 0.432 | ----- | ----- | ----- | ----- | 68 | BRN27jun23_020.gcd | 2023-06-27 19:57 | 305 | Unknown | 0 | 12.172 | 8926 | 2.231 | ----- | ----- | ----- | ----- | 1 |  | 68 | 587.153 | 2119.8849 | 662.2762 | 1684.7093 | 582.9961 | 1701.4977 | 518.7542 | 1739.2709 | 587.153 | 2119.8849 | 68 | BRN27jun23_020.gcd | 2023-06-27 19:57 | 305 | Unknown | 0 | 2.863 | 962817 | 0 | ----- | ----- | ----- | -----
69 | BRN27jun23_021.gcd | 2023-06-27 20:28 | 379 | Unknown | 0 | 6.047 | 2310 | -0.003 | ----- | ----- | ----- | ----- | 69 | BRN27jun23_021.gcd | 2023-06-27 20:28 | 379 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN27jun23_021.gcd | 2023-06-27 20:28 | 379 | Unknown | 0 | 12.054 | 89954 | 23.657 | ----- | ----- | ----- | ----- | 1 |  | 69 | 4.5943 | 20173.6544 | 1.9909 | 16204.3842 | 1.8069 | 17063.7754 | 0.89895 | 18283.2911 | 4.5943 | 20173.6544 | 69 | BRN27jun23_021.gcd | 2023-06-27 20:28 | 379 | Unknown | 0 | 2.845 | 1001748 | 0 | ----- | ----- | ----- | -----
70 | BRN27jun23_022.gcd | 2023-06-27 20:59 | 148 | Unknown | 0 | 5.996 | 34777 | 0.067 | ----- | ----- | ----- | ----- | 70 | BRN27jun23_022.gcd | 2023-06-27 20:59 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN27jun23_022.gcd | 2023-06-27 20:59 | 148 | Unknown | 0 | 12.278 | 121 | -0.219 | ----- | ----- | ----- | ----- | 1 |  | 70 | 93.4991 | 7.7973 | 108.7176 | 57.2625 | 91.0801 | 19.277 | 79.089 | -78.6897 | 93.4991 | 7.7973 | 70 | BRN27jun23_022.gcd | 2023-06-27 20:59 | 148 | Unknown | 0 | 2.842 | 1045018 | 0 | ----- | ----- | ----- | -----
71 | BRN27jun23_023.gcd | 2023-06-27 21:29 | 327 | Unknown | 0 | 5.969 | 12990230 | 28.564 | ----- | ----- | ----- | ----- | 71 | BRN27jun23_023.gcd | 2023-06-27 21:29 | 327 | Unknown | 0 | 5.928 | 104416 | 26.545 | ----- | ----- | ----- | ----- | 71 | BRN27jun23_023.gcd | 2023-06-27 21:29 | 327 | Unknown | 0 | 12.091 | 79144 | 20.905 | ----- | ----- | ----- | ----- | 1 |  | 71 | 25532.65 | 17570.7805 | 20423.9138 | 14314.9506 | 26839.5452 | 15026.6259 | 25816.6993 | 16095.5133 | 25532.65 | 17570.7805 | 71 | BRN27jun23_023.gcd | 2023-06-27 21:29 | 327 | Unknown | 0 | 2.843 | 1293233 | 0 | ----- | ----- | ----- | -----
72 | BRN27jun23_024.gcd | 2023-06-27 22:00 | 198 | Unknown | 0 | 5.999 | 16221 | 0.027 | ----- | ----- | ----- | ----- | 72 | BRN27jun23_024.gcd | 2023-06-27 22:00 | 198 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN27jun23_024.gcd | 2023-06-27 22:00 | 198 | Unknown | 0 | 12.152 | 7008 | 1.699 | ----- | ----- | ----- | ----- | 1 |  | 72 | 38.5256 | 1665.832 | 51.2056 | 1331.0304 | 42.2994 | 1335.273 | 35.5957 | 1343.6003 | 38.5256 | 1665.832 | 72 | BRN27jun23_024.gcd | 2023-06-27 22:00 | 198 | Unknown | 0 | 2.842 | 1008632 | 0 | ----- | ----- | ----- | -----
73 | BRN27jun23_025.gcd | 2023-06-27 22:31 | 356 | Unknown | 0 | 6.016 | 19597 | 0.035 | ----- | ----- | ----- | ----- | 73 | BRN27jun23_025.gcd | 2023-06-27 22:31 | 356 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN27jun23_025.gcd | 2023-06-27 22:31 | 356 | Unknown | 0 | 12.173 | 3199 | 0.64 | ----- | ----- | ----- | ----- | 1 |  | 73 | 48.608 | 754.1685 | 61.7109 | 627.2822 | 51.1806 | 607.6244 | 43.5128 | 557.2721 | 48.608 | 754.1685 | 73 | BRN27jun23_025.gcd | 2023-06-27 22:31 | 356 | Unknown | 0 | 2.869 | 872556 | 0 | ----- | ----- | ----- | -----
74 | BRN27jun23_026.gcd | 2023-06-27 23:02 | 192 | Unknown | 0 | 6.066 | 2062 | -0.003 | ----- | ----- | ----- | ----- | 74 | BRN27jun23_026.gcd | 2023-06-27 23:02 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN27jun23_026.gcd | 2023-06-27 23:02 | 192 | Unknown | 0 | 12.075 | 86606 | 22.807 | ----- | ----- | ----- | ----- | 1 |  | 74 | 5.1906 | 19368.5317 | 1.2971 | 15620.7698 | 0.92163 | 16433.2495 | 0.53436 | 17606.3449 | 5.1906 | 19368.5317 | 74 | BRN27jun23_026.gcd | 2023-06-27 23:02 | 192 | Unknown | 0 | 2.867 | 875921 | 0 | ----- | ----- | ----- | -----
75 | BRN27jun23_027.gcd | 2023-06-27 23:32 | 136 | Unknown | 0 | 6.009 | 219841 | 0.464 | ----- | ----- | ----- | ----- | 75 | BRN27jun23_027.gcd | 2023-06-27 23:32 | 136 | Unknown | 0 | 5.967 | 1908 | 0.458 | ----- | ----- | ----- | ----- | 75 | BRN27jun23_027.gcd | 2023-06-27 23:32 | 136 | Unknown | 0 | 12.162 | 8653 | 2.155 | ----- | ----- | ----- | ----- | 1 |  | 75 | 579.6926 | 2055.4618 | 651.5438 | 1634.3963 | 573.0268 | 1649.3781 | 509.8242 | 1682.9643 | 579.6926 | 2055.4618 | 75 | BRN27jun23_027.gcd | 2023-06-27 23:32 | 136 | Unknown | 0 | 2.863 | 935129 | 0 | ----- | ----- | ----- | -----
76 | BRN27jun23_028.gcd | 2023-06-28 00:03 | 201 | Unknown | 0 | 6.05 | 1853 | -0.003 | ----- | ----- | ----- | ----- | 76 | BRN27jun23_028.gcd | 2023-06-28 00:03 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN27jun23_028.gcd | 2023-06-28 00:03 | 201 | Unknown | 0 | 12.085 | 87492 | 23.032 | ----- | ----- | ----- | ----- | 1 |  | 76 | 5.7446 | 19581.685 | 0.71433 | 15775.3519 | 0.17004 | 16600.1445 | 0.24097 | 17785.5446 | 5.7446 | 19581.685 | 76 | BRN27jun23_028.gcd | 2023-06-28 00:03 | 201 | Unknown | 0 | 2.868 | 898900 | 0 | ----- | ----- | ----- | -----
77 | BRN27jun23_029.gcd | 2023-06-28 00:33 | 217 | Unknown | 0 | 6.019 | 9989 | 0.014 | ----- | ----- | ----- | ----- | 77 | BRN27jun23_029.gcd | 2023-06-28 00:33 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN27jun23_029.gcd | 2023-06-28 00:33 | 217 | Unknown | 0 | 12.144 | 29544 | 7.867 | ----- | ----- | ----- | ----- | 1 |  | 77 | 19.0037 | 6788.9101 | 24.7696 | 5457.4989 | 25.6907 | 5630.7623 | 21.0329 | 5980.7697 | 19.0037 | 6788.9101 | 77 | BRN27jun23_029.gcd | 2023-06-28 00:33 | 217 | Unknown | 0 | 2.871 | 824421 | 0 | ----- | ----- | ----- | -----
78 | BRN27jun23_030.gcd | 2023-06-28 01:04 | 216 | Unknown | 0 | 6.043 | 2465 | -0.002 | ----- | ----- | ----- | ----- | 78 | BRN27jun23_030.gcd | 2023-06-28 01:04 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN27jun23_030.gcd | 2023-06-28 01:04 | 216 | Unknown | 0 | 12.073 | 103315 | 27.017 | ----- | ----- | ----- | ----- | 1 |  | 78 | 4.2554 | 23377.5593 | 2.4259 | 18519.4247 | 2.3566 | 19576.4109 | 1.1359 | 20979.1103 | 4.2554 | 23377.5593 | 78 | BRN27jun23_030.gcd | 2023-06-28 01:04 | 216 | Unknown | 0 | 2.865 | 1010655 | 0 | ----- | ----- | ----- | -----
79 | BRN27jun23_031.gcd | 2023-06-28 01:35 | 312 | Unknown | 0 | 6.061 | 7241 | 0.008 | ----- | ----- | ----- | ----- | 79 | BRN27jun23_031.gcd | 2023-06-28 01:35 | 312 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN27jun23_031.gcd | 2023-06-28 01:35 | 312 | Unknown | 0 | 12.118 | 99616 | 26.091 | ----- | ----- | ----- | ----- | 1 |  | 79 | 6.53 | 22492.0183 | 16.3301 | 17880.7479 | 17.9289 | 18881.3676 | 11.8589 | 20233.6834 | 6.53 | 22492.0183 | 79 | BRN27jun23_031.gcd | 2023-06-28 01:35 | 312 | Unknown | 0 | 2.903 | 1128995 | 0 | ----- | ----- | ----- | -----