## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN30aug23_001.gcd | 2023-08-30 10:47 | QC outside air | Unknown | 0 | 6.087 | 2668 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN30aug23_001.gcd | 2023-08-30 10:47 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN30aug23_001.gcd | 2023-08-30 10:47 | QC outside air | Unknown | 0 | 12.221 | 3116 | 0.617 | ----- | ----- | ----- | ----- | 1 |  | 49 | 3.8508 | 734.1555 | 2.9972 | 611.9269 | 3.0723 | 591.7633 | 1.4568 | 540.1294 | 3.8508 | 734.1555 | 49 | BRN30aug23_001.gcd | 2023-08-30 10:47 | QC outside air | Unknown | 0 | 2.695 | 5356028 | 0 | ----- | ----- | ----- | -----
50 | BRN30aug23_002.gcd | 2023-08-30 11:17 | QC spiked air | Unknown | 0 | 5.99 | 1035631 | 2.218 | ----- | ----- | ----- | ----- | 50 | BRN30aug23_002.gcd | 2023-08-30 11:17 | QC spiked air | Unknown | 0 | 5.947 | 8838 | 2.24 | ----- | ----- | ----- | ----- | 50 | BRN30aug23_002.gcd | 2023-08-30 11:17 | QC spiked air | Unknown | 0 | 12.173 | 9106 | 2.28 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2143.2751 | 2162.3245 | 2238.0928 | 1717.8776 | 2550.5955 | 1735.8609 | 2409.156 | 1776.3941 | 2143.2751 | 2162.3245 | 50 | BRN30aug23_002.gcd | 2023-08-30 11:17 | QC spiked air | Unknown | 0 | 2.695 | 5267185 | 0 | ----- | ----- | ----- | -----
51 | BRN30aug23_003.gcd | 2023-08-30 11:48 | QC reference tank | Unknown | 0 | 6.041 | 4067 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN30aug23_003.gcd | 2023-08-30 11:48 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN30aug23_003.gcd | 2023-08-30 11:48 | QC reference tank | Unknown | 0 | 12.203 | 2343 | 0.401 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.2726 | 547.4682 | 6.9817 | 468.8776 | 7.8746 | 444.0343 | 3.9939 | 380.458 | 2.2726 | 547.4682 | 51 | BRN30aug23_003.gcd | 2023-08-30 11:48 | QC reference tank | Unknown | 0 | 2.694 | 5364015 | 0 | ----- | ----- | ----- | -----
52 | BRN30aug23_004.gcd | 2023-08-30 12:19 | 366 problem w headspace prep | Unknown | 0 | 6.021 | 12538 | 0.019 | ----- | ----- | ----- | ----- | 52 | BRN30aug23_004.gcd | 2023-08-30 12:19 | 366 problem w headspace prep | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN30aug23_004.gcd | 2023-08-30 12:19 | 366 problem w headspace prep | Unknown | 0 | 12.177 | 6995 | 1.695 | ----- | ----- | ----- | ----- | 1 |  | 52 | 27.4852 | 1662.743 | 32.8848 | 1328.6317 | 32.6075 | 1332.7904 | 26.9566 | 1340.9178 | 27.4852 | 1662.743 | 52 | BRN30aug23_004.gcd | 2023-08-30 12:19 | 366 problem w headspace prep | Unknown | 0 | 2.851 | 1222517 | 0 | ----- | ----- | ----- | -----
53 | BRN30aug23_005.gcd | 2023-08-30 12:49 | 358 | Unknown | 0 | 6.082 | 2789 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN30aug23_005.gcd | 2023-08-30 12:49 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN30aug23_005.gcd | 2023-08-30 12:49 | 358 | Unknown | 0 | 12.008 | 178673 | 45.196 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.6308 | 41174.6088 | 3.3385 | 31156.9322 | 3.4966 | 33639.3347 | 1.6538 | 36013.3076 | 3.6308 | 41174.6088 | 53 | BRN30aug23_005.gcd | 2023-08-30 12:49 | 358 | Unknown | 0 | 2.878 | 693082 | 0 | ----- | ----- | ----- | -----
54 | BRN30aug23_006.gcd | 2023-08-30 13:20 | 213 | Unknown | 0 | 6.077 | 2587 | -0.002 | ----- | ----- | ----- | ----- | 54 | BRN30aug23_006.gcd | 2023-08-30 13:20 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN30aug23_006.gcd | 2023-08-30 13:20 | 213 | Unknown | 0 | 12.011 | 178923 | 45.255 | ----- | ----- | ----- | ----- | 1 |  | 54 | 4.0069 | 41232.8774 | 2.7691 | 31197.6706 | 2.7873 | 33685.6811 | 1.3273 | 36062.7011 | 4.0069 | 41232.8774 | 54 | BRN30aug23_006.gcd | 2023-08-30 13:20 | 213 | Unknown | 0 | 2.881 | 726018 | 0 | ----- | ----- | ----- | -----
55 | BRN30aug23_007.gcd | 2023-08-30 13:51 | 165 | Unknown | 0 | 5.995 | 180201 | 0.379 | ----- | ----- | ----- | ----- | 55 | BRN30aug23_007.gcd | 2023-08-30 13:51 | 165 | Unknown | 0 | 5.95 | 1731 | 0.413 | ----- | ----- | ----- | ----- | 55 | BRN30aug23_007.gcd | 2023-08-30 13:51 | 165 | Unknown | 0 | 12.07 | 82609 | 21.79 | ----- | ----- | ----- | ----- | 1 |  | 55 | 486.7227 | 18406.1376 | 539.9776 | 14922.1806 | 470.4926 | 15680.0205 | 418.0266 | 16797.4255 | 486.7227 | 18406.1376 | 55 | BRN30aug23_007.gcd | 2023-08-30 13:51 | 165 | Unknown | 0 | 2.854 | 780370 | 0 | ----- | ----- | ----- | -----
56 | BRN30aug23_008.gcd | 2023-08-30 14:22 | 49 | Unknown | 0 | 5.993 | 348879 | 0.741 | ----- | ----- | ----- | ----- | 56 | BRN30aug23_008.gcd | 2023-08-30 14:22 | 49 | Unknown | 0 | 5.954 | 3597 | 0.893 | ----- | ----- | ----- | ----- | 56 | BRN30aug23_008.gcd | 2023-08-30 14:22 | 49 | Unknown | 0 | 12 | 152161 | 38.942 | ----- | ----- | ----- | ----- | 1 |  | 56 | 828.6613 | 34966.3232 | 996.9541 | 26792.1675 | 904.1695 | 28712.8579 | 806.8948 | 30757.1149 | 828.6613 | 34966.3232 | 56 | BRN30aug23_008.gcd | 2023-08-30 14:22 | 49 | Unknown | 0 | 2.858 | 710024 | 0 | ----- | ----- | ----- | -----
57 | BRN30aug23_009.gcd | 2023-08-30 14:52 | 128 | Unknown | 0 | 5.998 | 45592 | 0.09 | ----- | ----- | ----- | ----- | 57 | BRN30aug23_009.gcd | 2023-08-30 14:52 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN30aug23_009.gcd | 2023-08-30 14:52 | 128 | Unknown | 0 | 12.152 | 7901 | 1.947 | ----- | ----- | ----- | ----- | 1 |  | 57 | 125.0385 | 1877.6516 | 141.9781 | 1495.7569 | 119.4725 | 1505.7982 | 104.4126 | 1527.8436 | 125.0385 | 1877.6516 | 57 | BRN30aug23_009.gcd | 2023-08-30 14:52 | 128 | Unknown | 0 | 2.85 | 888478 | 0 | ----- | ----- | ----- | -----
58 | BRN30aug23_010.gcd | 2023-08-30 15:23 | 297 | Unknown | 0 | 6.003 | 19850 | 0.035 | ----- | ----- | ----- | ----- | 58 | BRN30aug23_010.gcd | 2023-08-30 15:23 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN30aug23_010.gcd | 2023-08-30 15:23 | 297 | Unknown | 0 | 12.15 | 4869 | 1.105 | ----- | ----- | ----- | ----- | 1 |  | 58 | 49.3622 | 1155.5032 | 62.4974 | 936.0545 | 51.846 | 926.7093 | 44.1061 | 902.1173 | 49.3622 | 1155.5032 | 58 | BRN30aug23_010.gcd | 2023-08-30 15:23 | 297 | Unknown | 0 | 2.85 | 904919 | 0 | ----- | ----- | ----- | -----
59 | BRN30aug23_011.gcd | 2023-08-30 15:54 | 378 | Unknown | 0 | 5.999 | 139580 | 0.292 | ----- | ----- | ----- | ----- | 59 | BRN30aug23_011.gcd | 2023-08-30 15:54 | 378 | Unknown | 0 | 5.933 | 1074 | 0.243 | ----- | ----- | ----- | ----- | 59 | BRN30aug23_011.gcd | 2023-08-30 15:54 | 378 | Unknown | 0 | 12.073 | 85400 | 22.501 | ----- | ----- | ----- | ----- | 1 |  | 59 | 383.5979 | 19078.2898 | 422.9893 | 15410.1983 | 365.0268 | 16206.0352 | 323.6947 | 17362.3586 | 383.5979 | 19078.2898 | 59 | BRN30aug23_011.gcd | 2023-08-30 15:54 | 378 | Unknown | 0 | 2.856 | 834517 | 0 | ----- | ----- | ----- | -----
60 | BRN30aug23_012.gcd | 2023-08-30 16:24 | 289 | Unknown | 0 | 6.005 | 13810 | 0.022 | ----- | ----- | ----- | ----- | 60 | BRN30aug23_012.gcd | 2023-08-30 16:24 | 289 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN30aug23_012.gcd | 2023-08-30 16:24 | 289 | Unknown | 0 | 12.157 | 7866 | 1.937 | ----- | ----- | ----- | ----- | 1 |  | 60 | 31.3031 | 1869.3633 | 37.0378 | 1489.3026 | 35.9552 | 1499.1151 | 29.9405 | 1520.6232 | 31.3031 | 1869.3633 | 60 | BRN30aug23_012.gcd | 2023-08-30 16:24 | 289 | Unknown | 0 | 2.851 | 887678 | 0 | ----- | ----- | ----- | -----
61 | BRN30aug23_013.gcd | 2023-08-30 16:55 | 323 | Unknown | 0 | 6.095 | 2444 | -0.002 | ----- | ----- | ----- | ----- | 61 | BRN30aug23_013.gcd | 2023-08-30 16:55 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN30aug23_013.gcd | 2023-08-30 16:55 | 323 | Unknown | 0 | 12.005 | 189823 | 47.784 | ----- | ----- | ----- | ----- | 1 |  | 61 | 4.2998 | 43768.4168 | 2.3669 | 32966.2371 | 2.2823 | 35704.4067 | 1.1034 | 38213.1578 | 4.2998 | 43768.4168 | 61 | BRN30aug23_013.gcd | 2023-08-30 16:55 | 323 | Unknown | 0 | 2.869 | 911646 | 0 | ----- | ----- | ----- | -----
62 | BRN30aug23_014.gcd | 2023-08-30 17:26 | 15 | Unknown | 0 | 6.017 | 219750 | 0.464 | ----- | ----- | ----- | ----- | 62 | BRN30aug23_014.gcd | 2023-08-30 17:26 | 15 | Unknown | 0 | 5.973 | 1536 | 0.362 | ----- | ----- | ----- | ----- | 62 | BRN30aug23_014.gcd | 2023-08-30 17:26 | 15 | Unknown | 0 | 12.039 | 146538 | 37.596 | ----- | ----- | ----- | ----- | 1 |  | 62 | 579.5168 | 33642.2011 | 651.2906 | 25855.0908 | 572.7919 | 27665.0504 | 509.6137 | 29637.7038 | 579.5168 | 33642.2011 | 62 | BRN30aug23_014.gcd | 2023-08-30 17:26 | 15 | Unknown | 0 | 2.855 | 1183511 | 0 | ----- | ----- | ----- | -----
63 | BRN30aug23_015.gcd | 2023-08-30 17:57 | 388 | Unknown | 0 | 6.087 | 3020 | -0.001 | ----- | ----- | ----- | ----- | 63 | BRN30aug23_015.gcd | 2023-08-30 17:57 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN30aug23_015.gcd | 2023-08-30 17:57 | 388 | Unknown | 0 | 11.974 | 200112 | 50.151 | ----- | ----- | ----- | ----- | 1 |  | 63 | 3.2547 | 46152.9096 | 3.9919 | 34621.9819 | 4.3019 | 37606.4277 | 2.0416 | 40237.5068 | 3.2547 | 46152.9096 | 63 | BRN30aug23_015.gcd | 2023-08-30 17:57 | 388 | Unknown | 0 | 2.83 | 1309563 | 0 | ----- | ----- | ----- | -----
64 | BRN30aug23_016.gcd | 2023-08-30 18:27 | 267 | Unknown | 0 | 6.067 | 3335 | 0 | ----- | ----- | ----- | ----- | 64 | BRN30aug23_016.gcd | 2023-08-30 18:27 | 267 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN30aug23_016.gcd | 2023-08-30 18:27 | 267 | Unknown | 0 | 11.988 | 178440 | 45.142 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.8347 | 41120.2979 | 4.8865 | 31118.9569 | 5.3902 | 33596.138 | 2.5955 | 35967.2699 | 2.8347 | 41120.2979 | 64 | BRN30aug23_016.gcd | 2023-08-30 18:27 | 267 | Unknown | 0 | 2.856 | 795284 | 0 | ----- | ----- | ----- | -----
65 | BRN30aug23_017.gcd | 2023-08-30 18:58 | 150 | Unknown | 0 | 6.047 | 4282 | 0.002 | ----- | ----- | ----- | ----- | 65 | BRN30aug23_017.gcd | 2023-08-30 18:58 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN30aug23_017.gcd | 2023-08-30 18:58 | 150 | Unknown | 0 | 12.017 | 172132 | 43.667 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.2175 | 39648.2529 | 7.6014 | 30088.2638 | 8.5925 | 32426.0059 | 4.4342 | 34719.8415 | 2.2175 | 39648.2529 | 65 | BRN30aug23_017.gcd | 2023-08-30 18:58 | 150 | Unknown | 0 | 2.877 | 806100 | 0 | ----- | ----- | ----- | -----
66 | BRN30aug23_018.gcd | 2023-08-30 19:29 | 357 | Unknown | 0 | 6.017 | 541636 | 1.155 | ----- | ----- | ----- | ----- | 66 | BRN30aug23_018.gcd | 2023-08-30 19:29 | 357 | Unknown | 0 | 5.973 | 4665 | 1.168 | ----- | ----- | ----- | ----- | 66 | BRN30aug23_018.gcd | 2023-08-30 19:29 | 357 | Unknown | 0 | 12.183 | 9641 | 2.428 | ----- | ----- | ----- | ----- | 1 |  | 66 | 1199.4172 | 2288.29 | 1462.3006 | 1816.437 | 1391.3314 | 1837.9899 | 1245.6633 | 1886.7226 | 1199.4172 | 2288.29 | 66 | BRN30aug23_018.gcd | 2023-08-30 19:29 | 357 | Unknown | 0 | 2.869 | 976111 | 0 | ----- | ----- | ----- | -----
67 | BRN30aug23_019.gcd | 2023-08-30 19:59 | 242 | Unknown | 0 | 5.998 | 187591 | 0.395 | ----- | ----- | ----- | ----- | 67 | BRN30aug23_019.gcd | 2023-08-30 19:59 | 242 | Unknown | 0 | 5.951 | 1858 | 0.445 | ----- | ----- | ----- | ----- | 67 | BRN30aug23_019.gcd | 2023-08-30 19:59 | 242 | Unknown | 0 | 12.071 | 87748 | 23.098 | ----- | ----- | ----- | ----- | 1 |  | 67 | 504.9242 | 19643.2614 | 560.9711 | 15819.9983 | 489.6367 | 16648.3623 | 435.1594 | 17837.315 | 504.9242 | 19643.2614 | 67 | BRN30aug23_019.gcd | 2023-08-30 19:59 | 242 | Unknown | 0 | 2.847 | 935814 | 0 | ----- | ----- | ----- | -----
68 | BRN30aug23_020.gcd | 2023-08-30 20:30 | 22 | Unknown | 0 | 6.022 | 20943 | 0.037 | ----- | ----- | ----- | ----- | 68 | BRN30aug23_020.gcd | 2023-08-30 20:30 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN30aug23_020.gcd | 2023-08-30 20:30 | 22 | Unknown | 0 | 12.18 | 5577 | 1.302 | ----- | ----- | ----- | ----- | 1 |  | 68 | 52.6179 | 1324.882 | 65.8942 | 1066.8535 | 54.7207 | 1061.9587 | 46.6688 | 1048.2722 | 52.6179 | 1324.882 | 68 | BRN30aug23_020.gcd | 2023-08-30 20:30 | 22 | Unknown | 0 | 2.873 | 864258 | 0 | ----- | ----- | ----- | -----
69 | BRN30aug23_021.gcd | 2023-08-30 21:01 | 377 | Unknown | 0 | 6.009 | 20702 | 0.037 | ----- | ----- | ----- | ----- | 69 | BRN30aug23_021.gcd | 2023-08-30 21:01 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN30aug23_021.gcd | 2023-08-30 21:01 | 377 | Unknown | 0 | 12.172 | 5164 | 1.187 | ----- | ----- | ----- | ----- | 1 |  | 69 | 51.9003 | 1226.1332 | 65.1454 | 990.5617 | 54.0869 | 983.0652 | 46.1038 | 963.0183 | 51.9003 | 1226.1332 | 69 | BRN30aug23_021.gcd | 2023-08-30 21:01 | 377 | Unknown | 0 | 2.853 | 1034125 | 0 | ----- | ----- | ----- | -----
70 | BRN30aug23_022.gcd | 2023-08-30 21:31 | 106 | Unknown | 0 | 6.01 | 5085385 | 11.004 | ----- | ----- | ----- | ----- | 70 | BRN30aug23_022.gcd | 2023-08-30 21:31 | 106 | Unknown | 0 | 5.967 | 41926 | 10.712 | ----- | ----- | ----- | ----- | 70 | BRN30aug23_022.gcd | 2023-08-30 21:31 | 106 | Unknown | 0 | 12.106 | 87611 | 23.063 | ----- | ----- | ----- | ----- | 1 |  | 70 | 9538.7297 | 19610.3091 | 8527.0217 | 15796.1065 | 11000.6476 | 16622.5585 | 10552.6486 | 17809.6102 | 9538.7297 | 19610.3091 | 70 | BRN30aug23_022.gcd | 2023-08-30 21:31 | 106 | Unknown | 0 | 2.88 | 862827 | 0 | ----- | ----- | ----- | -----
71 | BRN30aug23_023.gcd | 2023-08-30 22:02 | 68 | Unknown | 0 | 6.023 | 52804 | 0.106 | ----- | ----- | ----- | ----- | 71 | BRN30aug23_023.gcd | 2023-08-30 22:02 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN30aug23_023.gcd | 2023-08-30 22:02 | 68 | Unknown | 0 | 12.221 | 415 | -0.137 | ----- | ----- | ----- | ----- | 1 |  | 71 | 145.8655 | 79.4614 | 164.0518 | 111.7602 | 138.3903 | 75.4872 | 121.2892 | -17.9239 | 145.8655 | 79.4614 | 71 | BRN30aug23_023.gcd | 2023-08-30 22:02 | 68 | Unknown | 0 | 2.878 | 843380 | 0 | ----- | ----- | ----- | -----
72 | BRN30aug23_024.gcd | 2023-08-30 22:33 | 21 | Unknown | 0 | 6.026 | 31208 | 0.059 | ----- | ----- | ----- | ----- | 72 | BRN30aug23_024.gcd | 2023-08-30 22:33 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN30aug23_024.gcd | 2023-08-30 22:33 | 21 | Unknown | 0 | 12.186 | 8310 | 2.06 | ----- | ----- | ----- | ----- | 1 |  | 72 | 83.01 | 1974.4235 | 97.6996 | 1571.1693 | 81.7042 | 1583.8911 | 70.7279 | 1612.2147 | 83.01 | 1974.4235 | 72 | BRN30aug23_024.gcd | 2023-08-30 22:33 | 21 | Unknown | 0 | 2.875 | 910119 | 0 | ----- | ----- | ----- | -----
73 | BRN30aug23_025.gcd | 2023-08-30 23:03 | 391 | Unknown | 0 | 5.998 | 57202 | 0.115 | ----- | ----- | ----- | ----- | 73 | BRN30aug23_025.gcd | 2023-08-30 23:03 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN30aug23_025.gcd | 2023-08-30 23:03 | 391 | Unknown | 0 | 12.282 | 400 | -0.141 | ----- | ----- | ----- | ----- | 1 |  | 73 | 158.4856 | 75.807 | 177.471 | 108.98 | 149.9206 | 72.6194 | 131.5768 | -21.0241 | 158.4856 | 75.807 | 73 | BRN30aug23_025.gcd | 2023-08-30 23:03 | 391 | Unknown | 0 | 2.846 | 995532 | 0 | ----- | ----- | ----- | -----
74 | BRN30aug23_026.gcd | 2023-08-30 23:34 | 152 | Unknown | 0 | 5.856 | 34098913 | 78.527 | ----- | ----- | ----- | ----- | 74 | BRN30aug23_026.gcd | 2023-08-30 23:34 | 152 | Unknown | 0 | 5.833 | 378078 | 93.497 | ----- | ----- | ----- | ----- | 74 | BRN30aug23_026.gcd | 2023-08-30 23:34 | 152 | Unknown | 0 | 12.075 | 86198 | 22.704 | ----- | ----- | ----- | ----- | 1 |  | 74 | 93086.1475 | 19270.3537 | 72826.0799 | 15549.5521 | 94356.4337 | 16356.3863 | 90879.639 | 17523.8106 | 93086.1475 | 19270.3537 | 74 | BRN30aug23_026.gcd | 2023-08-30 23:34 | 152 | Unknown | 0 | 2.855 | 759475 | 0 | ----- | ----- | ----- | -----
75 | BRN30aug23_027.gcd | 2023-08-31 00:05 | 99 | Unknown | 0 | 6.023 | 134552 | 0.281 | ----- | ----- | ----- | ----- | 75 | BRN30aug23_027.gcd | 2023-08-31 00:05 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN30aug23_027.gcd | 2023-08-31 00:05 | 99 | Unknown | 0 | 12.109 | 82321 | 21.717 | ----- | ----- | ----- | ----- | 1 |  | 75 | 370.4713 | 18336.7427 | 408.3214 | 14871.767 | 351.9446 | 15625.7273 | 312 | 16739.1081 | 370.4713 | 18336.7427 | 75 | BRN30aug23_027.gcd | 2023-08-31 00:05 | 99 | Unknown | 0 | 2.875 | 922354 | 0 | ----- | ----- | ----- | -----
76 | BRN30aug23_028.gcd | 2023-08-31 00:35 | 245 | Unknown | 0 | 5.997 | 593831 | 1.267 | ----- | ----- | ----- | ----- | 76 | BRN30aug23_028.gcd | 2023-08-31 00:35 | 245 | Unknown | 0 | 5.953 | 5322 | 1.337 | ----- | ----- | ----- | ----- | 76 | BRN30aug23_028.gcd | 2023-08-31 00:35 | 245 | Unknown | 0 | 12.157 | 13048 | 3.368 | ----- | ----- | ----- | ----- | 1 |  | 76 | 1299.5731 | 3084.3408 | 1577.8725 | 2443.2426 | 1521.7 | 2488.1513 | 1363.4439 | 2588.9768 | 1299.5731 | 3084.3408 | 76 | BRN30aug23_028.gcd | 2023-08-31 00:35 | 245 | Unknown | 0 | 2.845 | 1050354 | 0 | ----- | ----- | ----- | -----
77 | BRN30aug23_029.gcd | 2023-08-31 01:06 | 90 | Unknown | 0 | 5.983 | 4795273 | 10.37 | ----- | ----- | ----- | ----- | 77 | BRN30aug23_029.gcd | 2023-08-31 01:06 | 90 | Unknown | 0 | 5.938 | 41286 | 10.549 | ----- | ----- | ----- | ----- | 77 | BRN30aug23_029.gcd | 2023-08-31 01:06 | 90 | Unknown | 0 | 12.068 | 87997 | 23.161 | ----- | ----- | ----- | ----- | 1 |  | 77 | 9029.2293 | 19703.1489 | 8405.3108 | 15863.4161 | 10837.6204 | 16695.2595 | 10395.5367 | 17887.6665 | 9029.2293 | 19703.1489 | 77 | BRN30aug23_029.gcd | 2023-08-31 01:06 | 90 | Unknown | 0 | 2.848 | 919608 | 0 | ----- | ----- | ----- | -----
78 | BRN30aug23_030.gcd | 2023-08-31 01:37 | 295 | Unknown | 0 | 5.85 | 33760374 | 77.686 | ----- | ----- | ----- | ----- | 78 | BRN30aug23_030.gcd | 2023-08-31 01:37 | 295 | Unknown | 0 | 5.83 | 391107 | 96.594 | ----- | ----- | ----- | ----- | 78 | BRN30aug23_030.gcd | 2023-08-31 01:37 | 295 | Unknown | 0 | 12.078 | 73772 | 19.526 | ----- | ----- | ----- | ----- | 1 |  | 78 | 96227.6518 | 16273.734 | 75333.2083 | 13370.5451 | 97495.9336 | 14012.8565 | 93904.8841 | 15006.0847 | 96227.6518 | 16273.734 | 78 | BRN30aug23_030.gcd | 2023-08-31 01:37 | 295 | Unknown | 0 | 2.855 | 734529 | 0 | ----- | ----- | ----- | -----
79 | BRN30aug23_031.gcd | 2023-08-31 02:07 | 116 | Unknown | 0 | 6.024 | 22261 | 0.04 | ----- | ----- | ----- | ----- | 79 | BRN30aug23_031.gcd | 2023-08-31 02:07 | 116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN30aug23_031.gcd | 2023-08-31 02:07 | 116 | Unknown | 0 | 12.185 | 5701 | 1.336 | ----- | ----- | ----- | ----- | 1 |  | 79 | 56.5387 | 1354.5001 | 69.9875 | 1089.7553 | 58.1867 | 1085.6447 | 49.7589 | 1073.8673 | 56.5387 | 1354.5001 | 79 | BRN30aug23_031.gcd | 2023-08-31 02:07 | 116 | Unknown | 0 | 2.877 | 848965 | 0 | ----- | ----- | ----- | -----