## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI19mar24_001.gcd | 2024-03-19 14:06 | QC outside air | Unknown | 0 | 6.119 | 2658 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI19mar24_001.gcd | 2024-03-19 14:06 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI19mar24_001.gcd | 2024-03-19 14:06 | QC outside air | Unknown | 0 | 12.308 | 2850 | 0.59 | ----- | ----- | ----- | ----- | 1 |  | 48 | 3.1128 | 617.8643 | 3.0371 | 540.9299 | 1.4407 | 485.1877 | 3.8697 | 669.9753 | 3.1128 | 617.8643 | 48 | FMI19mar24_001.gcd | 2024-03-19 14:06 | QC outside air | Unknown | 0 | 2.708 | 5454525 | 0 | ----- | ----- | ----- | -----
49 | FMI19mar24_002.gcd | 2024-03-19 14:37 | QC spiked air | Unknown | 0 | 6.042 | 906534 | 2.284 | ----- | ----- | ----- | ----- | 49 | FMI19mar24_002.gcd | 2024-03-19 14:37 | QC spiked air | Unknown | 0 | 5.993 | 9320 | 2.774 | ----- | ----- | ----- | ----- | 49 | FMI19mar24_002.gcd | 2024-03-19 14:37 | QC spiked air | Unknown | 0 | 12.276 | 9104 | 1.965 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2094.6072 | 1895.4636 | 2674.0047 | 1735.4791 | 2528.0886 | 1775.9816 | 1897.4904 | 2161.8531 | 2094.6072 | 1895.4636 | 49 | FMI19mar24_002.gcd | 2024-03-19 14:37 | QC spiked air | Unknown | 0 | 2.735 | 4986880 | 0 | ----- | ----- | ----- | -----
50 | FMI19mar24_003.gcd | 2024-03-19 15:07 | QC reference tank | Unknown | 0 | 6.078 | 3722 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI19mar24_003.gcd | 2024-03-19 15:07 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI19mar24_003.gcd | 2024-03-19 15:07 | QC reference tank | Unknown | 0 | 12.299 | 1523 | 0.297 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.1106 | 346.1763 | 6.7114 | 287.3019 | 3.3154 | 211.0449 | 2.4654 | 348.8341 | 6.1106 | 346.1763 | 50 | FMI19mar24_003.gcd | 2024-03-19 15:07 | QC reference tank | Unknown | 0 | 2.731 | 5045389 | 0 | ----- | ----- | ----- | -----
51 | FMI19mar24_004.gcd | 2024-03-19 15:38 | 42 | Unknown | 0 | 6.053 | 8119 | 0.017 | ----- | ----- | ----- | ----- | 51 | FMI19mar24_004.gcd | 2024-03-19 15:38 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI19mar24_004.gcd | 2024-03-19 15:38 | 42 | Unknown | 0 | 12.255 | 6820 | 1.463 | ----- | ----- | ----- | ----- | 1 |  | 51 | 19.8715 | 1429.4186 | 20.504 | 1299.3697 | 14.5515 | 1304.807 | 9.6288 | 1621.1457 | 19.8715 | 1429.4186 | 51 | FMI19mar24_004.gcd | 2024-03-19 15:38 | 42 | Unknown | 0 | 2.878 | 935595 | 0 | ----- | ----- | ----- | -----
52 | FMI19mar24_005.gcd | 2024-03-19 16:09 | 151 | Unknown | 0 | 6.053 | 12801 | 0.029 | ----- | ----- | ----- | ----- | 52 | FMI19mar24_005.gcd | 2024-03-19 16:09 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI19mar24_005.gcd | 2024-03-19 16:09 | 151 | Unknown | 0 | 12.253 | 9901 | 2.14 | ----- | ----- | ----- | ----- | 1 |  | 52 | 32.7418 | 2057.9428 | 33.2997 | 1887.6192 | 27.5736 | 1940.335 | 28.275 | 2349.4126 | 32.7418 | 2057.9428 | 52 | FMI19mar24_005.gcd | 2024-03-19 16:09 | 151 | Unknown | 0 | 2.896 | 685244 | 0 | ----- | ----- | ----- | -----
53 | FMI19mar24_006.gcd | 2024-03-19 16:39 | 223 | Unknown | 0 | 6.081 | 2960 | 0.004 | ----- | ----- | ----- | ----- | 53 | FMI19mar24_006.gcd | 2024-03-19 16:39 | 223 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI19mar24_006.gcd | 2024-03-19 16:39 | 223 | Unknown | 0 | 12.239 | 23007 | 5.003 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.9505 | 4718.8815 | 4.0933 | 4386.4736 | 1.9394 | 4638.3386 | 3.3469 | 5350.5642 | 3.9505 | 4718.8815 | 53 | FMI19mar24_006.gcd | 2024-03-19 16:39 | 223 | Unknown | 0 | 2.879 | 954137 | 0 | ----- | ----- | ----- | -----
54 | FMI19mar24_007.gcd | 2024-03-19 17:10 | 111 | Unknown | 0 | 6.051 | 111350 | 0.277 | ----- | ----- | ----- | ----- | 54 | FMI19mar24_007.gcd | 2024-03-19 17:10 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI19mar24_007.gcd | 2024-03-19 17:10 | 111 | Unknown | 0 | 12.163 | 97442 | 20.854 | ----- | ----- | ----- | ----- | 1 |  | 54 | 314.9019 | 19323.4211 | 291.4971 | 18472.6646 | 257.9812 | 19795.2504 | 308.8651 | 21971.0402 | 314.9019 | 19323.4211 | 54 | FMI19mar24_007.gcd | 2024-03-19 17:10 | 111 | Unknown | 0 | 2.895 | 787006 | 0 | ----- | ----- | ----- | -----
55 | FMI19mar24_008.gcd | 2024-03-19 17:41 | 388 | Unknown | 0 | 6.041 | 6736 | 0.014 | ----- | ----- | ----- | ----- | 55 | FMI19mar24_008.gcd | 2024-03-19 17:41 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI19mar24_008.gcd | 2024-03-19 17:41 | 388 | Unknown | 0 | 12.229 | 7779 | 1.674 | ----- | ----- | ----- | ----- | 1 |  | 55 | 15.3051 | 1625.1763 | 16.4073 | 1482.5029 | 10.4117 | 1502.675 | 5.1248 | 1848.7561 | 15.3051 | 1625.1763 | 55 | FMI19mar24_008.gcd | 2024-03-19 17:41 | 388 | Unknown | 0 | 2.862 | 937886 | 0 | ----- | ----- | ----- | -----
56 | FMI19mar24_009.gcd | 2024-03-19 18:11 | 302 | Unknown | 0 | 6.09 | 2752 | 0.003 | ----- | ----- | ----- | ----- | 56 | FMI19mar24_009.gcd | 2024-03-19 18:11 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI19mar24_009.gcd | 2024-03-19 18:11 | 302 | Unknown | 0 | 12.23 | 29266 | 6.362 | ----- | ----- | ----- | ----- | 1 |  | 56 | 3.3724 | 5982.4114 | 3.367 | 5577.8745 | 1.5931 | 5923.7244 | 3.6964 | 6728.5349 | 3.3724 | 5982.4114 | 56 | FMI19mar24_009.gcd | 2024-03-19 18:11 | 302 | Unknown | 0 | 2.86 | 1315403 | 0 | ----- | ----- | ----- | -----
57 | FMI19mar24_010.gcd | 2024-03-19 18:42 | 69 | Unknown | 0 | 6.06 | 8615 | 0.018 | ----- | ----- | ----- | ----- | 57 | FMI19mar24_010.gcd | 2024-03-19 18:42 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI19mar24_010.gcd | 2024-03-19 18:42 | 69 | Unknown | 0 | 12.256 | 6143 | 1.314 | ----- | ----- | ----- | ----- | 1 |  | 57 | 21.5624 | 1291.1584 | 21.9192 | 1170.07 | 16.1716 | 1165.0951 | 11.7474 | 1459.9604 | 21.5624 | 1291.1584 | 57 | FMI19mar24_010.gcd | 2024-03-19 18:42 | 69 | Unknown | 0 | 2.882 | 959039 | 0 | ----- | ----- | ----- | -----
58 | FMI19mar24_011.gcd | 2024-03-19 19:13 | 118 | Unknown | 0 | 6.059 | 6729 | 0.014 | ----- | ----- | ----- | ----- | 58 | FMI19mar24_011.gcd | 2024-03-19 19:13 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI19mar24_011.gcd | 2024-03-19 19:13 | 118 | Unknown | 0 | 12.283 | 4369 | 0.924 | ----- | ----- | ----- | ----- | 1 |  | 58 | 15.2825 | 928.6035 | 16.386 | 831.1844 | 10.3921 | 798.8852 | 5.1072 | 1035.6099 | 15.2825 | 928.6035 | 58 | FMI19mar24_011.gcd | 2024-03-19 19:13 | 118 | Unknown | 0 | 2.888 | 929676 | 0 | ----- | ----- | ----- | -----
59 | FMI19mar24_012.gcd | 2024-03-19 19:43 | 192 | Unknown | 0 | 6.053 | 9169 | 0.02 | ----- | ----- | ----- | ----- | 59 | FMI19mar24_012.gcd | 2024-03-19 19:43 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI19mar24_012.gcd | 2024-03-19 19:43 | 192 | Unknown | 0 | 12.26 | 6956 | 1.493 | ----- | ----- | ----- | ----- | 1 |  | 59 | 23.4843 | 1457.1865 | 23.4662 | 1325.3424 | 18.0657 | 1332.8704 | 14.4278 | 1653.4752 | 23.4843 | 1457.1865 | 59 | FMI19mar24_012.gcd | 2024-03-19 19:43 | 192 | Unknown | 0 | 2.877 | 1021239 | 0 | ----- | ----- | ----- | -----
60 | FMI19mar24_013.gcd | 2024-03-19 20:14 | 25 | Unknown | 0 | 6.051 | 12736 | 0.029 | ----- | ----- | ----- | ----- | 60 | FMI19mar24_013.gcd | 2024-03-19 20:14 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI19mar24_013.gcd | 2024-03-19 20:14 | 25 | Unknown | 0 | 12.253 | 9719 | 2.1 | ----- | ----- | ----- | ----- | 1 |  | 60 | 32.5538 | 2020.8464 | 33.1286 | 1852.8789 | 27.4211 | 1902.8067 | 28.0798 | 2306.6333 | 32.5538 | 2020.8464 | 60 | FMI19mar24_013.gcd | 2024-03-19 20:14 | 25 | Unknown | 0 | 2.862 | 1312172 | 0 | ----- | ----- | ----- | -----
61 | FMI19mar24_014.gcd | 2024-03-19 20:45 | 91 | Unknown | 0 | 6.061 | 3048 | 0.004 | ----- | ----- | ----- | ----- | 61 | FMI19mar24_014.gcd | 2024-03-19 20:45 | 91 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI19mar24_014.gcd | 2024-03-19 20:45 | 91 | Unknown | 0 | 12.248 | 34557 | 7.507 | ----- | ----- | ----- | ----- | 1 |  | 61 | 4.1966 | 7046.8727 | 4.3991 | 6584.0229 | 2.0897 | 7008.7563 | 3.213 | 7865.5197 | 4.1966 | 7046.8727 | 61 | FMI19mar24_014.gcd | 2024-03-19 20:45 | 91 | Unknown | 0 | 2.882 | 1419932 | 0 | ----- | ----- | ----- | -----
62 | FMI19mar24_015.gcd | 2024-03-19 21:16 | 206 | Unknown | 0 | 6.056 | 8947 | 0.019 | ----- | ----- | ----- | ----- | 62 | FMI19mar24_015.gcd | 2024-03-19 21:16 | 206 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI19mar24_015.gcd | 2024-03-19 21:16 | 206 | Unknown | 0 | 12.264 | 6624 | 1.42 | ----- | ----- | ----- | ----- | 1 |  | 62 | 22.71 | 1389.3961 | 22.8506 | 1261.9374 | 17.2959 | 1264.361 | 13.3139 | 1574.5235 | 22.71 | 1389.3961 | 62 | FMI19mar24_015.gcd | 2024-03-19 21:16 | 206 | Unknown | 0 | 2.869 | 1219413 | 0 | ----- | ----- | ----- | -----
63 | FMI19mar24_016.gcd | 2024-03-19 21:46 | 150 | Unknown | 0 | 6.051 | 6751 | 0.014 | ----- | ----- | ----- | ----- | 63 | FMI19mar24_016.gcd | 2024-03-19 21:46 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI19mar24_016.gcd | 2024-03-19 21:46 | 150 | Unknown | 0 | 12.251 | 8266 | 1.781 | ----- | ----- | ----- | ----- | 1 |  | 63 | 15.3534 | 1724.5441 | 16.4529 | 1575.4902 | 10.4536 | 1603.1385 | 5.1625 | 1964.0202 | 15.3534 | 1724.5441 | 63 | FMI19mar24_016.gcd | 2024-03-19 21:46 | 150 | Unknown | 0 | 2.863 | 1283880 | 0 | ----- | ----- | ----- | -----
64 | FMI19mar24_017.gcd | 2024-03-19 22:17 | 274 | Unknown | 0 | 6.058 | 9329 | 0.02 | ----- | ----- | ----- | ----- | 64 | FMI19mar24_017.gcd | 2024-03-19 22:17 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI19mar24_017.gcd | 2024-03-19 22:17 | 274 | Unknown | 0 | 12.256 | 6570 | 1.408 | ----- | ----- | ----- | ----- | 1 |  | 64 | 24.0459 | 1378.3687 | 23.9064 | 1251.6241 | 18.6293 | 1253.2174 | 15.2636 | 1561.6725 | 24.0459 | 1378.3687 | 64 | FMI19mar24_017.gcd | 2024-03-19 22:17 | 274 | Unknown | 0 | 2.866 | 1278182 | 0 | ----- | ----- | ----- | -----
65 | FMI19mar24_018.gcd | 2024-03-19 22:48 | 180 | Unknown | 0 | 6.076 | 2868 | 0.004 | ----- | ----- | ----- | ----- | 65 | FMI19mar24_018.gcd | 2024-03-19 22:48 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI19mar24_018.gcd | 2024-03-19 22:48 | 180 | Unknown | 0 | 12.24 | 23250 | 5.055 | ----- | ----- | ----- | ----- | 1 |  | 65 | 3.6942 | 4768.0244 | 3.7727 | 4432.7525 | 1.7846 | 4688.2798 | 3.4957 | 5404.7294 | 3.6942 | 4768.0244 | 65 | FMI19mar24_018.gcd | 2024-03-19 22:48 | 180 | Unknown | 0 | 2.864 | 1288332 | 0 | ----- | ----- | ----- | -----
66 | FMI19mar24_019.gcd | 2024-03-19 23:18 | 196 | Unknown | 0 | 6.05 | 36419 | 0.088 | ----- | ----- | ----- | ----- | 66 | FMI19mar24_019.gcd | 2024-03-19 23:18 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI19mar24_019.gcd | 2024-03-19 23:18 | 196 | Unknown | 0 | 12.251 | 12187 | 2.641 | ----- | ----- | ----- | ----- | 1 |  | 66 | 100.8746 | 2523.5533 | 95.3926 | 2323.8814 | 82.935 | 2411.5626 | 98.3114 | 2884.1667 | 100.8746 | 2523.5533 | 66 | FMI19mar24_019.gcd | 2024-03-19 23:18 | 196 | Unknown | 0 | 2.886 | 861848 | 0 | ----- | ----- | ----- | -----
67 | FMI19mar24_020.gcd | 2024-03-19 23:49 | 86 | Unknown | 0 | 6.047 | 120715 | 0.301 | ----- | ----- | ----- | ----- | 67 | FMI19mar24_020.gcd | 2024-03-19 23:49 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI19mar24_020.gcd | 2024-03-19 23:49 | 86 | Unknown | 0 | 12.17 | 88843 | 19.057 | ----- | ----- | ----- | ----- | 1 |  | 67 | 341.4234 | 17587.9402 | 315.9112 | 16854.5821 | 279.7952 | 18058.7167 | 333.9355 | 19906.5842 | 341.4234 | 17587.9402 | 67 | FMI19mar24_020.gcd | 2024-03-19 23:49 | 86 | Unknown | 0 | 2.886 | 848031 | 0 | ----- | ----- | ----- | -----
68 | FMI19mar24_021.gcd | 2024-03-20 00:20 | 405 | Unknown | 0 | 6.083 | 2702 | 0.003 | ----- | ----- | ----- | ----- | 68 | FMI19mar24_021.gcd | 2024-03-20 00:20 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI19mar24_021.gcd | 2024-03-20 00:20 | 405 | Unknown | 0 | 12.232 | 24374 | 5.3 | ----- | ----- | ----- | ----- | 1 |  | 68 | 3.2342 | 4995.2433 | 3.1917 | 4646.7909 | 1.5117 | 4919.2446 | 3.7874 | 5654.5707 | 3.2342 | 4995.2433 | 68 | FMI19mar24_021.gcd | 2024-03-20 00:20 | 405 | Unknown | 0 | 2.879 | 975557 | 0 | ----- | ----- | ----- | -----
69 | FMI19mar24_022.gcd | 2024-03-20 00:50 | 68 | Unknown | 0 | 6.055 | 6647 | 0.013 | ----- | ----- | ----- | ----- | 69 | FMI19mar24_022.gcd | 2024-03-20 00:50 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI19mar24_022.gcd | 2024-03-20 00:50 | 68 | Unknown | 0 | 12.26 | 3791 | 0.797 | ----- | ----- | ----- | ----- | 1 |  | 69 | 15.0187 | 810.3956 | 16.1361 | 720.7475 | 10.1643 | 679.5329 | 4.9057 | 896.7291 | 15.0187 | 810.3956 | 69 | FMI19mar24_022.gcd | 2024-03-20 00:50 | 68 | Unknown | 0 | 2.885 | 899597 | 0 | ----- | ----- | ----- | -----
70 | FMI19mar24_023.gcd | 2024-03-20 01:21 | 188 | Unknown | 0 | 6.135 | 2650 | 0.003 | ----- | ----- | ----- | ----- | 70 | FMI19mar24_023.gcd | 2024-03-20 01:21 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI19mar24_023.gcd | 2024-03-20 01:21 | 188 | Unknown | 0 | 12.239 | 24475 | 5.322 | ----- | ----- | ----- | ----- | 1 |  | 70 | 3.0907 | 5015.6533 | 3.009 | 4666.0218 | 1.4279 | 4939.9954 | 3.8849 | 5676.9644 | 3.0907 | 5015.6533 | 70 | FMI19mar24_023.gcd | 2024-03-20 01:21 | 188 | Unknown | 0 | 2.882 | 950573 | 0 | ----- | ----- | ----- | -----
71 | FMI19mar24_024.gcd | 2024-03-20 01:52 | 346 | Unknown | 0 | 6.105 | 342036 | 0.858 | ----- | ----- | ----- | ----- | 71 | FMI19mar24_024.gcd | 2024-03-20 01:52 | 346 | Unknown | 0 | 6.05 | 2658 | 0.818 | ----- | ----- | ----- | ----- | 71 | FMI19mar24_024.gcd | 2024-03-20 01:52 | 346 | Unknown | 0 | 12.317 | 8417 | 1.814 | ----- | ----- | ----- | ----- | 1 |  | 71 | 889.2578 | 1755.3484 | 886.7098 | 1604.3204 | 791.2083 | 1634.2859 | 815.4739 | 1999.7152 | 889.2578 | 1755.3484 | 71 | FMI19mar24_024.gcd | 2024-03-20 01:52 | 346 | Unknown | 0 | 2.936 | 1036171 | 0 | ----- | ----- | ----- | -----
72 | FMI19mar24_025.gcd | 2024-03-20 02:22 | 10 | Unknown | 0 | 6.026 | 381006 | 0.957 | ----- | ----- | ----- | ----- | 72 | FMI19mar24_025.gcd | 2024-03-20 02:22 | 10 | Unknown | 0 | 5.978 | 3673 | 1.116 | ----- | ----- | ----- | ----- | 72 | FMI19mar24_025.gcd | 2024-03-20 02:22 | 10 | Unknown | 0 | 12.227 | 9171 | 1.979 | ----- | ----- | ----- | ----- | 1 |  | 72 | 972.5958 | 1909.1254 | 985.9892 | 1748.2696 | 880.4405 | 1789.7993 | 890.5516 | 2177.6427 | 972.5958 | 1909.1254 | 72 | FMI19mar24_025.gcd | 2024-03-20 02:22 | 10 | Unknown | 0 | 2.86 | 969967 | 0 | ----- | ----- | ----- | -----
73 | FMI19mar24_026.gcd | 2024-03-20 02:53 | 292 | Unknown | 0 | 6.03 | 41748 | 0.102 | ----- | ----- | ----- | ----- | 73 | FMI19mar24_026.gcd | 2024-03-20 02:53 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI19mar24_026.gcd | 2024-03-20 02:53 | 292 | Unknown | 0 | 12.223 | 12050 | 2.61 | ----- | ----- | ----- | ----- | 1 |  | 73 | 116.2031 | 2495.6669 | 109.3842 | 2297.741 | 95.4139 | 2383.3294 | 113.8706 | 2852.2531 | 116.2031 | 2495.6669 | 73 | FMI19mar24_026.gcd | 2024-03-20 02:53 | 292 | Unknown | 0 | 2.858 | 1032965 | 0 | ----- | ----- | ----- | -----
74 | FMI19mar24_027.gcd | 2024-03-20 03:24 | 317 | Unknown | 0 | 6.055 | 9618 | 0.021 | ----- | ----- | ----- | ----- | 74 | FMI19mar24_027.gcd | 2024-03-20 03:24 | 317 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI19mar24_027.gcd | 2024-03-20 03:24 | 317 | Unknown | 0 | 12.243 | 6450 | 1.382 | ----- | ----- | ----- | ----- | 1 |  | 74 | 25.0677 | 1353.8622 | 24.6939 | 1228.7055 | 19.6662 | 1228.4533 | 16.8434 | 1533.1051 | 25.0677 | 1353.8622 | 74 | FMI19mar24_027.gcd | 2024-03-20 03:24 | 317 | Unknown | 0 | 2.866 | 1309465 | 0 | ----- | ----- | ----- | -----
75 | FMI19mar24_028.gcd | 2024-03-20 03:54 | 301 | Unknown | 0 | 6.078 | 2853 | 0.004 | ----- | ----- | ----- | ----- | 75 | FMI19mar24_028.gcd | 2024-03-20 03:54 | 301 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI19mar24_028.gcd | 2024-03-20 03:54 | 301 | Unknown | 0 | 12.231 | 23460 | 5.101 | ----- | ----- | ----- | ----- | 1 |  | 75 | 3.6525 | 4810.4878 | 3.7203 | 4472.745 | 1.7597 | 4731.4365 | 3.5208 | 5451.4955 | 3.6525 | 4810.4878 | 75 | FMI19mar24_028.gcd | 2024-03-20 03:54 | 301 | Unknown | 0 | 2.882 | 934225 | 0 | ----- | ----- | ----- | -----
76 | FMI19mar24_029.gcd | 2024-03-20 04:25 | 191 | Unknown | 0 | 6.062 | 6754 | 0.014 | ----- | ----- | ----- | ----- | 76 | FMI19mar24_029.gcd | 2024-03-20 04:25 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI19mar24_029.gcd | 2024-03-20 04:25 | 191 | Unknown | 0 | 12.264 | 4082 | 0.861 | ----- | ----- | ----- | ----- | 1 |  | 76 | 15.3631 | 869.9136 | 16.4621 | 776.3495 | 10.462 | 739.6242 | 5.1701 | 966.6881 | 15.3631 | 869.9136 | 76 | FMI19mar24_029.gcd | 2024-03-20 04:25 | 191 | Unknown | 0 | 2.884 | 947771 | 0 | ----- | ----- | ----- | -----
77 | FMI19mar24_030.gcd | 2024-03-20 04:56 | 101 | Unknown | 0 | 6.041 | 7870 | 0.016 | ----- | ----- | ----- | ----- | 77 | FMI19mar24_030.gcd | 2024-03-20 04:56 | 101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI19mar24_030.gcd | 2024-03-20 04:56 | 101 | Unknown | 0 | 12.234 | 5122 | 1.09 | ----- | ----- | ----- | ----- | 1 |  | 77 | 19.0332 | 1082.5412 | 19.7828 | 975.0418 | 13.7651 | 954.3479 | 8.6654 | 1216.0823 | 19.0332 | 1082.5412 | 77 | FMI19mar24_030.gcd | 2024-03-20 04:56 | 101 | Unknown | 0 | 2.86 | 991613 | 0 | ----- | ----- | ----- | -----
78 | FMI19mar24_031.gcd | 2024-03-20 05:27 | 127 | Unknown | 0 | 6.061 | 3100 | 0.004 | ----- | ----- | ----- | ----- | 78 | FMI19mar24_031.gcd | 2024-03-20 05:27 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI19mar24_031.gcd | 2024-03-20 05:27 | 127 | Unknown | 0 | 12.219 | 22032 | 4.79 | ----- | ----- | ----- | ----- | 1 |  | 78 | 4.3424 | 4521.6325 | 4.5794 | 4200.7676 | 2.1795 | 4437.9268 | 3.1379 | 5132.6929 | 4.3424 | 4521.6325 | 78 | FMI19mar24_031.gcd | 2024-03-20 05:27 | 127 | Unknown | 0 | 2.862 | 1016236 | 0 | ----- | ----- | ----- | -----