## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20250318_001.gcd | 2025-03-18 12:21 | QC outside air | Unknown | 0 | 6.063 | 1502 | 0 | ----- | ----- | ----- | ----- | 48 | FMI20250318_001.gcd | 2025-03-18 12:21 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250318_001.gcd | 2025-03-18 12:21 | QC outside air | Unknown | 0 | 12.269 | 2020 | 0.407 | ----- | ----- | ----- | ----- | 1 |  | 48 | 0.0023141 | 447.956 | -1.1036 | 382.2997 | -0.22318 | 313.7299 | 6.7812 | 469.2989 | 0.0023141 | 447.956 | 48 | FMI20250318_001.gcd | 2025-03-18 12:21 | QC outside air | Unknown | 0 | 2.712 | 4902379 | 0 | ----- | ----- | ----- | -----
49 | FMI20250318_002.gcd | 2025-03-18 12:51 | QC spiked air | Unknown | 0 | 6.008 | 963192 | 2.427 | ----- | ----- | ----- | ----- | 49 | FMI20250318_002.gcd | 2025-03-18 12:51 | QC spiked air | Unknown | 0 | 5.961 | 8383 | 2.499 | ----- | ----- | ----- | ----- | 49 | FMI20250318_002.gcd | 2025-03-18 12:51 | QC spiked air | Unknown | 0 | 12.247 | 9092 | 1.962 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2215.3685 | 1893.0167 | 2434.0908 | 1733.1883 | 2296.8774 | 1773.5068 | 2005.4365 | 2159.0247 | 2215.3685 | 1893.0167 | 49 | FMI20250318_002.gcd | 2025-03-18 12:51 | QC spiked air | Unknown | 0 | 2.703 | 5080148 | 0 | ----- | ----- | ----- | -----
50 | FMI20250318_003.gcd | 2025-03-18 13:22 | QC reference tank | Unknown | 0 | 6.028 | 2343 | 0.002 | ----- | ----- | ----- | ----- | 50 | FMI20250318_003.gcd | 2025-03-18 13:22 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250318_003.gcd | 2025-03-18 13:22 | QC reference tank | Unknown | 0 | 12.266 | 1528 | 0.298 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2.2501 | 347.2004 | 1.9242 | 288.2576 | 0.94882 | 212.078 | 4.52 | 350.0471 | 2.2501 | 347.2004 | 50 | FMI20250318_003.gcd | 2025-03-18 13:22 | QC reference tank | Unknown | 0 | 2.705 | 5016149 | 0 | ----- | ----- | ----- | -----
51 | FMI20250318_004.gcd | 2025-03-18 13:52 | old standard 119 | Unknown | 0 | 6.018 | 47929 | 0.117 | ----- | ----- | ----- | ----- | 51 | FMI20250318_004.gcd | 2025-03-18 13:52 | old standard 119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250318_004.gcd | 2025-03-18 13:52 | old standard 119 | Unknown | 0 | 12.26 | 2416 | 0.494 | ----- | ----- | ----- | ----- | 2 | Reinjection | 51 | 133.9617 | 529.0309 | 125.6041 | 457.9863 | 109.8823 | 395.5382 | 131.8053 | 565.1217 | 133.9617 | 529.0309 | 51 | FMI20250318_004.gcd | 2025-03-18 13:52 | old standard 119 | Unknown | 0 | 2.715 | 4828260 | 0 | ----- | ----- | ----- | -----
52 | FMI20250318_005.gcd | 2025-03-18 14:23 | old +100 standard | Unknown | 0 | 6.011 | 919066 | 2.316 | ----- | ----- | ----- | ----- | 52 | FMI20250318_005.gcd | 2025-03-18 14:23 | old +100 standard | Unknown | 0 | 5.963 | 8083 | 2.411 | ----- | ----- | ----- | ----- | 52 | FMI20250318_005.gcd | 2025-03-18 14:23 | old +100 standard | Unknown | 0 | 12.247 | 10355 | 2.239 | ----- | ----- | ----- | ----- | 2 | Reinjection. Still well within the range of normal variability! | 52 | 2121.3214 | 2150.4629 | 2357.2699 | 1974.2745 | 2222.8431 | 2033.9421 | 1921.3769 | 2455.9942 | 2121.3214 | 2150.4629 | 52 | FMI20250318_005.gcd | 2025-03-18 14:23 | old +100 standard | Unknown | 0 | 2.705 | 5089304 | 0 | ----- | ----- | ----- | -----
53 | FMI20250318_006.gcd | 2025-03-18 14:54 | 88 | Unknown | 0 | 6.025 | 9658 | 0.021 | ----- | ----- | ----- | ----- | 53 | FMI20250318_006.gcd | 2025-03-18 14:54 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250318_006.gcd | 2025-03-18 14:54 | 88 | Unknown | 0 | 12.22 | 4330 | 0.916 | ----- | ----- | ----- | ----- | 1 |  | 53 | 25.2099 | 920.6288 | 24.8021 | 823.7331 | 19.8116 | 790.8325 | 17.0692 | 1026.2486 | 25.2099 | 920.6288 | 53 | FMI20250318_006.gcd | 2025-03-18 14:54 | 88 | Unknown | 0 | 2.873 | 735103 | 0 | ----- | ----- | ----- | -----
54 | FMI20250318_007.gcd | 2025-03-18 15:24 | 399 | Unknown | 0 | 6.026 | 3396 | 0.005 | ----- | ----- | ----- | ----- | 54 | FMI20250318_007.gcd | 2025-03-18 15:24 | 399 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250318_007.gcd | 2025-03-18 15:24 | 399 | Unknown | 0 | 12.21 | 5689 | 1.215 | ----- | ----- | ----- | ----- | 1 |  | 54 | 5.1784 | 1198.4096 | 5.5996 | 1083.3525 | 2.706 | 1071.3904 | 2.7658 | 1351.6345 | 5.1784 | 1198.4096 | 54 | FMI20250318_007.gcd | 2025-03-18 15:24 | 399 | Unknown | 0 | 2.865 | 746124 | 0 | ----- | ----- | ----- | -----
55 | FMI20250318_008.gcd | 2025-03-18 15:55 | 99 | Unknown | 0 | 6.024 | 7969 | 0.017 | ----- | ----- | ----- | ----- | 55 | FMI20250318_008.gcd | 2025-03-18 15:55 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250318_008.gcd | 2025-03-18 15:55 | 99 | Unknown | 0 | 12.212 | 13788 | 2.991 | ----- | ----- | ----- | ----- | 1 |  | 55 | 19.3656 | 2849.2715 | 20.0704 | 2629.3164 | 14.0756 | 2741.428 | 9.0404 | 3255.8433 | 19.3656 | 2849.2715 | 55 | FMI20250318_008.gcd | 2025-03-18 15:55 | 99 | Unknown | 0 | 2.864 | 886563 | 0 | ----- | ----- | ----- | -----
56 | FMI20250318_009.gcd | 2025-03-18 16:25 | 376 | Unknown | 0 | 6.019 | 9248 | 0.02 | ----- | ----- | ----- | ----- | 56 | FMI20250318_009.gcd | 2025-03-18 16:25 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250318_009.gcd | 2025-03-18 16:25 | 376 | Unknown | 0 | 12.202 | 7583 | 1.631 | ----- | ----- | ----- | ----- | 1 |  | 56 | 23.7613 | 1585.1764 | 23.6839 | 1445.0766 | 18.343 | 1462.2387 | 14.8371 | 1802.3054 | 23.7613 | 1585.1764 | 56 | FMI20250318_009.gcd | 2025-03-18 16:25 | 376 | Unknown | 0 | 2.861 | 836215 | 0 | ----- | ----- | ----- | -----
57 | FMI20250318_010.gcd | 2025-03-18 16:56 | 194 | Unknown | 0 | 6.02 | 11288 | 0.025 | ----- | ----- | ----- | ----- | 57 | FMI20250318_010.gcd | 2025-03-18 16:56 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250318_010.gcd | 2025-03-18 16:56 | 194 | Unknown | 0 | 12.211 | 4140 | 0.874 | ----- | ----- | ----- | ----- | 1 |  | 57 | 28.3661 | 881.7751 | 29.3174 | 787.4313 | 24.024 | 751.6006 | 23.7284 | 980.6226 | 28.3661 | 881.7751 | 57 | FMI20250318_010.gcd | 2025-03-18 16:56 | 194 | Unknown | 0 | 2.859 | 863492 | 0 | ----- | ----- | ----- | -----
58 | FMI20250318_011.gcd | 2025-03-18 17:26 | 400 | Unknown | 0 | 6.027 | 8303 | 0.017 | ----- | ----- | ----- | ----- | 58 | FMI20250318_011.gcd | 2025-03-18 17:26 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250318_011.gcd | 2025-03-18 17:26 | 400 | Unknown | 0 | 12.207 | 12233 | 2.651 | ----- | ----- | ----- | ----- | 1 |  | 58 | 20.4955 | 2532.9162 | 21.0323 | 2332.6584 | 15.1441 | 2421.0421 | 10.3837 | 2894.8783 | 20.4955 | 2532.9162 | 58 | FMI20250318_011.gcd | 2025-03-18 17:26 | 400 | Unknown | 0 | 2.864 | 895772 | 0 | ----- | ----- | ----- | -----
59 | FMI20250318_012.gcd | 2025-03-18 17:57 | 321 | Unknown | 0 | 6.021 | 8690 | 0.018 | ----- | ----- | ----- | ----- | 59 | FMI20250318_012.gcd | 2025-03-18 17:57 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250318_012.gcd | 2025-03-18 17:57 | 321 | Unknown | 0 | 12.203 | 12040 | 2.608 | ----- | ----- | ----- | ----- | 1 |  | 59 | 21.8206 | 2493.6313 | 22.1307 | 2295.8329 | 16.4228 | 2381.2686 | 12.0908 | 2849.923 | 21.8206 | 2493.6313 | 59 | FMI20250318_012.gcd | 2025-03-18 17:57 | 321 | Unknown | 0 | 2.855 | 933903 | 0 | ----- | ----- | ----- | -----
60 | FMI20250318_013.gcd | 2025-03-18 18:28 | 151 | Unknown | 0 | 6.018 | 11046 | 0.024 | ----- | ----- | ----- | ----- | 60 | FMI20250318_013.gcd | 2025-03-18 18:28 | 151 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250318_013.gcd | 2025-03-18 18:28 | 151 | Unknown | 0 | 12.21 | 4989 | 1.061 | ----- | ----- | ----- | ----- | 1 |  | 60 | 27.6661 | 1055.3566 | 28.6804 | 949.6341 | 23.4562 | 926.8911 | 23.0006 | 1184.2436 | 27.6661 | 1055.3566 | 60 | FMI20250318_013.gcd | 2025-03-18 18:28 | 151 | Unknown | 0 | 2.856 | 908683 | 0 | ----- | ----- | ----- | -----
61 | FMI20250318_014.gcd | 2025-03-18 18:58 | 341 | Unknown | 0 | 6.018 | 11498 | 0.026 | ----- | ----- | ----- | ----- | 61 | FMI20250318_014.gcd | 2025-03-18 18:58 | 341 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250318_014.gcd | 2025-03-18 18:58 | 341 | Unknown | 0 | 12.212 | 4485 | 0.95 | ----- | ----- | ----- | ----- | 1 |  | 61 | 28.9735 | 952.3221 | 29.8701 | 853.3469 | 24.5167 | 822.8362 | 24.3599 | 1063.4454 | 28.9735 | 952.3221 | 61 | FMI20250318_014.gcd | 2025-03-18 18:58 | 341 | Unknown | 0 | 2.855 | 932983 | 0 | ----- | ----- | ----- | -----
62 | FMI20250318_015.gcd | 2025-03-18 19:29 | 86 | Unknown | 0 | 6.02 | 10620 | 0.023 | ----- | ----- | ----- | ----- | 62 | FMI20250318_015.gcd | 2025-03-18 19:29 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250318_015.gcd | 2025-03-18 19:29 | 86 | Unknown | 0 | 12.2 | 8468 | 1.825 | ----- | ----- | ----- | ----- | 1 |  | 62 | 26.4338 | 1765.7519 | 27.559 | 1614.0576 | 22.4567 | 1644.8056 | 21.7188 | 2011.7664 | 26.4338 | 1765.7519 | 62 | FMI20250318_015.gcd | 2025-03-18 19:29 | 86 | Unknown | 0 | 2.854 | 955835 | 0 | ----- | ----- | ----- | -----
63 | FMI20250318_016.gcd | 2025-03-18 19:59 | 247 | Unknown | 0 | 6.02 | 11588 | 0.026 | ----- | ----- | ----- | ----- | 63 | FMI20250318_016.gcd | 2025-03-18 19:59 | 247 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250318_016.gcd | 2025-03-18 19:59 | 247 | Unknown | 0 | 12.207 | 4795 | 1.018 | ----- | ----- | ----- | ----- | 1 |  | 63 | 29.2338 | 1015.7001 | 30.107 | 912.5721 | 24.7278 | 886.8397 | 24.6305 | 1137.7733 | 29.2338 | 1015.7001 | 63 | FMI20250318_016.gcd | 2025-03-18 19:59 | 247 | Unknown | 0 | 2.856 | 908926 | 0 | ----- | ----- | ----- | -----
64 | FMI20250318_017.gcd | 2025-03-18 20:30 | 103 | Unknown | 0 | 6.027 | 9334 | 0.02 | ----- | ----- | ----- | ----- | 64 | FMI20250318_017.gcd | 2025-03-18 20:30 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250318_017.gcd | 2025-03-18 20:30 | 103 | Unknown | 0 | 12.209 | 12082 | 2.618 | ----- | ----- | ----- | ----- | 1 |  | 64 | 24.0635 | 2502.1807 | 23.9201 | 2303.8469 | 18.647 | 2389.9241 | 15.2902 | 2859.7089 | 24.0635 | 2502.1807 | 64 | FMI20250318_017.gcd | 2025-03-18 20:30 | 103 | Unknown | 0 | 2.861 | 987516 | 0 | ----- | ----- | ----- | -----
65 | FMI20250318_018.gcd | 2025-03-18 21:01 | 111 | Unknown | 0 | 6.029 | 9115 | 0.02 | ----- | ----- | ----- | ----- | 65 | FMI20250318_018.gcd | 2025-03-18 21:01 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250318_018.gcd | 2025-03-18 21:01 | 111 | Unknown | 0 | 12.212 | 12472 | 2.703 | ----- | ----- | ----- | ----- | 1 |  | 65 | 23.2955 | 2581.5581 | 23.317 | 2378.2591 | 17.8771 | 2470.2927 | 14.152 | 2950.5013 | 23.2955 | 2581.5581 | 65 | FMI20250318_018.gcd | 2025-03-18 21:01 | 111 | Unknown | 0 | 2.863 | 942472 | 0 | ----- | ----- | ----- | -----
66 | FMI20250318_019.gcd | 2025-03-18 21:31 | 20 | Unknown | 0 | 6.026 | 11511 | 0.026 | ----- | ----- | ----- | ----- | 66 | FMI20250318_019.gcd | 2025-03-18 21:31 | 20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250318_019.gcd | 2025-03-18 21:31 | 20 | Unknown | 0 | 12.221 | 5044 | 1.073 | ----- | ----- | ----- | ----- | 1 |  | 66 | 29.0111 | 1066.5986 | 29.9044 | 960.1411 | 24.5472 | 938.2455 | 24.399 | 1197.4119 | 29.0111 | 1066.5986 | 66 | FMI20250318_019.gcd | 2025-03-18 21:31 | 20 | Unknown | 0 | 2.866 | 889476 | 0 | ----- | ----- | ----- | -----
67 | FMI20250318_020.gcd | 2025-03-18 22:02 | 334 | Unknown | 0 | 6.013 | 89123 | 0.221 | ----- | ----- | ----- | ----- | 67 | FMI20250318_020.gcd | 2025-03-18 22:02 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250318_020.gcd | 2025-03-18 22:02 | 334 | Unknown | 0 | 12.125 | 81924 | 17.604 | ----- | ----- | ----- | ----- | 1 |  | 67 | 251.7527 | 16188.9429 | 233.4677 | 15550.8811 | 206.1511 | 16658.7123 | 248.2553 | 18241.0727 | 251.7527 | 16188.9429 | 67 | FMI20250318_020.gcd | 2025-03-18 22:02 | 334 | Unknown | 0 | 2.86 | 819076 | 0 | ----- | ----- | ----- | -----
68 | FMI20250318_021.gcd | 2025-03-18 22:32 | 366 | Unknown | 0 | 6.02 | 5360 | 0.01 | ----- | ----- | ----- | ----- | 68 | FMI20250318_021.gcd | 2025-03-18 22:32 | 366 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250318_021.gcd | 2025-03-18 22:32 | 366 | Unknown | 0 | 12.2 | 5092 | 1.083 | ----- | ----- | ----- | ----- | 1 |  | 68 | 10.9787 | 1076.4095 | 12.1114 | 969.3108 | 6.8445 | 948.1547 | 2.6936 | 1208.902 | 10.9787 | 1076.4095 | 68 | FMI20250318_021.gcd | 2025-03-18 22:32 | 366 | Unknown | 0 | 2.854 | 952341 | 0 | ----- | ----- | ----- | -----
69 | FMI20250318_022.gcd | 2025-03-18 23:03 | 307 | Unknown | 0 | 6.028 | 9047 | 0.019 | ----- | ----- | ----- | ----- | 69 | FMI20250318_022.gcd | 2025-03-18 23:03 | 307 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250318_022.gcd | 2025-03-18 23:03 | 307 | Unknown | 0 | 12.21 | 14165 | 3.073 | ----- | ----- | ----- | ----- | 1 |  | 69 | 23.0581 | 2925.9263 | 23.1286 | 2701.2275 | 17.6409 | 2819.085 | 13.8091 | 3343.0248 | 23.0581 | 2925.9263 | 69 | FMI20250318_022.gcd | 2025-03-18 23:03 | 307 | Unknown | 0 | 2.859 | 1022840 | 0 | ----- | ----- | ----- | -----
70 | FMI20250318_023.gcd | 2025-03-18 23:33 | 222 | Unknown | 0 | 6.012 | 87893 | 0.218 | ----- | ----- | ----- | ----- | 70 | FMI20250318_023.gcd | 2025-03-18 23:33 | 222 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250318_023.gcd | 2025-03-18 23:33 | 222 | Unknown | 0 | 12.123 | 84432 | 18.132 | ----- | ----- | ----- | ----- | 1 |  | 70 | 248.2498 | 16696.3174 | 230.253 | 16023.6267 | 203.2806 | 17166.4684 | 244.8558 | 18845.24 | 248.2498 | 16696.3174 | 70 | FMI20250318_023.gcd | 2025-03-18 23:33 | 222 | Unknown | 0 | 2.86 | 830381 | 0 | ----- | ----- | ----- | -----