## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240611_001.gcd | 2024-06-11 16:18 | QC outside air | Unknown | 0 | 6.041 | 2311 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI20240611_001.gcd | 2024-06-11 16:18 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240611_001.gcd | 2024-06-11 16:18 | QC outside air | Unknown | 0 | 12.198 | 2351 | 0.48 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.1631 | 515.7245 | 1.8105 | 445.5633 | 0.90046 | 382.1106 | 4.5921 | 549.403 | 2.1631 | 515.7245 | 48 | FMI20240611_001.gcd | 2024-06-11 16:18 | QC outside air | Unknown | 0 | 2.704 | 5245934 | 0 | ----- | ----- | ----- | -----
49 | FMI20240611_002.gcd | 2024-06-11 16:49 | QC spiked air | Unknown | 0 | 5.998 | 1204000 | 3.036 | ----- | ----- | ----- | ----- | 49 | FMI20240611_002.gcd | 2024-06-11 16:49 | QC spiked air | Unknown | 0 | 5.949 | 10336 | 3.072 | ----- | ----- | ----- | ----- | 49 | FMI20240611_002.gcd | 2024-06-11 16:49 | QC spiked air | Unknown | 0 | 12.181 | 8932 | 1.927 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2728.1844 | 1860.3891 | 2934.1063 | 1702.6432 | 2778.7552 | 1740.5084 | 2462.8971 | 2121.3001 | 2728.1844 | 1860.3891 | 49 | FMI20240611_002.gcd | 2024-06-11 16:49 | QC spiked air | Unknown | 0 | 2.7 | 5289832 | 0 | ----- | ----- | ----- | -----
50 | FMI20240611_003.gcd | 2024-06-11 17:19 | QC reference tank | Unknown | 0 | 6.024 | 3962 | 0.007 | ----- | ----- | ----- | ----- | 50 | FMI20240611_003.gcd | 2024-06-11 17:19 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240611_003.gcd | 2024-06-11 17:19 | QC reference tank | Unknown | 0 | 12.19 | 1423 | 0.275 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.8047 | 325.6939 | 7.5221 | 268.1867 | 3.7837 | 190.3824 | 2.3177 | 324.5684 | 6.8047 | 325.6939 | 50 | FMI20240611_003.gcd | 2024-06-11 17:19 | QC reference tank | Unknown | 0 | 2.701 | 5291685 | 0 | ----- | ----- | ----- | -----
51 | FMI20240611_004.gcd | 2024-06-11 17:50 | 321 | Unknown | 0 | 6.003 | 17344 | 0.04 | ----- | ----- | ----- | ----- | 51 | FMI20240611_004.gcd | 2024-06-11 17:50 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240611_004.gcd | 2024-06-11 17:50 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected. Bubble in vial. | 51 | 45.8724 | #VALUE! | 45.254 | #VALUE! | 38.2295 | #VALUE! | 41.8834 | #VALUE! | 45.8724 | #VALUE! | 51 | FMI20240611_004.gcd | 2024-06-11 17:50 | 321 | Unknown | 0 | 2.835 | 1191563 | 0 | ----- | ----- | ----- | -----
52 | FMI20240611_005.gcd | 2024-06-11 18:20 | 254 | Unknown | 0 | 6.003 | 22902 | 0.054 | ----- | ----- | ----- | ----- | 52 | FMI20240611_005.gcd | 2024-06-11 18:20 | 254 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240611_005.gcd | 2024-06-11 18:20 | 254 | Unknown | 0 | 12.175 | 1657 | 0.327 | ----- | ----- | ----- | ----- | 1 |  | 52 | 61.9204 | 373.6208 | 59.8723 | 312.9158 | 51.2617 | 238.7318 | 58.4436 | 381.3357 | 61.9204 | 373.6208 | 52 | FMI20240611_005.gcd | 2024-06-11 18:20 | 254 | Unknown | 0 | 2.859 | 737133 | 0 | ----- | ----- | ----- | -----
53 | FMI20240611_006.gcd | 2024-06-11 18:51 | 372 | Unknown | 0 | 6.013 | 10652 | 0.023 | ----- | ----- | ----- | ----- | 53 | FMI20240611_006.gcd | 2024-06-11 18:51 | 372 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240611_006.gcd | 2024-06-11 18:51 | 372 | Unknown | 0 | 12.156 | 31257 | 6.793 | ----- | ----- | ----- | ----- | 1 |  | 53 | 26.5264 | 6383.3604 | 27.6432 | 5956.5944 | 22.5318 | 6332.1889 | 21.8151 | 7159.3783 | 26.5264 | 6383.3604 | 53 | FMI20240611_006.gcd | 2024-06-11 18:51 | 372 | Unknown | 0 | 2.867 | 697510 | 0 | ----- | ----- | ----- | -----
54 | FMI20240611_007.gcd | 2024-06-11 19:22 | 111 | Unknown | 0 | 5.995 | 773028 | 1.946 | ----- | ----- | ----- | ----- | 54 | FMI20240611_007.gcd | 2024-06-11 19:22 | 111 | Unknown | 0 | 5.95 | 6162 | 1.848 | ----- | ----- | ----- | ----- | 54 | FMI20240611_007.gcd | 2024-06-11 19:22 | 111 | Unknown | 0 | 12.121 | 52981 | 11.467 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1809.8941 | 10311.8284 | 1865.2747 | 10080.4676 | 1748.6943 | 10775.8384 | 1642.6595 | 11231.588 | 1809.8941 | 10311.8284 | 54 | FMI20240611_007.gcd | 2024-06-11 19:22 | 111 | Unknown | 0 | 2.858 | 724398 | 0 | ----- | ----- | ----- | -----
55 | FMI20240611_008.gcd | 2024-06-11 19:52 | 364 | Unknown | 0 | 6.004 | 11922 | 0.027 | ----- | ----- | ----- | ----- | 55 | FMI20240611_008.gcd | 2024-06-11 19:52 | 364 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240611_008.gcd | 2024-06-11 19:52 | 364 | Unknown | 0 | 12.141 | 29770 | 6.471 | ----- | ----- | ----- | ----- | 1 |  | 55 | 30.1998 | 6083.9521 | 30.9862 | 5673.7555 | 25.5114 | 6027.1418 | 25.6345 | 6837.9401 | 30.1998 | 6083.9521 | 55 | FMI20240611_008.gcd | 2024-06-11 19:52 | 364 | Unknown | 0 | 2.861 | 681535 | 0 | ----- | ----- | ----- | -----
56 | FMI20240611_009.gcd | 2024-06-11 20:23 | 301 | Unknown | 0 | 6.053 | 2150 | 0.002 | ----- | ----- | ----- | ----- | 56 | FMI20240611_009.gcd | 2024-06-11 20:23 | 301 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240611_009.gcd | 2024-06-11 20:23 | 301 | Unknown | 0 | 12.054 | 121775 | 25.895 | ----- | ----- | ----- | ----- | 1 |  | 56 | 1.7271 | 24215.138 | 1.2366 | 23038.4 | 0.66168 | 24688.7526 | 4.9714 | 27780.1552 | 1.7271 | 24215.138 | 56 | FMI20240611_009.gcd | 2024-06-11 20:23 | 301 | Unknown | 0 | 2.86 | 826123 | 0 | ----- | ----- | ----- | -----
57 | FMI20240611_010.gcd | 2024-06-11 20:53 | 217 | Unknown | 0 | 6.016 | 4947 | 0.009 | ----- | ----- | ----- | ----- | 57 | FMI20240611_010.gcd | 2024-06-11 20:53 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240611_010.gcd | 2024-06-11 20:53 | 217 | Unknown | 0 | 12.08 | 84451 | 18.136 | ----- | ----- | ----- | ----- | 1 |  | 57 | 9.7224 | 16700.16 | 10.7792 | 16027.2073 | 5.8811 | 17170.3138 | 2.3629 | 18849.8151 | 9.7224 | 16700.16 | 57 | FMI20240611_010.gcd | 2024-06-11 20:53 | 217 | Unknown | 0 | 2.852 | 833656 | 0 | ----- | ----- | ----- | -----
58 | FMI20240611_011.gcd | 2024-06-11 21:24 | 331 | Unknown | 0 | 5.997 | 102038 | 0.254 | ----- | ----- | ----- | ----- | 58 | FMI20240611_011.gcd | 2024-06-11 21:24 | 331 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240611_011.gcd | 2024-06-11 21:24 | 331 | Unknown | 0 | 12.2 | 103171 | 22.047 | ----- | ----- | ----- | ----- | 1 |  | 58 | 288.4802 | 20477.6958 | 267.2002 | 19549.3616 | 236.2767 | 20950.1043 | 283.6623 | 23343.1067 | 288.4802 | 20477.6958 | 58 | FMI20240611_011.gcd | 2024-06-11 21:24 | 331 | Unknown | 0 | 2.852 | 836999 | 0 | ----- | ----- | ----- | -----
59 | FMI20240611_012.gcd | 2024-06-11 21:54 | 316 | Unknown | 0 | 6.038 | 2262 | 0.002 | ----- | ----- | ----- | ----- | 59 | FMI20240611_012.gcd | 2024-06-11 21:54 | 316 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240611_012.gcd | 2024-06-11 21:54 | 316 | Unknown | 0 | 12.047 | 120388 | 25.609 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.0301 | 23937.0711 | 1.6361 | 22778.667 | 0.82699 | 24410.6313 | 4.7046 | 27450.3328 | 2.0301 | 23937.0711 | 59 | FMI20240611_012.gcd | 2024-06-11 21:54 | 316 | Unknown | 0 | 2.85 | 891160 | 0 | ----- | ----- | ----- | -----
60 | FMI20240611_013.gcd | 2024-06-11 22:25 | 169 | Unknown | 0 | 6 | 27161 | 0.065 | ----- | ----- | ----- | ----- | 60 | FMI20240611_013.gcd | 2024-06-11 22:25 | 169 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240611_013.gcd | 2024-06-11 22:25 | 169 | Unknown | 0 | 12.144 | 1297 | 0.248 | ----- | ----- | ----- | ----- | 1 |  | 60 | 74.2057 | 299.8844 | 71.0689 | 244.101 | 61.2446 | 164.347 | 71.0675 | 293.9807 | 74.2057 | 299.8844 | 60 | FMI20240611_013.gcd | 2024-06-11 22:25 | 169 | Unknown | 0 | 2.847 | 937796 | 0 | ----- | ----- | ----- | -----
61 | FMI20240611_014.gcd | 2024-06-11 22:55 | 44 | Unknown | 0 | 6.003 | 16199 | 0.037 | ----- | ----- | ----- | ----- | 61 | FMI20240611_014.gcd | 2024-06-11 22:55 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20240611_014.gcd | 2024-06-11 22:55 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 detected. | 61 | 42.5641 | #VALUE! | 42.2415 | #VALUE! | 35.5441 | #VALUE! | 38.4597 | #VALUE! | 42.5641 | #VALUE! | 61 | FMI20240611_014.gcd | 2024-06-11 22:55 | 44 | Unknown | 0 | 2.854 | 833543 | 0 | ----- | ----- | ----- | -----
62 | FMI20240611_015.gcd | 2024-06-11 23:26 | 287 | Unknown | 0 | 5.974 | 8672334 | 22.293 | ----- | ----- | ----- | ----- | 62 | FMI20240611_015.gcd | 2024-06-11 23:26 | 287 | Unknown | 0 | 5.926 | 63541 | 18.444 | ----- | ----- | ----- | ----- | 62 | FMI20240611_015.gcd | 2024-06-11 23:26 | 287 | Unknown | 0 | 12.105 | 61854 | 13.36 | ----- | ----- | ----- | ----- | 1 |  | 62 | 16772.5499 | 12117.8434 | 16496.9806 | 11760.4174 | 15849.5352 | 12583.8844 | 15185.5173 | 13387.7558 | 16772.5499 | 12117.8434 | 62 | FMI20240611_015.gcd | 2024-06-11 23:26 | 287 | Unknown | 0 | 2.847 | 895262 | 0 | ----- | ----- | ----- | -----
63 | FMI20240611_016.gcd | 2024-06-11 23:57 | 407 | Unknown | 0 | 6.001 | 20548 | 0.048 | ----- | ----- | ----- | ----- | 63 | FMI20240611_016.gcd | 2024-06-11 23:57 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240611_016.gcd | 2024-06-11 23:57 | 407 | Unknown | 0 | 12.146 | 20449 | 4.445 | ----- | ----- | ----- | ----- | 1 |  | 63 | 55.1257 | 4201.1389 | 53.6818 | 3899.1915 | 45.7427 | 4112.4368 | 51.4417 | 4777.1125 | 55.1257 | 4201.1389 | 63 | FMI20240611_016.gcd | 2024-06-11 23:57 | 407 | Unknown | 0 | 2.853 | 830553 | 0 | ----- | ----- | ----- | -----
64 | FMI20240611_017.gcd | 2024-06-12 00:27 | 245 | Unknown | 0 | 6.032 | 2285 | 0.002 | ----- | ----- | ----- | ----- | 64 | FMI20240611_017.gcd | 2024-06-12 00:27 | 245 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240611_017.gcd | 2024-06-12 00:27 | 245 | Unknown | 0 | 12.044 | 120692 | 25.672 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.0924 | 23998.0252 | 1.718 | 22835.6002 | 0.86139 | 24471.5978 | 4.6514 | 27522.6361 | 2.0924 | 23998.0252 | 64 | FMI20240611_017.gcd | 2024-06-12 00:27 | 245 | Unknown | 0 | 2.844 | 999968 | 0 | ----- | ----- | ----- | -----
65 | FMI20240611_018.gcd | 2024-06-12 00:58 | 403 | Unknown | 0 | 5.994 | 754006 | 1.898 | ----- | ----- | ----- | ----- | 65 | FMI20240611_018.gcd | 2024-06-12 00:58 | 403 | Unknown | 0 | 5.942 | 6761 | 2.024 | ----- | ----- | ----- | ----- | 65 | FMI20240611_018.gcd | 2024-06-12 00:58 | 403 | Unknown | 0 | 12.11 | 54304 | 11.75 | ----- | ----- | ----- | ----- | 1 |  | 65 | 1769.31 | 10581.3525 | 2018.703 | 10331.1173 | 1896.5572 | 11045.6802 | 1606.2971 | 11553.4898 | 1769.31 | 10581.3525 | 65 | FMI20240611_018.gcd | 2024-06-12 00:58 | 403 | Unknown | 0 | 2.857 | 718774 | 0 | ----- | ----- | ----- | -----
66 | FMI20240611_019.gcd | 2024-06-12 01:28 | 26 | Unknown | 0 | 5.994 | 367649 | 0.923 | ----- | ----- | ----- | ----- | 66 | FMI20240611_019.gcd | 2024-06-12 01:28 | 26 | Unknown | 0 | 5.941 | 2762 | 0.848 | ----- | ----- | ----- | ----- | 66 | FMI20240611_019.gcd | 2024-06-12 01:28 | 26 | Unknown | 0 | 12.106 | 52748 | 11.418 | ----- | ----- | ----- | ----- | 1 |  | 66 | 944.0338 | 10264.3525 | 952.0025 | 10036.3186 | 849.8836 | 10728.306 | 864.825 | 11174.8814 | 944.0338 | 10264.3525 | 66 | FMI20240611_019.gcd | 2024-06-12 01:28 | 26 | Unknown | 0 | 2.85 | 833232 | 0 | ----- | ----- | ----- | -----
67 | FMI20240611_020.gcd | 2024-06-12 01:59 | 261 | Unknown | 0 | 5.999 | 36094 | 0.087 | ----- | ----- | ----- | ----- | 67 | FMI20240611_020.gcd | 2024-06-12 01:59 | 261 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240611_020.gcd | 2024-06-12 01:59 | 261 | Unknown | 0 | 12.179 | 1620 | 0.319 | ----- | ----- | ----- | ----- | 1 |  | 67 | 99.9393 | 366.0431 | 94.5391 | 305.8433 | 82.1738 | 231.087 | 97.3596 | 372.363 | 99.9393 | 366.0431 | 67 | FMI20240611_020.gcd | 2024-06-12 01:59 | 261 | Unknown | 0 | 2.852 | 860957 | 0 | ----- | ----- | ----- | -----
68 | FMI20240611_021.gcd | 2024-06-12 02:29 | 135 | Unknown | 0 | 5.972 | 8916462 | 22.935 | ----- | ----- | ----- | ----- | 68 | FMI20240611_021.gcd | 2024-06-12 02:29 | 135 | Unknown | 0 | 5.926 | 67073 | 19.45 | ----- | ----- | ----- | ----- | 68 | FMI20240611_021.gcd | 2024-06-12 02:29 | 135 | Unknown | 0 | 12.112 | 53167 | 11.507 | ----- | ----- | ----- | ----- | 1 |  | 68 | 17736.9659 | 10349.7258 | 17393.3265 | 10115.7098 | 16713.3518 | 10813.7808 | 16082.2488 | 11276.8526 | 17736.9659 | 10349.7258 | 68 | FMI20240611_021.gcd | 2024-06-12 02:29 | 135 | Unknown | 0 | 2.851 | 793868 | 0 | ----- | ----- | ----- | -----
69 | FMI20240611_022.gcd | 2024-06-12 03:00 | 382 | Unknown | 0 | 5.997 | 115531 | 0.288 | ----- | ----- | ----- | ----- | 69 | FMI20240611_022.gcd | 2024-06-12 03:00 | 382 | Unknown | 0 | 5.952 | 1173 | 0.381 | ----- | ----- | ----- | ----- | 69 | FMI20240611_022.gcd | 2024-06-12 03:00 | 382 | Unknown | 0 | 12.094 | 67449 | 14.548 | ----- | ----- | ----- | ----- | 1 |  | 69 | 326.7486 | 13254.7074 | 302.3994 | 12818.4181 | 267.7218 | 13721.9084 | 320.092 | 14744.0482 | 326.7486 | 13254.7074 | 69 | FMI20240611_022.gcd | 2024-06-12 03:00 | 382 | Unknown | 0 | 2.846 | 942649 | 0 | ----- | ----- | ----- | -----
70 | FMI20240611_023.gcd | 2024-06-12 03:30 | 92 | Unknown | 0 | 6.009 | 20167 | 0.047 | ----- | ----- | ----- | ----- | 70 | FMI20240611_023.gcd | 2024-06-12 03:30 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240611_023.gcd | 2024-06-12 03:30 | 92 | Unknown | 0 | 12.154 | 19823 | 4.309 | ----- | ----- | ----- | ----- | 1 |  | 70 | 54.0257 | 4074.3165 | 52.6798 | 3779.9102 | 44.8494 | 3983.686 | 50.3068 | 4635.8669 | 54.0257 | 4074.3165 | 70 | FMI20240611_023.gcd | 2024-06-12 03:30 | 92 | Unknown | 0 | 2.862 | 846811 | 0 | ----- | ----- | ----- | -----
71 | FMI20240611_024.gcd | 2024-06-12 04:01 | 358 | Unknown | 0 | 6.037 | 1736 | 0.001 | ----- | ----- | ----- | ----- | 71 | FMI20240611_024.gcd | 2024-06-12 04:01 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240611_024.gcd | 2024-06-12 04:01 | 358 | Unknown | 0 | 12.041 | 118621 | 25.245 | ----- | ----- | ----- | ----- | 1 |  | 71 | 0.61961 | 23582.6876 | -0.25292 | 22447.6837 | 0.082276 | 24056.1703 | 6.0754 | 27029.9202 | 0.61961 | 23582.6876 | 71 | FMI20240611_024.gcd | 2024-06-12 04:01 | 358 | Unknown | 0 | 2.846 | 963308 | 0 | ----- | ----- | ----- | -----
72 | FMI20240611_025.gcd | 2024-06-12 04:32 | 304 | Unknown | 0 | 6.025 | 2524 | 0.003 | ----- | ----- | ----- | ----- | 72 | FMI20240611_025.gcd | 2024-06-12 04:32 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240611_025.gcd | 2024-06-12 04:32 | 304 | Unknown | 0 | 12.076 | 84893 | 18.228 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.7444 | 16789.546 | 2.5651 | 16110.5007 | 1.2279 | 17259.765 | 4.1333 | 18956.2371 | 2.7444 | 16789.546 | 72 | FMI20240611_025.gcd | 2024-06-12 04:32 | 304 | Unknown | 0 | 2.847 | 940945 | 0 | ----- | ----- | ----- | -----
73 | FMI20240611_026.gcd | 2024-06-12 05:02 | 312 | Unknown | 0 | 5.995 | 326888 | 0.82 | ----- | ----- | ----- | ----- | 73 | FMI20240611_026.gcd | 2024-06-12 05:02 | 312 | Unknown | 0 | 5.945 | 3711 | 1.128 | ----- | ----- | ----- | ----- | 73 | FMI20240611_026.gcd | 2024-06-12 05:02 | 312 | Unknown | 0 | 12.108 | 55486 | 12.002 | ----- | ----- | ----- | ----- | 1 |  | 73 | 856.8585 | 10822.0807 | 848.0199 | 10555.0056 | 756.4569 | 11286.6879 | 786.2752 | 11840.9635 | 856.8585 | 10822.0807 | 73 | FMI20240611_026.gcd | 2024-06-12 05:02 | 312 | Unknown | 0 | 2.85 | 826032 | 0 | ----- | ----- | ----- | -----
74 | FMI20240611_027.gcd | 2024-06-12 05:33 | 103 | Unknown | 0 | 6.022 | 2519 | 0.003 | ----- | ----- | ----- | ----- | 74 | FMI20240611_027.gcd | 2024-06-12 05:33 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20240611_027.gcd | 2024-06-12 05:33 | 103 | Unknown | 0 | 12.063 | 92277 | 19.776 | ----- | ----- | ----- | ----- | 1 |  | 74 | 2.7307 | 18281.4286 | 2.5474 | 17501.0498 | 1.2201 | 18752.652 | 4.1435 | 20731.7476 | 2.7307 | 18281.4286 | 74 | FMI20240611_027.gcd | 2024-06-12 05:33 | 103 | Unknown | 0 | 2.846 | 949657 | 0 | ----- | ----- | ----- | -----
75 | FMI20240611_028.gcd | 2024-06-12 06:03 | 97 | Unknown | 0 | 5.997 | 48927 | 0.12 | ----- | ----- | ----- | ----- | 75 | FMI20240611_028.gcd | 2024-06-12 06:03 | 97 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240611_028.gcd | 2024-06-12 06:03 | 97 | Unknown | 0 | 12.146 | 16724 | 3.633 | ----- | ----- | ----- | ----- | 1 |  | 75 | 136.827 | 3445.7944 | 128.2221 | 3189.223 | 112.2178 | 3346.0131 | 134.6898 | 3931.3684 | 136.827 | 3445.7944 | 75 | FMI20240611_028.gcd | 2024-06-12 06:03 | 97 | Unknown | 0 | 2.848 | 932342 | 0 | ----- | ----- | ----- | -----
76 | FMI20240611_029.gcd | 2024-06-12 06:34 | 257 | Unknown | 0 | 6.014 | 3400 | 0.005 | ----- | ----- | ----- | ----- | 76 | FMI20240611_029.gcd | 2024-06-12 06:34 | 257 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20240611_029.gcd | 2024-06-12 06:34 | 257 | Unknown | 0 | 12.067 | 91211 | 19.553 | ----- | ----- | ----- | ----- | 1 |  | 76 | 5.1897 | 18066.213 | 5.6133 | 17300.411 | 2.7133 | 18537.3014 | 2.7614 | 20475.6993 | 5.1897 | 18066.213 | 76 | FMI20240611_029.gcd | 2024-06-12 06:34 | 257 | Unknown | 0 | 2.847 | 926180 | 0 | ----- | ----- | ----- | -----
77 | FMI20240611_030.gcd | 2024-06-12 07:04 | 147 | Unknown | 0 | 5.998 | 37935 | 0.092 | ----- | ----- | ----- | ----- | 77 | FMI20240611_030.gcd | 2024-06-12 07:04 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20240611_030.gcd | 2024-06-12 07:04 | 147 | Unknown | 0 | 12.177 | 1993 | 0.401 | ----- | ----- | ----- | ----- | 1 |  | 77 | 105.237 | 442.4275 | 99.3736 | 377.139 | 86.4855 | 308.1517 | 102.7468 | 462.7603 | 105.237 | 442.4275 | 77 | FMI20240611_030.gcd | 2024-06-12 07:04 | 147 | Unknown | 0 | 2.847 | 955197 | 0 | ----- | ----- | ----- | -----
78 | FMI20240611_031.gcd | 2024-06-12 07:35 | 241 | Unknown | 0 | 6.006 | 45632 | 0.111 | ----- | ----- | ----- | ----- | 78 | FMI20240611_031.gcd | 2024-06-12 07:35 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20240611_031.gcd | 2024-06-12 07:35 | 241 | Unknown | 0 | 12.163 | 13979 | 3.033 | ----- | ----- | ----- | ----- | 1 |  | 78 | 127.3648 | 2888.1093 | 119.5775 | 2665.7494 | 104.5062 | 2780.7724 | 125.1544 | 3300.0284 | 127.3648 | 2888.1093 | 78 | FMI20240611_031.gcd | 2024-06-12 07:35 | 241 | Unknown | 0 | 2.858 | 895718 | 0 | ----- | ----- | ----- | -----