## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240702_001.gcd | 2024-07-02 16:25 | QC outside air | Unknown | 0 | 6.059 | 2545 | 0.003 | ----- | ----- | ----- | ----- | 48 | FMI20240702_001.gcd | 2024-07-02 16:25 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240702_001.gcd | 2024-07-02 16:25 | QC outside air | Unknown | 0 | 12.252 | 1932 | 0.388 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.802 | 429.9368 | 2.6392 | 365.4797 | 1.2609 | 295.5491 | 4.0907 | 447.9856 | 2.802 | 429.9368 | 48 | FMI20240702_001.gcd | 2024-07-02 16:25 | QC outside air | Unknown | 0 | 2.7 | 5358899 | 0 | ----- | ----- | ----- | -----
49 | FMI20240702_002.gcd | 2024-07-02 16:56 | QC spiked air | Unknown | 0 | 5.998 | 1269124 | 3.201 | ----- | ----- | ----- | ----- | 49 | FMI20240702_002.gcd | 2024-07-02 16:56 | QC spiked air | Unknown | 0 | 5.949 | 10266 | 3.051 | ----- | ----- | ----- | ----- | 49 | FMI20240702_002.gcd | 2024-07-02 16:56 | QC spiked air | Unknown | 0 | 12.203 | 10630 | 2.299 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2866.7465 | 2206.4928 | 2916.1872 | 2026.7607 | 2761.4861 | 2090.6373 | 2586.242 | 2520.4621 | 2866.7465 | 2206.4928 | 49 | FMI20240702_002.gcd | 2024-07-02 16:56 | QC spiked air | Unknown | 0 | 2.695 | 5451413 | 0 | ----- | ----- | ----- | -----
50 | FMI20240702_003.gcd | 2024-07-02 17:27 | QC reference tank | Unknown | 0 | 6.032 | 3678 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20240702_003.gcd | 2024-07-02 17:27 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240702_003.gcd | 2024-07-02 17:27 | QC reference tank | Unknown | 0 | 12.22 | 1812 | 0.361 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.9841 | 405.3637 | 6.5621 | 342.543 | 3.2313 | 270.7566 | 2.4993 | 418.9105 | 5.9841 | 405.3637 | 50 | FMI20240702_003.gcd | 2024-07-02 17:27 | QC reference tank | Unknown | 0 | 2.694 | 5510867 | 0 | ----- | ----- | ----- | -----
51 | FMI20240702_004.gcd | 2024-07-02 17:57 | 161 | Unknown | 0 | 6.002 | 36036 | 0.087 | ----- | ----- | ----- | ----- | 51 | FMI20240702_004.gcd | 2024-07-02 17:57 | 161 | Unknown | 0 | 5.988 | 870 | 0.291 | ----- | ----- | ----- | ----- | 51 | FMI20240702_004.gcd | 2024-07-02 17:57 | 161 | Unknown | 0 | 12.179 | 8959 | 1.933 | ----- | ----- | ----- | ----- | 1 |  | 51 | 99.7723 | 1865.8952 | 94.3868 | 1707.7977 | 82.0379 | 1746.077 | 97.1897 | 2127.6677 | 99.7723 | 1865.8952 | 51 | FMI20240702_004.gcd | 2024-07-02 17:57 | 161 | Unknown | 0 | 2.853 | 832871 | 0 | ----- | ----- | ----- | -----
52 | FMI20240702_005.gcd | 2024-07-02 18:28 | 273 | Unknown | 0 | 6.001 | 78960 | 0.195 | ----- | ----- | ----- | ----- | 52 | FMI20240702_005.gcd | 2024-07-02 18:28 | 273 | Unknown | 0 | 5.909 | 680 | 0.235 | ----- | ----- | ----- | ----- | 52 | FMI20240702_005.gcd | 2024-07-02 18:28 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | No CO2 peak detected | 52 | 222.7835 | #VALUE! | 206.8947 | #VALUE! | 182.4259 | #VALUE! | 220.0232 | #VALUE! | 222.7835 | #VALUE! | 52 | FMI20240702_005.gcd | 2024-07-02 18:28 | 273 | Unknown | 0 | 2.856 | 802912 | 0 | ----- | ----- | ----- | -----
53 | FMI20240702_006.gcd | 2024-07-02 18:58 | 119 | Unknown | 0 | 5.959 | 17051496 | 44.793 | ----- | ----- | ----- | ----- | 53 | FMI20240702_006.gcd | 2024-07-02 18:58 | 119 | Unknown | 0 | 5.913 | 125831 | 35.924 | ----- | ----- | ----- | ----- | 53 | FMI20240702_006.gcd | 2024-07-02 18:58 | 119 | Unknown | 0 | 12.095 | 87521 | 18.78 | ----- | ----- | ----- | ----- | 1 |  | 53 | 33667.4334 | 17320.8143 | 32231.3912 | 16605.6068 | 31012.788 | 17791.4094 | 30926.9827 | 19588.6607 | 33667.4334 | 17320.8143 | 53 | FMI20240702_006.gcd | 2024-07-02 18:58 | 119 | Unknown | 0 | 2.867 | 619298 | 0 | ----- | ----- | ----- | -----
54 | FMI20240702_007.gcd | 2024-07-02 19:29 | 285 | Unknown | 0 | 6.002 | 43124 | 0.105 | ----- | ----- | ----- | ----- | 54 | FMI20240702_007.gcd | 2024-07-02 19:29 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240702_007.gcd | 2024-07-02 19:29 | 285 | Unknown | 0 | 12.176 | 8483 | 1.828 | ----- | ----- | ----- | ----- | 1 |  | 54 | 120.1584 | 1768.8117 | 112.9958 | 1616.9215 | 98.6354 | 1647.8996 | 117.8736 | 2015.3105 | 120.1584 | 1768.8117 | 54 | FMI20240702_007.gcd | 2024-07-02 19:29 | 285 | Unknown | 0 | 2.855 | 805331 | 0 | ----- | ----- | ----- | -----
55 | FMI20240702_008.gcd | 2024-07-02 19:59 | 24 | Unknown | 0 | 6 | 196733 | 0.492 | ----- | ----- | ----- | ----- | 55 | FMI20240702_008.gcd | 2024-07-02 19:59 | 24 | Unknown | 0 | 5.947 | 1271 | 0.41 | ----- | ----- | ----- | ----- | 55 | FMI20240702_008.gcd | 2024-07-02 19:59 | 24 | Unknown | 0 | 12.13 | 50038 | 10.838 | ----- | ----- | ----- | ----- | 1 |  | 55 | 554.8303 | 9711.9731 | 513.3011 | 9522.6958 | 456.3419 | 10175.2576 | 527.2025 | 10515.0071 | 554.8303 | 9711.9731 | 55 | FMI20240702_008.gcd | 2024-07-02 19:59 | 24 | Unknown | 0 | 2.849 | 886526 | 0 | ----- | ----- | ----- | -----
56 | FMI20240702_009.gcd | 2024-07-02 20:30 | 50 | Unknown | 0 | 5.992 | 2786920 | 7.06 | ----- | ----- | ----- | ----- | 56 | FMI20240702_009.gcd | 2024-07-02 20:30 | 50 | Unknown | 0 | 5.945 | 21338 | 6.286 | ----- | ----- | ----- | ----- | 56 | FMI20240702_009.gcd | 2024-07-02 20:30 | 50 | Unknown | 0 | 12.129 | 48272 | 10.459 | ----- | ----- | ----- | ----- | 1 |  | 56 | 6081.2146 | 9351.8192 | 5748.0251 | 9187.8596 | 5490.5959 | 9814.6561 | 5416.26 | 10084.6698 | 6081.2146 | 9351.8192 | 56 | FMI20240702_009.gcd | 2024-07-02 20:30 | 50 | Unknown | 0 | 2.851 | 848910 | 0 | ----- | ----- | ----- | -----
57 | FMI20240702_010.gcd | 2024-07-02 21:01 | 344 | Unknown | 0 | 6.003 | 33389 | 0.081 | ----- | ----- | ----- | ----- | 57 | FMI20240702_010.gcd | 2024-07-02 21:01 | 344 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240702_010.gcd | 2024-07-02 21:01 | 344 | Unknown | 0 | 12.159 | 19534 | 4.246 | ----- | ----- | ----- | ----- | 1 |  | 57 | 92.1517 | 4015.7517 | 87.4341 | 3724.8384 | 75.8376 | 3924.24 | 89.4246 | 4570.5387 | 92.1517 | 4015.7517 | 57 | FMI20240702_010.gcd | 2024-07-02 21:01 | 344 | Unknown | 0 | 2.853 | 839609 | 0 | ----- | ----- | ----- | -----
58 | FMI20240702_011.gcd | 2024-07-02 21:31 | 222 | Unknown | 0 | 6 | 144946 | 0.362 | ----- | ----- | ----- | ----- | 58 | FMI20240702_011.gcd | 2024-07-02 21:31 | 222 | Unknown | 0 | 5.971 | 828 | 0.279 | ----- | ----- | ----- | ----- | 58 | FMI20240702_011.gcd | 2024-07-02 21:31 | 222 | Unknown | 0 | 12.169 | 10538 | 2.279 | ----- | ----- | ----- | ----- | 1 |  | 58 | 409.81 | 2187.7492 | 378.9816 | 2009.2019 | 336.1711 | 2071.6706 | 397.5189 | 2498.9023 | 409.81 | 2187.7492 | 58 | FMI20240702_011.gcd | 2024-07-02 21:31 | 222 | Unknown | 0 | 2.85 | 891891 | 0 | ----- | ----- | ----- | -----
59 | FMI20240702_012.gcd | 2024-07-02 22:02 | 350 | Unknown | 0 | 6.015 | 5955 | 0.012 | ----- | ----- | ----- | ----- | 59 | FMI20240702_012.gcd | 2024-07-02 22:02 | 350 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240702_012.gcd | 2024-07-02 22:02 | 350 | Unknown | 0 | 12.133 | 44331 | 9.613 | ----- | ----- | ----- | ----- | 1 |  | 59 | 12.8229 | 9004.4338 | 13.9959 | 8440.2744 | 8.3195 | 9009.3648 | 3.4939 | 9898.6991 | 12.8229 | 9004.4338 | 59 | FMI20240702_012.gcd | 2024-07-02 22:02 | 350 | Unknown | 0 | 2.851 | 837602 | 0 | ----- | ----- | ----- | -----
60 | FMI20240702_013.gcd | 2024-07-02 22:32 | 90 | Unknown | 0 | 6.029 | 2996 | 0.004 | ----- | ----- | ----- | ----- | 60 | FMI20240702_013.gcd | 2024-07-02 22:32 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240702_013.gcd | 2024-07-02 22:32 | 90 | Unknown | 0 | 12.127 | 46826 | 10.149 | ----- | ----- | ----- | ----- | 1 |  | 60 | 4.0511 | 9056.8138 | 4.2185 | 8913.6203 | 2.0006 | 9519.2772 | 3.2911 | 9732.1198 | 4.0511 | 9056.8138 | 60 | FMI20240702_013.gcd | 2024-07-02 22:32 | 90 | Unknown | 0 | 2.85 | 852937 | 0 | ----- | ----- | ----- | -----
61 | FMI20240702_014.gcd | 2024-07-02 23:03 | 340 | Unknown | 0 | 5.999 | 144595 | 0.361 | ----- | ----- | ----- | ----- | 61 | FMI20240702_014.gcd | 2024-07-02 23:03 | 340 | Unknown | 0 | 5.975 | 1730 | 0.544 | ----- | ----- | ----- | ----- | 61 | FMI20240702_014.gcd | 2024-07-02 23:03 | 340 | Unknown | 0 | 12.123 | 53613 | 11.602 | ----- | ----- | ----- | ----- | 1 |  | 61 | 408.8218 | 10440.5912 | 378.069 | 10200.2106 | 335.3552 | 10904.7536 | 396.6111 | 11385.379 | 408.8218 | 10440.5912 | 61 | FMI20240702_014.gcd | 2024-07-02 23:03 | 340 | Unknown | 0 | 2.844 | 958398 | 0 | ----- | ----- | ----- | -----
62 | FMI20240702_015.gcd | 2024-07-02 23:33 | 271 | Unknown | 0 | 5.998 | 2746076 | 6.955 | ----- | ----- | ----- | ----- | 62 | FMI20240702_015.gcd | 2024-07-02 23:33 | 271 | Unknown | 0 | 5.952 | 20416 | 6.017 | ----- | ----- | ----- | ----- | 62 | FMI20240702_015.gcd | 2024-07-02 23:33 | 271 | Unknown | 0 | 12.135 | 51388 | 11.127 | ----- | ----- | ----- | ----- | 1 |  | 62 | 5995.0871 | 9987.1877 | 5512.397 | 9778.5894 | 5263.5158 | 10450.8083 | 5341.2261 | 10843.8019 | 5995.0871 | 9987.1877 | 62 | FMI20240702_015.gcd | 2024-07-02 23:33 | 271 | Unknown | 0 | 2.864 | 750850 | 0 | ----- | ----- | ----- | -----
63 | FMI20240702_016.gcd | 2024-07-03 00:04 | 266 | Unknown | 0 | 6 | 96390 | 0.239 | ----- | ----- | ----- | ----- | 63 | FMI20240702_016.gcd | 2024-07-03 00:04 | 266 | Unknown | 0 | 5.943 | 485 | 0.178 | ----- | ----- | ----- | ----- | 63 | FMI20240702_016.gcd | 2024-07-03 00:04 | 266 | Unknown | 0 | 12.672 | 71 | -0.023 | ----- | ----- | ----- | ----- | 1 |  | 63 | 272.4304 | 48.6547 | 252.4533 | 9.7171 | 223.1054 | -89.0244 | 268.2428 | -4.3983 | 272.4304 | 48.6547 | 63 | FMI20240702_016.gcd | 2024-07-03 00:04 | 266 | Unknown | 0 | 2.849 | 920190 | 0 | ----- | ----- | ----- | -----
64 | FMI20240702_017.gcd | 2024-07-03 00:34 | 269 | Unknown | 0 | 6.006 | 143953 | 0.359 | ----- | ----- | ----- | ----- | 64 | FMI20240702_017.gcd | 2024-07-03 00:34 | 269 | Unknown | 0 | 5.959 | 705 | 0.243 | ----- | ----- | ----- | ----- | 64 | FMI20240702_017.gcd | 2024-07-03 00:34 | 269 | Unknown | 0 | 12.181 | 10248 | 2.216 | ----- | ----- | ----- | ----- | 1 |  | 64 | 407.0141 | 2128.6597 | 376.3997 | 1953.852 | 333.8627 | 2011.8815 | 394.9496 | 2430.8917 | 407.0141 | 2128.6597 | 64 | FMI20240702_017.gcd | 2024-07-03 00:34 | 269 | Unknown | 0 | 2.859 | 871718 | 0 | ----- | ----- | ----- | -----
65 | FMI20240702_018.gcd | 2024-07-03 01:05 | 94 | Unknown | 0 | 6.034 | 1941 | 0.001 | ----- | ----- | ----- | ----- | 65 | FMI20240702_018.gcd | 2024-07-03 01:05 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240702_018.gcd | 2024-07-03 01:05 | 94 | Unknown | 0 | 12.058 | 127814 | 27.135 | ----- | ----- | ----- | ----- | 1 |  | 65 | 1.1655 | 25424.7641 | 0.48712 | 24168.5486 | 0.36296 | 25898.5484 | 5.5056 | 29214.3683 | 1.1655 | 25424.7641 | 65 | FMI20240702_018.gcd | 2024-07-03 01:05 | 94 | Unknown | 0 | 2.852 | 972550 | 0 | ----- | ----- | ----- | -----
66 | FMI20240702_019.gcd | 2024-07-03 01:36 | 152 | Unknown | 0 | 6.034 | 1618 | 0.001 | ----- | ----- | ----- | ----- | 66 | FMI20240702_019.gcd | 2024-07-03 01:36 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240702_019.gcd | 2024-07-03 01:36 | 152 | Unknown | 0 | 12.041 | 137373 | 29.091 | ----- | ----- | ----- | ----- | 1 |  | 66 | 0.30754 | 27335.8716 | -0.68109 | 25955.0116 | -0.073747 | 27809.7025 | 6.4239 | 31478.4542 | 0.30754 | 27335.8716 | 66 | FMI20240702_019.gcd | 2024-07-03 01:36 | 152 | Unknown | 0 | 2.836 | 1181978 | 0 | ----- | ----- | ----- | -----
67 | FMI20240702_020.gcd | 2024-07-03 02:06 | 300 | Unknown | 0 | 6 | 98508 | 0.245 | ----- | ----- | ----- | ----- | 67 | FMI20240702_020.gcd | 2024-07-03 02:06 | 300 | Unknown | 0 | 5.933 | 776 | 0.264 | ----- | ----- | ----- | ----- | 67 | FMI20240702_020.gcd | 2024-07-03 02:06 | 300 | Unknown | 0 | 12.743 | 148 | -0.006 | ----- | ----- | ----- | ----- | 1 |  | 67 | 278.4512 | 64.4387 | 257.9843 | 24.4392 | 228.0452 | -73.109 | 274.0369 | 14.382 | 278.4512 | 64.4387 | 67 | FMI20240702_020.gcd | 2024-07-03 02:06 | 300 | Unknown | 0 | 2.847 | 981205 | 0 | ----- | ----- | ----- | -----
68 | FMI20240702_021.gcd | 2024-07-03 02:37 | 166 | Unknown | 0 | 6.031 | 2018 | 0.002 | ----- | ----- | ----- | ----- | 68 | FMI20240702_021.gcd | 2024-07-03 02:37 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240702_021.gcd | 2024-07-03 02:37 | 166 | Unknown | 0 | 12.088 | 100648 | 21.522 | ----- | ----- | ----- | ----- | 1 |  | 68 | 1.3718 | 19969.558 | 0.76382 | 19075.3255 | 0.47154 | 20441.7235 | 5.3033 | 22739.1918 | 1.3718 | 19969.558 | 68 | FMI20240702_021.gcd | 2024-07-03 02:37 | 166 | Unknown | 0 | 2.86 | 893032 | 0 | ----- | ----- | ----- | -----
69 | FMI20240702_022.gcd | 2024-07-03 03:07 | 181 | Unknown | 0 | 6.034 | 1816 | 0.001 | ----- | ----- | ----- | ----- | 69 | FMI20240702_022.gcd | 2024-07-03 03:07 | 181 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20240702_022.gcd | 2024-07-03 03:07 | 181 | Unknown | 0 | 12.07 | 108442 | 23.141 | ----- | ----- | ----- | ----- | 1 |  | 69 | 0.83209 | 21538.2998 | 0.036457 | 20539.0402 | 0.19036 | 22011.1547 | 5.8476 | 24603.113 | 0.83209 | 21538.2998 | 69 | FMI20240702_022.gcd | 2024-07-03 03:07 | 181 | Unknown | 0 | 2.844 | 1016521 | 0 | ----- | ----- | ----- | -----
70 | FMI20240702_023.gcd | 2024-07-03 03:38 | 108 | Unknown | 0 | 5.998 | 116575 | 0.29 | ----- | ----- | ----- | ----- | 70 | FMI20240702_023.gcd | 2024-07-03 03:38 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240702_023.gcd | 2024-07-03 03:38 | 108 | Unknown | 0 | 12.2 | 86297 | 18.523 | ----- | ----- | ----- | ----- | 1 |  | 70 | 329.7052 | 17073.4156 | 305.121 | 16375.0374 | 270.1536 | 17543.8381 | 322.8867 | 19294.1776 | 329.7052 | 17073.4156 | 70 | FMI20240702_023.gcd | 2024-07-03 03:38 | 108 | Unknown | 0 | 2.848 | 931031 | 0 | ----- | ----- | ----- | -----
71 | FMI20240702_024.gcd | 2024-07-03 04:08 | 41 | Unknown | 0 | 6.03 | 2149 | 0.002 | ----- | ----- | ----- | ----- | 71 | FMI20240702_024.gcd | 2024-07-03 04:08 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20240702_024.gcd | 2024-07-03 04:08 | 41 | Unknown | 0 | 12.072 | 101360 | 21.67 | ----- | ----- | ----- | ----- | 1 |  | 71 | 1.7244 | 20112.9874 | 1.233 | 19209.1212 | 0.66022 | 20585.2234 | 4.9738 | 22909.6716 | 1.7244 | 20112.9874 | 71 | FMI20240702_024.gcd | 2024-07-03 04:08 | 41 | Unknown | 0 | 2.846 | 970545 | 0 | ----- | ----- | ----- | -----
72 | FMI20240702_025.gcd | 2024-07-03 04:39 | 101 | Unknown | 0 | 6.024 | 4546 | 0.008 | ----- | ----- | ----- | ----- | 72 | FMI20240702_025.gcd | 2024-07-03 04:39 | 101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20240702_025.gcd | 2024-07-03 04:39 | 101 | Unknown | 0 | 12.065 | 104176 | 22.256 | ----- | ----- | ----- | ----- | 1 |  | 72 | 8.5212 | 20680.0199 | 9.4668 | 19738.1293 | 4.9932 | 21152.5199 | 2.218 | 23583.5223 | 8.5212 | 20680.0199 | 72 | FMI20240702_025.gcd | 2024-07-03 04:39 | 101 | Unknown | 0 | 2.855 | 965499 | 0 | ----- | ----- | ----- | -----
73 | FMI20240702_026.gcd | 2024-07-03 05:10 | 143 | Unknown | 0 | 6 | 37726 | 0.092 | ----- | ----- | ----- | ----- | 73 | FMI20240702_026.gcd | 2024-07-03 05:10 | 143 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20240702_026.gcd | 2024-07-03 05:10 | 143 | Unknown | 0 | 12.148 | 21660 | 4.709 | ----- | ----- | ----- | ----- | 1 |  | 73 | 104.6356 | 4446.3445 | 98.8248 | 4129.9055 | 85.996 | 4361.4491 | 102.1358 | 5049.3381 | 104.6356 | 4446.3445 | 73 | FMI20240702_026.gcd | 2024-07-03 05:10 | 143 | Unknown | 0 | 2.841 | 1060645 | 0 | ----- | ----- | ----- | -----
74 | FMI20240702_027.gcd | 2024-07-03 05:40 | 120 | Unknown | 0 | 5.998 | 125375 | 0.312 | ----- | ----- | ----- | ----- | 74 | FMI20240702_027.gcd | 2024-07-03 05:40 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20240702_027.gcd | 2024-07-03 05:40 | 120 | Unknown | 0 | 12.09 | 79304 | 17.053 | ----- | ----- | ----- | ----- | 1 |  | 74 | 354.6015 | 15658.5875 | 328.0516 | 15056.8056 | 290.6445 | 16127.9383 | 346.3074 | 17609.3756 | 354.6015 | 15658.5875 | 74 | FMI20240702_027.gcd | 2024-07-03 05:40 | 120 | Unknown | 0 | 2.847 | 937465 | 0 | ----- | ----- | ----- | -----
75 | FMI20240702_028.gcd | 2024-07-03 06:11 | 416 | Unknown | 0 | 6.055 | 1568 | 0.001 | ----- | ----- | ----- | ----- | 75 | FMI20240702_028.gcd | 2024-07-03 06:11 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20240702_028.gcd | 2024-07-03 06:11 | 416 | Unknown | 0 | 12.037 | 143358 | 30.311 | ----- | ----- | ----- | ----- | 1 |  | 75 | 0.17579 | 28530.2025 | -0.86301 | 27072.0239 | -0.13864 | 29003.9239 | 6.5761 | 32892.2196 | 0.17579 | 28530.2025 | 75 | FMI20240702_028.gcd | 2024-07-03 06:11 | 416 | Unknown | 0 | 2.838 | 1145650 | 0 | ----- | ----- | ----- | -----
76 | FMI20240702_029.gcd | 2024-07-03 06:41 | 274 | Unknown | 0 | 6.047 | 1558 | 0 | ----- | ----- | ----- | ----- | 76 | FMI20240702_029.gcd | 2024-07-03 06:41 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20240702_029.gcd | 2024-07-03 06:41 | 274 | Unknown | 0 | 12.037 | 137254 | 29.067 | ----- | ----- | ----- | ----- | 1 |  | 76 | 0.14947 | 27312.1072 | -0.89943 | 25932.7902 | -0.15153 | 27785.9392 | 6.6069 | 31450.3146 | 0.14947 | 27312.1072 | 76 | FMI20240702_029.gcd | 2024-07-03 06:41 | 274 | Unknown | 0 | 2.841 | 1056624 | 0 | ----- | ----- | ----- | -----
77 | FMI20240702_030.gcd | 2024-07-03 07:12 | 112 | Unknown | 0 | 5.947 | 19290161 | 50.98 | ----- | ----- | ----- | ----- | 77 | FMI20240702_030.gcd | 2024-07-03 07:12 | 112 | Unknown | 0 | 5.901 | 139467 | 39.681 | ----- | ----- | ----- | ----- | 77 | FMI20240702_030.gcd | 2024-07-03 07:12 | 112 | Unknown | 0 | 12.086 | 79775 | 17.152 | ----- | ----- | ----- | ----- | 1 |  | 77 | 37333.8233 | 15753.9544 | 35655.0563 | 15145.6425 | 34312.1345 | 16223.3819 | 34352.2646 | 17722.9778 | 37333.8233 | 15753.9544 | 77 | FMI20240702_030.gcd | 2024-07-03 07:12 | 112 | Unknown | 0 | 2.858 | 681222 | 0 | ----- | ----- | ----- | -----
78 | FMI20240702_031.gcd | 2024-07-03 07:42 | 197 | Unknown | 0 | 5.999 | 108014 | 0.269 | ----- | ----- | ----- | ----- | 78 | FMI20240702_031.gcd | 2024-07-03 07:42 | 197 | Unknown | 0 | 5.961 | 920 | 0.306 | ----- | ----- | ----- | ----- | 78 | FMI20240702_031.gcd | 2024-07-03 07:42 | 197 | Unknown | 0 | 12.381 | 275 | 0.022 | ----- | ----- | ----- | ----- | 1 |  | 78 | 305.4421 | 90.4705 | 282.7952 | 48.7208 | 250.2072 | -46.8594 | 299.8677 | 45.3455 | 305.4421 | 90.4705 | 78 | FMI20240702_031.gcd | 2024-07-03 07:42 | 197 | Unknown | 0 | 2.842 | 1076930 | 0 | ----- | ----- | ----- | -----