## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | CLL20250415_004.gcd | 2025-04-15 14:20 | TO-T1-1a | Unknown | 0 | 6.01 | 7055 | 0.016 | ----- | ----- | ----- | ----- | 45 | CLL20250415_004.gcd | 2025-04-15 14:20 | TO-T1-1a | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | CLL20250415_004.gcd | 2025-04-15 14:20 | TO-T1-1a | Unknown | 0 | 12.149 | 17041 | 3.639 | ----- | ----- | ----- | ----- | 1 |  | 45 | 21.7192 | 3731.986 | 11.3172 | 3411.2638 | 5.9804 | 4003.8345 | 16.3389 | 3510.1393 | 21.7192 | 3731.986 | 45 | CLL20250415_004.gcd | 2025-04-15 14:20 | TO-T1-1a | Unknown | 0 | 2.696 | 5225139 | 0 | ----- | ----- | ----- | -----
46 | CLL20250415_005.gcd | 2025-04-15 14:50 | PA-T3-1a | Unknown | 0 | 6.004 | 25268 | 0.057 | ----- | ----- | ----- | ----- | 46 | CLL20250415_005.gcd | 2025-04-15 14:50 | PA-T3-1a | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | CLL20250415_005.gcd | 2025-04-15 14:50 | PA-T3-1a | Unknown | 0 | 12.145 | 30322 | 6.544 | ----- | ----- | ----- | ----- | 1 |  | 46 | 70.7799 | 6725.2033 | 56.8078 | 6140.3937 | 65.4637 | 6957.4989 | 68.7465 | 6195.1285 | 70.7799 | 6725.2033 | 46 | CLL20250415_005.gcd | 2025-04-15 14:50 | PA-T3-1a | Unknown | 0 | 2.698 | 5205570 | 0 | ----- | ----- | ----- | -----
47 | CLL20250415_006.gcd | 2025-04-15 15:21 | PA-T2-1d | Unknown | 0 | 6.008 | 74556 | 0.168 | ----- | ----- | ----- | ----- | 47 | CLL20250415_006.gcd | 2025-04-15 15:21 | PA-T2-1d | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | CLL20250415_006.gcd | 2025-04-15 15:21 | PA-T2-1d | Unknown | 0 | 12.138 | 30081 | 6.491 | ----- | ----- | ----- | ----- | 1 |  | 47 | 201.6763 | 6671.0419 | 172.1398 | 6090.9505 | 207.688 | 6905.3344 | 210.2115 | 6146.594 | 201.6763 | 6671.0419 | 47 | CLL20250415_006.gcd | 2025-04-15 15:21 | PA-T2-1d | Unknown | 0 | 2.708 | 5012256 | 0 | ----- | ----- | ----- | -----
48 | CLL20250415_007.gcd | 2025-04-15 15:51 | TO-T3-3c | Unknown | 0 | 6.038 | 1739 | 0.004 | ----- | ----- | ----- | ----- | 48 | CLL20250415_007.gcd | 2025-04-15 15:51 | TO-T3-3c | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | CLL20250415_007.gcd | 2025-04-15 15:51 | TO-T3-3c | Unknown | 0 | 12.136 | 33485 | 7.235 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.8119 | 7435.515 | 0.086296 | 6789.0353 | 6.0667 | 7637.2201 | 0.62757 | 6831.4745 | 2.8119 | 7435.515 | 48 | CLL20250415_007.gcd | 2025-04-15 15:51 | TO-T3-3c | Unknown | 0 | 2.698 | 5207307 | 0 | ----- | ----- | ----- | -----
49 | CLL20250415_008.gcd | 2025-04-15 16:22 | PA-T3-1c | Unknown | 0 | 6.006 | 50592 | 0.114 | ----- | ----- | ----- | ----- | 49 | CLL20250415_008.gcd | 2025-04-15 16:22 | PA-T3-1c | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | CLL20250415_008.gcd | 2025-04-15 16:22 | PA-T3-1c | Unknown | 0 | 12.145 | 25226 | 5.43 | ----- | ----- | ----- | ----- | 1 |  | 49 | 138.1936 | 5578.7345 | 116.1139 | 5094.2745 | 139.495 | 5843.1843 | 141.606 | 5167.3762 | 138.1936 | 5578.7345 | 49 | CLL20250415_008.gcd | 2025-04-15 16:22 | PA-T3-1c | Unknown | 0 | 2.7 | 5174017 | 0 | ----- | ----- | ----- | -----
50 | CLL20250415_009.gcd | 2025-04-15 16:52 | TO-T3-3a | Unknown | 0 | 6.005 | 405991 | 0.916 | ----- | ----- | ----- | ----- | 50 | CLL20250415_009.gcd | 2025-04-15 16:52 | TO-T3-3a | Unknown | 0 | 5.961 | 3273 | 0.9 | ----- | ----- | ----- | ----- | 50 | CLL20250415_009.gcd | 2025-04-15 16:52 | TO-T3-3a | Unknown | 0 | 12.139 | 31905 | 6.89 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1007.8651 | 7080.8187 | 937.5216 | 6465.086 | 938.6567 | 7298.8226 | 1026.0168 | 6513.7528 | 1007.8651 | 7080.8187 | 50 | CLL20250415_009.gcd | 2025-04-15 16:52 | TO-T3-3a | Unknown | 0 | 2.701 | 5142875 | 0 | ----- | ----- | ----- | -----
51 | CLL20250415_010.gcd | 2025-04-15 17:23 | TO-T2-0c | Unknown | 0 | 6.022 | 2696 | 0.006 | ----- | ----- | ----- | ----- | 51 | CLL20250415_010.gcd | 2025-04-15 17:23 | TO-T2-0c | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | CLL20250415_010.gcd | 2025-04-15 17:23 | TO-T2-0c | Unknown | 0 | 12.156 | 17647 | 3.772 | ----- | ----- | ----- | ----- | 1 |  | 51 | 6.1802 | 3868.9407 | 1.502 | 3535.9875 | 3.7985 | 4142.1109 | 3.2176 | 3633.1123 | 6.1802 | 3868.9407 | 51 | CLL20250415_010.gcd | 2025-04-15 17:23 | TO-T2-0c | Unknown | 0 | 2.699 | 5227082 | 0 | ----- | ----- | ----- | -----
52 | CLL20250415_011.gcd | 2025-04-15 17:54 | PA-T1-0a | Unknown | 0 | 6.009 | 19546 | 0.044 | ----- | ----- | ----- | ----- | 52 | CLL20250415_011.gcd | 2025-04-15 17:54 | PA-T1-0a | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | CLL20250415_011.gcd | 2025-04-15 17:54 | PA-T1-0a | Unknown | 0 | 12.154 | 24793 | 5.335 | ----- | ----- | ----- | ----- | 1 |  | 52 | 55.5009 | 5481.2031 | 43.3932 | 5005.3261 | 48.456 | 5747.4106 | 52.2325 | 5079.9064 | 55.5009 | 5481.2031 | 52 | CLL20250415_011.gcd | 2025-04-15 17:54 | PA-T1-0a | Unknown | 0 | 2.701 | 5180321 | 0 | ----- | ----- | ----- | -----
53 | FMI20250415_001.gcd | 2025-04-15 12:48 | QC outside air | Unknown | 0 | 6.047 | 1144 | 0.003 | ----- | ----- | ----- | ----- | 53 | FMI20250415_001.gcd | 2025-04-15 12:48 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250415_001.gcd | 2025-04-15 12:48 | QC outside air | Unknown | 0 | 12.219 | 2136 | 0.372 | ----- | ----- | ----- | ----- | 1 |  | 53 | 0.72552 | 352.1433 | -0.65972 | 337.6948 | 7.9756 | 497.383 | -0.92999 | 471.7072 | 0.72552 | 352.1433 | 53 | FMI20250415_001.gcd | 2025-04-15 12:48 | QC outside air | Unknown | 0 | 2.714 | 4767408 | 0 | ----- | ----- | ----- | -----
54 | FMI20250415_002.gcd | 2025-04-15 13:18 | QC spiked air | Unknown | 0 | 5.998 | 906601 | 2.048 | ----- | ----- | ----- | ----- | 54 | FMI20250415_002.gcd | 2025-04-15 13:18 | QC spiked air | Unknown | 0 | 5.95 | 8056 | 2.083 | ----- | ----- | ----- | ----- | 54 | FMI20250415_002.gcd | 2025-04-15 13:18 | QC spiked air | Unknown | 0 | 12.218 | 8267 | 1.717 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2032.7675 | 1745.0423 | 2216.1799 | 1603.3448 | 1897.6181 | 1964.2566 | 2094.75 | 1724.7481 | 2032.7675 | 1745.0423 | 54 | FMI20250415_002.gcd | 2025-04-15 13:18 | QC spiked air | Unknown | 0 | 2.696 | 5259424 | 0 | ----- | ----- | ----- | -----
55 | FMI20250415_003.gcd | 2025-04-15 13:49 | QC reference tank | Unknown | 0 | 6.027 | 2244 | 0.005 | ----- | ----- | ----- | ----- | 55 | FMI20250415_003.gcd | 2025-04-15 13:49 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250415_003.gcd | 2025-04-15 13:49 | QC reference tank | Unknown | 0 | 12.25 | 2473 | 0.446 | ----- | ----- | ----- | ----- | 1 |  | 55 | 4.5874 | 428.802 | 0.80018 | 407.313 | 4.7465 | 578.9026 | 1.9813 | 540.6993 | 4.5874 | 428.802 | 55 | FMI20250415_003.gcd | 2025-04-15 13:49 | QC reference tank | Unknown | 0 | 2.695 | 5287471 | 0 | ----- | ----- | ----- | -----
56 | FMI20250415_012.gcd | 2025-04-15 18:24 | 72 | Unknown | 0 | 6.016 | 24496 | 0.056 | ----- | ----- | ----- | ----- | 56 | FMI20250415_012.gcd | 2025-04-15 18:24 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250415_012.gcd | 2025-04-15 18:24 | 72 | Unknown | 0 | 12.203 | 4618 | 0.917 | ----- | ----- | ----- | ----- | 1 |  | 56 | 68.7195 | 916.4721 | 54.9983 | 850.2964 | 63.175 | 1095.3452 | 66.5196 | 979.5147 | 68.7195 | 916.4721 | 56 | FMI20250415_012.gcd | 2025-04-15 18:24 | 72 | Unknown | 0 | 2.865 | 827776 | 0 | ----- | ----- | ----- | -----
57 | FMI20250415_013.gcd | 2025-04-15 18:55 | 16 | Unknown | 0 | 6.009 | 101838 | 0.23 | ----- | ----- | ----- | ----- | 57 | FMI20250415_013.gcd | 2025-04-15 18:55 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250415_013.gcd | 2025-04-15 18:55 | 16 | Unknown | 0 | 12.183 | 15753 | 3.357 | ----- | ----- | ----- | ----- | 1 |  | 57 | 273.5809 | 3440.781 | 235.8103 | 3146.1121 | 283.118 | 3708.8276 | 287.9122 | 3248.6252 | 273.5809 | 3440.781 | 57 | FMI20250415_013.gcd | 2025-04-15 18:55 | 16 | Unknown | 0 | 2.855 | 894657 | 0 | ----- | ----- | ----- | -----
58 | FMI20250415_014.gcd | 2025-04-15 19:25 | 327 | Unknown | 0 | 6.009 | 63980 | 0.145 | ----- | ----- | ----- | ----- | 58 | FMI20250415_014.gcd | 2025-04-15 19:25 | 327 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250415_014.gcd | 2025-04-15 19:25 | 327 | Unknown | 0 | 12.119 | 76908 | 16.688 | ----- | ----- | ----- | ----- | 1 |  | 58 | 173.6968 | 17039.932 | 147.4254 | 15642.2369 | 177.8158 | 17031.1946 | 179.9748 | 15173.2868 | 173.6968 | 17039.932 | 58 | FMI20250415_014.gcd | 2025-04-15 19:25 | 327 | Unknown | 0 | 2.857 | 839248 | 0 | ----- | ----- | ----- | -----
59 | FMI20250415_015.gcd | 2025-04-15 19:56 | 205 | Unknown | 0 | 6.014 | 12761 | 0.029 | ----- | ----- | ----- | ----- | 59 | FMI20250415_015.gcd | 2025-04-15 19:56 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250415_015.gcd | 2025-04-15 19:56 | 205 | Unknown | 0 | 12.195 | 6529 | 1.336 | ----- | ----- | ----- | ----- | 1 |  | 59 | 37.3612 | 1350.5616 | 27.4797 | 1244.7564 | 28.1549 | 1551.9134 | 32.6261 | 1369.9959 | 37.3612 | 1350.5616 | 59 | FMI20250415_015.gcd | 2025-04-15 19:56 | 205 | Unknown | 0 | 2.855 | 904780 | 0 | ----- | ----- | ----- | -----
60 | FMI20250415_016.gcd | 2025-04-15 20:26 | 165 | Unknown | 0 | 6.012 | 20532 | 0.047 | ----- | ----- | ----- | ----- | 60 | FMI20250415_016.gcd | 2025-04-15 20:26 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250415_016.gcd | 2025-04-15 20:26 | 165 | Unknown | 0 | 12.156 | 41736 | 9.035 | ----- | ----- | ----- | ----- | 1 |  | 60 | 58.135 | 9283.8125 | 45.7052 | 8478.6781 | 51.3941 | 9367.3863 | 55.0795 | 8485.8148 | 58.135 | 9283.8125 | 60 | FMI20250415_016.gcd | 2025-04-15 20:26 | 165 | Unknown | 0 | 2.85 | 1011455 | 0 | ----- | ----- | ----- | -----
61 | FMI20250415_017.gcd | 2025-04-15 20:57 | 132 | Unknown | 0 | 6.012 | 23781 | 0.054 | ----- | ----- | ----- | ----- | 61 | FMI20250415_017.gcd | 2025-04-15 20:57 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250415_017.gcd | 2025-04-15 20:57 | 132 | Unknown | 0 | 12.201 | 5076 | 1.017 | ----- | ----- | ----- | ----- | 1 |  | 61 | 66.8109 | 1020.5409 | 53.3222 | 944.8517 | 61.0537 | 1205.0722 | 64.4568 | 1073.1392 | 66.8109 | 1020.5409 | 61 | FMI20250415_017.gcd | 2025-04-15 20:57 | 132 | Unknown | 0 | 2.854 | 923620 | 0 | ----- | ----- | ----- | -----
62 | FMI20250415_018.gcd | 2025-04-15 21:28 | 378 | Unknown | 0 | 6.011 | 23916 | 0.054 | ----- | ----- | ----- | ----- | 62 | FMI20250415_018.gcd | 2025-04-15 21:28 | 378 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250415_018.gcd | 2025-04-15 21:28 | 378 | Unknown | 0 | 12.175 | 26628 | 5.736 | ----- | ----- | ----- | ----- | 1 |  | 62 | 67.1713 | 5894.4025 | 53.6387 | 5382.2126 | 61.4544 | 6152.1141 | 64.8463 | 5450.4388 | 67.1713 | 5894.4025 | 62 | FMI20250415_018.gcd | 2025-04-15 21:28 | 378 | Unknown | 0 | 2.854 | 927413 | 0 | ----- | ----- | ----- | -----
63 | FMI20250415_019.gcd | 2025-04-15 21:58 | 298 | Unknown | 0 | 6.008 | 21853 | 0.05 | ----- | ----- | ----- | ----- | 63 | FMI20250415_019.gcd | 2025-04-15 21:58 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250415_019.gcd | 2025-04-15 21:58 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 63 | 61.6631 | #VALUE! | 48.8024 | #VALUE! | 55.3256 | #VALUE! | 58.8929 | #VALUE! | 61.6631 | #VALUE! | 63 | FMI20250415_019.gcd | 2025-04-15 21:58 | 298 | Unknown | 0 | 2.854 | 860239 | 0 | ----- | ----- | ----- | -----
64 | FMI20250415_020.gcd | 2025-04-15 22:29 | 82 | Unknown | 0 | 6.009 | 106074 | 0.239 | ----- | ----- | ----- | ----- | 64 | FMI20250415_020.gcd | 2025-04-15 22:29 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250415_020.gcd | 2025-04-15 22:29 | 82 | Unknown | 0 | 12.147 | 16913 | 3.611 | ----- | ----- | ----- | ----- | 1 |  | 64 | 284.7103 | 3703.0536 | 245.6855 | 3384.9171 | 294.6193 | 3974.5848 | 299.938 | 3484.1592 | 284.7103 | 3703.0536 | 64 | FMI20250415_020.gcd | 2025-04-15 22:29 | 82 | Unknown | 0 | 2.847 | 1054472 | 0 | ----- | ----- | ----- | -----
65 | FMI20250415_021.gcd | 2025-04-15 22:59 | 217 | Unknown | 0 | 6.017 | 26126 | 0.059 | ----- | ----- | ----- | ----- | 65 | FMI20250415_021.gcd | 2025-04-15 22:59 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250415_021.gcd | 2025-04-15 22:59 | 217 | Unknown | 0 | 12.188 | 4318 | 0.851 | ----- | ----- | ----- | ----- | 1 |  | 65 | 73.0694 | 848.2937 | 58.8189 | 788.3548 | 68.005 | 1023.368 | 71.2211 | 918.175 | 73.0694 | 848.2937 | 65 | FMI20250415_021.gcd | 2025-04-15 22:59 | 217 | Unknown | 0 | 2.864 | 870591 | 0 | ----- | ----- | ----- | -----
66 | FMI20250415_022.gcd | 2025-04-15 23:30 | 317 | Unknown | 0 | 6.014 | 12973 | 0.03 | ----- | ----- | ----- | ----- | 66 | FMI20250415_022.gcd | 2025-04-15 23:30 | 317 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250415_022.gcd | 2025-04-15 23:30 | 317 | Unknown | 0 | 12.174 | 6447 | 1.318 | ----- | ----- | ----- | ----- | 1 |  | 66 | 37.9283 | 1331.9424 | 27.977 | 1227.8342 | 28.7914 | 1532.3907 | 33.2391 | 1353.2495 | 37.9283 | 1331.9424 | 66 | FMI20250415_022.gcd | 2025-04-15 23:30 | 317 | Unknown | 0 | 2.856 | 881790 | 0 | ----- | ----- | ----- | -----
67 | FMI20250415_023.gcd | 2025-04-16 | 414 | Unknown | 0 | 6.011 | 19272 | 0.044 | ----- | ----- | ----- | ----- | 67 | FMI20250415_023.gcd | 2025-04-16 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250415_023.gcd | 2025-04-16 | 414 | Unknown | 0 | 12.142 | 44154 | 9.563 | ----- | ----- | ----- | ----- | 1 |  | 67 | 54.7688 | 9824.2001 | 42.7507 | 8973.1786 | 47.639 | 9862.6545 | 51.4413 | 8969.0854 | 54.7688 | 9824.2001 | 67 | FMI20250415_023.gcd | 2025-04-16 | 414 | Unknown | 0 | 2.844 | 1109271 | 0 | ----- | ----- | ----- | -----
68 | FMI20250415_024.gcd | 2025-04-16 00:31 | 168 | Unknown | 0 | 6.011 | 20542 | 0.047 | ----- | ----- | ----- | ----- | 68 | FMI20250415_024.gcd | 2025-04-16 00:31 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250415_024.gcd | 2025-04-16 00:31 | 168 | Unknown | 0 | 12.142 | 42860 | 9.281 | ----- | ----- | ----- | ----- | 1 |  | 68 | 58.1617 | 9535.0814 | 45.7286 | 8708.5823 | 51.4239 | 9598.2736 | 55.1084 | 8710.5486 | 58.1617 | 9535.0814 | 68 | FMI20250415_024.gcd | 2025-04-16 00:31 | 168 | Unknown | 0 | 2.848 | 1043663 | 0 | ----- | ----- | ----- | -----
69 | FMI20250415_025.gcd | 2025-04-16 01:02 | 45 | Unknown | 0 | 6.013 | 20396 | 0.046 | ----- | ----- | ----- | ----- | 69 | FMI20250415_025.gcd | 2025-04-16 01:02 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250415_025.gcd | 2025-04-16 01:02 | 45 | Unknown | 0 | 12.14 | 39627 | 8.575 | ----- | ----- | ----- | ----- | 1 |  | 69 | 57.7717 | 8812.0133 | 45.3863 | 8047.1269 | 50.989 | 8931.0546 | 54.6869 | 8063.7311 | 57.7717 | 8812.0133 | 69 | FMI20250415_025.gcd | 2025-04-16 01:02 | 45 | Unknown | 0 | 2.848 | 1051291 | 0 | ----- | ----- | ----- | -----
70 | FMI20250415_026.gcd | 2025-04-16 01:32 | 74 | Unknown | 0 | 6.012 | 30438 | 0.069 | ----- | ----- | ----- | ----- | 70 | FMI20250415_026.gcd | 2025-04-16 01:32 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250415_026.gcd | 2025-04-16 01:32 | 74 | Unknown | 0 | 12.181 | 6068 | 1.235 | ----- | ----- | ----- | ----- | 1 |  | 70 | 84.5701 | 1245.8768 | 68.9238 | 1149.6159 | 80.7418 | 1442.0781 | 83.6512 | 1275.8381 | 84.5701 | 1245.8768 | 70 | FMI20250415_026.gcd | 2025-04-16 01:32 | 74 | Unknown | 0 | 2.848 | 1039842 | 0 | ----- | ----- | ----- | -----
71 | FMI20250415_027.gcd | 2025-04-16 02:03 | 33 | Unknown | 0 | 6.011 | 20365 | 0.046 | ----- | ----- | ----- | ----- | 71 | FMI20250415_027.gcd | 2025-04-16 02:03 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250415_027.gcd | 2025-04-16 02:03 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 71 | 57.6889 | #VALUE! | 45.3136 | #VALUE! | 50.8967 | #VALUE! | 54.5974 | #VALUE! | 57.6889 | #VALUE! | 71 | FMI20250415_027.gcd | 2025-04-16 02:03 | 33 | Unknown | 0 | 2.861 | 688108 | 0 | ----- | ----- | ----- | -----
72 | FMI20250415_028.gcd | 2025-04-16 02:33 | 336 | Unknown | 0 | 6.01 | 74451 | 0.168 | ----- | ----- | ----- | ----- | 72 | FMI20250415_028.gcd | 2025-04-16 02:33 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250415_028.gcd | 2025-04-16 02:33 | 336 | Unknown | 0 | 12.2 | 107794 | 23.375 | ----- | ----- | ----- | ----- | 1 |  | 72 | 201.3988 | 23610.5722 | 171.8945 | 21880.789 | 207.3932 | 24448.3344 | 209.9116 | 21407.9845 | 201.3988 | 23610.5722 | 72 | FMI20250415_028.gcd | 2025-04-16 02:33 | 336 | Unknown | 0 | 2.858 | 840187 | 0 | ----- | ----- | ----- | -----
73 | FMI20250415_029.gcd | 2025-04-16 03:04 | 390 | Unknown | 0 | 6.012 | 19669 | 0.045 | ----- | ----- | ----- | ----- | 73 | FMI20250415_029.gcd | 2025-04-16 03:04 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250415_029.gcd | 2025-04-16 03:04 | 390 | Unknown | 0 | 12.2 | 57848 | 12.546 | ----- | ----- | ----- | ----- | 1 |  | 73 | 55.8295 | 12975.0269 | 43.6817 | 11768.0817 | 48.8227 | 12415.0822 | 52.5877 | 11302.9286 | 55.8295 | 12975.0269 | 73 | FMI20250415_029.gcd | 2025-04-16 03:04 | 390 | Unknown | 0 | 2.844 | 1129531 | 0 | ----- | ----- | ----- | -----
74 | FMI20250415_030.gcd | 2025-04-16 03:34 | 372 | Unknown | 0 | 6.013 | 30152 | 0.068 | ----- | ----- | ----- | ----- | 74 | FMI20250415_030.gcd | 2025-04-16 03:34 | 372 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250415_030.gcd | 2025-04-16 03:34 | 372 | Unknown | 0 | 12.179 | 6017 | 1.224 | ----- | ----- | ----- | ----- | 1 |  | 74 | 83.8076 | 1234.2944 | 68.2537 | 1139.09 | 79.8988 | 1429.9152 | 82.8271 | 1265.42 | 83.8076 | 1234.2944 | 74 | FMI20250415_030.gcd | 2025-04-16 03:34 | 372 | Unknown | 0 | 2.857 | 883560 | 0 | ----- | ----- | ----- | -----
75 | FMI20250415_031.gcd | 2025-04-16 04:05 | 86 | Unknown | 0 | 6.014 | 19672 | 0.045 | ----- | ----- | ----- | ----- | 75 | FMI20250415_031.gcd | 2025-04-16 04:05 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250415_031.gcd | 2025-04-16 04:05 | 86 | Unknown | 0 | 12.154 | 41028 | 8.881 | ----- | ----- | ----- | ----- | 1 |  | 75 | 55.8375 | 9125.4762 | 43.6887 | 8333.8299 | 48.8316 | 9221.3603 | 52.5964 | 8344.1789 | 55.8375 | 9125.4762 | 75 | FMI20250415_031.gcd | 2025-04-16 04:05 | 86 | Unknown | 0 | 2.846 | 1098892 | 0 | ----- | ----- | ----- | -----
76 | FMI20250415_032.gcd | 2025-04-16 10:13 | 298 rerun | Unknown | 0 | 6.028 | 21611 | 0.049 | ----- | ----- | ----- | ----- | 76 | FMI20250415_032.gcd | 2025-04-16 10:13 | 298 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250415_032.gcd | 2025-04-16 10:13 | 298 rerun | Unknown | 0 | 12.212 | 26752 | 5.763 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 76 | 61.0169 | 5922.3125 | 48.235 | 5407.6745 | 54.6058 | 6179.3511 | 58.1944 | 5475.463 | 61.0169 | 5922.3125 | 76 | FMI20250415_032.gcd | 2025-04-16 10:13 | 298 rerun | Unknown | 0 | 2.825 | 1617006 | 0 | ----- | ----- | ----- | -----
77 | FMI20250415_033.gcd | 2025-04-16 10:43 | 033 rerun | Unknown | 0 | 6.012 | 24264 | 0.055 | ----- | ----- | ----- | ----- | 77 | FMI20250415_033.gcd | 2025-04-16 10:43 | 033 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20250415_033.gcd | 2025-04-16 10:43 | 033 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 3 | Still bad. Don't use for anything. | 77 | 68.1002 | #VALUE! | 54.4545 | #VALUE! | 62.4869 | #VALUE! | 65.8503 | #VALUE! | 68.1002 | #VALUE! | 77 | FMI20250415_033.gcd | 2025-04-16 10:43 | 033 rerun | Unknown | 0 | 2.819 | 1645979 | 0 | ----- | ----- | ----- | -----
78 | FMI20250415_034.gcd | 2025-04-16 11:52 | 033 rerun2 | Unknown | 0 | 6.027 | 21192 | 0.048 | ----- | ----- | ----- | ----- | 78 | FMI20250415_034.gcd | 2025-04-16 11:52 | 033 rerun2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | FMI20250415_034.gcd | 2025-04-16 11:52 | 033 rerun2 | Unknown | 0 | 12.236 | 6395 | 1.306 | ----- | ----- | ----- | ----- | 2 | Re-reinjection. Use CO2. Do not use CH4. | 78 | 59.8978 | 1320.1347 | 47.2526 | 1217.1028 | 53.359 | 1520.0073 | 56.9849 | 1342.6294 | 59.8978 | 1320.1347 | 78 | FMI20250415_034.gcd | 2025-04-16 11:52 | 033 rerun2 | Unknown | 0 | 2.792 | 2329900 | 0 | ----- | ----- | ----- | -----