## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | FMI20240918_001.gcd | 2024-09-18 17:00 | QC outside air | Unknown | 0 | 6.052 | 2176 | 0.002 | ----- | ----- | ----- | ----- | 48 | FMI20240918_001.gcd | 2024-09-18 17:00 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20240918_001.gcd | 2024-09-18 17:00 | QC outside air | Unknown | 0 | 12.179 | 2394 | 0.489 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.7973 | 524.5273 | 1.3295 | 453.7816 | 0.69973 | 390.9935 | 4.9082 | 559.802 | 1.7973 | 524.5273 | 48 | FMI20240918_001.gcd | 2024-09-18 17:00 | QC outside air | Unknown | 0 | 2.701 | 4932124 | 0 | ----- | ----- | ----- | -----
49 | FMI20240918_002.gcd | 2024-09-18 17:31 | QC spiked air | Unknown | 0 | 5.991 | 958687 | 2.416 | ----- | ----- | ----- | ----- | 49 | FMI20240918_002.gcd | 2024-09-18 17:31 | QC spiked air | Unknown | 0 | 5.943 | 7405 | 2.213 | ----- | ----- | ----- | ----- | 49 | FMI20240918_002.gcd | 2024-09-18 17:31 | QC spiked air | Unknown | 0 | 12.169 | 9275 | 2.002 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2205.7679 | 1930.3307 | 2183.6415 | 1768.1232 | 2055.5128 | 1811.2471 | 1996.8579 | 2202.1437 | 2205.7679 | 1930.3307 | 49 | FMI20240918_002.gcd | 2024-09-18 17:31 | QC spiked air | Unknown | 0 | 2.702 | 4870401 | 0 | ----- | ----- | ----- | -----
50 | FMI20240918_003.gcd | 2024-09-18 18:01 | QC reference tank | Unknown | 0 | 6.018 | 3138 | 0.004 | ----- | ----- | ----- | ----- | 50 | FMI20240918_003.gcd | 2024-09-18 18:01 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20240918_003.gcd | 2024-09-18 18:01 | QC reference tank | Unknown | 0 | 12.193 | 1462 | 0.284 | ----- | ----- | ----- | ----- | 1 |  | 50 | 4.4492 | 333.6822 | 4.7109 | 275.6416 | 2.2457 | 198.4409 | 3.0848 | 334.0331 | 4.4492 | 333.6822 | 50 | FMI20240918_003.gcd | 2024-09-18 18:01 | QC reference tank | Unknown | 0 | 2.702 | 4856423 | 0 | ----- | ----- | ----- | -----
51 | FMI20240918_004.gcd | 2024-09-18 18:32 | 269 | Unknown | 0 | 5.995 | 48839 | 0.12 | ----- | ----- | ----- | ----- | 51 | FMI20240918_004.gcd | 2024-09-18 18:32 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20240918_004.gcd | 2024-09-18 18:32 | 269 | Unknown | 0 | 12.146 | 8597 | 1.853 | ----- | ----- | ----- | ----- | 1 |  | 51 | 136.5744 | 1792.0653 | 127.9913 | 1638.6866 | 112.0119 | 1671.4138 | 134.4355 | 2042.2384 | 136.5744 | 1792.0653 | 51 | FMI20240918_004.gcd | 2024-09-18 18:32 | 269 | Unknown | 0 | 2.853 | 781312 | 0 | ----- | ----- | ----- | -----
52 | FMI20240918_005.gcd | 2024-09-18 19:02 | 370 | Unknown | 0 | 6.001 | 11786 | 0.026 | ----- | ----- | ----- | ----- | 52 | FMI20240918_005.gcd | 2024-09-18 19:02 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20240918_005.gcd | 2024-09-18 19:02 | 370 | Unknown | 0 | 12.142 | 8793 | 1.897 | ----- | ----- | ----- | ----- | 1 |  | 52 | 29.8065 | 1832.0415 | 30.6282 | 1676.1064 | 25.1923 | 1711.84 | 25.2257 | 2088.5078 | 29.8065 | 1832.0415 | 52 | FMI20240918_005.gcd | 2024-09-18 19:02 | 370 | Unknown | 0 | 2.845 | 929428 | 0 | ----- | ----- | ----- | -----
53 | FMI20240918_006.gcd | 2024-09-18 19:33 | 216 | Unknown | 0 | 5.996 | 148883 | 0.372 | ----- | ----- | ----- | ----- | 53 | FMI20240918_006.gcd | 2024-09-18 19:33 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20240918_006.gcd | 2024-09-18 19:33 | 216 | Unknown | 0 | 11.94 | 230882 | 47.729 | ----- | ----- | ----- | ----- | 1 |  | 53 | 420.8892 | 45799.3015 | 389.2157 | 43274.0167 | 345.322 | 46259.2276 | 407.675 | 53232.2356 | 420.8892 | 45799.3015 | 53 | FMI20240918_006.gcd | 2024-09-18 19:33 | 216 | Unknown | 0 | 2.862 | 662699 | 0 | ----- | ----- | ----- | -----
54 | FMI20240918_007.gcd | 2024-09-18 20:03 | 268 | Unknown | 0 | 5.992 | 93360 | 0.232 | ----- | ----- | ----- | ----- | 54 | FMI20240918_007.gcd | 2024-09-18 20:03 | 268 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20240918_007.gcd | 2024-09-18 20:03 | 268 | Unknown | 0 | 12.062 | 75761 | 16.306 | ----- | ----- | ----- | ----- | 1 |  | 54 | 263.8124 | 14940.8686 | 244.5387 | 14388.3172 | 216.0373 | 15409.6208 | 259.9292 | 16754.2448 | 263.8124 | 14940.8686 | 54 | FMI20240918_007.gcd | 2024-09-18 20:03 | 268 | Unknown | 0 | 2.85 | 818768 | 0 | ----- | ----- | ----- | -----
55 | FMI20240918_008.gcd | 2024-09-18 20:34 | 241 | Unknown | 0 | 5.993 | 35985 | 0.087 | ----- | ----- | ----- | ----- | 55 | FMI20240918_008.gcd | 2024-09-18 20:34 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20240918_008.gcd | 2024-09-18 20:34 | 241 | Unknown | 0 | 11.995 | 151941 | 32.053 | ----- | ----- | ----- | ----- | 1 |  | 55 | 99.6255 | 30239.9701 | 94.2528 | 28671.8817 | 81.9185 | 30713.3483 | 97.0403 | 34914.5655 | 99.6255 | 30239.9701 | 55 | FMI20240918_008.gcd | 2024-09-18 20:34 | 241 | Unknown | 0 | 2.846 | 892718 | 0 | ----- | ----- | ----- | -----
56 | FMI20240918_009.gcd | 2024-09-18 21:05 | 301 | Unknown | 0 | 6.045 | 1752 | 0.001 | ----- | ----- | ----- | ----- | 56 | FMI20240918_009.gcd | 2024-09-18 21:05 | 301 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20240918_009.gcd | 2024-09-18 21:05 | 301 | Unknown | 0 | 11.937 | 234625 | 48.457 | ----- | ----- | ----- | ----- | 1 |  | 56 | 0.66205 | 46529.6127 | -0.19498 | 43961.347 | 0.10374 | 46988.4398 | 6.0293 | 54088.1129 | 0.66205 | 46529.6127 | 56 | FMI20240918_009.gcd | 2024-09-18 21:05 | 301 | Unknown | 0 | 2.84 | 990863 | 0 | ----- | ----- | ----- | -----
57 | FMI20240918_010.gcd | 2024-09-18 21:35 | 386 | Unknown | 0 | 6.001 | 10610 | 0.023 | ----- | ----- | ----- | ----- | 57 | FMI20240918_010.gcd | 2024-09-18 21:35 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20240918_010.gcd | 2024-09-18 21:35 | 386 | Unknown | 0 | 12.134 | 8157 | 1.757 | ----- | ----- | ----- | ----- | 1 |  | 57 | 26.4049 | 1702.3061 | 27.5326 | 1554.6785 | 22.4332 | 1580.6539 | 21.6887 | 1938.2406 | 26.4049 | 1702.3061 | 57 | FMI20240918_010.gcd | 2024-09-18 21:35 | 386 | Unknown | 0 | 2.853 | 794545 | 0 | ----- | ----- | ----- | -----
58 | FMI20240918_011.gcd | 2024-09-18 22:06 | 107 | Unknown | 0 | 6.027 | 2630 | 0.003 | ----- | ----- | ----- | ----- | 58 | FMI20240918_011.gcd | 2024-09-18 22:06 | 107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20240918_011.gcd | 2024-09-18 22:06 | 107 | Unknown | 0 | 11.95 | 203534 | 42.368 | ----- | ----- | ----- | ----- | 1 |  | 58 | 3.0356 | 40442.8953 | 2.9387 | 38238.2546 | 1.3958 | 40909.584 | 3.9232 | 46944.0448 | 3.0356 | 40442.8953 | 58 | FMI20240918_011.gcd | 2024-09-18 22:06 | 107 | Unknown | 0 | 2.85 | 811222 | 0 | ----- | ----- | ----- | -----
59 | FMI20240918_012.gcd | 2024-09-18 22:36 | 388 | Unknown | 0 | 5.989 | 106518 | 0.265 | ----- | ----- | ----- | ----- | 59 | FMI20240918_012.gcd | 2024-09-18 22:36 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20240918_012.gcd | 2024-09-18 22:36 | 388 | Unknown | 0 | 11.926 | 227555 | 47.081 | ----- | ----- | ----- | ----- | 1 |  | 59 | 301.1979 | 45149.5924 | 278.8921 | 42662.6944 | 246.7205 | 45610.4603 | 295.8215 | 52470.5192 | 301.1979 | 45149.5924 | 59 | FMI20240918_012.gcd | 2024-09-18 22:36 | 388 | Unknown | 0 | 2.852 | 725726 | 0 | ----- | ----- | ----- | -----
60 | FMI20240918_013.gcd | 2024-09-18 23:07 | 72 | Unknown | 0 | 5.997 | 10300 | 0.022 | ----- | ----- | ----- | ----- | 60 | FMI20240918_013.gcd | 2024-09-18 23:07 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20240918_013.gcd | 2024-09-18 23:07 | 72 | Unknown | 0 | 12.134 | 8105 | 1.745 | ----- | ----- | ----- | ----- | 1 |  | 60 | 25.5081 | 1691.6967 | 26.7166 | 1544.7499 | 21.7059 | 1569.9271 | 20.7556 | 1925.9383 | 25.5081 | 1691.6967 | 60 | FMI20240918_013.gcd | 2024-09-18 23:07 | 72 | Unknown | 0 | 2.847 | 864002 | 0 | ----- | ----- | ----- | -----
61 | FMI20240918_014.gcd | 2024-09-18 23:37 | 175 | Unknown | 0 | 5.997 | 12030 | 0.027 | ----- | ----- | ----- | ----- | 61 | FMI20240918_014.gcd | 2024-09-18 23:37 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20240918_014.gcd | 2024-09-18 23:37 | 175 | Unknown | 0 | 12.13 | 8576 | 1.849 | ----- | ----- | ----- | ----- | 1 |  | 61 | 30.5122 | 1787.7818 | 31.2705 | 1634.6773 | 25.7648 | 1667.0823 | 25.9591 | 2037.2789 | 30.5122 | 1787.7818 | 61 | FMI20240918_014.gcd | 2024-09-18 23:37 | 175 | Unknown | 0 | 2.842 | 950232 | 0 | ----- | ----- | ----- | -----
62 | FMI20240918_015.gcd | 2024-09-19 00:08 | 150 | Unknown | 0 | 5.991 | 32773 | 0.079 | ----- | ----- | ----- | ----- | 62 | FMI20240918_015.gcd | 2024-09-19 00:08 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20240918_015.gcd | 2024-09-19 00:08 | 150 | Unknown | 0 | 11.994 | 148974 | 31.452 | ----- | ----- | ----- | ----- | 1 |  | 62 | 90.3777 | 29649.3323 | 85.8159 | 28119.1085 | 74.3945 | 30122.854 | 87.6144 | 34216.1558 | 90.3777 | 29649.3323 | 62 | FMI20240918_015.gcd | 2024-09-19 00:08 | 150 | Unknown | 0 | 2.849 | 805625 | 0 | ----- | ----- | ----- | -----
63 | FMI20240918_016.gcd | 2024-09-19 00:39 | 302 | Unknown | 0 | 5.996 | 11598 | 0.026 | ----- | ----- | ----- | ----- | 63 | FMI20240918_016.gcd | 2024-09-19 00:39 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20240918_016.gcd | 2024-09-19 00:39 | 302 | Unknown | 0 | 11.878 | 3830 | 0.806 | ----- | ----- | ----- | ----- | 2 | Do not use CO2. Use CH4. | 63 | 29.2628 | 818.3728 | 30.1334 | 728.1995 | 24.7513 | 687.5866 | 24.6606 | 906.1095 | 29.2628 | 818.3728 | 63 | FMI20240918_016.gcd | 2024-09-19 00:39 | 302 | Unknown | 0 | 2.845 | 882809 | 0 | ----- | ----- | ----- | -----
64 | FMI20240918_017.gcd | 2024-09-19 01:09 | 274 | Unknown | 0 | 6.042 | 1776 | 0.001 | ----- | ----- | ----- | ----- | 64 | FMI20240918_017.gcd | 2024-09-19 01:09 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20240918_017.gcd | 2024-09-19 01:09 | 274 | Unknown | 0 | 11.766 | 202084 | 42.081 | ----- | ----- | ----- | ----- | 2 | Do not use CO2. Use CH4. | 64 | 0.72576 | 40157.8934 | -0.10814 | 37970.5778 | 0.13608 | 40624.8785 | 5.9606 | 46608.9349 | 0.72576 | 40157.8934 | 64 | FMI20240918_017.gcd | 2024-09-19 01:09 | 274 | Unknown | 0 | 2.842 | 924668 | 0 | ----- | ----- | ----- | -----
65 | FMI20240918_018.gcd | 2024-09-19 01:40 | 49 | Unknown | 0 | 5.988 | 68877 | 0.17 | ----- | ----- | ----- | ----- | 65 | FMI20240918_018.gcd | 2024-09-19 01:40 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20240918_018.gcd | 2024-09-19 01:40 | 49 | Unknown | 0 | 12.2 | 21384 | 4.649 | ----- | ----- | ----- | ----- | 1 |  | 65 | 193.9833 | 4390.4749 | 180.5062 | 4077.3275 | 158.8711 | 4304.7031 | 191.6914 | 4987.4127 | 193.9833 | 4390.4749 | 65 | FMI20240918_018.gcd | 2024-09-19 01:40 | 49 | Unknown | 0 | 2.835 | 1073470 | 0 | ----- | ----- | ----- | -----
66 | FMI20240918_019.gcd | 2024-09-19 02:10 | 96 | Unknown | 0 | 5.988 | 63159 | 0.156 | ----- | ----- | ----- | ----- | 66 | FMI20240918_019.gcd | 2024-09-19 02:10 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20240918_019.gcd | 2024-09-19 02:10 | 96 | Unknown | 0 | 12.056 | 78140 | 16.808 | ----- | ----- | ----- | ----- | 1 |  | 66 | 177.6249 | 15422.8582 | 165.5306 | 14837.2287 | 145.5061 | 15892.0165 | 175.4821 | 17328.5483 | 177.6249 | 15422.8582 | 66 | FMI20240918_019.gcd | 2024-09-19 02:10 | 96 | Unknown | 0 | 2.849 | 800067 | 0 | ----- | ----- | ----- | -----
67 | FMI20240918_020.gcd | 2024-09-19 02:41 | 113 | Unknown | 0 | 5.998 | 11886 | 0.026 | ----- | ----- | ----- | ----- | 67 | FMI20240918_020.gcd | 2024-09-19 02:41 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20240918_020.gcd | 2024-09-19 02:41 | 113 | Unknown | 0 | 12.104 | 7362 | 1.582 | ----- | ----- | ----- | ----- | 1 |  | 67 | 30.0957 | 1540.0689 | 30.8914 | 1402.8751 | 25.4269 | 1416.6422 | 25.5263 | 1749.8878 | 30.0957 | 1540.0689 | 67 | FMI20240918_020.gcd | 2024-09-19 02:41 | 113 | Unknown | 0 | 2.847 | 909840 | 0 | ----- | ----- | ----- | -----
68 | FMI20240918_021.gcd | 2024-09-19 03:11 | 177 | Unknown | 0 | 6.024 | 1939 | 0.001 | ----- | ----- | ----- | ----- | 68 | FMI20240918_021.gcd | 2024-09-19 03:11 | 177 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20240918_021.gcd | 2024-09-19 03:11 | 177 | Unknown | 0 | 11.938 | 210368 | 43.714 | ----- | ----- | ----- | ----- | 1 |  | 68 | 1.1602 | 41784.7781 | 0.47992 | 39498.9223 | 0.36016 | 42249.9858 | 5.5109 | 48521.1366 | 1.1602 | 41784.7781 | 68 | FMI20240918_021.gcd | 2024-09-19 03:11 | 177 | Unknown | 0 | 2.84 | 970788 | 0 | ----- | ----- | ----- | -----
69 | FMI20240918_022.gcd | 2024-09-19 10:09 | 302 reinjection | Unknown | 0 | 6.009 | 9812 | 0.021 | ----- | ----- | ----- | ----- | 69 | FMI20240918_022.gcd | 2024-09-19 10:09 | 302 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20240918_022.gcd | 2024-09-19 10:09 | 302 | Unknown | 0 | 12.18 | 7779 | 1.674 | ----- | ----- | ----- | ----- | 1 | Use CO2. Do not use CH4. | 69 | 25.759 | 1625.1763 | 25.2171 | 1482.5029 | 20.3758 | 1502.675 | 17.9545 | 1848.7561 | 25.759 | 1625.1763 | 69 | FMI20240918_022.gcd | 2024-09-19 10:09 | 302 reinjection | Unknown | 0 | 2.813 | 1603491 | 0 | ----- | ----- | ----- | -----
70 | FMI20240918_023.gcd | 2024-09-19 10:40 | 274 reinjection | Unknown | 0 | 6.055 | 1844 | 0.001 | ----- | ----- | ----- | ----- | 70 | FMI20240918_023.gcd | 2024-09-19 10:40 | 274 reinjection | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20240918_023.gcd | 2024-09-19 10:40 | 274 | Unknown | 0 | 11.926 | 240353 | 49.569 | ----- | ----- | ----- | ----- | 1 | Use CO2. Do not use CH4. | 70 | 0.90663 | 47645.9213 | 0.13756 | 45012.3025 | 0.22862 | 48102.9858 | 5.7695 | 55395.6629 | 0.90663 | 47645.9213 | 70 | FMI20240918_023.gcd | 2024-09-19 10:40 | 274 reinjection | Unknown | 0 | 2.821 | 1419901 | 0 | ----- | ----- | ----- | -----