## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN30jun20_001.gcd | 2020-06-30 10:14 | air | Unknown | 0 | 6.072 | 2324 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN30jun20_001.gcd | 2020-06-30 10:14 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN30jun20_001.gcd | 2020-06-30 10:14 | air | Unknown | 0 | 12.224 | 2233 | 0.479 | ----- | ----- | ----- | ----- | 2.0302 | 448.5152
38 | BRN30jun20_002.gcd | 2020-06-30 10:45 | air + 100 | Unknown | 0 | 6.009 | 1066950 | 1.588 | ----- | ----- | ----- | ----- | 38 | BRN30jun20_002.gcd | 2020-06-30 10:45 | air + 100 | Unknown | 0 | 5.959 | 8475 | 2.155 | ----- | ----- | ----- | ----- | 38 | BRN30jun20_002.gcd | 2020-06-30 10:45 | air + 100 | Unknown | 0 | 12.177 | 10848 | 1.649 | ----- | ----- | ----- | ----- | 2169.1384 | 2038.6625
39 | BRN30jun20_003.gcd | 2020-06-30 11:16 | 194 | Unknown | 0 | 6.002 | 1710004 | 2.549 | ----- | ----- | ----- | ----- | 39 | BRN30jun20_003.gcd | 2020-06-30 11:16 | 194 | Unknown | 0 | 5.956 | 13001 | 2.987 | ----- | ----- | ----- | ----- | 39 | BRN30jun20_003.gcd | 2020-06-30 11:16 | 194 | Unknown | 0 | 12.068 | 85195 | 11.801 | ----- | ----- | ----- | ----- | 3028.9452 | 15374.3865
40 | BRN30jun20_004.gcd | 2020-06-30 11:46 | 132 | Unknown | 0 | 6.009 | 1385571 | 2.064 | ----- | ----- | ----- | ----- | 40 | BRN30jun20_004.gcd | 2020-06-30 11:46 | 132 | Unknown | 0 | 5.96 | 11832 | 2.772 | ----- | ----- | ----- | ----- | 40 | BRN30jun20_004.gcd | 2020-06-30 11:46 | 132 | Unknown | 0 | 12.086 | 65259 | 9.07 | ----- | ----- | ----- | ----- | 2806.8567 | 11866.5277
41 | BRN30jun20_005.gcd | 2020-06-30 12:17 | 158 | Unknown | 0 | 6.001 | 5054908 | 7.571 | ----- | ----- | ----- | ----- | 41 | BRN30jun20_005.gcd | 2020-06-30 12:17 | 158 | Unknown | 0 | 5.953 | 37930 | 7.58 | ----- | ----- | ----- | ----- | 41 | BRN30jun20_005.gcd | 2020-06-30 12:17 | 158 | Unknown | 0 | 12.084 | 78599 | 10.897 | ----- | ----- | ----- | ----- | 7767.1331 | 14219.3039
42 | BRN30jun20_006.gcd | 2020-06-30 12:47 | 206 | Unknown | 0 | 6.01 | 1457944 | 2.172 | ----- | ----- | ----- | ----- | 42 | BRN30jun20_006.gcd | 2020-06-30 12:47 | 206 | Unknown | 0 | 5.959 | 12103 | 2.822 | ----- | ----- | ----- | ----- | 42 | BRN30jun20_006.gcd | 2020-06-30 12:47 | 206 | Unknown | 0 | 12.106 | 60246 | 8.384 | ----- | ----- | ----- | ----- | 2858.3409 | 10976.6096
43 | BRN30jun20_007.gcd | 2020-06-30 13:18 | 138 | Unknown | 0 | 6.017 | 38986 | 0.056 | ----- | ----- | ----- | ----- | 43 | BRN30jun20_007.gcd | 2020-06-30 13:18 | 138 | Unknown | 0 | 5.965 | 356 | 0.663 | ----- | ----- | ----- | ----- | 43 | BRN30jun20_007.gcd | 2020-06-30 13:18 | 138 | Unknown | 0 | 12.137 | 6047 | 0.997 | ----- | ----- | ----- | ----- | 121.6847 | 1153.6485
44 | BRN30jun20_008.gcd | 2020-06-30 13:48 | 212 | Unknown | 0 | 6.014 | 24662 | 0.035 | ----- | ----- | ----- | ----- | 44 | BRN30jun20_008.gcd | 2020-06-30 13:48 | 212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN30jun20_008.gcd | 2020-06-30 13:48 | 212 | Unknown | 0 | 12.154 | 3812 | 0.693 | ----- | ----- | ----- | ----- | 77.4371 | 740.6627
45 | BRN30jun20_009.gcd | 2020-06-30 14:19 | 188 | Unknown | 0 | 6.009 | 1594910 | 2.377 | ----- | ----- | ----- | ----- | 45 | BRN30jun20_009.gcd | 2020-06-30 14:19 | 188 | Unknown | 0 | 5.959 | 12282 | 2.855 | ----- | ----- | ----- | ----- | 45 | BRN30jun20_009.gcd | 2020-06-30 14:19 | 188 | Unknown | 0 | 12.098 | 63222 | 8.792 | ----- | ----- | ----- | ----- | 2892.3473 | 11505.2958
46 | BRN30jun20_010.gcd | 2020-06-30 14:50 | 15 | Unknown | 0 | 5.998 | 3933033 | 5.882 | ----- | ----- | ----- | ----- | 46 | BRN30jun20_010.gcd | 2020-06-30 14:50 | 15 | Unknown | 0 | 5.951 | 28194 | 5.785 | ----- | ----- | ----- | ----- | 46 | BRN30jun20_010.gcd | 2020-06-30 14:50 | 15 | Unknown | 0 | 12.073 | 85765 | 11.879 | ----- | ----- | ----- | ----- | 5916.1519 | 15473.9478
47 | BRN30jun20_011.gcd | 2020-06-30 15:20 | 168 | Unknown | 0 | 6.002 | 6105362 | 9.158 | ----- | ----- | ----- | ----- | 47 | BRN30jun20_011.gcd | 2020-06-30 15:20 | 168 | Unknown | 0 | 5.954 | 46790 | 9.215 | ----- | ----- | ----- | ----- | 47 | BRN30jun20_011.gcd | 2020-06-30 15:20 | 168 | Unknown | 0 | 12.072 | 89727 | 12.423 | ----- | ----- | ----- | ----- | 9452.1129 | 16164.8586
48 | BRN30jun20_012.gcd | 2020-06-30 15:51 | 97 | Unknown | 0 | 6.021 | 56613 | 0.082 | ----- | ----- | ----- | ----- | 48 | BRN30jun20_012.gcd | 2020-06-30 15:51 | 97 | Unknown | 0 | 5.943 | 1103 | 0.8 | ----- | ----- | ----- | ----- | 48 | BRN30jun20_012.gcd | 2020-06-30 15:51 | 97 | Unknown | 0 | 12.133 | 38283 | 5.385 | ----- | ----- | ----- | ----- | 175.6757 | 7040.5032
49 | BRN30jun20_013.gcd | 2020-06-30 16:21 | 151 | Unknown | 0 | 6.009 | 66585 | 0.097 | ----- | ----- | ----- | ----- | 49 | BRN30jun20_013.gcd | 2020-06-30 16:21 | 151 | Unknown | 0 | 5.972 | 532 | 0.695 | ----- | ----- | ----- | ----- | 49 | BRN30jun20_013.gcd | 2020-06-30 16:21 | 151 | Unknown | 0 | 12.114 | 39480 | 5.548 | ----- | ----- | ----- | ----- | 205.995 | 7256.5843
50 | BRN30jun20_014.gcd | 2020-06-30 16:52 | 41 | Unknown | 0 | 6.006 | 3802641 | 5.686 | ----- | ----- | ----- | ----- | 50 | BRN30jun20_014.gcd | 2020-06-30 16:52 | 41 | Unknown | 0 | 5.958 | 30551 | 6.219 | ----- | ----- | ----- | ----- | 50 | BRN30jun20_014.gcd | 2020-06-30 16:52 | 41 | Unknown | 0 | 12.085 | 78288 | 10.854 | ----- | ----- | ----- | ----- | 6364.201 | 14164.7072
51 | BRN30jun20_015.gcd | 2020-06-30 17:22 | sample labeled "+100" | Unknown | 0 | 6.013 | 31480 | 0.045 | ----- | ----- | ----- | ----- | 51 | BRN30jun20_015.gcd | 2020-06-30 17:22 | sample labeled "+100" | Unknown | 0 | 5.957 | 492 | 0.688 | ----- | ----- | ----- | ----- | 51 | BRN30jun20_015.gcd | 2020-06-30 17:22 | sample labeled "+100" | Unknown | 0 | 12.151 | 3120 | 0.599 | ----- | ----- | ----- | ----- | 98.54 | 612.667
52 | BRN30jun20_016.gcd | 2020-06-30 17:53 | 87 | Unknown | 0 | 6.012 | 53577 | 0.078 | ----- | ----- | ----- | ----- | 52 | BRN30jun20_016.gcd | 2020-06-30 17:53 | 87 | Unknown | 0 | 5.94 | 748 | 0.735 | ----- | ----- | ----- | ----- | 52 | BRN30jun20_016.gcd | 2020-06-30 17:53 | 87 | Unknown | 0 | 12.156 | 6520 | 1.061 | ----- | ----- | ----- | ----- | 166.4127 | 1240.9696