## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | 2026 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2026 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20260612_001.gcd | 2026-06-12 11:13 | QC outside air | Unknown | 0 | 6.11 | 1617 | 0.003 | ----- | ----- | ----- | ----- | 45 | FMI20260612_001.gcd | 2026-06-12 11:13 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20260612_001.gcd | 2026-06-12 11:13 | QC outside air | Unknown | 0 | 12.391 | 2307 | 0.487 | ----- | ----- | ----- | ----- | 1 |  | 45 | 5.5916 | 473.3504 | 6.4269 | 538.7605 | 0.3049 | 506.7167 | 2.3836 | 391.0427 | 5.5916 | 473.3504 | 45 | FMI20260612_001.gcd | 2026-06-12 11:13 | QC outside air | Unknown | 0 | 2.732 | 5160777 | 0 | ----- | ----- | ----- | -----
46 | FMI20260612_002.gcd | 2026-06-12 11:43 | QC spiked air | Unknown | 0 | 6.051 | 1168503 | 2.377 | ----- | ----- | ----- | ----- | 46 | FMI20260612_002.gcd | 2026-06-12 11:43 | QC spiked air | Unknown | 0 | 6.003 | 9111 | 2.225 | ----- | ----- | ----- | ----- | 46 | FMI20260612_002.gcd | 2026-06-12 11:43 | QC spiked air | Unknown | 0 | 12.349 | 8505 | 1.545 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2261.6581 | 1626.7174 | 2395.5994 | 2020.508 | 2652.6365 | 1773.2994 | 2567.943 | 1799.039 | 2261.6581 | 1626.7174 | 46 | FMI20260612_002.gcd | 2026-06-12 11:43 | QC spiked air | Unknown | 0 | 2.718 | 5406689 | 0 | ----- | ----- | ----- | -----
47 | FMI20260612_003.gcd | 2026-06-12 12:14 | QC reference tank resampled | Unknown | 0 | 6.081 | 2934 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20260612_003.gcd | 2026-06-12 12:14 | QC reference tank resampled | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20260612_003.gcd | 2026-06-12 12:14 | QC reference tank resampled | Unknown | 0 | 12.35 | 1956 | 0.427 | ----- | ----- | ----- | ----- | 1 |  | 47 | 9.0001 | 408.1161 | 3.388 | 453.799 | 3.878 | 434.8512 | 7.0203 | 311.1935 | 9.0001 | 408.1161 | 47 | FMI20260612_003.gcd | 2026-06-12 12:14 | QC reference tank resampled | Unknown | 0 | 2.718 | 5477350 | 0 | ----- | ----- | ----- | -----
48 | FMI20260612_004.gcd | 2026-06-12 12:45 | 29 | Unknown | 0 | 6.058 | 11084 | 0.023 | ----- | ----- | ----- | ----- | 48 | FMI20260612_004.gcd | 2026-06-12 12:45 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20260612_004.gcd | 2026-06-12 12:45 | 29 | Unknown | 0 | 12.274 | 44506 | 7.695 | ----- | ----- | ----- | ----- | 1 |  | 48 | 27.2749 | 8380.4065 | 23.1149 | 9934.3084 | 27.776 | 9039.3791 | 32.874 | 9902.8191 | 27.2749 | 8380.4065 | 48 | FMI20260612_004.gcd | 2026-06-12 12:45 | 29 | Unknown | 0 | 2.872 | 998731 | 0 | ----- | ----- | ----- | -----
49 | FMI20260612_005.gcd | 2026-06-12 13:15 | 190 | Unknown | 0 | 6.061 | 13671 | 0.028 | ----- | ----- | ----- | ----- | 49 | FMI20260612_005.gcd | 2026-06-12 13:15 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20260612_005.gcd | 2026-06-12 13:15 | 190 | Unknown | 0 | 12.272 | 46953 | 8.113 | ----- | ----- | ----- | ----- | 1 |  | 49 | 32.8904 | 9297.153 | 30.8861 | 9763.0906 | 35.2573 | 9082.7277 | 39.7955 | 10647.9964 | 32.8904 | 9297.153 | 49 | FMI20260612_005.gcd | 2026-06-12 13:15 | 190 | Unknown | 0 | 2.848 | 1545822 | 0 | ----- | ----- | ----- | -----
50 | FMI20260612_006.gcd | 2026-06-12 13:46 | 262 | Unknown | 0 | 6.058 | 13984 | 0.028 | ----- | ----- | ----- | ----- | 50 | FMI20260612_006.gcd | 2026-06-12 13:46 | 262 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20260612_006.gcd | 2026-06-12 13:46 | 262 | Unknown | 0 | 12.307 | 17985 | 3.165 | ----- | ----- | ----- | ----- | 1 |  | 50 | 33.5695 | 3396.1411 | 31.8249 | 4219.0898 | 36.1621 | 3701.6821 | 40.6327 | 3945.3123 | 33.5695 | 3396.1411 | 50 | FMI20260612_006.gcd | 2026-06-12 13:46 | 262 | Unknown | 0 | 2.884 | 780398 | 0 | ----- | ----- | ----- | -----
51 | FMI20260612_007.gcd | 2026-06-12 14:16 | 133 | Unknown | 0 | 6.057 | 17501 | 0.036 | ----- | ----- | ----- | ----- | 51 | FMI20260612_007.gcd | 2026-06-12 14:16 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20260612_007.gcd | 2026-06-12 14:16 | 133 | Unknown | 0 | 12.328 | 3402 | 0.674 | ----- | ----- | ----- | ----- | 1 |  | 51 | 41.1949 | 676.9156 | 42.3525 | 803.0893 | 46.3259 | 730.8179 | 50.0361 | 640.0675 | 41.1949 | 676.9156 | 51 | FMI20260612_007.gcd | 2026-06-12 14:16 | 133 | Unknown | 0 | 2.879 | 848972 | 0 | ----- | ----- | ----- | -----
52 | FMI20260612_008.gcd | 2026-06-12 14:47 | 348 | Unknown | 0 | 6.058 | 18538 | 0.038 | ----- | ----- | ----- | ----- | 52 | FMI20260612_008.gcd | 2026-06-12 14:47 | 348 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20260612_008.gcd | 2026-06-12 14:47 | 348 | Unknown | 0 | 12.319 | 3202 | 0.639 | ----- | ----- | ----- | ----- | 1 |  | 52 | 43.4415 | 639.7283 | 45.4492 | 754.8917 | 49.3214 | 689.8969 | 52.8075 | 594.5923 | 43.4415 | 639.7283 | 52 | FMI20260612_008.gcd | 2026-06-12 14:47 | 348 | Unknown | 0 | 2.88 | 843746 | 0 | ----- | ----- | ----- | -----
53 | FMI20260612_009.gcd | 2026-06-12 15:18 | 170 | Unknown | 0 | 6.061 | 18491 | 0.038 | ----- | ----- | ----- | ----- | 53 | FMI20260612_009.gcd | 2026-06-12 15:18 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20260612_009.gcd | 2026-06-12 15:18 | 170 | Unknown | 0 | 12.336 | 3389 | 0.671 | ----- | ----- | ----- | ----- | 1 |  | 53 | 43.3397 | 674.4984 | 45.3089 | 799.9575 | 49.1857 | 728.1582 | 52.6819 | 637.1117 | 43.3397 | 674.4984 | 53 | FMI20260612_009.gcd | 2026-06-12 15:18 | 170 | Unknown | 0 | 2.886 | 823488 | 0 | ----- | ----- | ----- | -----
54 | FMI20260612_010.gcd | 2026-06-12 15:48 | 410 | Unknown | 0 | 6.062 | 12168 | 0.025 | ----- | ----- | ----- | ----- | 54 | FMI20260612_010.gcd | 2026-06-12 15:48 | 410 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20260612_010.gcd | 2026-06-12 15:48 | 410 | Unknown | 0 | 12.273 | 53330 | 9.202 | ----- | ----- | ----- | ----- | 1 |  | 54 | 29.6285 | 10340.6148 | 26.3737 | 11316.5178 | 30.9113 | 10382.9355 | 35.7746 | 12010.3468 | 29.6285 | 10340.6148 | 54 | FMI20260612_010.gcd | 2026-06-12 15:48 | 410 | Unknown | 0 | 2.878 | 953045 | 0 | ----- | ----- | ----- | -----
55 | FMI20260612_011.gcd | 2026-06-12 16:19 | 416 | Unknown | 0 | 6.059 | 13849 | 0.028 | ----- | ----- | ----- | ----- | 55 | FMI20260612_011.gcd | 2026-06-12 16:19 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20260612_011.gcd | 2026-06-12 16:19 | 416 | Unknown | 0 | 12.309 | 17824 | 3.137 | ----- | ----- | ----- | ----- | 1 |  | 55 | 33.2766 | 3366.0371 | 31.42 | 4182.4353 | 35.7719 | 3669.0218 | 40.2716 | 3908.9355 | 33.2766 | 3366.0371 | 55 | FMI20260612_011.gcd | 2026-06-12 16:19 | 416 | Unknown | 0 | 2.881 | 841585 | 0 | ----- | ----- | ----- | -----
56 | FMI20260612_012.gcd | 2026-06-12 16:49 | 22 | Unknown | 0 | 6.068 | 8846 | 0.018 | ----- | ----- | ----- | ----- | 56 | FMI20260612_012.gcd | 2026-06-12 16:49 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20260612_012.gcd | 2026-06-12 16:49 | 22 | Unknown | 0 | 12.291 | 43026 | 7.442 | ----- | ----- | ----- | ----- | 1 |  | 56 | 24.1422 | 8100.934 | 12.8247 | 9632.275 | 22.3595 | 8743.726 | 28.1974 | 9572.18 | 24.1422 | 8100.934 | 56 | FMI20260612_012.gcd | 2026-06-12 16:49 | 22 | Unknown | 0 | 2.875 | 1081910 | 0 | ----- | ----- | ----- | -----
57 | FMI20260612_013.gcd | 2026-06-12 17:20 | 304 | Unknown | 0 | 6.064 | 19023 | 0.039 | ----- | ----- | ----- | ----- | 57 | FMI20260612_013.gcd | 2026-06-12 17:20 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20260612_013.gcd | 2026-06-12 17:20 | 304 | Unknown | 0 | 12.342 | 3387 | 0.671 | ----- | ----- | ----- | ----- | 1 |  | 57 | 44.4919 | 674.1265 | 46.8963 | 799.4757 | 50.7222 | 727.749 | 54.1035 | 636.657 | 44.4919 | 674.1265 | 57 | FMI20260612_013.gcd | 2026-06-12 17:20 | 304 | Unknown | 0 | 2.884 | 861374 | 0 | ----- | ----- | ----- | -----