## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN08nov23_001.gcd | 2023-11-08 11:45 | QC outside air | Unknown | 0 | 6.058 | 2481 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN08nov23_001.gcd | 2023-11-08 11:45 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN08nov23_001.gcd | 2023-11-08 11:45 | QC outside air | Unknown | 0 | 12.251 | 3246 | 0.653 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.2219 | 765.4983 | 2.4709 | 635.977 | 2.4132 | 616.6059 | 1.1608 | 566.9793 | 4.2219 | 765.4983 | 49 | BRN08nov23_001.gcd | 2023-11-08 11:45 | QC outside air | Unknown | 0 | 2.705 | 5225876 | 0 | ----- | ----- | ----- | -----
50 | BRN08nov23_002.gcd | 2023-11-08 12:16 | QC spiked air | Unknown | 0 | 6.003 | 1010608 | 2.164 | ----- | ----- | ----- | ----- | 50 | BRN08nov23_002.gcd | 2023-11-08 12:16 | QC spiked air | Unknown | 0 | 5.951 | 9528 | 2.418 | ----- | ----- | ----- | ----- | 50 | BRN08nov23_002.gcd | 2023-11-08 12:16 | QC spiked air | Unknown | 0 | 12.198 | 9608 | 2.419 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2095.6828 | 2280.5277 | 2369.1654 | 1810.3587 | 2727.2572 | 1831.6906 | 2579.4094 | 1879.9178 | 2095.6828 | 2280.5277 | 50 | BRN08nov23_002.gcd | 2023-11-08 12:16 | QC spiked air | Unknown | 0 | 2.706 | 5244846 | 0 | ----- | ----- | ----- | -----
51 | BRN08nov23_003.gcd | 2023-11-08 12:46 | QC reference tank | Unknown | 0 | 6.035 | 3951 | 0.001 | ----- | ----- | ----- | ----- | 51 | BRN08nov23_003.gcd | 2023-11-08 12:46 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN08nov23_003.gcd | 2023-11-08 12:46 | QC reference tank | Unknown | 0 | 12.206 | 1381 | 0.133 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.3231 | 314.3741 | 6.6482 | 290.7477 | 7.4851 | 260.1582 | 3.7619 | 181.704 | 2.3231 | 314.3741 | 51 | BRN08nov23_003.gcd | 2023-11-08 12:46 | QC reference tank | Unknown | 0 | 2.701 | 5303914 | 0 | ----- | ----- | ----- | -----
52 | BRN08nov23_004.gcd | 2023-11-08 13:17 | 370 | Unknown | 0 | 6.036 | 3917 | 0.001 | ----- | ----- | ----- | ----- | 52 | BRN08nov23_004.gcd | 2023-11-08 13:17 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN08nov23_004.gcd | 2023-11-08 13:17 | 370 | Unknown | 0 | 12.156 | 20347 | 5.37 | ----- | ----- | ----- | ----- | 1 |  | 52 | 2.3407 | 4754.1224 | 6.5505 | 3781.177 | 7.3706 | 3879.7568 | 3.6946 | 4091.4596 | 2.3407 | 4754.1224 | 52 | BRN08nov23_004.gcd | 2023-11-08 13:17 | 370 | Unknown | 0 | 2.857 | 934145 | 0 | ----- | ----- | ----- | -----
53 | BRN08nov23_005.gcd | 2023-11-08 13:47 | 267 | Unknown | 0 | 6.039 | 2977 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN08nov23_005.gcd | 2023-11-08 13:47 | 267 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN08nov23_005.gcd | 2023-11-08 13:47 | 267 | Unknown | 0 | 12.135 | 31181 | 8.309 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.3204 | 7142.9986 | 3.8701 | 5754.759 | 4.1525 | 5942.1403 | 1.9682 | 6316.6008 | 3.3204 | 7142.9986 | 53 | BRN08nov23_005.gcd | 2023-11-08 13:47 | 267 | Unknown | 0 | 2.856 | 823938 | 0 | ----- | ----- | ----- | -----
54 | BRN08nov23_006.gcd | 2023-11-08 14:18 | 30 | Unknown | 0 | 5.999 | 137124 | 0.287 | ----- | ----- | ----- | ----- | 54 | BRN08nov23_006.gcd | 2023-11-08 14:18 | 30 | Unknown | 0 | 5.935 | 883 | 0.194 | ----- | ----- | ----- | ----- | 54 | BRN08nov23_006.gcd | 2023-11-08 14:18 | 30 | Unknown | 0 | 12.063 | 97082 | 25.455 | ----- | ----- | ----- | ----- | 1 |  | 54 | 377.196 | 21884.7324 | 415.8297 | 17442.2309 | 358.6374 | 18404.9713 | 317.9828 | 19722.6256 | 377.196 | 21884.7324 | 54 | BRN08nov23_006.gcd | 2023-11-08 14:18 | 30 | Unknown | 0 | 2.854 | 854634 | 0 | ----- | ----- | ----- | -----
55 | BRN08nov23_007.gcd | 2023-11-08 14:49 | 258 | Unknown | 0 | 6.036 | 3561 | 0 | ----- | ----- | ----- | ----- | 55 | BRN08nov23_007.gcd | 2023-11-08 14:49 | 258 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN08nov23_007.gcd | 2023-11-08 14:49 | 258 | Unknown | 0 | 12.131 | 32550 | 8.678 | ----- | ----- | ----- | ----- | 1 |  | 55 | 2.5994 | 7437.2409 | 5.531 | 6003.095 | 6.1639 | 6202.4745 | 3.0106 | 6597.3465 | 2.5994 | 7437.2409 | 55 | BRN08nov23_007.gcd | 2023-11-08 14:49 | 258 | Unknown | 0 | 2.855 | 832101 | 0 | ----- | ----- | ----- | -----
56 | BRN08nov23_008.gcd | 2023-11-08 15:19 | 259 | Unknown | 0 | 6.045 | 3271 | 0 | ----- | ----- | ----- | ----- | 56 | BRN08nov23_008.gcd | 2023-11-08 15:19 | 259 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN08nov23_008.gcd | 2023-11-08 15:19 | 259 | Unknown | 0 | 12.141 | 25856 | 6.869 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.9114 | 5982.2262 | 4.7044 | 4786.5686 | 5.17 | 4928.9389 | 2.4806 | 5223.6742 | 2.9114 | 5982.2262 | 56 | BRN08nov23_008.gcd | 2023-11-08 15:19 | 259 | Unknown | 0 | 2.862 | 730993 | 0 | ----- | ----- | ----- | -----
57 | BRN08nov23_009.gcd | 2023-11-08 15:50 | 168 | Unknown | 0 | 6.009 | 30940 | 0.059 | ----- | ----- | ----- | ----- | 57 | BRN08nov23_009.gcd | 2023-11-08 15:50 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN08nov23_009.gcd | 2023-11-08 15:50 | 168 | Unknown | 0 | 12.153 | 16008 | 4.182 | ----- | ----- | ----- | ----- | 1 |  | 57 | 82.2208 | 3767.3536 | 96.8714 | 2986.628 | 81.0001 | 3052.7049 | 70.1 | 3198.6139 | 82.2208 | 3767.3536 | 57 | BRN08nov23_009.gcd | 2023-11-08 15:50 | 168 | Unknown | 0 | 2.842 | 1202557 | 0 | ----- | ----- | ----- | -----
58 | BRN08nov23_010.gcd | 2023-11-08 16:20 | 254 | Unknown | 0 | 6.049 | 3321 | 0 | ----- | ----- | ----- | ----- | 58 | BRN08nov23_010.gcd | 2023-11-08 16:20 | 254 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN08nov23_010.gcd | 2023-11-08 16:20 | 254 | Unknown | 0 | 12.15 | 28981 | 7.715 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.8511 | 6666.5664 | 4.8467 | 5355.187 | 5.3421 | 5523.6525 | 2.5702 | 5865.2385 | 2.8511 | 6666.5664 | 58 | BRN08nov23_010.gcd | 2023-11-08 16:20 | 254 | Unknown | 0 | 2.851 | 1065501 | 0 | ----- | ----- | ----- | -----
59 | BRN08nov23_011.gcd | 2023-11-08 16:51 | 238 | Unknown | 0 | 6.039 | 3688 | 0 | ----- | ----- | ----- | ----- | 59 | BRN08nov23_011.gcd | 2023-11-08 16:51 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN08nov23_011.gcd | 2023-11-08 16:51 | 238 | Unknown | 0 | 12.147 | 18781 | 4.942 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.4914 | 4399.9657 | 5.8941 | 3494.6868 | 6.596 | 3581.3339 | 3.2504 | 3769.3311 | 2.4914 | 4399.9657 | 59 | BRN08nov23_011.gcd | 2023-11-08 16:51 | 238 | Unknown | 0 | 2.833 | 1290629 | 0 | ----- | ----- | ----- | -----
60 | BRN08nov23_012.gcd | 2023-11-08 17:21 | 402 | Unknown | 0 | 6.026 | 4641 | 0.002 | ----- | ----- | ----- | ----- | 60 | BRN08nov23_012.gcd | 2023-11-08 17:21 | 402 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN08nov23_012.gcd | 2023-11-08 17:21 | 402 | Unknown | 0 | 12.158 | 14105 | 3.659 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.2366 | 3329.1584 | 8.6406 | 2637.4088 | 9.7794 | 2689.7831 | 5.1994 | 2806.7263 | 2.2366 | 3329.1584 | 60 | BRN08nov23_012.gcd | 2023-11-08 17:21 | 402 | Unknown | 0 | 2.846 | 1124297 | 0 | ----- | ----- | ----- | -----
61 | BRN08nov23_013.gcd | 2023-11-08 17:52 | 336 | Unknown | 0 | 6.038 | 3364 | 0 | ----- | ----- | ----- | ----- | 61 | BRN08nov23_013.gcd | 2023-11-08 17:52 | 336 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN08nov23_013.gcd | 2023-11-08 17:52 | 336 | Unknown | 0 | 12.13 | 33931 | 9.049 | ----- | ----- | ----- | ----- | 1 |  | 61 | 2.8014 | 7732.3302 | 4.9691 | 6253.3695 | 5.4898 | 6465.0289 | 2.6479 | 6880.4562 | 2.8014 | 7732.3302 | 61 | BRN08nov23_013.gcd | 2023-11-08 17:52 | 336 | Unknown | 0 | 2.856 | 815286 | 0 | ----- | ----- | ----- | -----
62 | BRN08nov23_014.gcd | 2023-11-08 18:22 | 300 | Unknown | 0 | 6.036 | 3333 | 0 | ----- | ----- | ----- | ----- | 62 | BRN08nov23_014.gcd | 2023-11-08 18:22 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN08nov23_014.gcd | 2023-11-08 18:22 | 300 | Unknown | 0 | 12.15 | 14568 | 3.786 | ----- | ----- | ----- | ----- | 1 |  | 62 | 2.8371 | 3436.0754 | 4.8808 | 2722.4157 | 5.3833 | 2778.0928 | 2.5918 | 2902.0896 | 2.8371 | 3436.0754 | 62 | BRN08nov23_014.gcd | 2023-11-08 18:22 | 300 | Unknown | 0 | 2.859 | 776198 | 0 | ----- | ----- | ----- | -----
63 | BRN08nov23_015.gcd | 2023-11-08 18:53 | 313 | Unknown | 0 | 6.015 | 21276 | 0.038 | ----- | ----- | ----- | ----- | 63 | BRN08nov23_015.gcd | 2023-11-08 18:53 | 313 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN08nov23_015.gcd | 2023-11-08 18:53 | 313 | Unknown | 0 | 12.163 | 14659 | 3.812 | ----- | ----- | ----- | ----- | 1 |  | 63 | 53.609 | 3457.0664 | 66.9286 | 2739.1202 | 55.5964 | 2795.4487 | 47.4496 | 2920.8314 | 53.609 | 3457.0664 | 63 | BRN08nov23_015.gcd | 2023-11-08 18:53 | 313 | Unknown | 0 | 2.859 | 937008 | 0 | ----- | ----- | ----- | -----
64 | BRN08nov23_016.gcd | 2023-11-08 19:23 | 219 | Unknown | 0 | 6.039 | 3707 | 0 | ----- | ----- | ----- | ----- | 64 | BRN08nov23_016.gcd | 2023-11-08 19:23 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN08nov23_016.gcd | 2023-11-08 19:23 | 219 | Unknown | 0 | 12.151 | 18261 | 4.799 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.4767 | 4281.871 | 5.9484 | 3399.4879 | 6.6605 | 3482.2231 | 3.2867 | 3662.3387 | 2.4767 | 4281.871 | 64 | BRN08nov23_016.gcd | 2023-11-08 19:23 | 219 | Unknown | 0 | 2.836 | 1218846 | 0 | ----- | ----- | ----- | -----
65 | BRN08nov23_017.gcd | 2023-11-08 19:54 | 89 | Unknown | 0 | 6.031 | 3895 | 0.001 | ----- | ----- | ----- | ----- | 65 | BRN08nov23_017.gcd | 2023-11-08 19:54 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN08nov23_017.gcd | 2023-11-08 19:54 | 89 | Unknown | 0 | 12.159 | 9764 | 2.462 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.3527 | 2317.2134 | 6.4874 | 1839.0914 | 7.2964 | 1861.4686 | 3.6513 | 1912.0858 | 2.3527 | 2317.2134 | 65 | BRN08nov23_017.gcd | 2023-11-08 19:54 | 89 | Unknown | 0 | 2.859 | 762367 | 0 | ----- | ----- | ----- | -----
66 | BRN08nov23_018.gcd | 2023-11-08 20:25 | 250 | Unknown | 0 | 6.026 | 4376 | 0.002 | ----- | ----- | ----- | ----- | 66 | BRN08nov23_018.gcd | 2023-11-08 20:25 | 250 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN08nov23_018.gcd | 2023-11-08 20:25 | 250 | Unknown | 0 | 12.152 | 14378 | 3.734 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.209 | 3392.2239 | 7.873 | 2687.535 | 8.9047 | 2741.8542 | 4.6309 | 2862.9569 | 2.209 | 3392.2239 | 66 | BRN08nov23_018.gcd | 2023-11-08 20:25 | 250 | Unknown | 0 | 2.837 | 1184330 | 0 | ----- | ----- | ----- | -----
67 | BRN08nov23_019.gcd | 2023-11-08 20:55 | 92 | Unknown | 0 | 6.032 | 3898 | 0.001 | ----- | ----- | ----- | ----- | 67 | BRN08nov23_019.gcd | 2023-11-08 20:55 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN08nov23_019.gcd | 2023-11-08 20:55 | 92 | Unknown | 0 | 12.126 | 36659 | 9.781 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.351 | 8310.1313 | 6.496 | 6747.0531 | 7.3065 | 6983.4913 | 3.6572 | 7439.4194 | 2.351 | 8310.1313 | 67 | BRN08nov23_019.gcd | 2023-11-08 20:55 | 92 | Unknown | 0 | 2.843 | 1081326 | 0 | ----- | ----- | ----- | -----
68 | BRN08nov23_020.gcd | 2023-11-08 21:26 | 308 | Unknown | 0 | 6.033 | 2903 | -0.001 | ----- | ----- | ----- | ----- | 68 | BRN08nov23_020.gcd | 2023-11-08 21:26 | 308 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN08nov23_020.gcd | 2023-11-08 21:26 | 308 | Unknown | 0 | 12.124 | 32819 | 8.75 | ----- | ----- | ----- | ----- | 1 |  | 68 | 3.438 | 7494.8567 | 3.6607 | 6051.8639 | 3.8948 | 6253.6214 | 1.8432 | 6652.5 | 3.438 | 7494.8567 | 68 | BRN08nov23_020.gcd | 2023-11-08 21:26 | 308 | Unknown | 0 | 2.856 | 833866 | 0 | ----- | ----- | ----- | -----
69 | BRN08nov23_021.gcd | 2023-11-08 21:56 | 241 | Unknown | 0 | 6.032 | 3311 | 0 | ----- | ----- | ----- | ----- | 69 | BRN08nov23_021.gcd | 2023-11-08 21:56 | 241 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN08nov23_021.gcd | 2023-11-08 21:56 | 241 | Unknown | 0 | 12.154 | 13392 | 3.463 | ----- | ----- | ----- | ----- | 1 |  | 69 | 2.863 | 3164.1284 | 4.8182 | 2506.4493 | 5.3077 | 2553.7762 | 2.5522 | 2659.8495 | 2.863 | 3164.1284 | 69 | BRN08nov23_021.gcd | 2023-11-08 21:56 | 241 | Unknown | 0 | 2.857 | 795129 | 0 | ----- | ----- | ----- | -----
70 | BRN08nov23_022.gcd | 2023-11-08 22:27 | 235 | Unknown | 0 | 5.999 | 139134 | 0.291 | ----- | ----- | ----- | ----- | 70 | BRN08nov23_022.gcd | 2023-11-08 22:27 | 235 | Unknown | 0 | 5.941 | 1086 | 0.246 | ----- | ----- | ----- | ----- | 70 | BRN08nov23_022.gcd | 2023-11-08 22:27 | 235 | Unknown | 0 | 12.064 | 93782 | 24.624 | ----- | ----- | ----- | ----- | 1 |  | 70 | 382.4368 | 21093.0833 | 421.6899 | 16869.9467 | 363.8666 | 17784.2527 | 322.6575 | 19056.5894 | 382.4368 | 21093.0833 | 70 | BRN08nov23_022.gcd | 2023-11-08 22:27 | 235 | Unknown | 0 | 2.858 | 770762 | 0 | ----- | ----- | ----- | -----
71 | BRN08nov23_023.gcd | 2023-11-08 22:57 | 266 | Unknown | 0 | 6.037 | 3214 | -0.001 | ----- | ----- | ----- | ----- | 71 | BRN08nov23_023.gcd | 2023-11-08 22:57 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN08nov23_023.gcd | 2023-11-08 22:57 | 266 | Unknown | 0 | 12.136 | 31877 | 8.496 | ----- | ----- | ----- | ----- | 1 |  | 71 | 2.9834 | 7292.8051 | 4.5424 | 5881.0425 | 4.9735 | 6074.5019 | 2.3793 | 6459.3439 | 2.9834 | 7292.8051 | 71 | BRN08nov23_023.gcd | 2023-11-08 22:57 | 266 | Unknown | 0 | 2.855 | 878537 | 0 | ----- | ----- | ----- | -----
72 | BRN08nov23_024.gcd | 2023-11-08 23:28 | 243 | Unknown | 0 | 6.046 | 3169 | -0.001 | ----- | ----- | ----- | ----- | 72 | BRN08nov23_024.gcd | 2023-11-08 23:28 | 243 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN08nov23_024.gcd | 2023-11-08 23:28 | 243 | Unknown | 0 | 12.144 | 31627 | 8.429 | ----- | ----- | ----- | ----- | 1 |  | 72 | 3.0427 | 7239.0462 | 4.4145 | 5835.689 | 4.8181 | 6026.9601 | 2.3 | 6408.0741 | 3.0427 | 7239.0462 | 72 | BRN08nov23_024.gcd | 2023-11-08 23:28 | 243 | Unknown | 0 | 2.859 | 971294 | 0 | ----- | ----- | ----- | -----
73 | BRN08nov23_025.gcd | 2023-11-08 23:58 | 171 | Unknown | 0 | 6.024 | 4400 | 0.002 | ----- | ----- | ----- | ----- | 73 | BRN08nov23_025.gcd | 2023-11-08 23:58 | 171 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN08nov23_025.gcd | 2023-11-08 23:58 | 171 | Unknown | 0 | 12.147 | 13099 | 3.382 | ----- | ----- | ----- | ----- | 1 |  | 73 | 2.2084 | 3096.1766 | 7.9424 | 2452.6143 | 8.9843 | 2497.8808 | 4.6816 | 2599.4845 | 2.2084 | 3096.1766 | 73 | BRN08nov23_025.gcd | 2023-11-08 23:58 | 171 | Unknown | 0 | 2.844 | 1065660 | 0 | ----- | ----- | ----- | -----
74 | BRN08nov23_026.gcd | 2023-11-09 00:29 | 76 | Unknown | 0 | 6.047 | 3219 | -0.001 | ----- | ----- | ----- | ----- | 74 | BRN08nov23_026.gcd | 2023-11-09 00:29 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN08nov23_026.gcd | 2023-11-09 00:29 | 76 | Unknown | 0 | 12.127 | 35533 | 9.479 | ----- | ----- | ----- | ----- | 1 |  | 74 | 2.9769 | 8072.4628 | 4.5566 | 6543.3952 | 4.9908 | 6769.5218 | 2.3881 | 7208.7497 | 2.9769 | 8072.4628 | 74 | BRN08nov23_026.gcd | 2023-11-09 00:29 | 76 | Unknown | 0 | 2.853 | 874668 | 0 | ----- | ----- | ----- | -----
75 | BRN08nov23_027.gcd | 2023-11-09 00:59 | 136 | Unknown | 0 | 6.031 | 3955 | 0.001 | ----- | ----- | ----- | ----- | 75 | BRN08nov23_027.gcd | 2023-11-09 00:59 | 136 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN08nov23_027.gcd | 2023-11-09 00:59 | 136 | Unknown | 0 | 12.145 | 18241 | 4.794 | ----- | ----- | ----- | ----- | 1 |  | 75 | 2.3211 | 4277.324 | 6.6597 | 3395.8257 | 7.4985 | 3478.4109 | 3.7698 | 3658.2233 | 2.3211 | 4277.324 | 75 | BRN08nov23_027.gcd | 2023-11-09 00:59 | 136 | Unknown | 0 | 2.856 | 799404 | 0 | ----- | ----- | ----- | -----
76 | BRN08nov23_028.gcd | 2023-11-09 01:30 | 27 | Unknown | 0 | 6.03 | 4206 | 0.002 | ----- | ----- | ----- | ----- | 76 | BRN08nov23_028.gcd | 2023-11-09 01:30 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08nov23_028.gcd | 2023-11-09 01:30 | 27 | Unknown | 0 | 12.149 | 10229 | 2.591 | ----- | ----- | ----- | ----- | 1 |  | 76 | 2.2312 | 2426.4331 | 7.3822 | 1924.7188 | 8.3394 | 1950.2255 | 4.277 | 2007.9641 | 2.2312 | 2426.4331 | 76 | BRN08nov23_028.gcd | 2023-11-09 01:30 | 27 | Unknown | 0 | 2.838 | 1144607 | 0 | ----- | ----- | ----- | -----
77 | BRN08nov23_029.gcd | 2023-11-09 02:00 | 192 | Unknown | 0 | 6.036 | 4111 | 0.001 | ----- | ----- | ----- | ----- | 77 | BRN08nov23_029.gcd | 2023-11-09 02:00 | 192 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN08nov23_029.gcd | 2023-11-09 02:00 | 192 | Unknown | 0 | 12.139 | 20807 | 5.495 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.2573 | 4857.7281 | 7.1084 | 3865.2727 | 8.022 | 3967.4009 | 4.0829 | 4186.0585 | 2.2573 | 4857.7281 | 77 | BRN08nov23_029.gcd | 2023-11-09 02:00 | 192 | Unknown | 0 | 2.8 | 2001450 | 0 | ----- | ----- | ----- | -----