## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250513_001.gcd | 2025-05-13 15:18 | QC outside air | Unknown | 0 | 6.043 | 1318 | 0.003 | ----- | ----- | ----- | ----- | 45 | FMI20250513_001.gcd | 2025-05-13 15:18 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250513_001.gcd | 2025-05-13 15:18 | QC outside air | Unknown | 0 | 12.209 | 1768 | 0.291 | ----- | ----- | ----- | ----- | 1 |  | 45 | 1.335 | 268.4202 | -0.4522 | 261.6658 | 7.3778 | 408.2463 | -0.47869 | 396.3531 | 1.335 | 268.4202 | 45 | FMI20250513_001.gcd | 2025-05-13 15:18 | QC outside air | Unknown | 0 | 2.723 | 4507404 | 0 | ----- | ----- | ----- | -----
46 | FMI20250513_002.gcd | 2025-05-13 15:48 | QC spiked air | Unknown | 0 | 5.988 | 986664 | 2.229 | ----- | ----- | ----- | ----- | 46 | FMI20250513_002.gcd | 2025-05-13 15:48 | QC spiked air | Unknown | 0 | 5.939 | 9086 | 2.338 | ----- | ----- | ----- | ----- | 46 | FMI20250513_002.gcd | 2025-05-13 15:48 | QC spiked air | Unknown | 0 | 12.182 | 9978 | 2.092 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2196.4439 | 2133.1052 | 2470.3507 | 1956.2118 | 2050.121 | 2367.5025 | 2265.3852 | 2073.6363 | 2196.4439 | 2133.1052 | 46 | FMI20250513_002.gcd | 2025-05-13 15:48 | QC spiked air | Unknown | 0 | 2.699 | 4984737 | 0 | ----- | ----- | ----- | -----
47 | FMI20250513_003.gcd | 2025-05-13 16:19 | QC reference tank | Unknown | 0 | 6.015 | 2637 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250513_003.gcd | 2025-05-13 16:19 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250513_003.gcd | 2025-05-13 16:19 | QC reference tank | Unknown | 0 | 12.193 | 1701 | 0.277 | ----- | ----- | ----- | ----- | 1 |  | 47 | 5.9721 | 253.1757 | 1.407 | 247.8229 | 3.9097 | 392.0043 | 3.0549 | 382.632 | 5.9721 | 253.1757 | 47 | FMI20250513_003.gcd | 2025-05-13 16:19 | QC reference tank | Unknown | 0 | 2.701 | 4971418 | 0 | ----- | ----- | ----- | -----
48 | FMI20250513_004.gcd | 2025-05-13 16:49 | 343 | Unknown | 0 | 5.969 | 7014786 | 16.085 | ----- | ----- | ----- | ----- | 48 | FMI20250513_004.gcd | 2025-05-13 16:49 | 343 | Unknown | 0 | 5.923 | 55410 | 13.755 | ----- | ----- | ----- | ----- | 48 | FMI20250513_004.gcd | 2025-05-13 16:49 | 343 | Unknown | 0 | 12.088 | 59577 | 12.922 | ----- | ----- | ----- | ----- | 1 |  | 48 | 14332.2628 | 13344.0871 | 13859.1092 | 12120.2847 | 12847.5305 | 12835.0517 | 14884.6016 | 11654.7426 | 14332.2628 | 13344.0871 | 48 | FMI20250513_004.gcd | 2025-05-13 16:49 | 343 | Unknown | 0 | 2.852 | 738168 | 0 | ----- | ----- | ----- | -----
49 | FMI20250513_005.gcd | 2025-05-13 17:20 | 127 | Unknown | 0 | 5.996 | 16340 | 0.037 | ----- | ----- | ----- | ----- | 49 | FMI20250513_005.gcd | 2025-05-13 17:20 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250513_005.gcd | 2025-05-13 17:20 | 127 | Unknown | 0 | 12.153 | 5739 | 1.163 | ----- | ----- | ----- | ----- | 1 |  | 49 | 46.9327 | 1171.1541 | 35.8748 | 1081.7108 | 38.8816 | 1363.5738 | 42.9716 | 1208.6254 | 46.9327 | 1171.1541 | 49 | FMI20250513_005.gcd | 2025-05-13 17:20 | 127 | Unknown | 0 | 2.853 | 791131 | 0 | ----- | ----- | ----- | -----
50 | FMI20250513_006.gcd | 2025-05-13 17:51 | 150 | Unknown | 0 | 5.969 | 7252170 | 16.64 | ----- | ----- | ----- | ----- | 50 | FMI20250513_006.gcd | 2025-05-13 17:51 | 150 | Unknown | 0 | 5.922 | 56862 | 14.111 | ----- | ----- | ----- | ----- | 50 | FMI20250513_006.gcd | 2025-05-13 17:51 | 150 | Unknown | 0 | 12.08 | 65689 | 14.251 | ----- | ----- | ----- | ----- | 1 |  | 50 | 14802.5805 | 14648.2025 | 14214.7391 | 13364.0964 | 13245.062 | 14317.68 | 15372.3177 | 12897.2502 | 14802.5805 | 14648.2025 | 50 | FMI20250513_006.gcd | 2025-05-13 17:51 | 150 | Unknown | 0 | 2.845 | 869813 | 0 | ----- | ----- | ----- | -----
51 | FMI20250513_007.gcd | 2025-05-13 18:21 | 217 | Unknown | 0 | 5.997 | 12590 | 0.029 | ----- | ----- | ----- | ----- | 51 | FMI20250513_007.gcd | 2025-05-13 18:21 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | FMI20250513_007.gcd | 2025-05-13 18:21 | 217 | Unknown | 0 | 12.134 | 24335 | 5.235 | ----- | ----- | ----- | ----- | 1 |  | 51 | 36.9037 | 5378.0206 | 27.0786 | 4911.2318 | 27.6414 | 5645.9211 | 32.1316 | 4987.3619 | 36.9037 | 5378.0206 | 51 | FMI20250513_007.gcd | 2025-05-13 18:21 | 217 | Unknown | 0 | 2.85 | 843275 | 0 | ----- | ----- | ----- | -----
52 | FMI20250513_008.gcd | 2025-05-13 18:52 | 400 | Unknown | 0 | 5.993 | 44975 | 0.102 | ----- | ----- | ----- | ----- | 52 | FMI20250513_008.gcd | 2025-05-13 18:52 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250513_008.gcd | 2025-05-13 18:52 | 400 | Unknown | 0 | 12.154 | 3758 | 0.728 | ----- | ----- | ----- | ----- | 1 |  | 52 | 123.27 | 721.0036 | 102.9684 | 672.7182 | 123.249 | 888.7907 | 125.4774 | 803.6455 | 123.27 | 721.0036 | 52 | FMI20250513_008.gcd | 2025-05-13 18:52 | 400 | Unknown | 0 | 2.849 | 858837 | 0 | ----- | ----- | ----- | -----
53 | FMI20250513_009.gcd | 2025-05-13 19:22 | 293 | Unknown | 0 | 5.957 | 12508611 | 29.099 | ----- | ----- | ----- | ----- | 53 | FMI20250513_009.gcd | 2025-05-13 19:22 | 293 | Unknown | 0 | 5.909 | 99207 | 24.488 | ----- | ----- | ----- | ----- | 53 | FMI20250513_009.gcd | 2025-05-13 19:22 | 293 | Unknown | 0 | 12.082 | 71750 | 15.568 | ----- | ----- | ----- | ----- | 2 | Leaked while creating headspace. Eyeballed correct gas volume. | 53 | 24981.6923 | 15940.6526 | 24550.1112 | 14595.6464 | 24217.7549 | 15784.9192 | 26475.6568 | 14127.6171 | 24981.6923 | 15940.6526 | 53 | FMI20250513_009.gcd | 2025-05-13 19:22 | 293 | Unknown | 0 | 2.813 | 1512339 | 0 | ----- | ----- | ----- | -----
54 | FMI20250513_010.gcd | 2025-05-13 19:53 | 197 | Unknown | 0 | 5.994 | 11785 | 0.027 | ----- | ----- | ----- | ----- | 54 | FMI20250513_010.gcd | 2025-05-13 19:53 | 197 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250513_010.gcd | 2025-05-13 19:53 | 197 | Unknown | 0 | 12.15 | 8434 | 1.753 | ----- | ----- | ----- | ----- | 1 |  | 54 | 34.7498 | 1782.9313 | 25.19 | 1637.7925 | 25.2227 | 2003.7325 | 29.8036 | 1758.8163 | 34.7498 | 1782.9313 | 54 | FMI20250513_010.gcd | 2025-05-13 19:53 | 197 | Unknown | 0 | 2.853 | 770068 | 0 | ----- | ----- | ----- | -----
55 | FMI20250513_011.gcd | 2025-05-13 20:24 | 152 | Unknown | 0 | 5.991 | 46500 | 0.105 | ----- | ----- | ----- | ----- | 55 | FMI20250513_011.gcd | 2025-05-13 20:24 | 152 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250513_011.gcd | 2025-05-13 20:24 | 152 | Unknown | 0 | 12.152 | 3110 | 0.586 | ----- | ----- | ----- | ----- | 1 |  | 55 | 127.3233 | 573.6724 | 106.5379 | 538.8902 | 127.6696 | 732.7086 | 129.858 | 671.0716 | 127.3233 | 573.6724 | 55 | FMI20250513_011.gcd | 2025-05-13 20:24 | 152 | Unknown | 0 | 2.84 | 1003413 | 0 | ----- | ----- | ----- | -----
56 | FMI20250513_012.gcd | 2025-05-13 20:54 | 135 | Unknown | 0 | 5.993 | 11168 | 0.026 | ----- | ----- | ----- | ----- | 56 | FMI20250513_012.gcd | 2025-05-13 20:54 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250513_012.gcd | 2025-05-13 20:54 | 135 | Unknown | 0 | 12.136 | 23803 | 5.118 | ----- | ----- | ----- | ----- | 1 |  | 56 | 33.0988 | 5258.1409 | 23.7424 | 4801.9209 | 23.3675 | 5527.7936 | 28.019 | 4879.8333 | 33.0988 | 5258.1409 | 56 | FMI20250513_012.gcd | 2025-05-13 20:54 | 135 | Unknown | 0 | 2.844 | 916700 | 0 | ----- | ----- | ----- | -----
57 | FMI20250513_013.gcd | 2025-05-13 21:25 | 182 | Unknown | 0 | 5.954 | 13053832 | 30.411 | ----- | ----- | ----- | ----- | 57 | FMI20250513_013.gcd | 2025-05-13 21:25 | 182 | Unknown | 0 | 5.907 | 99095 | 24.461 | ----- | ----- | ----- | ----- | 57 | FMI20250513_013.gcd | 2025-05-13 21:25 | 182 | Unknown | 0 | 12.079 | 70247 | 15.242 | ----- | ----- | ----- | ----- | 1 |  | 57 | 24954.8695 | 15620.225 | 24522.8664 | 14290.4229 | 24189.4711 | 15421.3551 | 26445.3101 | 13822.6767 | 24954.8695 | 15620.225 | 57 | FMI20250513_013.gcd | 2025-05-13 21:25 | 182 | Unknown | 0 | 2.844 | 853860 | 0 | ----- | ----- | ----- | -----
58 | FMI20250513_014.gcd | 2025-05-13 21:55 | 82 | Unknown | 0 | 5.994 | 10877 | 0.025 | ----- | ----- | ----- | ----- | 58 | FMI20250513_014.gcd | 2025-05-13 21:55 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250513_014.gcd | 2025-05-13 21:55 | 82 | Unknown | 0 | 12.2 | 120475 | 26.112 | ----- | ----- | ----- | ----- | 1 |  | 58 | 32.32 | 26302.4414 | 23.0597 | 24428.0795 | 22.4921 | 27471.0257 | 27.1773 | 23954.5157 | 32.32 | 26302.4414 | 58 | FMI20250513_014.gcd | 2025-05-13 21:55 | 82 | Unknown | 0 | 2.835 | 1101299 | 0 | ----- | ----- | ----- | -----
59 | FMI20250513_015.gcd | 2025-05-13 22:26 | 223 | Unknown | 0 | 5.993 | 14932 | 0.034 | ----- | ----- | ----- | ----- | 59 | FMI20250513_015.gcd | 2025-05-13 22:26 | 223 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250513_015.gcd | 2025-05-13 22:26 | 223 | Unknown | 0 | 12.133 | 23034 | 4.95 | ----- | ----- | ----- | ----- | 1 |  | 59 | 43.168 | 5084.807 | 32.5724 | 4643.8878 | 34.6665 | 5356.5852 | 38.9025 | 4724.3422 | 43.168 | 5084.807 | 59 | FMI20250513_015.gcd | 2025-05-13 22:26 | 223 | Unknown | 0 | 2.837 | 1064115 | 0 | ----- | ----- | ----- | -----
60 | FMI20250513_016.gcd | 2025-05-13 22:56 | 132 | Unknown | 0 | 5.994 | 8869 | 0.02 | ----- | ----- | ----- | ----- | 60 | FMI20250513_016.gcd | 2025-05-13 22:56 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250513_016.gcd | 2025-05-13 22:56 | 132 | Unknown | 0 | 12.085 | 71134 | 15.434 | ----- | ----- | ----- | ----- | 1 |  | 60 | 28.2809 | 15809.3321 | 17.0289 | 14470.5654 | 12.9352 | 15635.9359 | 22.4392 | 14002.6513 | 28.2809 | 15809.3321 | 60 | FMI20250513_016.gcd | 2025-05-13 22:56 | 132 | Unknown | 0 | 2.837 | 1067092 | 0 | ----- | ----- | ----- | -----
61 | FMI20250513_017.gcd | 2025-05-13 23:27 | 165 | Unknown | 0 | 5.993 | 13346 | 0.03 | ----- | ----- | ----- | ----- | 61 | FMI20250513_017.gcd | 2025-05-13 23:27 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250513_017.gcd | 2025-05-13 23:27 | 165 | Unknown | 0 | 12.152 | 9963 | 2.088 | ----- | ----- | ----- | ----- | 1 |  | 61 | 38.9261 | 2129.7043 | 28.8521 | 1953.1189 | 29.911 | 2363.9789 | 34.3176 | 2070.5792 | 38.9261 | 2129.7043 | 61 | FMI20250513_017.gcd | 2025-05-13 23:27 | 165 | Unknown | 0 | 2.835 | 1101786 | 0 | ----- | ----- | ----- | -----
62 | FMI20250513_018.gcd | 2025-05-13 23:58 | 318 | Unknown | 0 | 5.991 | 19125 | 0.044 | ----- | ----- | ----- | ----- | 62 | FMI20250513_018.gcd | 2025-05-13 23:58 | 318 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250513_018.gcd | 2025-05-13 23:58 | 318 | Unknown | 0 | 12.156 | 5953 | 1.209 | ----- | ----- | ----- | ----- | 1 |  | 62 | 54.3761 | 1219.7591 | 42.406 | 1125.8807 | 47.2006 | 1414.6486 | 51.0167 | 1252.3458 | 54.3761 | 1219.7591 | 62 | FMI20250513_018.gcd | 2025-05-13 23:58 | 318 | Unknown | 0 | 2.844 | 927858 | 0 | ----- | ----- | ----- | -----
63 | FMI20250513_019.gcd | 2025-05-14 00:28 | 313 | Unknown | 0 | 5.996 | 9249 | 0.021 | ----- | ----- | ----- | ----- | 63 | FMI20250513_019.gcd | 2025-05-14 00:28 | 313 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250513_019.gcd | 2025-05-14 00:28 | 313 | Unknown | 0 | 12.079 | 71907 | 15.602 | ----- | ----- | ----- | ----- | 1 |  | 63 | 29.6625 | 15974.121 | 18.3465 | 14627.5228 | 14.8423 | 15822.8857 | 23.7648 | 14159.4642 | 29.6625 | 15974.121 | 63 | FMI20250513_019.gcd | 2025-05-14 00:28 | 313 | Unknown | 0 | 2.83 | 1188705 | 0 | ----- | ----- | ----- | -----
64 | FMI20250513_020.gcd | 2025-05-14 00:59 | 288 | Unknown | 0 | 5.995 | 8716 | 0.02 | ----- | ----- | ----- | ----- | 64 | FMI20250513_020.gcd | 2025-05-14 00:59 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250513_020.gcd | 2025-05-14 00:59 | 288 | Unknown | 0 | 12.084 | 74384 | 16.14 | ----- | ----- | ----- | ----- | 1 |  | 64 | 27.7253 | 16502.0846 | 16.5102 | 15130.2712 | 12.2113 | 16421.6179 | 21.9102 | 14661.7617 | 27.7253 | 16502.0846 | 64 | FMI20250513_020.gcd | 2025-05-14 00:59 | 288 | Unknown | 0 | 2.836 | 1076906 | 0 | ----- | ----- | ----- | -----
65 | FMI20250513_021.gcd | 2025-05-14 01:29 | 16 | Unknown | 0 | 5.989 | 37022 | 0.084 | ----- | ----- | ----- | ----- | 65 | FMI20250513_021.gcd | 2025-05-14 01:29 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250513_021.gcd | 2025-05-14 01:29 | 16 | Unknown | 0 | 12.152 | 3513 | 0.674 | ----- | ----- | ----- | ----- | 1 |  | 65 | 102.1115 | 665.3045 | 84.3473 | 622.1222 | 100.0765 | 829.8232 | 102.6099 | 753.527 | 102.1115 | 665.3045 | 65 | FMI20250513_021.gcd | 2025-05-14 01:29 | 16 | Unknown | 0 | 2.84 | 979687 | 0 | ----- | ----- | ----- | -----
66 | FMI20250513_022.gcd | 2025-05-14 02:00 | 168 | Unknown | 0 | 5.991 | 15155 | 0.035 | ----- | ----- | ----- | ----- | 66 | FMI20250513_022.gcd | 2025-05-14 02:00 | 168 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250513_022.gcd | 2025-05-14 02:00 | 168 | Unknown | 0 | 12.133 | 24335 | 5.235 | ----- | ----- | ----- | ----- | 1 |  | 66 | 43.7643 | 5378.0206 | 33.0954 | 4911.2318 | 35.3345 | 5645.9211 | 39.547 | 4987.3619 | 43.7643 | 5378.0206 | 66 | FMI20250513_022.gcd | 2025-05-14 02:00 | 168 | Unknown | 0 | 2.837 | 1048051 | 0 | ----- | ----- | ----- | -----
67 | FMI20250513_023.gcd | 2025-05-14 02:30 | 294 | Unknown | 0 | 5.99 | 38378 | 0.087 | ----- | ----- | ----- | ----- | 67 | FMI20250513_023.gcd | 2025-05-14 02:30 | 294 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250513_023.gcd | 2025-05-14 02:30 | 294 | Unknown | 0 | 12.153 | 3545 | 0.681 | ----- | ----- | ----- | ----- | 1 |  | 67 | 105.7214 | 672.5798 | 87.5229 | 628.7308 | 104.0415 | 837.5282 | 106.5115 | 760.0735 | 105.7214 | 672.5798 | 67 | FMI20250513_023.gcd | 2025-05-14 02:30 | 294 | Unknown | 0 | 2.839 | 1019328 | 0 | ----- | ----- | ----- | -----
68 | FMI20250513_024.gcd | 2025-05-14 03:01 | 348 | Unknown | 0 | 5.99 | 38197 | 0.086 | ----- | ----- | ----- | ----- | 68 | FMI20250513_024.gcd | 2025-05-14 03:01 | 348 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250513_024.gcd | 2025-05-14 03:01 | 348 | Unknown | 0 | 12.156 | 3225 | 0.611 | ----- | ----- | ----- | ----- | 1 |  | 68 | 105.2396 | 599.8221 | 87.099 | 562.6421 | 103.5126 | 760.4363 | 105.9907 | 694.603 | 105.2396 | 599.8221 | 68 | FMI20250513_024.gcd | 2025-05-14 03:01 | 348 | Unknown | 0 | 2.831 | 1163668 | 0 | ----- | ----- | ----- | -----
69 | FMI20250513_025.gcd | 2025-05-14 03:31 | 227 | Unknown | 0 | 5.988 | 39056 | 0.088 | ----- | ----- | ----- | ----- | 69 | FMI20250513_025.gcd | 2025-05-14 03:31 | 227 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250513_025.gcd | 2025-05-14 03:31 | 227 | Unknown | 0 | 12.16 | 2897 | 0.539 | ----- | ----- | ----- | ----- | 1 |  | 69 | 107.526 | 525.2351 | 89.1106 | 494.8957 | 106.0219 | 681.3201 | 108.4618 | 627.4831 | 107.526 | 525.2351 | 69 | FMI20250513_025.gcd | 2025-05-14 03:31 | 227 | Unknown | 0 | 2.834 | 1108662 | 0 | ----- | ----- | ----- | -----
70 | FMI20250513_026.gcd | 2025-05-14 04:02 | 337 | Unknown | 0 | 5.997 | 8316 | 0.019 | ----- | ----- | ----- | ----- | 70 | FMI20250513_026.gcd | 2025-05-14 04:02 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250513_026.gcd | 2025-05-14 04:02 | 337 | Unknown | 0 | 12.053 | 73090 | 15.859 | ----- | ----- | ----- | ----- | 1 |  | 70 | 26.2747 | 16226.2894 | 15.1864 | 14867.6714 | 10.4384 | 16108.8991 | 20.5397 | 14399.3952 | 26.2747 | 16226.2894 | 70 | FMI20250513_026.gcd | 2025-05-14 04:02 | 337 | Unknown | 0 | 2.833 | 1126363 | 0 | ----- | ----- | ----- | -----
71 | FMI20250513_027.gcd | 2025-05-14 04:33 | 74 | Unknown | 0 | 5.985 | 88329 | 0.199 | ----- | ----- | ----- | ----- | 71 | FMI20250513_027.gcd | 2025-05-14 04:33 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250513_027.gcd | 2025-05-14 04:33 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 71 | 238.0254 | #VALUE! | 204.2981 | #VALUE! | 246.0614 | #VALUE! | 249.4915 | #VALUE! | 238.0254 | #VALUE! | 71 | FMI20250513_027.gcd | 2025-05-14 04:33 | 74 | Unknown | 0 | 2.838 | 1008814 | 0 | ----- | ----- | ----- | -----
72 | FMI20250513_028.gcd | 2025-05-14 05:03 | 80 | Unknown | 0 | 5.984 | 77632 | 0.175 | ----- | ----- | ----- | ----- | 72 | FMI20250513_028.gcd | 2025-05-14 05:03 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250513_028.gcd | 2025-05-14 05:03 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 72 | 209.803 | #VALUE! | 179.3245 | #VALUE! | 216.31 | #VALUE! | 218.9936 | #VALUE! | 209.803 | #VALUE! | 72 | FMI20250513_028.gcd | 2025-05-14 05:03 | 80 | Unknown | 0 | 2.84 | 893586 | 0 | ----- | ----- | ----- | -----
73 | FMI20250513_029.gcd | 2025-05-14 05:34 | 180 | Unknown | 0 | 5.988 | 10158 | 0.023 | ----- | ----- | ----- | ----- | 73 | FMI20250513_029.gcd | 2025-05-14 05:34 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250513_029.gcd | 2025-05-14 05:34 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 73 | 30.3956 | #VALUE! | 21.3727 | #VALUE! | 20.3281 | #VALUE! | 25.0972 | #VALUE! | 30.3956 | #VALUE! | 73 | FMI20250513_029.gcd | 2025-05-14 05:34 | 180 | Unknown | 0 | 2.823 | 1282692 | 0 | ----- | ----- | ----- | -----
74 | FMI20250513_030.gcd | 2025-05-14 10:07 | 074 rerun | Unknown | 0 | 6.004 | 70008 | 0.158 | ----- | ----- | ----- | ----- | 74 | FMI20250513_030.gcd | 2025-05-14 10:07 | 074 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250513_030.gcd | 2025-05-14 10:07 | 074 rerun | Unknown | 0 | 12.2 | 90418 | 19.617 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 74 | 189.6515 | 19916.5217 | 161.514 | 18377.064 | 194.8853 | 20285.1641 | 197.2167 | 17906.0782 | 189.6515 | 19916.5217 | 74 | FMI20250513_030.gcd | 2025-05-14 10:07 | 074 rerun | Unknown | 0 | 2.813 | 1673421 | 0 | ----- | ----- | ----- | -----
75 | FMI20250513_031.gcd | 2025-05-14 10:38 | 080 rerun | Unknown | 0 | 5.987 | 68776 | 0.155 | ----- | ----- | ----- | ----- | 75 | FMI20250513_031.gcd | 2025-05-14 10:38 | 080 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250513_031.gcd | 2025-05-14 10:38 | 080 rerun | Unknown | 0 | 12.067 | 67836 | 14.718 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 75 | 186.3922 | 15106.1189 | 158.6351 | 13800.5652 | 191.4059 | 14837.7667 | 193.6946 | 13333.2874 | 186.3922 | 15106.1189 | 75 | FMI20250513_031.gcd | 2025-05-14 10:38 | 080 rerun | Unknown | 0 | 2.808 | 1637256 | 0 | ----- | ----- | ----- | -----
76 | FMI20250513_032.gcd | 2025-05-14 11:08 | 180 rerun | Unknown | 0 | 5.991 | 9558 | 0.022 | ----- | ----- | ----- | ----- | 76 | FMI20250513_032.gcd | 2025-05-14 11:08 | 180 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250513_032.gcd | 2025-05-14 11:08 | 180 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 3 | Failed reinjection- don't use. | 76 | 30.7878 | #VALUE! | 19.4489 | #VALUE! | 16.508 | #VALUE! | 24.8548 | #VALUE! | 30.7878 | #VALUE! | 76 | FMI20250513_032.gcd | 2025-05-14 11:08 | 180 rerun | Unknown | 0 | 2.804 | 1734729 | 0 | ----- | ----- | ----- | -----
77 | FMI20250513_033.gcd | 2025-05-14 13:05 | 180 rerun take 2 | Unknown | 0 | 6.001 | 8601 | 0.02 | ----- | ----- | ----- | ----- | 77 | FMI20250513_033.gcd | 2025-05-14 13:05 | 180 rerun take 2 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | FMI20250513_033.gcd | 2025-05-14 13:05 | 180 rerun take 2 | Unknown | 0 | 12.2 | 133443 | 28.906 | ----- | ----- | ----- | ----- | 2 | Re-reinjection. Use CO2. Do not use CH4. | 77 | 27.308 | 29051.7014 | 16.1249 | 27024.5326 | 11.6839 | 30548.5234 | 21.5143 | 26550.6879 | 27.308 | 29051.7014 | 77 | FMI20250513_033.gcd | 2025-05-14 13:05 | 180 rerun take 2 | Unknown | 0 | 2.779 | 2375969 | 0 | ----- | ----- | ----- | -----