## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250527_001.gcd | 2025-05-27 14:54 | QC outside air | Unknown | 0 | 6.036 | 1408 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250527_001.gcd | 2025-05-27 14:54 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250527_001.gcd | 2025-05-27 14:54 | QC outside air | Unknown | 0 | 12.247 | 2950 | 0.551 | ----- | ----- | ----- | ----- | 1 |  | 45 | 1.6505 | 537.288 | -0.34141 | 505.8429 | 7.0814 | 694.1108 | -0.2439 | 638.3296 | 1.6505 | 537.288 | 45 | FMI20250527_001.gcd | 2025-05-27 14:54 | QC outside air | Unknown | 0 | 2.703 | 5124363 | 0 | ----- | ----- | ----- | -----
46 | FMI20250527_002.gcd | 2025-05-27 15:25 | QC spiked air | Unknown | 0 | 5.991 | 1049282 | 2.371 | ----- | ----- | ----- | ----- | 46 | FMI20250527_002.gcd | 2025-05-27 15:25 | QC spiked air | Unknown | 0 | 5.946 | 9490 | 2.437 | ----- | ----- | ----- | ----- | 46 | FMI20250527_002.gcd | 2025-05-27 15:25 | QC spiked air | Unknown | 0 | 12.206 | 8505 | 1.769 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2324.4113 | 1799.039 | 2570.0336 | 1652.4375 | 2169.2286 | 2020.508 | 2398.7852 | 1773.2994 | 2324.4113 | 1799.039 | 46 | FMI20250527_002.gcd | 2025-05-27 15:25 | QC spiked air | Unknown | 0 | 2.693 | 5280370 | 0 | ----- | ----- | ----- | -----
47 | FMI20250527_003.gcd | 2025-05-27 15:56 | QC reference tank | Unknown | 0 | 6.012 | 2768 | 0.007 | ----- | ----- | ----- | ----- | 47 | FMI20250527_003.gcd | 2025-05-27 15:56 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250527_003.gcd | 2025-05-27 15:56 | QC reference tank | Unknown | 0 | 12.225 | 1170 | 0.16 | ----- | ----- | ----- | ----- | 1 |  | 47 | 6.4342 | 132.3418 | 1.6193 | 138.1041 | 3.6679 | 263.1356 | 3.4167 | 273.8681 | 6.4342 | 132.3418 | 47 | FMI20250527_003.gcd | 2025-05-27 15:56 | QC reference tank | Unknown | 0 | 2.691 | 5312167 | 0 | ----- | ----- | ----- | -----
48 | FMI20250527_004.gcd | 2025-05-27 16:26 | 274 | Unknown | 0 | 5.998 | 8486 | 0.02 | ----- | ----- | ----- | ----- | 48 | FMI20250527_004.gcd | 2025-05-27 16:26 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250527_004.gcd | 2025-05-27 16:26 | 274 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no co2 peak detected | 48 | 26.8909 | #VALUE! | 15.7433 | #VALUE! | 11.1708 | #VALUE! | 21.1199 | #VALUE! | 26.8909 | #VALUE! | 48 | FMI20250527_004.gcd | 2025-05-27 16:26 | 274 | Unknown | 0 | 2.846 | 943733 | 0 | ----- | ----- | ----- | -----
49 | FMI20250527_005.gcd | 2025-05-27 16:57 | 73 | Unknown | 0 | 6.007 | 3391 | 0.008 | ----- | ----- | ----- | ----- | 49 | FMI20250527_005.gcd | 2025-05-27 16:57 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250527_005.gcd | 2025-05-27 16:57 | 73 | Unknown | 0 | 12.157 | 6025 | 1.225 | ----- | ----- | ----- | ----- | 1 |  | 49 | 8.6361 | 1236.1112 | 2.6969 | 1140.7411 | 2.7713 | 1431.8233 | 5.1642 | 1267.0542 | 8.6361 | 1236.1112 | 49 | FMI20250527_005.gcd | 2025-05-27 16:57 | 73 | Unknown | 0 | 2.834 | 1158613 | 0 | ----- | ----- | ----- | -----
50 | FMI20250527_006.gcd | 2025-05-27 17:27 | 407 | Unknown | 0 | 5.997 | 13457 | 0.031 | ----- | ----- | ----- | ----- | 50 | FMI20250527_006.gcd | 2025-05-27 17:27 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250527_006.gcd | 2025-05-27 17:27 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no co2 peak detected | 50 | 39.223 | #VALUE! | 29.1125 | #VALUE! | 30.2441 | #VALUE! | 34.6385 | #VALUE! | 39.223 | #VALUE! | 50 | FMI20250527_006.gcd | 2025-05-27 17:27 | 407 | Unknown | 0 | 2.839 | 1073833 | 0 | ----- | ----- | ----- | -----
51 | FMI20250527_007.gcd | 2025-05-27 17:58 | 317 | Unknown | 0 | 5.964 | 10312365 | 23.85 | ----- | ----- | ----- | ----- | 51 | FMI20250527_007.gcd | 2025-05-27 17:58 | 317 | Unknown | 0 | 5.916 | 80904 | 20.01 | ----- | ----- | ----- | ----- | 51 | FMI20250527_007.gcd | 2025-05-27 17:58 | 317 | Unknown | 0 | 12.106 | 59487 | 12.902 | ----- | ----- | ----- | ----- | 1 |  | 51 | 20594.9451 | 13324.8779 | 20091.3274 | 12101.9552 | 19588.9669 | 12813.1969 | 21506.0892 | 11636.4331 | 20594.9451 | 13324.8779 | 51 | FMI20250527_007.gcd | 2025-05-27 17:58 | 317 | Unknown | 0 | 2.84 | 967783 | 0 | ----- | ----- | ----- | -----
52 | FMI20250527_008.gcd | 2025-05-27 18:28 | 72 | Unknown | 0 | 5.941 | 18995455 | 44.984 | ----- | ----- | ----- | ----- | 52 | FMI20250527_008.gcd | 2025-05-27 18:28 | 72 | Unknown | 0 | 5.893 | 142395 | 35.016 | ----- | ----- | ----- | ----- | 52 | FMI20250527_008.gcd | 2025-05-27 18:28 | 72 | Unknown | 0 | 12.2 | 132168 | 28.632 | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 52 | 35305.7905 | 28781.5554 | 35019.6491 | 26769.6325 | 35086.7908 | 30246.5568 | 38119.5881 | 26295.7932 | 35305.7905 | 28781.5554 | 52 | FMI20250527_008.gcd | 2025-05-27 18:28 | 72 | Unknown | 0 | 2.848 | 795119 | 0 | ----- | ----- | ----- | -----
53 | FMI20250527_009.gcd | 2025-05-27 18:59 | 359 | Unknown | 0 | 5.997 | 7788 | 0.018 | ----- | ----- | ----- | ----- | 53 | FMI20250527_009.gcd | 2025-05-27 18:59 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250527_009.gcd | 2025-05-27 18:59 | 359 | Unknown | 0 | 12.133 | 24504 | 5.272 | ----- | ----- | ----- | ----- | 1 |  | 53 | 24.3639 | 5416.0969 | 13.5101 | 4945.9534 | 8.3628 | 5683.3926 | 18.7587 | 5021.5133 | 24.3639 | 5416.0969 | 53 | FMI20250527_009.gcd | 2025-05-27 18:59 | 359 | Unknown | 0 | 2.837 | 1082319 | 0 | ----- | ----- | ----- | -----
54 | FMI20250527_010.gcd | 2025-05-27 19:29 | 327 | Unknown | 0 | 5.94 | 19805225 | 47.01 | ----- | ----- | ----- | ----- | 54 | FMI20250527_010.gcd | 2025-05-27 19:29 | 327 | Unknown | 0 | 5.893 | 148612 | 36.527 | ----- | ----- | ----- | ----- | 54 | FMI20250527_010.gcd | 2025-05-27 19:29 | 327 | Unknown | 0 | 12.115 | 46127 | 9.993 | ----- | ----- | ----- | ----- | 1 |  | 54 | 36788.8508 | 10471.4707 | 36520.8077 | 9376.452 | 36645.2675 | 9561.635 | 39786.2339 | 8914.1715 | 36788.8508 | 10471.4707 | 54 | FMI20250527_010.gcd | 2025-05-27 19:29 | 327 | Unknown | 0 | 2.846 | 833631 | 0 | ----- | ----- | ----- | -----
55 | FMI20250527_011.gcd | 2025-05-27 20:00 | 384 | Unknown | 0 | 6.013 | 3292 | 0.008 | ----- | ----- | ----- | ----- | 55 | FMI20250527_011.gcd | 2025-05-27 20:00 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250527_011.gcd | 2025-05-27 20:00 | 384 | Unknown | 0 | 12.063 | 102316 | 22.191 | ----- | ----- | ----- | ----- | 1 |  | 55 | 8.2858 | 22446.6691 | 2.5181 | 20777.8595 | 2.8857 | 23138.5089 | 4.8835 | 20305.5312 | 8.2858 | 22446.6691 | 55 | FMI20250527_011.gcd | 2025-05-27 20:00 | 384 | Unknown | 0 | 2.841 | 1006405 | 0 | ----- | ----- | ----- | -----
56 | FMI20250527_012.gcd | 2025-05-27 20:31 | 140 | Unknown | 0 | 6.002 | 3791 | 0.009 | ----- | ----- | ----- | ----- | 56 | FMI20250527_012.gcd | 2025-05-27 20:31 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250527_012.gcd | 2025-05-27 20:31 | 140 | Unknown | 0 | 11.859 | 250044 | 53.798 | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 56 | 10.0533 | 53611.0631 | 3.4483 | 49984.8333 | 2.4166 | 57601.7489 | 6.3095 | 49530.9735 | 10.0533 | 53611.0631 | 56 | FMI20250527_012.gcd | 2025-05-27 20:31 | 140 | Unknown | 0 | 2.842 | 930509 | 0 | ----- | ----- | ----- | -----
57 | FMI20250527_013.gcd | 2025-05-27 21:01 | 362 | Unknown | 0 | 5.996 | 13040 | 0.03 | ----- | ----- | ----- | ----- | 57 | FMI20250527_013.gcd | 2025-05-27 21:01 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250527_013.gcd | 2025-05-27 21:01 | 362 | Unknown | 0 | 11.984 | 107 | -0.073 | ----- | ----- | ----- | ----- | 1 |  | 57 | 38.1076 | -109.6367 | 28.1342 | -81.5834 | 28.9926 | 4.3828 | 33.4329 | 56.0343 | 38.1076 | -109.6367 | 57 | FMI20250527_013.gcd | 2025-05-27 21:01 | 362 | Unknown | 0 | 2.842 | 987815 | 0 | ----- | ----- | ----- | -----
58 | FMI20250527_014.gcd | 2025-05-27 21:32 | 309 | Unknown | 0 | 5.958 | 11818319 | 27.442 | ----- | ----- | ----- | ----- | 58 | FMI20250527_014.gcd | 2025-05-27 21:32 | 309 | Unknown | 0 | 5.911 | 91457 | 22.593 | ----- | ----- | ----- | ----- | 58 | FMI20250527_014.gcd | 2025-05-27 21:32 | 309 | Unknown | 0 | 12.079 | 62395 | 13.535 | ----- | ----- | ----- | ----- | 1 |  | 58 | 23125.0507 | 13945.4614 | 22663.723 | 12693.9937 | 22259.4328 | 13519.0122 | 24373.9388 | 12227.8364 | 23125.0507 | 13945.4614 | 58 | FMI20250527_014.gcd | 2025-05-27 21:32 | 309 | Unknown | 0 | 2.836 | 1019493 | 0 | ----- | ----- | ----- | -----
59 | FMI20250527_015.gcd | 2025-05-27 22:02 | 213 | Unknown | 0 | 5.998 | 4656 | 0.011 | ----- | ----- | ----- | ----- | 59 | FMI20250527_015.gcd | 2025-05-27 22:02 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250527_015.gcd | 2025-05-27 22:02 | 213 | Unknown | 0 | 12.095 | 52833 | 11.454 | ----- | ----- | ----- | ----- | 1 |  | 59 | 13.1273 | 11904.2012 | 5.2322 | 10745.6465 | 2.2405 | 11195.5689 | 8.8489 | 10281.6723 | 13.1273 | 11904.2012 | 59 | FMI20250527_015.gcd | 2025-05-27 22:02 | 213 | Unknown | 0 | 2.846 | 890642 | 0 | ----- | ----- | ----- | -----
60 | FMI20250527_016.gcd | 2025-05-27 22:33 | 129 | Unknown | 0 | 6.002 | 2642 | 0.006 | ----- | ----- | ----- | ----- | 60 | FMI20250527_016.gcd | 2025-05-27 22:33 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250527_016.gcd | 2025-05-27 22:33 | 129 | Unknown | 0 | 12.017 | 101661 | 22.05 | ----- | ----- | ----- | ----- | 1 |  | 60 | 5.9897 | 22307.4594 | 1.415 | 20645.8805 | 3.9002 | 22981.7299 | 3.0687 | 20173.6152 | 5.9897 | 22307.4594 | 60 | FMI20250527_016.gcd | 2025-05-27 22:33 | 129 | Unknown | 0 | 2.84 | 1018655 | 0 | ----- | ----- | ----- | -----
61 | FMI20250527_017.gcd | 2025-05-27 23:03 | 245 | Unknown | 0 | 5.993 | 8433 | 0.019 | ----- | ----- | ----- | ----- | 61 | FMI20250527_017.gcd | 2025-05-27 23:03 | 245 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250527_017.gcd | 2025-05-27 23:03 | 245 | Unknown | 0 | 12.156 | 121 | -0.07 | ----- | ----- | ----- | ----- | 1 |  | 61 | 26.6987 | -106.449 | 15.5688 | -78.6897 | 10.9391 | 7.7973 | 20.9387 | 58.9041 | 26.6987 | -106.449 | 61 | FMI20250527_017.gcd | 2025-05-27 23:03 | 245 | Unknown | 0 | 2.841 | 997404 | 0 | ----- | ----- | ----- | -----
62 | FMI20250527_018.gcd | 2025-05-27 23:34 | 261 | Unknown | 0 | 6.01 | 2387 | 0.006 | ----- | ----- | ----- | ----- | 62 | FMI20250527_018.gcd | 2025-05-27 23:34 | 261 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250527_018.gcd | 2025-05-27 23:34 | 261 | Unknown | 0 | 12.16 | 6586 | 1.348 | ----- | ----- | ----- | ----- | 1 |  | 62 | 5.0909 | 1363.5038 | 1.0158 | 1256.5193 | 4.4227 | 1565.4805 | 2.3699 | 1381.6362 | 5.0909 | 1363.5038 | 62 | FMI20250527_018.gcd | 2025-05-27 23:34 | 261 | Unknown | 0 | 2.851 | 947317 | 0 | ----- | ----- | ----- | -----
63 | FMI20250527_019.gcd | 2025-05-28 00:04 | 314 | Unknown | 0 | 5.998 | 2443 | 0.006 | ----- | ----- | ----- | ----- | 63 | FMI20250527_019.gcd | 2025-05-28 00:04 | 314 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250527_019.gcd | 2025-05-28 00:04 | 314 | Unknown | 0 | 12.043 | 101135 | 21.936 | ----- | ----- | ----- | ----- | 1 |  | 63 | 5.2882 | 22195.6601 | 1.1018 | 20539.8786 | 4.302 | 22855.8025 | 2.5227 | 20067.6647 | 5.2882 | 22195.6601 | 63 | FMI20250527_019.gcd | 2025-05-28 00:04 | 314 | Unknown | 0 | 2.838 | 1051601 | 0 | ----- | ----- | ----- | -----
64 | FMI20250527_020.gcd | 2025-05-28 00:35 | 300 | Unknown | 0 | 5.994 | 8295 | 0.019 | ----- | ----- | ----- | ----- | 64 | FMI20250527_020.gcd | 2025-05-28 00:35 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250527_020.gcd | 2025-05-28 00:35 | 300 | Unknown | 0 | 12.145 | 6187 | 1.261 | ----- | ----- | ----- | ----- | 1 |  | 64 | 26.1986 | 1272.9016 | 15.1182 | 1174.176 | 10.3501 | 1470.449 | 20.4683 | 1300.1459 | 26.1986 | 1272.9016 | 64 | FMI20250527_020.gcd | 2025-05-28 00:35 | 300 | Unknown | 0 | 2.835 | 1108514 | 0 | ----- | ----- | ----- | -----
65 | FMI20250527_021.gcd | 2025-05-28 01:06 | 410 | Unknown | 0 | 5.99 | 77578 | 0.175 | ----- | ----- | ----- | ----- | 65 | FMI20250527_021.gcd | 2025-05-28 01:06 | 410 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250527_021.gcd | 2025-05-28 01:06 | 410 | Unknown | 0 | 12.074 | 76230 | 16.541 | ----- | ----- | ----- | ----- | 1 |  | 65 | 209.6604 | 16895.468 | 179.1984 | 15504.744 | 216.1589 | 16867.5006 | 218.8395 | 15035.9104 | 209.6604 | 16895.468 | 65 | FMI20250527_021.gcd | 2025-05-28 01:06 | 410 | Unknown | 0 | 2.836 | 1073585 | 0 | ----- | ----- | ----- | -----
66 | FMI20250527_022.gcd | 2025-05-28 01:36 | 39 | Unknown | 0 | 5.995 | 7593 | 0.018 | ----- | ----- | ----- | ----- | 66 | FMI20250527_022.gcd | 2025-05-28 01:36 | 39 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250527_022.gcd | 2025-05-28 01:36 | 39 | Unknown | 0 | 12.148 | 5430 | 1.095 | ----- | ----- | ----- | ----- | 1 |  | 66 | 23.6595 | 1100.9642 | 12.9115 | 1017.9285 | 7.6723 | 1289.7519 | 18.109 | 1145.4868 | 23.6595 | 1100.9642 | 66 | FMI20250527_022.gcd | 2025-05-28 01:36 | 39 | Unknown | 0 | 2.839 | 1030860 | 0 | ----- | ----- | ----- | -----
67 | FMI20250527_023.gcd | 2025-05-28 02:07 | 298 | Unknown | 0 | 6.003 | 3853 | 0.009 | ----- | ----- | ----- | ----- | 67 | FMI20250527_023.gcd | 2025-05-28 02:07 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250527_023.gcd | 2025-05-28 02:07 | 298 | Unknown | 0 | 12.142 | 25026 | 5.386 | ----- | ----- | ----- | ----- | 1 |  | 67 | 10.2732 | 5533.6876 | 3.5689 | 5053.191 | 2.3771 | 5798.9683 | 6.4887 | 5126.9772 | 10.2732 | 5533.6876 | 67 | FMI20250527_023.gcd | 2025-05-28 02:07 | 298 | Unknown | 0 | 2.851 | 952455 | 0 | ----- | ----- | ----- | -----
68 | FMI20250527_024.gcd | 2025-05-28 02:37 | 29 | Unknown | 0 | 5.998 | 69896 | 0.158 | ----- | ----- | ----- | ----- | 68 | FMI20250527_024.gcd | 2025-05-28 02:37 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250527_024.gcd | 2025-05-28 02:37 | 29 | Unknown | 0 | 12.097 | 69869 | 15.159 | ----- | ----- | ----- | ----- | 1 |  | 68 | 189.3552 | 15539.6309 | 161.2523 | 14213.6419 | 194.5692 | 15329.8907 | 196.8966 | 13745.968 | 189.3552 | 15539.6309 | 68 | FMI20250527_024.gcd | 2025-05-28 02:37 | 29 | Unknown | 0 | 2.853 | 913477 | 0 | ----- | ----- | ----- | -----
69 | FMI20250527_025.gcd | 2025-05-28 03:08 | 21 | Unknown | 0 | 5.992 | 14336 | 0.033 | ----- | ----- | ----- | ----- | 69 | FMI20250527_025.gcd | 2025-05-28 03:08 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250527_025.gcd | 2025-05-28 03:08 | 21 | Unknown | 0 | 12.178 | 198 | -0.053 | ----- | ----- | ----- | ----- | 1 |  | 69 | 41.5741 | -88.9173 | 31.1744 | -62.7744 | 32.8803 | 26.5741 | 37.1797 | 74.6877 | 41.5741 | -88.9173 | 69 | FMI20250527_025.gcd | 2025-05-28 03:08 | 21 | Unknown | 0 | 2.837 | 1062292 | 0 | ----- | ----- | ----- | -----
70 | FMI20250527_026.gcd | 2025-05-28 03:38 | 194 | Unknown | 0 | 5.995 | 2730 | 0.007 | ----- | ----- | ----- | ----- | 70 | FMI20250527_026.gcd | 2025-05-28 03:38 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250527_026.gcd | 2025-05-28 03:38 | 194 | Unknown | 0 | 12.059 | 94919 | 20.591 | ----- | ----- | ----- | ----- | 1 |  | 70 | 6.3002 | 20874.0272 | 1.5572 | 19286.1319 | 3.7361 | 21365.943 | 3.3115 | 18814.5886 | 6.3002 | 20874.0272 | 70 | FMI20250527_026.gcd | 2025-05-28 03:38 | 194 | Unknown | 0 | 2.833 | 1132816 | 0 | ----- | ----- | ----- | -----
71 | FMI20250527_027.gcd | 2025-05-28 04:09 | 205 | Unknown | 0 | 5.993 | 15225 | 0.035 | ----- | ----- | ----- | ----- | 71 | FMI20250527_027.gcd | 2025-05-28 04:09 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250527_027.gcd | 2025-05-28 04:09 | 205 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 | no co2 peak detected | 71 | 43.9515 | #VALUE! | 33.2596 | #VALUE! | 35.5441 | #VALUE! | 39.7493 | #VALUE! | 43.9515 | #VALUE! | 71 | FMI20250527_027.gcd | 2025-05-28 04:09 | 205 | Unknown | 0 | 2.837 | 1079872 | 0 | ----- | ----- | ----- | -----
72 | FMI20250527_028.gcd | 2025-05-28 04:39 | 375 | Unknown | 0 | 6.005 | 2620 | 0.006 | ----- | ----- | ----- | ----- | 72 | FMI20250527_028.gcd | 2025-05-28 04:39 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | FMI20250527_028.gcd | 2025-05-28 04:39 | 375 | Unknown | 0 | 12.052 | 102586 | 22.25 | ----- | ----- | ----- | ----- | 1 |  | 72 | 5.9121 | 22504.0505 | 1.3798 | 20832.2566 | 3.9425 | 23203.1252 | 3.0081 | 20359.9028 | 5.9121 | 22504.0505 | 72 | FMI20250527_028.gcd | 2025-05-28 04:39 | 375 | Unknown | 0 | 2.834 | 1114097 | 0 | ----- | ----- | ----- | -----
73 | FMI20250527_029.gcd | 2025-05-28 05:10 | 372 | Unknown | 0 | 6.005 | 2966 | 0.007 | ----- | ----- | ----- | ----- | 73 | FMI20250527_029.gcd | 2025-05-28 05:10 | 372 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250527_029.gcd | 2025-05-28 05:10 | 372 | Unknown | 0 | 12.068 | 91126 | 19.77 | ----- | ----- | ----- | ----- | 1 |  | 73 | 7.1333 | 20067.1643 | 1.9495 | 18520.1275 | 3.3375 | 20455.2787 | 3.9673 | 18049.0499 | 7.1333 | 20067.1643 | 73 | FMI20250527_029.gcd | 2025-05-28 05:10 | 372 | Unknown | 0 | 2.836 | 1081358 | 0 | ----- | ----- | ----- | -----