## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250610_001.gcd | 2025-06-10 13:28 | QC outside air | Unknown | 0 | 6.073 | 1678 | 0.004 | ----- | ----- | ----- | ----- | 45 | FMI20250610_001.gcd | 2025-06-10 13:28 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250610_001.gcd | 2025-06-10 13:28 | QC outside air | Unknown | 0 | 12.237 | 1921 | 0.325 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2.5977 | 303.2306 | 0.0050811 | 293.2765 | 6.2448 | 445.3209 | 0.46602 | 427.6843 | 2.5977 | 303.2306 | 45 | FMI20250610_001.gcd | 2025-06-10 13:28 | QC outside air | Unknown | 0 | 2.71 | 4846713 | 0 | ----- | ----- | ----- | -----
46 | FMI20250610_002.gcd | 2025-06-10 13:58 | QC spiked air | Unknown | 0 | 5.993 | 956317 | 2.16 | ----- | ----- | ----- | ----- | 46 | FMI20250610_002.gcd | 2025-06-10 13:58 | QC spiked air | Unknown | 0 | 5.947 | 8868 | 2.284 | ----- | ----- | ----- | ----- | 46 | FMI20250610_002.gcd | 2025-06-10 13:58 | QC spiked air | Unknown | 0 | 12.19 | 9603 | 2.01 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2134.4119 | 2048.078 | 2416.5587 | 1878.8867 | 1992.3445 | 2279.3515 | 2200.7172 | 1997.2004 | 2134.4119 | 2048.078 | 46 | FMI20250610_002.gcd | 2025-06-10 13:58 | QC spiked air | Unknown | 0 | 2.701 | 4952550 | 0 | ----- | ----- | ----- | -----
47 | FMI20250610_003.gcd | 2025-06-10 14:29 | QC reference tank | Unknown | 0 | 6.032 | 2529 | 0.006 | ----- | ----- | ----- | ----- | 47 | FMI20250610_003.gcd | 2025-06-10 14:29 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250610_003.gcd | 2025-06-10 14:29 | QC reference tank | Unknown | 0 | 12.198 | 1937 | 0.328 | ----- | ----- | ----- | ----- | 1 |  | 47 | 5.5913 | 306.8708 | 1.2358 | 296.5821 | 4.1231 | 449.1967 | 2.7581 | 430.9606 | 5.5913 | 306.8708 | 47 | FMI20250610_003.gcd | 2025-06-10 14:29 | QC reference tank | Unknown | 0 | 2.713 | 4736193 | 0 | ----- | ----- | ----- | -----
48 | FMI20250610_004.gcd | 2025-06-10 15:00 | 258 | Unknown | 0 | 6.013 | 3083 | 0.007 | ----- | ----- | ----- | ----- | 48 | FMI20250610_004.gcd | 2025-06-10 15:00 | 258 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250610_004.gcd | 2025-06-10 15:00 | 258 | Unknown | 0 | 12.064 | 99637 | 21.612 | ----- | ----- | ----- | ----- | 1 |  | 48 | 7.5467 | 21877.2335 | 2.1501 | 20237.9173 | 3.1621 | 22497.0489 | 4.2947 | 19765.8545 | 7.5467 | 21877.2335 | 48 | FMI20250610_004.gcd | 2025-06-10 15:00 | 258 | Unknown | 0 | 2.84 | 1029077 | 0 | ----- | ----- | ----- | -----
49 | FMI20250610_005.gcd | 2025-06-10 15:30 | 416 | Unknown | 0 | 6.006 | 3575 | 0.008 | ----- | ----- | ----- | ----- | 49 | FMI20250610_005.gcd | 2025-06-10 15:30 | 416 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250610_005.gcd | 2025-06-10 15:30 | 416 | Unknown | 0 | 12.059 | 102844 | 22.306 | ----- | ----- | ----- | ----- | 1 |  | 49 | 9.2877 | 22558.8802 | 3.0368 | 20884.2326 | 2.5867 | 23264.8641 | 5.6888 | 20411.8546 | 9.2877 | 22558.8802 | 49 | FMI20250610_005.gcd | 2025-06-10 15:30 | 416 | Unknown | 0 | 2.846 | 919519 | 0 | ----- | ----- | ----- | -----
50 | FMI20250610_006.gcd | 2025-06-10 16:01 | 347 | Unknown | 0 | 6.009 | 8001 | 0.018 | ----- | ----- | ----- | ----- | 50 | FMI20250610_006.gcd | 2025-06-10 16:01 | 347 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250610_006.gcd | 2025-06-10 16:01 | 347 | Unknown | 0 | 12.097 | 76817 | 16.668 | ----- | ----- | ----- | ----- | 1 |  | 50 | 25.1342 | 17020.5429 | 14.1766 | 15623.7842 | 9.1639 | 17009.2261 | 19.4733 | 15154.8496 | 25.1342 | 17020.5429 | 50 | FMI20250610_006.gcd | 2025-06-10 16:01 | 347 | Unknown | 0 | 2.855 | 881585 | 0 | ----- | ----- | ----- | -----
51 | FMI20250610_007.gcd | 2025-06-10 16:31 | 25 | Unknown | 0 | 5.902 | 34668356 | 86.116 | ----- | ----- | ----- | ----- | 51 | FMI20250610_007.gcd | 2025-06-10 16:31 | 25 | Unknown | 0 | 5.857 | 277748 | 67.656 | ----- | ----- | ----- | ----- | 51 | FMI20250610_007.gcd | 2025-06-10 16:31 | 25 | Unknown | 0 | 12.102 | 57731 | 12.52 | ----- | ----- | ----- | ----- | 1 |  | 51 | 67416.9023 | 12950.0506 | 67363.281 | 11744.2429 | 68667.483 | 12386.6544 | 73863.0083 | 11279.1165 | 67416.9023 | 12950.0506 | 51 | FMI20250610_007.gcd | 2025-06-10 16:31 | 25 | Unknown | 0 | 2.858 | 629297 | 0 | ----- | ----- | ----- | -----
52 | FMI20250610_008.gcd | 2025-06-10 17:02 | 376 | Unknown | 0 | 5.993 | 71767 | 0.162 | ----- | ----- | ----- | ----- | 52 | FMI20250610_008.gcd | 2025-06-10 17:02 | 376 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250610_008.gcd | 2025-06-10 17:02 | 376 | Unknown | 0 | 12.078 | 77793 | 16.88 | ----- | ----- | ----- | ----- | 1 |  | 52 | 194.3035 | 17228.4875 | 165.6241 | 15821.6724 | 199.8446 | 17244.8095 | 202.2441 | 15352.5723 | 194.3035 | 17228.4875 | 52 | FMI20250610_008.gcd | 2025-06-10 17:02 | 376 | Unknown | 0 | 2.854 | 774230 | 0 | ----- | ----- | ----- | -----
53 | FMI20250610_009.gcd | 2025-06-10 17:33 | 94 | Unknown | 0 | 6.002 | 8750 | 0.02 | ----- | ----- | ----- | ----- | 53 | FMI20250610_009.gcd | 2025-06-10 17:33 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250610_009.gcd | 2025-06-10 17:33 | 94 | Unknown | 0 | 12.164 | 7020 | 1.443 | ----- | ----- | ----- | ----- | 1 |  | 53 | 27.8487 | 1462.0358 | 16.6249 | 1346.0764 | 12.37 | 1668.6832 | 22.0275 | 1470.253 | 27.8487 | 1462.0358 | 53 | FMI20250610_009.gcd | 2025-06-10 17:33 | 94 | Unknown | 0 | 2.803 | 1825986 | 0 | ----- | ----- | ----- | -----
54 | FMI20250610_010.gcd | 2025-06-10 18:03 | 208 | Unknown | 0 | 5.996 | 23151 | 0.053 | ----- | ----- | ----- | ----- | 54 | FMI20250610_010.gcd | 2025-06-10 18:03 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | FMI20250610_010.gcd | 2025-06-10 18:03 | 208 | Unknown | 0 | 12.175 | 505 | 0.014 | ----- | ----- | ----- | ----- | 1 |  | 54 | 65.129 | -19.024 | 51.8454 | 0.67699 | 59.1833 | 101.3837 | 62.639 | 137.6097 | 65.129 | -19.024 | 54 | FMI20250610_010.gcd | 2025-06-10 18:03 | 208 | Unknown | 0 | 2.814 | 1585193 | 0 | ----- | ----- | ----- | -----
55 | FMI20250610_011.gcd | 2025-06-10 18:34 | 154 | Unknown | 0 | 5.959 | 15361893 | 36.013 | ----- | ----- | ----- | ----- | 55 | FMI20250610_011.gcd | 2025-06-10 18:34 | 154 | Unknown | 0 | 5.913 | 119189 | 29.367 | ----- | ----- | ----- | ----- | 55 | FMI20250610_011.gcd | 2025-06-10 18:34 | 154 | Unknown | 0 | 12.092 | 73689 | 15.989 | ----- | ----- | ----- | ----- | 1 |  | 55 | 29763.0945 | 16353.961 | 29403.0893 | 14989.2409 | 29255.8581 | 16253.6755 | 31877.3854 | 14520.8561 | 29763.0945 | 16353.961 | 55 | FMI20250610_011.gcd | 2025-06-10 18:34 | 154 | Unknown | 0 | 2.834 | 1201432 | 0 | ----- | ----- | ----- | -----
56 | FMI20250610_012.gcd | 2025-06-10 19:04 | 87 | Unknown | 0 | 6.012 | 2605 | 0.006 | ----- | ----- | ----- | ----- | 56 | FMI20250610_012.gcd | 2025-06-10 19:04 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | FMI20250610_012.gcd | 2025-06-10 19:04 | 87 | Unknown | 0 | 12.139 | 28364 | 6.116 | ----- | ----- | ----- | ----- | 1 |  | 56 | 5.8592 | 6285.0052 | 1.3559 | 5738.6075 | 3.9716 | 6532.156 | 2.9668 | 5800.6099 | 5.8592 | 6285.0052 | 56 | FMI20250610_012.gcd | 2025-06-10 19:04 | 87 | Unknown | 0 | 2.846 | 901257 | 0 | ----- | ----- | ----- | -----
57 | FMI20250610_013.gcd | 2025-06-10 19:35 | 313 | Unknown | 0 | 5.992 | 130134 | 0.294 | ----- | ----- | ----- | ----- | 57 | FMI20250610_013.gcd | 2025-06-10 19:35 | 313 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | FMI20250610_013.gcd | 2025-06-10 19:35 | 313 | Unknown | 0 | 11.841 | 263046 | 56.548 | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 57 | 347.7445 | 56331.7444 | 301.7207 | 52502.0978 | 358.8715 | 60549.4924 | 368.0467 | 52052.9772 | 347.7445 | 56331.7444 | 57 | FMI20250610_013.gcd | 2025-06-10 19:35 | 313 | Unknown | 0 | 2.841 | 966832 | 0 | ----- | ----- | ----- | -----
58 | FMI20250610_014.gcd | 2025-06-10 20:06 | 368 | Unknown | 0 | 5.997 | 20375 | 0.046 | ----- | ----- | ----- | ----- | 58 | FMI20250610_014.gcd | 2025-06-10 20:06 | 368 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | FMI20250610_014.gcd | 2025-06-10 20:06 | 368 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 58 | 57.7156 | #VALUE! | 45.3371 | #VALUE! | 50.9264 | #VALUE! | 54.6262 | #VALUE! | 57.7156 | #VALUE! | 58 | FMI20250610_014.gcd | 2025-06-10 20:06 | 368 | Unknown | 0 | 2.837 | 1081363 | 0 | ----- | ----- | ----- | -----
59 | FMI20250610_015.gcd | 2025-06-10 20:36 | 216 | Unknown | 0 | 6.003 | 3500 | 0.008 | ----- | ----- | ----- | ----- | 59 | FMI20250610_015.gcd | 2025-06-10 20:36 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250610_015.gcd | 2025-06-10 20:36 | 216 | Unknown | 0 | 12.098 | 56795 | 12.317 | ----- | ----- | ----- | ----- | 1 |  | 59 | 9.022 | 12750.2299 | 2.8971 | 11553.5073 | 2.6575 | 12159.1915 | 5.4745 | 11088.5956 | 9.022 | 12750.2299 | 59 | FMI20250610_015.gcd | 2025-06-10 20:36 | 216 | Unknown | 0 | 2.845 | 909941 | 0 | ----- | ----- | ----- | -----
60 | FMI20250610_016.gcd | 2025-06-10 21:07 | 288 | Unknown | 0 | 5.993 | 67618 | 0.153 | ----- | ----- | ----- | ----- | 60 | FMI20250610_016.gcd | 2025-06-10 21:07 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250610_016.gcd | 2025-06-10 21:07 | 288 | Unknown | 0 | 12.081 | 76215 | 16.537 | ----- | ----- | ----- | ----- | 1 |  | 60 | 183.328 | 16892.2718 | 155.9288 | 15501.7018 | 188.1312 | 16863.8786 | 190.3831 | 15032.8708 | 183.328 | 16892.2718 | 60 | FMI20250610_016.gcd | 2025-06-10 21:07 | 288 | Unknown | 0 | 2.848 | 848743 | 0 | ----- | ----- | ----- | -----
61 | FMI20250610_017.gcd | 2025-06-10 21:38 | 326 | Unknown | 0 | 5.897 | 33442814 | 82.74 | ----- | ----- | ----- | ----- | 61 | FMI20250610_017.gcd | 2025-06-10 21:38 | 326 | Unknown | 0 | 5.852 | 271670 | 66.202 | ----- | ----- | ----- | ----- | 61 | FMI20250610_017.gcd | 2025-06-10 21:38 | 326 | Unknown | 0 | 11.776 | 315331 | 67.56 | ----- | ----- | ----- | ----- | 2 | CO2 interference. Do not use CO2. Use CH4. | 61 | 65982.9265 | 67236.1804 | 65926.1241 | 62537.6712 | 67175.2632 | 72263.6528 | 72282.3147 | 62112.6949 | 65982.9265 | 67236.1804 | 61 | FMI20250610_017.gcd | 2025-06-10 21:38 | 326 | Unknown | 0 | 2.855 | 628835 | 0 | ----- | ----- | ----- | -----
62 | FMI20250610_018.gcd | 2025-06-10 22:08 | 411 | Unknown | 0 | 6 | 6288 | 0.015 | ----- | ----- | ----- | ----- | 62 | FMI20250610_018.gcd | 2025-06-10 22:08 | 411 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250610_018.gcd | 2025-06-10 22:08 | 411 | Unknown | 0 | 12.2 | 82324 | 17.863 | ----- | ----- | ----- | ----- | 1 |  | 62 | 18.9616 | 18193.5885 | 9.1899 | 16739.7156 | 4.1087 | 18337.4656 | 13.8727 | 16269.8841 | 18.9616 | 18193.5885 | 62 | FMI20250610_018.gcd | 2025-06-10 22:08 | 411 | Unknown | 0 | 2.843 | 910873 | 0 | ----- | ----- | ----- | -----
63 | FMI20250610_019.gcd | 2025-06-10 22:39 | 131 | Unknown | 0 | 6.008 | 5022 | 0.012 | ----- | ----- | ----- | ----- | 63 | FMI20250610_019.gcd | 2025-06-10 22:39 | 131 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250610_019.gcd | 2025-06-10 22:39 | 131 | Unknown | 0 | 12.053 | 100978 | 21.902 | ----- | ----- | ----- | ----- | 1 |  | 63 | 14.4318 | 22162.2892 | 6.0524 | 20508.2365 | 2.4092 | 22818.2114 | 9.9491 | 20036.0381 | 14.4318 | 22162.2892 | 63 | FMI20250610_019.gcd | 2025-06-10 22:39 | 131 | Unknown | 0 | 2.845 | 1084380 | 0 | ----- | ----- | ----- | -----
64 | FMI20250610_020.gcd | 2025-06-10 23:09 | 130 | Unknown | 0 | 6.006 | 5983 | 0.014 | ----- | ----- | ----- | ----- | 64 | FMI20250610_020.gcd | 2025-06-10 23:09 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | FMI20250610_020.gcd | 2025-06-10 23:09 | 130 | Unknown | 0 | 12.154 | 12248 | 2.589 | ----- | ----- | ----- | ----- | 1 |  | 64 | 17.8678 | 2647.5084 | 8.3914 | 2424.1333 | 3.541 | 2898.3708 | 12.9107 | 2535.9692 | 17.8678 | 2647.5084 | 64 | FMI20250610_020.gcd | 2025-06-10 23:09 | 130 | Unknown | 0 | 2.853 | 918006 | 0 | ----- | ----- | ----- | -----
65 | FMI20250610_021.gcd | 2025-06-10 23:40 | 392 | Unknown | 0 | 5.994 | 17892 | 0.041 | ----- | ----- | ----- | ----- | 65 | FMI20250610_021.gcd | 2025-06-10 23:40 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250610_021.gcd | 2025-06-10 23:40 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 65 | 51.0812 | #VALUE! | 39.5146 | #VALUE! | 43.5205 | #VALUE! | 47.4555 | #VALUE! | 51.0812 | #VALUE! | 65 | FMI20250610_021.gcd | 2025-06-10 23:40 | 392 | Unknown | 0 | 2.842 | 968914 | 0 | ----- | ----- | ----- | -----
66 | FMI20250610_022.gcd | 2025-06-11 00:11 | 123 | Unknown | 0 | 5.999 | 5687 | 0.013 | ----- | ----- | ----- | ----- | 66 | FMI20250610_022.gcd | 2025-06-11 00:11 | 123 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | FMI20250610_022.gcd | 2025-06-11 00:11 | 123 | Unknown | 0 | 12.138 | 12370 | 2.616 | ----- | ----- | ----- | ----- | 1 |  | 66 | 16.8078 | 2675.1405 | 7.6424 | 2449.274 | 3.0861 | 2926.769 | 11.9872 | 2560.7996 | 16.8078 | 2675.1405 | 66 | FMI20250610_022.gcd | 2025-06-11 00:11 | 123 | Unknown | 0 | 2.846 | 891573 | 0 | ----- | ----- | ----- | -----
67 | FMI20250610_023.gcd | 2025-06-11 00:41 | 370 | Unknown | 0 | 6.002 | 5433 | 0.013 | ----- | ----- | ----- | ----- | 67 | FMI20250610_023.gcd | 2025-06-11 00:41 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | FMI20250610_023.gcd | 2025-06-11 00:41 | 370 | Unknown | 0 | 12.08 | 78577 | 17.05 | ----- | ----- | ----- | ----- | 1 |  | 67 | 15.8994 | 17395.5104 | 7.0199 | 15980.5966 | 2.7712 | 17433.9922 | 11.2028 | 15511.3656 | 15.8994 | 17395.5104 | 67 | FMI20250610_023.gcd | 2025-06-11 00:41 | 370 | Unknown | 0 | 2.847 | 985594 | 0 | ----- | ----- | ----- | -----
68 | FMI20250610_024.gcd | 2025-06-11 01:12 | 387 | Unknown | 0 | 6.009 | 3208 | 0.008 | ----- | ----- | ----- | ----- | 68 | FMI20250610_024.gcd | 2025-06-11 01:12 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250610_024.gcd | 2025-06-11 01:12 | 387 | Unknown | 0 | 12.029 | 121247 | 26.279 | ----- | ----- | ----- | ----- | 1 |  | 68 | 7.9887 | 26466.208 | 2.3687 | 24582.8896 | 2.9912 | 27654.6177 | 4.6463 | 24109.295 | 7.9887 | 26466.208 | 68 | FMI20250610_024.gcd | 2025-06-11 01:12 | 387 | Unknown | 0 | 2.837 | 1054294 | 0 | ----- | ----- | ----- | -----
69 | FMI20250610_025.gcd | 2025-06-11 01:42 | 44 | Unknown | 0 | 6.023 | 1822 | 0.005 | ----- | ----- | ----- | ----- | 69 | FMI20250610_025.gcd | 2025-06-11 01:42 | 44 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250610_025.gcd | 2025-06-11 01:42 | 44 | Unknown | 0 | 12.126 | 24663 | 5.307 | ----- | ----- | ----- | ----- | 1 |  | 69 | 3.1034 | 5451.9176 | 0.19854 | 4978.6192 | 5.8308 | 5718.623 | 0.84805 | 5053.6408 | 3.1034 | 5451.9176 | 69 | FMI20250610_025.gcd | 2025-06-11 01:42 | 44 | Unknown | 0 | 2.845 | 893868 | 0 | ----- | ----- | ----- | -----
70 | FMI20250610_026.gcd | 2025-06-11 02:13 | 379 | Unknown | 0 | 5.938 | 19417156 | 46.038 | ----- | ----- | ----- | ----- | 70 | FMI20250610_026.gcd | 2025-06-11 02:13 | 379 | Unknown | 0 | 5.891 | 156156 | 38.359 | ----- | ----- | ----- | ----- | 70 | FMI20250610_026.gcd | 2025-06-11 02:13 | 379 | Unknown | 0 | 12.095 | 56217 | 12.191 | ----- | ----- | ----- | ----- | 1 |  | 70 | 38587.4132 | 12626.827 | 38340.3722 | 11435.7017 | 38534.3201 | 12018.6925 | 41805.402 | 10970.9239 | 38587.4132 | 12626.827 | 70 | FMI20250610_026.gcd | 2025-06-11 02:13 | 379 | Unknown | 0 | 2.852 | 725642 | 0 | ----- | ----- | ----- | -----
71 | FMI20250610_027.gcd | 2025-06-11 02:44 | 220 | Unknown | 0 | 5.997 | 5381 | 0.013 | ----- | ----- | ----- | ----- | 71 | FMI20250610_027.gcd | 2025-06-11 02:44 | 220 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250610_027.gcd | 2025-06-11 02:44 | 220 | Unknown | 0 | 12.051 | 95639 | 20.747 | ----- | ----- | ----- | ----- | 1 |  | 71 | 15.7136 | 21027.1541 | 6.8948 | 19431.4545 | 2.7153 | 21538.6754 | 11.0431 | 18959.8277 | 15.7136 | 21027.1541 | 71 | FMI20250610_027.gcd | 2025-06-11 02:44 | 220 | Unknown | 0 | 2.839 | 998145 | 0 | ----- | ----- | ----- | -----
72 | FMI20250610_028.gcd | 2025-06-11 03:14 | 152 | Unknown | 0 | 5.988 | 124472 | 0.281 | ----- | ----- | ----- | ----- | 72 | FMI20250610_028.gcd | 2025-06-11 03:14 | 152 | Unknown | 0 | 5.935 | 1323 | 0.418 | ----- | ----- | ----- | ----- | 72 | FMI20250610_028.gcd | 2025-06-11 03:14 | 152 | Unknown | 0 | 12.115 | 33786 | 7.3 | ----- | ----- | ----- | ----- | 1 |  | 72 | 332.9382 | 7503.0591 | 288.5424 | 6850.7353 | 343.9154 | 7701.4287 | 352.0489 | 6891.9687 | 332.9382 | 7503.0591 | 72 | FMI20250610_028.gcd | 2025-06-11 03:14 | 152 | Unknown | 0 | 2.837 | 1038294 | 0 | ----- | ----- | ----- | -----
73 | FMI20250610_029.gcd | 2025-06-11 03:45 | 27 | Unknown | 0 | 5.993 | 8283 | 0.019 | ----- | ----- | ----- | ----- | 73 | FMI20250610_029.gcd | 2025-06-11 03:45 | 27 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | FMI20250610_029.gcd | 2025-06-11 03:45 | 27 | Unknown | 0 | 12.142 | 7305 | 1.506 | ----- | ----- | ----- | ----- | 1 |  | 73 | 26.1551 | 1526.73 | 15.0792 | 1404.8817 | 10.2999 | 1736.3611 | 20.4275 | 1528.4339 | 26.1551 | 1526.73 | 73 | FMI20250610_029.gcd | 2025-06-11 03:45 | 27 | Unknown | 0 | 2.838 | 1039069 | 0 | ----- | ----- | ----- | -----
74 | FMI20250610_030.gcd | 2025-06-11 04:15 | 45 | Unknown | 0 | 6.002 | 2678 | 0.006 | ----- | ----- | ----- | ----- | 74 | FMI20250610_030.gcd | 2025-06-11 04:15 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | FMI20250610_030.gcd | 2025-06-11 04:15 | 45 | Unknown | 0 | 12.031 | 123695 | 26.807 | ----- | ----- | ----- | ----- | 1 |  | 74 | 6.1167 | 26985.4257 | 1.4729 | 25073.5889 | 3.832 | 28236.463 | 3.1679 | 24599.9086 | 6.1167 | 26985.4257 | 74 | FMI20250610_030.gcd | 2025-06-11 04:15 | 45 | Unknown | 0 | 2.828 | 1229166 | 0 | ----- | ----- | ----- | -----
75 | FMI20250610_031.gcd | 2025-06-11 04:46 | 120 | Unknown | 0 | 5.991 | 18850 | 0.043 | ----- | ----- | ----- | ----- | 75 | FMI20250610_031.gcd | 2025-06-11 04:46 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | FMI20250610_031.gcd | 2025-06-11 04:46 | 120 | Unknown | 0 | 12.21 | 157 | -0.062 | ----- | ----- | ----- | ----- | 1 |  | 75 | 53.6413 | -98.2523 | 41.7612 | -71.2487 | 46.3802 | 16.5768 | 50.2225 | 66.2835 | 53.6413 | -98.2523 | 75 | FMI20250610_031.gcd | 2025-06-11 04:46 | 120 | Unknown | 0 | 2.836 | 1058394 | 0 | ----- | ----- | ----- | -----
76 | FMI20250610_032.gcd | 2025-06-11 09:37 | 313 rerun | Unknown | 0 | 5.999 | 95770 | 0.216 | ----- | ----- | ----- | ----- | 76 | FMI20250610_032.gcd | 2025-06-11 09:37 | 313 rerun | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | FMI20250610_032.gcd | 2025-06-11 09:37 | 313 rerun | Unknown | 0 | 12.157 | 35039 | 7.574 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 76 | 257.6219 | 7784.1355 | 221.6593 | 7107.5296 | 266.544 | 7967.8277 | 270.6674 | 7143.6767 | 257.6219 | 7784.1355 | 76 | FMI20250610_032.gcd | 2025-06-11 09:37 | 313 rerun | Unknown | 0 | 2.8 | 1795621 | 0 | ----- | ----- | ----- | -----
77 | FMI20250610_033.gcd | 2025-06-11 10:08 | 326 rerun | Unknown | 0 | 5.893 | 34004178 | 84.283 | ----- | ----- | ----- | ----- | 77 | FMI20250610_033.gcd | 2025-06-11 10:08 | 326 rerun | Unknown | 0 | 5.849 | 276105 | 67.263 | ----- | ----- | ----- | ----- | 77 | FMI20250610_033.gcd | 2025-06-11 10:08 | 326 rerun | Unknown | 0 | 12.089 | 59173 | 12.834 | ----- | ----- | ----- | ----- | 2 | Reinjection. Use CO2. Do not use CH4. | 77 | 67029.345 | 13257.8578 | 66974.9311 | 12038.0023 | 68264.2531 | 12736.943 | 73435.9424 | 11572.5502 | 67029.345 | 13257.8578 | 77 | FMI20250610_033.gcd | 2025-06-11 10:08 | 326 rerun | Unknown | 0 | 2.812 | 1433468 | 0 | ----- | ----- | ----- | -----