## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst Data Quality Code (1=no problems, 2=note, 3=fatal flaws) | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | 2025 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2025 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
45 | FMI20250701_001.gcd | 2025-07-01 11:56 | QC outside air | Unknown | 0 | 6.055 | 2410 | 0.006 | ----- | ----- | ----- | ----- | 45 | FMI20250701_001.gcd | 2025-07-01 11:56 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | FMI20250701_001.gcd | 2025-07-01 11:56 | QC outside air | Unknown | 0 | 12.215 | 1659 | 0.268 | ----- | ----- | ----- | ----- | 1 |  | 45 | 5.1719 | 243.6192 | 1.051 | 239.1451 | 4.3727 | 381.8207 | 2.4326 | 374.0304 | 5.1719 | 243.6192 | 45 | FMI20250701_001.gcd | 2025-07-01 11:56 | QC outside air | Unknown | 0 | 2.706 | 4989048 | 0 | ----- | ----- | ----- | -----
46 | FMI20250701_002.gcd | 2025-07-01 12:27 | QC spiked air | Unknown | 0 | 5.987 | 1031790 | 2.331 | ----- | ----- | ----- | ----- | 46 | FMI20250701_002.gcd | 2025-07-01 12:27 | QC spiked air | Unknown | 0 | 5.942 | 8545 | 2.204 | ----- | ----- | ----- | ----- | 46 | FMI20250701_002.gcd | 2025-07-01 12:27 | QC spiked air | Unknown | 0 | 12.194 | 9574 | 2.003 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2288.6683 | 2041.502 | 2336.8544 | 1872.9066 | 2135.9712 | 2272.5292 | 2361.5255 | 1991.2886 | 2288.6683 | 2041.502 | 46 | FMI20250701_002.gcd | 2025-07-01 12:27 | QC spiked air | Unknown | 0 | 2.696 | 5010236 | 0 | ----- | ----- | ----- | -----
47 | FMI20250701_003.gcd | 2025-07-01 12:58 | QC reference tank | Unknown | 0 | 6.025 | 3635 | 0.009 | ----- | ----- | ----- | ----- | 47 | FMI20250701_003.gcd | 2025-07-01 12:58 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | FMI20250701_003.gcd | 2025-07-01 12:58 | QC reference tank | Unknown | 0 | 12.219 | 1895 | 0.319 | ----- | ----- | ----- | ----- | 1 |  | 47 | 9.5003 | 297.3153 | 3.1497 | 287.9049 | 2.5344 | 439.0221 | 5.8607 | 422.3603 | 9.5003 | 297.3153 | 47 | FMI20250701_003.gcd | 2025-07-01 12:58 | QC reference tank | Unknown | 0 | 2.692 | 5213163 | 0 | ----- | ----- | ----- | -----
48 | FMI20250701_004.gcd | 2025-07-01 13:28 | 82 | Unknown | 0 | 5.993 | 32774 | 0.074 | ----- | ----- | ----- | ----- | 48 | FMI20250701_004.gcd | 2025-07-01 13:28 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | FMI20250701_004.gcd | 2025-07-01 13:28 | 82 | Unknown | 0 | 12.161 | 1702 | 0.277 | ----- | ----- | ----- | ----- | 1 |  | 48 | 90.7964 | 253.4033 | 74.3968 | 248.0295 | 87.6174 | 392.2468 | 90.3806 | 382.8368 | 90.7964 | 253.4033 | 48 | FMI20250701_004.gcd | 2025-07-01 13:28 | 82 | Unknown | 0 | 2.85 | 816719 | 0 | ----- | ----- | ----- | -----
49 | FMI20250701_005.gcd | 2025-07-01 13:59 | 194 | Unknown | 0 | 6.02 | 3824 | 0.009 | ----- | ----- | ----- | ----- | 49 | FMI20250701_005.gcd | 2025-07-01 13:59 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | FMI20250701_005.gcd | 2025-07-01 13:59 | 194 | Unknown | 0 | 12.033 | 140823 | 30.494 | ----- | ----- | ----- | ----- | 1 |  | 49 | 10.1704 | 30614.6916 | 3.5124 | 28498.324 | 2.395 | 32293.7644 | 6.4048 | 28024.5432 | 10.1704 | 30614.6916 | 49 | FMI20250701_005.gcd | 2025-07-01 13:59 | 194 | Unknown | 0 | 2.857 | 790165 | 0 | ----- | ----- | ----- | -----
50 | FMI20250701_006.gcd | 2025-07-01 14:29 | 379 | Unknown | 0 | 6.041 | 2671 | 0.006 | ----- | ----- | ----- | ----- | 50 | FMI20250701_006.gcd | 2025-07-01 14:29 | 379 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | FMI20250701_006.gcd | 2025-07-01 14:29 | 379 | Unknown | 0 | 12.025 | 145951 | 31.596 | ----- | ----- | ----- | ----- | 1 |  | 50 | 6.092 | 31700.0557 | 1.4616 | 29520.7525 | 3.8452 | 33503.8234 | 3.1486 | 29047.1116 | 6.092 | 31700.0557 | 50 | FMI20250701_006.gcd | 2025-07-01 14:29 | 379 | Unknown | 0 | 2.848 | 844341 | 0 | ----- | ----- | ----- | -----
51 | FMI20250701_007.gcd | 2025-07-01 15:00 | 343 | Unknown | 0 | 5.919 | 28177855 | 68.563 | ----- | ----- | ----- | ----- | 51 | FMI20250701_007.gcd | 2025-07-01 15:00 | 343 | Unknown | 0 | 5.874 | 208309 | 50.977 | ----- | ----- | ----- | ----- | 51 | FMI20250701_007.gcd | 2025-07-01 15:00 | 343 | Unknown | 0 | 12.091 | 73356 | 15.917 | ----- | ----- | ----- | ----- | 1 |  | 51 | 50989.6221 | 16282.9859 | 50859.0045 | 14921.6595 | 51531.4057 | 16173.1941 | 55667.7521 | 14453.3349 | 50989.6221 | 16282.9859 | 51 | FMI20250701_007.gcd | 2025-07-01 15:00 | 343 | Unknown | 0 | 2.859 | 600246 | 0 | ----- | ----- | ----- | -----
52 | FMI20250701_008.gcd | 2025-07-01 15:31 | 392 | Unknown | 0 | 5.99 | 123606 | 0.279 | ----- | ----- | ----- | ----- | 52 | FMI20250701_008.gcd | 2025-07-01 15:31 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | FMI20250701_008.gcd | 2025-07-01 15:31 | 392 | Unknown | 0 | 12.066 | 86388 | 18.744 | ----- | ----- | ----- | ----- | 1 |  | 52 | 330.6721 | 19058.8477 | 286.5264 | 17562.2467 | 341.619 | 19316.0755 | 349.6004 | 17091.8112 | 330.6721 | 19058.8477 | 52 | FMI20250701_008.gcd | 2025-07-01 15:31 | 392 | Unknown | 0 | 2.847 | 846522 | 0 | ----- | ----- | ----- | -----
53 | FMI20250701_009.gcd | 2025-07-01 16:01 | 154 | Unknown | 0 | 5.992 | 77986 | 0.176 | ----- | ----- | ----- | ----- | 53 | FMI20250701_009.gcd | 2025-07-01 16:01 | 154 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | FMI20250701_009.gcd | 2025-07-01 16:01 | 154 | Unknown | 0 | 12.177 | 1873 | 0.315 | ----- | ----- | ----- | ----- | 1 |  | 53 | 210.7379 | 292.31 | 180.1513 | 283.3596 | 217.3004 | 433.6919 | 220.004 | 417.8552 | 210.7379 | 292.31 | 53 | FMI20250701_009.gcd | 2025-07-01 16:01 | 154 | Unknown | 0 | 2.839 | 1020674 | 0 | ----- | ----- | ----- | -----
54 | FMI20250701_010.gcd | 2025-07-01 16:32 | 406 | Unknown | 0 | 5.875 | 41165133 | 104.545 | ----- | ----- | ----- | ----- | 54 | FMI20250701_010.gcd | 2025-07-01 16:32 | 406 | Unknown | 0 | 5.836 | 335190 | 81.35 | ----- | ----- | ----- | ----- | 54 | FMI20250701_010.gcd | 2025-07-01 16:32 | 406 | Unknown | 0 | 12.096 | 61060 | 13.244 | ----- | ----- | ----- | ----- | 1 |  | 54 | 80932.1323 | 13660.5872 | 80874.8607 | 12422.2552 | 82697.1883 | 13195.0736 | 88688.7266 | 11956.3864 | 80932.1323 | 13660.5872 | 54 | FMI20250701_010.gcd | 2025-07-01 16:32 | 406 | Unknown | 0 | 2.858 | 606174 | 0 | ----- | ----- | ----- | -----
55 | FMI20250701_011.gcd | 2025-07-01 17:02 | 361 | Unknown | 0 | 6.007 | 5453 | 0.013 | ----- | ----- | ----- | ----- | 55 | FMI20250701_011.gcd | 2025-07-01 17:02 | 361 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | FMI20250701_011.gcd | 2025-07-01 17:02 | 361 | Unknown | 0 | 12.02 | 153457 | 33.208 | ----- | ----- | ----- | ----- | 1 |  | 55 | 15.9709 | 33287.727 | 7.0682 | 31014.8901 | 2.7935 | 35271.1427 | 11.2643 | 30541.5954 | 15.9709 | 33287.727 | 55 | FMI20250701_011.gcd | 2025-07-01 17:02 | 361 | Unknown | 0 | 2.84 | 993694 | 0 | ----- | ----- | ----- | -----
56 | FMI20250701_012.gcd | 2025-07-01 17:33 | 358 | Unknown | 0 | 5.989 | 154836 | 0.349 | ----- | ----- | ----- | ----- | 56 | FMI20250701_012.gcd | 2025-07-01 17:33 | 358 | Unknown | 0 | 5.951 | 1362 | 0.427 | ----- | ----- | ----- | ----- | 56 | FMI20250701_012.gcd | 2025-07-01 17:33 | 358 | Unknown | 0 | 12.12 | 42675 | 9.24 | ----- | ----- | ----- | ----- | 1 |  | 56 | 412.1439 | 9493.7334 | 359.154 | 8670.7466 | 422.9387 | 9560.3509 | 437.6248 | 8673.5699 | 412.1439 | 9493.7334 | 56 | FMI20250701_012.gcd | 2025-07-01 17:33 | 358 | Unknown | 0 | 2.843 | 892733 | 0 | ----- | ----- | ----- | -----
57 | FMI20250701_013.gcd | 2025-07-01 18:04 | 238 | Unknown | 0 | 5.874 | 40135874 | 101.563 | ----- | ----- | ----- | ----- | 57 | FMI20250701_013.gcd | 2025-07-01 18:04 | 238 | Unknown | 0 | 5.837 | 338564 | 82.151 | ----- | ----- | ----- | ----- | 57 | FMI20250701_013.gcd | 2025-07-01 18:04 | 238 | Unknown | 0 | 12.093 | 60574 | 13.139 | ----- | ----- | ----- | ----- | 1 |  | 57 | 81723.9026 | 13556.8708 | 81664.5206 | 12323.3076 | 83517.1544 | 13077.1091 | 89553.1914 | 11857.5451 | 81723.9026 | 13556.8708 | 57 | FMI20250701_013.gcd | 2025-07-01 18:04 | 238 | Unknown | 0 | 2.857 | 599964 | 0 | ----- | ----- | ----- | -----
58 | FMI20250701_014.gcd | 2025-07-01 18:34 | 313 | Unknown | 0 | 5.905 | 30352653 | 74.356 | ----- | ----- | ----- | ----- | 58 | FMI20250701_014.gcd | 2025-07-01 18:34 | 313 | Unknown | 0 | 5.866 | 240824 | 58.805 | ----- | ----- | ----- | ----- | 58 | FMI20250701_014.gcd | 2025-07-01 18:34 | 313 | Unknown | 0 | 12.061 | 100623 | 21.825 | ----- | ----- | ----- | ----- | 1 |  | 58 | 58693.9145 | 22086.8307 | 58610.4441 | 20436.6844 | 59579.432 | 22733.2051 | 64224.9482 | 19964.5214 | 58693.9145 | 22086.8307 | 58 | FMI20250701_014.gcd | 2025-07-01 18:34 | 313 | Unknown | 0 | 2.847 | 836120 | 0 | ----- | ----- | ----- | -----
59 | FMI20250701_015.gcd | 2025-07-01 19:05 | 196 | Unknown | 0 | 6.002 | 5272 | 0.012 | ----- | ----- | ----- | ----- | 59 | FMI20250701_015.gcd | 2025-07-01 19:05 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | FMI20250701_015.gcd | 2025-07-01 19:05 | 196 | Unknown | 0 | 12.019 | 145641 | 31.53 | ----- | ----- | ----- | ----- | 1 |  | 59 | 15.3242 | 31634.4587 | 6.6351 | 29458.9823 | 2.6077 | 33430.7335 | 10.7094 | 28985.3307 | 15.3242 | 31634.4587 | 59 | FMI20250701_015.gcd | 2025-07-01 19:05 | 196 | Unknown | 0 | 2.841 | 964762 | 0 | ----- | ----- | ----- | -----
60 | FMI20250701_016.gcd | 2025-07-01 19:35 | 266 | Unknown | 0 | 6.023 | 2188 | 0.005 | ----- | ----- | ----- | ----- | 60 | FMI20250701_016.gcd | 2025-07-01 19:35 | 266 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | FMI20250701_016.gcd | 2025-07-01 19:35 | 266 | Unknown | 0 | 12.03 | 139133 | 30.131 | ----- | ----- | ----- | ----- | 1 |  | 60 | 4.3903 | 30256.8732 | 0.71736 | 28161.0752 | 4.8793 | 31894.5022 | 1.8297 | 27687.2654 | 4.3903 | 30256.8732 | 60 | FMI20250701_016.gcd | 2025-07-01 19:35 | 266 | Unknown | 0 | 2.848 | 957109 | 0 | ----- | ----- | ----- | -----
61 | FMI20250701_017.gcd | 2025-07-01 20:06 | 129 | Unknown | 0 | 5.991 | 19412 | 0.044 | ----- | ----- | ----- | ----- | 61 | FMI20250701_017.gcd | 2025-07-01 20:06 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | FMI20250701_017.gcd | 2025-07-01 20:06 | 129 | Unknown | 0 | 12.019 | 139887 | 30.293 | ----- | ----- | ----- | ----- | 1 |  | 61 | 55.1429 | 30416.5228 | 43.079 | 28311.558 | 48.0565 | 32072.6635 | 51.8456 | 27837.7601 | 55.1429 | 30416.5228 | 61 | FMI20250701_017.gcd | 2025-07-01 20:06 | 129 | Unknown | 0 | 2.838 | 1013061 | 0 | ----- | ----- | ----- | -----
62 | FMI20250701_018.gcd | 2025-07-01 20:37 | 51 | Unknown | 0 | 5.989 | 40179 | 0.091 | ----- | ----- | ----- | ----- | 62 | FMI20250701_018.gcd | 2025-07-01 20:37 | 51 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | FMI20250701_018.gcd | 2025-07-01 20:37 | 51 | Unknown | 0 | 12.173 | 1762 | 0.29 | ----- | ----- | ----- | ----- | 1 |  | 62 | 110.5145 | 267.0551 | 91.7403 | 260.4262 | 109.2989 | 406.792 | 111.6917 | 395.1243 | 110.5145 | 267.0551 | 62 | FMI20250701_018.gcd | 2025-07-01 20:37 | 51 | Unknown | 0 | 2.84 | 977486 | 0 | ----- | ----- | ----- | -----
63 | FMI20250701_019.gcd | 2025-07-01 21:07 | 261 | Unknown | 0 | 5.991 | 84460 | 0.191 | ----- | ----- | ----- | ----- | 63 | FMI20250701_019.gcd | 2025-07-01 21:07 | 261 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | FMI20250701_019.gcd | 2025-07-01 21:07 | 261 | Unknown | 0 | 12.156 | 2280 | 0.404 | ----- | ----- | ----- | ----- | 1 |  | 63 | 227.8246 | 384.9009 | 195.2675 | 367.4433 | 235.3423 | 532.229 | 238.4684 | 501.1891 | 227.8246 | 384.9009 | 63 | FMI20250701_019.gcd | 2025-07-01 21:07 | 261 | Unknown | 0 | 2.836 | 1085466 | 0 | ----- | ----- | ----- | -----
64 | FMI20250701_020.gcd | 2025-07-01 21:38 | 167 | Unknown | 0 | 5.987 | 142962 | 0.323 | ----- | ----- | ----- | ----- | 64 | FMI20250701_020.gcd | 2025-07-01 21:38 | 167 | Unknown | 0 | 5.931 | 1029 | 0.345 | ----- | ----- | ----- | ----- | 64 | FMI20250701_020.gcd | 2025-07-01 21:38 | 167 | Unknown | 0 | 12.072 | 84048 | 18.236 | ----- | ----- | ----- | ----- | 1 |  | 64 | 381.2279 | 18560.6852 | 331.5587 | 17088.7466 | 392.3824 | 18752.7693 | 404.2233 | 16618.6529 | 381.2279 | 18560.6852 | 64 | FMI20250701_020.gcd | 2025-07-01 21:38 | 167 | Unknown | 0 | 2.839 | 966645 | 0 | ----- | ----- | ----- | -----
65 | FMI20250701_021.gcd | 2025-07-01 22:08 | 21 | Unknown | 0 | 5.994 | 136850 | 0.309 | ----- | ----- | ----- | ----- | 65 | FMI20250701_021.gcd | 2025-07-01 22:08 | 21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | FMI20250701_021.gcd | 2025-07-01 22:08 | 21 | Unknown | 0 | 12.018 | 34366 | 7.427 | ----- | ----- | ----- | ----- | 2 | Some CO2 interference. If dups don't match, discard this one. | 65 | 365.2853 | 7633.1855 | 317.3455 | 6969.6125 | 376.4806 | 7824.9199 | 386.9985 | 7008.5049 | 365.2853 | 7633.1855 | 65 | FMI20250701_021.gcd | 2025-07-01 22:08 | 21 | Unknown | 0 | 2.85 | 877469 | 0 | ----- | ----- | ----- | -----
66 | FMI20250701_022.gcd | 2025-07-01 22:39 | 300 | Unknown | 0 | 5.992 | 342683 | 0.773 | ----- | ----- | ----- | ----- | 66 | FMI20250701_022.gcd | 2025-07-01 22:39 | 300 | Unknown | 0 | 5.941 | 2976 | 0.827 | ----- | ----- | ----- | ----- | 66 | FMI20250701_022.gcd | 2025-07-01 22:39 | 300 | Unknown | 0 | 12.088 | 75209 | 16.319 | ----- | ----- | ----- | ----- | 1 |  | 66 | 878.0721 | 16677.9014 | 792.6917 | 15297.6491 | 816.7208 | 16620.9228 | 890.6416 | 14828.9936 | 878.0721 | 16677.9014 | 66 | FMI20250701_022.gcd | 2025-07-01 22:39 | 300 | Unknown | 0 | 2.849 | 878448 | 0 | ----- | ----- | ----- | -----
67 | FMI20250701_023.gcd | 2025-07-01 23:10 | 387 | Unknown | 0 | 5.984 | 502876 | 1.135 | ----- | ----- | ----- | ----- | 67 | FMI20250701_023.gcd | 2025-07-01 23:10 | 387 | Unknown | 0 | 5.933 | 4033 | 1.088 | ----- | ----- | ----- | ----- | 67 | FMI20250701_023.gcd | 2025-07-01 23:10 | 387 | Unknown | 0 | 12.08 | 72720 | 15.779 | ----- | ----- | ----- | ----- | 1 |  | 67 | 1206.4178 | 16147.4233 | 1157.9155 | 14792.5692 | 1124.9758 | 16019.4567 | 1233.0954 | 14324.3606 | 1206.4178 | 16147.4233 | 67 | FMI20250701_023.gcd | 2025-07-01 23:10 | 387 | Unknown | 0 | 2.846 | 812698 | 0 | ----- | ----- | ----- | -----
68 | FMI20250701_024.gcd | 2025-07-01 23:40 | 216 | Unknown | 0 | 5.989 | 84847 | 0.192 | ----- | ----- | ----- | ----- | 68 | FMI20250701_024.gcd | 2025-07-01 23:40 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | FMI20250701_024.gcd | 2025-07-01 23:40 | 216 | Unknown | 0 | 12.148 | 2595 | 0.473 | ----- | ----- | ----- | ----- | 1 |  | 68 | 228.8453 | 456.5511 | 196.1709 | 432.5146 | 236.4166 | 608.3886 | 239.5714 | 565.6723 | 228.8453 | 456.5511 | 68 | FMI20250701_024.gcd | 2025-07-01 23:40 | 216 | Unknown | 0 | 2.836 | 1058556 | 0 | ----- | ----- | ----- | -----
69 | FMI20250701_025.gcd | 2025-07-02 00:11 | 346 | Unknown | 0 | 5.99 | 18659 | 0.042 | ----- | ----- | ----- | ----- | 69 | FMI20250701_025.gcd | 2025-07-02 00:11 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | FMI20250701_025.gcd | 2025-07-02 00:11 | 346 | Unknown | 0 | 12.012 | 142453 | 30.844 | ----- | ----- | ----- | ----- | 1 |  | 69 | 53.1309 | 30959.749 | 41.3133 | 28823.4614 | 45.8103 | 32678.6302 | 49.6709 | 28349.7165 | 53.1309 | 30959.749 | 69 | FMI20250701_025.gcd | 2025-07-02 00:11 | 346 | Unknown | 0 | 2.839 | 960576 | 0 | ----- | ----- | ----- | -----
70 | FMI20250701_026.gcd | 2025-07-02 00:42 | 120 | Unknown | 0 | 5.987 | 84877 | 0.192 | ----- | ----- | ----- | ----- | 70 | FMI20250701_026.gcd | 2025-07-02 00:42 | 120 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | FMI20250701_026.gcd | 2025-07-02 00:42 | 120 | Unknown | 0 | 12.131 | 1452 | 0.222 | ----- | ----- | ----- | ----- | 1 |  | 70 | 228.9244 | 196.5169 | 196.241 | 196.3746 | 236.4998 | 331.6064 | 239.6569 | 331.6339 | 228.9244 | 196.5169 | 70 | FMI20250701_026.gcd | 2025-07-02 00:42 | 120 | Unknown | 0 | 2.833 | 1106316 | 0 | ----- | ----- | ----- | -----
71 | FMI20250701_027.gcd | 2025-07-02 01:12 | 323 | Unknown | 0 | 6.037 | 1780 | 0.004 | ----- | ----- | ----- | ----- | 71 | FMI20250701_027.gcd | 2025-07-02 01:12 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | FMI20250701_027.gcd | 2025-07-02 01:12 | 323 | Unknown | 0 | 12.009 | 143752 | 31.124 | ----- | ----- | ----- | ----- | 1 |  | 71 | 2.9559 | 31234.6959 | 0.14149 | 29082.4769 | 5.9492 | 32985.1867 | 0.73638 | 28608.7664 | 2.9559 | 31234.6959 | 71 | FMI20250701_027.gcd | 2025-07-02 01:12 | 323 | Unknown | 0 | 2.835 | 1056007 | 0 | ----- | ----- | ----- | -----