## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
68 | BRN30jan24_001.gcd | 2024-01-30 15:13 | QC outside air | Unknown | 0 | 6.095 | 1492 | -0.004 | ----- | ----- | ----- | ----- | 68 | BRN30jan24_001.gcd | 2024-01-30 15:13 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN30jan24_001.gcd | 2024-01-30 15:13 | QC outside air | Unknown | 0 | 12.294 | 2427 | 0.425 | ----- | ----- | ----- | ----- | 1 |  | 49 | 6.8127 | 567.7814 | -0.28784 | 484.4261 | -1.1401 | 460.0886 | -0.23588 | 397.8106 | 6.8127 | 567.7814 | 49 | BRN30jan24_020.gcd | 2024-01-31 00:55 | 327 | Unknown | 0 | 2.864 | 1034337 | 0 | ----- | ----- | ----- | -----
67 | BRN30jan24_002.gcd | 2024-01-30 15:44 | QC spiked air | Unknown | 0 | 6.04 | 577021 | 1.231 | ----- | ----- | ----- | ----- | 67 | BRN30jan24_002.gcd | 2024-01-30 15:44 | QC spiked air | Unknown | 0 | 5.995 | 4687 | 1.173 | ----- | ----- | ----- | ----- | 67 | BRN30jan24_002.gcd | 2024-01-30 15:44 | QC spiked air | Unknown | 0 | 12.271 | 7187 | 1.749 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1267.3278 | 1708.3491 | 1541.1367 | 1364.0575 | 1479.7852 | 1369.4565 | 1325.5593 | 1380.5347 | 1267.3278 | 1708.3491 | 50 | BRN30jan24_019.gcd | 2024-01-31 00:24 | 367 | Unknown | 0 | 2.878 | 795432 | 0 | ----- | ----- | ----- | -----
66 | BRN30jan24_003.gcd | 2024-01-30 16:14 | QC reference tank | Unknown | 0 | 6.066 | 2993 | -0.001 | ----- | ----- | ----- | ----- | 66 | BRN30jan24_003.gcd | 2024-01-30 16:14 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN30jan24_003.gcd | 2024-01-30 16:14 | QC reference tank | Unknown | 0 | 12.266 | 1378 | 0.132 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.2957 | 313.6459 | 3.9154 | 290.192 | 4.2081 | 259.5847 | 1.9955 | 181.0841 | 3.2957 | 313.6459 | 51 | BRN30jan24_018.gcd | 2024-01-30 23:54 | 166 | Unknown | 0 | 2.867 | 1001780 | 0 | ----- | ----- | ----- | -----
65 | BRN30jan24_004.gcd | 2024-01-30 16:45 | 132 | Unknown | 0 | 6.036 | 10962 | 0.016 | ----- | ----- | ----- | ----- | 65 | BRN30jan24_004.gcd | 2024-01-30 16:45 | 132 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN30jan24_004.gcd | 2024-01-30 16:45 | 132 | Unknown | 0 | 12.231 | 10334 | 2.62 | ----- | ----- | ----- | ----- | 1 |  | 52 | 22.7479 | 2451.0684 | 27.8347 | 1944.0503 | 28.4592 | 1970.2664 | 23.2591 | 2029.6125 | 22.7479 | 2451.0684 | 52 | BRN30jan24_017.gcd | 2024-01-30 23:23 | 103 | Unknown | 0 | 2.867 | 1004006 | 0 | ----- | ----- | ----- | -----
64 | BRN30jan24_005.gcd | 2024-01-30 17:15 | 211 | Unknown | 0 | 6.048 | 11070 | 0.016 | ----- | ----- | ----- | ----- | 64 | BRN30jan24_005.gcd | 2024-01-30 17:15 | 211 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN30jan24_005.gcd | 2024-01-30 17:15 | 211 | Unknown | 0 | 12.248 | 10890 | 2.773 | ----- | ----- | ----- | ----- | 1 |  | 53 | 23.0728 | 2581.3501 | 28.1774 | 2046.392 | 28.7435 | 2076.3817 | 23.5125 | 2144.2365 | 23.0728 | 2581.3501 | 53 | BRN30jan24_016.gcd | 2024-01-30 22:52 | 104 | Unknown | 0 | 2.871 | 955387 | 0 | ----- | ----- | ----- | -----
63 | BRN30jan24_006.gcd | 2024-01-30 17:46 | 400 | Unknown | 0 | 6.05 | 6373 | 0.006 | ----- | ----- | ----- | ----- | 63 | BRN30jan24_006.gcd | 2024-01-30 17:46 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN30jan24_006.gcd | 2024-01-30 17:46 | 400 | Unknown | 0 | 12.246 | 5162 | 1.186 | ----- | ----- | ----- | ----- | 1 |  | 54 | 4.2848 | 1225.6546 | 13.731 | 990.1922 | 15.2953 | 982.6831 | 9.4172 | 962.6054 | 4.2848 | 1225.6546 | 54 | BRN30jan24_015.gcd | 2024-01-30 22:22 | 129 | Unknown | 0 | 2.86 | 1177657 | 0 | ----- | ----- | ----- | -----
62 | BRN30jan24_007.gcd | 2024-01-30 18:17 | 357 | Unknown | 0 | 6.044 | 11545 | 0.017 | ----- | ----- | ----- | ----- | 62 | BRN30jan24_007.gcd | 2024-01-30 18:17 | 357 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN30jan24_007.gcd | 2024-01-30 18:17 | 357 | Unknown | 0 | 12.238 | 11966 | 3.07 | ----- | ----- | ----- | ----- | 1 |  | 55 | 24.5012 | 2832.6773 | 29.6906 | 2244.3387 | 29.9939 | 2281.713 | 24.6269 | 2366.0181 | 24.5012 | 2832.6773 | 55 | BRN30jan24_014.gcd | 2024-01-30 21:51 | 204 | Unknown | 0 | 2.852 | 1294287 | 0 | ----- | ----- | ----- | -----
61 | BRN30jan24_008.gcd | 2024-01-30 18:47 | 382 | Unknown | 0 | 6.038 | 90345 | 0.186 | ----- | ----- | ----- | ----- | 61 | BRN30jan24_008.gcd | 2024-01-30 18:47 | 382 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN30jan24_008.gcd | 2024-01-30 18:47 | 382 | Unknown | 0 | 12.162 | 80612 | 21.28 | ----- | ----- | ----- | ----- | 1 |  | 56 | 251.628 | 17924.8122 | 277.5818 | 14572.3969 | 236.6612 | 15303.4941 | 209.0027 | 16392.9639 | 251.628 | 17924.8122 | 56 | BRN30jan24_013.gcd | 2024-01-30 21:20 | 361 | Unknown | 0 | 2.844 | 1844995 | 0 | ----- | ----- | ----- | -----
60 | BRN30jan24_009.gcd | 2024-01-30 19:18 | 278 | Unknown | 0 | 6.035 | 12376 | 0.019 | ----- | ----- | ----- | ----- | 60 | BRN30jan24_009.gcd | 2024-01-30 19:18 | 278 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN30jan24_009.gcd | 2024-01-30 19:18 | 278 | Unknown | 0 | 12.227 | 12439 | 3.2 | ----- | ----- | ----- | ----- | 1 |  | 57 | 26.9986 | 2942.8242 | 32.3608 | 2331.3083 | 32.1811 | 2371.9629 | 26.5765 | 2463.4926 | 26.9986 | 2942.8242 | 57 | BRN30jan24_012.gcd | 2024-01-30 20:50 | 38 | Unknown | 0 | 2.872 | 923222 | 0 | ----- | ----- | ----- | -----
59 | BRN30jan24_010.gcd | 2024-01-30 19:49 | 285 | Unknown | 0 | 6.043 | 11646 | 0.018 | ----- | ----- | ----- | ----- | 59 | BRN30jan24_010.gcd | 2024-01-30 19:49 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN30jan24_010.gcd | 2024-01-30 19:49 | 285 | Unknown | 0 | 12.236 | 10477 | 2.659 | ----- | ----- | ----- | ----- | 1 |  | 58 | 24.8049 | 2484.603 | 30.0136 | 1970.3757 | 30.2597 | 1997.5596 | 24.8639 | 2059.0946 | 24.8049 | 2484.603 | 58 | BRN30jan24_011.gcd | 2024-01-30 20:19 | 221 | Unknown | 0 | 2.871 | 928337 | 0 | ----- | ----- | ----- | -----
58 | BRN30jan24_011.gcd | 2024-01-30 20:19 | 221 | Unknown | 0 | 6.045 | 11497 | 0.017 | ----- | ----- | ----- | ----- | 58 | BRN30jan24_011.gcd | 2024-01-30 20:19 | 221 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN30jan24_011.gcd | 2024-01-30 20:19 | 221 | Unknown | 0 | 12.234 | 11399 | 2.914 | ----- | ----- | ----- | ----- | 1 |  | 59 | 24.3569 | 2700.3716 | 29.5372 | 2140.0484 | 29.8675 | 2173.518 | 24.5143 | 2249.1573 | 24.3569 | 2700.3716 | 59 | BRN30jan24_010.gcd | 2024-01-30 19:49 | 285 | Unknown | 0 | 2.872 | 917964 | 0 | ----- | ----- | ----- | -----
57 | BRN30jan24_012.gcd | 2024-01-30 20:50 | 38 | Unknown | 0 | 6.048 | 8165 | 0.01 | ----- | ----- | ----- | ----- | 57 | BRN30jan24_012.gcd | 2024-01-30 20:50 | 38 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN30jan24_012.gcd | 2024-01-30 20:50 | 38 | Unknown | 0 | 12.234 | 5356 | 1.24 | ----- | ----- | ----- | ----- | 1 |  | 60 | 9.8141 | 1272.06 | 19.132 | 1026.0317 | 20.6364 | 1019.7428 | 14.6987 | 1002.6531 | 9.8141 | 1272.06 | 60 | BRN30jan24_009.gcd | 2024-01-30 19:18 | 278 | Unknown | 0 | 2.847 | 1209515 | 0 | ----- | ----- | ----- | -----
56 | BRN30jan24_013.gcd | 2024-01-30 21:20 | 361 | Unknown | 0 | 6.057 | 12620 | 0.02 | ----- | ----- | ----- | ----- | 56 | BRN30jan24_013.gcd | 2024-01-30 21:20 | 361 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN30jan24_013.gcd | 2024-01-30 21:20 | 361 | Unknown | 0 | 12.252 | 13453 | 3.48 | ----- | ----- | ----- | ----- | 1 |  | 61 | 27.7315 | 3178.2656 | 33.1505 | 2517.6559 | 32.8233 | 2565.4128 | 27.1489 | 2672.4164 | 27.7315 | 3178.2656 | 61 | BRN30jan24_008.gcd | 2024-01-30 18:47 | 382 | Unknown | 0 | 2.883 | 726919 | 0 | ----- | ----- | ----- | -----
55 | BRN30jan24_014.gcd | 2024-01-30 21:51 | 204 | Unknown | 0 | 6.043 | 11861 | 0.018 | ----- | ----- | ----- | ----- | 55 | BRN30jan24_014.gcd | 2024-01-30 21:51 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN30jan24_014.gcd | 2024-01-30 21:51 | 204 | Unknown | 0 | 12.236 | 10563 | 2.683 | ----- | ----- | ----- | ----- | 1 |  | 62 | 25.4512 | 2504.7617 | 30.7025 | 1986.2065 | 30.8256 | 2013.9734 | 25.3683 | 2076.8247 | 25.4512 | 2504.7617 | 62 | BRN30jan24_007.gcd | 2024-01-30 18:17 | 357 | Unknown | 0 | 2.863 | 1045567 | 0 | ----- | ----- | ----- | -----
54 | BRN30jan24_015.gcd | 2024-01-30 22:22 | 129 | Unknown | 0 | 6.046 | 9835 | 0.014 | ----- | ----- | ----- | ----- | 54 | BRN30jan24_015.gcd | 2024-01-30 22:22 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN30jan24_015.gcd | 2024-01-30 22:22 | 129 | Unknown | 0 | 12.245 | 10206 | 2.584 | ----- | ----- | ----- | ----- | 1 |  | 63 | 18.0889 | 2421.0355 | 24.2881 | 1920.4841 | 25.2789 | 1945.8355 | 20.4607 | 2003.222 | 18.0889 | 2421.0355 | 63 | BRN30jan24_006.gcd | 2024-01-30 17:46 | 400 | Unknown | 0 | 2.875 | 851758 | 0 | ----- | ----- | ----- | -----
53 | BRN30jan24_016.gcd | 2024-01-30 22:52 | 104 | Unknown | 0 | 6.045 | 10935 | 0.016 | ----- | ----- | ----- | ----- | 53 | BRN30jan24_016.gcd | 2024-01-30 22:52 | 104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN30jan24_016.gcd | 2024-01-30 22:52 | 104 | Unknown | 0 | 12.233 | 10889 | 2.773 | ----- | ----- | ----- | ----- | 1 |  | 64 | 22.6666 | 2581.1161 | 27.7491 | 2046.2079 | 28.3882 | 2076.1908 | 23.1957 | 2144.0304 | 22.6666 | 2581.1161 | 64 | BRN30jan24_005.gcd | 2024-01-30 17:15 | 211 | Unknown | 0 | 2.876 | 918606 | 0 | ----- | ----- | ----- | -----
52 | BRN30jan24_017.gcd | 2024-01-30 23:23 | 103 | Unknown | 0 | 6.04 | 11896 | 0.018 | ----- | ----- | ----- | ----- | 52 | BRN30jan24_017.gcd | 2024-01-30 23:23 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN30jan24_017.gcd | 2024-01-30 23:23 | 103 | Unknown | 0 | 12.207 | 11189 | 2.856 | ----- | ----- | ----- | ----- | 1 |  | 65 | 25.5564 | 2651.2951 | 30.8149 | 2101.4122 | 30.9178 | 2133.4432 | 25.4504 | 2205.8714 | 25.5564 | 2651.2951 | 65 | BRN30jan24_004.gcd | 2024-01-30 16:45 | 132 | Unknown | 0 | 2.857 | 1049507 | 0 | ----- | ----- | ----- | -----
51 | BRN30jan24_018.gcd | 2024-01-30 23:54 | 166 | Unknown | 0 | 6.039 | 11515 | 0.017 | ----- | ----- | ----- | ----- | 51 | BRN30jan24_018.gcd | 2024-01-30 23:54 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN30jan24_018.gcd | 2024-01-30 23:54 | 166 | Unknown | 0 | 12.228 | 11787 | 3.021 | ----- | ----- | ----- | ----- | 1 |  | 66 | 24.411 | 2790.9405 | 29.5947 | 2211.419 | 29.9149 | 2247.5573 | 24.5565 | 2329.1273 | 24.411 | 2790.9405 | 66 | BRN30jan24_003.gcd | 2024-01-30 16:14 | QC reference tank | Unknown | 0 | 2.726 | 5018242 | 0 | ----- | ----- | ----- | -----
50 | BRN30jan24_019.gcd | 2024-01-31 00:24 | 367 | Unknown | 0 | 6.034 | 102248 | 0.212 | ----- | ----- | ----- | ----- | 50 | BRN30jan24_019.gcd | 2024-01-31 00:24 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN30jan24_019.gcd | 2024-01-31 00:24 | 367 | Unknown | 0 | 12.149 | 81239 | 21.44 | ----- | ----- | ----- | ----- | 1 |  | 67 | 284.2337 | 18075.9695 | 313.0981 | 14682.2727 | 267.7484 | 15421.7265 | 236.7663 | 16519.975 | 284.2337 | 18075.9695 | 67 | BRN30jan24_002.gcd | 2024-01-30 15:44 | QC spiked air | Unknown | 0 | 2.726 | 5052674 | 0 | ----- | ----- | ----- | -----
49 | BRN30jan24_020.gcd | 2024-01-31 00:55 | 327 | Unknown | 0 | 6.041 | 11186 | 0.017 | ----- | ----- | ----- | ----- | 49 | BRN30jan24_020.gcd | 2024-01-31 00:55 | 327 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN30jan24_020.gcd | 2024-01-31 00:55 | 327 | Unknown | 0 | 12.235 | 11255 | 2.874 | ----- | ----- | ----- | ----- | 1 |  | 68 | 23.4217 | 2666.7235 | 28.5461 | 2113.5556 | 29.0489 | 2146.0383 | 23.7847 | 2219.4758 | 23.4217 | 2666.7235 | 68 | BRN30jan24_001.gcd | 2024-01-30 15:13 | QC outside air | Unknown | 0 | 2.712 | 5361530 | 0 | ----- | ----- | ----- | -----