## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | MP20240709_001.gcd | 2024-07-09 17:24 | QC outside air | Unknown | 0 | 6.046 | 2235 | 0.002 | ----- | ----- | ----- | ----- | 48 | MP20240709_001.gcd | 2024-07-09 17:24 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | MP20240709_001.gcd | 2024-07-09 17:24 | QC outside air | Unknown | 0 | 12.189 | 2686 | 0.554 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.9569 | 584.2986 | 1.5399 | 509.5879 | 0.78681 | 451.3121 | 4.7676 | 630.3734 | 1.9569 | 584.2986 | 48 | MP20240709_001.gcd | 2024-07-09 17:24 | QC outside air | Unknown | 0 | 2.695 | 5507551 | 0 | ----- | ----- | ----- | -----
49 | MP20240709_002.gcd | 2024-07-09 17:55 | QC spiked air | Unknown | 0 | 5.994 | 1046085 | 2.637 | ----- | ----- | ----- | ----- | 49 | MP20240709_002.gcd | 2024-07-09 17:55 | QC spiked air | Unknown | 0 | 5.949 | 8443 | 2.517 | ----- | ----- | ----- | ----- | 49 | MP20240709_002.gcd | 2024-07-09 17:55 | QC spiked air | Unknown | 0 | 12.177 | 7865 | 1.693 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2391.9755 | 1642.7259 | 2449.4545 | 1498.9242 | 2311.6838 | 1520.4169 | 2163.151 | 1869.1265 | 2391.9755 | 1642.7259 | 49 | MP20240709_002.gcd | 2024-07-09 17:55 | QC spiked air | Unknown | 0 | 2.696 | 5364126 | 0 | ----- | ----- | ----- | -----
50 | MP20240709_003.gcd | 2024-07-09 18:26 | QC reference tank | Unknown | 0 | 6.023 | 3445 | 0.005 | ----- | ----- | ----- | ----- | 50 | MP20240709_003.gcd | 2024-07-09 18:26 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | MP20240709_003.gcd | 2024-07-09 18:26 | QC reference tank | Unknown | 0 | 12.174 | 1044 | 0.192 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.3177 | 248.0548 | 5.7675 | 195.7371 | 2.7957 | 112.067 | 2.7133 | 232.5189 | 5.3177 | 248.0548 | 50 | MP20240709_003.gcd | 2024-07-09 18:26 | QC reference tank | Unknown | 0 | 2.703 | 5264891 | 0 | ----- | ----- | ----- | -----
51 | MP20240709_004.gcd | 2024-07-09 18:56 | 128 | Unknown | 0 | 5.998 | 38058 | 0.092 | ----- | ----- | ----- | ----- | 51 | MP20240709_004.gcd | 2024-07-09 18:56 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | MP20240709_004.gcd | 2024-07-09 18:56 | 128 | Unknown | 0 | 12.169 | 10692 | 2.313 | ----- | ----- | ----- | ----- | 1 |  | 51 | 105.5908 | 2219.1237 | 99.6966 | 2038.5936 | 86.7735 | 2103.419 | 103.1063 | 2534.9872 | 105.5908 | 2219.1237 | 51 | MP20240709_004.gcd | 2024-07-09 18:56 | 128 | Unknown | 0 | 2.844 | 980229 | 0 | ----- | ----- | ----- | -----
52 | MP20240709_005.gcd | 2024-07-09 19:27 | 213 | Unknown | 0 | 5.958 | 15882423 | 41.593 | ----- | ----- | ----- | ----- | 52 | MP20240709_005.gcd | 2024-07-09 19:27 | 213 | Unknown | 0 | 5.91 | 117455 | 33.605 | ----- | ----- | ----- | ----- | 52 | MP20240709_005.gcd | 2024-07-09 19:27 | 213 | Unknown | 0 | 12.093 | 80283 | 17.259 | ----- | ----- | ----- | ----- | 1 |  | 52 | 31409.6145 | 15856.8009 | 30124.6828 | 15241.45 | 28982.5703 | 16326.3105 | 28819.294 | 17845.4839 | 31409.6145 | 15856.8009 | 52 | MP20240709_005.gcd | 2024-07-09 19:27 | 213 | Unknown | 0 | 2.843 | 944612 | 0 | ----- | ----- | ----- | -----
53 | MP20240709_006.gcd | 2024-07-09 19:58 | 16 | Unknown | 0 | 6.04 | 1915 | 0.001 | ----- | ----- | ----- | ----- | 53 | MP20240709_006.gcd | 2024-07-09 19:58 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | MP20240709_006.gcd | 2024-07-09 19:58 | 16 | Unknown | 0 | 12.04 | 148891 | 31.435 | ----- | ----- | ----- | ----- | 1 |  | 53 | 1.096 | 29632.8035 | 0.39353 | 28103.6409 | 0.32668 | 30106.3288 | 5.5753 | 34196.6078 | 1.096 | 29632.8035 | 53 | MP20240709_006.gcd | 2024-07-09 19:58 | 16 | Unknown | 0 | 2.855 | 874583 | 0 | ----- | ----- | ----- | -----
54 | MP20240709_007.gcd | 2024-07-09 20:28 | 326 | Unknown | 0 | 6.024 | 2428 | 0.003 | ----- | ----- | ----- | ----- | 54 | MP20240709_007.gcd | 2024-07-09 20:28 | 326 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | MP20240709_007.gcd | 2024-07-09 20:28 | 326 | Unknown | 0 | 12.028 | 151641 | 31.992 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2.4817 | 30180.2686 | 2.2256 | 28616.0026 | 1.0787 | 30653.6625 | 4.334 | 34843.9805 | 2.4817 | 30180.2686 | 54 | MP20240709_007.gcd | 2024-07-09 20:28 | 326 | Unknown | 0 | 2.835 | 1156026 | 0 | ----- | ----- | ----- | -----
55 | MP20240709_008.gcd | 2024-07-09 20:59 | 362 | Unknown | 0 | 5.996 | 67431 | 0.166 | ----- | ----- | ----- | ----- | 55 | MP20240709_008.gcd | 2024-07-09 20:59 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | MP20240709_008.gcd | 2024-07-09 20:59 | 362 | Unknown | 0 | 12.124 | 51766 | 11.208 | ----- | ----- | ----- | ----- | 1 |  | 55 | 189.8483 | 10064.2322 | 176.7199 | 9850.229 | 155.4918 | 10527.9458 | 187.602 | 10935.8377 | 189.8483 | 10064.2322 | 55 | MP20240709_008.gcd | 2024-07-09 20:59 | 362 | Unknown | 0 | 2.847 | 894558 | 0 | ----- | ----- | ----- | -----
56 | MP20240709_009.gcd | 2024-07-09 21:29 | 30 | Unknown | 0 | 6.047 | 1776 | 0.001 | ----- | ----- | ----- | ----- | 56 | MP20240709_009.gcd | 2024-07-09 21:29 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | MP20240709_009.gcd | 2024-07-09 21:29 | 30 | Unknown | 0 | 12.025 | 153905 | 32.451 | ----- | ----- | ----- | ----- | 1 |  | 56 | 0.72576 | 30630.7089 | -0.10814 | 29037.6315 | 0.13608 | 31103.9777 | 5.9606 | 35376.4805 | 0.72576 | 30630.7089 | 56 | MP20240709_009.gcd | 2024-07-09 21:29 | 30 | Unknown | 0 | 2.844 | 984610 | 0 | ----- | ----- | ----- | -----
57 | MP20240709_010.gcd | 2024-07-09 22:00 | 337 | Unknown | 0 | 5.996 | 117712 | 0.293 | ----- | ----- | ----- | ----- | 57 | MP20240709_010.gcd | 2024-07-09 22:00 | 337 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | MP20240709_010.gcd | 2024-07-09 22:00 | 337 | Unknown | 0 | 12.1 | 79544 | 17.103 | ----- | ----- | ----- | ----- | 1 |  | 57 | 332.9244 | 15707.1834 | 308.0848 | 15102.0737 | 272.8018 | 16176.5734 | 325.9265 | 17667.2644 | 332.9244 | 15707.1834 | 57 | MP20240709_010.gcd | 2024-07-09 22:00 | 337 | Unknown | 0 | 2.844 | 962405 | 0 | ----- | ----- | ----- | -----
58 | MP20240709_011.gcd | 2024-07-09 22:31 | 302 | Unknown | 0 | 6.035 | 2105 | 0.002 | ----- | ----- | ----- | ----- | 58 | MP20240709_011.gcd | 2024-07-09 22:31 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | MP20240709_011.gcd | 2024-07-09 22:31 | 302 | Unknown | 0 | 12.009 | 159121 | 33.505 | ----- | ----- | ----- | ----- | 1 |  | 58 | 1.6058 | 31667.5349 | 1.0756 | 30008.3822 | 0.59629 | 32140.4572 | 5.0824 | 36601.7045 | 1.6058 | 31667.5349 | 58 | MP20240709_011.gcd | 2024-07-09 22:31 | 302 | Unknown | 0 | 2.846 | 947685 | 0 | ----- | ----- | ----- | -----
59 | MP20240709_012.gcd | 2024-07-09 23:01 | 309 | Unknown | 0 | 6.022 | 3599 | 0.006 | ----- | ----- | ----- | ----- | 59 | MP20240709_012.gcd | 2024-07-09 23:01 | 309 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | MP20240709_012.gcd | 2024-07-09 23:01 | 309 | Unknown | 0 | 12.082 | 94803 | 20.303 | ----- | ----- | ----- | ----- | 1 |  | 59 | 5.7575 | 18791.1867 | 6.2934 | 17976.3371 | 3.0818 | 19262.7163 | 2.5653 | 21338.1099 | 5.7575 | 18791.1867 | 59 | MP20240709_012.gcd | 2024-07-09 23:01 | 309 | Unknown | 0 | 2.842 | 1007009 | 0 | ----- | ----- | ----- | -----
60 | MP20240709_013.gcd | 2024-07-09 23:32 | 351 | Unknown | 0 | 6.001 | 14149 | 0.032 | ----- | ----- | ----- | ----- | 60 | MP20240709_013.gcd | 2024-07-09 23:32 | 351 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | MP20240709_013.gcd | 2024-07-09 23:32 | 351 | Unknown | 0 | 12.155 | 22424 | 4.876 | ----- | ----- | ----- | ----- | 1 |  | 60 | 36.6391 | 4600.9504 | 36.8473 | 4275.4347 | 30.7357 | 4518.5084 | 32.3197 | 5220.3926 | 36.6391 | 4600.9504 | 60 | MP20240709_013.gcd | 2024-07-09 23:32 | 351 | Unknown | 0 | 2.832 | 1204088 | 0 | ----- | ----- | ----- | -----
61 | MP20240709_014.gcd | 2024-07-10 00:02 | 80 | Unknown | 0 | 6.041 | 1654 | 0.001 | ----- | ----- | ----- | ----- | 61 | MP20240709_014.gcd | 2024-07-10 00:02 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | MP20240709_014.gcd | 2024-07-10 00:02 | 80 | Unknown | 0 | 11.979 | 149261 | 31.51 | ----- | ----- | ----- | ----- | 1 |  | 61 | 0.40258 | 29706.4836 | -0.55029 | 28172.5912 | -0.026576 | 30179.9925 | 6.316 | 34283.7449 | 0.40258 | 29706.4836 | 61 | MP20240709_014.gcd | 2024-07-10 00:02 | 80 | Unknown | 0 | 2.843 | 995876 | 0 | ----- | ----- | ----- | -----
62 | MP20240709_015.gcd | 2024-07-10 00:33 | 390 | Unknown | 0 | 5.997 | 78569 | 0.194 | ----- | ----- | ----- | ----- | 62 | MP20240709_015.gcd | 2024-07-10 00:33 | 390 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | MP20240709_015.gcd | 2024-07-10 00:33 | 390 | Unknown | 0 | 12.127 | 51638 | 11.18 | ----- | ----- | ----- | ----- | 1 |  | 62 | 221.6677 | 10038.1438 | 205.8719 | 9825.9706 | 181.5128 | 10501.826 | 218.9305 | 10904.6734 | 221.6677 | 10038.1438 | 62 | MP20240709_015.gcd | 2024-07-10 00:33 | 390 | Unknown | 0 | 2.844 | 937917 | 0 | ----- | ----- | ----- | -----
63 | MP20240709_016.gcd | 2024-07-10 01:04 | 18 | Unknown | 0 | 5.996 | 126033 | 0.314 | ----- | ----- | ----- | ----- | 63 | MP20240709_016.gcd | 2024-07-10 01:04 | 18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | MP20240709_016.gcd | 2024-07-10 01:04 | 18 | Unknown | 0 | 12.287 | 376 | 0.044 | ----- | ----- | ----- | ----- | 1 |  | 63 | 356.4613 | 111.1715 | 329.7654 | 68.0309 | 292.1762 | -25.9844 | 348.0489 | 69.9595 | 356.4613 | 111.1715 | 63 | MP20240709_016.gcd | 2024-07-10 01:04 | 18 | Unknown | 0 | 2.811 | 1683906 | 0 | ----- | ----- | ----- | -----
64 | MP20240709_017.gcd | 2024-07-10 01:34 | 314 | Unknown | 0 | 5.996 | 127347 | 0.317 | ----- | ----- | ----- | ----- | 64 | MP20240709_017.gcd | 2024-07-10 01:34 | 314 | Unknown | 0 | 5.958 | 1285 | 0.414 | ----- | ----- | ----- | ----- | 64 | MP20240709_017.gcd | 2024-07-10 01:34 | 314 | Unknown | 0 | 12.183 | 1860 | 0.372 | ----- | ----- | ----- | ----- | 1 |  | 64 | 360.1744 | 415.1931 | 333.1876 | 351.7177 | 295.2346 | 280.6737 | 351.5223 | 430.5421 | 360.1744 | 415.1931 | 64 | MP20240709_017.gcd | 2024-07-10 01:34 | 314 | Unknown | 0 | 2.832 | 1213493 | 0 | ----- | ----- | ----- | -----
65 | MP20240709_018.gcd | 2024-07-10 02:05 | 397 | Unknown | 0 | 5.998 | 28101 | 0.067 | ----- | ----- | ----- | ----- | 65 | MP20240709_018.gcd | 2024-07-10 02:05 | 397 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | MP20240709_018.gcd | 2024-07-10 02:05 | 397 | Unknown | 0 | 12.102 | 74389 | 16.016 | ----- | ----- | ----- | ----- | 1 |  | 65 | 76.9157 | 14662.7753 | 73.5396 | 14129.3405 | 63.4475 | 15131.2857 | 73.846 | 16422.826 | 76.9157 | 14662.7753 | 65 | MP20240709_018.gcd | 2024-07-10 02:05 | 397 | Unknown | 0 | 2.829 | 1226531 | 0 | ----- | ----- | ----- | -----
66 | MP20240709_019.gcd | 2024-07-10 02:36 | 188 | Unknown | 0 | 5.996 | 45444 | 0.111 | ----- | ----- | ----- | ----- | 66 | MP20240709_019.gcd | 2024-07-10 02:36 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | MP20240709_019.gcd | 2024-07-10 02:36 | 188 | Unknown | 0 | 12.164 | 11146 | 2.413 | ----- | ----- | ----- | ----- | 1 |  | 66 | 126.8247 | 2311.6008 | 119.0842 | 2125.2372 | 104.0662 | 2197.0078 | 124.6093 | 2641.2412 | 126.8247 | 2311.6008 | 66 | MP20240709_019.gcd | 2024-07-10 02:36 | 188 | Unknown | 0 | 2.84 | 1041280 | 0 | ----- | ----- | ----- | -----
67 | MP20240709_020.gcd | 2024-07-10 03:06 | 62 | Unknown | 0 | 5.951 | 18518564 | 48.839 | ----- | ----- | ----- | ----- | 67 | MP20240709_020.gcd | 2024-07-10 03:06 | 62 | Unknown | 0 | 5.903 | 135230 | 38.516 | ----- | ----- | ----- | ----- | 67 | MP20240709_020.gcd | 2024-07-10 03:06 | 62 | Unknown | 0 | 12.086 | 81566 | 17.529 | ----- | ----- | ----- | ----- | 1 |  | 67 | 36195.8313 | 16116.4939 | 34592.0488 | 15483.3832 | 33287.728 | 16586.2073 | 33288.7519 | 18154.79 | 36195.8313 | 16116.4939 | 67 | MP20240709_020.gcd | 2024-07-10 03:06 | 62 | Unknown | 0 | 2.829 | 1197223 | 0 | ----- | ----- | ----- | -----
68 | MP20240709_021.gcd | 2024-07-10 03:37 | 392 | Unknown | 0 | 6.028 | 1778 | 0.001 | ----- | ----- | ----- | ----- | 68 | MP20240709_021.gcd | 2024-07-10 03:37 | 392 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | MP20240709_021.gcd | 2024-07-10 03:37 | 392 | Unknown | 0 | 12.023 | 153488 | 32.366 | ----- | ----- | ----- | ----- | 1 |  | 68 | 0.73107 | 30547.7621 | -0.1009 | 28959.9853 | 0.13879 | 31021.055 | 5.9549 | 35278.4322 | 0.73107 | 30547.7621 | 68 | MP20240709_021.gcd | 2024-07-10 03:37 | 392 | Unknown | 0 | 2.83 | 1270569 | 0 | ----- | ----- | ----- | -----
69 | MP20240709_022.gcd | 2024-07-10 04:07 | 242 | Unknown | 0 | 5.98 | 5777812 | 14.746 | ----- | ----- | ----- | ----- | 69 | MP20240709_022.gcd | 2024-07-10 04:07 | 242 | Unknown | 0 | 5.933 | 42760 | 12.491 | ----- | ----- | ----- | ----- | 69 | MP20240709_022.gcd | 2024-07-10 04:07 | 242 | Unknown | 0 | 12.113 | 56381 | 12.193 | ----- | ----- | ----- | ----- | 1 |  | 69 | 12331.8758 | 11004.3133 | 11213.0677 | 10724.5016 | 10757.3613 | 11469.1293 | 10742.1294 | 12058.5601 | 12331.8758 | 11004.3133 | 69 | MP20240709_022.gcd | 2024-07-10 04:07 | 242 | Unknown | 0 | 2.842 | 949775 | 0 | ----- | ----- | ----- | -----
70 | MP20240709_023.gcd | 2024-07-10 04:38 | 389 | Unknown | 0 | 5.996 | 133259 | 0.332 | ----- | ----- | ----- | ----- | 70 | MP20240709_023.gcd | 2024-07-10 04:38 | 389 | Unknown | 0 | 5.967 | 1096 | 0.358 | ----- | ----- | ----- | ----- | 70 | MP20240709_023.gcd | 2024-07-10 04:38 | 389 | Unknown | 0 | 12.193 | 224 | 0.011 | ----- | ----- | ----- | ----- | 1 |  | 70 | 376.8683 | 80.017 | 348.5794 | 38.97 | 308.9919 | -57.4005 | 367.0828 | 32.9131 | 376.8683 | 80.017 | 70 | MP20240709_023.gcd | 2024-07-10 04:38 | 389 | Unknown | 0 | 2.834 | 1180470 | 0 | ----- | ----- | ----- | -----
71 | MP20240709_024.gcd | 2024-07-10 05:09 | 400 | Unknown | 0 | 6.007 | 15990 | 0.037 | ----- | ----- | ----- | ----- | 71 | MP20240709_024.gcd | 2024-07-10 05:09 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | MP20240709_024.gcd | 2024-07-10 05:09 | 400 | Unknown | 0 | 12.113 | 74850 | 16.114 | ----- | ----- | ----- | ----- | 1 |  | 71 | 41.9602 | 14756.2264 | 41.6916 | 14216.365 | 35.0539 | 15224.8186 | 37.8344 | 16534.2018 | 41.9602 | 14756.2264 | 71 | MP20240709_024.gcd | 2024-07-10 05:09 | 400 | Unknown | 0 | 2.844 | 1064598 | 0 | ----- | ----- | ----- | -----
72 | MP20240709_025.gcd | 2024-07-10 05:39 | 221 | Unknown | 0 | 6.005 | 128384 | 0.32 | ----- | ----- | ----- | ----- | 72 | MP20240709_025.gcd | 2024-07-10 05:39 | 221 | Unknown | 0 | 5.949 | 1418 | 0.453 | ----- | ----- | ----- | ----- | 72 | MP20240709_025.gcd | 2024-07-10 05:39 | 221 | Unknown | 0 | 12.206 | 683 | 0.112 | ----- | ----- | ----- | ----- | 1 |  | 72 | 363.1041 | 174.0871 | 335.888 | 126.724 | 297.6481 | 37.4642 | 354.2597 | 144.7192 | 363.1041 | 174.0871 | 72 | MP20240709_025.gcd | 2024-07-10 05:39 | 221 | Unknown | 0 | 2.844 | 1157226 | 0 | ----- | ----- | ----- | -----
73 | MP20240709_026.gcd | 2024-07-10 06:10 | 371 | Unknown | 0 | 6.002 | 12939 | 0.029 | ----- | ----- | ----- | ----- | 73 | MP20240709_026.gcd | 2024-07-10 06:10 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | MP20240709_026.gcd | 2024-07-10 06:10 | 371 | Unknown | 0 | 12.175 | 1810 | 0.361 | ----- | ----- | ----- | ----- | 1 |  | 73 | 33.1408 | 404.9541 | 33.6629 | 342.1607 | 27.8973 | 270.3434 | 28.6894 | 418.4258 | 33.1408 | 404.9541 | 73 | MP20240709_026.gcd | 2024-07-10 06:10 | 371 | Unknown | 0 | 2.838 | 1085444 | 0 | ----- | ----- | ----- | -----
74 | MP20240709_027.gcd | 2024-07-10 06:40 | 157 | Unknown | 0 | 6.009 | 4921 | 0.009 | ----- | ----- | ----- | ----- | 74 | MP20240709_027.gcd | 2024-07-10 06:40 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | MP20240709_027.gcd | 2024-07-10 06:40 | 157 | Unknown | 0 | 12.074 | 94545 | 20.25 | ----- | ----- | ----- | ----- | 1 |  | 74 | 9.6439 | 18739.1352 | 10.6947 | 17927.8018 | 5.8222 | 19210.6344 | 2.3482 | 21276.2013 | 9.6439 | 18739.1352 | 74 | MP20240709_027.gcd | 2024-07-10 06:40 | 157 | Unknown | 0 | 2.833 | 1154311 | 0 | ----- | ----- | ----- | -----
75 | MP20240709_028.gcd | 2024-07-10 07:11 | 406 | Unknown | 0 | 5.978 | 6344280 | 16.214 | ----- | ----- | ----- | ----- | 75 | MP20240709_028.gcd | 2024-07-10 07:11 | 406 | Unknown | 0 | 5.931 | 47554 | 13.87 | ----- | ----- | ----- | ----- | 75 | MP20240709_028.gcd | 2024-07-10 07:11 | 406 | Unknown | 0 | 12.117 | 53894 | 11.662 | ----- | ----- | ----- | ----- | 1 |  | 75 | 13503.2427 | 10497.8355 | 12433.5596 | 10253.4466 | 11933.5678 | 10962.0653 | 11713.3553 | 11453.7472 | 13503.2427 | 10497.8355 | 75 | MP20240709_028.gcd | 2024-07-10 07:11 | 406 | Unknown | 0 | 2.841 | 965545 | 0 | ----- | ----- | ----- | -----
76 | MP20240709_029.gcd | 2024-07-10 07:42 | 359 | Unknown | 0 | 6 | 13387 | 0.03 | ----- | ----- | ----- | ----- | 76 | MP20240709_029.gcd | 2024-07-10 07:42 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | MP20240709_029.gcd | 2024-07-10 07:42 | 359 | Unknown | 0 | 12.153 | 20538 | 4.465 | ----- | ----- | ----- | ----- | 1 |  | 76 | 34.4362 | 4219.1658 | 34.842 | 3916.149 | 28.9482 | 4130.74 | 30.034 | 4797.1647 | 34.4362 | 4219.1658 | 76 | MP20240709_029.gcd | 2024-07-10 07:42 | 359 | Unknown | 0 | 2.84 | 1033903 | 0 | ----- | ----- | ----- | -----
77 | MP20240709_030.gcd | 2024-07-10 08:12 | 405 | Unknown | 0 | 6.001 | 13263 | 0.03 | ----- | ----- | ----- | ----- | 77 | MP20240709_030.gcd | 2024-07-10 08:12 | 405 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | MP20240709_030.gcd | 2024-07-10 08:12 | 405 | Unknown | 0 | 12.176 | 2219 | 0.451 | ----- | ----- | ----- | ----- | 1 |  | 77 | 34.0776 | 488.7005 | 34.5156 | 420.3347 | 28.6574 | 354.8416 | 29.6619 | 517.4702 | 34.0776 | 488.7005 | 77 | MP20240709_030.gcd | 2024-07-10 08:12 | 405 | Unknown | 0 | 2.838 | 1118069 | 0 | ----- | ----- | ----- | -----