## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | 2024 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2024 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
48 | MP20240730_001.gcd | 2024-07-30 15:37 | QC outside air | Unknown | 0 | 6.049 | 2135 | 0.002 | ----- | ----- | ----- | ----- | 48 | MP20240730_001.gcd | 2024-07-30 15:37 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | MP20240730_001.gcd | 2024-07-30 15:37 | QC outside air | Unknown | 0 | 12.196 | 2041 | 0.412 | ----- | ----- | ----- | ----- | 1 |  | 48 | 1.6866 | 452.2559 | 1.183 | 386.3135 | 0.63982 | 318.0684 | 5.0082 | 474.384 | 1.6866 | 452.2559 | 48 | MP20240730_001.gcd | 2024-07-30 15:37 | QC outside air | Unknown | 0 | 2.702 | 5212484 | 0 | ----- | ----- | ----- | -----
49 | MP20240730_002.gcd | 2024-07-30 16:07 | QC spiked air | Unknown | 0 | 5.998 | 1224150 | 3.088 | ----- | ----- | ----- | ----- | 49 | MP20240730_002.gcd | 2024-07-30 16:07 | QC spiked air | Unknown | 0 | 5.948 | 9809 | 2.917 | ----- | ----- | ----- | ----- | 49 | MP20240730_002.gcd | 2024-07-30 16:07 | QC spiked air | Unknown | 0 | 12.18 | 9033 | 1.949 | ----- | ----- | ----- | ----- | 1 |  | 49 | 2771.0625 | 1880.9856 | 2799.1965 | 1721.9249 | 2648.7392 | 1761.3388 | 2501.0781 | 2145.1165 | 2771.0625 | 1880.9856 | 49 | MP20240730_002.gcd | 2024-07-30 16:07 | QC spiked air | Unknown | 0 | 2.701 | 5320651 | 0 | ----- | ----- | ----- | -----
50 | MP20240730_003.gcd | 2024-07-30 16:38 | QC reference tank | Unknown | 0 | 6.03 | 3629 | 0.006 | ----- | ----- | ----- | ----- | 50 | MP20240730_003.gcd | 2024-07-30 16:38 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | MP20240730_003.gcd | 2024-07-30 16:38 | QC reference tank | Unknown | 0 | 12.205 | 1263 | 0.24 | ----- | ----- | ----- | ----- | 1 |  | 50 | 5.8435 | 292.9196 | 6.3955 | 237.6017 | 3.1384 | 157.3214 | 2.5394 | 285.7244 | 5.8435 | 292.9196 | 50 | MP20240730_003.gcd | 2024-07-30 16:38 | QC reference tank | Unknown | 0 | 2.702 | 5321138 | 0 | ----- | ----- | ----- | -----
51 | MP20240730_004.gcd | 2024-07-30 17:08 | 245 | Unknown | 0 | 6.015 | 4399 | 0.008 | ----- | ----- | ----- | ----- | 51 | MP20240730_004.gcd | 2024-07-30 17:08 | 245 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | MP20240730_004.gcd | 2024-07-30 17:08 | 245 | Unknown | 0 | 12.03 | 141205 | 29.873 | ----- | ----- | ----- | ----- | 1 |  | 51 | 8.0855 | 28100.7609 | 8.981 | 26670.3323 | 4.6795 | 28574.534 | 2.2084 | 32383.9795 | 8.0855 | 28100.7609 | 51 | MP20240730_004.gcd | 2024-07-30 17:08 | 245 | Unknown | 0 | 2.846 | 982507 | 0 | ----- | ----- | ----- | -----
52 | MP20240730_005.gcd | 2024-07-30 17:39 | 393 | Unknown | 0 | 6.038 | 1701 | 0.001 | ----- | ----- | ----- | ----- | 52 | MP20240730_005.gcd | 2024-07-30 17:39 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | MP20240730_005.gcd | 2024-07-30 17:39 | 393 | Unknown | 0 | 12.004 | 178198 | 37.336 | ----- | ----- | ----- | ----- | 1 |  | 52 | 0.52688 | 35448.4861 | -0.37975 | 33551.271 | 0.035576 | 35919.4511 | 6.1772 | 41063.8844 | 0.52688 | 35448.4861 | 52 | MP20240730_005.gcd | 2024-07-30 17:39 | 393 | Unknown | 0 | 2.852 | 874568 | 0 | ----- | ----- | ----- | -----
53 | MP20240730_006.gcd | 2024-07-30 18:10 | 68 | Unknown | 0 | 6.028 | 2598 | 0.003 | ----- | ----- | ----- | ----- | 53 | MP20240730_006.gcd | 2024-07-30 18:10 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | MP20240730_006.gcd | 2024-07-30 18:10 | 68 | Unknown | 0 | 12.018 | 154292 | 32.529 | ----- | ----- | ----- | ----- | 1 |  | 53 | 2.9476 | 30707.6809 | 2.826 | 29109.6865 | 1.3448 | 31180.9267 | 3.9853 | 35467.4621 | 2.9476 | 30707.6809 | 53 | MP20240730_006.gcd | 2024-07-30 18:10 | 68 | Unknown | 0 | 2.856 | 766754 | 0 | ----- | ----- | ----- | -----
54 | MP20240730_007.gcd | 2024-07-30 18:40 | 92 | Unknown | 0 | 5.981 | 5943653 | 15.175 | ----- | ----- | ----- | ----- | 54 | MP20240730_007.gcd | 2024-07-30 18:40 | 92 | Unknown | 0 | 5.932 | 43320 | 12.652 | ----- | ----- | ----- | ----- | 54 | MP20240730_007.gcd | 2024-07-30 18:40 | 92 | Unknown | 0 | 12.117 | 57088 | 12.344 | ----- | ----- | ----- | ----- | 1 |  | 54 | 12675.2209 | 11148.2397 | 11355.6842 | 10858.3756 | 10894.8031 | 11613.2189 | 11027.7044 | 12230.4029 | 12675.2209 | 11148.2397 | 54 | MP20240730_007.gcd | 2024-07-30 18:40 | 92 | Unknown | 0 | 2.841 | 1025564 | 0 | ----- | ----- | ----- | -----
55 | MP20240730_008.gcd | 2024-07-30 19:11 | 129 | Unknown | 0 | 5.999 | 36447 | 0.088 | ----- | ----- | ----- | ----- | 55 | MP20240730_008.gcd | 2024-07-30 19:11 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | MP20240730_008.gcd | 2024-07-30 19:11 | 129 | Unknown | 0 | 12.183 | 893 | 0.158 | ----- | ----- | ----- | ----- | 1 |  | 55 | 100.9552 | 217.1173 | 95.4661 | 166.8706 | 83.0006 | 80.8627 | 98.3934 | 195.8083 | 100.9552 | 217.1173 | 55 | MP20240730_008.gcd | 2024-07-30 19:11 | 129 | Unknown | 0 | 2.835 | 1206769 | 0 | ----- | ----- | ----- | -----
56 | MP20240730_009.gcd | 2024-07-30 19:41 | 27 | Unknown | 0 | 5.991 | 1447320 | 3.653 | ----- | ----- | ----- | ----- | 56 | MP20240730_009.gcd | 2024-07-30 19:41 | 27 | Unknown | 0 | 5.942 | 11392 | 3.381 | ----- | ----- | ----- | ----- | 56 | MP20240730_009.gcd | 2024-07-30 19:41 | 27 | Unknown | 0 | 12.073 | 83522 | 17.94 | ----- | ----- | ----- | ----- | 1 |  | 56 | 3245.6194 | 16512.2571 | 3204.4042 | 15852.1199 | 3039.2481 | 16982.2718 | 2922.9387 | 18626.0841 | 3245.6194 | 16512.2571 | 56 | MP20240730_009.gcd | 2024-07-30 19:41 | 27 | Unknown | 0 | 2.844 | 999739 | 0 | ----- | ----- | ----- | -----
57 | MP20240730_010.gcd | 2024-07-30 20:12 | 332 | Unknown | 0 | 5.995 | 294918 | 0.74 | ----- | ----- | ----- | ----- | 57 | MP20240730_010.gcd | 2024-07-30 20:12 | 332 | Unknown | 0 | 5.948 | 2661 | 0.819 | ----- | ----- | ----- | ----- | 57 | MP20240730_010.gcd | 2024-07-30 20:12 | 332 | Unknown | 0 | 12.077 | 86214 | 18.506 | ----- | ----- | ----- | ----- | 1 |  | 57 | 788.47 | 17056.6367 | 766.1824 | 16359.4006 | 682.9924 | 17527.0474 | 724.6232 | 19274.2041 | 788.47 | 17056.6367 | 57 | MP20240730_010.gcd | 2024-07-30 20:12 | 332 | Unknown | 0 | 2.862 | 663117 | 0 | ----- | ----- | ----- | -----
58 | MP20240730_011.gcd | 2024-07-30 20:43 | 292 | Unknown | 0 | 6.002 | 12747 | 0.029 | ----- | ----- | ----- | ----- | 58 | MP20240730_011.gcd | 2024-07-30 20:43 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | MP20240730_011.gcd | 2024-07-30 20:43 | 292 | Unknown | 0 | 12.158 | 14150 | 3.07 | ----- | ----- | ----- | ----- | 1 |  | 58 | 32.5856 | 2922.8767 | 33.1576 | 2698.3664 | 27.4469 | 2815.9953 | 28.1129 | 3339.5585 | 32.5856 | 2922.8767 | 58 | MP20240730_011.gcd | 2024-07-30 20:43 | 292 | Unknown | 0 | 2.837 | 1145787 | 0 | ----- | ----- | ----- | -----
59 | MP20240730_012.gcd | 2024-07-30 21:13 | 25 | Unknown | 0 | 5.934 | 25551847 | 68.72 | ----- | ----- | ----- | ----- | 59 | MP20240730_012.gcd | 2024-07-30 21:13 | 25 | Unknown | 0 | 5.885 | 185405 | 52.163 | ----- | ----- | ----- | ----- | 59 | MP20240730_012.gcd | 2024-07-30 21:13 | 25 | Unknown | 0 | 12.105 | 58407 | 12.626 | ----- | ----- | ----- | ----- | 1 |  | 59 | 49600.6001 | 11416.6887 | 47134.0355 | 11108.0914 | 45374.1877 | 11881.9685 | 45836.8822 | 12550.8886 | 49600.6001 | 11416.6887 | 59 | MP20240730_012.gcd | 2024-07-30 21:13 | 25 | Unknown | 0 | 2.85 | 811860 | 0 | ----- | ----- | ----- | -----
60 | MP20240730_013.gcd | 2024-07-30 21:44 | 407 | Unknown | 0 | 5.93 | 26467639 | 71.371 | ----- | ----- | ----- | ----- | 60 | MP20240730_013.gcd | 2024-07-30 21:44 | 407 | Unknown | 0 | 5.883 | 200346 | 56.166 | ----- | ----- | ----- | ----- | 60 | MP20240730_013.gcd | 2024-07-30 21:44 | 407 | Unknown | 0 | 12.098 | 65018 | 14.032 | ----- | ----- | ----- | ----- | 1 |  | 60 | 53562.0825 | 12760.9304 | 50849.2343 | 12358.847 | 48954.4121 | 13227.6389 | 49553.9786 | 14155.0604 | 53562.0825 | 12760.9304 | 60 | MP20240730_013.gcd | 2024-07-30 21:44 | 407 | Unknown | 0 | 2.846 | 881565 | 0 | ----- | ----- | ----- | -----
61 | MP20240730_014.gcd | 2024-07-30 22:14 | 45 | Unknown | 0 | 6.002 | 10435 | 0.023 | ----- | ----- | ----- | ----- | 61 | MP20240730_014.gcd | 2024-07-30 22:14 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | MP20240730_014.gcd | 2024-07-30 22:14 | 45 | Unknown | 0 | 12.151 | 13145 | 2.85 | ----- | ----- | ----- | ----- | 1 |  | 61 | 25.8986 | 2718.4921 | 27.072 | 2506.6564 | 22.0226 | 2608.9619 | 21.162 | 3106.85 | 25.8986 | 2718.4921 | 61 | MP20240730_014.gcd | 2024-07-30 22:14 | 45 | Unknown | 0 | 2.826 | 1354652 | 0 | ----- | ----- | ----- | -----
62 | MP20240730_015.gcd | 2024-07-30 22:45 | 111 | Unknown | 0 | 6.024 | 2987 | 0.004 | ----- | ----- | ----- | ----- | 62 | MP20240730_015.gcd | 2024-07-30 22:45 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | MP20240730_015.gcd | 2024-07-30 22:45 | 111 | Unknown | 0 | 12.02 | 145509 | 30.748 | ----- | ----- | ----- | ----- | 1 |  | 62 | 4.0259 | 28959.0227 | 4.1873 | 27473.1919 | 1.9852 | 29432.6787 | 3.3049 | 33399.609 | 4.0259 | 28959.0227 | 62 | MP20240730_015.gcd | 2024-07-30 22:45 | 111 | Unknown | 0 | 2.843 | 989127 | 0 | ----- | ----- | ----- | -----
63 | MP20240730_016.gcd | 2024-07-30 23:16 | 285 | Unknown | 0 | 5.995 | 38309 | 0.093 | ----- | ----- | ----- | ----- | 63 | MP20240730_016.gcd | 2024-07-30 23:16 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | MP20240730_016.gcd | 2024-07-30 23:16 | 285 | Unknown | 0 | 12.151 | 8487 | 1.829 | ----- | ----- | ----- | ----- | 1 |  | 63 | 106.313 | 1769.6277 | 100.3557 | 1617.6852 | 87.3613 | 1648.7247 | 103.8399 | 2016.2555 | 106.313 | 1769.6277 | 63 | MP20240730_016.gcd | 2024-07-30 23:16 | 285 | Unknown | 0 | 2.845 | 969903 | 0 | ----- | ----- | ----- | -----
64 | MP20240730_017.gcd | 2024-07-30 23:46 | 217 | Unknown | 0 | 5.993 | 121830 | 0.303 | ----- | ----- | ----- | ----- | 64 | MP20240730_017.gcd | 2024-07-30 23:46 | 217 | Unknown | 0 | 5.934 | 1157 | 0.376 | ----- | ----- | ----- | ----- | 64 | MP20240730_017.gcd | 2024-07-30 23:46 | 217 | Unknown | 0 | 12.08 | 78995 | 16.988 | ----- | ----- | ----- | ----- | 1 |  | 64 | 344.5776 | 15596.0163 | 318.8165 | 14998.5202 | 282.3914 | 16065.3163 | 336.902 | 17534.8369 | 344.5776 | 15596.0163 | 64 | MP20240730_017.gcd | 2024-07-30 23:46 | 217 | Unknown | 0 | 2.848 | 886469 | 0 | ----- | ----- | ----- | -----
65 | MP20240730_018.gcd | 2024-07-31 00:17 | 273 | Unknown | 0 | 5.999 | 13745 | 0.031 | ----- | ----- | ----- | ----- | 65 | MP20240730_018.gcd | 2024-07-31 00:17 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | MP20240730_018.gcd | 2024-07-31 00:17 | 273 | Unknown | 0 | 12.163 | 2521 | 0.517 | ----- | ----- | ----- | ----- | 1 |  | 65 | 35.4712 | 550.5249 | 35.7841 | 478.0539 | 29.788 | 417.2285 | 31.1081 | 590.5053 | 35.4712 | 550.5249 | 65 | MP20240730_018.gcd | 2024-07-31 00:17 | 273 | Unknown | 0 | 2.845 | 966606 | 0 | ----- | ----- | ----- | -----
66 | MP20240730_019.gcd | 2024-07-31 00:47 | 180 | Unknown | 0 | 6.037 | 2503 | 0.003 | ----- | ----- | ----- | ----- | 66 | MP20240730_019.gcd | 2024-07-31 00:47 | 180 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | MP20240730_019.gcd | 2024-07-31 00:47 | 180 | Unknown | 0 | 12.025 | 156795 | 33.035 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.6868 | 31205.3388 | 2.4909 | 29575.5992 | 1.1951 | 31678.4257 | 4.1763 | 36055.6084 | 2.6868 | 31205.3388 | 66 | MP20240730_019.gcd | 2024-07-31 00:47 | 180 | Unknown | 0 | 2.853 | 951076 | 0 | ----- | ----- | ----- | -----
67 | MP20240730_020.gcd | 2024-07-31 01:18 | 406 | Unknown | 0 | 6.007 | 13807 | 0.031 | ----- | ----- | ----- | ----- | 67 | MP20240730_020.gcd | 2024-07-31 01:18 | 406 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | MP20240730_020.gcd | 2024-07-31 01:18 | 406 | Unknown | 0 | 12.167 | 2987 | 0.62 | ----- | ----- | ----- | ----- | 1 |  | 67 | 35.6504 | 645.9015 | 35.9473 | 567.1113 | 29.9335 | 513.4852 | 31.2941 | 703.0386 | 35.6504 | 645.9015 | 67 | MP20240730_020.gcd | 2024-07-31 01:18 | 406 | Unknown | 0 | 2.851 | 1004251 | 0 | ----- | ----- | ----- | -----
68 | MP20240730_021.gcd | 2024-07-31 01:48 | 30 | Unknown | 0 | 5.994 | 45102 | 0.11 | ----- | ----- | ----- | ----- | 68 | MP20240730_021.gcd | 2024-07-31 01:48 | 30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | MP20240730_021.gcd | 2024-07-31 01:48 | 30 | Unknown | 0 | 12.17 | 767 | 0.131 | ----- | ----- | ----- | ----- | 1 |  | 68 | 125.8422 | 191.2998 | 118.1867 | 142.7828 | 103.2657 | 54.8239 | 123.6175 | 165.1597 | 125.8422 | 191.2998 | 68 | MP20240730_021.gcd | 2024-07-31 01:48 | 30 | Unknown | 0 | 2.82 | 1497322 | 0 | ----- | ----- | ----- | -----
69 | MP20240730_022.gcd | 2024-07-31 02:19 | 10 | Unknown | 0 | 5.973 | 7148257 | 18.306 | ----- | ----- | ----- | ----- | 69 | MP20240730_022.gcd | 2024-07-31 02:19 | 10 | Unknown | 0 | 5.927 | 52060 | 15.163 | ----- | ----- | ----- | ----- | 69 | MP20240730_022.gcd | 2024-07-31 02:19 | 10 | Unknown | 0 | 12.097 | 59811 | 12.925 | ----- | ----- | ----- | ----- | 1 |  | 69 | 15158.9098 | 11702.3454 | 13579.8894 | 11373.8374 | 13038.3015 | 12167.9396 | 13071.3036 | 12891.8709 | 15158.9098 | 11702.3454 | 69 | MP20240730_022.gcd | 2024-07-31 02:19 | 10 | Unknown | 0 | 2.836 | 1071002 | 0 | ----- | ----- | ----- | -----
70 | MP20240730_023.gcd | 2024-07-31 02:50 | 192 | Unknown | 0 | 5.993 | 219612 | 0.55 | ----- | ----- | ----- | ----- | 70 | MP20240730_023.gcd | 2024-07-31 02:50 | 192 | Unknown | 0 | 5.945 | 1787 | 0.561 | ----- | ----- | ----- | ----- | 70 | MP20240730_023.gcd | 2024-07-31 02:50 | 192 | Unknown | 0 | 12.072 | 88804 | 19.049 | ----- | ----- | ----- | ----- | 1 |  | 70 | 627.3295 | 17580.061 | 572.4356 | 16847.238 | 509.2946 | 18050.8322 | 579.2502 | 19897.2072 | 627.3295 | 17580.061 | 70 | MP20240730_023.gcd | 2024-07-31 02:50 | 192 | Unknown | 0 | 2.84 | 1039412 | 0 | ----- | ----- | ----- | -----
71 | MP20240730_024.gcd | 2024-07-31 03:20 | 41 | Unknown | 0 | 6.046 | 1804 | 0.001 | ----- | ----- | ----- | ----- | 71 | MP20240730_024.gcd | 2024-07-31 03:20 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | MP20240730_024.gcd | 2024-07-31 03:20 | 41 | Unknown | 0 | 12.005 | 170868 | 35.868 | ----- | ----- | ----- | ----- | 1 |  | 71 | 0.80017 | 33997.7916 | -0.0069014 | 32191.3787 | 0.17403 | 34469.6369 | 5.8813 | 39352.8924 | 0.80017 | 33997.7916 | 71 | MP20240730_024.gcd | 2024-07-31 03:20 | 41 | Unknown | 0 | 2.85 | 1040649 | 0 | ----- | ----- | ----- | -----
72 | MP20240730_025.gcd | 2024-07-31 03:51 | 135 | Unknown | 0 | 5.992 | 130479 | 0.325 | ----- | ----- | ----- | ----- | 72 | MP20240730_025.gcd | 2024-07-31 03:51 | 135 | Unknown | 0 | 5.955 | 877 | 0.293 | ----- | ----- | ----- | ----- | 72 | MP20240730_025.gcd | 2024-07-31 03:51 | 135 | Unknown | 0 | 12.072 | 80140 | 17.229 | ----- | ----- | ----- | ----- | 1 |  | 72 | 369.0209 | 15827.8513 | 341.3428 | 15214.4815 | 302.5235 | 16297.3379 | 359.7795 | 17811.001 | 369.0209 | 15827.8513 | 72 | MP20240730_025.gcd | 2024-07-31 03:51 | 135 | Unknown | 0 | 2.841 | 1025555 | 0 | ----- | ----- | ----- | -----
73 | MP20240730_026.gcd | 2024-07-31 04:21 | 391 | Unknown | 0 | 6.045 | 1755 | 0.001 | ----- | ----- | ----- | ----- | 73 | MP20240730_026.gcd | 2024-07-31 04:21 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | MP20240730_026.gcd | 2024-07-31 04:21 | 391 | Unknown | 0 | 11.988 | 170329 | 35.76 | ----- | ----- | ----- | ----- | 1 |  | 73 | 0.67001 | 33891.0151 | -0.18412 | 32091.3122 | 0.10778 | 34362.9189 | 6.0206 | 39226.9038 | 0.67001 | 33891.0151 | 73 | MP20240730_026.gcd | 2024-07-31 04:21 | 391 | Unknown | 0 | 2.837 | 1123972 | 0 | ----- | ----- | ----- | -----
74 | MP20240730_027.gcd | 2024-07-31 04:52 | 86 | Unknown | 0 | 5.997 | 12464 | 0.028 | ----- | ----- | ----- | ----- | 74 | MP20240730_027.gcd | 2024-07-31 04:52 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | MP20240730_027.gcd | 2024-07-31 04:52 | 86 | Unknown | 0 | 12.149 | 2881 | 0.597 | ----- | ----- | ----- | ----- | 1 |  | 74 | 31.7673 | 624.2087 | 32.4128 | 546.8542 | 26.783 | 491.5909 | 27.263 | 677.4583 | 31.7673 | 624.2087 | 74 | MP20240730_027.gcd | 2024-07-31 04:52 | 86 | Unknown | 0 | 2.841 | 1040155 | 0 | ----- | ----- | ----- | -----
75 | MP20240730_028.gcd | 2024-07-31 05:22 | 385 | Unknown | 0 | 6.038 | 1599 | 0.001 | ----- | ----- | ----- | ----- | 75 | MP20240730_028.gcd | 2024-07-31 05:22 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | MP20240730_028.gcd | 2024-07-31 05:22 | 385 | Unknown | 0 | 12.005 | 167708 | 35.234 | ----- | ----- | ----- | ----- | 1 |  | 75 | 0.25744 | 33371.5933 | -0.75019 | 31604.5833 | -0.098492 | 33843.7688 | 6.4814 | 38613.9193 | 0.25744 | 33371.5933 | 75 | MP20240730_028.gcd | 2024-07-31 05:22 | 385 | Unknown | 0 | 2.85 | 1037946 | 0 | ----- | ----- | ----- | -----
76 | MP20240730_029.gcd | 2024-07-31 05:53 | 96 | Unknown | 0 | 5.994 | 41247 | 0.1 | ----- | ----- | ----- | ----- | 76 | MP20240730_029.gcd | 2024-07-31 05:53 | 96 | Unknown | 0 | 5.978 | 689 | 0.238 | ----- | ----- | ----- | ----- | 76 | MP20240730_029.gcd | 2024-07-31 05:53 | 96 | Unknown | 0 | 12.151 | 12508 | 2.711 | ----- | ----- | ----- | ----- | 1 |  | 76 | 114.7627 | 2588.8843 | 108.0691 | 2385.1277 | 94.2409 | 2477.711 | 112.4116 | 2958.8751 | 114.7627 | 2588.8843 | 76 | MP20240730_029.gcd | 2024-07-31 05:53 | 96 | Unknown | 0 | 2.829 | 1294284 | 0 | ----- | ----- | ----- | -----
77 | MP20240730_030.gcd | 2024-07-31 06:24 | 367 | Unknown | 0 | 5.998 | 13532 | 0.031 | ----- | ----- | ----- | ----- | 77 | MP20240730_030.gcd | 2024-07-31 06:24 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | MP20240730_030.gcd | 2024-07-31 06:24 | 367 | Unknown | 0 | 12.169 | 3285 | 0.686 | ----- | ----- | ----- | ----- | 1 |  | 77 | 34.8554 | 706.8797 | 35.2236 | 624.0585 | 29.2884 | 575.0341 | 30.4691 | 774.8981 | 34.8554 | 706.8797 | 77 | MP20240730_030.gcd | 2024-07-31 06:24 | 367 | Unknown | 0 | 2.831 | 1255273 | 0 | ----- | ----- | ----- | -----
78 | MP20240730_031.gcd | 2024-07-31 06:54 | 387 | Unknown | 0 | 6.001 | 69973 | 0.173 | ----- | ----- | ----- | ----- | 78 | MP20240730_031.gcd | 2024-07-31 06:54 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | MP20240730_031.gcd | 2024-07-31 06:54 | 387 | Unknown | 0 | 12.085 | 82717 | 17.771 | ----- | ----- | ----- | ----- | 1 |  | 78 | 197.1167 | 16349.4014 | 183.3758 | 15700.3798 | 161.4323 | 16819.2935 | 194.7865 | 18432.1589 | 197.1167 | 16349.4014 | 78 | MP20240730_031.gcd | 2024-07-31 06:54 | 387 | Unknown | 0 | 2.852 | 936780 | 0 | ----- | ----- | ----- | -----
79 | MP20240730_032.gcd | 2024-07-31 07:25 | 301 | Unknown | 0 | 5.99 | 523694 | 1.317 | ----- | ----- | ----- | ----- | 79 | MP20240730_032.gcd | 2024-07-31 07:25 | 301 | Unknown | 0 | 5.942 | 4258 | 1.288 | ----- | ----- | ----- | ----- | 79 | MP20240730_032.gcd | 2024-07-31 07:25 | 301 | Unknown | 0 | 12.157 | 7160 | 1.538 | ----- | ----- | ----- | ----- | 1 |  | 79 | 1277.5759 | 1498.8343 | 1346.3651 | 1364.3004 | 1205.075 | 1374.9637 | 1164.9652 | 1701.9378 | 1277.5759 | 1498.8343 | 79 | MP20240730_032.gcd | 2024-07-31 07:25 | 301 | Unknown | 0 | 2.828 | 1299787 | 0 | ----- | ----- | ----- | -----