## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN04nov21_001.gcd | 2021-11-04 10:28 | air | Unknown | 0 | 6.092 | 2058 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN04nov21_001.gcd | 2021-11-04 10:28 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN04nov21_001.gcd | 2021-11-04 10:28 | air | Unknown | 0 | 12.29 | 2359 | 0.48 | ----- | ----- | ----- | ----- | 1 |  | 1.2859 | 471.8393 | 0.90729 | 447.0923
40 | BRN04nov21_002.gcd | 2021-11-04 10:58 | air + 100 | Unknown | 0 | 6.025 | 762098 | 1.585 | ----- | ----- | ----- | ----- | 40 | BRN04nov21_002.gcd | 2021-11-04 10:58 | air + 100 | Unknown | 0 | 5.979 | 6563 | 1.877 | ----- | ----- | ----- | ----- | 40 | BRN04nov21_002.gcd | 2021-11-04 10:58 | air + 100 | Unknown | 0 | 12.238 | 8778 | 1.761 | ----- | ----- | ----- | ----- | 1 |  | 1805.9552 | 1657.4346 | 1967.9887 | 1673.2427
41 | BRN04nov21_003.gcd | 2021-11-04 11:29 | 68 | Unknown | 0 | 6.053 | 5608 | 0.007 | ----- | ----- | ----- | ----- | 41 | BRN04nov21_003.gcd | 2021-11-04 11:29 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN04nov21_003.gcd | 2021-11-04 11:29 | 68 | Unknown | 0 | 12.183 | 35145 | 6.996 | ----- | ----- | ----- | ----- | 1 |  | 11.4669 | 6473.1813 | 12.9019 | 6695.7821
42 | BRN04nov21_004.gcd | 2021-11-04 11:59 | 148 | Unknown | 0 | 6.049 | 6385 | 0.009 | ----- | ----- | ----- | ----- | 42 | BRN04nov21_004.gcd | 2021-11-04 11:59 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN04nov21_004.gcd | 2021-11-04 11:59 | 148 | Unknown | 0 | 12.186 | 36674 | 7.298 | ----- | ----- | ----- | ----- | 1 |  | 13.7667 | 6749.7651 | 15.3323 | 6986.3414
43 | BRN04nov21_005.gcd | 2021-11-04 12:30 | 141 | Unknown | 0 | 6.053 | 5647 | 0.007 | ----- | ----- | ----- | ----- | 43 | BRN04nov21_005.gcd | 2021-11-04 12:30 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN04nov21_005.gcd | 2021-11-04 12:30 | 141 | Unknown | 0 | 12.186 | 38933 | 7.744 | ----- | ----- | ----- | ----- | 1 |  | 11.5818 | 7157.8628 | 13.0255 | 7415.485
44 | BRN04nov21_006.gcd | 2021-11-04 13:00 | 17 | Unknown | 0 | 6.054 | 5614 | 0.007 | ----- | ----- | ----- | ----- | 44 | BRN04nov21_006.gcd | 2021-11-04 13:00 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN04nov21_006.gcd | 2021-11-04 13:00 | 17 | Unknown | 0 | 12.191 | 35155 | 6.998 | ----- | ----- | ----- | ----- | 1 |  | 11.4846 | 6474.9912 | 12.9209 | 6697.6827
45 | BRN04nov21_007.gcd | 2021-11-04 13:31 | 201 | Unknown | 0 | 6.05 | 5881 | 0.007 | ----- | ----- | ----- | ----- | 45 | BRN04nov21_007.gcd | 2021-11-04 13:31 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN04nov21_007.gcd | 2021-11-04 13:31 | 201 | Unknown | 0 | 12.19 | 36667 | 7.296 | ----- | ----- | ----- | ----- | 1 |  | 12.2721 | 6748.4995 | 13.7638 | 6985.0113
46 | BRN04nov21_008.gcd | 2021-11-04 14:02 | 193 | Unknown | 0 | 6.07 | 1825 | -0.001 | ----- | ----- | ----- | ----- | 46 | BRN04nov21_008.gcd | 2021-11-04 14:02 | 193 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN04nov21_008.gcd | 2021-11-04 14:02 | 193 | Unknown | 0 | 12.038 | 191514 | 37.165 | ----- | ----- | ----- | ----- | 1 |  | 0.6364 | 33239.2719 | 0.068965 | 36017.2408
47 | BRN04nov21_009.gcd | 2021-11-04 14:32 | 154 | Unknown | 0 | 6.048 | 5958 | 0.008 | ----- | ----- | ----- | ----- | 47 | BRN04nov21_009.gcd | 2021-11-04 14:32 | 154 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN04nov21_009.gcd | 2021-11-04 14:32 | 154 | Unknown | 0 | 12.171 | 48070 | 9.545 | ----- | ----- | ----- | ----- | 1 |  | 12.4997 | 8801.9638 | 14.0053 | 9149.5536
48 | BRN04nov21_010.gcd | 2021-11-04 15:03 | 147 | Unknown | 0 | 6.053 | 6028 | 0.008 | ----- | ----- | ----- | ----- | 48 | BRN04nov21_010.gcd | 2021-11-04 15:03 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN04nov21_010.gcd | 2021-11-04 15:03 | 147 | Unknown | 0 | 12.192 | 34682 | 6.904 | ----- | ----- | ----- | ----- | 1 |  | 12.7069 | 6389.3705 | 14.2243 | 6607.7822
49 | BRN04nov21_011.gcd | 2021-11-04 15:33 | 45 | Unknown | 0 | 6.092 | 1652 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN04nov21_011.gcd | 2021-11-04 15:33 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN04nov21_011.gcd | 2021-11-04 15:33 | 45 | Unknown | 0 | 12.104 | 125373 | 24.579 | ----- | ----- | ----- | ----- | 1 |  | 0.15565 | 22292.3409 | -0.55756 | 23711.8786
50 | BRN04nov21_012.gcd | 2021-11-04 16:04 | 66 | Unknown | 0 | 6.085 | 1929 | -0.001 | ----- | ----- | ----- | ----- | 50 | BRN04nov21_012.gcd | 2021-11-04 16:04 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN04nov21_012.gcd | 2021-11-04 16:04 | 66 | Unknown | 0 | 12.096 | 127806 | 25.047 | ----- | ----- | ----- | ----- | 1 |  | 0.92602 | 22704.7538 | 0.44393 | 24167.0523
51 | BRN04nov21_013.gcd | 2021-11-04 16:35 | 199 | Unknown | 0 | 6.055 | 6265 | 0.008 | ----- | ----- | ----- | ----- | 51 | BRN04nov21_013.gcd | 2021-11-04 16:35 | 199 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN04nov21_013.gcd | 2021-11-04 16:35 | 199 | Unknown | 0 | 12.19 | 32351 | 6.443 | ----- | ----- | ----- | ----- | 1 |  | 13.4099 | 5967.0111 | 14.9615 | 6164.6357
52 | BRN04nov21_014.gcd | 2021-11-04 17:05 | 76 | Unknown | 0 | 6.075 | 2115 | 0 | ----- | ----- | ----- | ----- | 52 | BRN04nov21_014.gcd | 2021-11-04 17:05 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN04nov21_014.gcd | 2021-11-04 17:05 | 76 | Unknown | 0 | 12.037 | 189650 | 36.814 | ----- | ----- | ----- | ----- | 1 |  | 1.4451 | 32938.2837 | 1.1114 | 35672.3966
53 | BRN04nov21_015.gcd | 2021-11-04 17:36 | 216 | Unknown | 0 | 6.053 | 6482 | 0.009 | ----- | ----- | ----- | ----- | 53 | BRN04nov21_015.gcd | 2021-11-04 17:36 | 216 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN04nov21_015.gcd | 2021-11-04 17:36 | 216 | Unknown | 0 | 12.172 | 34714 | 6.91 | ----- | ----- | ----- | ----- | 1 |  | 14.0557 | 6395.1639 | 15.6308 | 6613.8645