## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN09nov21_001.gcd | 2021-11-09 13:24 | air | Unknown | 0 | 6.087 | 1765 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN09nov21_001.gcd | 2021-11-09 13:24 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN09nov21_001.gcd | 2021-11-09 13:24 | air | Unknown | 0 | 12.277 | 2100 | 0.429 | ----- | ----- | ----- | ----- | 1 |  | 0.46952 | 423.8932 | -0.14793 | 397.5903
40 | BRN09nov21_002.gcd | 2021-11-09 13:55 | air + 100 | Unknown | 0 | 6.027 | 652362 | 1.356 | ----- | ----- | ----- | ----- | 40 | BRN09nov21_002.gcd | 2021-11-09 13:55 | air + 100 | Unknown | 0 | 5.982 | 5364 | 1.555 | ----- | ----- | ----- | ----- | 40 | BRN09nov21_002.gcd | 2021-11-09 13:55 | air + 100 | Unknown | 0 | 12.224 | 10189 | 2.043 | ----- | ----- | ----- | ----- | 1 |  | 1702.184 | 1917.3541 | 1667.1106 | 1942.5908
41 | BRN09nov21_003.gcd | 2021-11-09 14:26 | 113 | Unknown | 0 | 6.038 | 7685 | 0.011 | ----- | ----- | ----- | ----- | 41 | BRN09nov21_003.gcd | 2021-11-09 14:26 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN09nov21_003.gcd | 2021-11-09 14:26 | 113 | Unknown | 0 | 12.2 | 32680 | 6.508 | ----- | ----- | ----- | ----- | 1 |  | 17.6719 | 6026.6647 | 19.2423 | 6227.1926
42 | BRN09nov21_004.gcd | 2021-11-09 14:56 | 15 | Unknown | 0 | 6.039 | 8088 | 0.012 | ----- | ----- | ----- | ----- | 42 | BRN09nov21_004.gcd | 2021-11-09 14:56 | 15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN09nov21_004.gcd | 2021-11-09 14:56 | 15 | Unknown | 0 | 12.184 | 24730 | 4.933 | ----- | ----- | ----- | ----- | 1 |  | 18.8971 | 4581.3836 | 20.4146 | 4714.5738
43 | BRN09nov21_005.gcd | 2021-11-09 15:27 | 134 | Unknown | 0 | 6.024 | 218567 | 0.451 | ----- | ----- | ----- | ----- | 43 | BRN09nov21_005.gcd | 2021-11-09 15:27 | 134 | Unknown | 0 | 5.978 | 1996 | 0.651 | ----- | ----- | ----- | ----- | 43 | BRN09nov21_005.gcd | 2021-11-09 15:27 | 134 | Unknown | 0 | 12.167 | 27265 | 5.436 | ----- | ----- | ----- | ----- | 1 |  | 647.998 | 5043.099 | 569.7374 | 5197.1226
44 | BRN09nov21_006.gcd | 2021-11-09 15:57 | 190 | Unknown | 0 | 6.038 | 8595 | 0.013 | ----- | ----- | ----- | ----- | 44 | BRN09nov21_006.gcd | 2021-11-09 15:57 | 190 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN09nov21_006.gcd | 2021-11-09 15:57 | 190 | Unknown | 0 | 12.186 | 25448 | 5.076 | ----- | ----- | ----- | ----- | 1 |  | 20.4483 | 4712.2393 | 21.8627 | 4851.2696
45 | BRN09nov21_007.gcd | 2021-11-09 16:28 | 98 | Unknown | 0 | 6.039 | 8159 | 0.012 | ----- | ----- | ----- | ----- | 45 | BRN09nov21_007.gcd | 2021-11-09 16:28 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN09nov21_007.gcd | 2021-11-09 16:28 | 98 | Unknown | 0 | 12.185 | 26923 | 5.368 | ----- | ----- | ----- | ----- | 1 |  | 19.1137 | 4980.8555 | 20.6192 | 5132.0336
46 | BRN09nov21_008.gcd | 2021-11-09 16:58 | 10 | Unknown | 0 | 6.043 | 7382 | 0.011 | ----- | ----- | ----- | ----- | 46 | BRN09nov21_008.gcd | 2021-11-09 16:58 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN09nov21_008.gcd | 2021-11-09 16:58 | 10 | Unknown | 0 | 12.186 | 24351 | 4.858 | ----- | ----- | ----- | ----- | 1 |  | 16.7553 | 4512.2846 | 18.3485 | 4642.4115
47 | BRN09nov21_009.gcd | 2021-11-09 17:29 | 128 | Unknown | 0 | 6.041 | 8382 | 0.013 | ----- | ----- | ----- | ----- | 47 | BRN09nov21_009.gcd | 2021-11-09 17:29 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN09nov21_009.gcd | 2021-11-09 17:29 | 128 | Unknown | 0 | 12.183 | 25045 | 4.996 | ----- | ----- | ----- | ----- | 1 |  | 19.7953 | 4638.8004 | 21.2579 | 4774.5469
48 | BRN09nov21_010.gcd | 2021-11-09 17:59 | 33 | Unknown | 0 | 6.039 | 8118 | 0.012 | ----- | ----- | ----- | ----- | 48 | BRN09nov21_010.gcd | 2021-11-09 17:59 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN09nov21_010.gcd | 2021-11-09 17:59 | 33 | Unknown | 0 | 12.188 | 24782 | 4.944 | ----- | ----- | ----- | ----- | 1 |  | 18.9886 | 4590.8628 | 20.5011 | 4724.4744
49 | BRN09nov21_011.gcd | 2021-11-09 18:30 | 173 | Unknown | 0 | 6.038 | 9517 | 0.015 | ----- | ----- | ----- | ----- | 49 | BRN09nov21_011.gcd | 2021-11-09 18:30 | 173 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN09nov21_011.gcd | 2021-11-09 18:30 | 173 | Unknown | 0 | 12.181 | 25869 | 5.159 | ----- | ----- | ----- | ----- | 1 |  | 23.2972 | 4788.9366 | 24.4198 | 4931.4135
50 | BRN09nov21_012.gcd | 2021-11-09 19:01 | 174 | Unknown | 0 | 6.043 | 6712 | 0.009 | ----- | ----- | ----- | ----- | 50 | BRN09nov21_012.gcd | 2021-11-09 19:01 | 174 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN09nov21_012.gcd | 2021-11-09 19:01 | 174 | Unknown | 0 | 12.188 | 21998 | 4.391 | ----- | ----- | ----- | ----- | 1 |  | 14.7423 | 4082.884 | 16.3343 | 4194.2912
51 | BRN09nov21_013.gcd | 2021-11-09 19:31 | 140 | Unknown | 0 | 6.033 | 8736 | 0.013 | ----- | ----- | ----- | ----- | 51 | BRN09nov21_013.gcd | 2021-11-09 19:31 | 140 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN09nov21_013.gcd | 2021-11-09 19:31 | 140 | Unknown | 0 | 12.179 | 25180 | 5.023 | ----- | ----- | ----- | ----- | 1 |  | 20.8816 | 4663.4038 | 22.2601 | 4800.2486
52 | BRN09nov21_014.gcd | 2021-11-09 20:02 | 26 | Unknown | 0 | 6.034 | 229406 | 0.473 | ----- | ----- | ----- | ----- | 52 | BRN09nov21_014.gcd | 2021-11-09 20:02 | 26 | Unknown | 0 | 5.972 | 2002 | 0.652 | ----- | ----- | ----- | ----- | 52 | BRN09nov21_014.gcd | 2021-11-09 20:02 | 26 | Unknown | 0 | 12.186 | 26884 | 5.361 | ----- | ----- | ----- | ----- | 1 |  | 678.0802 | 4973.7566 | 597.7111 | 5124.6109
53 | BRN09nov21_015.gcd | 2021-11-09 20:32 | 41 | Unknown | 0 | 6.038 | 9120 | 0.014 | ----- | ----- | ----- | ----- | 53 | BRN09nov21_015.gcd | 2021-11-09 20:32 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN09nov21_015.gcd | 2021-11-09 20:32 | 41 | Unknown | 0 | 12.185 | 26496 | 5.284 | ----- | ----- | ----- | ----- | 1 |  | 22.0661 | 4903.1215 | 23.3308 | 5050.7621
54 | BRN09nov21_016.gcd | 2021-11-09 21:03 | 12 | Unknown | 0 | 6.039 | 8551 | 0.013 | ----- | ----- | ----- | ----- | 54 | BRN09nov21_016.gcd | 2021-11-09 21:03 | 12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN09nov21_016.gcd | 2021-11-09 21:03 | 12 | Unknown | 0 | 12.185 | 25790 | 5.144 | ----- | ----- | ----- | ----- | 1 |  | 20.3132 | 4774.5462 | 21.7382 | 4916.3751
55 | BRN09nov21_017.gcd | 2021-11-09 21:33 | 28 | Unknown | 0 | 6.04 | 8134 | 0.012 | ----- | ----- | ----- | ----- | 55 | BRN09nov21_017.gcd | 2021-11-09 21:33 | 28 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN09nov21_017.gcd | 2021-11-09 21:33 | 28 | Unknown | 0 | 12.048 | 19503 | 3.896 | ----- | ----- | ----- | ----- | 2 | CO2 peak iffy-integrated off slope of big peak | 19.0374 | 3626.8106 | 20.5472 | 3718.9308
56 | BRN09nov21_018.gcd | 2021-11-09 22:04 | 122 | Unknown | 0 | 6.077 | 1496 | -0.002 | ----- | ----- | ----- | ----- | 56 | BRN09nov21_018.gcd | 2021-11-09 22:04 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN09nov21_018.gcd | 2021-11-09 22:04 | 122 | Unknown | 0 | 12.199 | 8328 | 1.672 | ----- | ----- | ----- | ----- | 1 |  | -0.27676 | 1574.4877 | -1.1255 | 1587.3279
57 | BRN09nov21_019.gcd | 2021-11-09 22:34 | 194 | Unknown | 0 | 6.054 | 2907 | 0.001 | ----- | ----- | ----- | ----- | 57 | BRN09nov21_019.gcd | 2021-11-09 22:34 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN09nov21_019.gcd | 2021-11-09 22:34 | 194 | Unknown | 0 | 12.197 | 8504 | 1.707 | ----- | ----- | ----- | ----- | 1 |  | 3.672 | 1606.9322 | 3.9087 | 1620.9309
58 | BRN09nov21_020.gcd | 2021-11-09 23:05 | 91 | Unknown | 0 | 6.042 | 8818 | 0.014 | ----- | ----- | ----- | ----- | 58 | BRN09nov21_020.gcd | 2021-11-09 23:05 | 91 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN09nov21_020.gcd | 2021-11-09 23:05 | 91 | Unknown | 0 | 12.191 | 25296 | 5.046 | ----- | ----- | ----- | ----- | 1 |  | 21.134 | 4684.5427 | 22.4902 | 4822.3326