## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
59 | BRN10nov21_001.gcd | 2021-11-10 09:49 | air | Unknown | 0 | 6.082 | 2245 | 0 | ----- | ----- | ----- | ----- | 59 | BRN10nov21_001.gcd | 2021-11-10 09:49 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN10nov21_001.gcd | 2021-11-10 09:49 | air | Unknown | 0 | 12.268 | 1926 | 0.394 | ----- | ----- | ----- | ----- | 1 |  | 1.8088 | 391.6776 | 1.5756 | 364.3329
60 | BRN10nov21_002.gcd | 2021-11-10 10:19 | air + 100 | Unknown | 0 | 6.03 | 569391 | 1.183 | ----- | ----- | ----- | ----- | 60 | BRN10nov21_002.gcd | 2021-11-10 10:19 | air + 100 | Unknown | 0 | 5.982 | 4630 | 1.358 | ----- | ----- | ----- | ----- | 60 | BRN10nov21_002.gcd | 2021-11-10 10:19 | air + 100 | Unknown | 0 | 12.216 | 6787 | 1.364 | ----- | ----- | ----- | ----- | 1 |  | 1524.3103 | 1290.2484 | 1460.7377 | 1293.0674
61 | BRN10nov21_003.gcd | 2021-11-10 10:50 | 169 (leaky) | Unknown | 0 | 6.048 | 3944 | 0.003 | ----- | ----- | ----- | ----- | 61 | BRN10nov21_003.gcd | 2021-11-10 10:50 | 169 (leaky) | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN10nov21_003.gcd | 2021-11-10 10:50 | 169 (leaky) | Unknown | 0 | 12.195 | 13947 | 2.791 | ----- | ----- | ----- | ----- | 2 | leaky vial | 6.6281 | 2608.3939 | 7.4615 | 2659.6455
62 | BRN10nov21_004.gcd | 2021-11-10 11:20 | 110 | Unknown | 0 | 6.069 | 1880 | -0.001 | ----- | ----- | ----- | ----- | 62 | BRN10nov21_004.gcd | 2021-11-10 11:20 | 110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN10nov21_004.gcd | 2021-11-10 11:20 | 110 | Unknown | 0 | 12.166 | 32805 | 6.533 | ----- | ----- | ----- | ----- | 1 |  | 0.78951 | 6049.3259 | 0.26742 | 6250.9595
63 | BRN10nov21_005.gcd | 2021-11-10 11:51 | 118 | Unknown | 0 | 6.051 | 4237 | 0.004 | ----- | ----- | ----- | ----- | 63 | BRN10nov21_005.gcd | 2021-11-10 11:51 | 118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN10nov21_005.gcd | 2021-11-10 11:51 | 118 | Unknown | 0 | 12.2 | 13035 | 2.61 | ----- | ----- | ----- | ----- | 1 |  | 7.4716 | 2440.8537 | 8.4427 | 2485.6712
64 | BRN10nov21_006.gcd | 2021-11-10 12:21 | 51 | Unknown | 0 | 6.024 | 145187 | 0.298 | ----- | ----- | ----- | ----- | 64 | BRN10nov21_006.gcd | 2021-11-10 12:21 | 51 | Unknown | 0 | 5.967 | 2442 | 0.77 | ----- | ----- | ----- | ----- | 64 | BRN10nov21_006.gcd | 2021-11-10 12:21 | 51 | Unknown | 0 | 12.1 | 95644 | 18.84 | ----- | ----- | ----- | ----- | 1 |  | 439.2977 | 17193.0218 | 379.6082 | 18134.532
65 | BRN10nov21_007.gcd | 2021-11-10 12:52 | 188 | Unknown | 0 | 6.071 | 1841 | -0.001 | ----- | ----- | ----- | ----- | 65 | BRN10nov21_007.gcd | 2021-11-10 12:52 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN10nov21_007.gcd | 2021-11-10 12:52 | 188 | Unknown | 0 | 12.18 | 31332 | 6.242 | ----- | ----- | ----- | ----- | 1 |  | 0.68093 | 5782.1619 | 0.12673 | 5970.8581
66 | BRN10nov21_008.gcd | 2021-11-10 13:22 | 179 | Unknown | 0 | 6.033 | 54051 | 0.108 | ----- | ----- | ----- | ----- | 66 | BRN10nov21_008.gcd | 2021-11-10 13:22 | 179 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN10nov21_008.gcd | 2021-11-10 13:22 | 179 | Unknown | 0 | 12.18 | 25939 | 5.173 | ----- | ----- | ----- | ----- | 1 |  | 167.8599 | 4801.687 | 141.6601 | 4944.7386
67 | BRN10nov21_009.gcd | 2021-11-10 13:53 | 62 | Unknown | 0 | 6.029 | 146258 | 0.3 | ----- | ----- | ----- | ----- | 67 | BRN10nov21_009.gcd | 2021-11-10 13:53 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN10nov21_009.gcd | 2021-11-10 13:53 | 62 | Unknown | 0 | 12.109 | 95953 | 18.9 | ----- | ----- | ----- | ----- | 1 |  | 442.4069 | 17246.5942 | 382.3925 | 18192.6501
68 | BRN10nov21_010.gcd | 2021-11-10 14:24 | 87 | Unknown | 0 | 6.041 | 4339 | 0.004 | ----- | ----- | ----- | ----- | 68 | BRN10nov21_010.gcd | 2021-11-10 14:24 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN10nov21_010.gcd | 2021-11-10 14:24 | 87 | Unknown | 0 | 12.194 | 10535 | 2.112 | ----- | ----- | ----- | ----- | 1 |  | 7.7661 | 1981.0524 | 8.782 | 2008.6294
69 | BRN10nov21_011.gcd | 2021-11-10 14:54 | 215 | Unknown | 0 | 6.051 | 4006 | 0.004 | ----- | ----- | ----- | ----- | 69 | BRN10nov21_011.gcd | 2021-11-10 14:54 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN10nov21_011.gcd | 2021-11-10 14:54 | 215 | Unknown | 0 | 12.207 | 11153 | 2.235 | ----- | ----- | ----- | ----- | 1 |  | 6.8063 | 2094.7883 | 7.67 | 2126.573
70 | BRN10nov21_012.gcd | 2021-11-10 15:25 | 90 | Unknown | 0 | 6.052 | 4539 | 0.005 | ----- | ----- | ----- | ----- | 70 | BRN10nov21_012.gcd | 2021-11-10 15:25 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN10nov21_012.gcd | 2021-11-10 15:25 | 90 | Unknown | 0 | 12.173 | 33631 | 6.696 | ----- | ----- | ----- | ----- | 1 |  | 8.3448 | 6199.0218 | 9.4437 | 6407.9984
71 | BRN10nov21_013.gcd | 2021-11-10 15:55 | 217 | Unknown | 0 | 6.053 | 4717 | 0.005 | ----- | ----- | ----- | ----- | 71 | BRN10nov21_013.gcd | 2021-11-10 15:55 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN10nov21_013.gcd | 2021-11-10 15:55 | 217 | Unknown | 0 | 12.172 | 33769 | 6.724 | ----- | ----- | ----- | ----- | 1 |  | 8.8613 | 6224.0231 | 10.0287 | 6434.2328
72 | BRN10nov21_014.gcd | 2021-11-10 16:26 | 107 | Unknown | 0 | 6.027 | 58341 | 0.117 | ----- | ----- | ----- | ----- | 72 | BRN10nov21_014.gcd | 2021-11-10 16:26 | 107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN10nov21_014.gcd | 2021-11-10 16:26 | 107 | Unknown | 0 | 12.195 | 13330 | 2.668 | ----- | ----- | ----- | ----- | 1 |  | 180.9412 | 2495.0585 | 152.9059 | 2541.9488
73 | BRN10nov21_015.gcd | 2021-11-10 16:57 | 121 | Unknown | 0 | 6.035 | 59067 | 0.118 | ----- | ----- | ----- | ----- | 73 | BRN10nov21_015.gcd | 2021-11-10 16:57 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN10nov21_015.gcd | 2021-11-10 16:57 | 121 | Unknown | 0 | 12.19 | 24000 | 4.789 | ----- | ----- | ----- | ----- | 1 |  | 183.152 | 4448.2745 | 154.8086 | 4575.5762
74 | BRN10nov21_016.gcd | 2021-11-10 17:27 | 81 | Unknown | 0 | 6.05 | 3782 | 0.003 | ----- | ----- | ----- | ----- | 74 | BRN10nov21_016.gcd | 2021-11-10 17:27 | 81 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN10nov21_016.gcd | 2021-11-10 17:27 | 81 | Unknown | 0 | 12.197 | 11734 | 2.351 | ----- | ----- | ----- | ----- | 1 |  | 6.1633 | 2201.671 | 6.9147 | 2237.444
75 | BRN10nov21_017.gcd | 2021-11-10 17:58 | 71 | Unknown | 0 | 6.033 | 59915 | 0.12 | ----- | ----- | ----- | ----- | 75 | BRN10nov21_017.gcd | 2021-11-10 17:58 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN10nov21_017.gcd | 2021-11-10 17:58 | 71 | Unknown | 0 | 12.204 | 14250 | 2.851 | ----- | ----- | ----- | ----- | 1 |  | 185.7332 | 2664.0338 | 157.0309 | 2717.4402
76 | BRN10nov21_018.gcd | 2021-11-10 18:28 | 111 | Unknown | 0 | 6.06 | 4147 | 0.004 | ----- | ----- | ----- | ----- | 76 | BRN10nov21_018.gcd | 2021-11-10 18:28 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN10nov21_018.gcd | 2021-11-10 18:28 | 111 | Unknown | 0 | 12.2 | 11755 | 2.355 | ----- | ----- | ----- | ----- | 1 |  | 7.2121 | 2205.5334 | 8.1424 | 2241.4512