## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN19oct21_001.gcd | 2021-10-19 10:34 | air | Unknown | 0 | 6.081 | 2331 | 0 | ----- | ----- | ----- | ----- | 39 | BRN19oct21_001.gcd | 2021-10-19 10:34 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN19oct21_001.gcd | 2021-10-19 10:34 | air | Unknown | 0 | 12.246 | 3300 | 0.668 | ----- | ----- | ----- | ----- | 1 |  | 2.0498 | 645.9664 | 1.8815 | 626.9249
40 | BRN19oct21_002.gcd | 2021-10-19 11:05 | air + 100 | Unknown | 0 | 6.022 | 839038 | 1.746 | ----- | ----- | ----- | ----- | 40 | BRN19oct21_002.gcd | 2021-10-19 11:05 | air + 100 | Unknown | 0 | 5.974 | 7478 | 2.122 | ----- | ----- | ----- | ----- | 40 | BRN19oct21_002.gcd | 2021-10-19 11:05 | air + 100 | Unknown | 0 | 12.211 | 9354 | 1.876 | ----- | ----- | ----- | ----- | 1 |  | 1979.7559 | 1763.5694 | 2202.3369 | 1783.2041
41 | BRN19oct21_003.gcd | 2021-10-19 11:35 | 166 | Unknown | 0 | 6.061 | 2100 | 0 | ----- | ----- | ----- | ----- | 41 | BRN19oct21_003.gcd | 2021-10-19 11:35 | 166 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN19oct21_003.gcd | 2021-10-19 11:35 | 166 | Unknown | 0 | 11.981 | 231298 | 44.618 | ----- | ----- | ----- | ----- | 1 |  | 1.4032 | 39559.3617 | 1.0577 | 43350.4297
42 | BRN19oct21_004.gcd | 2021-10-19 12:06 | 97 | Unknown | 0 | 6.063 | 2374 | 0 | ----- | ----- | ----- | ----- | 42 | BRN19oct21_004.gcd | 2021-10-19 12:06 | 97 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN19oct21_004.gcd | 2021-10-19 12:06 | 97 | Unknown | 0 | 11.996 | 216411 | 41.839 | ----- | ----- | ----- | ----- | 1 |  | 2.1704 | 37217.6767 | 2.0342 | 40612.4089
43 | BRN19oct21_005.gcd | 2021-10-19 12:36 | 99 | Unknown | 0 | 6.031 | 9888 | 0.016 | ----- | ----- | ----- | ----- | 43 | BRN19oct21_005.gcd | 2021-10-19 12:36 | 99 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN19oct21_005.gcd | 2021-10-19 12:36 | 99 | Unknown | 0 | 12.179 | 15361 | 3.073 | ----- | ----- | ----- | ----- | 1 |  | 24.4537 | 2867.9482 | 25.4209 | 2929.3285
44 | BRN19oct21_006.gcd | 2021-10-19 13:07 | 187 | Unknown | 0 | 6.04 | 7938 | 0.012 | ----- | ----- | ----- | ----- | 44 | BRN19oct21_006.gcd | 2021-10-19 13:07 | 187 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN19oct21_006.gcd | 2021-10-19 13:07 | 187 | Unknown | 0 | 12.183 | 14018 | 2.805 | ----- | ----- | ----- | ----- | 1 |  | 18.4403 | 2621.4326 | 19.9804 | 2673.1884
45 | BRN19oct21_007.gcd | 2021-10-19 13:37 | 170 | Unknown | 0 | 6.076 | 2387 | 0 | ----- | ----- | ----- | ----- | 45 | BRN19oct21_007.gcd | 2021-10-19 13:37 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN19oct21_007.gcd | 2021-10-19 13:37 | 170 | Unknown | 0 | 11.987 | 228990 | 44.188 | ----- | ----- | ----- | ----- | 1 |  | 2.2069 | 39198.1419 | 2.0803 | 42926.4138
46 | BRN19oct21_008.gcd | 2021-10-19 14:08 | 208 | Unknown | 0 | 6.06 | 3321 | 0.002 | ----- | ----- | ----- | ----- | 46 | BRN19oct21_008.gcd | 2021-10-19 14:08 | 208 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN19oct21_008.gcd | 2021-10-19 14:08 | 208 | Unknown | 0 | 11.989 | 225120 | 43.466 | ----- | ----- | ----- | ----- | 1 |  | 4.8467 | 38590.9563 | 5.3421 | 42215.0452
47 | BRN19oct21_009.gcd | 2021-10-19 14:39 | 133 | Unknown | 0 | 6.047 | 6092 | 0.008 | ----- | ----- | ----- | ----- | 47 | BRN19oct21_009.gcd | 2021-10-19 14:39 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN19oct21_009.gcd | 2021-10-19 14:39 | 133 | Unknown | 0 | 12.193 | 13752 | 2.752 | ----- | ----- | ----- | ----- | 1 |  | 12.8965 | 2572.5799 | 14.424 | 2622.4493
48 | BRN19oct21_010.gcd | 2021-10-19 15:09 | 73 | Unknown | 0 | 6.035 | 7474 | 0.011 | ----- | ----- | ----- | ----- | 48 | BRN19oct21_010.gcd | 2021-10-19 15:09 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN19oct21_010.gcd | 2021-10-19 15:09 | 73 | Unknown | 0 | 12.185 | 13316 | 2.665 | ----- | ----- | ----- | ----- | 1 |  | 17.0332 | 2492.4863 | 18.621 | 2539.278
49 | BRN19oct21_011.gcd | 2021-10-19 15:40 | 181 | Unknown | 0 | 6.018 | 2432753 | 5.08 | ----- | ----- | ----- | ----- | 49 | BRN19oct21_011.gcd | 2021-10-19 15:40 | 181 | Unknown | 0 | 5.971 | 21693 | 5.927 | ----- | ----- | ----- | ----- | 49 | BRN19oct21_011.gcd | 2021-10-19 15:40 | 181 | Unknown | 0 | 12.005 | 201981 | 39.134 | ----- | ----- | ----- | ----- | 1 |  | 4680.5466 | 34921.3221 | 5838.7405 | 37951.561
50 | BRN19oct21_012.gcd | 2021-10-19 16:10 | 82 | Unknown | 0 | 6.039 | 8220 | 0.012 | ----- | ----- | ----- | ----- | 50 | BRN19oct21_012.gcd | 2021-10-19 16:10 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN19oct21_012.gcd | 2021-10-19 16:10 | 82 | Unknown | 0 | 12.189 | 14852 | 2.971 | ----- | ----- | ----- | ----- | 1 |  | 19.2999 | 2774.5449 | 20.7945 | 2832.2577
51 | BRN19oct21_013.gcd | 2021-10-19 16:41 | 159 | Unknown | 0 | 6.02 | 2751292 | 5.748 | ----- | ----- | ----- | ----- | 51 | BRN19oct21_013.gcd | 2021-10-19 16:41 | 159 | Unknown | 0 | 5.974 | 23608 | 6.439 | ----- | ----- | ----- | ----- | 51 | BRN19oct21_013.gcd | 2021-10-19 16:41 | 159 | Unknown | 0 | 12.017 | 195910 | 37.993 | ----- | ----- | ----- | ----- | 1 |  | 5044.4901 | 33947.3857 | 6328.0054 | 36830.0634
52 | BRN19oct21_014.gcd | 2021-10-19 17:11 | 130 | Unknown | 0 | 6.039 | 8091 | 0.012 | ----- | ----- | ----- | ----- | 52 | BRN19oct21_014.gcd | 2021-10-19 17:11 | 130 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN19oct21_014.gcd | 2021-10-19 17:11 | 130 | Unknown | 0 | 12.188 | 16510 | 3.301 | ----- | ----- | ----- | ----- | 1 |  | 18.9063 | 3078.6741 | 20.4232 | 3148.4218
53 | BRN19oct21_015.gcd | 2021-10-19 17:42 | 51 | Unknown | 0 | 6.057 | 1540 | -0.002 | ----- | ----- | ----- | ----- | 53 | BRN19oct21_015.gcd | 2021-10-19 17:42 | 51 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN19oct21_015.gcd | 2021-10-19 17:42 | 51 | Unknown | 0 | 11.988 | 226255 | 43.678 | ----- | ----- | ----- | ----- | 1 |  | -0.1549 | 38769.2275 | -0.96501 | 42423.7271
54 | BRN19oct21_016.gcd | 2021-10-19 18:13 | 10 | Unknown | 0 | 6.069 | 1495 | -0.002 | ----- | ----- | ----- | ----- | 54 | BRN19oct21_016.gcd | 2021-10-19 18:13 | 10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN19oct21_016.gcd | 2021-10-19 18:13 | 10 | Unknown | 0 | 11.993 | 224049 | 43.266 | ----- | ----- | ----- | ----- | 1 |  | -0.27953 | 38422.589 | -1.1291 | 42018.0921