## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN23nov21_001.gcd | 2021-11-23 10:54 | air | Unknown | 0 | 6.1 | 1741 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN23nov21_001.gcd | 2021-11-23 10:54 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN23nov21_001.gcd | 2021-11-23 10:54 | air | Unknown | 0 | 12.297 | 2208 | 0.45 | ----- | ----- | ----- | ----- | 1 |  | 0.40282 | 443.8872 | -0.23481 | 418.2323
40 | BRN23nov21_002.gcd | 2021-11-23 11:25 | air + 100 | Unknown | 0 | 6.04 | 524154 | 1.088 | ----- | ----- | ----- | ----- | 40 | BRN23nov21_002.gcd | 2021-11-23 11:25 | air + 100 | Unknown | 0 | 5.989 | 4397 | 1.295 | ----- | ----- | ----- | ----- | 40 | BRN23nov21_002.gcd | 2021-11-23 11:25 | air + 100 | Unknown | 0 | 12.255 | 7054 | 1.418 | ----- | ----- | ----- | ----- | 1 |  | 1422.5972 | 1339.5182 | 1347.5189 | 1344.0577
41 | BRN23nov21_003.gcd | 2021-11-23 11:55 | 115 | Unknown | 0 | 6.056 | 4029 | 0.004 | ----- | ----- | ----- | ----- | 41 | BRN23nov21_003.gcd | 2021-11-23 11:55 | 115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN23nov21_003.gcd | 2021-11-23 11:55 | 115 | Unknown | 0 | 12.198 | 37416 | 7.444 | ----- | ----- | ----- | ----- | 1 |  | 6.8724 | 6883.8811 | 7.7472 | 7127.3179
42 | BRN23nov21_004.gcd | 2021-11-23 12:26 | 211 | Unknown | 0 | 6.041 | 16428 | 0.029 | ----- | ----- | ----- | ----- | 42 | BRN23nov21_004.gcd | 2021-11-23 12:26 | 211 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN23nov21_004.gcd | 2021-11-23 12:26 | 211 | Unknown | 0 | 12.219 | 13505 | 2.703 | ----- | ----- | ----- | ----- | 1 |  | 51.8503 | 2527.2087 | 42.8441 | 2575.3324
43 | BRN23nov21_005.gcd | 2021-11-23 12:56 | 213 | Unknown | 0 | 6.052 | 9196 | 0.014 | ----- | ----- | ----- | ----- | 43 | BRN23nov21_005.gcd | 2021-11-23 12:56 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN23nov21_005.gcd | 2021-11-23 12:56 | 213 | Unknown | 0 | 12.222 | 6912 | 1.389 | ----- | ----- | ----- | ----- | 1 |  | 22.3012 | 1313.3159 | 23.5407 | 1316.9396
44 | BRN23nov21_006.gcd | 2021-11-23 13:27 | 68 | Unknown | 0 | 6.049 | 14378 | 0.025 | ----- | ----- | ----- | ----- | 44 | BRN23nov21_006.gcd | 2021-11-23 13:27 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN23nov21_006.gcd | 2021-11-23 13:27 | 68 | Unknown | 0 | 12.222 | 10720 | 2.149 | ----- | ----- | ----- | ----- | 1 |  | 38.9144 | 2015.1046 | 37.4499 | 2043.9374
45 | BRN23nov21_007.gcd | 2021-11-23 13:58 | 199 | Unknown | 0 | 6.053 | 9372 | 0.015 | ----- | ----- | ----- | ----- | 45 | BRN23nov21_007.gcd | 2021-11-23 13:58 | 199 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN23nov21_007.gcd | 2021-11-23 13:58 | 199 | Unknown | 0 | 12.231 | 6895 | 1.386 | ----- | ----- | ----- | ----- | 1 |  | 22.8467 | 1310.1788 | 24.0242 | 1313.693
46 | BRN23nov21_008.gcd | 2021-11-23 14:28 | 24 | Unknown | 0 | 6.043 | 14988 | 0.026 | ----- | ----- | ----- | ----- | 46 | BRN23nov21_008.gcd | 2021-11-23 14:28 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN23nov21_008.gcd | 2021-11-23 14:28 | 24 | Unknown | 0 | 12.22 | 12333 | 2.47 | ----- | ----- | ----- | ----- | 1 |  | 40.9451 | 2311.8207 | 39.0551 | 2351.7384
47 | BRN23nov21_009.gcd | 2021-11-23 14:59 | 154 | Unknown | 0 | 6.036 | 311041 | 0.644 | ----- | ----- | ----- | ----- | 47 | BRN23nov21_009.gcd | 2021-11-23 14:59 | 154 | Unknown | 0 | 5.98 | 3414 | 1.032 | ----- | ----- | ----- | ----- | 47 | BRN23nov21_009.gcd | 2021-11-23 14:59 | 154 | Unknown | 0 | 12.198 | 27661 | 5.515 | ----- | ----- | ----- | ----- | 1 |  | 898.4855 | 5115.1521 | 807.4853 | 5272.4842
48 | BRN23nov21_010.gcd | 2021-11-23 15:30 | 170 | Unknown | 0 | 6.051 | 10667 | 0.017 | ----- | ----- | ----- | ----- | 48 | BRN23nov21_010.gcd | 2021-11-23 15:30 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN23nov21_010.gcd | 2021-11-23 15:30 | 170 | Unknown | 0 | 12.225 | 6623 | 1.332 | ----- | ----- | ----- | ----- | 1 |  | 26.9012 | 1259.9808 | 27.6827 | 1261.7464
49 | BRN23nov21_011.gcd | 2021-11-23 16:00 | 45 | Unknown | 0 | 6.053 | 10386 | 0.017 | ----- | ----- | ----- | ----- | 49 | BRN23nov21_011.gcd | 2021-11-23 16:00 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN23nov21_011.gcd | 2021-11-23 16:00 | 45 | Unknown | 0 | 12.233 | 7369 | 1.48 | ----- | ----- | ----- | ----- | 1 |  | 26.0153 | 1397.6341 | 26.943 | 1404.2118
50 | BRN23nov21_012.gcd | 2021-11-23 16:31 | 149 | Unknown | 0 | 6.052 | 16572 | 0.03 | ----- | ----- | ----- | ----- | 50 | BRN23nov21_012.gcd | 2021-11-23 16:31 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN23nov21_012.gcd | 2021-11-23 16:31 | 149 | Unknown | 0 | 12.229 | 11000 | 2.204 | ----- | ----- | ----- | ----- | 1 |  | 52.2987 | 2066.6348 | 43.2229 | 2097.3745
51 | BRN23nov21_013.gcd | 2021-11-23 17:01 | 82 | Unknown | 0 | 6.056 | 10814 | 0.018 | ----- | ----- | ----- | ----- | 51 | BRN23nov21_013.gcd | 2021-11-23 17:01 | 82 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN23nov21_013.gcd | 2021-11-23 17:01 | 82 | Unknown | 0 | 12.234 | 8055 | 1.617 | ----- | ----- | ----- | ----- | 1 |  | 27.3659 | 1524.1543 | 28.0697 | 1535.203
52 | BRN23nov21_014.gcd | 2021-11-23 17:32 | 127 | Unknown | 0 | 6.037 | 107215 | 0.219 | ----- | ----- | ----- | ----- | 52 | BRN23nov21_014.gcd | 2021-11-23 17:32 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN23nov21_014.gcd | 2021-11-23 17:32 | 127 | Unknown | 0 | 12.218 | 8867 | 1.779 | ----- | ----- | ----- | ----- | 1 |  | 327.8503 | 1673.8366 | 280.7107 | 1690.234
53 | BRN23nov21_015.gcd | 2021-11-23 18:03 | 94 | Unknown | 0 | 6.045 | 69684 | 0.14 | ----- | ----- | ----- | ----- | 53 | BRN23nov21_015.gcd | 2021-11-23 18:03 | 94 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN23nov21_015.gcd | 2021-11-23 18:03 | 94 | Unknown | 0 | 12.213 | 26162 | 5.218 | ----- | ----- | ----- | ----- | 1 |  | 215.3843 | 4842.3019 | 182.6192 | 4987.1872
54 | BRN23nov21_016.gcd | 2021-11-23 18:33 | 68 | Unknown | 0 | 6.044 | 18068 | 0.033 | ----- | ----- | ----- | ----- | 54 | BRN23nov21_016.gcd | 2021-11-23 18:33 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN23nov21_016.gcd | 2021-11-23 18:33 | 68 | Unknown | 0 | 12.22 | 12586 | 2.52 | ----- | ----- | ----- | ----- | 1 |  | 56.9553 | 2358.3312 | 47.1586 | 2400.0095
55 | BRN23nov21_017.gcd | 2021-11-23 19:04 | 201 | Unknown | 0 | 6.053 | 16612 | 0.03 | ----- | ----- | ----- | ----- | 55 | BRN23nov21_017.gcd | 2021-11-23 19:04 | 201 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN23nov21_017.gcd | 2021-11-23 19:04 | 201 | Unknown | 0 | 12.231 | 12482 | 2.499 | ----- | ----- | ----- | ----- | 1 |  | 52.4233 | 2339.2132 | 43.3282 | 2380.1671
56 | BRN23nov21_018.gcd | 2021-11-23 19:34 | 182 | Unknown | 0 | 6.049 | 93143 | 0.189 | ----- | ----- | ----- | ----- | 56 | BRN23nov21_018.gcd | 2021-11-23 19:34 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN23nov21_018.gcd | 2021-11-23 19:34 | 182 | Unknown | 0 | 12.236 | 8362 | 1.679 | ----- | ----- | ----- | ----- | 1 |  | 285.9513 | 1580.7557 | 243.9718 | 1593.8195
57 | BRN23nov21_019.gcd | 2021-11-23 20:05 | 16 | Unknown | 0 | 6.085 | 1981 | -0.001 | ----- | ----- | ----- | ----- | 57 | BRN23nov21_019.gcd | 2021-11-23 20:05 | 16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN23nov21_019.gcd | 2021-11-23 20:05 | 16 | Unknown | 0 | 12.184 | 28460 | 5.673 | ----- | ----- | ----- | ----- | 1 |  | 1.071 | 5260.4721 | 0.63095 | 5424.5239
58 | BRN23nov21_020.gcd | 2021-11-23 20:36 | 160 | Unknown | 0 | 6.051 | 18146 | 0.033 | ----- | ----- | ----- | ----- | 58 | BRN23nov21_020.gcd | 2021-11-23 20:36 | 160 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN23nov21_020.gcd | 2021-11-23 20:36 | 160 | Unknown | 0 | 12.233 | 11018 | 2.208 | ----- | ----- | ----- | ----- | 1 |  | 57.198 | 2069.9472 | 47.3638 | 2100.8097
59 | BRN23nov21_021.gcd | 2021-11-23 21:06 | 167 | Unknown | 0 | 6.045 | 148934 | 0.306 | ----- | ----- | ----- | ----- | 59 | BRN23nov21_021.gcd | 2021-11-23 21:06 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN23nov21_021.gcd | 2021-11-23 21:06 | 167 | Unknown | 0 | 12.138 | 95058 | 18.727 | ----- | ----- | ----- | ----- | 1 |  | 450.1675 | 17091.392 | 389.3483 | 18024.3059
60 | BRN23nov21_022.gcd | 2021-11-23 21:37 | 204 | Unknown | 0 | 6.048 | 69176 | 0.139 | ----- | ----- | ----- | ----- | 60 | BRN23nov21_022.gcd | 2021-11-23 21:37 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN23nov21_022.gcd | 2021-11-23 21:37 | 204 | Unknown | 0 | 12.209 | 25859 | 5.157 | ----- | ----- | ----- | ----- | 1 |  | 213.8462 | 4787.1151 | 181.2891 | 4929.5099
61 | BRN23nov21_023.gcd | 2021-11-23 22:07 | 76 | Unknown | 0 | 6.055 | 10634 | 0.017 | ----- | ----- | ----- | ----- | 61 | BRN23nov21_023.gcd | 2021-11-23 22:07 | 76 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN23nov21_023.gcd | 2021-11-23 22:07 | 76 | Unknown | 0 | 12.232 | 6987 | 1.404 | ----- | ----- | ----- | ----- | 1 |  | 26.797 | 1327.1555 | 27.5958 | 1331.2626
62 | BRN23nov21_024.gcd | 2021-11-23 22:38 | 17 | Unknown | 0 | 6.052 | 17353 | 0.031 | ----- | ----- | ----- | ----- | 62 | BRN23nov21_024.gcd | 2021-11-23 22:38 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN23nov21_024.gcd | 2021-11-23 22:38 | 17 | Unknown | 0 | 12.231 | 12931 | 2.589 | ----- | ----- | ----- | ----- | 1 |  | 54.7302 | 2421.7416 | 45.2776 | 2465.8304
63 | BRN23nov21_025.gcd | 2021-11-23 23:09 | 196 | Unknown | 0 | 6.052 | 17661 | 0.032 | ----- | ----- | ----- | ----- | 63 | BRN23nov21_025.gcd | 2021-11-23 23:09 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN23nov21_025.gcd | 2021-11-23 23:09 | 196 | Unknown | 0 | 12.228 | 14993 | 2.999 | ----- | ----- | ----- | ----- | 1 |  | 55.6888 | 2800.4221 | 46.0879 | 2859.1485
64 | BRN23nov21_026.gcd | 2021-11-23 23:39 | 141 | Unknown | 0 | 6.048 | 331316 | 0.686 | ----- | ----- | ----- | ----- | 64 | BRN23nov21_026.gcd | 2021-11-23 23:39 | 141 | Unknown | 0 | 6 | 2885 | 0.889 | ----- | ----- | ----- | ----- | 64 | BRN23nov21_026.gcd | 2021-11-23 23:39 | 141 | Unknown | 0 | 12.215 | 29505 | 5.88 | ----- | ----- | ----- | ----- | 1 |  | 951.5392 | 5450.4129 | 859.3353 | 5623.3429
65 | BRN23nov21_027.gcd | 2021-11-24 00:10 | 148 | Unknown | 0 | 6.042 | 17369 | 0.031 | ----- | ----- | ----- | ----- | 65 | BRN23nov21_027.gcd | 2021-11-24 00:10 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN23nov21_027.gcd | 2021-11-24 00:10 | 148 | Unknown | 0 | 12.214 | 16074 | 3.214 | ----- | ----- | ----- | ----- | 1 |  | 54.78 | 2998.7315 | 45.3197 | 3065.2896
66 | BRN23nov21_028.gcd | 2021-11-24 00:40 | 46 | Unknown | 0 | 6.088 | 1913 | -0.001 | ----- | ----- | ----- | ----- | 66 | BRN23nov21_028.gcd | 2021-11-24 00:40 | 46 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN23nov21_028.gcd | 2021-11-24 00:40 | 46 | Unknown | 0 | 12.204 | 39573 | 7.87 | ----- | ----- | ----- | ----- | 1 |  | 0.88143 | 7273.365 | 0.38633 | 7537.0361
67 | BRN23nov21_029.gcd | 2021-11-24 01:11 | 147 | Unknown | 0 | 6.045 | 19161 | 0.035 | ----- | ----- | ----- | ----- | 67 | BRN23nov21_029.gcd | 2021-11-24 01:11 | 147 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN23nov21_029.gcd | 2021-11-24 01:11 | 147 | Unknown | 0 | 12.222 | 12914 | 2.585 | ----- | ----- | ----- | ----- | 1 |  | 60.3552 | 2418.6174 | 50.0337 | 2462.5871
68 | BRN23nov21_030.gcd | 2021-11-24 01:42 | 25 | Unknown | 0 | 6.046 | 11141 | 0.018 | ----- | ----- | ----- | ----- | 68 | BRN23nov21_030.gcd | 2021-11-24 01:42 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN23nov21_030.gcd | 2021-11-24 01:42 | 25 | Unknown | 0 | 12.218 | 7333 | 1.473 | ----- | ----- | ----- | ----- | 1 |  | 28.403 | 1390.9929 | 28.9304 | 1397.3373
69 | BRN23nov21_031.gcd | 2021-11-24 02:12 | 78 | Unknown | 0 | 6.055 | 17555 | 0.032 | ----- | ----- | ----- | ----- | 69 | BRN23nov21_031.gcd | 2021-11-24 02:12 | 78 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN23nov21_031.gcd | 2021-11-24 02:12 | 78 | Unknown | 0 | 12.241 | 11277 | 2.259 | ----- | ----- | ----- | ----- | 1 |  | 55.3589 | 2117.6033 | 45.8091 | 2150.2366
70 | BRN23nov21_032.gcd | 2021-11-24 02:43 | 112 | Unknown | 0 | 6.045 | 150469 | 0.309 | ----- | ----- | ----- | ----- | 70 | BRN23nov21_032.gcd | 2021-11-24 02:43 | 112 | Unknown | 0 | 5.998 | 1033 | 0.392 | ----- | ----- | ----- | ----- | 70 | BRN23nov21_032.gcd | 2021-11-24 02:43 | 112 | Unknown | 0 | 12.261 | 3781 | 0.764 | ----- | ----- | ----- | ----- | 2 | CO2 pk shouldered | 454.6138 | 734.93 | 393.3374 | 718.8367
71 | BRN23nov21_033.gcd | 2021-11-24 03:13 | 34 | Unknown | 0 | 6.057 | 10700 | 0.018 | ----- | ----- | ----- | ----- | 71 | BRN23nov21_033.gcd | 2021-11-24 03:13 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN23nov21_033.gcd | 2021-11-24 03:13 | 34 | Unknown | 0 | 12.243 | 8315 | 1.669 | ----- | ----- | ----- | ----- | 1 |  | 27.0054 | 1572.0911 | 27.7696 | 1584.8458
72 | BRN23nov21_034.gcd | 2021-11-24 03:44 | 77 | Unknown | 0 | 6.085 | 2692 | 0.001 | ----- | ----- | ----- | ----- | 72 | BRN23nov21_034.gcd | 2021-11-24 03:44 | 77 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN23nov21_034.gcd | 2021-11-24 03:44 | 77 | Unknown | 0 | 12.233 | 7210 | 1.449 | ----- | ----- | ----- | ----- | 1 |  | 3.0649 | 1368.301 | 3.1566 | 1373.8487
73 | BRN23nov21_035.gcd | 2021-11-24 04:15 | 129 | Unknown | 0 | 6.09 | 2392 | 0 | ----- | ----- | ----- | ----- | 73 | BRN23nov21_035.gcd | 2021-11-24 04:15 | 129 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN23nov21_035.gcd | 2021-11-24 04:15 | 129 | Unknown | 0 | 12.22 | 7568 | 1.52 | ----- | ----- | ----- | ----- | 1 |  | 2.2209 | 1434.3421 | 2.098 | 1442.2123
74 | BRN23nov21_036.gcd | 2021-11-24 04:45 | 59 | Unknown | 0 | 6.068 | 4720 | 0.005 | ----- | ----- | ----- | ----- | 74 | BRN23nov21_036.gcd | 2021-11-24 04:45 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN23nov21_036.gcd | 2021-11-24 04:45 | 59 | Unknown | 0 | 12.204 | 33317 | 6.634 | ----- | ----- | ----- | ----- | 1 |  | 8.87 | 6142.1257 | 10.0385 | 6348.3034
75 | BRN23nov21_037.gcd | 2021-11-24 05:16 | 193 recapped | Unknown | 0 | 6.054 | 17243 | 0.031 | ----- | ----- | ----- | ----- | 75 | BRN23nov21_037.gcd | 2021-11-24 05:16 | 193 recapped | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN23nov21_037.gcd | 2021-11-24 05:16 | 193 recapped | Unknown | 0 | 12.227 | 13615 | 2.725 | ----- | ----- | ----- | ----- | 2 | recapped in lab | 54.3878 | 2547.4154 | 44.9883 | 2596.3159
|  |  | 181 recap | [35 empty] | 3 | didn't run-replacement cap was not magnetic