## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
43 | BRN05apr23_001.gcd | 2023-04-05 10:39 | QC outside air | Unknown | 0 | 6.064 | 2602 | -0.002 | ----- | ----- | ----- | ----- | 43 | BRN05apr23_001.gcd | 2023-04-05 10:39 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN05apr23_001.gcd | 2023-04-05 10:39 | QC outside air | Unknown | 0 | 12.244 | 2562 | 0.348 | ----- | ----- | ----- | ----- | 1 |  | 43 | 3.9775 | 600.4142 | 2.8113 | 509.4128 | 2.8401 | 485.8897 | 1.3511 | 425.6979 | 3.9775 | 600.4142 | 43 | BRN05apr23_001.gcd | 2023-04-05 10:39 | QC outside air | Unknown | 0 | 2.709 | 5169325 | 0 | ----- | ----- | ----- | -----
44 | BRN05apr23_002.gcd | 2023-04-05 11:09 | QC outside air | Unknown | 0 | 6.049 | 2929 | -0.001 | ----- | ----- | ----- | ----- | 44 | BRN05apr23_002.gcd | 2023-04-05 11:09 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN05apr23_002.gcd | 2023-04-05 11:09 | QC outside air | Unknown | 0 | 12.194 | 3229 | 0.617 | ----- | ----- | ----- | ----- | 1 |  | 44 | 3.396 | 761.4005 | 3.7342 | 632.8321 | 3.9854 | 613.3573 | 1.887 | 563.4682 | 3.396 | 761.4005 | 44 | BRN05apr23_002.gcd | 2023-04-05 11:09 | QC outside air | Unknown | 0 | 2.703 | 5167469 | 0 | ----- | ----- | ----- | -----
45 | BRN05apr23_003.gcd | 2023-04-05 11:40 | QC air + 100 | Unknown | 0 | 6.004 | 187648 | 0.352 | ----- | ----- | ----- | ----- | 45 | BRN05apr23_003.gcd | 2023-04-05 11:40 | QC air + 100 | Unknown | 0 | 5.95 | 1320 | 0.398 | ----- | ----- | ----- | ----- | 45 | BRN05apr23_003.gcd | 2023-04-05 11:40 | QC air + 100 | Unknown | 0 | 12.202 | 3828 | 0.858 | ----- | ----- | ----- | ----- | 1 |  | 45 | 505.0639 | 905.6285 | 561.1327 | 743.6214 | 489.7843 | 727.8173 | 435.2915 | 687.1736 | 505.0639 | 905.6285 | 45 | BRN05apr23_003.gcd | 2023-04-05 11:40 | QC air + 100 | Unknown | 0 | 2.707 | 5189510 | 0 | ----- | ----- | ----- | -----
46 | BRN05apr23_004.gcd | 2023-04-05 12:10 | QC air + 100 | Unknown | 0 | 5.988 | 1004929 | 1.92 | ----- | ----- | ----- | ----- | 46 | BRN05apr23_004.gcd | 2023-04-05 12:10 | QC air + 100 | Unknown | 0 | 5.945 | 7983 | 1.893 | ----- | ----- | ----- | ----- | 46 | BRN05apr23_004.gcd | 2023-04-05 12:10 | QC air + 100 | Unknown | 0 | 12.179 | 7403 | 2.285 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2084.8784 | 1759.6157 | 2075.681 | 1403.9061 | 2331.6622 | 1410.7045 | 2198.1642 | 1425.1015 | 2084.8784 | 1759.6157 | 46 | BRN05apr23_004.gcd | 2023-04-05 12:10 | QC air + 100 | Unknown | 0 | 2.687 | 5489383 | 0 | ----- | ----- | ----- | -----
47 | BRN05apr23_005.gcd | 2023-04-05 12:41 | QC reference yellow tank | Unknown | 0 | 6.04 | 4540 | 0.002 | ----- | ----- | ----- | ----- | 47 | BRN05apr23_005.gcd | 2023-04-05 12:41 | QC reference yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN05apr23_005.gcd | 2023-04-05 12:41 | QC reference yellow tank | Unknown | 0 | 12.194 | 1561 | -0.057 | ----- | ----- | ----- | ----- | 1 |  | 47 | 2.2172 | 358.0526 | 8.3477 | 324.0864 | 9.447 | 294.5656 | 4.9803 | 218.8965 | 2.2172 | 358.0526 | 47 | BRN05apr23_005.gcd | 2023-04-05 12:41 | QC reference yellow tank | Unknown | 0 | 2.704 | 5248344 | 0 | ----- | ----- | ----- | -----
48 | BRN05apr23_006.gcd | 2023-04-05 13:11 | QC reference yellow tank | Unknown | 0 | 6.036 | 4435 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN05apr23_006.gcd | 2023-04-05 13:11 | QC reference yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN05apr23_006.gcd | 2023-04-05 13:11 | QC reference yellow tank | Unknown | 0 | 12.187 | 2583 | 0.356 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.2086 | 605.489 | 8.0436 | 513.2994 | 9.1002 | 489.9031 | 4.7557 | 430.0358 | 2.2086 | 605.489 | 48 | BRN05apr23_006.gcd | 2023-04-05 13:11 | QC reference yellow tank | Unknown | 0 | 2.702 | 5303189 | 0 | ----- | ----- | ----- | -----
49 | BRN05apr23_007.gcd | 2023-04-05 13:42 | 31 | Unknown | 0 | 6.017 | 8906 | 0.01 | ----- | ----- | ----- | ----- | 49 | BRN05apr23_007.gcd | 2023-04-05 13:42 | 31 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN05apr23_007.gcd | 2023-04-05 13:42 | 31 | Unknown | 0 | 12.152 | 15127 | 5.307 | ----- | ----- | ----- | ----- | 1 |  | 49 | 13.114 | 3564.9004 | 21.4052 | 2825.0124 | 22.7362 | 2884.7037 | 17.1554 | 3017.2113 | 13.114 | 3564.9004 | 49 | BRN05apr23_007.gcd | 2023-04-05 13:42 | 31 | Unknown | 0 | 2.815 | 1797951 | 0 | ----- | ----- | ----- | -----
50 | BRN05apr23_008.gcd | 2023-04-05 14:13 | 408 | Unknown | 0 | 6.012 | 11067 | 0.014 | ----- | ----- | ----- | ----- | 50 | BRN05apr23_008.gcd | 2023-04-05 14:13 | 408 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN05apr23_008.gcd | 2023-04-05 14:13 | 408 | Unknown | 0 | 12.159 | 7889 | 2.477 | ----- | ----- | ----- | ----- | 1 |  | 50 | 23.0637 | 1874.81 | 28.1679 | 1493.544 | 28.7356 | 1503.5068 | 23.5055 | 1525.368 | 23.0637 | 1874.81 | 50 | BRN05apr23_008.gcd | 2023-04-05 14:13 | 408 | Unknown | 0 | 2.857 | 907344 | 0 | ----- | ----- | ----- | -----
51 | BRN05apr23_009.gcd | 2023-04-05 14:43 | 372 | Unknown | 0 | 6.012 | 14637 | 0.021 | ----- | ----- | ----- | ----- | 51 | BRN05apr23_009.gcd | 2023-04-05 14:43 | 372 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN05apr23_009.gcd | 2023-04-05 14:43 | 372 | Unknown | 0 | 12.165 | 9337 | 3.049 | ----- | ----- | ----- | ----- | 1 |  | 51 | 33.7825 | 2216.7454 | 39.7747 | 1760.4375 | 38.1315 | 1779.9589 | 31.8804 | 1824.0331 | 33.7825 | 2216.7454 | 51 | BRN05apr23_009.gcd | 2023-04-05 14:43 | 372 | Unknown | 0 | 2.857 | 951750 | 0 | ----- | ----- | ----- | -----
52 | BRN05apr23_010.gcd | 2023-04-05 15:14 | 282 | Unknown | 0 | 6.008 | 19709 | 0.031 | ----- | ----- | ----- | ----- | 52 | BRN05apr23_010.gcd | 2023-04-05 15:14 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN05apr23_010.gcd | 2023-04-05 15:14 | 282 | Unknown | 0 | 12.159 | 6444 | 1.904 | ----- | ----- | ----- | ----- | 1 |  | 52 | 48.9419 | 1531.6764 | 62.0591 | 1226.9411 | 51.4752 | 1227.5596 | 43.7754 | 1227.2151 | 48.9419 | 1531.6764 | 52 | BRN05apr23_010.gcd | 2023-04-05 15:14 | 282 | Unknown | 0 | 2.859 | 876342 | 0 | ----- | ----- | ----- | -----
53 | BRN05apr23_011.gcd | 2023-04-05 15:44 | 234 | Unknown | 0 | 6.021 | 8293 | 0.009 | ----- | ----- | ----- | ----- | 53 | BRN05apr23_011.gcd | 2023-04-05 15:44 | 234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN05apr23_011.gcd | 2023-04-05 15:44 | 234 | Unknown | 0 | 12.142 | 15120 | 5.304 | ----- | ----- | ----- | ----- | 1 |  | 53 | 10.3417 | 3563.289 | 19.523 | 2823.7279 | 21.0037 | 2883.3687 | 15.1117 | 3015.7698 | 10.3417 | 3563.289 | 53 | BRN05apr23_011.gcd | 2023-04-05 15:44 | 234 | Unknown | 0 | 2.85 | 1091525 | 0 | ----- | ----- | ----- | -----
54 | BRN05apr23_012.gcd | 2023-04-05 16:15 | 167 | Unknown | 0 | 6.015 | 11136 | 0.014 | ----- | ----- | ----- | ----- | 54 | BRN05apr23_012.gcd | 2023-04-05 16:15 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN05apr23_012.gcd | 2023-04-05 16:15 | 167 | Unknown | 0 | 12.16 | 8607 | 2.761 | ----- | ----- | ----- | ----- | 1 |  | 54 | 23.2713 | 2044.5999 | 28.3871 | 1625.9178 | 28.9173 | 1640.5959 | 23.6673 | 1673.4764 | 23.2713 | 2044.5999 | 54 | BRN05apr23_012.gcd | 2023-04-05 16:15 | 167 | Unknown | 0 | 2.85 | 1027931 | 0 | ----- | ----- | ----- | -----
55 | BRN05apr23_013.gcd | 2023-04-05 16:46 | 279 | Unknown | 0 | 6.014 | 8818 | 0.01 | ----- | ----- | ----- | ----- | 55 | BRN05apr23_013.gcd | 2023-04-05 16:46 | 279 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN05apr23_013.gcd | 2023-04-05 16:46 | 279 | Unknown | 0 | 12.142 | 14238 | 4.963 | ----- | ----- | ----- | ----- | 1 |  | 55 | 12.6911 | 3359.8911 | 21.134 | 2661.8304 | 22.4902 | 2715.1514 | 16.8553 | 2834.1212 | 12.6911 | 3359.8911 | 55 | BRN05apr23_013.gcd | 2023-04-05 16:46 | 279 | Unknown | 0 | 2.843 | 1047055 | 0 | ----- | ----- | ----- | -----
56 | BRN05apr23_014.gcd | 2023-04-05 17:16 | 14 | Unknown | 0 | 6.026 | 8204 | 0.009 | ----- | ----- | ----- | ----- | 56 | BRN05apr23_014.gcd | 2023-04-05 17:16 | 14 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN05apr23_014.gcd | 2023-04-05 17:16 | 14 | Unknown | 0 | 12.157 | 16242 | 5.736 | ----- | ----- | ----- | ----- | 1 |  | 56 | 9.973 | 3821.0077 | 19.2511 | 3029.5379 | 20.7485 | 3097.323 | 14.824 | 3246.7892 | 9.973 | 3821.0077 | 56 | BRN05apr23_014.gcd | 2023-04-05 17:16 | 14 | Unknown | 0 | 2.834 | 1449536 | 0 | ----- | ----- | ----- | -----
57 | BRN05apr23_015.gcd | 2023-04-05 17:47 | 314 | Unknown | 0 | 6.02 | 9309 | 0.011 | ----- | ----- | ----- | ----- | 57 | BRN05apr23_015.gcd | 2023-04-05 17:47 | 314 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN05apr23_015.gcd | 2023-04-05 17:47 | 314 | Unknown | 0 | 12.152 | 13769 | 4.781 | ----- | ----- | ----- | ----- | 1 |  | 57 | 15.1577 | 3251.4461 | 22.6513 | 2575.7023 | 23.8515 | 2625.6921 | 18.5584 | 2737.5141 | 15.1577 | 3251.4461 | 57 | BRN05apr23_015.gcd | 2023-04-05 17:47 | 314 | Unknown | 0 | 2.854 | 1018695 | 0 | ----- | ----- | ----- | -----
58 | BRN05apr23_016.gcd | 2023-04-05 18:17 | 195 | Unknown | 0 | 6.014 | 18702 | 0.029 | ----- | ----- | ----- | ----- | 58 | BRN05apr23_016.gcd | 2023-04-05 18:17 | 195 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN05apr23_016.gcd | 2023-04-05 18:17 | 195 | Unknown | 0 | 12.165 | 5655 | 1.589 | ----- | ----- | ----- | ----- | 1 |  | 58 | 45.9386 | 1343.5144 | 58.9277 | 1081.2597 | 48.8264 | 1076.858 | 41.4141 | 1064.3724 | 45.9386 | 1343.5144 | 58 | BRN05apr23_016.gcd | 2023-04-05 18:17 | 195 | Unknown | 0 | 2.854 | 1034749 | 0 | ----- | ----- | ----- | -----
59 | BRN05apr23_017.gcd | 2023-04-05 18:48 | 255 | Unknown | 0 | 6.011 | 21560 | 0.034 | ----- | ----- | ----- | ----- | 59 | BRN05apr23_017.gcd | 2023-04-05 18:48 | 255 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN05apr23_017.gcd | 2023-04-05 18:48 | 255 | Unknown | 0 | 12.161 | 5371 | 1.476 | ----- | ----- | ----- | ----- | 1 |  | 59 | 54.454 | 1275.6466 | 67.8108 | 1028.8026 | 56.3433 | 1022.6081 | 48.1154 | 1005.7495 | 54.454 | 1275.6466 | 59 | BRN05apr23_017.gcd | 2023-04-05 18:48 | 255 | Unknown | 0 | 2.856 | 977743 | 0 | ----- | ----- | ----- | -----
60 | BRN05apr23_018.gcd | 2023-04-05 19:18 | 358 | Unknown | 0 | 6.019 | 8715 | 0.01 | ----- | ----- | ----- | ----- | 60 | BRN05apr23_018.gcd | 2023-04-05 19:18 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN05apr23_018.gcd | 2023-04-05 19:18 | 358 | Unknown | 0 | 12.154 | 14285 | 4.981 | ----- | ----- | ----- | ----- | 1 |  | 60 | 12.2067 | 3370.7477 | 20.817 | 2670.4601 | 22.2011 | 2724.116 | 16.5069 | 2843.8019 | 12.2067 | 3370.7477 | 60 | BRN05apr23_018.gcd | 2023-04-05 19:18 | 358 | Unknown | 0 | 2.856 | 1005961 | 0 | ----- | ----- | ----- | -----
61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 6.005 | 155405 | 0.291 | ----- | ----- | ----- | ----- | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 5.957 | 1361 | 0.407 | ----- | ----- | ----- | ----- | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 12.152 | 15852 | 5.586 | ----- | ----- | ----- | ----- | 1 |  | 61 | 424.3917 | 3731.5565 | 468.8855 | 2958.0176 | 406.1613 | 3022.9585 | 360.4758 | 3166.4956 | 424.3917 | 3731.5565 | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 2.851 | 1088209 | 0 | ----- | ----- | ----- | -----
62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 6.014 | 11041 | 0.014 | ----- | ----- | ----- | ----- | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 12.166 | 7250 | 2.224 | ----- | ----- | ----- | ----- | 1 |  | 62 | 22.9855 | 1723.3062 | 28.0854 | 1375.6807 | 28.6672 | 1381.4873 | 23.4444 | 1393.5336 | 22.9855 | 1723.3062 | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 2.851 | 1071659 | 0 | ----- | ----- | ----- | -----
63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 6.012 | 19232 | 0.03 | ----- | ----- | ----- | ----- | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 12.169 | 6542 | 1.942 | ----- | ----- | ----- | ----- | 1 |  | 63 | 47.5197 | 1555.0079 | 60.576 | 1245.0304 | 50.2205 | 1246.2765 | 42.6569 | 1247.4392 | 47.5197 | 1555.0079 | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 2.858 | 950805 | 0 | ----- | ----- | ----- | -----
64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 6.008 | 106158 | 0.196 | ----- | ----- | ----- | ----- | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 12.078 | 88761 | 30.88 | ----- | ----- | ----- | ----- | 1 |  | 64 | 294.8468 | 19886.8684 | 324.7143 | 15996.585 | 277.9527 | 16839.1405 | 245.8813 | 18042.139 | 294.8468 | 19886.8684 | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 2.862 | 922515 | 0 | ----- | ----- | ----- | -----
65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 6.005 | 115431 | 0.214 | ----- | ----- | ----- | ----- | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 12.073 | 87868 | 30.597 | ----- | ----- | ----- | ----- | 1 |  | 65 | 319.8241 | 19672.1235 | 352.1637 | 15840.9235 | 302.1387 | 16670.9636 | 267.4888 | 17861.5812 | 319.8241 | 19672.1235 | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 2.85 | 1081170 | 0 | ----- | ----- | ----- | -----
66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 6.012 | 13314 | 0.019 | ----- | ----- | ----- | ----- | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 12.151 | 7583 | 2.356 | ----- | ----- | ----- | ----- | 1 |  | 66 | 29.815 | 1802.3054 | 35.4102 | 1437.1088 | 34.6499 | 1445.0766 | 28.777 | 1462.2387 | 29.815 | 1802.3054 | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 2.852 | 1037790 | 0 | ----- | ----- | ----- | -----
67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 6.004 | 17170 | 0.026 | ----- | ----- | ----- | ----- | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 12.146 | 10838 | 3.639 | ----- | ----- | ----- | ----- | 1 |  | 67 | 41.3634 | 2569.1775 | 54.1605 | 2036.8221 | 44.7962 | 2066.4577 | 37.8214 | 2133.517 | 41.3634 | 2569.1775 | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 2.839 | 1110200 | 0 | ----- | ----- | ----- | -----
68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 6.007 | 157424 | 0.295 | ----- | ----- | ----- | ----- | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 5.961 | 1026 | 0.332 | ----- | ----- | ----- | ----- | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 12.151 | 15598 | 5.488 | ----- | ----- | ----- | ----- | 1 |  | 68 | 429.5395 | 3673.224 | 474.7117 | 2911.4274 | 411.405 | 2974.5236 | 365.1656 | 3114.1976 | 429.5395 | 3673.224 | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 2.853 | 1061434 | 0 | ----- | ----- | ----- | -----