## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN05jul23_001.gcd | 2023-07-05 10:36 | air new batch | Unknown | 0 | 6.077 | 1736 | -0.004 | ----- | ----- | ----- | ----- | 49 | BRN05jul23_001.gcd | 2023-07-05 10:36 | air new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN05jul23_001.gcd | 2023-07-05 10:36 | air new batch | Unknown | 0 | 12.214 | 2679 | 0.495 | ----- | ----- | ----- | ----- | 1 |  | 49 | 6.0754 | 628.6826 | 0.38892 | 531.0661 | -0.25292 | 508.2501 | 0.082276 | 449.8661 | 6.0754 | 628.6826 | 49 | BRN05jul23_001.gcd | 2023-07-05 10:36 | air new batch | Unknown | 0 | 2.7 | 5311266 | 0 | ----- | ----- | ----- | -----
50 | BRN05jul23_002.gcd | 2023-07-05 11:07 | spiked air old batch | Unknown | 0 | 6.007 | 1164137 | 2.494 | ----- | ----- | ----- | ----- | 50 | BRN05jul23_002.gcd | 2023-07-05 11:07 | spiked air old batch | Unknown | 0 | 5.96 | 9501 | 2.411 | ----- | ----- | ----- | ----- | 50 | BRN05jul23_002.gcd | 2023-07-05 11:07 | spiked air old batch | Unknown | 0 | 12.197 | 5661 | 1.325 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2387.3188 | 1344.9474 | 2364.0364 | 1082.3678 | 2720.3447 | 1078.0041 | 2572.7477 | 1065.6109 | 2387.3188 | 1344.9474 | 50 | BRN05jul23_002.gcd | 2023-07-05 11:07 | spiked air old batch | Unknown | 0 | 2.716 | 5209922 | 0 | ----- | ----- | ----- | -----
51 | BRN05jul23_003.gcd | 2023-07-05 11:38 | yellow | Unknown | 0 | 6.04 | 2941 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN05jul23_003.gcd | 2023-07-05 11:38 | yellow | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN05jul23_003.gcd | 2023-07-05 11:38 | yellow | Unknown | 0 | 12.207 | 2274 | 0.382 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.3769 | 530.7775 | 3.7682 | 456.105 | 4.0272 | 430.8467 | 1.9072 | 366.2038 | 3.3769 | 530.7775 | 51 | BRN05jul23_003.gcd | 2023-07-05 11:38 | yellow | Unknown | 0 | 2.719 | 5104095 | 0 | ----- | ----- | ----- | -----
52 | BRN05jul23_004.gcd | 2023-07-05 12:08 | 24 | Unknown | 0 | 6.06 | 1778 | -0.004 | ----- | ----- | ----- | ----- | 52 | BRN05jul23_004.gcd | 2023-07-05 12:08 | 24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN05jul23_004.gcd | 2023-07-05 12:08 | 24 | Unknown | 0 | 12.041 | 108002 | 28.185 | ----- | ----- | ----- | ----- | 1 |  | 52 | 5.9549 | 24498.0201 | 0.50567 | 19326.2244 | -0.1009 | 20456.4607 | 0.13879 | 21922.6371 | 5.9549 | 24498.0201 | 52 | BRN05jul23_004.gcd | 2023-07-05 12:08 | 24 | Unknown | 0 | 2.848 | 910579 | 0 | ----- | ----- | ----- | -----
53 | BRN05jul23_005.gcd | 2023-07-05 12:39 | 351 | Unknown | 0 | 6.082 | 2100 | -0.003 | ----- | ----- | ----- | ----- | 53 | BRN05jul23_005.gcd | 2023-07-05 12:39 | 351 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN05jul23_005.gcd | 2023-07-05 12:39 | 351 | Unknown | 0 | 12.035 | 111916 | 29.157 | ----- | ----- | ----- | ----- | 1 |  | 53 | 5.0949 | 25432.3129 | 1.4032 | 19997.8502 | 1.0577 | 21190.8216 | 0.58906 | 22709.6943 | 5.0949 | 25432.3129 | 53 | BRN05jul23_005.gcd | 2023-07-05 12:39 | 351 | Unknown | 0 | 2.85 | 868925 | 0 | ----- | ----- | ----- | -----
54 | BRN05jul23_006.gcd | 2023-07-05 13:10 | 328 | Unknown | 0 | 6.023 | 6023 | 0.005 | ----- | ----- | ----- | ----- | 54 | BRN05jul23_006.gcd | 2023-07-05 13:10 | 328 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN05jul23_006.gcd | 2023-07-05 13:10 | 328 | Unknown | 0 | 12.131 | 38516 | 10.278 | ----- | ----- | ----- | ----- | 1 |  | 54 | 3.6097 | 8699.5677 | 12.6921 | 7082.5782 | 14.2087 | 7336.2798 | 8.4946 | 7819.6987 | 3.6097 | 8699.5677 | 54 | BRN05jul23_006.gcd | 2023-07-05 13:10 | 328 | Unknown | 0 | 2.864 | 881342 | 0 | ----- | ----- | ----- | -----
55 | BRN05jul23_007.gcd | 2023-07-05 13:40 | 191 | Unknown | 0 | 6.078 | 2189 | -0.003 | ----- | ----- | ----- | ----- | 55 | BRN05jul23_007.gcd | 2023-07-05 13:40 | 191 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN05jul23_007.gcd | 2023-07-05 13:40 | 191 | Unknown | 0 | 12.048 | 102046 | 26.7 | ----- | ----- | ----- | ----- | 1 |  | 55 | 4.8769 | 23073.8867 | 1.6521 | 18300.5102 | 1.3759 | 19338.0155 | 0.71883 | 20723.4586 | 4.8769 | 23073.8867 | 55 | BRN05jul23_007.gcd | 2023-07-05 13:40 | 191 | Unknown | 0 | 2.845 | 973767 | 0 | ----- | ----- | ----- | -----
56 | BRN05jul23_008.gcd | 2023-07-05 14:11 | 42 | Unknown | 0 | 6.012 | 44491 | 0.088 | ----- | ----- | ----- | ----- | 56 | BRN05jul23_008.gcd | 2023-07-05 14:11 | 42 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN05jul23_008.gcd | 2023-07-05 14:11 | 42 | Unknown | 0 | 12.168 | 8616 | 2.145 | ----- | ----- | ----- | ----- | 1 |  | 56 | 121.8445 | 2046.7252 | 138.6008 | 1627.5766 | 116.5834 | 1642.3141 | 101.8354 | 1675.3327 | 121.8445 | 2046.7252 | 56 | BRN05jul23_008.gcd | 2023-07-05 14:11 | 42 | Unknown | 0 | 2.872 | 789283 | 0 | ----- | ----- | ----- | -----
57 | BRN05jul23_009.gcd | 2023-07-05 14:42 | 371 | Unknown | 0 | 6.012 | 23387 | 0.043 | ----- | ----- | ----- | ----- | 57 | BRN05jul23_009.gcd | 2023-07-05 14:42 | 371 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN05jul23_009.gcd | 2023-07-05 14:42 | 371 | Unknown | 0 | 12.172 | 2595 | 0.472 | ----- | ----- | ----- | ----- | 1 |  | 57 | 59.8841 | 608.3886 | 73.4823 | 515.5203 | 61.1475 | 492.1965 | 52.3986 | 432.5146 | 59.8841 | 608.3886 | 57 | BRN05jul23_009.gcd | 2023-07-05 14:42 | 371 | Unknown | 0 | 2.865 | 864253 | 0 | ----- | ----- | ----- | -----
58 | BRN05jul23_010.gcd | 2023-07-05 15:12 | 332 | Unknown | 0 | 6.041 | 3790 | 0.001 | ----- | ----- | ----- | ----- | 58 | BRN05jul23_010.gcd | 2023-07-05 15:12 | 332 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN05jul23_010.gcd | 2023-07-05 15:12 | 332 | Unknown | 0 | 12.141 | 32999 | 8.798 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.4173 | 7533.3732 | 6.1862 | 6084.4922 | 6.9418 | 6287.8447 | 3.4464 | 6689.4037 | 2.4173 | 7533.3732 | 58 | BRN05jul23_010.gcd | 2023-07-05 15:12 | 332 | Unknown | 0 | 2.87 | 792814 | 0 | ----- | ----- | ----- | -----
59 | BRN05jul23_011.gcd | 2023-07-05 15:43 | 270 small bubbles | Unknown | 0 | 6.079 | 2029 | -0.003 | ----- | ----- | ----- | ----- | 59 | BRN05jul23_011.gcd | 2023-07-05 15:43 | 270 small bubbles | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN05jul23_011.gcd | 2023-07-05 15:43 | 270 small bubbles | Unknown | 0 | 12.059 | 102615 | 26.842 | ----- | ----- | ----- | ----- | 1 |  | 59 | 5.2749 | 23210.0651 | 1.2049 | 18398.6931 | 0.8033 | 19444.9148 | 0.48719 | 20838.099 | 5.2749 | 23210.0651 | 59 | BRN05jul23_011.gcd | 2023-07-05 15:43 | 270 small bubbles | Unknown | 0 | 2.866 | 877030 | 0 | ----- | ----- | ----- | -----
60 | BRN05jul23_012.gcd | 2023-07-05 16:14 | 227 | Unknown | 0 | 5.996 | 59917 | 0.121 | ----- | ----- | ----- | ----- | 60 | BRN05jul23_012.gcd | 2023-07-05 16:14 | 227 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN05jul23_012.gcd | 2023-07-05 16:14 | 227 | Unknown | 0 | 12.149 | 10170 | 2.574 | ----- | ----- | ----- | ----- | 1 |  | 60 | 166.2459 | 2412.5861 | 185.7393 | 1913.8558 | 157.0362 | 1938.9642 | 137.926 | 1995.7995 | 166.2459 | 2412.5861 | 60 | BRN05jul23_012.gcd | 2023-07-05 16:14 | 227 | Unknown | 0 | 2.849 | 911834 | 0 | ----- | ----- | ----- | -----
61 | BRN05jul23_013.gcd | 2023-07-05 16:44 | 98 | Unknown | 0 | 6.015 | 24679 | 0.045 | ----- | ----- | ----- | ----- | 61 | BRN05jul23_013.gcd | 2023-07-05 16:44 | 98 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN05jul23_013.gcd | 2023-07-05 16:44 | 98 | Unknown | 0 | 12.179 | 1741 | 0.234 | ----- | ----- | ----- | ----- | 1 |  | 61 | 63.7177 | 401.7015 | 77.4898 | 357.4211 | 64.5444 | 328.9719 | 55.4272 | 256.0873 | 63.7177 | 401.7015 | 61 | BRN05jul23_013.gcd | 2023-07-05 16:44 | 98 | Unknown | 0 | 2.87 | 833700 | 0 | ----- | ----- | ----- | -----
62 | BRN05jul23_014.gcd | 2023-07-05 17:15 | 112 | Unknown | 0 | 5.963 | 14243708 | 31.402 | ----- | ----- | ----- | ----- | 62 | BRN05jul23_014.gcd | 2023-07-05 17:15 | 112 | Unknown | 0 | 5.923 | 116364 | 29.548 | ----- | ----- | ----- | ----- | 62 | BRN05jul23_014.gcd | 2023-07-05 17:15 | 112 | Unknown | 0 | 12.077 | 87513 | 23.038 | ----- | ----- | ----- | ----- | 1 |  | 62 | 28544.5544 | 19586.7364 | 22701.5044 | 15779.0146 | 29850.0701 | 16604.1 | 28717.9279 | 17789.7915 | 28544.5544 | 19586.7364 | 62 | BRN05jul23_014.gcd | 2023-07-05 17:15 | 112 | Unknown | 0 | 2.874 | 685442 | 0 | ----- | ----- | ----- | -----
63 | BRN05jul23_015.gcd | 2023-07-05 17:46 | 71 | Unknown | 0 | 6.067 | 2008 | -0.003 | ----- | ----- | ----- | ----- | 63 | BRN05jul23_015.gcd | 2023-07-05 17:46 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN05jul23_015.gcd | 2023-07-05 17:46 | 71 | Unknown | 0 | 12.069 | 104453 | 27.301 | ----- | ----- | ----- | ----- | 1 |  | 63 | 5.3292 | 23649.7715 | 1.1463 | 18715.5686 | 0.72793 | 19790.152 | 0.45734 | 21208.3009 | 5.3292 | 23649.7715 | 63 | BRN05jul23_015.gcd | 2023-07-05 17:46 | 71 | Unknown | 0 | 2.862 | 956174 | 0 | ----- | ----- | ----- | -----
64 | BRN05jul23_016.gcd | 2023-07-05 18:16 | 108 | Unknown | 0 | 5.996 | 46976 | 0.093 | ----- | ----- | ----- | ----- | 64 | BRN05jul23_016.gcd | 2023-07-05 18:16 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN05jul23_016.gcd | 2023-07-05 18:16 | 108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 64 | 129.0479 | #VALUE! | 146.2207 | #VALUE! | 123.1039 | #VALUE! | 107.6519 | #VALUE! | 129.0479 | #VALUE! | 64 | BRN05jul23_016.gcd | 2023-07-05 18:16 | 108 | Unknown | 0 | 2.847 | 958378 | 0 | ----- | ----- | ----- | -----
65 | BRN05jul23_017.gcd | 2023-07-05 18:47 | 320 | Unknown | 0 | 6.024 | 3766 | 0.001 | ----- | ----- | ----- | ----- | 65 | BRN05jul23_017.gcd | 2023-07-05 18:47 | 320 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN05jul23_017.gcd | 2023-07-05 18:47 | 320 | Unknown | 0 | 12.115 | 37591 | 10.031 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.4337 | 8505.9767 | 6.1174 | 6915.5022 | 6.8605 | 7160.5645 | 3.4 | 7630.2978 | 2.4337 | 8505.9767 | 65 | BRN05jul23_017.gcd | 2023-07-05 18:47 | 320 | Unknown | 0 | 2.848 | 900401 | 0 | ----- | ----- | ----- | -----
66 | BRN05jul23_018.gcd | 2023-07-05 19:18 | 401 | Unknown | 0 | 6.068 | 1721 | -0.004 | ----- | ----- | ----- | ----- | 66 | BRN05jul23_018.gcd | 2023-07-05 19:18 | 401 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN05jul23_018.gcd | 2023-07-05 19:18 | 401 | Unknown | 0 | 12.071 | 102721 | 26.868 | ----- | ----- | ----- | ----- | 1 |  | 66 | 6.1188 | 23235.4311 | 0.34724 | 18416.9792 | -0.30726 | 19464.8281 | 0.062218 | 20859.4538 | 6.1188 | 23235.4311 | 66 | BRN05jul23_018.gcd | 2023-07-05 19:18 | 401 | Unknown | 0 | 2.868 | 914314 | 0 | ----- | ----- | ----- | -----
67 | BRN05jul23_019.gcd | 2023-07-05 19:48 | 345 | Unknown | 0 | 6.024 | 7468 | 0.009 | ----- | ----- | ----- | ----- | 67 | BRN05jul23_019.gcd | 2023-07-05 19:48 | 345 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN05jul23_019.gcd | 2023-07-05 19:48 | 345 | Unknown | 0 | 12.131 | 42109 | 11.237 | ----- | ----- | ----- | ----- | 1 |  | 67 | 7.2513 | 9444.1341 | 17.0151 | 7730.5369 | 18.6032 | 8018.5511 | 12.5336 | 8554.9791 | 7.2513 | 9444.1341 | 67 | BRN05jul23_019.gcd | 2023-07-05 19:48 | 345 | Unknown | 0 | 2.867 | 884727 | 0 | ----- | ----- | ----- | -----
68 | BRN05jul23_020.gcd | 2023-07-05 20:19 | 59 | Unknown | 0 | 6.01 | 351118 | 0.746 | ----- | ----- | ----- | ----- | 68 | BRN05jul23_020.gcd | 2023-07-05 20:19 | 59 | Unknown | 0 | 5.968 | 3851 | 0.958 | ----- | ----- | ----- | ----- | 68 | BRN05jul23_020.gcd | 2023-07-05 20:19 | 59 | Unknown | 0 | 12.174 | 4156 | 0.907 | ----- | ----- | ----- | ----- | 1 |  | 68 | 832.9758 | 984.4661 | 1002.7076 | 804.2682 | 909.8798 | 790.4884 | 812.0258 | 754.9044 | 832.9758 | 984.4661 | 68 | BRN05jul23_020.gcd | 2023-07-05 20:19 | 59 | Unknown | 0 | 2.869 | 838170 | 0 | ----- | ----- | ----- | -----
69 | BRN05jul23_021.gcd | 2023-07-05 20:50 | 385 | Unknown | 0 | 6.015 | 23990 | 0.044 | ----- | ----- | ----- | ----- | 69 | BRN05jul23_021.gcd | 2023-07-05 20:50 | 385 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN05jul23_021.gcd | 2023-07-05 20:50 | 385 | Unknown | 0 | 12.172 | 2602 | 0.474 | ----- | ----- | ----- | ----- | 1 |  | 69 | 61.674 | 610.08 | 75.3531 | 516.8158 | 62.733 | 493.5343 | 53.8122 | 433.9606 | 61.674 | 610.08 | 69 | BRN05jul23_021.gcd | 2023-07-05 20:50 | 385 | Unknown | 0 | 2.867 | 890641 | 0 | ----- | ----- | ----- | -----
70 | BRN05jul23_022.gcd | 2023-07-05 21:20 | 232 | Unknown | 0 | 6.083 | 1873 | -0.003 | ----- | ----- | ----- | ----- | 70 | BRN05jul23_022.gcd | 2023-07-05 21:20 | 232 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN05jul23_022.gcd | 2023-07-05 21:20 | 232 | Unknown | 0 | 12.071 | 102683 | 26.859 | ----- | ----- | ----- | ----- | 1 |  | 70 | 5.6895 | 23226.3377 | 0.77001 | 18410.424 | 0.24218 | 19457.6894 | 0.2685 | 20851.7984 | 5.6895 | 23226.3377 | 70 | BRN05jul23_022.gcd | 2023-07-05 21:20 | 232 | Unknown | 0 | 2.862 | 989267 | 0 | ----- | ----- | ----- | -----
71 | BRN05jul23_023.gcd | 2023-07-05 21:51 | 269 | Unknown | 0 | 6.014 | 66145 | 0.134 | ----- | ----- | ----- | ----- | 71 | BRN05jul23_023.gcd | 2023-07-05 21:51 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN05jul23_023.gcd | 2023-07-05 21:51 | 269 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 71 | 183.9596 | #VALUE! | 204.6606 | #VALUE! | 173.352 | #VALUE! | 152.4861 | #VALUE! | 183.9596 | #VALUE! | 71 | BRN05jul23_023.gcd | 2023-07-05 21:51 | 269 | Unknown | 0 | 2.863 | 992456 | 0 | ----- | ----- | ----- | -----
72 | BRN05jul23_024.gcd | 2023-07-05 22:22 | 317 | Unknown | 0 | 6.016 | 25440 | 0.047 | ----- | ----- | ----- | ----- | 72 | BRN05jul23_024.gcd | 2023-07-05 22:22 | 317 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN05jul23_024.gcd | 2023-07-05 22:22 | 317 | Unknown | 0 | 12.169 | 1411 | 0.141 | ----- | ----- | ----- | ----- | 1 |  | 72 | 65.9733 | 321.6559 | 79.849 | 296.3044 | 66.5451 | 265.8928 | 57.211 | 187.9029 | 65.9733 | 321.6559 | 72 | BRN05jul23_024.gcd | 2023-07-05 22:22 | 317 | Unknown | 0 | 2.848 | 1290889 | 0 | ----- | ----- | ----- | -----
73 | BRN05jul23_025.gcd | 2023-07-05 22:52 | 338 | Unknown | 0 | 5.994 | 385836 | 0.82 | ----- | ----- | ----- | ----- | 73 | BRN05jul23_025.gcd | 2023-07-05 22:52 | 338 | Unknown | 0 | 5.949 | 3731 | 0.927 | ----- | ----- | ----- | ----- | 73 | BRN05jul23_025.gcd | 2023-07-05 22:52 | 338 | Unknown | 0 | 12.149 | 5020 | 1.147 | ----- | ----- | ----- | ----- | 1 |  | 73 | 899.8529 | 1191.6661 | 1090.8739 | 963.9562 | 998.2684 | 955.5562 | 891.483 | 933.2909 | 899.8529 | 1191.6661 | 73 | BRN05jul23_025.gcd | 2023-07-05 22:52 | 338 | Unknown | 0 | 2.846 | 986216 | 0 | ----- | ----- | ----- | -----
74 | BRN05jul23_026.gcd | 2023-07-05 23:23 | 119 | Unknown | 0 | 5.994 | 131982 | 0.276 | ----- | ----- | ----- | ----- | 74 | BRN05jul23_026.gcd | 2023-07-05 23:23 | 119 | Unknown | 0 | 5.945 | 704 | 0.148 | ----- | ----- | ----- | ----- | 74 | BRN05jul23_026.gcd | 2023-07-05 23:23 | 119 | Unknown | 0 | 12.071 | 83482 | 22.013 | ----- | ----- | ----- | ----- | 1 |  | 74 | 363.7311 | 18616.4493 | 400.8081 | 15074.9333 | 345.2555 | 15844.5805 | 306.0208 | 16974.1743 | 363.7311 | 18616.4493 | 74 | BRN05jul23_026.gcd | 2023-07-05 23:23 | 119 | Unknown | 0 | 2.847 | 925183 | 0 | ----- | ----- | ----- | -----
75 | BRN05jul23_027.gcd | 2023-07-05 23:54 | 37 | Unknown | 0 | 5.964 | 14426106 | 31.816 | ----- | ----- | ----- | ----- | 75 | BRN05jul23_027.gcd | 2023-07-05 23:54 | 37 | Unknown | 0 | 5.924 | 121652 | 30.875 | ----- | ----- | ----- | ----- | 75 | BRN05jul23_027.gcd | 2023-07-05 23:54 | 37 | Unknown | 0 | 12.081 | 87739 | 23.095 | ----- | ----- | ----- | ----- | 1 |  | 75 | 29875.7538 | 19641.0967 | 23709.8302 | 15818.4288 | 31180.6527 | 16646.6672 | 30000.2005 | 17835.495 | 29875.7538 | 19641.0967 | 75 | BRN05jul23_027.gcd | 2023-07-05 23:54 | 37 | Unknown | 0 | 2.872 | 721898 | 0 | ----- | ----- | ----- | -----
76 | BRN05jul23_028.gcd | 2023-07-06 00:24 | 346 | Unknown | 0 | 5.996 | 118531 | 0.247 | ----- | ----- | ----- | ----- | 76 | BRN05jul23_028.gcd | 2023-07-06 00:24 | 346 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN05jul23_028.gcd | 2023-07-06 00:24 | 346 | Unknown | 0 | 12.084 | 75509 | 19.973 | ----- | ----- | ----- | ----- | 1 |  | 76 | 328.1136 | 16693.3835 | 361.3088 | 13676.3086 | 310.2195 | 14340.7546 | 274.7092 | 15358.5052 | 328.1136 | 16693.3835 | 76 | BRN05jul23_028.gcd | 2023-07-06 00:24 | 346 | Unknown | 0 | 2.853 | 879680 | 0 | ----- | ----- | ----- | -----
77 | BRN05jul23_029.gcd | 2023-07-06 00:55 | 28 | Unknown | 0 | 6.015 | 40255 | 0.079 | ----- | ----- | ----- | ----- | 77 | BRN05jul23_029.gcd | 2023-07-06 00:55 | 28 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN05jul23_029.gcd | 2023-07-06 00:55 | 28 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 77 | 109.5205 | #VALUE! | 125.5885 | #VALUE! | 105.4649 | #VALUE! | 91.9182 | #VALUE! | 109.5205 | #VALUE! | 77 | BRN05jul23_029.gcd | 2023-07-06 00:55 | 28 | Unknown | 0 | 2.865 | 959323 | 0 | ----- | ----- | ----- | -----
78 | BRN05jul23_030.gcd | 2023-07-06 01:26 | 196 | Unknown | 0 | 6.016 | 61415 | 0.124 | ----- | ----- | ----- | ----- | 78 | BRN05jul23_030.gcd | 2023-07-06 01:26 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN05jul23_030.gcd | 2023-07-06 01:26 | 196 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 78 | 170.5177 | #VALUE! | 190.2962 | #VALUE! | 160.9614 | #VALUE! | 141.4286 | #VALUE! | 170.5177 | #VALUE! | 78 | BRN05jul23_030.gcd | 2023-07-06 01:26 | 196 | Unknown | 0 | 2.866 | 981671 | 0 | ----- | ----- | ----- | -----
79 | BRN05jul23_031.gcd | 2023-07-06 01:56 | 262 | Unknown | 0 | 6.095 | 1534 | -0.004 | ----- | ----- | ----- | ----- | 79 | BRN05jul23_031.gcd | 2023-07-06 01:56 | 262 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN05jul23_031.gcd | 2023-07-06 01:56 | 262 | Unknown | 0 | 12.071 | 106094 | 27.71 | ----- | ----- | ----- | ----- | 1 |  | 79 | 6.6812 | 24042.116 | -0.17153 | 18998.1224 | -0.98688 | 20098.2933 | -0.18235 | 21538.6783 | 6.6812 | 24042.116 | 79 | BRN05jul23_031.gcd | 2023-07-06 01:56 | 262 | Unknown | 0 | 2.867 | 930344 | 0 | ----- | ----- | ----- | -----