## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN08aug23_001.gcd | 2023-08-08 12:06 | air | Unknown | 0 | 6.099 | 2323 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN08aug23_001.gcd | 2023-08-08 12:06 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN08aug23_001.gcd | 2023-08-08 12:06 | air | Unknown | 0 | 12.215 | 2835 | 0.539 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.5649 | 666.3542 | 2.0274 | 559.9345 | 1.8531 | 538.0633 | 0.91856 | 482.0894 | 4.5649 | 666.3542 | 49 | BRN08aug23_001.gcd | 2023-08-08 12:06 | air | Unknown | 0 | 2.695 | 5526039 | 0 | ----- | ----- | ----- | -----
50 | BRN08aug23_002.gcd | 2023-08-08 12:37 | yellow | Unknown | 0 | 6.033 | 3634 | 0 | ----- | ----- | ----- | ----- | 50 | BRN08aug23_002.gcd | 2023-08-08 12:37 | spiked air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN08aug23_002.gcd | 2023-08-08 12:37 | spiked air | Unknown | 0 | 12.192 | 1514 | 0.17 | ----- | ----- | ----- | ----- | 2 | label corrected | 50 | 2.5352 | 346.6505 | 5.7396 | 315.3817 | 6.4125 | 285.5815 | 3.1479 | 209.1853 | 2.5352 | 346.6505 | 50 | BRN08aug23_002.gcd | 2023-08-08 12:37 | spiked air | Unknown | 0 | 2.696 | 5241431 | 0 | ----- | ----- | ----- | -----
51 | BRN08aug23_003.gcd | 2023-08-08 13:08 | spiked air | Unknown | 0 | 6.01 | 977879 | 2.093 | ----- | ----- | ----- | ----- | 51 | BRN08aug23_003.gcd | 2023-08-08 13:08 | yellow | Unknown | 0 | 5.96 | 8557 | 2.168 | ----- | ----- | ----- | ----- | 51 | BRN08aug23_003.gcd | 2023-08-08 13:08 | yellow | Unknown | 0 | 12.2 | 8219 | 2.035 | ----- | ----- | ----- | ----- | 2 | label corrected | 51 | 2033.3991 | 1952.9056 | 2184.7148 | 1554.3924 | 2478.6452 | 1566.5164 | 2339.8157 | 1593.4434 | 2033.3991 | 1952.9056 | 51 | BRN08aug23_003.gcd | 2023-08-08 13:08 | yellow | Unknown | 0 | 2.725 | 4869149 | 0 | ----- | ----- | ----- | -----
52 | BRN08aug23_004.gcd | 2023-08-08 13:38 | 221 | Unknown | 0 | 6.109 | 2109 | -0.003 | ----- | ----- | ----- | ----- | 52 | BRN08aug23_004.gcd | 2023-08-08 13:38 | 221 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN08aug23_004.gcd | 2023-08-08 13:38 | 221 | Unknown | 0 | 12.007 | 147179 | 37.75 | ----- | ----- | ----- | ----- | 1 |  | 52 | 5.0725 | 33793.2765 | 1.4284 | 25962.1143 | 1.09 | 27784.5482 | 0.60208 | 29765.3938 | 5.0725 | 33793.2765 | 52 | BRN08aug23_004.gcd | 2023-08-08 13:38 | 221 | Unknown | 0 | 2.859 | 759435 | 0 | ----- | ----- | ----- | -----
53 | BRN08aug23_005.gcd | 2023-08-08 14:09 | 412 | Unknown | 0 | 6.027 | 7329 | 0.008 | ----- | ----- | ----- | ----- | 53 | BRN08aug23_005.gcd | 2023-08-08 14:09 | 412 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN08aug23_005.gcd | 2023-08-08 14:09 | 412 | Unknown | 0 | 12.104 | 69649 | 18.462 | ----- | ----- | ----- | ----- | 1 |  | 53 | 6.803 | 15276.6521 | 16.5954 | 12643.2584 | 18.191 | 13234.1538 | 12.1187 | 14168.9512 | 6.803 | 15276.6521 | 53 | BRN08aug23_005.gcd | 2023-08-08 14:09 | 412 | Unknown | 0 | 2.876 | 744745 | 0 | ----- | ----- | ----- | -----
54 | BRN08aug23_006.gcd | 2023-08-08 14:40 | 73 | Unknown | 0 | 6.102 | 1960 | -0.003 | ----- | ----- | ----- | ----- | 54 | BRN08aug23_006.gcd | 2023-08-08 14:40 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN08aug23_006.gcd | 2023-08-08 14:40 | 73 | Unknown | 0 | 12.032 | 143836 | 36.947 | ----- | ----- | ----- | ----- | 1 |  | 54 | 5.4551 | 33005.0055 | 1.0124 | 25403.3887 | 0.55546 | 27161.1854 | 0.38959 | 29099.2232 | 5.4551 | 33005.0055 | 54 | BRN08aug23_006.gcd | 2023-08-08 14:40 | 73 | Unknown | 0 | 2.874 | 755875 | 0 | ----- | ----- | ----- | -----
55 | BRN08aug23_007.gcd | 2023-08-08 15:10 | 103 | Unknown | 0 | 6.007 | 7712 | 0.009 | ----- | ----- | ----- | ----- | 55 | BRN08aug23_007.gcd | 2023-08-08 15:10 | 103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN08aug23_007.gcd | 2023-08-08 15:10 | 103 | Unknown | 0 | 12.078 | 76184 | 20.146 | ----- | ----- | ----- | ----- | 1 |  | 55 | 8.0888 | 16856.3931 | 17.7538 | 13795.0264 | 19.3214 | 14468.1497 | 13.2755 | 15495.4147 | 8.0888 | 16856.3931 | 55 | BRN08aug23_007.gcd | 2023-08-08 15:10 | 103 | Unknown | 0 | 2.848 | 877317 | 0 | ----- | ----- | ----- | -----
56 | BRN08aug23_008.gcd | 2023-08-08 15:41 | 163 | Unknown | 0 | 6.004 | 14702 | 0.024 | ----- | ----- | ----- | ----- | 56 | BRN08aug23_008.gcd | 2023-08-08 15:41 | 163 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN08aug23_008.gcd | 2023-08-08 15:41 | 163 | Unknown | 0 | 12.169 | 3022 | 0.591 | ----- | ----- | ----- | ----- | 1 |  | 56 | 33.9773 | 711.4827 | 39.9911 | 594.5356 | 38.3025 | 573.7999 | 32.0329 | 520.7143 | 33.9773 | 711.4827 | 56 | BRN08aug23_008.gcd | 2023-08-08 15:41 | 163 | Unknown | 0 | 2.847 | 949710 | 0 | ----- | ----- | ----- | -----
57 | BRN08aug23_009.gcd | 2023-08-08 16:12 | 261 | Unknown | 0 | 6.017 | 25122 | 0.046 | ----- | ----- | ----- | ----- | 57 | BRN08aug23_009.gcd | 2023-08-08 16:12 | 261 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN08aug23_009.gcd | 2023-08-08 16:12 | 261 | Unknown | 0 | 12.176 | 6075 | 1.44 | ----- | ----- | ----- | ----- | 1 |  | 57 | 65.031 | 1443.7473 | 78.8633 | 1158.8184 | 65.7091 | 1157.0819 | 56.4656 | 1151.0607 | 65.031 | 1443.7473 | 57 | BRN08aug23_009.gcd | 2023-08-08 16:12 | 261 | Unknown | 0 | 2.875 | 775276 | 0 | ----- | ----- | ----- | -----
58 | BRN08aug23_010.gcd | 2023-08-08 16:42 | 8 | Unknown | 0 | 6.013 | 120347 | 0.251 | ----- | ----- | ----- | ----- | 58 | BRN08aug23_010.gcd | 2023-08-08 16:42 | 8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN08aug23_010.gcd | 2023-08-08 16:42 | 8 | Unknown | 0 | 12.094 | 82966 | 21.881 | ----- | ----- | ----- | ----- | 1 |  | 58 | 332.9556 | 18492.1489 | 366.6588 | 14984.6581 | 314.9522 | 15747.3178 | 278.9383 | 16869.7089 | 332.9556 | 18492.1489 | 58 | BRN08aug23_010.gcd | 2023-08-08 16:42 | 8 | Unknown | 0 | 2.875 | 776440 | 0 | ----- | ----- | ----- | -----
59 | BRN08aug23_011.gcd | 2023-08-08 17:13 | 130 | Unknown | 0 | 5.996 | 349292 | 0.742 | ----- | ----- | ----- | ----- | 59 | BRN08aug23_011.gcd | 2023-08-08 17:13 | 130 | Unknown | 0 | 5.946 | 3406 | 0.844 | ----- | ----- | ----- | ----- | 59 | BRN08aug23_011.gcd | 2023-08-08 17:13 | 130 | Unknown | 0 | 12.155 | 10156 | 2.57 | ----- | ----- | ----- | ----- | 1 |  | 59 | 829.4572 | 2409.2999 | 998.016 | 1911.278 | 905.2229 | 1936.2921 | 807.8413 | 1992.913 | 829.4572 | 2409.2999 | 59 | BRN08aug23_011.gcd | 2023-08-08 17:13 | 130 | Unknown | 0 | 2.842 | 1066181 | 0 | ----- | ----- | ----- | -----
60 | BRN08aug23_012.gcd | 2023-08-08 17:44 | 249 | Unknown | 0 | 6.012 | 346533 | 0.736 | ----- | ----- | ----- | ----- | 60 | BRN08aug23_012.gcd | 2023-08-08 17:44 | 249 | Unknown | 0 | 5.958 | 3970 | 0.989 | ----- | ----- | ----- | ----- | 60 | BRN08aug23_012.gcd | 2023-08-08 17:44 | 249 | Unknown | 0 | 12.172 | 8560 | 2.129 | ----- | ----- | ----- | ----- | 1 |  | 60 | 824.1404 | 2033.4999 | 990.9169 | 1617.2546 | 898.1851 | 1631.6226 | 801.5178 | 1663.7821 | 824.1404 | 2033.4999 | 60 | BRN08aug23_012.gcd | 2023-08-08 17:44 | 249 | Unknown | 0 | 2.867 | 904827 | 0 | ----- | ----- | ----- | -----
61 | BRN08aug23_013.gcd | 2023-08-08 18:14 | 169 | Unknown | 0 | 5.961 | 14903652 | 32.901 | ----- | ----- | ----- | ----- | 61 | BRN08aug23_013.gcd | 2023-08-08 18:14 | 169 | Unknown | 0 | 5.923 | 123248 | 31.275 | ----- | ----- | ----- | ----- | 61 | BRN08aug23_013.gcd | 2023-08-08 18:14 | 169 | Unknown | 0 | 12.048 | 128896 | 33.33 | ----- | ----- | ----- | ----- | 1 |  | 61 | 30277.3106 | 29471.0193 | 24014.1946 | 22889.2764 | 31582.0225 | 24370.9107 | 30386.9973 | 26115.1094 | 30277.3106 | 29471.0193 | 61 | BRN08aug23_013.gcd | 2023-08-08 18:14 | 169 | Unknown | 0 | 2.874 | 742916 | 0 | ----- | ----- | ----- | -----
62 | BRN08aug23_014.gcd | 2023-08-08 18:45 | 247 | Unknown | 0 | 6.015 | 143027 | 0.299 | ----- | ----- | ----- | ----- | 62 | BRN08aug23_014.gcd | 2023-08-08 18:45 | 247 | Unknown | 0 | 5.968 | 1622 | 0.384 | ----- | ----- | ----- | ----- | 62 | BRN08aug23_014.gcd | 2023-08-08 18:45 | 247 | Unknown | 0 | 12.14 | 43542 | 11.618 | ----- | ----- | ----- | ----- | 1 |  | 62 | 392.5509 | 9737.8054 | 433.0212 | 7988.5108 | 373.9918 | 8290.545 | 331.7098 | 8848.0479 | 392.5509 | 9737.8054 | 62 | BRN08aug23_014.gcd | 2023-08-08 18:45 | 247 | Unknown | 0 | 2.87 | 849435 | 0 | ----- | ----- | ----- | -----
63 | BRN08aug23_015.gcd | 2023-08-08 19:16 | 157 | Unknown | 0 | 6.003 | 16117 | 0.027 | ----- | ----- | ----- | ----- | 63 | BRN08aug23_015.gcd | 2023-08-08 19:16 | 157 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN08aug23_015.gcd | 2023-08-08 19:16 | 157 | Unknown | 0 | 12.047 | 104272 | 27.256 | ----- | ----- | ----- | ----- | 1 |  | 63 | 38.2144 | 23606.483 | 50.8817 | 18684.3826 | 42.0258 | 19756.1591 | 35.3518 | 21171.8524 | 38.2144 | 23606.483 | 63 | BRN08aug23_015.gcd | 2023-08-08 19:16 | 157 | Unknown | 0 | 2.85 | 883141 | 0 | ----- | ----- | ----- | -----
64 | BRN08aug23_016.gcd | 2023-08-08 19:46 | 334 | Unknown | 0 | 6.074 | 2375 | -0.002 | ----- | ----- | ----- | ----- | 64 | BRN08aug23_016.gcd | 2023-08-08 19:46 | 334 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN08aug23_016.gcd | 2023-08-08 19:46 | 334 | Unknown | 0 | 12.001 | 156807 | 40.048 | ----- | ----- | ----- | ----- | 1 |  | 64 | 4.4491 | 36058.4269 | 2.1732 | 27563.4317 | 2.0378 | 29577.8324 | 0.99747 | 31680.81 | 4.4491 | 36058.4269 | 64 | BRN08aug23_016.gcd | 2023-08-08 19:46 | 334 | Unknown | 0 | 2.852 | 878474 | 0 | ----- | ----- | ----- | -----
65 | BRN08aug23_017.gcd | 2023-08-08 20:17 | 294 | Unknown | 0 | 6.004 | 15512 | 0.026 | ----- | ----- | ----- | ----- | 65 | BRN08aug23_017.gcd | 2023-08-08 20:17 | 294 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN08aug23_017.gcd | 2023-08-08 20:17 | 294 | Unknown | 0 | 12.162 | 3247 | 0.653 | ----- | ----- | ----- | ----- | 1 |  | 65 | 36.4036 | 765.7393 | 48.997 | 636.162 | 40.4339 | 616.797 | 33.9328 | 567.1858 | 36.4036 | 765.7393 | 65 | BRN08aug23_017.gcd | 2023-08-08 20:17 | 294 | Unknown | 0 | 2.85 | 911319 | 0 | ----- | ----- | ----- | -----
66 | BRN08aug23_018.gcd | 2023-08-08 20:48 | 409 | Unknown | 0 | 5.998 | 48901 | 0.097 | ----- | ----- | ----- | ----- | 66 | BRN08aug23_018.gcd | 2023-08-08 20:48 | 409 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN08aug23_018.gcd | 2023-08-08 20:48 | 409 | Unknown | 0 | 12.149 | 2104 | 0.335 | ----- | ----- | ----- | ----- | 1 |  | 66 | 134.6147 | 489.6369 | 152.1165 | 424.6337 | 128.1539 | 398.3548 | 112.157 | 331.0838 | 134.6147 | 489.6369 | 66 | BRN08aug23_018.gcd | 2023-08-08 20:48 | 409 | Unknown | 0 | 2.851 | 888752 | 0 | ----- | ----- | ----- | -----
67 | BRN08aug23_019.gcd | 2023-08-08 21:18 | 343 | Unknown | 0 | 6.095 | 2319 | -0.002 | ----- | ----- | ----- | ----- | 67 | BRN08aug23_019.gcd | 2023-08-08 21:18 | 343 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN08aug23_019.gcd | 2023-08-08 21:18 | 343 | Unknown | 0 | 12.002 | 155110 | 39.645 | ----- | ----- | ----- | ----- | 1 |  | 67 | 4.574 | 35659.7293 | 2.0162 | 27282.0335 | 1.8389 | 29261.9728 | 0.91252 | 31343.5485 | 4.574 | 35659.7293 | 67 | BRN08aug23_019.gcd | 2023-08-08 21:18 | 343 | Unknown | 0 | 2.848 | 912088 | 0 | ----- | ----- | ----- | -----
68 | BRN08aug23_020.gcd | 2023-08-08 21:49 | 339 | Unknown | 0 | 5.996 | 153401 | 0.322 | ----- | ----- | ----- | ----- | 68 | BRN08aug23_020.gcd | 2023-08-08 21:49 | 339 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN08aug23_020.gcd | 2023-08-08 21:49 | 339 | Unknown | 0 | 12.051 | 89882 | 23.638 | ----- | ----- | ----- | ----- | 1 |  | 68 | 419.2695 | 20156.3495 | 463.096 | 16191.8482 | 400.9555 | 17050.2195 | 355.8203 | 18268.7391 | 419.2695 | 20156.3495 | 68 | BRN08aug23_020.gcd | 2023-08-08 21:49 | 339 | Unknown | 0 | 2.828 | 1322252 | 0 | ----- | ----- | ----- | -----
69 | BRN08aug23_021.gcd | 2023-08-08 22:20 | 182 | Unknown | 0 | 6.018 | 39548 | 0.077 | ----- | ----- | ----- | ----- | 69 | BRN08aug23_021.gcd | 2023-08-08 22:20 | 182 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN08aug23_021.gcd | 2023-08-08 22:20 | 182 | Unknown | 0 | 12.194 | 1228 | 0.09 | ----- | ----- | ----- | ----- | 1 |  | 69 | 107.4581 | 277.2242 | 123.4139 | 262.4065 | 103.6088 | 230.9111 | 90.2627 | 150.0891 | 107.4581 | 277.2242 | 69 | BRN08aug23_021.gcd | 2023-08-08 22:20 | 182 | Unknown | 0 | 2.864 | 1012107 | 0 | ----- | ----- | ----- | -----
70 | BRN08aug23_022.gcd | 2023-08-08 22:50 | 209 | Unknown | 0 | 6 | 23923 | 0.044 | ----- | ----- | ----- | ----- | 70 | BRN08aug23_022.gcd | 2023-08-08 22:50 | 209 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN08aug23_022.gcd | 2023-08-08 22:50 | 209 | Unknown | 0 | 12.153 | 1503 | 0.167 | ----- | ----- | ----- | ----- | 1 |  | 70 | 61.4752 | 343.9817 | 75.1452 | 313.3444 | 62.5568 | 283.4789 | 53.6551 | 206.9125 | 61.4752 | 343.9817 | 70 | BRN08aug23_022.gcd | 2023-08-08 22:50 | 209 | Unknown | 0 | 2.844 | 1014428 | 0 | ----- | ----- | ----- | -----
71 | BRN08aug23_023.gcd | 2023-08-08 23:21 | 88 | Unknown | 0 | 6.086 | 1891 | -0.003 | ----- | ----- | ----- | ----- | 71 | BRN08aug23_023.gcd | 2023-08-08 23:21 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN08aug23_023.gcd | 2023-08-08 23:21 | 88 | Unknown | 0 | 12.037 | 147218 | 37.759 | ----- | ----- | ----- | ----- | 1 |  | 71 | 5.6404 | 33802.4672 | 0.82014 | 25968.6242 | 0.30707 | 27791.8184 | 0.29337 | 29773.1621 | 5.6404 | 33802.4672 | 71 | BRN08aug23_023.gcd | 2023-08-08 23:21 | 88 | Unknown | 0 | 2.871 | 844177 | 0 | ----- | ----- | ----- | -----
72 | BRN08aug23_024.gcd | 2023-08-08 23:52 | 335 | Unknown | 0 | 6.029 | 9393 | 0.013 | ----- | ----- | ----- | ----- | 72 | BRN08aug23_024.gcd | 2023-08-08 23:52 | 335 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN08aug23_024.gcd | 2023-08-08 23:52 | 335 | Unknown | 0 | 12.09 | 92698 | 24.35 | ----- | ----- | ----- | ----- | 1 |  | 72 | 15.6057 | 20832.8442 | 22.9119 | 16681.6617 | 24.0816 | 17580.2787 | 18.8568 | 18837.6853 | 15.6057 | 20832.8442 | 72 | BRN08aug23_024.gcd | 2023-08-08 23:52 | 335 | Unknown | 0 | 2.879 | 742504 | 0 | ----- | ----- | ----- | -----
73 | BRN08aug23_025.gcd | 2023-08-09 00:23 | 170 | Unknown | 0 | 6.001 | 29457 | 0.056 | ----- | ----- | ----- | ----- | 73 | BRN08aug23_025.gcd | 2023-08-09 00:23 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN08aug23_025.gcd | 2023-08-09 00:23 | 170 | Unknown | 0 | 12.153 | 9608 | 2.419 | ----- | ----- | ----- | ----- | 1 |  | 73 | 77.8493 | 2280.5277 | 92.2864 | 1810.3587 | 77.1032 | 1831.6906 | 66.6252 | 1879.9178 | 77.8493 | 2280.5277 | 73 | BRN08aug23_025.gcd | 2023-08-09 00:23 | 170 | Unknown | 0 | 2.849 | 936601 | 0 | ----- | ----- | ----- | -----
74 | BRN08aug23_026.gcd | 2023-08-09 00:53 | 205 | Unknown | 0 | 5.996 | 150554 | 0.315 | ----- | ----- | ----- | ----- | 74 | BRN08aug23_026.gcd | 2023-08-09 00:53 | 205 | Unknown | 0 | 5.963 | 1364 | 0.318 | ----- | ----- | ----- | ----- | 74 | BRN08aug23_026.gcd | 2023-08-09 00:53 | 205 | Unknown | 0 | 12.106 | 50997 | 13.593 | ----- | ----- | ----- | ----- | 1 |  | 74 | 411.9707 | 10748.5885 | 454.8599 | 9326.4282 | 393.5583 | 9704.4811 | 349.2052 | 10371.0102 | 411.9707 | 10748.5885 | 74 | BRN08aug23_026.gcd | 2023-08-09 00:53 | 205 | Unknown | 0 | 2.845 | 969706 | 0 | ----- | ----- | ----- | -----
75 | BRN08aug23_027.gcd | 2023-08-09 01:24 | 296 | Unknown | 0 | 5.999 | 52716 | 0.106 | ----- | ----- | ----- | ----- | 75 | BRN08aug23_027.gcd | 2023-08-09 01:24 | 296 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN08aug23_027.gcd | 2023-08-09 01:24 | 296 | Unknown | 0 | 12.164 | 1727 | 0.23 | ----- | ----- | ----- | ----- | 1 |  | 75 | 145.6123 | 398.3077 | 163.783 | 354.8286 | 138.1596 | 326.2959 | 121.0833 | 253.1948 | 145.6123 | 398.3077 | 75 | BRN08aug23_027.gcd | 2023-08-09 01:24 | 296 | Unknown | 0 | 2.843 | 1065312 | 0 | ----- | ----- | ----- | -----
76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | 5.999 | 44758 | 0.089 | ----- | ----- | ----- | ----- | 76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | 12.182 | 830 | -0.021 | ----- | ----- | ----- | ----- | 1 |  | 76 | 122.6194 | 180.4858 | 139.42 | 188.6688 | 117.284 | 154.8268 | 102.4604 | 67.8434 | 122.6194 | 180.4858 | 76 | BRN08aug23_028.gcd | 2023-08-09 01:54 | 220 | Unknown | 0 | 2.851 | 910611 | 0 | ----- | ----- | ----- | -----
77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | 6.093 | 2311 | -0.003 | ----- | ----- | ----- | ----- | 77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | 12.006 | 152399 | 38.998 | ----- | ----- | ----- | ----- | 1 |  | 77 | 4.5921 | 35022.3112 | 1.9937 | 26831.7428 | 1.8105 | 28757.1849 | 0.90046 | 30804.4597 | 4.5921 | 35022.3112 | 77 | BRN08aug23_029.gcd | 2023-08-09 02:25 | 149 | Unknown | 0 | 2.832 | 1283078 | 0 | ----- | ----- | ----- | -----
78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 6.089 | 25804 | 0.048 | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 12.243 | 1411 | 0.141 | ----- | ----- | ----- | ----- | 1 |  | 78 | 67.0515 | 321.6559 | 80.9771 | 296.3044 | 67.5019 | 265.8928 | 58.0642 | 187.9029 | 67.0515 | 321.6559 | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 2.929 | 1177676 | 0 | ----- | ----- | ----- | -----
78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 6.089 | 25804 | 0.048 | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN08aug23_030.gcd | 2023-08-09 02:56 | 276 | Unknown | 0 | 12.243 | 1411 | 0.141 | ----- | ----- | ----- | ----- | 1 |  | 79 | 67.0515 | 321.6559 | 80.9771 | 296.3044 | 67.5019 | 265.8928 | 58.0642 | 187.9029 | 67.0515 | 321.6559