## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
43 | BRN13apr23_001.gcd | 2023-04-13 09:28 | QC outside air | Unknown | 0 | 6.078 | 2964 | -0.001 | ----- | ----- | ----- | ----- | 43 | BRN13apr23_001.gcd | 2023-04-13 09:28 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN13apr23_001.gcd | 2023-04-13 09:28 | QC outside air | Unknown | 0 | 12.271 | 3032 | 0.537 | ----- | ----- | ----- | ----- | 1 |  | 43 | 3.3406 | 713.8951 | 3.8333 | 596.3858 | 4.1073 | 575.7109 | 1.9461 | 522.7798 | 3.3406 | 713.8951 | 43 | BRN05apr23_001.gcd | 2023-04-11 14:06 | QC outside air | Unknown | 0 | 2.707 | 5384050 | 0 | ----- | ----- | ----- | -----
44 | BRN13apr23_002.gcd | 2023-04-13 09:59 | QC outside air | Unknown | 0 | 6.073 | 3276 | -0.001 | ----- | ----- | ----- | ----- | 44 | BRN13apr23_002.gcd | 2023-04-13 09:59 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN13apr23_002.gcd | 2023-04-13 09:59 | QC outside air | Unknown | 0 | 12.229 | 2625 | 0.373 | ----- | ----- | ----- | ----- | 1 |  | 44 | 2.9052 | 615.6372 | 4.7186 | 521.0725 | 5.1872 | 497.93 | 2.4895 | 438.7117 | 2.9052 | 615.6372 | 44 | BRN05apr23_002.gcd | 2023-04-11 14:36 | QC air + 100 | Unknown | 0 | 2.702 | 5528986 | 0 | ----- | ----- | ----- | -----
45 | BRN13apr23_003.gcd | 2023-04-13 10:29 | QC air + 100 | Unknown | 0 | 6.018 | 608440 | 1.159 | ----- | ----- | ----- | ----- | 45 | BRN13apr23_003.gcd | 2023-04-13 10:29 | QC air + 100 | Unknown | 0 | 5.966 | 4797 | 1.178 | ----- | ----- | ----- | ----- | 45 | BRN13apr23_003.gcd | 2023-04-13 10:29 | QC air + 100 | Unknown | 0 | 12.231 | 5096 | 1.366 | ----- | ----- | ----- | ----- | 1 |  | 45 | 1327.5879 | 1209.8594 | 1609.4236 | 977.9983 | 1558.0712 | 970.0749 | 1396.3313 | 948.9805 | 1327.5879 | 1209.8594 | 45 | BRN05apr23_003.gcd | 2023-04-11 15:07 | QC reference yellow tank | Unknown | 0 | 2.714 | 5267824 | 0 | ----- | ----- | ----- | -----
46 | BRN13apr23_004.gcd | 2023-04-13 11:00 | QC air + 100 | Unknown | 0 | 6.014 | 888309 | 1.696 | ----- | ----- | ----- | ----- | 46 | BRN13apr23_004.gcd | 2023-04-13 11:00 | QC air + 100 | Unknown | 0 | 5.962 | 6763 | 1.62 | ----- | ----- | ----- | ----- | 46 | BRN13apr23_004.gcd | 2023-04-13 11:00 | QC air + 100 | Unknown | 0 | 12.23 | 6013 | 1.732 | ----- | ----- | ----- | ----- | 1 |  | 46 | 1862.7423 | 1428.9612 | 1843.9439 | 1147.3707 | 2019.2152 | 1145.2397 | 1897.0509 | 1138.2644 | 1862.7423 | 1428.9612 | 46 | BRN05apr23_004.gcd | 2023-04-11 15:37 | N2 flush | Unknown | 0 | 2.704 | 5436396 | 0 | ----- | ----- | ----- | -----
47 | BRN13apr23_005.gcd | 2023-04-13 11:30 | QC reference yellow tank | Unknown | 0 | 6.058 | 4845 | 0.002 | ----- | ----- | ----- | ----- | 47 | BRN13apr23_005.gcd | 2023-04-13 11:30 | QC reference yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN13apr23_005.gcd | 2023-04-13 11:30 | QC reference yellow tank | Unknown | 0 | 12.214 | 2360 | 0.266 | ----- | ----- | ----- | ----- | 1 |  | 47 | 2.3095 | 551.5797 | 9.2335 | 472.0244 | 10.4471 | 447.2834 | 5.6509 | 383.9699 | 2.3095 | 551.5797 | 47 | BRN05apr23_005.gcd | 2023-04-11 16:08 | N2 flush | Unknown | 0 | 2.703 | 5343997 | 0 | ----- | ----- | ----- | -----
48 | BRN13apr23_006.gcd | 2023-04-13 12:01 | QC reference yellow tank | Unknown | 0 | 6.055 | 4525 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN13apr23_006.gcd | 2023-04-13 12:01 | QC reference yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN13apr23_006.gcd | 2023-04-13 12:01 | QC reference yellow tank | Unknown | 0 | 12.251 | 2105 | 0.163 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.2152 | 489.879 | 8.3042 | 424.8189 | 9.3975 | 398.546 | 4.948 | 331.2904 | 2.2152 | 489.879 | 48 | BRN05apr23_006.gcd | 2023-04-11 16:39 | N2 flush | Unknown | 0 | 2.704 | 5364022 | 0 | ----- | ----- | ----- | -----
49 | BRN13apr23_007.gcd | 2023-04-13 12:31 | 230 | Unknown | 0 | 6.034 | 9659 | 0.012 | ----- | ----- | ----- | ----- | 49 | BRN13apr23_007.gcd | 2023-04-13 12:31 | 230 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN13apr23_007.gcd | 2023-04-13 12:31 | 230 | Unknown | 0 | 12.198 | 2056 | 0.143 | ----- | ----- | ----- | ----- | 1 |  | 49 | 17.0749 | 478.016 | 23.7391 | 415.7471 | 24.8048 | 389.1805 | 19.8152 | 321.1673 | 17.0749 | 478.016 | 49 | BRN05apr23_007.gcd | 2023-04-11 17:09 | N2 flush | Unknown | 0 | 2.705 | 5355701 | 0 | ----- | ----- | ----- | -----
50 | BRN13apr23_008.gcd | 2023-04-13 13:02 | 280 | Unknown | 0 | 6.035 | 10054 | 0.012 | ----- | ----- | ----- | ----- | 50 | BRN13apr23_008.gcd | 2023-04-13 13:02 | 280 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN13apr23_008.gcd | 2023-04-13 13:02 | 280 | Unknown | 0 | 12.189 | 2289 | 0.237 | ----- | ----- | ----- | ----- | 1 |  | 50 | 20.0149 | 534.4063 | 24.9731 | 458.8817 | 26.069 | 433.7136 | 21.1287 | 369.3026 | 20.0149 | 534.4063 | 50 | BRN05apr23_008.gcd | 2023-04-11 17:40 | N2 flush | Unknown | 0 | 2.707 | 5415181 | 0 | ----- | ----- | ----- | -----
51 | BRN13apr23_009.gcd | 2023-04-13 13:33 | 76 | Unknown | 0 | 6.019 | 113899 | 0.211 | ----- | ----- | ----- | ----- | 51 | BRN13apr23_009.gcd | 2023-04-13 13:33 | 76 | Unknown | 0 | 5.964 | 1000 | 0.326 | ----- | ----- | ----- | ----- | 51 | BRN13apr23_009.gcd | 2023-04-13 13:33 | 76 | Unknown | 0 | 12.199 | 2273 | 0.231 | ----- | ----- | ----- | ----- | 1 |  | 51 | 315.7163 | 530.5355 | 347.6384 | 455.9199 | 298.1443 | 430.6556 | 263.92 | 365.9973 | 315.7163 | 530.5355 | 51 | BRN05apr23_009.gcd | 2023-04-11 18:10 | N2 flush | Unknown | 0 | 2.703 | 5449196 | 0 | ----- | ----- | ----- | -----
52 | BRN13apr23_010.gcd | 2023-04-13 14:03 | 396 | Unknown | 0 | 6.018 | 53545 | 0.096 | ----- | ----- | ----- | ----- | 52 | BRN13apr23_010.gcd | 2023-04-13 14:03 | 396 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN13apr23_010.gcd | 2023-04-13 14:03 | 396 | Unknown | 0 | 12.183 | 20380 | 7.317 | ----- | ----- | ----- | ----- | 1 |  | 52 | 147.9961 | 4761.5614 | 166.3149 | 3787.2108 | 140.3333 | 3886.0445 | 123.0227 | 4098.2464 | 147.9961 | 4761.5614 | 52 | BRN05apr23_010.gcd | 2023-04-11 18:41 | air + N2 5 mls | Unknown | 0 | 2.712 | 5399895 | 0 | ----- | ----- | ----- | -----
53 | BRN13apr23_011.gcd | 2023-04-13 14:34 | 238 | Unknown | 0 | 6.02 | 9370 | 0.011 | ----- | ----- | ----- | ----- | 53 | BRN13apr23_011.gcd | 2023-04-13 14:34 | 238 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN13apr23_011.gcd | 2023-04-13 14:34 | 238 | Unknown | 0 | 12.201 | 2558 | 0.346 | ----- | ----- | ----- | ----- | 1 |  | 53 | 15.4823 | 599.4476 | 22.8405 | 508.6725 | 24.0187 | 485.1252 | 18.7749 | 424.8716 | 15.4823 | 599.4476 | 53 | BRN13apr23_011.gcd | 2023-04-13 14:34 | 238 | Unknown | 0 | 2.817 | 1788091 | 0 | ----- | ----- | ----- | -----
54 | BRN13apr23_012.gcd | 2023-04-13 15:04 | 339 | Unknown | 0 | 6.019 | 118501 | 0.22 | ----- | ----- | ----- | ----- | 54 | BRN13apr23_012.gcd | 2023-04-13 15:04 | 339 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN13apr23_012.gcd | 2023-04-13 15:04 | 339 | Unknown | 0 | 12.195 | 1716 | 0.006 | ----- | ----- | ----- | ----- | 1 |  | 54 | 328.0335 | 395.6409 | 361.2204 | 352.7916 | 310.1413 | 324.1933 | 274.6394 | 250.9221 | 328.0335 | 395.6409 | 54 | BRN13apr23_012.gcd | 2023-04-13 15:04 | 339 | Unknown | 0 | 2.848 | 1238385 | 0 | ----- | ----- | ----- | -----
55 | BRN13apr23_013.gcd | 2023-04-13 15:35 | 213 | Unknown | 0 | 6.016 | 13509 | 0.019 | ----- | ----- | ----- | ----- | 55 | BRN13apr23_013.gcd | 2023-04-13 15:35 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN13apr23_013.gcd | 2023-04-13 15:35 | 213 | Unknown | 0 | 12.197 | 5370 | 1.475 | ----- | ----- | ----- | ----- | 1 |  | 55 | 30.4001 | 1275.4075 | 36.0488 | 1028.6179 | 35.1631 | 1022.4171 | 29.2344 | 1005.5431 | 30.4001 | 1275.4075 | 55 | BRN13apr23_013.gcd | 2023-04-13 15:35 | 213 | Unknown | 0 | 2.839 | 1299077 | 0 | ----- | ----- | ----- | -----
56 | BRN13apr23_014.gcd | 2023-04-13 16:05 | 361 | Unknown | 0 | 6.027 | 9569 | 0.011 | ----- | ----- | ----- | ----- | 56 | BRN13apr23_014.gcd | 2023-04-13 16:05 | 361 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN13apr23_014.gcd | 2023-04-13 16:05 | 361 | Unknown | 0 | 12.214 | 1703 | 0.001 | ----- | ----- | ----- | ----- | 1 |  | 56 | 16.5692 | 392.4892 | 23.4589 | 350.3842 | 24.5611 | 321.7084 | 19.4887 | 248.2361 | 16.5692 | 392.4892 | 56 | BRN13apr23_014.gcd | 2023-04-13 16:05 | 361 | Unknown | 0 | 2.846 | 1306076 | 0 | ----- | ----- | ----- | -----
57 | BRN13apr23_015.gcd | 2023-04-13 16:36 | 294 | Unknown | 0 | 6.023 | 55579 | 0.1 | ----- | ----- | ----- | ----- | 57 | BRN13apr23_015.gcd | 2023-04-13 16:36 | 294 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN13apr23_015.gcd | 2023-04-13 16:36 | 294 | Unknown | 0 | 12.187 | 19641 | 7.037 | ----- | ----- | ----- | ----- | 1 |  | 57 | 153.8355 | 4594.7348 | 172.5226 | 3652.0567 | 145.6661 | 3745.2286 | 127.7807 | 3946.2499 | 153.8355 | 4594.7348 | 57 | BRN13apr23_015.gcd | 2023-04-13 16:36 | 294 | Unknown | 0 | 2.834 | 1558183 | 0 | ----- | ----- | ----- | -----
58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | 6.019 | 14632 | 0.021 | ----- | ----- | ----- | ----- | 58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | 12.192 | 6082 | 1.759 | ----- | ----- | ----- | ----- | 1 |  | 58 | 33.7675 | 1445.4165 | 39.7581 | 1160.1109 | 38.1183 | 1158.4189 | 31.8687 | 1152.5054 | 33.7675 | 1445.4165 | 58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | 2.824 | 1620143 | 0 | ----- | ----- | ----- | -----
59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | 6.038 | 4380 | 0.002 | ----- | ----- | ----- | ----- | 59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | 12.182 | 16743 | 5.929 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.2089 | 3935.7144 | 7.8846 | 3121.386 | 8.918 | 3192.8455 | 4.6394 | 3349.9241 | 2.2089 | 3935.7144 | 59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | 2.836 | 1348341 | 0 | ----- | ----- | ----- | -----
60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | 6.034 | 3790 | 0 | ----- | ----- | ----- | ----- | 60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | 12.18 | 17036 | 6.041 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.4173 | 4002.6922 | 6.1862 | 3175.087 | 6.9418 | 3248.7061 | 3.4464 | 3410.2347 | 2.4173 | 4002.6922 | 60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | 2.841 | 1227020 | 0 | ----- | ----- | ----- | -----
61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 6.005 | 155405 | 0.291 | ----- | ----- | ----- | ----- | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 5.957 | 1361 | 0.407 | ----- | ----- | ----- | ----- | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 12.152 | 15852 | 5.586 | ----- | ----- | ----- | ----- | 1 |  | 61 | 424.3917 | 3731.5565 | 468.8855 | 2958.0176 | 406.1613 | 3022.9585 | 360.4758 | 3166.4956 | 424.3917 | 3731.5565 | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 2.851 | 1088209 | 0 | ----- | ----- | ----- | -----
62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 6.014 | 11041 | 0.014 | ----- | ----- | ----- | ----- | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 12.166 | 7250 | 2.224 | ----- | ----- | ----- | ----- | 1 |  | 62 | 22.9855 | 1723.3062 | 28.0854 | 1375.6807 | 28.6672 | 1381.4873 | 23.4444 | 1393.5336 | 22.9855 | 1723.3062 | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 2.851 | 1071659 | 0 | ----- | ----- | ----- | -----
63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 6.012 | 19232 | 0.03 | ----- | ----- | ----- | ----- | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 12.169 | 6542 | 1.942 | ----- | ----- | ----- | ----- | 1 |  | 63 | 47.5197 | 1555.0079 | 60.576 | 1245.0304 | 50.2205 | 1246.2765 | 42.6569 | 1247.4392 | 47.5197 | 1555.0079 | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 2.858 | 950805 | 0 | ----- | ----- | ----- | -----
64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 6.008 | 106158 | 0.196 | ----- | ----- | ----- | ----- | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 12.078 | 88761 | 30.88 | ----- | ----- | ----- | ----- | 1 |  | 64 | 294.8468 | 19886.8684 | 324.7143 | 15996.585 | 277.9527 | 16839.1405 | 245.8813 | 18042.139 | 294.8468 | 19886.8684 | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 2.862 | 922515 | 0 | ----- | ----- | ----- | -----
65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 6.005 | 115431 | 0.214 | ----- | ----- | ----- | ----- | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 12.073 | 87868 | 30.597 | ----- | ----- | ----- | ----- | 1 |  | 65 | 319.8241 | 19672.1235 | 352.1637 | 15840.9235 | 302.1387 | 16670.9636 | 267.4888 | 17861.5812 | 319.8241 | 19672.1235 | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 2.85 | 1081170 | 0 | ----- | ----- | ----- | -----
66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 6.012 | 13314 | 0.019 | ----- | ----- | ----- | ----- | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 12.151 | 7583 | 2.356 | ----- | ----- | ----- | ----- | 1 |  | 66 | 29.815 | 1802.3054 | 35.4102 | 1437.1088 | 34.6499 | 1445.0766 | 28.777 | 1462.2387 | 29.815 | 1802.3054 | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 2.852 | 1037790 | 0 | ----- | ----- | ----- | -----
67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 6.004 | 17170 | 0.026 | ----- | ----- | ----- | ----- | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 12.146 | 10838 | 3.639 | ----- | ----- | ----- | ----- | 1 |  | 67 | 41.3634 | 2569.1775 | 54.1605 | 2036.8221 | 44.7962 | 2066.4577 | 37.8214 | 2133.517 | 41.3634 | 2569.1775 | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 2.839 | 1110200 | 0 | ----- | ----- | ----- | -----
68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 6.007 | 157424 | 0.295 | ----- | ----- | ----- | ----- | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 5.961 | 1026 | 0.332 | ----- | ----- | ----- | ----- | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 12.151 | 15598 | 5.488 | ----- | ----- | ----- | ----- | 1 |  | 68 | 429.5395 | 3673.224 | 474.7117 | 2911.4274 | 411.405 | 2974.5236 | 365.1656 | 3114.1976 | 429.5395 | 3673.224 | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 2.853 | 1061434 | 0 | ----- | ----- | ----- | -----