## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN15aug23_001.gcd | 2023-08-15 10:58 | air | Unknown | 0 | 6.096 | 2275 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN15aug23_001.gcd | 2023-08-15 10:58 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN15aug23_001.gcd | 2023-08-15 10:58 | air | Unknown | 0 | 12.215 | 2862 | 0.546 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.6745 | 672.8721 | 1.8929 | 564.9306 | 1.6824 | 543.2232 | 0.84642 | 487.6664 |  |  | 49 | BRN15aug23_001.gcd | 2023-08-15 10:58 | air | Unknown | 0 | 2.7 | 5266470 | 0 | ----- | ----- | ----- | -----
50 | BRN15aug23_002.gcd | 2023-08-15 11:28 | spiked air | Unknown | 0 | 6.089 | 2349 | -0.002 | ----- | ----- | ----- | ----- | 50 | BRN15aug23_002.gcd | 2023-08-15 11:28 | spiked air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN15aug23_002.gcd | 2023-08-15 11:28 | spiked air | Unknown | 0 | 12.19 | 1893 | 0.276 | ----- | ----- | ----- | ----- | 3 | not spiked? | 50 | 4.5066 | 438.5376 | 2.1003 | 385.5673 | 1.9455 | 358.0253 | 0.95792 | 287.4917 |  |  | 50 | BRN15aug23_002.gcd | 2023-08-15 11:28 | spiked air | Unknown | 0 | 2.719 | 4998136 | 0 | ----- | ----- | ----- | -----
51 | BRN15aug23_003.gcd | 2023-08-15 11:59 | yellow | Unknown | 0 | 6.086 | 2353 | -0.002 | ----- | ----- | ----- | ----- | 51 | BRN15aug23_003.gcd | 2023-08-15 11:59 | yellow | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN15aug23_003.gcd | 2023-08-15 11:59 | yellow | Unknown | 0 | 12.224 | 2284 | 0.385 | ----- | ----- | ----- | ----- | 1 |  | 51 | 4.4977 | 533.1967 | 2.1115 | 457.9562 | 1.9597 | 432.758 | 0.96399 | 368.2697 |  |  | 51 | BRN15aug23_003.gcd | 2023-08-15 11:59 | yellow | Unknown | 0 | 2.72 | 5076838 | 0 | ----- | ----- | ----- | -----
52 | BRN15aug23_004.gcd | 2023-08-15 12:30 | 069 big bubble | Unknown | 0 | 6.007 | 10154 | 0.014 | ----- | ----- | ----- | ----- | 52 | BRN15aug23_004.gcd | 2023-08-15 12:30 | 069 big bubble | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN15aug23_004.gcd | 2023-08-15 12:30 | 069 big bubble | Unknown | 0 | 12.143 | 10860 | 2.765 | ----- | ----- | ----- | ----- | 1 |  | 52 | 20.316 | 2574.3277 | 25.2865 | 2040.8709 | 26.3322 | 2070.6563 | 21.3633 | 2138.0522 |  |  | 52 | BRN15aug23_004.gcd | 2023-08-15 12:30 | 069 big bubble | Unknown | 0 | 2.8 | 1973295 | 0 | ----- | ----- | ----- | -----
53 | BRN15aug23_005.gcd | 2023-08-15 13:00 | 104 | Unknown | 0 | 5.891 | 25866633 | 58.46 | ----- | ----- | ----- | ----- | 53 | BRN15aug23_005.gcd | 2023-08-15 13:00 | 104 | Unknown | 0 | 5.864 | 266451 | 66.635 | ----- | ----- | ----- | ----- | 53 | BRN15aug23_005.gcd | 2023-08-15 13:00 | 104 | Unknown | 0 | 12.05 | 100756 | 26.377 | ----- | ----- | ----- | ----- | 1 |  | 53 | 65892.7588 | 22765.0537 | 51391.7672 | 18077.7657 | 67179.244 | 19095.6214 | 64690.937 | 20463.492 |  |  | 53 | BRN15aug23_005.gcd | 2023-08-15 13:00 | 104 | Unknown | 0 | 2.854 | 742093 | 0 | ----- | ----- | ----- | -----
54 | BRN15aug23_006.gcd | 2023-08-15 13:31 | 147 | Unknown | 0 | 6.012 | 342138 | 0.727 | ----- | ----- | ----- | ----- | 54 | BRN15aug23_006.gcd | 2023-08-15 13:31 | 147 | Unknown | 0 | 5.965 | 2590 | 0.634 | ----- | ----- | ----- | ----- | 54 | BRN15aug23_006.gcd | 2023-08-15 13:31 | 147 | Unknown | 0 | 12.187 | 4063 | 0.881 | ----- | ----- | ----- | ----- | 1 |  | 54 | 815.6704 | 962.1227 | 979.5826 | 787.074 | 886.9702 | 772.7192 | 791.4421 | 735.7008 |  |  | 54 | BRN15aug23_006.gcd | 2023-08-15 13:31 | 147 | Unknown | 0 | 2.871 | 841653 | 0 | ----- | ----- | ----- | -----
55 | BRN15aug23_007.gcd | 2023-08-15 14:02 | 240 | Unknown | 0 | 6.045 | 3172 | -0.001 | ----- | ----- | ----- | ----- | 55 | BRN15aug23_007.gcd | 2023-08-15 14:02 | 240 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN15aug23_007.gcd | 2023-08-15 14:02 | 240 | Unknown | 0 | 11.999 | 161032 | 41.051 | ----- | ----- | ----- | ----- | 1 |  | 55 | 3.0387 | 37050.036 | 4.4231 | 28262.4548 | 4.8285 | 30363.8174 | 2.3053 | 32519.8475 |  |  | 55 | BRN15aug23_007.gcd | 2023-08-15 14:02 | 240 | Unknown | 0 | 2.848 | 898564 | 0 | ----- | ----- | ----- | -----
56 | BRN15aug23_008.gcd | 2023-08-15 14:32 | 273 | Unknown | 0 | 6.016 | 31395 | 0.06 | ----- | ----- | ----- | ----- | 56 | BRN15aug23_008.gcd | 2023-08-15 14:32 | 273 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN15aug23_008.gcd | 2023-08-15 14:32 | 273 | Unknown | 0 | 12.175 | 894 | -0.003 | ----- | ----- | ----- | ----- | 1 |  | 56 | 83.5606 | 196.0515 | 98.2774 | 200.5274 | 82.1956 | 167.0618 | 71.1661 | 81.0694 |  |  | 56 | BRN15aug23_008.gcd | 2023-08-15 14:32 | 273 | Unknown | 0 | 2.864 | 959695 | 0 | ----- | ----- | ----- | -----
57 | BRN15aug23_009.gcd | 2023-08-15 15:03 | 72 | Unknown | 0 | 6.017 | 29062 | 0.055 | ----- | ----- | ----- | ----- | 57 | BRN15aug23_009.gcd | 2023-08-15 15:03 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN15aug23_009.gcd | 2023-08-15 15:03 | 72 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 57 | 76.6837 | #VALUE! | 91.0646 | #VALUE! | 76.0652 | #VALUE! | 65.6996 | #VALUE! |  |  | 57 | BRN15aug23_009.gcd | 2023-08-15 15:03 | 72 | Unknown | 0 | 2.847 | 1306705 | 0 | ----- | ----- | ----- | -----
58 | BRN16aug23_009.gcd | 2023-08-16 09:50 | 072 2nd try | Unknown | 0 | 6.025 | 27971 | 0.053 | ----- | ----- | ----- | ----- | 58 | BRN16aug23_009.gcd | 2023-08-16 09:50 | 072 2nd try | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN16aug23_009.gcd | 2023-08-16 09:50 | 072 2nd try | Unknown | 0 | 12.218 | 2281 | 0.384 | ----- | ----- | ----- | ----- | 1 |  | 58 | 73.4619 | 532.4709 | 87.6885 | 457.4008 | 73.1979 | 432.1846 | 63.1429 | 367.6499 |  |  | 58 | BRN16aug23_009.gcd | 2023-08-16 09:50 | 072 2nd try | Unknown | 0 | 2.81 | 2060774 | 0 | ----- | ----- | ----- | -----
59 | BRN16aug23_010.gcd | 2023-08-16 10:20 | 314 | Unknown | 0 | 6.008 | 9918 | 0.014 | ----- | ----- | ----- | ----- | 59 | BRN16aug23_010.gcd | 2023-08-16 10:20 | 314 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN16aug23_010.gcd | 2023-08-16 10:20 | 314 | Unknown | 0 | 12 | 158438 | 40.436 | ----- | ----- | ----- | ----- | 1 |  | 59 | 18.5788 | 36441.3963 | 24.5475 | 27833.545 | 25.5012 | 29881.3193 | 20.7682 | 32004.8163 |  |  | 59 | BRN16aug23_010.gcd | 2023-08-16 10:20 | 314 | Unknown | 0 | 2.813 | 1712435 | 0 | ----- | ----- | ----- | -----
60 | BRN16aug23_011.gcd | 2023-08-16 10:51 | 62 | Unknown | 0 | 6.002 | 18463 | 0.032 | ----- | ----- | ----- | ----- | 60 | BRN16aug23_011.gcd | 2023-08-16 10:51 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN16aug23_011.gcd | 2023-08-16 10:51 | 62 | Unknown | 0 | 12.163 | 2446 | 0.43 | ----- | ----- | ----- | ----- | 1 |  | 60 | 45.2253 | 572.3752 | 58.1843 | 487.9429 | 48.1977 | 463.7199 | 40.8537 | 401.7355 |  |  | 60 | BRN16aug23_011.gcd | 2023-08-16 10:51 | 62 | Unknown | 0 | 2.807 | 1834391 | 0 | ----- | ----- | ----- | -----
61 | BRN16aug23_012.gcd | 2023-08-16 11:22 | 364 | Unknown | 0 | 6.081 | 2320 | -0.002 | ----- | ----- | ----- | ----- | 61 | BRN16aug23_012.gcd | 2023-08-16 11:22 | 364 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN16aug23_012.gcd | 2023-08-16 11:22 | 364 | Unknown | 0 | 12.026 | 160815 | 40.999 | ----- | ----- | ----- | ----- | 1 |  | 61 | 4.5717 | 36999.1416 | 2.019 | 28226.6069 | 1.8424 | 30323.4626 | 0.91403 | 32476.7759 |  |  | 61 | BRN16aug23_012.gcd | 2023-08-16 11:22 | 364 | Unknown | 0 | 2.838 | 1567454 | 0 | ----- | ----- | ----- | -----
62 | BRN16aug23_013.gcd | 2023-08-16 11:52 | 349 | Unknown | 0 | 6.003 | 18969 | 0.033 | ----- | ----- | ----- | ----- | 62 | BRN16aug23_013.gcd | 2023-08-16 11:52 | 349 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN16aug23_013.gcd | 2023-08-16 11:52 | 349 | Unknown | 0 | 12.162 | 1739 | 0.233 | ----- | ----- | ----- | ----- | 1 |  | 62 | 46.7352 | 401.2167 | 59.7581 | 357.0508 | 49.5287 | 328.5896 | 42.0402 | 255.6741 |  |  | 62 | BRN16aug23_013.gcd | 2023-08-16 11:52 | 349 | Unknown | 0 | 2.811 | 1763426 | 0 | ----- | ----- | ----- | -----
63 | BRN16aug23_014.gcd | 2023-08-16 12:23 | 243 | Unknown | 0 | 6.017 | 157222 | 0.33 | ----- | ----- | ----- | ----- | 63 | BRN16aug23_014.gcd | 2023-08-16 12:23 | 243 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN16aug23_014.gcd | 2023-08-16 12:23 | 243 | Unknown | 0 | 12.112 | 69757 | 18.49 | ----- | ----- | ----- | ----- | 1 |  | 63 | 429.0251 | 15302.7879 | 474.1291 | 12662.3365 | 410.8804 | 13254.5586 | 364.6964 | 14190.8906 |  |  | 63 | BRN16aug23_014.gcd | 2023-08-16 12:23 | 243 | Unknown | 0 | 2.834 | 1634308 | 0 | ----- | ----- | ----- | -----
64 | BRN16aug23_015.gcd | 2023-08-16 12:54 | 259 | Unknown | 0 | 6.016 | 339060 | 0.72 | ----- | ----- | ----- | ----- | 64 | BRN16aug23_015.gcd | 2023-08-16 12:54 | 259 | Unknown | 0 | 5.967 | 3272 | 0.809 | ----- | ----- | ----- | ----- | 64 | BRN16aug23_015.gcd | 2023-08-16 12:54 | 259 | Unknown | 0 | 12.19 | 6772 | 1.634 | ----- | ----- | ----- | ----- | 1 |  | 64 | 809.7381 | 1609.7313 | 971.6259 | 1287.4802 | 879.1131 | 1290.2027 | 784.3839 | 1294.9021 |  |  | 64 | BRN16aug23_015.gcd | 2023-08-16 12:54 | 259 | Unknown | 0 | 2.833 | 1695001 | 0 | ----- | ----- | ----- | -----
65 | BRN16aug23_016.gcd | 2023-08-16 13:24 | 410 | Unknown | 0 | 6.017 | 323955 | 0.688 | ----- | ----- | ----- | ----- | 65 | BRN16aug23_016.gcd | 2023-08-16 13:24 | 410 | Unknown | 0 | 5.966 | 2937 | 0.723 | ----- | ----- | ----- | ----- | 65 | BRN16aug23_016.gcd | 2023-08-16 13:24 | 410 | Unknown | 0 | 12.132 | 55828 | 14.863 | ----- | ----- | ----- | ----- | 1 |  | 65 | 780.6207 | 11924.1199 | 932.3552 | 10189.7018 | 840.5223 | 10619.777 | 749.7239 | 11356.4077 |  |  | 65 | BRN16aug23_016.gcd | 2023-08-16 13:24 | 410 | Unknown | 0 | 2.831 | 1711792 | 0 | ----- | ----- | ----- | -----
66 | BRN16aug23_017.gcd | 2023-08-16 13:55 | 291 | Unknown | 0 | 6.06 | 2905 | -0.001 | ----- | ----- | ----- | ----- | 66 | BRN16aug23_017.gcd | 2023-08-16 13:55 | 291 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN16aug23_017.gcd | 2023-08-16 13:55 | 291 | Unknown | 0 | 12.014 | 153729 | 39.316 | ----- | ----- | ----- | ----- | 1 |  | 66 | 3.4347 | 35335.0997 | 3.6664 | 27052.768 | 3.9018 | 29004.8606 | 1.8466 | 31068.9802 |  |  | 66 | BRN16aug23_017.gcd | 2023-08-16 13:55 | 291 | Unknown | 0 | 2.815 | 1669553 | 0 | ----- | ----- | ----- | -----
67 | BRN16aug23_018.gcd | 2023-08-16 14:26 | 367 | Unknown | 0 | 6.108 | 2207 | -0.003 | ----- | ----- | ----- | ----- | 67 | BRN16aug23_018.gcd | 2023-08-16 14:26 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN16aug23_018.gcd | 2023-08-16 14:26 | 367 | Unknown | 0 | 12.027 | 162614 | 41.425 | ----- | ----- | ----- | ----- | 1 |  | 67 | 4.8339 | 37420.9563 | 1.7024 | 28523.6188 | 1.4401 | 30657.9705 | 0.74536 | 32833.7805 |  |  | 67 | BRN16aug23_018.gcd | 2023-08-16 14:26 | 367 | Unknown | 0 | 2.84 | 1535917 | 0 | ----- | ----- | ----- | -----
68 | BRN16aug23_019.gcd | 2023-08-16 14:56 | 285 | Unknown | 0 | 6.028 | 12624 | 0.02 | ----- | ----- | ----- | ----- | 68 | BRN16aug23_019.gcd | 2023-08-16 14:56 | 285 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN16aug23_019.gcd | 2023-08-16 14:56 | 285 | Unknown | 0 | 12.174 | 12598 | 3.244 | ----- | ----- | ----- | ----- | 1 |  | 68 | 27.7435 | 2979.8045 | 33.1634 | 2360.537 | 32.8339 | 2402.299 | 27.1583 | 2496.2563 |  |  | 68 | BRN16aug23_019.gcd | 2023-08-16 14:56 | 285 | Unknown | 0 | 2.833 | 1710689 | 0 | ----- | ----- | ----- | -----
69 | BRN16aug23_020.gcd | 2023-08-16 15:27 | 89 | Unknown | 0 | 6 | 113773 | 0.237 | ----- | ----- | ----- | ----- | 69 | BRN16aug23_020.gcd | 2023-08-16 15:27 | 89 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN16aug23_020.gcd | 2023-08-16 15:27 | 89 | Unknown | 0 | 12.073 | 87334 | 22.992 | ----- | ----- | ----- | ----- | 1 |  | 69 | 315.3781 | 19543.6782 | 347.2661 | 15747.7925 | 297.8158 | 16570.3841 | 263.6265 | 17753.591 |  |  | 69 | BRN16aug23_020.gcd | 2023-08-16 15:27 | 89 | Unknown | 0 | 2.809 | 1836417 | 0 | ----- | ----- | ----- | -----
70 | BRN16aug23_021.gcd | 2023-08-16 15:58 | 204 | Unknown | 0 | 6.01 | 8604 | 0.011 | ----- | ----- | ----- | ----- | 70 | BRN16aug23_021.gcd | 2023-08-16 15:58 | 204 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN16aug23_021.gcd | 2023-08-16 15:58 | 204 | Unknown | 0 | 12.002 | 160379 | 40.896 | ----- | ----- | ----- | ----- | 1 |  | 70 | 11.6975 | 36896.8721 | 20.4759 | 28154.5628 | 21.8881 | 30242.3765 | 16.1349 | 32390.2286 |  |  | 70 | BRN16aug23_021.gcd | 2023-08-16 15:58 | 204 | Unknown | 0 | 2.812 | 1696165 | 0 | ----- | ----- | ----- | -----
71 | BRN16aug23_022.gcd | 2023-08-16 16:28 | 374 | Unknown | 0 | 6.004 | 24187 | 0.044 | ----- | ----- | ----- | ----- | 71 | BRN16aug23_022.gcd | 2023-08-16 16:28 | 374 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN16aug23_022.gcd | 2023-08-16 16:28 | 374 | Unknown | 0 | 12.165 | 6027 | 1.427 | ----- | ----- | ----- | ----- | 1 |  | 71 | 62.2585 | 1432.3003 | 75.9641 | 1149.9557 | 63.2509 | 1147.9138 | 54.274 | 1141.1539 |  |  | 71 | BRN16aug23_022.gcd | 2023-08-16 16:28 | 374 | Unknown | 0 | 2.808 | 1866847 | 0 | ----- | ----- | ----- | -----
72 | BRN16aug23_023.gcd | 2023-08-16 16:59 | 301 | Unknown | 0 | 5.929 | 23683689 | 53.27 | ----- | ----- | ----- | ----- | 72 | BRN16aug23_023.gcd | 2023-08-16 16:59 | 301 | Unknown | 0 | 5.899 | 221985 | 55.767 | ----- | ----- | ----- | ----- | 72 | BRN16aug23_023.gcd | 2023-08-16 16:59 | 301 | Unknown | 0 | 12.029 | 156762 | 40.038 | ----- | ----- | ----- | ----- | 1 |  | 72 | 54921.6057 | 36047.8575 | 42876.3276 | 27555.9744 | 56214.0578 | 29569.4579 | 54124.2986 | 31671.8686 |  |  | 72 | BRN16aug23_023.gcd | 2023-08-16 16:59 | 301 | Unknown | 0 | 2.838 | 1524691 | 0 | ----- | ----- | ----- | -----
73 | BRN16aug23_024.gcd | 2023-08-16 17:30 | 168 | Unknown | 0 | 6.02 | 204087 | 0.43 | ----- | ----- | ----- | ----- | 73 | BRN16aug23_024.gcd | 2023-08-16 17:30 | 168 | Unknown | 0 | 5.968 | 1755 | 0.419 | ----- | ----- | ----- | ----- | 73 | BRN16aug23_024.gcd | 2023-08-16 17:30 | 168 | Unknown | 0 | 12.131 | 56633 | 15.074 | ----- | ----- | ----- | ----- | 1 |  | 73 | 549.2541 | 12119.8157 | 607.5115 | 10333.2662 | 532.3225 | 10772.221 | 473.3717 | 11520.4909 |  |  | 73 | BRN16aug23_024.gcd | 2023-08-16 17:30 | 168 | Unknown | 0 | 2.826 | 1886956 | 0 | ----- | ----- | ----- | -----
74 | BRN16aug23_025.gcd | 2023-08-16 18:00 | 234 | Unknown | 0 | 6.094 | 2311 | -0.003 | ----- | ----- | ----- | ----- | 74 | BRN16aug23_025.gcd | 2023-08-16 18:00 | 234 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN16aug23_025.gcd | 2023-08-16 18:00 | 234 | Unknown | 0 | 12.032 | 151676 | 38.826 | ----- | ----- | ----- | ----- | 1 |  | 74 | 4.5921 | 34852.2158 | 1.9937 | 26711.4983 | 1.8105 | 28622.522 | 0.90046 | 30660.6261 |  |  | 74 | BRN16aug23_025.gcd | 2023-08-16 18:00 | 234 | Unknown | 0 | 2.84 | 1532027 | 0 | ----- | ----- | ----- | -----
75 | BRN16aug23_026.gcd | 2023-08-16 18:31 | 188 | Unknown | 0 | 6.021 | 119539 | 0.249 | ----- | ----- | ----- | ----- | 75 | BRN16aug23_026.gcd | 2023-08-16 18:31 | 188 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN16aug23_026.gcd | 2023-08-16 18:31 | 188 | Unknown | 0 | 12.112 | 74525 | 19.72 | ----- | ----- | ----- | ----- | 1 |  | 75 | 330.8025 | 16455.6849 | 364.279 | 13503.142 | 312.8466 | 14155.0144 | 277.0567 | 15158.88 |  |  | 75 | BRN16aug23_026.gcd | 2023-08-16 18:31 | 188 | Unknown | 0 | 2.839 | 1618230 | 0 | ----- | ----- | ----- | -----
76 | BRN16aug23_027.gcd | 2023-08-16 19:02 | 395 | Unknown | 0 | 6.022 | 121238 | 0.253 | ----- | ----- | ----- | ----- | 76 | BRN16aug23_027.gcd | 2023-08-16 19:02 | 395 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN16aug23_027.gcd | 2023-08-16 19:02 | 395 | Unknown | 0 | 12.1 | 91660 | 24.088 | ----- | ----- | ----- | ----- | 1 |  | 76 | 335.3275 | 20583.5584 | 369.2817 | 16501.2284 | 317.274 | 17384.9247 | 281.013 | 18628.0143 |  |  | 76 | BRN16aug23_027.gcd | 2023-08-16 19:02 | 395 | Unknown | 0 | 2.833 | 1786526 | 0 | ----- | ----- | ----- | -----
77 | BRN16aug23_028.gcd | 2023-08-16 19:33 | 347 | Unknown | 0 | 6.031 | 7933 | 0.01 | ----- | ----- | ----- | ----- | 77 | BRN16aug23_028.gcd | 2023-08-16 19:33 | 347 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN16aug23_028.gcd | 2023-08-16 19:33 | 347 | Unknown | 0 | 12.193 | 1903 | 0.279 | ----- | ----- | ----- | ----- | 1 |  | 77 | 8.9028 | 440.9603 | 18.4251 | 387.4189 | 19.9659 | 359.9367 | 13.9624 | 289.5577 |  |  | 77 | BRN16aug23_028.gcd | 2023-08-16 19:33 | 347 | Unknown | 0 | 2.836 | 1698622 | 0 | ----- | ----- | ----- | -----
78 | BRN16aug23_029.gcd | 2023-08-16 20:03 | 167 | Unknown | 0 | 6.023 | 23350 | 0.043 | ----- | ----- | ----- | ----- | 78 | BRN16aug23_029.gcd | 2023-08-16 20:03 | 167 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN16aug23_029.gcd | 2023-08-16 20:03 | 167 | Unknown | 0 | 12.19 | 7831 | 1.927 | ----- | ----- | ----- | ----- | 1 |  | 78 | 59.7742 | 1861.0739 | 73.3675 | 1482.8481 | 61.0502 | 1492.4321 | 52.3119 | 1513.4027 |  |  | 78 | BRN16aug23_029.gcd | 2023-08-16 20:03 | 167 | Unknown | 0 | 2.834 | 1705385 | 0 | ----- | ----- | ----- | -----
79 | BRN16aug23_030.gcd | 2023-08-16 20:34 | 137 | Unknown | 0 | 6.021 | 345022 | 0.733 | ----- | ----- | ----- | ----- | 79 | BRN16aug23_030.gcd | 2023-08-16 20:34 | 137 | Unknown | 0 | 5.971 | 3123 | 0.771 | ----- | ----- | ----- | ----- | 79 | BRN16aug23_030.gcd | 2023-08-16 20:34 | 137 | Unknown | 0 | 12.102 | 82061 | 21.65 | ----- | ----- | ----- | ----- | 1 |  | 79 | 821.2285 | 18274.0888 | 987.0237 | 14826.2457 | 894.3299 | 15576.7102 | 798.0542 | 16686.4568 |  |  | 79 | BRN16aug23_030.gcd | 2023-08-16 20:34 | 137 | Unknown | 0 | 2.83 | 1908508 | 0 | ----- | ----- | ----- | -----
80 | BRN16aug23_031.gcd | 2023-08-16 21:05 | 255 | Unknown | 0 | 6.04 | 2013 | -0.003 | ----- | ----- | ----- | ----- | 80 | BRN16aug23_031.gcd | 2023-08-16 21:05 | 255 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN16aug23_031.gcd | 2023-08-16 21:05 | 255 | Unknown | 0 | 12.011 | 157913 | 40.311 | ----- | ----- | ----- | ----- | 1 |  | 80 | 5.3162 | 36318.1466 | 1.1603 | 27746.6351 | 0.74588 | 29783.6399 | 0.46443 | 31900.5372 |  |  | 80 | BRN16aug23_031.gcd | 2023-08-16 21:05 | 255 | Unknown | 0 | 2.82 | 1596597 | 0 | ----- | ----- | ----- | -----