## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
79 | BRN15nov23_001.gcd | 2023-11-15 10:20 | QC outside air | Unknown | 0 | 6.081 | 1993 | -0.003 | ----- | ----- | ----- | ----- | 79 | BRN15nov23_001.gcd | 2023-11-15 10:20 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN15nov23_001.gcd | 2023-11-15 10:20 | QC outside air | Unknown | 0 | 12.294 | 2240 | 0.373 | ----- | ----- | ----- | ----- | 1 |  | 79 | 5.3683 | 522.5515 | 1.1045 | 449.811 | 0.67406 | 424.3484 | 0.43609 | 359.18 | 5.3683 | 522.5515 | 79 | BRN15nov23_001.gcd | 2023-11-15 10:20 | QC outside air | Unknown | 0 | 2.709 | 5325949 | 0 | ----- | ----- | ----- | -----
78 | BRN15nov23_002.gcd | 2023-11-15 10:50 | QC spiked air | Unknown | 0 | 6.044 | 11043 | 0.016 | ----- | ----- | ----- | ----- | 78 | BRN15nov23_002.gcd | 2023-11-15 10:50 | QC spiked air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN15nov23_002.gcd | 2023-11-15 10:50 | QC spiked air | Unknown | 0 | 12.282 | 3316 | 0.673 | ----- | ----- | ----- | ----- | 3 | leaky vial? | 78 | 22.9915 | 782.3688 | 28.0917 | 648.9262 | 28.6725 | 629.9824 | 23.4491 | 581.4366 | 22.9915 | 782.3688 | 78 | BRN15nov23_002.gcd | 2023-11-15 10:50 | QC spiked air | Unknown | 0 | 2.717 | 5272346 | 0 | ----- | ----- | ----- | -----
77 | BRN15nov23_003.gcd | 2023-11-15 11:21 | QC reference tank | Unknown | 0 | 6.068 | 3619 | 0 | ----- | ----- | ----- | ----- | 77 | BRN15nov23_003.gcd | 2023-11-15 11:21 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN15nov23_003.gcd | 2023-11-15 11:21 | QC reference tank | Unknown | 0 | 12.285 | 1393 | 0.136 | ----- | ----- | ----- | ----- | 1 |  | 77 | 2.5479 | 317.287 | 5.6967 | 292.9704 | 6.3615 | 262.452 | 3.1195 | 184.1836 | 2.5479 | 317.287 | 77 | BRN15nov23_003.gcd | 2023-11-15 11:21 | QC reference tank | Unknown | 0 | 2.718 | 5228621 | 0 | ----- | ----- | ----- | -----
76 | BRN15nov23_004.gcd | 2023-11-15 11:52 | 128 | Unknown | 0 | 6.049 | 7445 | 0.008 | ----- | ----- | ----- | ----- | 76 | BRN15nov23_004.gcd | 2023-11-15 11:52 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN15nov23_004.gcd | 2023-11-15 11:52 | 128 | Unknown | 0 | 12.226 | 16560 | 4.333 | ----- | ----- | ----- | ----- | 1 |  | 76 | 7.1757 | 3893.8421 | 16.9456 | 3087.8404 | 18.5352 | 3157.955 | 12.4645 | 3312.2536 | 7.1757 | 3893.8421 | 76 | BRN15nov23_004.gcd | 2023-11-15 11:52 | 128 | Unknown | 0 | 2.876 | 782836 | 0 | ----- | ----- | ----- | -----
75 | BRN15nov23_005.gcd | 2023-11-15 12:22 | 37 | Unknown | 0 | 6.048 | 6874 | 0.007 | ----- | ----- | ----- | ----- | 75 | BRN15nov23_005.gcd | 2023-11-15 12:22 | 37 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN15nov23_005.gcd | 2023-11-15 12:22 | 37 | Unknown | 0 | 12.228 | 15098 | 3.932 | ----- | ----- | ----- | ----- | 1 |  | 75 | 5.4814 | 3558.2242 | 15.2273 | 2819.6908 | 16.8261 | 2879.1731 | 10.7998 | 3011.2393 | 5.4814 | 3558.2242 | 75 | BRN15nov23_005.gcd | 2023-11-15 12:22 | 37 | Unknown | 0 | 2.878 | 775311 | 0 | ----- | ----- | ----- | -----
74 | BRN15nov23_006.gcd | 2023-11-15 12:53 | 322 | Unknown | 0 | 6.054 | 7255 | 0.008 | ----- | ----- | ----- | ----- | 74 | BRN15nov23_006.gcd | 2023-11-15 12:53 | 322 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN15nov23_006.gcd | 2023-11-15 12:53 | 322 | Unknown | 0 | 12.224 | 19400 | 5.111 | ----- | ----- | ----- | ----- | 1 |  | 74 | 6.5728 | 4540.2222 | 16.3723 | 3607.9659 | 17.9707 | 3699.3024 | 11.9001 | 3896.6753 | 6.5728 | 4540.2222 | 74 | BRN15nov23_006.gcd | 2023-11-15 12:53 | 322 | Unknown | 0 | 2.874 | 849266 | 0 | ----- | ----- | ----- | -----
73 | BRN15nov23_007.gcd | 2023-11-15 13:23 | 218 | Unknown | 0 | 6.043 | 17299 | 0.03 | ----- | ----- | ----- | ----- | 73 | BRN15nov23_007.gcd | 2023-11-15 13:23 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN15nov23_007.gcd | 2023-11-15 13:23 | 218 | Unknown | 0 | 12.236 | 10327 | 2.618 | ----- | ----- | ----- | ----- | 1 |  | 73 | 41.7489 | 2449.4263 | 54.5621 | 1942.7616 | 45.1356 | 1968.9303 | 38.1239 | 2028.1693 | 41.7489 | 2449.4263 | 73 | BRN15nov23_007.gcd | 2023-11-15 13:23 | 218 | Unknown | 0 | 2.873 | 881674 | 0 | ----- | ----- | ----- | -----
72 | BRN15nov23_008.gcd | 2023-11-15 13:54 | 365 | Unknown | 0 | 6.047 | 7193 | 0.008 | ----- | ----- | ----- | ----- | 72 | BRN15nov23_008.gcd | 2023-11-15 13:54 | 365 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN15nov23_008.gcd | 2023-11-15 13:54 | 365 | Unknown | 0 | 12.222 | 18922 | 4.98 | ----- | ----- | ----- | ----- | 1 |  | 72 | 6.3845 | 4431.945 | 16.1855 | 3520.4945 | 17.7855 | 3608.2066 | 11.7181 | 3798.3402 | 6.3845 | 4431.945 | 72 | BRN15nov23_008.gcd | 2023-11-15 13:54 | 365 | Unknown | 0 | 2.877 | 786669 | 0 | ----- | ----- | ----- | -----
71 | BRN15nov23_009.gcd | 2023-11-15 14:24 | 62 | Unknown | 0 | 6.04 | 21347 | 0.038 | ----- | ----- | ----- | ----- | 71 | BRN15nov23_009.gcd | 2023-11-15 14:24 | 62 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN15nov23_009.gcd | 2023-11-15 14:24 | 62 | Unknown | 0 | 12.225 | 9197 | 2.305 | ----- | ----- | ----- | ----- | 1 |  | 71 | 53.8203 | 2183.7689 | 67.1492 | 1734.6444 | 55.7832 | 1753.2331 | 47.6161 | 1795.1613 | 53.8203 | 2183.7689 | 71 | BRN15nov23_009.gcd | 2023-11-15 14:24 | 62 | Unknown | 0 | 2.88 | 708400 | 0 | ----- | ----- | ----- | -----
70 | BRN15nov23_010.gcd | 2023-11-15 14:55 | 344 | Unknown | 0 | 6.042 | 18036 | 0.031 | ----- | ----- | ----- | ----- | 70 | BRN15nov23_010.gcd | 2023-11-15 14:55 | 344 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN15nov23_010.gcd | 2023-11-15 14:55 | 344 | Unknown | 0 | 12.227 | 9863 | 2.49 | ----- | ----- | ----- | ----- | 1 |  | 70 | 43.9506 | 2340.4832 | 56.8558 | 1857.324 | 47.0744 | 1880.3658 | 39.8523 | 1932.4995 | 43.9506 | 2340.4832 | 70 | BRN15nov23_010.gcd | 2023-11-15 14:55 | 344 | Unknown | 0 | 2.851 | 1290029 | 0 | ----- | ----- | ----- | -----
69 | BRN15nov23_011.gcd | 2023-11-15 15:26 | 33 | Unknown | 0 | 6.05 | 7081 | 0.008 | ----- | ----- | ----- | ----- | 69 | BRN15nov23_011.gcd | 2023-11-15 15:26 | 33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN15nov23_011.gcd | 2023-11-15 15:26 | 33 | Unknown | 0 | 12.215 | 18919 | 4.979 | ----- | ----- | ----- | ----- | 1 |  | 69 | 6.0549 | 4431.2648 | 15.8486 | 3519.9454 | 17.45 | 3607.6349 | 11.3924 | 3797.723 | 6.0549 | 4431.2648 | 69 | BRN15nov23_011.gcd | 2023-11-15 15:26 | 33 | Unknown | 0 | 2.832 | 1712137 | 0 | ----- | ----- | ----- | -----
68 | BRN15nov23_012.gcd | 2023-11-15 15:56 | 127 | Unknown | 0 | 6.033 | 132969 | 0.278 | ----- | ----- | ----- | ----- | 68 | BRN15nov23_012.gcd | 2023-11-15 15:56 | 127 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN15nov23_012.gcd | 2023-11-15 15:56 | 127 | Unknown | 0 | 12.134 | 90756 | 23.859 | ----- | ----- | ----- | ----- | 1 |  | 68 | 366.3221 | 20366.3822 | 403.6948 | 16343.9778 | 347.8246 | 17214.7612 | 308.3172 | 18445.3659 | 366.3221 | 20366.3822 | 68 | BRN15nov23_012.gcd | 2023-11-15 15:56 | 127 | Unknown | 0 | 2.88 | 701089 | 0 | ----- | ----- | ----- | -----
67 | BRN15nov23_013.gcd | 2023-11-15 16:27 | 69 | Unknown | 0 | 6.041 | 18145 | 0.031 | ----- | ----- | ----- | ----- | 67 | BRN15nov23_013.gcd | 2023-11-15 16:27 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN15nov23_013.gcd | 2023-11-15 16:27 | 69 | Unknown | 0 | 12.233 | 9173 | 2.299 | ----- | ----- | ----- | ----- | 1 |  | 67 | 44.276 | 2178.114 | 57.1949 | 1730.2225 | 47.3612 | 1748.6514 | 40.1079 | 1790.2117 | 44.276 | 2178.114 | 67 | BRN15nov23_013.gcd | 2023-11-15 16:27 | 69 | Unknown | 0 | 2.879 | 751857 | 0 | ----- | ----- | ----- | -----
66 | BRN15nov23_014.gcd | 2023-11-15 16:57 | 359 | Unknown | 0 | 6.034 | 106497 | 0.221 | ----- | ----- | ----- | ----- | 66 | BRN15nov23_014.gcd | 2023-11-15 16:57 | 359 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN15nov23_014.gcd | 2023-11-15 16:57 | 359 | Unknown | 0 | 12.227 | 10674 | 2.714 | ----- | ----- | ----- | ----- | 1 |  | 66 | 295.7647 | 2530.7706 | 325.7203 | 2006.6379 | 278.8373 | 2035.1582 | 246.6715 | 2099.7082 | 295.7647 | 2530.7706 | 66 | BRN15nov23_014.gcd | 2023-11-15 16:57 | 359 | Unknown | 0 | 2.875 | 819920 | 0 | ----- | ----- | ----- | -----
65 | BRN15nov23_015.gcd | 2023-11-15 17:28 | 175 | Unknown | 0 | 6.041 | 24113 | 0.044 | ----- | ----- | ----- | ----- | 65 | BRN15nov23_015.gcd | 2023-11-15 17:28 | 175 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN15nov23_015.gcd | 2023-11-15 17:28 | 175 | Unknown | 0 | 12.231 | 10423 | 2.644 | ----- | ----- | ----- | ----- | 1 |  | 65 | 62.0389 | 2471.9418 | 75.7346 | 1960.4349 | 63.0564 | 1987.2531 | 54.1005 | 2047.9616 | 62.0389 | 2471.9418 | 65 | BRN15nov23_015.gcd | 2023-11-15 17:28 | 175 | Unknown | 0 | 2.881 | 760119 | 0 | ----- | ----- | ----- | -----
64 | BRN15nov23_016.gcd | 2023-11-15 17:58 | 73 | Unknown | 0 | 6.042 | 19710 | 0.035 | ----- | ----- | ----- | ----- | 64 | BRN15nov23_016.gcd | 2023-11-15 17:58 | 73 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN15nov23_016.gcd | 2023-11-15 17:58 | 73 | Unknown | 0 | 12.229 | 8887 | 2.22 | ----- | ----- | ----- | ----- | 1 |  | 64 | 48.9449 | 2110.6858 | 62.0622 | 1677.5223 | 51.4778 | 1694.0522 | 43.7778 | 1731.2274 | 48.9449 | 2110.6858 | 64 | BRN15nov23_016.gcd | 2023-11-15 17:58 | 73 | Unknown | 0 | 2.878 | 830136 | 0 | ----- | ----- | ----- | -----
63 | BRN15nov23_017.gcd | 2023-11-15 18:29 | 342 | Unknown | 0 | 6.055 | 7360 | 0.008 | ----- | ----- | ----- | ----- | 63 | BRN15nov23_017.gcd | 2023-11-15 18:29 | 342 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN15nov23_017.gcd | 2023-11-15 18:29 | 342 | Unknown | 0 | 12.219 | 19778 | 5.214 | ----- | ----- | ----- | ----- | 1 |  | 63 | 6.9012 | 4625.6997 | 16.6889 | 3677.1175 | 18.2832 | 3771.3352 | 12.2107 | 3974.43 | 6.9012 | 4625.6997 | 63 | BRN15nov23_017.gcd | 2023-11-15 18:29 | 342 | Unknown | 0 | 2.877 | 817677 | 0 | ----- | ----- | ----- | -----
62 | BRN15nov23_018.gcd | 2023-11-15 19:00 | 282 | Unknown | 0 | 6.049 | 7735 | 0.009 | ----- | ----- | ----- | ----- | 62 | BRN15nov23_018.gcd | 2023-11-15 19:00 | 282 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN15nov23_018.gcd | 2023-11-15 19:00 | 282 | Unknown | 0 | 12.211 | 18278 | 4.804 | ----- | ----- | ----- | ----- | 1 |  | 62 | 8.171 | 4285.7357 | 17.8236 | 3402.6007 | 19.3887 | 3485.4634 | 13.3463 | 3665.8367 | 8.171 | 4285.7357 | 62 | BRN15nov23_018.gcd | 2023-11-15 19:00 | 282 | Unknown | 0 | 2.874 | 840124 | 0 | ----- | ----- | ----- | -----
61 | BRN15nov23_019.gcd | 2023-11-15 19:30 | 391 | Unknown | 0 | 6.052 | 7580 | 0.009 | ----- | ----- | ----- | ----- | 61 | BRN15nov23_019.gcd | 2023-11-15 19:30 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN15nov23_019.gcd | 2023-11-15 19:30 | 391 | Unknown | 0 | 12.214 | 20158 | 5.318 | ----- | ----- | ----- | ----- | 1 |  | 61 | 7.6278 | 4711.4981 | 17.3538 | 3746.6169 | 18.9337 | 3843.7444 | 12.872 | 4052.5887 | 7.6278 | 4711.4981 | 61 | BRN15nov23_019.gcd | 2023-11-15 19:30 | 391 | Unknown | 0 | 2.867 | 975609 | 0 | ----- | ----- | ----- | -----
60 | BRN15nov23_020.gcd | 2023-11-15 20:01 | 331 | Unknown | 0 | 6.043 | 19042 | 0.033 | ----- | ----- | ----- | ----- | 60 | BRN15nov23_020.gcd | 2023-11-15 20:01 | 331 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN15nov23_020.gcd | 2023-11-15 20:01 | 331 | Unknown | 0 | 12.232 | 9012 | 2.254 | ----- | ----- | ----- | ----- | 1 |  | 60 | 46.953 | 2140.1653 | 59.9852 | 1700.5569 | 49.7207 | 1717.9158 | 42.2114 | 1757.0078 | 46.953 | 2140.1653 | 60 | BRN15nov23_020.gcd | 2023-11-15 20:01 | 331 | Unknown | 0 | 2.88 | 787154 | 0 | ----- | ----- | ----- | -----
59 | BRN15nov23_021.gcd | 2023-11-15 20:31 | 231 | Unknown | 0 | 6.039 | 18240 | 0.032 | ----- | ----- | ----- | ----- | 59 | BRN15nov23_021.gcd | 2023-11-15 20:31 | 231 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN15nov23_021.gcd | 2023-11-15 20:31 | 231 | Unknown | 0 | 12.221 | 11373 | 2.907 | ----- | ----- | ----- | ----- | 1 |  | 59 | 44.5597 | 2694.2977 | 57.4905 | 2135.2652 | 47.6111 | 2168.5564 | 40.3307 | 2243.7982 | 44.5597 | 2694.2977 | 59 | BRN15nov23_021.gcd | 2023-11-15 20:31 | 231 | Unknown | 0 | 2.876 | 790982 | 0 | ----- | ----- | ----- | -----
58 | BRN15nov23_022.gcd | 2023-11-15 21:02 | 25 | Unknown | 0 | 6.039 | 19206 | 0.034 | ----- | ----- | ----- | ----- | 58 | BRN15nov23_022.gcd | 2023-11-15 21:02 | 25 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN15nov23_022.gcd | 2023-11-15 21:02 | 25 | Unknown | 0 | 12.231 | 8919 | 2.229 | ----- | ----- | ----- | ----- | 1 |  | 58 | 47.4421 | 2118.2339 | 60.4952 | 1683.4193 | 50.1521 | 1700.1613 | 42.596 | 1737.8272 | 47.4421 | 2118.2339 | 58 | BRN15nov23_022.gcd | 2023-11-15 21:02 | 25 | Unknown | 0 | 2.873 | 828864 | 0 | ----- | ----- | ----- | -----
57 | BRN15nov23_023.gcd | 2023-11-15 21:32 | 87 | Unknown | 0 | 6.041 | 18595 | 0.032 | ----- | ----- | ----- | ----- | 57 | BRN15nov23_023.gcd | 2023-11-15 21:32 | 87 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN15nov23_023.gcd | 2023-11-15 21:32 | 87 | Unknown | 0 | 12.229 | 8784 | 2.191 | ----- | ----- | ----- | ----- | 1 |  | 57 | 45.6193 | 2086.3839 | 58.5949 | 1658.5404 | 48.5449 | 1674.3882 | 41.1632 | 1709.9837 | 45.6193 | 2086.3839 | 57 | BRN15nov23_023.gcd | 2023-11-15 21:32 | 87 | Unknown | 0 | 2.879 | 796164 | 0 | ----- | ----- | ----- | -----
56 | BRN15nov23_024.gcd | 2023-11-15 22:03 | 288 | Unknown | 0 | 6.05 | 6714 | 0.007 | ----- | ----- | ----- | ----- | 56 | BRN15nov23_024.gcd | 2023-11-15 22:03 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN15nov23_024.gcd | 2023-11-15 22:03 | 288 | Unknown | 0 | 12.171 | 18013 | 4.731 | ----- | ----- | ----- | ----- | 1 |  | 56 | 5.0698 | 4225.4621 | 14.7483 | 3354.0733 | 16.3404 | 3434.9517 | 10.3503 | 3611.3067 | 5.0698 | 4225.4621 | 56 | BRN15nov23_024.gcd | 2023-11-15 22:03 | 288 | Unknown | 0 | 2.873 | 885695 | 0 | ----- | ----- | ----- | -----
55 | BRN15nov23_025.gcd | 2023-11-15 22:34 | 292 | Unknown | 0 | 6.049 | 7556 | 0.009 | ----- | ----- | ----- | ----- | 55 | BRN15nov23_025.gcd | 2023-11-15 22:34 | 292 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN15nov23_025.gcd | 2023-11-15 22:34 | 292 | Unknown | 0 | 12.212 | 16813 | 4.403 | ----- | ----- | ----- | ----- | 1 |  | 55 | 7.546 | 3951.723 | 17.2812 | 3134.2166 | 18.863 | 3206.1913 | 12.7991 | 3364.3332 | 7.546 | 3951.723 | 55 | BRN15nov23_025.gcd | 2023-11-15 22:34 | 292 | Unknown | 0 | 2.873 | 850463 | 0 | ----- | ----- | ----- | -----
54 | BRN15nov23_026.gcd | 2023-11-15 23:04 | 283 | Unknown | 0 | 6.049 | 8054 | 0.01 | ----- | ----- | ----- | ----- | 54 | BRN15nov23_026.gcd | 2023-11-15 23:04 | 283 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN15nov23_026.gcd | 2023-11-15 23:04 | 283 | Unknown | 0 | 12.211 | 21624 | 5.718 | ----- | ----- | ----- | ----- | 1 |  | 54 | 9.3708 | 5041.2648 | 18.7935 | 4014.5685 | 20.3164 | 4123.0477 | 14.3444 | 4354.0477 | 9.3708 | 5041.2648 | 54 | BRN15nov23_026.gcd | 2023-11-15 23:04 | 283 | Unknown | 0 | 2.873 | 858663 | 0 | ----- | ----- | ----- | -----
53 | BRN15nov23_027.gcd | 2023-11-15 23:35 | 230 | Unknown | 0 | 6.035 | 145450 | 0.305 | ----- | ----- | ----- | ----- | 53 | BRN15nov23_027.gcd | 2023-11-15 23:35 | 230 | Unknown | 0 | 5.974 | 1653 | 0.393 | ----- | ----- | ----- | ----- | 53 | BRN15nov23_027.gcd | 2023-11-15 23:35 | 230 | Unknown | 0 | 12.141 | 87841 | 23.121 | ----- | ----- | ----- | ----- | 1 |  | 53 | 398.8218 | 19665.6296 | 440.0614 | 15836.2155 | 380.2919 | 16665.8784 | 337.3427 | 17856.1213 | 398.8218 | 19665.6296 | 53 | BRN15nov23_027.gcd | 2023-11-15 23:35 | 230 | Unknown | 0 | 2.855 | 1203499 | 0 | ----- | ----- | ----- | -----
52 | BRN15nov23_028.gcd | 2023-11-16 00:05 | 366 | Unknown | 0 | 6.049 | 7103 | 0.008 | ----- | ----- | ----- | ----- | 52 | BRN15nov23_028.gcd | 2023-11-16 00:05 | 366 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN15nov23_028.gcd | 2023-11-16 00:05 | 366 | Unknown | 0 | 12.215 | 16499 | 4.317 | ----- | ----- | ----- | ----- | 1 |  | 52 | 6.1186 | 3879.8778 | 15.9147 | 3076.6575 | 17.516 | 3146.3246 | 11.4561 | 3299.6963 | 6.1186 | 3879.8778 | 52 | BRN15nov23_028.gcd | 2023-11-16 00:05 | 366 | Unknown | 0 | 2.87 | 917237 | 0 | ----- | ----- | ----- | -----
51 | BRN15nov23_029.gcd | 2023-11-16 00:36 | 311 | Unknown | 0 | 6.039 | 97713 | 0.202 | ----- | ----- | ----- | ----- | 51 | BRN15nov23_029.gcd | 2023-11-16 00:36 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN15nov23_029.gcd | 2023-11-16 00:36 | 311 | Unknown | 0 | 12.224 | 11213 | 2.862 | ----- | ----- | ----- | ----- | 1 |  | 51 | 271.8637 | 2656.9059 | 299.5938 | 2105.828 | 255.9083 | 2138.0232 | 226.1911 | 2210.8184 | 271.8637 | 2656.9059 | 51 | BRN15nov23_029.gcd | 2023-11-16 00:36 | 311 | Unknown | 0 | 2.88 | 830593 | 0 | ----- | ----- | ----- | -----
50 | BRN15nov23_030.gcd | 2023-11-16 01:06 | 362 | Unknown | 0 | 6.053 | 7949 | 0.01 | ----- | ----- | ----- | ----- | 50 | BRN15nov23_030.gcd | 2023-11-16 01:06 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN15nov23_030.gcd | 2023-11-16 01:06 | 362 | Unknown | 0 | 12.214 | 21768 | 5.757 | ----- | ----- | ----- | ----- | 1 |  | 50 | 8.9638 | 5073.5509 | 18.4738 | 4040.8739 | 20.0124 | 4150.4789 | 14.0126 | 4383.6531 | 8.9638 | 5073.5509 | 50 | BRN15nov23_030.gcd | 2023-11-16 01:06 | 362 | Unknown | 0 | 2.871 | 925339 | 0 | ----- | ----- | ----- | -----
49 | BRN15nov23_031.gcd | 2023-11-16 01:37 | 298 | Unknown | 0 | 6.051 | 7260 | 0.008 | ----- | ----- | ----- | ----- | 49 | BRN15nov23_031.gcd | 2023-11-16 01:37 | 298 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN15nov23_031.gcd | 2023-11-16 01:37 | 298 | Unknown | 0 | 12.225 | 17296 | 4.535 | ----- | ----- | ----- | ----- | 1 |  | 49 | 6.5882 | 4062.0609 | 16.3873 | 3222.7307 | 17.9856 | 3298.273 | 11.9148 | 3463.7489 | 6.5882 | 4062.0609 | 49 | BRN15nov23_031.gcd | 2023-11-16 01:37 | 298 | Unknown | 0 | 2.8 | 2558126 | 0 | ----- | ----- | ----- | -----