## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN18jul23_001.gcd | 2023-07-18 10:58 | air new batch | Unknown | 0 | 6.079 | 2116 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN18jul23_001.gcd | 2023-07-18 10:58 | air new batch | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN18jul23_001.gcd | 2023-07-18 10:58 | air new batch | Unknown | 0 | 12.215 | 2137 | 0.344 | ----- | ----- | ----- | ----- | 1 |  | 49 | 5.0551 | 497.6251 | 1.4479 | 430.7431 | 1.115 | 404.6621 | 0.61222 | 337.9014 | 5.0551 | 497.6251 | 49 | BRN18jul23_001.gcd | 2023-07-18 10:58 | air new batch | Unknown | 0 | 2.695 | 5455046 | 0 | ----- | ----- | ----- | -----
50 | BRN18jul23_002.gcd | 2023-07-18 11:28 | spiked air | Unknown | 0 | 5.992 | 309927 | 0.657 | ----- | ----- | ----- | ----- | 50 | BRN18jul23_002.gcd | 2023-07-18 11:28 | spiked air | Unknown | 0 | 5.935 | 2857 | 0.702 | ----- | ----- | ----- | ----- | 50 | BRN18jul23_002.gcd | 2023-07-18 11:28 | spiked air | Unknown | 0 | 12.179 | 5066 | 1.16 | ----- | ----- | ----- | ----- | 1 |  | 50 | 753.5718 | 1202.6785 | 895.551 | 972.4554 | 804.6335 | 964.3439 | 717.5023 | 942.7872 | 753.5718 | 1202.6785 | 50 | BRN18jul23_002.gcd | 2023-07-18 11:28 | spiked air | Unknown | 0 | 2.694 | 5320345 | 0 | ----- | ----- | ----- | -----
51 | BRN18jul23_003.gcd | 2023-07-18 11:59 | yellow | Unknown | 0 | 6.041 | 3203 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN18jul23_003.gcd | 2023-07-18 11:59 | yellow | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN18jul23_003.gcd | 2023-07-18 11:59 | yellow | Unknown | 0 | 12.219 | 1746 | 0.235 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.9977 | 402.9136 | 4.5111 | 358.347 | 4.9355 | 329.9276 | 2.3598 | 257.1204 | 2.9977 | 402.9136 | 51 | BRN18jul23_003.gcd | 2023-07-18 11:59 | yellow | Unknown | 0 | 2.718 | 5076644 | 0 | ----- | ----- | ----- | -----
52 | BRN18jul23_004.gcd | 2023-07-18 12:30 | 165 | Unknown | 0 | 6.013 | 21523 | 0.039 | ----- | ----- | ----- | ----- | 52 | BRN18jul23_004.gcd | 2023-07-18 12:30 | 165 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN18jul23_004.gcd | 2023-07-18 12:30 | 165 | Unknown | 0 | 12.177 | 1859 | 0.266 | ----- | ----- | ----- | ----- | 1 |  | 52 | 54.344 | 430.2998 | 67.6958 | 379.2717 | 56.246 | 351.5266 | 48.0287 | 280.4671 | 54.344 | 430.2998 | 52 | BRN18jul23_004.gcd | 2023-07-18 12:30 | 165 | Unknown | 0 | 2.867 | 869939 | 0 | ----- | ----- | ----- | -----
53 | BRN18jul23_005.gcd | 2023-07-18 13:00 | 229 | Unknown | 0 | 6.014 | 28122 | 0.053 | ----- | ----- | ----- | ----- | 53 | BRN18jul23_005.gcd | 2023-07-18 13:00 | 229 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN18jul23_005.gcd | 2023-07-18 13:00 | 229 | Unknown | 0 | 12.166 | 6909 | 1.672 | ----- | ----- | ----- | ----- | 1 |  | 53 | 73.9081 | 1642.3044 | 88.1559 | 1312.7623 | 73.5948 | 1316.3666 | 63.4968 | 1323.1721 | 73.9081 | 1642.3044 | 53 | BRN18jul23_005.gcd | 2023-07-18 13:00 | 229 | Unknown | 0 | 2.87 | 830287 | 0 | ----- | ----- | ----- | -----
54 | BRN18jul23_006.gcd | 2023-07-18 13:31 | 129 | Unknown | 0 | 5.951 | 17065884 | 37.845 | ----- | ----- | ----- | ----- | 54 | BRN18jul23_006.gcd | 2023-07-18 13:31 | 129 | Unknown | 0 | 5.913 | 140827 | 35.672 | ----- | ----- | ----- | ----- | 54 | BRN18jul23_006.gcd | 2023-07-18 13:31 | 129 | Unknown | 0 | 12.087 | 73255 | 19.393 | ----- | ----- | ----- | ----- | 1 |  | 54 | 34693.4806 | 16148.782 | 27367.6962 | 13279.4647 | 35996.1097 | 13915.242 | 34640.8028 | 14901.1607 | 34693.4806 | 16148.782 | 54 | BRN18jul23_006.gcd | 2023-07-18 13:31 | 129 | Unknown | 0 | 2.875 | 666923 | 0 | ----- | ----- | ----- | -----
55 | BRN18jul23_007.gcd | 2023-07-18 14:02 | 391 | Unknown | 0 | 6.013 | 22797 | 0.041 | ----- | ----- | ----- | ----- | 55 | BRN18jul23_007.gcd | 2023-07-18 14:02 | 391 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN18jul23_007.gcd | 2023-07-18 14:02 | 391 | Unknown | 0 | 12.196 | 2085 | 0.33 | ----- | ----- | ----- | ----- | 1 |  | 55 | 58.1317 | 485.0372 | 71.6514 | 421.1161 | 59.5962 | 394.7233 | 51.0155 | 327.1586 | 58.1317 | 485.0372 | 55 | BRN18jul23_007.gcd | 2023-07-18 14:02 | 391 | Unknown | 0 | 2.866 | 875665 | 0 | ----- | ----- | ----- | -----
56 | BRN18jul23_008.gcd | 2023-07-18 14:32 | 288 | Unknown | 0 | 5.993 | 362717 | 0.771 | ----- | ----- | ----- | ----- | 56 | BRN18jul23_008.gcd | 2023-07-18 14:32 | 288 | Unknown | 0 | 5.951 | 3062 | 0.755 | ----- | ----- | ----- | ----- | 56 | BRN18jul23_008.gcd | 2023-07-18 14:32 | 288 | Unknown | 0 | 12.156 | 5778 | 1.358 | ----- | ----- | ----- | ----- | 1 |  | 56 | 855.3239 | 1372.885 | 1032.3821 | 1103.9756 | 939.4422 | 1100.3528 | 838.5934 | 1089.7606 | 855.3239 | 1372.885 | 56 | BRN18jul23_008.gcd | 2023-07-18 14:32 | 288 | Unknown | 0 | 2.85 | 885024 | 0 | ----- | ----- | ----- | -----
57 | BRN18jul23_009.gcd | 2023-07-18 15:03 | 80 | Unknown | 0 | 6.016 | 15893 | 0.027 | ----- | ----- | ----- | ----- | 57 | BRN18jul23_009.gcd | 2023-07-18 15:03 | 80 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN18jul23_009.gcd | 2023-07-18 15:03 | 80 | Unknown | 0 | 12.117 | 52057 | 13.872 | ----- | ----- | ----- | ----- | 1 |  | 57 | 37.5441 | 11006.6827 | 50.184 | 9516.0954 | 41.4364 | 9905.3769 | 34.8264 | 10587.3245 | 37.5441 | 11006.6827 | 57 | BRN18jul23_009.gcd | 2023-07-18 15:03 | 80 | Unknown | 0 | 2.863 | 889575 | 0 | ----- | ----- | ----- | -----
58 | BRN18jul23_010.gcd | 2023-07-18 15:34 | 92 | Unknown | 0 | 5.993 | 123061 | 0.256 | ----- | ----- | ----- | ----- | 58 | BRN18jul23_010.gcd | 2023-07-18 15:34 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN18jul23_010.gcd | 2023-07-18 15:34 | 92 | Unknown | 0 | 12.059 | 86316 | 22.734 | ----- | ----- | ----- | ----- | 1 |  | 58 | 340.1725 | 19298.7497 | 374.6443 | 15570.1515 | 322.0237 | 16378.6169 | 285.2575 | 17547.6817 | 340.1725 | 19298.7497 | 58 | BRN18jul23_010.gcd | 2023-07-18 15:34 | 92 | Unknown | 0 | 2.855 | 785426 | 0 | ----- | ----- | ----- | -----
59 | BRN18jul23_011.gcd | 2023-07-18 16:04 | 86 | Unknown | 0 | 6.013 | 23410 | 0.043 | ----- | ----- | ----- | ----- | 59 | BRN18jul23_011.gcd | 2023-07-18 16:04 | 86 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN18jul23_011.gcd | 2023-07-18 16:04 | 86 | Unknown | 0 | 12.141 | 30714 | 8.183 | ----- | ----- | ----- | ----- | 1 |  | 59 | 59.9524 | 7042.2342 | 73.5537 | 5669.9915 | 61.208 | 5853.3199 | 52.4525 | 6220.8095 | 59.9524 | 7042.2342 | 59 | BRN18jul23_011.gcd | 2023-07-18 16:04 | 86 | Unknown | 0 | 2.864 | 879906 | 0 | ----- | ----- | ----- | -----
60 | BRN18jul23_012.gcd | 2023-07-18 16:35 | 304 | Unknown | 0 | 6.064 | 2738 | -0.002 | ----- | ----- | ----- | ----- | 60 | BRN18jul23_012.gcd | 2023-07-18 16:35 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN18jul23_012.gcd | 2023-07-18 16:35 | 304 | Unknown | 0 | 12.059 | 112066 | 29.194 | ----- | ----- | ----- | ----- | 1 |  | 60 | 3.7216 | 25468.0938 | 3.1946 | 20023.5513 | 3.3179 | 21218.9553 | 1.5702 | 22739.8419 | 3.7216 | 25468.0938 | 60 | BRN18jul23_012.gcd | 2023-07-18 16:35 | 304 | Unknown | 0 | 2.87 | 846460 | 0 | ----- | ----- | ----- | -----
61 | BRN18jul23_013.gcd | 2023-07-18 17:06 | 414 | Unknown | 0 | 6.016 | 30786 | 0.059 | ----- | ----- | ----- | ----- | 61 | BRN18jul23_013.gcd | 2023-07-18 17:06 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN18jul23_013.gcd | 2023-07-18 17:06 | 414 | Unknown | 0 | 12.176 | 7965 | 1.964 | ----- | ----- | ----- | ----- | 1 |  | 61 | 81.7672 | 1892.8045 | 96.3954 | 1507.5588 | 80.5954 | 1518.0184 | 69.7392 | 1541.0465 | 81.7672 | 1892.8045 | 61 | BRN18jul23_013.gcd | 2023-07-18 17:06 | 414 | Unknown | 0 | 2.872 | 806348 | 0 | ----- | ----- | ----- | -----
62 | BRN18jul23_014.gcd | 2023-07-18 17:36 | 393 | Unknown | 0 | 6.027 | 8124 | 0.01 | ----- | ----- | ----- | ----- | 62 | BRN18jul23_014.gcd | 2023-07-18 17:36 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN18jul23_014.gcd | 2023-07-18 17:36 | 393 | Unknown | 0 | 12.158 | 20362 | 5.374 | ----- | ----- | ----- | ----- | 1 |  | 62 | 9.6488 | 4757.5039 | 19.0069 | 3783.9197 | 20.5184 | 3882.6148 | 14.5674 | 4094.5445 | 9.6488 | 4757.5039 | 62 | BRN18jul23_014.gcd | 2023-07-18 17:36 | 393 | Unknown | 0 | 2.871 | 823777 | 0 | ----- | ----- | ----- | -----
63 | BRN18jul23_015.gcd | 2023-07-18 18:07 | 68 | Unknown | 0 | 6.023 | 8198 | 0.01 | ----- | ----- | ----- | ----- | 63 | BRN18jul23_015.gcd | 2023-07-18 18:07 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN18jul23_015.gcd | 2023-07-18 18:07 | 68 | Unknown | 0 | 12.066 | 102986 | 26.935 | ----- | ----- | ----- | ----- | 1 |  | 63 | 9.9484 | 23298.842 | 19.2327 | 18462.6885 | 20.7313 | 19514.6098 | 14.8047 | 20912.8381 | 9.9484 | 23298.842 | 63 | BRN18jul23_015.gcd | 2023-07-18 18:07 | 68 | Unknown | 0 | 2.872 | 776710 | 0 | ----- | ----- | ----- | -----
64 | BRN18jul23_016.gcd | 2023-07-18 18:38 | 141 | Unknown | 0 | 6.051 | 3729 | 0.001 | ----- | ----- | ----- | ----- | 64 | BRN18jul23_016.gcd | 2023-07-18 18:38 | 141 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN18jul23_016.gcd | 2023-07-18 18:38 | 141 | Unknown | 0 | 12.078 | 99359 | 26.027 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.4603 | 22430.4509 | 6.0114 | 17836.3099 | 6.7351 | 18833.0607 | 3.3288 | 20181.8665 | 2.4603 | 22430.4509 | 64 | BRN18jul23_016.gcd | 2023-07-18 18:38 | 141 | Unknown | 0 | 2.875 | 783875 | 0 | ----- | ----- | ----- | -----
65 | BRN18jul23_017.gcd | 2023-07-18 19:08 | 218 | Unknown | 0 | 6.017 | 33108 | 0.064 | ----- | ----- | ----- | ----- | 65 | BRN18jul23_017.gcd | 2023-07-18 19:08 | 218 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN18jul23_017.gcd | 2023-07-18 19:08 | 218 | Unknown | 0 | 12.177 | 10140 | 2.566 | ----- | ----- | ----- | ----- | 1 |  | 65 | 88.599 | 2405.544 | 103.5678 | 1908.332 | 86.696 | 1933.2382 | 75.1793 | 1989.614 | 88.599 | 2405.544 | 65 | BRN18jul23_017.gcd | 2023-07-18 19:08 | 218 | Unknown | 0 | 2.872 | 829099 | 0 | ----- | ----- | ----- | -----
66 | BRN18jul23_018.gcd | 2023-07-18 19:39 | 127 | Unknown | 0 | 6.011 | 376644 | 0.801 | ----- | ----- | ----- | ----- | 66 | BRN18jul23_018.gcd | 2023-07-18 19:39 | 127 | Unknown | 0 | 5.964 | 3506 | 0.869 | ----- | ----- | ----- | ----- | 66 | BRN18jul23_018.gcd | 2023-07-18 19:39 | 127 | Unknown | 0 | 12.174 | 5368 | 1.244 | ----- | ----- | ----- | ----- | 1 |  | 66 | 882.1508 | 1274.9293 | 1067.7223 | 1028.2485 | 974.8949 | 1022.0351 | 870.4647 | 1005.1302 | 882.1508 | 1274.9293 | 66 | BRN18jul23_018.gcd | 2023-07-18 19:39 | 127 | Unknown | 0 | 2.873 | 797480 | 0 | ----- | ----- | ----- | -----
67 | BRN18jul23_019.gcd | 2023-07-18 20:10 | 297 | Unknown | 0 | 6.052 | 2894 | -0.001 | ----- | ----- | ----- | ----- | 67 | BRN18jul23_019.gcd | 2023-07-18 20:10 | 297 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN18jul23_019.gcd | 2023-07-18 20:10 | 297 | Unknown | 0 | 12.022 | 124508 | 32.258 | ----- | ----- | ----- | ----- | 1 |  | 67 | 3.4527 | 28429.5899 | 3.6352 | 22145.5375 | 3.8634 | 23550.0051 | 1.8281 | 25236.4864 | 3.4527 | 28429.5899 | 67 | BRN18jul23_019.gcd | 2023-07-18 20:10 | 297 | Unknown | 0 | 2.839 | 1100742 | 0 | ----- | ----- | ----- | -----
68 | BRN18jul23_020.gcd | 2023-07-18 20:40 | 66 | Unknown | 0 | 6.027 | 7880 | 0.009 | ----- | ----- | ----- | ----- | 68 | BRN18jul23_020.gcd | 2023-07-18 20:40 | 66 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN18jul23_020.gcd | 2023-07-18 20:40 | 66 | Unknown | 0 | 12.16 | 20213 | 5.333 | ----- | ----- | ----- | ----- | 1 |  | 68 | 8.7028 | 4723.9053 | 18.2639 | 3756.6746 | 19.8119 | 3854.2243 | 13.7963 | 4063.9005 | 8.7028 | 4723.9053 | 68 | BRN18jul23_020.gcd | 2023-07-18 20:40 | 66 | Unknown | 0 | 2.867 | 913702 | 0 | ----- | ----- | ----- | -----
69 | BRN18jul23_021.gcd | 2023-07-18 21:11 | 17 | Unknown | 0 | 6.091 | 2189 | -0.003 | ----- | ----- | ----- | ----- | 69 | BRN18jul23_021.gcd | 2023-07-18 21:11 | 17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN18jul23_021.gcd | 2023-07-18 21:11 | 17 | Unknown | 0 | 12.065 | 110977 | 28.924 | ----- | ----- | ----- | ----- | 1 |  | 69 | 4.8769 | 25208.2828 | 1.6521 | 19836.8971 | 1.3759 | 21014.688 | 0.71883 | 22520.9443 | 4.8769 | 25208.2828 | 69 | BRN18jul23_021.gcd | 2023-07-18 21:11 | 17 | Unknown | 0 | 2.874 | 861870 | 0 | ----- | ----- | ----- | -----
70 | BRN18jul23_022.gcd | 2023-07-18 21:42 | 116 | Unknown | 0 | 5.919 | 22534634 | 50.559 | ----- | ----- | ----- | ----- | 70 | BRN18jul23_022.gcd | 2023-07-18 21:42 | 116 | Unknown | 0 | 5.886 | 205906 | 51.812 | ----- | ----- | ----- | ----- | 70 | BRN18jul23_022.gcd | 2023-07-18 21:42 | 116 | Unknown | 0 | 12.09 | 63055 | 16.752 | ----- | ----- | ----- | ----- | 1 |  | 70 | 50934.9434 | 13679.1078 | 39800.3245 | 11475.6577 | 52229.485 | 11987.6093 | 50284.5133 | 12828.3027 | 50934.9434 | 13679.1078 | 70 | BRN18jul23_022.gcd | 2023-07-18 21:42 | 116 | Unknown | 0 | 2.862 | 686095 | 0 | ----- | ----- | ----- | -----
71 | BRN18jul23_023.gcd | 2023-07-18 22:13 | 213 | Unknown | 0 | 5.997 | 28213 | 0.053 | ----- | ----- | ----- | ----- | 71 | BRN18jul23_023.gcd | 2023-07-18 22:13 | 213 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN18jul23_023.gcd | 2023-07-18 22:13 | 213 | Unknown | 0 | 12.165 | 1943 | 0.29 | ----- | ----- | ----- | ----- | 1 |  | 71 | 74.1769 | 450.6501 | 88.4376 | 394.8252 | 73.8339 | 367.5822 | 63.71 | 297.8218 | 74.1769 | 450.6501 | 71 | BRN18jul23_023.gcd | 2023-07-18 22:13 | 213 | Unknown | 0 | 2.851 | 867281 | 0 | ----- | ----- | ----- | -----
72 | BRN18jul23_024.gcd | 2023-07-18 22:43 | 415 | Unknown | 0 | 6.018 | 22265 | 0.04 | ----- | ----- | ----- | ----- | 72 | BRN18jul23_024.gcd | 2023-07-18 22:43 | 415 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN18jul23_024.gcd | 2023-07-18 22:43 | 415 | Unknown | 0 | 12.169 | 9636 | 2.427 | ----- | ----- | ----- | ----- | 1 |  | 72 | 56.5506 | 2287.114 | 69.9999 | 1815.516 | 58.1972 | 1837.0354 | 49.7683 | 1885.6916 | 56.5506 | 2287.114 | 72 | BRN18jul23_024.gcd | 2023-07-18 22:43 | 415 | Unknown | 0 | 2.841 | 1436389 | 0 | ----- | ----- | ----- | -----
73 | BRN18jul23_025.gcd | 2023-07-18 23:14 | 45 | Unknown | 0 | 5.996 | 33214 | 0.064 | ----- | ----- | ----- | ----- | 73 | BRN18jul23_025.gcd | 2023-07-18 23:14 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN18jul23_025.gcd | 2023-07-18 23:14 | 45 | Unknown | 0 | 12.088 | 58389 | 15.534 | ----- | ----- | ----- | ----- | 1 |  | 73 | 88.9105 | 12546.5159 | 103.895 | 10646.1504 | 86.9744 | 11104.684 | 75.4276 | 11878.3016 | 88.9105 | 12546.5159 | 73 | BRN18jul23_025.gcd | 2023-07-18 23:14 | 45 | Unknown | 0 | 2.84 | 1023211 | 0 | ----- | ----- | ----- | -----
74 | BRN18jul23_026.gcd | 2023-07-18 23:44 | 223 | Unknown | 0 | 6.059 | 2847 | -0.001 | ----- | ----- | ----- | ----- | 74 | BRN18jul23_026.gcd | 2023-07-18 23:44 | 223 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN18jul23_026.gcd | 2023-07-18 23:44 | 223 | Unknown | 0 | 12.058 | 118674 | 30.826 | ----- | ----- | ----- | ----- | 1 |  | 74 | 3.531 | 27042.5339 | 3.5024 | 21152.9672 | 3.6994 | 22457.6128 | 1.7497 | 24066.8044 | 3.531 | 27042.5339 | 74 | BRN18jul23_026.gcd | 2023-07-18 23:44 | 223 | Unknown | 0 | 2.864 | 1010785 | 0 | ----- | ----- | ----- | -----
75 | BRN18jul23_027.gcd | 2023-07-19 00:15 | 387 | Unknown | 0 | 6.012 | 7518 | 0.009 | ----- | ----- | ----- | ----- | 75 | BRN18jul23_027.gcd | 2023-07-19 00:15 | 387 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN18jul23_027.gcd | 2023-07-19 00:15 | 387 | Unknown | 0 | 12.04 | 114597 | 29.82 | ----- | ----- | ----- | ----- | 1 |  | 75 | 7.4177 | 26071.5588 | 17.1662 | 20456.7885 | 18.751 | 21693.5544 | 12.6842 | 23248.3592 | 7.4177 | 26071.5588 | 75 | BRN18jul23_027.gcd | 2023-07-19 00:15 | 387 | Unknown | 0 | 2.851 | 944863 | 0 | ----- | ----- | ----- | -----
76 | BRN18jul23_028.gcd | 2023-07-19 00:46 | 388 | Unknown | 0 | 6.015 | 125752 | 0.262 | ----- | ----- | ----- | ----- | 76 | BRN18jul23_028.gcd | 2023-07-19 00:46 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN18jul23_028.gcd | 2023-07-19 00:46 | 388 | Unknown | 0 | 12.09 | 84806 | 22.35 | ----- | ----- | ----- | ----- | 1 |  | 76 | 347.3053 | 18935.291 | 382.5502 | 15306.4169 | 329.0336 | 16094.1063 | 291.5221 | 17242.1589 | 347.3053 | 18935.291 | 76 | BRN18jul23_028.gcd | 2023-07-19 00:46 | 388 | Unknown | 0 | 2.874 | 812603 | 0 | ----- | ----- | ----- | -----
77 | BRN18jul23_029.gcd | 2023-07-19 01:16 | 26 | Unknown | 0 | 6.045 | 2940 | -0.001 | ----- | ----- | ----- | ----- | 77 | BRN18jul23_029.gcd | 2023-07-19 01:16 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN18jul23_029.gcd | 2023-07-19 01:16 | 26 | Unknown | 0 | 12.08 | 96658 | 25.348 | ----- | ----- | ----- | ----- | 1 |  | 77 | 3.3784 | 21783.0673 | 3.7654 | 17368.7776 | 4.0237 | 18325.2382 | 1.9055 | 19637.0811 | 3.3784 | 21783.0673 | 77 | BRN18jul23_029.gcd | 2023-07-19 01:16 | 26 | Unknown | 0 | 2.875 | 858394 | 0 | ----- | ----- | ----- | -----
78 | BRN18jul23_030.gcd | 2023-07-19 01:47 | 237 | Unknown | 0 | 6.018 | 15351 | 0.025 | ----- | ----- | ----- | ----- | 78 | BRN18jul23_030.gcd | 2023-07-19 01:47 | 237 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN18jul23_030.gcd | 2023-07-19 01:47 | 237 | Unknown | 0 | 12.14 | 37413 | 9.983 | ----- | ----- | ----- | ----- | 1 |  | 78 | 35.9215 | 8468.634 | 48.4954 | 6883.339 | 40.0103 | 7126.7479 | 33.5552 | 7593.8459 | 35.9215 | 8468.634 | 78 | BRN18jul23_030.gcd | 2023-07-19 01:47 | 237 | Unknown | 0 | 2.865 | 1031699 | 0 | ----- | ----- | ----- | -----
79 | BRN18jul23_031.gcd | 2023-07-19 02:18 | 377 | Unknown | 0 | 6.019 | 26227 | 0.049 | ----- | ----- | ----- | ----- | 79 | BRN18jul23_031.gcd | 2023-07-19 02:18 | 377 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN18jul23_031.gcd | 2023-07-19 02:18 | 377 | Unknown | 0 | 12.184 | 2392 | 0.415 | ----- | ----- | ----- | ----- | 1 |  | 79 | 68.304 | 559.3183 | 82.2878 | 477.9477 | 68.6139 | 453.3994 | 59.0556 | 390.5804 | 68.304 | 559.3183 | 79 | BRN18jul23_031.gcd | 2023-07-19 02:18 | 377 | Unknown | 0 | 2.868 | 979536 | 0 | ----- | ----- | ----- | -----