## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN19sep23_001.gcd | 2023-09-19 10:41 | QC outside air | Unknown | 0 | 6.122 | 2246 | -0.003 | ----- | ----- | ----- | ----- | 49 | BRN19sep23_001.gcd | 2023-09-19 10:41 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN19sep23_001.gcd | 2023-09-19 10:41 | QC outside air | Unknown | 0 | 12.211 | 3734 | 0.789 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.7418 | 883.0167 | 1.8116 | 726.2384 | 1.5791 | 709.8561 | 0.80315 | 667.762 | 4.7418 | 883.0167 | 49 | BRN19sep23_001.gcd | 2023-09-19 10:41 | QC outside air | Unknown | 0 | 2.7 | 5228504 | 0 | ----- | ----- | ----- | -----
50 | BRN19sep23_002.gcd | 2023-09-19 11:12 | QC spiked air | Unknown | 0 | 6.009 | 1004915 | 2.151 | ----- | ----- | ----- | ----- | 50 | BRN19sep23_002.gcd | 2023-09-19 11:12 | QC spiked air | Unknown | 0 | 5.963 | 9458 | 2.4 | ----- | ----- | ----- | ----- | 50 | BRN19sep23_002.gcd | 2023-09-19 11:12 | QC spiked air | Unknown | 0 | 12.178 | 9080 | 2.273 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2084.8518 | 2156.1962 | 2355.8681 | 1713.0868 | 2709.3359 | 1730.8974 | 2562.1382 | 1771.032 | 2084.8518 | 2156.1962 | 50 | BRN19sep23_002.gcd | 2023-09-19 11:12 | QC spiked air | Unknown | 0 | 2.726 | 4789744 | 0 | ----- | ----- | ----- | -----
51 | BRN19sep23_003.gcd | 2023-09-19 11:42 | QC reference tank | Unknown | 0 | 6.069 | 3565 | 0 | ----- | ----- | ----- | ----- | 51 | BRN19sep23_003.gcd | 2023-09-19 11:42 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN19sep23_003.gcd | 2023-09-19 11:42 | QC reference tank | Unknown | 0 | 12.209 | 1254 | 0.098 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.5958 | 283.5388 | 5.5424 | 267.2229 | 6.1775 | 235.8812 | 3.0181 | 155.4617 | 2.5958 | 283.5388 | 51 | BRN19sep23_003.gcd | 2023-09-19 11:42 | QC reference tank | Unknown | 0 | 2.728 | 4870574 | 0 | ----- | ----- | ----- | -----
52 | BRN19sep23_004.gcd | 2023-09-19 12:13 | 283 | Unknown | 0 | 6.021 | 609355 | 1.301 | ----- | ----- | ----- | ----- | 52 | BRN19sep23_004.gcd | 2023-09-19 12:13 | 283 | Unknown | 0 | 5.976 | 5156 | 1.294 | ----- | ----- | ----- | ----- | 52 | BRN19sep23_004.gcd | 2023-09-19 12:13 | 283 | Unknown | 0 | 12.175 | 11649 | 2.983 | ----- | ----- | ----- | ----- | 1 |  | 52 | 1329.3423 | 2758.7436 | 1611.3882 | 2186.0368 | 1560.3475 | 2221.2243 | 1398.3899 | 2300.6853 | 1329.3423 | 2758.7436 | 52 | BRN19sep23_004.gcd | 2023-09-19 12:13 | 283 | Unknown | 0 | 2.879 | 909346 | 0 | ----- | ----- | ----- | -----
53 | BRN19sep23_005.gcd | 2023-09-19 12:44 | 26 | Unknown | 0 | 5.994 | 84816 | 0.174 | ----- | ----- | ----- | ----- | 53 | BRN19sep23_005.gcd | 2023-09-19 12:44 | 26 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN19sep23_005.gcd | 2023-09-19 12:44 | 26 | Unknown | 0 | 12.059 | 90857 | 23.885 | ----- | ----- | ----- | ----- | 1 |  | 53 | 236.3305 | 20390.6496 | 261.0057 | 16361.5518 | 222.2093 | 17233.7742 | 196.0986 | 18465.7744 | 236.3305 | 20390.6496 | 53 | BRN19sep23_005.gcd | 2023-09-19 12:44 | 26 | Unknown | 0 | 2.857 | 720800 | 0 | ----- | ----- | ----- | -----
54 | BRN19sep23_006.gcd | 2023-09-19 13:14 | 113 | Unknown | 0 | 6.012 | 931004 | 1.992 | ----- | ----- | ----- | ----- | 54 | BRN19sep23_006.gcd | 2023-09-19 13:14 | 113 | Unknown | 0 | 5.965 | 8489 | 2.151 | ----- | ----- | ----- | ----- | 54 | BRN19sep23_006.gcd | 2023-09-19 13:14 | 113 | Unknown | 0 | 12.12 | 57293 | 15.247 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1944.1259 | 12280.2223 | 2171.7978 | 10450.9104 | 2461.2333 | 10897.1903 | 2323.0353 | 11654.994 | 1944.1259 | 12280.2223 | 54 | BRN19sep23_006.gcd | 2023-09-19 13:14 | 113 | Unknown | 0 | 2.86 | 1104555 | 0 | ----- | ----- | ----- | -----
55 | BRN19sep23_007.gcd | 2023-09-19 13:45 | 251 | Unknown | 0 | 5.994 | 373619 | 0.794 | ----- | ----- | ----- | ----- | 55 | BRN19sep23_007.gcd | 2023-09-19 13:45 | 251 | Unknown | 0 | 5.947 | 4477 | 1.119 | ----- | ----- | ----- | ----- | 55 | BRN19sep23_007.gcd | 2023-09-19 13:45 | 251 | Unknown | 0 | 11.971 | 192677 | 48.443 | ----- | ----- | ----- | ----- | 1 |  | 55 | 876.3245 | 44430.7039 | 1060.0732 | 33426.8456 | 967.1984 | 36232.3412 | 863.5447 | 38775.2205 | 876.3245 | 44430.7039 | 55 | BRN19sep23_007.gcd | 2023-09-19 13:45 | 251 | Unknown | 0 | 2.856 | 753735 | 0 | ----- | ----- | ----- | -----
56 | BRN19sep23_008.gcd | 2023-09-19 14:16 | 292 | Unknown | 0 | 5.997 | 389241 | 0.828 | ----- | ----- | ----- | ----- | 56 | BRN19sep23_008.gcd | 2023-09-19 14:16 | 292 | Unknown | 0 | 5.955 | 3649 | 0.906 | ----- | ----- | ----- | ----- | 56 | BRN19sep23_008.gcd | 2023-09-19 14:16 | 292 | Unknown | 0 | 11.973 | 188465 | 47.47 | ----- | ----- | ----- | ----- | 1 |  | 56 | 906.4095 | 43453.0511 | 1099.4149 | 32746.7098 | 1006.9216 | 35453.1101 | 899.2654 | 37945.5692 | 906.4095 | 43453.0511 | 56 | BRN19sep23_008.gcd | 2023-09-19 14:16 | 292 | Unknown | 0 | 2.862 | 700002 | 0 | ----- | ----- | ----- | -----
57 | BRN19sep23_009.gcd | 2023-09-19 14:46 | 252 | Unknown | 0 | 6.002 | 18646 | 0.033 | ----- | ----- | ----- | ----- | 57 | BRN19sep23_009.gcd | 2023-09-19 14:46 | 252 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN19sep23_009.gcd | 2023-09-19 14:46 | 252 | Unknown | 0 | 12.151 | 12964 | 3.345 | ----- | ----- | ----- | ----- | 1 |  | 57 | 45.7715 | 3064.8414 | 58.7535 | 2427.8061 | 48.6791 | 2472.1261 | 41.2828 | 2571.6698 | 45.7715 | 3064.8414 | 57 | BRN19sep23_009.gcd | 2023-09-19 14:46 | 252 | Unknown | 0 | 2.852 | 854379 | 0 | ----- | ----- | ----- | -----
58 | BRN19sep23_010.gcd | 2023-09-19 15:17 | 122 | Unknown | 0 | 6.076 | 2777 | -0.002 | ----- | ----- | ----- | ----- | 58 | BRN19sep23_010.gcd | 2023-09-19 15:17 | 122 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN19sep23_010.gcd | 2023-09-19 15:17 | 122 | Unknown | 0 | 11.993 | 202055 | 50.596 | ----- | ----- | ----- | ----- | 1 |  | 58 | 3.6519 | 46602.231 | 3.3047 | 34933.165 | 3.4546 | 37965.2236 | 1.634 | 40619.1833 | 3.6519 | 46602.231 | 58 | BRN19sep23_010.gcd | 2023-09-19 15:17 | 122 | Unknown | 0 | 2.879 | 782081 | 0 | ----- | ----- | ----- | -----
59 | BRN19sep23_011.gcd | 2023-09-19 15:48 | 408 | Unknown | 0 | 6.024 | 17683 | 0.03 | ----- | ----- | ----- | ----- | 59 | BRN19sep23_011.gcd | 2023-09-19 15:48 | 408 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN19sep23_011.gcd | 2023-09-19 15:48 | 408 | Unknown | 0 | 12.178 | 11766 | 3.015 | ----- | ----- | ----- | ----- | 1 |  | 59 | 42.8963 | 2786.0421 | 55.7573 | 2207.5566 | 46.1458 | 2243.5502 | 39.0245 | 2324.7992 | 42.8963 | 2786.0421 | 59 | BRN19sep23_011.gcd | 2023-09-19 15:48 | 408 | Unknown | 0 | 2.878 | 785854 | 0 | ----- | ----- | ----- | -----
60 | BRN19sep23_012.gcd | 2023-09-19 16:18 | 180 | Unknown | 0 | 5.997 | 5851507 | 12.681 | ----- | ----- | ----- | ----- | 60 | BRN19sep23_012.gcd | 2023-09-19 16:18 | 180 | Unknown | 0 | 5.954 | 48294 | 12.336 | ----- | ----- | ----- | ----- | 60 | BRN19sep23_012.gcd | 2023-09-19 16:18 | 180 | Unknown | 0 | 12.109 | 72320 | 19.152 | ----- | ----- | ----- | ----- | 1 |  | 60 | 10869.1571 | 15922.7495 | 9738.1922 | 13114.6595 | 12621.8721 | 13738.6832 | 12115.0472 | 14711.3697 | 10869.1571 | 15922.7495 | 60 | BRN19sep23_012.gcd | 2023-09-19 16:18 | 180 | Unknown | 0 | 2.886 | 616427 | 0 | ----- | ----- | ----- | -----
61 | BRN19sep23_013.gcd | 2023-09-19 16:49 | 217 | Unknown | 0 | 6.026 | 17562 | 0.03 | ----- | ----- | ----- | ----- | 61 | BRN19sep23_013.gcd | 2023-09-19 16:49 | 217 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN19sep23_013.gcd | 2023-09-19 16:49 | 217 | Unknown | 0 | 12.2 | 165803 | 42.178 | ----- | ----- | ----- | ----- | 3 | CO2 pk swamped | 61 | 42.5348 | nd | 55.3807 | 29049.1191 | 45.8275 | 31250.6779 | 38.7407 | 33466.2191 | 42.5348 | 38168.0361 | 61 | BRN19sep23_013.gcd | 2023-09-19 16:49 | 217 | Unknown | 0 | 2.882 | 766486 | 0 | ----- | ----- | ----- | -----
62 | BRN19sep23_014.gcd | 2023-09-19 17:20 | 368 | Unknown | 0 | 6.123 | 2312 | -0.003 | ----- | ----- | ----- | ----- | 62 | BRN19sep23_014.gcd | 2023-09-19 17:20 | 368 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN19sep23_014.gcd | 2023-09-19 17:20 | 368 | Unknown | 0 | 11.965 | 204572 | 51.171 | ----- | ----- | ----- | ----- | 1 |  | 62 | 4.5898 | 47183.8315 | 1.9965 | 35335.5729 | 1.814 | 38429.8322 | 0.90197 | 41113.328 | 4.5898 | 47183.8315 | 62 | BRN19sep23_014.gcd | 2023-09-19 17:20 | 368 | Unknown | 0 | 2.851 | 904159 | 0 | ----- | ----- | ----- | -----
63 | BRN19sep23_015.gcd | 2023-09-19 17:50 | 362 | Unknown | 0 | 6.02 | 162946 | 0.342 | ----- | ----- | ----- | ----- | 63 | BRN19sep23_015.gcd | 2023-09-19 17:50 | 362 | Unknown | 0 | 5.974 | 1097 | 0.249 | ----- | ----- | ----- | ----- | 63 | BRN19sep23_015.gcd | 2023-09-19 17:50 | 362 | Unknown | 0 | 12.019 | 167940 | 42.682 | ----- | ----- | ----- | ----- | 1 |  | 63 | 443.5531 | 38668.2008 | 490.6123 | 29400.5507 | 425.7415 | 31647.6755 | 377.9888 | 33889.7359 | 443.5531 | 38668.2008 | 63 | BRN19sep23_015.gcd | 2023-09-19 17:50 | 362 | Unknown | 0 | 2.877 | 847465 | 0 | ----- | ----- | ----- | -----
64 | BRN19sep23_016.gcd | 2023-09-19 18:21 | 415 | Unknown | 0 | 6.02 | 56299 | 0.113 | ----- | ----- | ----- | ----- | 64 | BRN19sep23_016.gcd | 2023-09-19 18:21 | 415 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN19sep23_016.gcd | 2023-09-19 18:21 | 415 | Unknown | 0 | 12.177 | 10047 | 2.54 | ----- | ----- | ----- | ----- | 1 |  | 64 | 155.8994 | 2383.7083 | 174.7183 | 1891.2077 | 147.5536 | 1915.4871 | 129.4648 | 1970.4389 | 155.8994 | 2383.7083 | 64 | BRN19sep23_016.gcd | 2023-09-19 18:21 | 415 | Unknown | 0 | 2.878 | 811457 | 0 | ----- | ----- | ----- | -----
65 | BRN19sep23_017.gcd | 2023-09-19 18:52 | 253 | Unknown | 0 | 5.977 | 6174758 | 13.391 | ----- | ----- | ----- | ----- | 65 | BRN19sep23_017.gcd | 2023-09-19 18:52 | 253 | Unknown | 0 | 5.934 | 49106 | 12.543 | ----- | ----- | ----- | ----- | 65 | BRN19sep23_017.gcd | 2023-09-19 18:52 | 253 | Unknown | 0 | 12.081 | 72181 | 19.116 | ----- | ----- | ----- | ----- | 1 |  | 65 | 11423.9565 | 15889.1407 | 9892.6508 | 13090.1496 | 12828.4816 | 13712.433 | 12314.1597 | 14683.151 | 11423.9565 | 15889.1407 | 65 | BRN19sep23_017.gcd | 2023-09-19 18:52 | 253 | Unknown | 0 | 2.86 | 721334 | 0 | ----- | ----- | ----- | -----
66 | BRN19sep23_018.gcd | 2023-09-19 19:23 | 288 | Unknown | 0 | 6.004 | 16717 | 0.028 | ----- | ----- | ----- | ----- | 66 | BRN19sep23_018.gcd | 2023-09-19 19:23 | 288 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN19sep23_018.gcd | 2023-09-19 19:23 | 288 | Unknown | 0 | 12.143 | 12722 | 3.278 | ----- | ----- | ----- | ----- | 1 |  | 66 | 40.0091 | 3008.6285 | 52.7502 | 2383.3295 | 43.6044 | 2425.9567 | 36.759 | 2521.807 | 40.0091 | 3008.6285 | 66 | BRN19sep23_018.gcd | 2023-09-19 19:23 | 288 | Unknown | 0 | 2.852 | 890843 | 0 | ----- | ----- | ----- | -----
67 | BRN19sep23_019.gcd | 2023-09-19 19:53 | 384 | Unknown | 0 | 6.024 | 24830 | 0.046 | ----- | ----- | ----- | ----- | 67 | BRN19sep23_019.gcd | 2023-09-19 19:53 | 384 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN19sep23_019.gcd | 2023-09-19 19:53 | 384 | Unknown | 0 | 11.995 | 201056 | 50.367 | ----- | ----- | ----- | ----- | 1 |  | 67 | 64.1654 | 46371.2494 | 77.958 | 34773.2284 | 64.9414 | 37780.7628 | 55.7812 | 40422.9671 | 64.1654 | 46371.2494 | 67 | BRN19sep23_019.gcd | 2023-09-19 19:53 | 384 | Unknown | 0 | 2.879 | 812102 | 0 | ----- | ----- | ----- | -----
68 | BRN19sep23_020.gcd | 2023-09-19 20:24 | 39 | Unknown | 0 | 6.089 | 2568 | -0.002 | ----- | ----- | ----- | ----- | 68 | BRN19sep23_020.gcd | 2023-09-19 20:24 | 39 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN19sep23_020.gcd | 2023-09-19 20:24 | 39 | Unknown | 0 | 12.001 | 197774 | 49.615 | ----- | ----- | ----- | ----- | 1 |  | 68 | 4.0446 | 45611.8345 | 2.7156 | 34246.909 | 2.7203 | 37174.5281 | 1.2972 | 39777.9824 | 4.0446 | 45611.8345 | 68 | BRN19sep23_020.gcd | 2023-09-19 20:24 | 39 | Unknown | 0 | 2.878 | 827855 | 0 | ----- | ----- | ----- | -----
69 | BRN19sep23_021.gcd | 2023-09-19 20:55 | 186 looks like 196 | Unknown | 0 | 6.019 | 797792 | 1.706 | ----- | ----- | ----- | ----- | 69 | BRN19sep23_021.gcd | 2023-09-19 20:55 | 186 looks like 196 | Unknown | 0 | 5.973 | 6988 | 1.765 | ----- | ----- | ----- | ----- | 69 | BRN19sep23_021.gcd | 2023-09-19 20:55 | 186 looks like 196 | Unknown | 0 | 12.131 | 56448 | 15.026 | ----- | ----- | ----- | ----- | 1 |  | 69 | 1689.9781 | 12074.8468 | 1886.6816 | 10300.2803 | 2076.8431 | 10737.1891 | 1952.5884 | 11482.7853 | 1689.9781 | 12074.8468 | 69 | BRN19sep23_021.gcd | 2023-09-19 20:55 | 186 looks like 196 | Unknown | 0 | 2.88 | 797746 | 0 | ----- | ----- | ----- | -----
70 | BRN19sep23_022.gcd | 2023-09-19 21:25 | 138 | Unknown | 0 | 5.868 | 35645753 | 82.39 | ----- | ----- | ----- | ----- | 70 | BRN19sep23_022.gcd | 2023-09-19 21:25 | 138 | Unknown | 0 | 5.848 | 413349 | 101.864 | ----- | ----- | ----- | ----- | 70 | BRN19sep23_022.gcd | 2023-09-19 21:25 | 138 | Unknown | 0 | 12.113 | 68124 | 18.068 | ----- | ----- | ----- | ----- | 1 |  | 70 | 101574.8706 | 14907.5028 | 79615.7416 | 12373.7116 | 102839.6757 | 12945.9901 | 99054.1216 | 13859.0956 | 101574.8706 | 14907.5028 | 70 | BRN19sep23_022.gcd | 2023-09-19 21:25 | 138 | Unknown | 0 | 2.886 | 642946 | 0 | ----- | ----- | ----- | -----
71 | BRN19sep23_023.gcd | 2023-09-19 21:56 | 381 | Unknown | 0 | 6.025 | 45463 | 0.09 | ----- | ----- | ----- | ----- | 71 | BRN19sep23_023.gcd | 2023-09-19 21:56 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN19sep23_023.gcd | 2023-09-19 21:56 | 381 | Unknown | 0 | 12.183 | 9633 | 2.426 | ----- | ----- | ----- | ----- | 1 |  | 71 | 124.6644 | 2286.4083 | 141.5825 | 1814.9635 | 119.134 | 1836.4628 | 104.1107 | 1885.073 | 124.6644 | 2286.4083 | 71 | BRN19sep23_023.gcd | 2023-09-19 21:56 | 381 | Unknown | 0 | 2.879 | 874961 | 0 | ----- | ----- | ----- | -----
72 | BRN19sep23_024.gcd | 2023-09-19 22:27 | 373 | Unknown | 0 | 6.02 | 375696 | 0.799 | ----- | ----- | ----- | ----- | 72 | BRN19sep23_024.gcd | 2023-09-19 22:27 | 373 | Unknown | 0 | 5.968 | 3514 | 0.871 | ----- | ----- | ----- | ----- | 72 | BRN19sep23_024.gcd | 2023-09-19 22:27 | 373 | Unknown | 0 | 12.019 | 167009 | 42.462 | ----- | ----- | ----- | ----- | 1 |  | 72 | 880.3249 | 38450.3463 | 1065.3268 | 29247.5174 | 972.4831 | 31474.7388 | 868.2962 | 33705.2563 | 880.3249 | 38450.3463 | 72 | BRN19sep23_024.gcd | 2023-09-19 22:27 | 373 | Unknown | 0 | 2.879 | 832637 | 0 | ----- | ----- | ----- | -----
73 | BRN19sep23_025.gcd | 2023-09-19 22:57 | 45 | Unknown | 0 | 5.998 | 114225 | 0.238 | ----- | ----- | ----- | ----- | 73 | BRN19sep23_025.gcd | 2023-09-19 22:57 | 45 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN19sep23_025.gcd | 2023-09-19 22:57 | 45 | Unknown | 0 | 12.057 | 97780 | 25.63 | ----- | ----- | ----- | ----- | 1 |  | 73 | 316.591 | 22052.064 | 348.6017 | 17563.1025 | 298.9944 | 18536.2173 | 264.6795 | 19863.4311 | 316.591 | 22052.064 | 73 | BRN19sep23_025.gcd | 2023-09-19 22:57 | 45 | Unknown | 0 | 2.853 | 891375 | 0 | ----- | ----- | ----- | -----
74 | BRN19sep23_026.gcd | 2023-09-19 23:28 | 326 | Unknown | 0 | 5.997 | 695562 | 1.486 | ----- | ----- | ----- | ----- | 74 | BRN19sep23_026.gcd | 2023-09-19 23:28 | 326 | Unknown | 0 | 5.949 | 7435 | 1.88 | ----- | ----- | ----- | ----- | 74 | BRN19sep23_026.gcd | 2023-09-19 23:28 | 326 | Unknown | 0 | 12.145 | 11882 | 3.047 | ----- | ----- | ----- | ----- | 1 |  | 74 | 1494.4915 | 2813.0949 | 1790.3476 | 2228.8908 | 1773.9026 | 2265.6848 | 1591.7438 | 2348.7064 | 1494.4915 | 2813.0949 | 74 | BRN19sep23_026.gcd | 2023-09-19 23:28 | 326 | Unknown | 0 | 2.852 | 926046 | 0 | ----- | ----- | ----- | -----
75 | BRN19sep23_027.gcd | 2023-09-19 23:59 | 194 | Unknown | 0 | 6.025 | 45936 | 0.091 | ----- | ----- | ----- | ----- | 75 | BRN19sep23_027.gcd | 2023-09-19 23:59 | 194 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN19sep23_027.gcd | 2023-09-19 23:59 | 194 | Unknown | 0 | 12.177 | 11696 | 2.996 | ----- | ----- | ----- | ----- | 1 |  | 75 | 126.0356 | 2769.7112 | 143.0329 | 2194.6817 | 120.3751 | 2230.1929 | 105.2178 | 2310.3722 | 126.0356 | 2769.7112 | 75 | BRN19sep23_027.gcd | 2023-09-19 23:59 | 194 | Unknown | 0 | 2.877 | 918538 | 0 | ----- | ----- | ----- | -----
76 | BRN19sep23_028.gcd | 2023-09-20 00:29 | 413 | Unknown | 0 | 5.999 | 44839 | 0.089 | ----- | ----- | ----- | ----- | 76 | BRN19sep23_028.gcd | 2023-09-20 00:29 | 413 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN19sep23_028.gcd | 2023-09-20 00:29 | 413 | Unknown | 0 | 12.145 | 10223 | 2.589 | ----- | ----- | ----- | ----- | 1 |  | 76 | 122.8545 | 2425.0251 | 139.6685 | 1923.6141 | 117.4966 | 1949.0803 | 102.65 | 2006.727 | 122.8545 | 2425.0251 | 76 | BRN19sep23_028.gcd | 2023-09-20 00:29 | 413 | Unknown | 0 | 2.845 | 1026458 | 0 | ----- | ----- | ----- | -----
77 | BRN19sep23_029.gcd | 2023-09-20 01:00 | 307 | Unknown | 0 | 5.861 | 36433093 | 84.368 | ----- | ----- | ----- | ----- | 77 | BRN19sep23_029.gcd | 2023-09-20 01:00 | 307 | Unknown | 0 | 5.842 | 431325 | 106.107 | ----- | ----- | ----- | ----- | 77 | BRN19sep23_029.gcd | 2023-09-20 01:00 | 307 | Unknown | 0 | 12.115 | 65282 | 17.331 | ----- | ----- | ----- | ----- | 1 |  | 77 | 105882.0374 | 14219.0463 | 83079.263 | 11870.6034 | 107143.982 | 12408.7645 | 103201.728 | 13281.3298 | 105882.0374 | 14219.0463 | 77 | BRN19sep23_029.gcd | 2023-09-20 01:00 | 307 | Unknown | 0 | 2.885 | 665779 | 0 | ----- | ----- | ----- | -----