## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN20jun23_001.gcd | 2023-06-20 13:16 | QC outside air old | Unknown | 0 | 6.057 | 1545 | -0.004 | ----- | ----- | ----- | ----- | 49 | BRN20jun23_001.gcd | 2023-06-20 13:16 | QC outside air old | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN20jun23_001.gcd | 2023-06-20 13:16 | QC outside air old | Unknown | 0 | 12.224 | 2773 | 0.521 | ----- | ----- | ----- | ----- | 1 |  | 49 | 6.6471 | 651.3848 | -0.14105 | 548.4615 | -0.94679 | 526.2146 | -0.16824 | 469.2829 | 6.6471 | 651.3848 | 49 | BRN20jun23_001.gcd | 2023-06-20 13:16 | QC outside air old | Unknown | 0 | 2.714 | 5029827 | 0 | ----- | ----- | ----- | -----
50 | BRN20jun23_002.gcd | 2023-06-20 13:46 | QC spiked air new batch | Unknown | 0 | 5.988 | 1316390 | 2.822 | ----- | ----- | ----- | ----- | 50 | BRN20jun23_002.gcd | 2023-06-20 13:46 | QC spiked air new batch | Unknown | 0 | 5.938 | 12153 | 3.092 | ----- | ----- | ----- | ----- | 50 | BRN20jun23_002.gcd | 2023-06-20 13:46 | QC spiked air new batch | Unknown | 0 | 12.177 | 5183 | 1.192 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2675.665 | 1230.6796 | 2867.8399 | 994.072 | 3399.165 | 986.6948 | 3226.944 | 966.9405 | 2675.665 | 1230.6796 | 50 | BRN20jun23_002.gcd | 2023-06-20 13:46 | QC spiked air new batch | Unknown | 0 | 2.693 | 5401294 | 0 | ----- | ----- | ----- | -----
51 | BRN20jun23_003.gcd | 2023-06-20 14:17 | QC reference tank | Unknown | 0 | 6.03 | 2950 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN20jun23_003.gcd | 2023-06-20 14:17 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN20jun23_003.gcd | 2023-06-20 14:17 | QC reference tank | Unknown | 0 | 12.198 | 1057 | 0.043 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.3626 | 235.6784 | 3.7937 | 230.7277 | 4.0585 | 198.2222 | 1.9224 | 114.7534 | 3.3626 | 235.6784 | 51 | BRN20jun23_003.gcd | 2023-06-20 14:17 | QC reference tank | Unknown | 0 | 2.711 | 5167927 | 0 | ----- | ----- | ----- | -----
52 | BRN20jun23_004.gcd | 2023-06-20 14:48 | 69 | Unknown | 0 | 6.028 | 2469 | -0.002 | ----- | ----- | ----- | ----- | 52 | BRN20jun23_004.gcd | 2023-06-20 14:48 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN20jun23_004.gcd | 2023-06-20 14:48 | 69 | Unknown | 0 | 12.073 | 58638 | 15.599 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4.247 | 12607.0014 | 2.4372 | 10690.4859 | 2.3707 | 11151.819 | 1.1421 | 11929.0262 | 4.247 | 12607.0014 | 52 | BRN20jun23_004.gcd | 2023-06-20 14:48 | 69 | Unknown | 0 | 2.87 | 756461 | 0 | ----- | ----- | ----- | -----
53 | BRN20jun23_005.gcd | 2023-06-20 15:18 | 370 | Unknown | 0 | 5.994 | 24629 | 0.045 | ----- | ----- | ----- | ----- | 53 | BRN20jun23_005.gcd | 2023-06-20 15:18 | 370 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN20jun23_005.gcd | 2023-06-20 15:18 | 370 | Unknown | 0 | 12.147 | 2230 | 0.37 | ----- | ----- | ----- | ----- | 1 |  | 53 | 63.5695 | 520.1319 | 77.3348 | 447.9599 | 64.413 | 422.4371 | 55.31 | 357.1141 | 63.5695 | 520.1319 | 53 | BRN20jun23_005.gcd | 2023-06-20 15:18 | 370 | Unknown | 0 | 2.83 | 1251735 | 0 | ----- | ----- | ----- | -----
54 | BRN20jun23_006.gcd | 2023-06-20 15:49 | 128 | Unknown | 0 | 6.009 | 12484 | 0.019 | ----- | ----- | ----- | ----- | 54 | BRN20jun23_006.gcd | 2023-06-20 15:49 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN20jun23_006.gcd | 2023-06-20 15:49 | 128 | Unknown | 0 | 12.123 | 33590 | 8.957 | ----- | ----- | ----- | ----- | 1 |  | 54 | 27.323 | 7659.6278 | 32.71 | 6191.5934 | 32.4654 | 6400.204 | 26.8299 | 6810.5591 | 27.323 | 7659.6278 | 54 | BRN20jun23_006.gcd | 2023-06-20 15:49 | 128 | Unknown | 0 | 2.866 | 808576 | 0 | ----- | ----- | ----- | -----
55 | BRN20jun23_007.gcd | 2023-06-20 16:20 | 121 | Unknown | 0 | 5.972 | 10696492 | 23.411 | ----- | ----- | ----- | ----- | 55 | BRN20jun23_007.gcd | 2023-06-20 16:20 | 121 | Unknown | 0 | 5.927 | 83043 | 21.154 | ----- | ----- | ----- | ----- | 55 | BRN20jun23_007.gcd | 2023-06-20 16:20 | 121 | Unknown | 0 | 12.094 | 61396 | 16.319 | ----- | ----- | ----- | ----- | 1 |  | 55 | 20130.6067 | 13276.6179 | 16352.0195 | 11181.0388 | 21439.9197 | 11673.7656 | 20613.0781 | 12490.6564 | 20130.6067 | 13276.6179 | 55 | BRN20jun23_007.gcd | 2023-06-20 16:20 | 121 | Unknown | 0 | 2.866 | 768393 | 0 | ----- | ----- | ----- | -----
56 | BRN20jun23_008.gcd | 2023-06-20 16:50 | 299 | Unknown | 0 | 5.994 | 22393 | 0.041 | ----- | ----- | ----- | ----- | 56 | BRN20jun23_008.gcd | 2023-06-20 16:50 | 299 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN20jun23_008.gcd | 2023-06-20 16:50 | 299 | Unknown | 0 | 12.144 | 2769 | 0.52 | ----- | ----- | ----- | ----- | 1 |  | 56 | 56.9311 | 650.4189 | 70.3973 | 547.7213 | 58.5338 | 525.4501 | 50.0684 | 468.4566 | 56.9311 | 650.4189 | 56 | BRN20jun23_008.gcd | 2023-06-20 16:50 | 299 | Unknown | 0 | 2.84 | 1035750 | 0 | ----- | ----- | ----- | -----
57 | BRN20jun23_009.gcd | 2023-06-20 17:21 | 286 | Unknown | 0 | 6.028 | 3165 | -0.001 | ----- | ----- | ----- | ----- | 57 | BRN20jun23_009.gcd | 2023-06-20 17:21 | 286 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN20jun23_009.gcd | 2023-06-20 17:21 | 286 | Unknown | 0 | 12.096 | 59052 | 15.708 | ----- | ----- | ----- | ----- | 1 |  | 57 | 3.0481 | 12707.5564 | 4.4032 | 10764.1831 | 4.8043 | 11230.1835 | 2.293 | 12013.3566 | 3.0481 | 12707.5564 | 57 | BRN20jun23_009.gcd | 2023-06-20 17:21 | 286 | Unknown | 0 | 2.869 | 760821 | 0 | ----- | ----- | ----- | -----
58 | BRN20jun23_010.gcd | 2023-06-20 17:52 | 323 | Unknown | 0 | 6.009 | 3839 | 0.001 | ----- | ----- | ----- | ----- | 58 | BRN20jun23_010.gcd | 2023-06-20 17:52 | 323 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN20jun23_010.gcd | 2023-06-20 17:52 | 323 | Unknown | 0 | 12.091 | 47309 | 12.618 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.3856 | 9849.8993 | 6.3267 | 8665.4305 | 7.1074 | 9005.2306 | 3.5416 | 9617.9529 | 2.3856 | 9849.8993 | 58 | BRN20jun23_010.gcd | 2023-06-20 17:52 | 323 | Unknown | 0 | 2.845 | 933689 | 0 | ----- | ----- | ----- | -----
59 | BRN20jun23_011.gcd | 2023-06-20 18:22 | 407 | Unknown | 0 | 6.011 | 21029 | 0.038 | ----- | ----- | ----- | ----- | 59 | BRN20jun23_011.gcd | 2023-06-20 18:22 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN20jun23_011.gcd | 2023-06-20 18:22 | 407 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 59 | 52.8739 | #VALUE! | 66.1613 | #VALUE! | 54.9469 | #VALUE! | 46.8705 | #VALUE! | 52.8739 | #VALUE! | 59 | BRN20jun23_011.gcd | 2023-06-20 18:22 | 407 | Unknown | 0 | 2.844 | 1321354 | 0 | ----- | ----- | ----- | -----
60 | BRN20jun23_012.gcd | 2023-06-20 18:53 | 331 | Unknown | 0 | 6.009 | 16182 | 0.027 | ----- | ----- | ----- | ----- | 60 | BRN20jun23_012.gcd | 2023-06-20 18:53 | 331 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN20jun23_012.gcd | 2023-06-20 18:53 | 331 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 60 | 38.4089 | #VALUE! | 51.0841 | #VALUE! | 42.1968 | #VALUE! | 35.5042 | #VALUE! | 38.4089 | #VALUE! | 60 | BRN20jun23_012.gcd | 2023-06-20 18:53 | 331 | Unknown | 0 | 2.866 | 861959 | 0 | ----- | ----- | ----- | -----
61 | BRN20jun23_013.gcd | 2023-06-20 19:23 | 258 | Unknown | 0 | 5.991 | 275018 | 0.583 | ----- | ----- | ----- | ----- | 61 | BRN20jun23_013.gcd | 2023-06-20 19:23 | 258 | Unknown | 0 | 5.952 | 2816 | 0.692 | ----- | ----- | ----- | ----- | 61 | BRN20jun23_013.gcd | 2023-06-20 19:23 | 258 | Unknown | 0 | 12.153 | 4677 | 1.052 | ----- | ----- | ----- | ----- | 1 |  | 61 | 686.2281 | 1109.4911 | 802.5685 | 900.5727 | 715.1171 | 890.0287 | 637.1806 | 862.4777 | 686.2281 | 1109.4911 | 61 | BRN20jun23_013.gcd | 2023-06-20 19:23 | 258 | Unknown | 0 | 2.835 | 1161213 | 0 | ----- | ----- | ----- | -----
62 | BRN20jun23_014.gcd | 2023-06-20 19:54 | 403 | Unknown | 0 | 6.007 | 117037 | 0.244 | ----- | ----- | ----- | ----- | 62 | BRN20jun23_014.gcd | 2023-06-20 19:54 | 403 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN20jun23_014.gcd | 2023-06-20 19:54 | 403 | Unknown | 0 | 12.08 | 85445 | 22.512 | ----- | ----- | ----- | ----- | 1 |  | 62 | 324.1224 | 19089.1218 | 356.9034 | 15418.0588 | 306.3253 | 16214.5142 | 271.2297 | 17371.4639 | 324.1224 | 19089.1218 | 62 | BRN20jun23_014.gcd | 2023-06-20 19:54 | 403 | Unknown | 0 | 2.872 | 749286 | 0 | ----- | ----- | ----- | -----
63 | BRN20jun23_015.gcd | 2023-06-20 20:25 | 159 | Unknown | 0 | 6.009 | 16019 | 0.027 | ----- | ----- | ----- | ----- | 63 | BRN20jun23_015.gcd | 2023-06-20 20:25 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN20jun23_015.gcd | 2023-06-20 20:25 | 159 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 63 | 37.9211 | #VALUE! | 50.5764 | #VALUE! | 41.7679 | #VALUE! | 35.1219 | #VALUE! | 37.9211 | #VALUE! | 63 | BRN20jun23_015.gcd | 2023-06-20 20:25 | 159 | Unknown | 0 | 2.865 | 884634 | 0 | ----- | ----- | ----- | -----
64 | BRN20jun23_016.gcd | 2023-06-20 20:55 | 150 | Unknown | 0 | 6.019 | 4210 | 0.002 | ----- | ----- | ----- | ----- | 64 | BRN20jun23_016.gcd | 2023-06-20 20:55 | 150 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN20jun23_016.gcd | 2023-06-20 20:55 | 150 | Unknown | 0 | 12.081 | 79746 | 21.059 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.2304 | 17715.9837 | 7.3937 | 14420.5573 | 8.3527 | 15140.173 | 4.2852 | 16217.5057 | 2.2304 | 17715.9837 | 64 | BRN20jun23_016.gcd | 2023-06-20 20:55 | 150 | Unknown | 0 | 2.866 | 877290 | 0 | ----- | ----- | ----- | -----
65 | BRN20jun23_017.gcd | 2023-06-20 21:26 | 242 | Unknown | 0 | 6.013 | 9142 | 0.012 | ----- | ----- | ----- | ----- | 65 | BRN20jun23_017.gcd | 2023-06-20 21:26 | 242 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN20jun23_017.gcd | 2023-06-20 21:26 | 242 | Unknown | 0 | 12.155 | 6818 | 1.646 | ----- | ----- | ----- | ----- | 1 |  | 65 | 14.2895 | 1620.6701 | 22.1341 | 1295.9693 | 23.3916 | 1298.9878 | 17.9713 | 1304.3943 | 14.2895 | 1620.6701 | 65 | BRN20jun23_017.gcd | 2023-06-20 21:26 | 242 | Unknown | 0 | 2.869 | 818361 | 0 | ----- | ----- | ----- | -----
66 | BRN20jun23_018.gcd | 2023-06-20 21:56 | 219 | Unknown | 0 | 6.015 | 6197 | 0.006 | ----- | ----- | ----- | ----- | 66 | BRN20jun23_018.gcd | 2023-06-20 21:56 | 219 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN20jun23_018.gcd | 2023-06-20 21:56 | 219 | Unknown | 0 | 12.115 | 48102 | 12.828 | ----- | ----- | ----- | ----- | 1 |  | 66 | 3.9288 | 10043.2309 | 13.2079 | 8807.7034 | 14.7507 | 9155.622 | 8.9488 | 9779.9352 | 3.9288 | 10043.2309 | 66 | BRN20jun23_018.gcd | 2023-06-20 21:56 | 219 | Unknown | 0 | 2.87 | 794066 | 0 | ----- | ----- | ----- | -----
67 | BRN20jun23_019.gcd | 2023-06-20 22:27 | 319 | Unknown | 0 | 6.034 | 2144 | -0.003 | ----- | ----- | ----- | ----- | 67 | BRN20jun23_019.gcd | 2023-06-20 22:27 | 319 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN20jun23_019.gcd | 2023-06-20 22:27 | 319 | Unknown | 0 | 12.077 | 84638 | 22.307 | ----- | ----- | ----- | ----- | 1 |  | 67 | 4.9861 | 18894.8417 | 1.5262 | 15277.0566 | 1.2151 | 16062.4476 | 0.65293 | 17208.1598 | 4.9861 | 18894.8417 | 67 | BRN20jun23_019.gcd | 2023-06-20 22:27 | 319 | Unknown | 0 | 2.868 | 846688 | 0 | ----- | ----- | ----- | -----
68 | BRN20jun23_020.gcd | 2023-06-20 22:58 | 215 | Unknown | 0 | 6.032 | 2980 | -0.001 | ----- | ----- | ----- | ----- | 68 | BRN20jun23_020.gcd | 2023-06-20 22:58 | 215 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN20jun23_020.gcd | 2023-06-20 22:58 | 215 | Unknown | 0 | 12.074 | 85837 | 22.612 | ----- | ----- | ----- | ----- | 1 |  | 68 | 3.3157 | 19183.4741 | 3.8786 | 15486.521 | 4.1629 | 16288.3729 | 1.9733 | 17450.7768 | 3.3157 | 19183.4741 | 68 | BRN20jun23_020.gcd | 2023-06-20 22:58 | 215 | Unknown | 0 | 2.855 | 1073478 | 0 | ----- | ----- | ----- | -----
69 | BRN20jun23_021.gcd | 2023-06-20 23:28 | 15 | Unknown | 0 | 5.97 | 12399469 | 27.232 | ----- | ----- | ----- | ----- | 69 | BRN20jun23_021.gcd | 2023-06-20 23:28 | 15 | Unknown | 0 | 5.927 | 94692 | 24.095 | ----- | ----- | ----- | ----- | 69 | BRN20jun23_021.gcd | 2023-06-20 23:28 | 15 | Unknown | 0 | 12.098 | 64034 | 17.007 | ----- | ----- | ----- | ----- | 1 |  | 69 | 23077.1665 | 13916.5174 | 18570.966 | 11649.3544 | 24385.1696 | 12172.7711 | 23451.421 | 13027.4868 | 23077.1665 | 13916.5174 | 69 | BRN20jun23_021.gcd | 2023-06-20 23:28 | 15 | Unknown | 0 | 2.872 | 701840 | 0 | ----- | ----- | ----- | -----
70 | BRN20jun23_022.gcd | 2023-06-20 23:59 | 172 | Unknown | 0 | 6.033 | 2672 | -0.002 | ----- | ----- | ----- | ----- | 70 | BRN20jun23_022.gcd | 2023-06-20 23:59 | 172 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN20jun23_022.gcd | 2023-06-20 23:59 | 172 | Unknown | 0 | 12.083 | 77393 | 20.456 | ----- | ----- | ----- | ----- | 1 |  | 70 | 3.8433 | 17148.2683 | 3.0085 | 14007.5202 | 3.0863 | 14696.2915 | 1.4632 | 15740.5766 | 3.8433 | 17148.2683 | 70 | BRN20jun23_022.gcd | 2023-06-20 23:59 | 172 | Unknown | 0 | 2.861 | 1003636 | 0 | ----- | ----- | ----- | -----
71 | BRN20jun23_023.gcd | 2023-06-21 00:30 | 311 | Unknown | 0 | 5.992 | 27964 | 0.052 | ----- | ----- | ----- | ----- | 71 | BRN20jun23_023.gcd | 2023-06-21 00:30 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN20jun23_023.gcd | 2023-06-21 00:30 | 311 | Unknown | 0 | 12.128 | 1879 | 0.272 | ----- | ----- | ----- | ----- | 1 |  | 71 | 73.4413 | 435.1457 | 87.6669 | 382.975 | 73.1795 | 355.3494 | 63.1265 | 284.5992 | 73.4413 | 435.1457 | 71 | BRN20jun23_023.gcd | 2023-06-21 00:30 | 311 | Unknown | 0 | 2.847 | 915363 | 0 | ----- | ----- | ----- | -----
72 | BRN20jun23_024.gcd | 2023-06-21 01:00 | 360 | Unknown | 0 | 5.993 | 22770 | 0.041 | ----- | ----- | ----- | ----- | 72 | BRN20jun23_024.gcd | 2023-06-21 01:00 | 360 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN20jun23_024.gcd | 2023-06-21 01:00 | 360 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 1 |  | 72 | 58.0515 | #VALUE! | 71.5676 | #VALUE! | 59.5252 | #VALUE! | 50.9522 | #VALUE! | 58.0515 | #VALUE! | 72 | BRN20jun23_024.gcd | 2023-06-21 01:00 | 360 | Unknown | 0 | 2.846 | 942967 | 0 | ----- | ----- | ----- | -----
73 | BRN20jun23_025.gcd | 2023-06-21 01:31 | 49 | Unknown | 0 | 6.032 | 2238 | -0.003 | ----- | ----- | ----- | ----- | 73 | BRN20jun23_025.gcd | 2023-06-21 01:31 | 49 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN20jun23_025.gcd | 2023-06-21 01:31 | 49 | Unknown | 0 | 12.082 | 78259 | 20.678 | ----- | ----- | ----- | ----- | 1 |  | 73 | 4.7606 | 17357.2634 | 1.7892 | 14159.6156 | 1.5506 | 14859.6789 | 0.79126 | 15916.1388 | 4.7606 | 17357.2634 | 73 | BRN20jun23_025.gcd | 2023-06-21 01:31 | 49 | Unknown | 0 | 2.867 | 880679 | 0 | ----- | ----- | ----- | -----
74 | BRN20jun23_026.gcd | 2023-06-21 02:01 | 361 | Unknown | 0 | 6.01 | 23129 | 0.042 | ----- | ----- | ----- | ----- | 74 | BRN20jun23_026.gcd | 2023-06-21 02:01 | 361 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN20jun23_026.gcd | 2023-06-21 02:01 | 361 | Unknown | 0 | 12.168 | 2764 | 0.519 | ----- | ----- | ----- | ----- | 1 |  | 74 | 59.1179 | 649.2115 | 72.6818 | 546.7961 | 60.4691 | 524.4946 | 51.7938 | 467.4238 | 59.1179 | 649.2115 | 74 | BRN20jun23_026.gcd | 2023-06-21 02:01 | 361 | Unknown | 0 | 2.867 | 872869 | 0 | ----- | ----- | ----- | -----
75 | BRN20jun23_027.gcd | 2023-06-21 02:32 | 97 | Unknown | 0 | 6.016 | 3105 | -0.001 | ----- | ----- | ----- | ----- | 75 | BRN20jun23_027.gcd | 2023-06-21 02:32 | 97 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN20jun23_027.gcd | 2023-06-21 02:32 | 97 | Unknown | 0 | 12.051 | 85526 | 22.533 | ----- | ----- | ----- | ----- | 1 |  | 75 | 3.1308 | 19108.6191 | 4.2329 | 15432.2069 | 4.5967 | 16229.7762 | 2.1882 | 17387.8531 | 3.1308 | 19108.6191 | 75 | BRN20jun23_027.gcd | 2023-06-21 02:32 | 97 | Unknown | 0 | 2.845 | 948552 | 0 | ----- | ----- | ----- | -----
76 | BRN20jun23_028.gcd | 2023-06-21 03:03 | 400 | Unknown | 0 | 5.998 | 13753 | 0.022 | ----- | ----- | ----- | ----- | 76 | BRN20jun23_028.gcd | 2023-06-21 03:03 | 400 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN20jun23_028.gcd | 2023-06-21 03:03 | 400 | Unknown | 0 | 12.114 | 34944 | 9.321 | ----- | ----- | ----- | ----- | 1 |  | 76 | 31.1321 | 7947.68 | 36.8502 | 6436.8002 | 35.8052 | 6657.58 | 29.8068 | 7088.0628 | 31.1321 | 7947.68 | 76 | BRN20jun23_028.gcd | 2023-06-21 03:03 | 400 | Unknown | 0 | 2.85 | 883421 | 0 | ----- | ----- | ----- | -----
77 | BRN20jun23_029.gcd | 2023-06-21 03:33 | 105 | Unknown | 0 | 5.997 | 9573 | 0.013 | ----- | ----- | ----- | ----- | 77 | BRN20jun23_029.gcd | 2023-06-21 03:33 | 105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN20jun23_029.gcd | 2023-06-21 03:33 | 105 | Unknown | 0 | 12.142 | 8057 | 1.99 | ----- | ----- | ----- | ----- | 1 |  | 77 | 16.5915 | 1914.5802 | 23.4714 | 1524.5231 | 24.5719 | 1535.5849 | 19.5031 | 1560.0253 | 16.5915 | 1914.5802 | 77 | BRN20jun23_029.gcd | 2023-06-21 03:33 | 105 | Unknown | 0 | 2.834 | 1177147 | 0 | ----- | ----- | ----- | -----
78 | BRN20jun23_030.gcd | 2023-06-21 04:04 | 166 | Unknown | 0 | 5.989 | 278910 | 0.591 | ----- | ----- | ----- | ----- | 78 | BRN20jun23_030.gcd | 2023-06-21 04:04 | 166 | Unknown | 0 | 5.947 | 2351 | 0.572 | ----- | ----- | ----- | ----- | 78 | BRN20jun23_030.gcd | 2023-06-21 04:04 | 166 | Unknown | 0 | 12.127 | 5059 | 1.158 | ----- | ----- | ----- | ----- | 1 |  | 78 | 693.7385 | 1201.0028 | 813.0337 | 971.1621 | 725.1118 | 963.0066 | 646.1454 | 941.3422 | 693.7385 | 1201.0028 | 78 | BRN20jun23_030.gcd | 2023-06-21 04:04 | 166 | Unknown | 0 | 2.846 | 938446 | 0 | ----- | ----- | ----- | -----
79 | BRN20jun23_031.gcd | 2023-06-21 04:35 | 383 | Unknown | 0 | 5.991 | 116550 | 0.243 | ----- | ----- | ----- | ----- | 79 | BRN20jun23_031.gcd | 2023-06-21 04:35 | 383 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN20jun23_031.gcd | 2023-06-21 04:35 | 383 | Unknown | 0 | 12.051 | 90297 | 23.743 | ----- | ----- | ----- | ----- | 1 |  | 79 | 322.8198 | 20256.0868 | 355.4666 | 16264.0956 | 305.0559 | 17128.3517 | 270.0954 | 18352.6113 | 322.8198 | 20256.0868 | 79 | BRN20jun23_031.gcd | 2023-06-21 04:35 | 383 | Unknown | 0 | 2.851 | 842968 | 0 | ----- | ----- | ----- | -----