## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
43 | BRN22mar23_001.gcd | 2023-03-22 10:04 | QC outside air | Unknown | 0 | 6.096 | 2791 | -0.002 | ----- | ----- | ----- | ----- | 43 | BRN22mar23_001.gcd | 2023-03-22 10:04 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN22mar23_001.gcd | 2023-03-22 10:04 | QC outside air | Unknown | 0 | 12.286 | 2891 | 0.48 | ----- | ----- | ----- | ----- | 1 |  | 43 | 3.6273 | 679.872 | 3.3442 | 570.2968 | 3.5036 | 548.7653 | 1.657 | 493.6564 | 3.6273 | 679.872 | 43 | BRN22mar23_001.gcd | 2023-03-22 10:04 | QC outside air | Unknown | 0 | 2.704 | 5453080 | 0 | ----- | ----- | ----- | -----
44 | BRN22mar23_002.gcd | 2023-03-22 10:34 | QC outside air | Unknown | 0 | 6.076 | 3040 | -0.001 | ----- | ----- | ----- | ----- | 44 | BRN22mar23_002.gcd | 2023-03-22 10:34 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN22mar23_002.gcd | 2023-03-22 10:34 | QC outside air | Unknown | 0 | 12.25 | 3441 | 0.702 | ----- | ----- | ----- | ----- | 1 |  | 44 | 3.2249 | 812.4836 | 4.0486 | 672.0482 | 4.3714 | 653.8687 | 2.0759 | 607.2525 | 3.2249 | 812.4836 | 44 | BRN22mar23_002.gcd | 2023-03-22 10:34 | QC outside air | Unknown | 0 | 2.703 | 5492138 | 0 | ----- | ----- | ----- | -----
45 | BRN22mar23_003.gcd | 2023-03-22 11:05 | QC air + 100 | Unknown | 0 | 6.03 | 103967 | 0.192 | ----- | ----- | ----- | ----- | 45 | BRN22mar23_003.gcd | 2023-03-22 11:05 | QC air + 100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN22mar23_003.gcd | 2023-03-22 11:05 | QC air + 100 | Unknown | 0 | 12.257 | 3165 | 0.591 | ----- | ----- | ----- | ----- | 3 | outlier | 45 | 288.9056 | 745.9711 | 318.2081 | 620.9922 | 272.2351 | 601.1271 | 240.7739 | 550.2499 | 288.9056 | 745.9711 | 45 | BRN22mar23_003.gcd | 2023-03-22 11:05 | QC air + 100 | Unknown | 0 | 2.716 | 5279747 | 0 | ----- | ----- | ----- | -----
46 | BRN22mar23_004.gcd | 2023-03-22 11:35 | QC air + 100 | Unknown | 0 | 6.025 | 1101937 | 2.107 | ----- | ----- | ----- | ----- | 46 | BRN22mar23_004.gcd | 2023-03-22 11:35 | QC air + 100 | Unknown | 0 | 5.977 | 9308 | 2.191 | ----- | ----- | ----- | ----- | 46 | BRN22mar23_004.gcd | 2023-03-22 11:35 | QC air + 100 | Unknown | 0 | 12.243 | 7495 | 2.321 | ----- | ----- | ----- | ----- | 1 |  | 46 | 2269.2724 | 1781.4386 | 2327.3738 | 1420.8769 | 2670.9324 | 1428.2726 | 2525.1277 | 1444.0829 | 2269.2724 | 1781.4386 | 46 | BRN22mar23_004.gcd | 2023-03-22 11:35 | QC air + 100 | Unknown | 0 | 2.716 | 5240067 | 0 | ----- | ----- | ----- | -----
47 | BRN22mar23_005.gcd | 2023-03-22 12:06 | QC reference yellow tank | Unknown | 0 | 6.076 | 3674 | 0 | ----- | ----- | ----- | ----- | 47 | BRN22mar23_005.gcd | 2023-03-22 12:06 | QC reference yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN22mar23_005.gcd | 2023-03-22 12:06 | QC reference yellow tank | Unknown | 0 | 12.269 | 2185 | 0.196 | ----- | ----- | ----- | ----- | 1 |  | 47 | 2.5025 | 509.2425 | 5.854 | 439.6293 | 6.5485 | 413.8364 | 3.2237 | 347.8177 | 2.5025 | 509.2425 | 47 | BRN22mar23_005.gcd | 2023-03-22 12:06 | QC reference yellow tank | Unknown | 0 | 2.716 | 5300043 | 0 | ----- | ----- | ----- | -----
48 | BRN22mar23_006.gcd | 2023-03-22 12:37 | QC reference yellow tank | Unknown | 0 | 6.07 | 4493 | 0.002 | ----- | ----- | ----- | ----- | 48 | BRN22mar23_006.gcd | 2023-03-22 12:37 | QC reference yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN22mar23_006.gcd | 2023-03-22 12:37 | QC reference yellow tank | Unknown | 0 | 12.261 | 2410 | 0.286 | ----- | ----- | ----- | ----- | 1 |  | 48 | 2.2119 | 563.6709 | 8.2115 | 481.2794 | 9.2919 | 456.8396 | 4.8794 | 394.2988 | 2.2119 | 563.6709 | 48 | BRN22mar23_006.gcd | 2023-03-22 12:37 | QC reference yellow tank | Unknown | 0 | 2.718 | 5298660 | 0 | ----- | ----- | ----- | -----
49 | BRN22mar23_007.gcd | 2023-03-22 13:07 | 183 | Unknown | 0 | 6.082 | 2837 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN22mar23_007.gcd | 2023-03-22 13:07 | 183 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN22mar23_007.gcd | 2023-03-22 13:07 | 183 | Unknown | 0 | 12.184 | 25840 | 9.371 | ----- | ----- | ----- | ----- | 1 |  | 49 | 3.5479 | 5978.6995 | 3.4741 | 4783.6541 | 3.6644 | 4925.8931 | 1.7331 | 5220.3882 | 3.5479 | 5978.6995 | 49 | BRN22mar23_007.gcd | 2023-03-22 13:07 | 183 | Unknown | 0 | 2.836 | 1403645 | 0 | ----- | ----- | ----- | -----
50 | BRN22mar23_008.gcd | 2023-03-22 13:38 | 148 | Unknown | 0 | 6.094 | 2523 | -0.002 | ----- | ----- | ----- | ----- | 50 | BRN22mar23_008.gcd | 2023-03-22 13:38 | 148 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN22mar23_008.gcd | 2023-03-22 13:38 | 148 | Unknown | 0 | 12.174 | 33094 | 12.046 | ----- | ----- | ----- | ----- | 1 |  | 50 | 4.1353 | 7553.6894 | 2.589 | 6101.7111 | 2.5615 | 6305.9066 | 1.2264 | 6708.88 | 4.1353 | 7553.6894 | 50 | BRN22mar23_008.gcd | 2023-03-22 13:38 | 148 | Unknown | 0 | 2.832 | 1454795 | 0 | ----- | ----- | ----- | -----
51 | BRN22mar23_009.gcd | 2023-03-22 14:08 | 326 | Unknown | 0 | 6.078 | 2727 | -0.002 | ----- | ----- | ----- | ----- | 51 | BRN22mar23_009.gcd | 2023-03-22 14:08 | 326 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN22mar23_009.gcd | 2023-03-22 14:08 | 326 | Unknown | 0 | 12.171 | 29481 | 10.721 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.7416 | 6775.2341 | 3.1636 | 5446.0522 | 3.2794 | 5618.7772 | 1.5523 | 5967.8425 | 3.7416 | 6775.2341 | 51 | BRN22mar23_009.gcd | 2023-03-22 14:08 | 326 | Unknown | 0 | 2.836 | 1386774 | 0 | ----- | ----- | ----- | -----
52 | BRN22mar23_010.gcd | 2023-03-22 14:39 | 128 | Unknown | 0 | 6.073 | 2834 | -0.001 | ----- | ----- | ----- | ----- | 52 | BRN22mar23_010.gcd | 2023-03-22 14:39 | 128 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN22mar23_010.gcd | 2023-03-22 14:39 | 128 | Unknown | 0 | 12.185 | 30957 | 11.264 | ----- | ----- | ----- | ----- | 1 |  | 52 | 3.553 | 7094.691 | 3.4656 | 5714.1031 | 3.654 | 5899.5379 | 1.7281 | 6270.6552 | 3.553 | 7094.691 | 52 | BRN22mar23_010.gcd | 2023-03-22 14:39 | 128 | Unknown | 0 | 2.824 | 1840954 | 0 | ----- | ----- | ----- | -----
53 | BRN22mar23_011.gcd | 2023-03-22 15:09 | 366 | Unknown | 0 | 6.086 | 2724 | -0.002 | ----- | ----- | ----- | ----- | 53 | BRN22mar23_011.gcd | 2023-03-22 15:09 | 366 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN22mar23_011.gcd | 2023-03-22 15:09 | 366 | Unknown | 0 | 12.184 | 26652 | 9.673 | ----- | ----- | ----- | ----- | 1 |  | 53 | 3.747 | 6157.3869 | 3.1551 | 4931.5234 | 3.2689 | 5080.4544 | 1.5474 | 5387.1408 | 3.747 | 6157.3869 | 53 | BRN22mar23_011.gcd | 2023-03-22 15:09 | 366 | Unknown | 0 | 2.845 | 1404873 | 0 | ----- | ----- | ----- | -----
54 | BRN22mar23_012.gcd | 2023-03-22 15:40 | 301 | Unknown | 0 | 6.046 | 5250 | 0.003 | ----- | ----- | ----- | ----- | 54 | BRN22mar23_012.gcd | 2023-03-22 15:40 | 301 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN22mar23_012.gcd | 2023-03-22 15:40 | 301 | Unknown | 0 | 12.182 | 24199 | 8.758 | ----- | ----- | ----- | ----- | 1 |  | 54 | 2.5875 | 5615.7477 | 10.416 | 4484.567 | 11.7585 | 4613.4691 | 6.5831 | 4883.289 | 2.5875 | 5615.7477 | 54 | BRN22mar23_012.gcd | 2023-03-22 15:40 | 301 | Unknown | 0 | 2.838 | 1330365 | 0 | ----- | ----- | ----- | -----
55 | BRN22mar23_013.gcd | 2023-03-22 16:11 | 369 | Unknown | 0 | 6.057 | 4983 | 0.003 | ----- | ----- | ----- | ----- | 55 | BRN22mar23_013.gcd | 2023-03-22 16:11 | 369 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN22mar23_013.gcd | 2023-03-22 16:11 | 369 | Unknown | 0 | 12.204 | 14099 | 4.909 | ----- | ----- | ----- | ----- | 1 |  | 55 | 2.3844 | 3327.7716 | 9.6357 | 2636.3071 | 10.8961 | 2688.6386 | 5.9631 | 2805.4904 | 2.3844 | 3327.7716 | 55 | BRN22mar23_013.gcd | 2023-03-22 16:11 | 369 | Unknown | 0 | 2.848 | 1316490 | 0 | ----- | ----- | ----- | -----
56 | BRN22mar23_014.gcd | 2023-03-22 16:41 | 88 | Unknown | 0 | 6.089 | 2447 | -0.002 | ----- | ----- | ----- | ----- | 56 | BRN22mar23_014.gcd | 2023-03-22 16:41 | 88 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN22mar23_014.gcd | 2023-03-22 16:41 | 88 | Unknown | 0 | 12.195 | 25854 | 9.376 | ----- | ----- | ----- | ----- | 1 |  | 56 | 4.2935 | 5981.7854 | 2.3754 | 4786.2043 | 2.2929 | 4928.5581 | 1.108 | 5223.2635 | 4.2935 | 5981.7854 | 56 | BRN22mar23_014.gcd | 2023-03-22 16:41 | 88 | Unknown | 0 | 2.858 | 1155436 | 0 | ----- | ----- | ----- | -----
57 | BRN22mar23_015.gcd | 2023-03-22 17:12 | 203 | Unknown | 0 | 6.067 | 2417 | -0.002 | ----- | ----- | ----- | ----- | 57 | BRN22mar23_015.gcd | 2023-03-22 17:12 | 203 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN22mar23_015.gcd | 2023-03-22 17:12 | 203 | Unknown | 0 | 12.187 | 26591 | 9.651 | ----- | ----- | ----- | ----- | 1 |  | 57 | 4.3576 | 6143.9842 | 2.2911 | 4920.4179 | 2.1867 | 5068.8441 | 1.0618 | 5374.615 | 4.3576 | 6143.9842 | 57 | BRN22mar23_015.gcd | 2023-03-22 17:12 | 203 | Unknown | 0 | 2.853 | 1175289 | 0 | ----- | ----- | ----- | -----
58 | BRN22mar23_016.gcd | 2023-03-22 17:42 | 302 | Unknown | 0 | 6.084 | 2216 | -0.003 | ----- | ----- | ----- | ----- | 58 | BRN22mar23_016.gcd | 2023-03-22 17:42 | 302 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN22mar23_016.gcd | 2023-03-22 17:42 | 302 | Unknown | 0 | 12.19 | 26187 | 9.501 | ----- | ----- | ----- | ----- | 1 |  | 58 | 4.8125 | 6055.1333 | 1.7276 | 4846.8547 | 1.4722 | 4991.946 | 0.75866 | 5291.6523 | 4.8125 | 6055.1333 | 58 | BRN22mar23_016.gcd | 2023-03-22 17:42 | 302 | Unknown | 0 | 2.86 | 1109674 | 0 | ----- | ----- | ----- | -----
59 | BRN22mar23_017.gcd | 2023-03-22 18:13 | 367 | Unknown | 0 | 6.04 | 7364 | 0.007 | ----- | ----- | ----- | ----- | 59 | BRN22mar23_017.gcd | 2023-03-22 18:13 | 367 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN22mar23_017.gcd | 2023-03-22 18:13 | 367 | Unknown | 0 | 12.215 | 3068 | 0.552 | ----- | ----- | ----- | ----- | 1 |  | 59 | 6.9139 | 722.5789 | 16.701 | 603.0464 | 18.295 | 582.5906 | 12.2226 | 530.2154 | 6.9139 | 722.5789 | 59 | BRN22mar23_017.gcd | 2023-03-22 18:13 | 367 | Unknown | 0 | 2.863 | 1050020 | 0 | ----- | ----- | ----- | -----
60 | BRN22mar23_018.gcd | 2023-03-22 18:44 | 135 | Unknown | 0 | 6.032 | 8072 | 0.009 | ----- | ----- | ----- | ----- | 60 | BRN22mar23_018.gcd | 2023-03-22 18:44 | 135 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN22mar23_018.gcd | 2023-03-22 18:44 | 135 | Unknown | 0 | 12.199 | 3174 | 0.594 | ----- | ----- | ----- | ----- | 1 |  | 60 | 9.4418 | 748.1411 | 18.8484 | 622.6572 | 20.3684 | 602.847 | 14.4017 | 552.1087 | 9.4418 | 748.1411 | 60 | BRN22mar23_018.gcd | 2023-03-22 18:44 | 135 | Unknown | 0 | 2.847 | 1147173 | 0 | ----- | ----- | ----- | -----
61 | BRN22mar23_019.gcd | 2023-03-22 19:14 | 257 | Unknown | 0 | 6.035 | 9249 | 0.011 | ----- | ----- | ----- | ----- | 61 | BRN22mar23_019.gcd | 2023-03-22 19:14 | 257 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN22mar23_019.gcd | 2023-03-22 19:14 | 257 | Unknown | 0 | 12.212 | 4653 | 1.188 | ----- | ----- | ----- | ----- | 1 |  | 61 | 14.8423 | 1103.7372 | 22.4654 | 896.1372 | 23.6867 | 885.4436 | 18.3465 | 857.5226 | 14.8423 | 1103.7372 | 61 | BRN22mar23_019.gcd | 2023-03-22 19:14 | 257 | Unknown | 0 | 2.857 | 1143861 | 0 | ----- | ----- | ----- | -----
62 | BRN22mar23_020.gcd | 2023-03-22 19:45 | 34 | Unknown | 0 | 6.04 | 7627 | 0.008 | ----- | ----- | ----- | ----- | 62 | BRN22mar23_020.gcd | 2023-03-22 19:45 | 34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN22mar23_020.gcd | 2023-03-22 19:45 | 34 | Unknown | 0 | 12.218 | 3178 | 0.596 | ----- | ----- | ----- | ----- | 1 |  | 62 | 7.7898 | 749.1055 | 17.4962 | 623.3972 | 19.072 | 603.6114 | 13.015 | 552.9349 | 7.7898 | 749.1055 | 62 | BRN22mar23_020.gcd | 2023-03-22 19:45 | 34 | Unknown | 0 | 2.86 | 1119538 | 0 | ----- | ----- | ----- | -----
63 | BRN22mar23_021.gcd | 2023-03-22 20:15 | 96 | Unknown | 0 | 6.101 | 2330 | -0.002 | ----- | ----- | ----- | ----- | 63 | BRN22mar23_021.gcd | 2023-03-22 20:15 | 96 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN22mar23_021.gcd | 2023-03-22 20:15 | 96 | Unknown | 0 | 12.203 | 29912 | 10.88 | ----- | ----- | ----- | ----- | 1 |  | 63 | 4.5492 | 6868.7227 | 2.047 | 5524.3527 | 1.878 | 5700.7681 | 0.92914 | 6056.2769 | 4.5492 | 6868.7227 | 63 | BRN22mar23_021.gcd | 2023-03-22 20:15 | 96 | Unknown | 0 | 2.861 | 1427728 | 0 | ----- | ----- | ----- | -----
64 | BRN22mar23_022.gcd | 2023-03-22 20:46 | 300 | Unknown | 0 | 6.057 | 2338 | -0.002 | ----- | ----- | ----- | ----- | 64 | BRN22mar23_022.gcd | 2023-03-22 20:46 | 300 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN22mar23_022.gcd | 2023-03-22 20:46 | 300 | Unknown | 0 | 12.176 | 23533 | 8.508 | ----- | ----- | ----- | ----- | 1 |  | 64 | 4.5312 | 5467.7429 | 2.0694 | 4363.086 | 1.9064 | 4486.6468 | 0.94124 | 4746.4381 | 4.5312 | 5467.7429 | 64 | BRN22mar23_022.gcd | 2023-03-22 20:46 | 300 | Unknown | 0 | 2.824 | 1581813 | 0 | ----- | ----- | ----- | -----
65 | BRN22mar23_023.gcd | 2023-03-22 21:17 | 74 | Unknown | 0 | 6.026 | 10125 | 0.013 | ----- | ----- | ----- | ----- | 65 | BRN22mar23_023.gcd | 2023-03-22 21:17 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN22mar23_023.gcd | 2023-03-22 21:17 | 74 | Unknown | 0 | 12.19 | 4033 | 0.94 | ----- | ----- | ----- | ----- | 1 |  | 65 | 20.2287 | 954.9135 | 25.1956 | 781.5272 | 26.2559 | 766.9871 | 21.2952 | 729.506 | 20.2287 | 954.9135 | 65 | BRN22mar23_023.gcd | 2023-03-22 21:17 | 74 | Unknown | 0 | 2.842 | 1204880 | 0 | ----- | ----- | ----- | -----
66 | BRN22mar23_024.gcd | 2023-03-22 21:47 | 354 | Unknown | 0 | 6.042 | 7173 | 0.007 | ----- | ----- | ----- | ----- | 66 | BRN22mar23_024.gcd | 2023-03-22 21:47 | 354 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN22mar23_024.gcd | 2023-03-22 21:47 | 354 | Unknown | 0 | 12.226 | 3625 | 0.776 | ----- | ----- | ----- | ----- | 1 |  | 66 | 6.3247 | 856.7866 | 16.1253 | 706.0802 | 17.7257 | 689.0283 | 11.6597 | 645.2522 | 6.3247 | 856.7866 | 66 | BRN22mar23_024.gcd | 2023-03-22 21:47 | 354 | Unknown | 0 | 2.863 | 1117388 | 0 | ----- | ----- | ----- | -----
67 | BRN22mar23_025.gcd | 2023-03-22 22:18 | 252 | Unknown | 0 | 6.082 | 2510 | -0.002 | ----- | ----- | ----- | ----- | 67 | BRN22mar23_025.gcd | 2023-03-22 22:18 | 252 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN22mar23_025.gcd | 2023-03-22 22:18 | 252 | Unknown | 0 | 12.171 | 30942 | 11.258 | ----- | ----- | ----- | ----- | 1 |  | 67 | 4.1619 | 7091.4545 | 2.5524 | 5711.3803 | 2.5156 | 5896.685 | 1.206 | 6267.5784 | 4.1619 | 7091.4545 | 67 | BRN22mar23_025.gcd | 2023-03-22 22:18 | 252 | Unknown | 0 | 2.832 | 1617508 | 0 | ----- | ----- | ----- | -----
68 | BRN22mar23_026.gcd | 2023-03-22 22:48 | 383 | Unknown | 0 | 6.072 | 2215 | -0.003 | ----- | ----- | ----- | ----- | 68 | BRN22mar23_026.gcd | 2023-03-22 22:48 | 383 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN22mar23_026.gcd | 2023-03-22 22:48 | 383 | Unknown | 0 | 12.168 | 21383 | 7.697 | ----- | ----- | ----- | ----- | 1 |  | 68 | 4.8149 | 4987.1882 | 1.7248 | 3970.5377 | 1.4686 | 4077.137 | 0.75718 | 4304.4975 | 4.8149 | 4987.1882 | 68 | BRN22mar23_026.gcd | 2023-03-22 22:48 | 383 | Unknown | 0 | 2.823 | 1579387 | 0 | ----- | ----- | ----- | -----
69 | BRN22mar23_027.gcd | 2023-03-22 23:19 | 22 | Unknown | 0 | 6.033 | 7903 | 0.008 | ----- | ----- | ----- | ----- | 69 | BRN22mar23_027.gcd | 2023-03-22 23:19 | 22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN22mar23_027.gcd | 2023-03-22 23:19 | 22 | Unknown | 0 | 12.197 | 3514 | 0.731 | ----- | ----- | ----- | ----- | 1 |  | 69 | 8.7892 | 830.064 | 18.3338 | 685.5505 | 19.8788 | 667.818 | 13.8683 | 622.3287 | 8.7892 | 830.064 | 69 | BRN22mar23_027.gcd | 2023-03-22 23:19 | 22 | Unknown | 0 | 2.855 | 1151542 | 0 | ----- | ----- | ----- | -----
70 | BRN22mar23_028.gcd | 2023-03-22 23:50 | 184 | Unknown | 0 | 6.032 | 7614 | 0.008 | ----- | ----- | ----- | ----- | 70 | BRN22mar23_028.gcd | 2023-03-22 23:50 | 184 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN22mar23_028.gcd | 2023-03-22 23:50 | 184 | Unknown | 0 | 12.218 | 3751 | 0.827 | ----- | ----- | ----- | ----- | 1 |  | 70 | 7.7447 | 887.1067 | 17.4568 | 729.3822 | 19.0338 | 713.1044 | 12.9754 | 671.2726 | 7.7447 | 887.1067 | 70 | BRN22mar23_028.gcd | 2023-03-22 23:50 | 184 | Unknown | 0 | 2.835 | 1568479 | 0 | ----- | ----- | ----- | -----
71 | BRN22mar23_029.gcd | 2023-03-23 00:20 | 394 | Unknown | 0 | 6.078 | 2566 | -0.002 | ----- | ----- | ----- | ----- | 71 | BRN22mar23_029.gcd | 2023-03-23 00:20 | 394 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN22mar23_029.gcd | 2023-03-23 00:20 | 394 | Unknown | 0 | 12.164 | 26607 | 9.657 | ----- | ----- | ----- | ----- | 1 |  | 71 | 4.0486 | 6147.5 | 2.7099 | 4923.3309 | 2.7133 | 5071.8894 | 1.2941 | 5377.9005 | 4.0486 | 6147.5 | 71 | BRN22mar23_029.gcd | 2023-03-23 00:20 | 394 | Unknown | 0 | 2.827 | 1508617 | 0 | ----- | ----- | ----- | -----
72 | BRN22mar23_030.gcd | 2023-03-23 00:51 | 362 | Unknown | 0 | 6.088 | 2077 | -0.003 | ----- | ----- | ----- | ----- | 72 | BRN22mar23_030.gcd | 2023-03-23 00:51 | 362 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN22mar23_030.gcd | 2023-03-23 00:51 | 362 | Unknown | 0 | 12.182 | 25793 | 9.353 | ----- | ----- | ----- | ----- | 1 |  | 72 | 5.1526 | 5968.3383 | 1.339 | 4775.0926 | 0.97538 | 4916.9462 | 0.5559 | 5210.7352 | 5.1526 | 5968.3383 | 72 | BRN22mar23_030.gcd | 2023-03-23 00:51 | 362 | Unknown | 0 | 2.845 | 1449825 | 0 | ----- | ----- | ----- | -----