## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
43 | BRN25apr23_001.gcd | 2023-04-25 09:51 | QC outside air | Unknown | 0 | 6.074 | 2140 | -0.003 | ----- | ----- | ----- | ----- | 43 | BRN25apr23_001.gcd | 2023-04-25 09:51 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN25apr23_001.gcd | 2023-04-25 09:51 | QC outside air | Unknown | 0 | 12.281 | 3354 | 0.667 | ----- | ----- | ----- | ----- | 1 |  | 43 | 4.9959 | 791.5252 | 1.515 | 655.9555 | 1.2008 | 637.2439 | 0.6471 | 589.2847 | 4.9959 | 791.5252 | 43 | BRN25apr23_001.gcd | 2023-04-25 09:51 | QC outside air | Unknown | 0 | 2.704 | 5444976 | 0 | ----- | ----- | ----- | -----
44 | BRN25apr23_002.gcd | 2023-04-25 10:21 | QC spiked air | Unknown | 0 | 6.022 | 1080331 | 2.065 | ----- | ----- | ----- | ----- | 44 | BRN25apr23_002.gcd | 2023-04-25 10:21 | QC spiked air | Unknown | 0 | 5.976 | 8810 | 2.079 | ----- | ----- | ----- | ----- | 44 | BRN25apr23_002.gcd | 2023-04-25 10:21 | QC spiked air | Unknown | 0 | 12.24 | 6655 | 1.987 | ----- | ----- | ----- | ----- | 1 |  | 44 | 2228.2338 | 1581.8998 | 2232.774 | 1265.887 | 2543.4262 | 1267.8579 | 2402.2468 | 1270.7582 | 2228.2338 | 1581.8998 | 44 | BRN25apr23_002.gcd | 2023-04-25 10:21 | QC spiked air | Unknown | 0 | 2.717 | 5132240 | 0 | ----- | ----- | ----- | -----
45 | BRN25apr23_003.gcd | 2023-04-25 10:52 | QC reference tank | Unknown | 0 | 6.055 | 3790 | 0 | ----- | ----- | ----- | ----- | 45 | BRN25apr23_003.gcd | 2023-04-25 10:52 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN25apr23_003.gcd | 2023-04-25 10:52 | QC reference tank | Unknown | 0 | 12.239 | 1712 | 0.004 | ----- | ----- | ----- | ----- | 1 |  | 45 | 2.4173 | 394.6712 | 6.1862 | 352.0508 | 6.9418 | 323.4287 | 3.4464 | 250.0956 | 2.4173 | 394.6712 | 45 | BRN25apr23_003.gcd | 2023-04-25 10:52 | QC reference tank | Unknown | 0 | 2.72 | 5103130 | 0 | ----- | ----- | ----- | -----
46 | BRN25apr23_004.gcd | 2023-04-25 11:23 | 388 | Unknown | 0 | 6.087 | 2297 | -0.002 | ----- | ----- | ----- | ----- | 46 | BRN25apr23_004.gcd | 2023-04-25 11:23 | 388 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN25apr23_004.gcd | 2023-04-25 11:23 | 388 | Unknown | 0 | 12.17 | 39923 | 14.51 | ----- | ----- | ----- | ----- | 1 |  | 46 | 4.6239 | 8992.5389 | 1.9545 | 7336.5085 | 1.7607 | 7603.5037 | 0.8794 | 8107.7092 | 4.6239 | 8992.5389 | 46 | BRN25apr23_004.gcd | 2023-04-25 11:23 | 388 | Unknown | 0 | 2.879 | 729373 | 0 | ----- | ----- | ----- | -----
47 | BRN25apr23_005.gcd | 2023-04-25 11:53 | 268 | Unknown | 0 | 6.025 | 145044 | 0.271 | ----- | ----- | ----- | ----- | 47 | BRN25apr23_005.gcd | 2023-04-25 11:53 | 268 | Unknown | 0 | 5.992 | 1394 | 0.414 | ----- | ----- | ----- | ----- | 47 | BRN25apr23_005.gcd | 2023-04-25 11:53 | 268 | Unknown | 0 | 12.205 | 3865 | 0.872 | ----- | ----- | ----- | ----- | 1 |  | 47 | 397.7723 | 914.5267 | 438.8824 | 750.4633 | 379.2364 | 734.8871 | 336.3989 | 694.8143 | 397.7723 | 914.5267 | 47 | BRN25apr23_005.gcd | 2023-04-25 11:53 | 268 | Unknown | 0 | 2.874 | 796450 | 0 | ----- | ----- | ----- | -----
48 | BRN25apr23_006.gcd | 2023-04-25 12:24 | 414 | Unknown | 0 | 6.038 | 16133 | 0.024 | ----- | ----- | ----- | ----- | 48 | BRN25apr23_006.gcd | 2023-04-25 12:24 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN25apr23_006.gcd | 2023-04-25 12:24 | 414 | Unknown | 0 | 12.228 | 3018 | 0.532 | ----- | ----- | ----- | ----- | 1 |  | 48 | 38.2623 | 710.5177 | 50.9315 | 593.7955 | 42.0679 | 573.0355 | 35.3893 | 519.8882 | 38.2623 | 710.5177 | 48 | BRN25apr23_006.gcd | 2023-04-25 12:24 | 414 | Unknown | 0 | 2.869 | 960275 | 0 | ----- | ----- | ----- | -----
49 | BRN25apr23_007.gcd | 2023-04-25 12:54 | 341 | Unknown | 0 | 6.036 | 18389 | 0.028 | ----- | ----- | ----- | ----- | 49 | BRN25apr23_007.gcd | 2023-04-25 12:54 | 341 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN25apr23_007.gcd | 2023-04-25 12:54 | 341 | Unknown | 0 | 12.218 | 2576 | 0.353 | ----- | ----- | ----- | ----- | 1 |  | 49 | 45.0045 | 603.7974 | 57.954 | 512.0039 | 48.003 | 488.5653 | 40.6801 | 428.5899 | 45.0045 | 603.7974 | 49 | BRN25apr23_007.gcd | 2023-04-25 12:54 | 341 | Unknown | 0 | 2.874 | 853969 | 0 | ----- | ----- | ----- | -----
50 | BRN25apr23_008.gcd | 2023-04-25 13:25 | 411 | Unknown | 0 | 6.074 | 2937 | -0.001 | ----- | ----- | ----- | ----- | 50 | BRN25apr23_008.gcd | 2023-04-25 13:25 | 411 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN25apr23_008.gcd | 2023-04-25 13:25 | 411 | Unknown | 0 | 12.174 | 39579 | 14.388 | ----- | ----- | ----- | ----- | 1 |  | 50 | 3.3832 | 8921.0766 | 3.7569 | 7274.4476 | 4.0133 | 7538.1756 | 1.9005 | 8037.3023 | 3.3832 | 8921.0766 | 50 | BRN25apr23_008.gcd | 2023-04-25 13:25 | 411 | Unknown | 0 | 2.864 | 994138 | 0 | ----- | ----- | ----- | -----
51 | BRN25apr23_009.gcd | 2023-04-25 13:56 | 415 | Unknown | 0 | 6.035 | 17924 | 0.027 | ----- | ----- | ----- | ----- | 51 | BRN25apr23_009.gcd | 2023-04-25 13:56 | 415 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN25apr23_009.gcd | 2023-04-25 13:56 | 415 | Unknown | 0 | 12.211 | 3499 | 0.725 | ----- | ----- | ----- | ----- | 1 |  | 51 | 43.6161 | 826.452 | 56.5073 | 682.7761 | 46.7798 | 664.9517 | 39.5897 | 619.2309 | 43.6161 | 826.452 | 51 | BRN25apr23_009.gcd | 2023-04-25 13:56 | 415 | Unknown | 0 | 2.877 | 811074 | 0 | ----- | ----- | ----- | -----
52 | BRN25apr23_010.gcd | 2023-04-25 14:26 | 307 | Unknown | 0 | 6.035 | 18440 | 0.028 | ----- | ----- | ----- | ----- | 52 | BRN25apr23_010.gcd | 2023-04-25 14:26 | 307 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN25apr23_010.gcd | 2023-04-25 14:26 | 307 | Unknown | 0 | 12.225 | 2967 | 0.511 | ----- | ----- | ----- | ----- | 1 |  | 52 | 45.1567 | 698.2129 | 58.1127 | 584.3592 | 48.1372 | 563.2893 | 40.7997 | 509.3542 | 45.1567 | 698.2129 | 52 | BRN25apr23_010.gcd | 2023-04-25 14:26 | 307 | Unknown | 0 | 2.848 | 1362212 | 0 | ----- | ----- | ----- | -----
53 | BRN25apr23_011.gcd | 2023-04-25 14:57 | 92 | Unknown | 0 | 6.06 | 4622 | 0.002 | ----- | ----- | ----- | ----- | 53 | BRN25apr23_011.gcd | 2023-04-25 14:57 | 92 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN25apr23_011.gcd | 2023-04-25 14:57 | 92 | Unknown | 0 | 12.21 | 13418 | 4.645 | ----- | ----- | ----- | ----- | 1 |  | 53 | 2.2321 | 3170.1545 | 8.5855 | 2511.2259 | 9.7169 | 2558.7361 | 5.1579 | 2665.2059 | 2.2321 | 3170.1545 | 53 | BRN25apr23_011.gcd | 2023-04-25 14:57 | 92 | Unknown | 0 | 2.872 | 932753 | 0 | ----- | ----- | ----- | -----
54 | BRN25apr23_012.gcd | 2023-04-25 15:27 | 375 | Unknown | 0 | 6.033 | 21140 | 0.034 | ----- | ----- | ----- | ----- | 54 | BRN25apr23_012.gcd | 2023-04-25 15:27 | 375 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN25apr23_012.gcd | 2023-04-25 15:27 | 375 | Unknown | 0 | 12.216 | 2700 | 0.403 | ----- | ----- | ----- | ----- | 1 |  | 54 | 53.2043 | 633.755 | 66.5062 | 534.9524 | 55.2388 | 512.2635 | 47.1307 | 454.204 | 53.2043 | 633.755 | 54 | BRN25apr23_012.gcd | 2023-04-25 15:27 | 375 | Unknown | 0 | 2.871 | 891796 | 0 | ----- | ----- | ----- | -----
55 | BRN25apr23_013.gcd | 2023-04-25 15:58 | 363 | Unknown | 0 | 6.032 | 161780 | 0.303 | ----- | ----- | ----- | ----- | 55 | BRN25apr23_013.gcd | 2023-04-25 15:58 | 363 | Unknown | 0 | 5.993 | 1402 | 0.416 | ----- | ----- | ----- | ----- | 55 | BRN25apr23_013.gcd | 2023-04-25 15:58 | 363 | Unknown | 0 | 12.222 | 3716 | 0.813 | ----- | ----- | ----- | ----- | 1 |  | 55 | 440.6021 | 878.6859 | 487.259 | 722.9096 | 422.7149 | 706.4167 | 375.2815 | 664.0448 | 440.6021 | 878.6859 | 55 | BRN25apr23_013.gcd | 2023-04-25 15:58 | 363 | Unknown | 0 | 2.876 | 854251 | 0 | ----- | ----- | ----- | -----
56 | BRN25apr23_014.gcd | 2023-04-25 16:28 | 39 | Unknown | 0 | 6.051 | 5058 | 0.003 | ----- | ----- | ----- | ----- | 56 | BRN25apr23_014.gcd | 2023-04-25 16:28 | 39 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN25apr23_014.gcd | 2023-04-25 16:28 | 39 | Unknown | 0 | 12.204 | 15522 | 5.459 | ----- | ----- | ----- | ----- | 1 |  | 56 | 2.4336 | 3655.7587 | 9.8545 | 2897.4855 | 11.1392 | 2960.0308 | 6.1352 | 3098.5488 | 2.4336 | 3655.7587 | 56 | BRN25apr23_014.gcd | 2023-04-25 16:28 | 39 | Unknown | 0 | 2.874 | 845557 | 0 | ----- | ----- | ----- | -----
57 | BRN25apr23_015.gcd | 2023-04-25 16:59 | 71 | Unknown | 0 | 6.036 | 19226 | 0.03 | ----- | ----- | ----- | ----- | 57 | BRN25apr23_015.gcd | 2023-04-25 16:59 | 71 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN25apr23_015.gcd | 2023-04-25 16:59 | 71 | Unknown | 0 | 12.231 | 3581 | 0.758 | ----- | ----- | ----- | ----- | 1 |  | 57 | 47.5018 | 846.1952 | 60.5574 | 697.9425 | 50.2047 | 680.6207 | 42.6429 | 636.1654 | 47.5018 | 846.1952 | 57 | BRN25apr23_015.gcd | 2023-04-25 16:59 | 71 | Unknown | 0 | 2.847 | 1405642 | 0 | ----- | ----- | ----- | -----
58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | 6.019 | 14632 | 0.021 | ----- | ----- | ----- | ----- | 58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | 12.192 | 6082 | 1.759 | ----- | ----- | ----- | ----- | 1 |  | 58 | 33.7675 | 1445.4165 | 39.7581 | 1160.1109 | 38.1183 | 1158.4189 | 31.8687 | 1152.5054 | 33.7675 | 1445.4165 | 58 | BRN13apr23_016.gcd | 2023-04-13 17:07 | 303 | Unknown | 0 | 2.824 | 1620143 | 0 | ----- | ----- | ----- | -----
59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | 6.038 | 4380 | 0.002 | ----- | ----- | ----- | ----- | 59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | 12.182 | 16743 | 5.929 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.2089 | 3935.7144 | 7.8846 | 3121.386 | 8.918 | 3192.8455 | 4.6394 | 3349.9241 | 2.2089 | 3935.7144 | 59 | BRN13apr23_017.gcd | 2023-04-13 17:37 | 125 | Unknown | 0 | 2.836 | 1348341 | 0 | ----- | ----- | ----- | -----
60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | 6.034 | 3790 | 0 | ----- | ----- | ----- | ----- | 60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | 12.18 | 17036 | 6.041 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.4173 | 4002.6922 | 6.1862 | 3175.087 | 6.9418 | 3248.7061 | 3.4464 | 3410.2347 | 2.4173 | 4002.6922 | 60 | BRN13apr23_018.gcd | 2023-04-13 18:08 | 69 | Unknown | 0 | 2.841 | 1227020 | 0 | ----- | ----- | ----- | -----
61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 6.005 | 155405 | 0.291 | ----- | ----- | ----- | ----- | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 5.957 | 1361 | 0.407 | ----- | ----- | ----- | ----- | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 12.152 | 15852 | 5.586 | ----- | ----- | ----- | ----- | 1 |  | 61 | 424.3917 | 3731.5565 | 468.8855 | 2958.0176 | 406.1613 | 3022.9585 | 360.4758 | 3166.4956 | 424.3917 | 3731.5565 | 61 | BRN05apr23_019.gcd | 2023-04-05 19:49 | 235 | Unknown | 0 | 2.851 | 1088209 | 0 | ----- | ----- | ----- | -----
62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 6.014 | 11041 | 0.014 | ----- | ----- | ----- | ----- | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 12.166 | 7250 | 2.224 | ----- | ----- | ----- | ----- | 1 |  | 62 | 22.9855 | 1723.3062 | 28.0854 | 1375.6807 | 28.6672 | 1381.4873 | 23.4444 | 1393.5336 | 22.9855 | 1723.3062 | 62 | BRN05apr23_020.gcd | 2023-04-05 20:20 | 121 | Unknown | 0 | 2.851 | 1071659 | 0 | ----- | ----- | ----- | -----
63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 6.012 | 19232 | 0.03 | ----- | ----- | ----- | ----- | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 12.169 | 6542 | 1.942 | ----- | ----- | ----- | ----- | 1 |  | 63 | 47.5197 | 1555.0079 | 60.576 | 1245.0304 | 50.2205 | 1246.2765 | 42.6569 | 1247.4392 | 47.5197 | 1555.0079 | 63 | BRN05apr23_021.gcd | 2023-04-05 20:50 | 311 | Unknown | 0 | 2.858 | 950805 | 0 | ----- | ----- | ----- | -----
64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 6.008 | 106158 | 0.196 | ----- | ----- | ----- | ----- | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 12.078 | 88761 | 30.88 | ----- | ----- | ----- | ----- | 1 |  | 64 | 294.8468 | 19886.8684 | 324.7143 | 15996.585 | 277.9527 | 16839.1405 | 245.8813 | 18042.139 | 294.8468 | 19886.8684 | 64 | BRN05apr23_022.gcd | 2023-04-05 21:21 | 347 | Unknown | 0 | 2.862 | 922515 | 0 | ----- | ----- | ----- | -----
65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 6.005 | 115431 | 0.214 | ----- | ----- | ----- | ----- | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 12.073 | 87868 | 30.597 | ----- | ----- | ----- | ----- | 1 |  | 65 | 319.8241 | 19672.1235 | 352.1637 | 15840.9235 | 302.1387 | 16670.9636 | 267.4888 | 17861.5812 | 319.8241 | 19672.1235 | 65 | BRN05apr23_023.gcd | 2023-04-05 21:51 | 29 | Unknown | 0 | 2.85 | 1081170 | 0 | ----- | ----- | ----- | -----
66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 6.012 | 13314 | 0.019 | ----- | ----- | ----- | ----- | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 12.151 | 7583 | 2.356 | ----- | ----- | ----- | ----- | 1 |  | 66 | 29.815 | 1802.3054 | 35.4102 | 1437.1088 | 34.6499 | 1445.0766 | 28.777 | 1462.2387 | 29.815 | 1802.3054 | 66 | BRN05apr23_024.gcd | 2023-04-05 22:22 | 170 | Unknown | 0 | 2.852 | 1037790 | 0 | ----- | ----- | ----- | -----
67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 6.004 | 17170 | 0.026 | ----- | ----- | ----- | ----- | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 12.146 | 10838 | 3.639 | ----- | ----- | ----- | ----- | 1 |  | 67 | 41.3634 | 2569.1775 | 54.1605 | 2036.8221 | 44.7962 | 2066.4577 | 37.8214 | 2133.517 | 41.3634 | 2569.1775 | 67 | BRN05apr23_025.gcd | 2023-04-05 22:52 | 41 | Unknown | 0 | 2.839 | 1110200 | 0 | ----- | ----- | ----- | -----
68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 6.007 | 157424 | 0.295 | ----- | ----- | ----- | ----- | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 5.961 | 1026 | 0.332 | ----- | ----- | ----- | ----- | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 12.151 | 15598 | 5.488 | ----- | ----- | ----- | ----- | 1 |  | 68 | 429.5395 | 3673.224 | 474.7117 | 2911.4274 | 411.405 | 2974.5236 | 365.1656 | 3114.1976 | 429.5395 | 3673.224 | 68 | BRN05apr23_026.gcd | 2023-04-05 23:23 | 253 | Unknown | 0 | 2.853 | 1061434 | 0 | ----- | ----- | ----- | -----