## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | BRN05dec23_001.gcd | 2023-12-05 11:05 | QC outside air | Unknown | 0 | 6.058 | 1349 | -0.005 | ----- | ----- | ----- | ----- | 49 | BRN05dec23_001.gcd | 2023-12-05 11:05 | QC outside air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN05dec23_001.gcd | 2023-12-05 11:05 | QC outside air | Unknown | 0 | 12.273 | 1865 | 0.268 | ----- | ----- | ----- | ----- | 1 |  | 49 | 7.2747 | 431.7536 | -0.68328 | 380.3827 | -1.6632 | 352.6734 | -0.4143 | 281.7067 | 7.2747 | 431.7536 | 49 | BRN05dec23_001.gcd | 2023-12-05 11:05 | QC outside air | Unknown | 0 | 2.707 | 5631676 | 0 | ----- | ----- | ----- | -----
50 | BRN05dec23_002.gcd | 2023-12-05 11:35 | QC spiked air | Unknown | 0 | 6.027 | 897539 | 1.92 | ----- | ----- | ----- | ----- | 50 | BRN05dec23_002.gcd | 2023-12-05 11:35 | QC spiked air | Unknown | 0 | 5.979 | 7485 | 1.893 | ----- | ----- | ----- | ----- | 50 | BRN05dec23_002.gcd | 2023-12-05 11:35 | QC spiked air | Unknown | 0 | 12.244 | 9506 | 2.391 | ----- | ----- | ----- | ----- | 1 |  | 50 | 1880.3419 | 2256.529 | 1981.0855 | 1791.5702 | 2204.1296 | 1812.2199 | 2075.2577 | 1858.8841 | 1880.3419 | 2256.529 | 50 | BRN05dec23_002.gcd | 2023-12-05 11:35 | QC spiked air | Unknown | 0 | 2.717 | 5240088 | 0 | ----- | ----- | ----- | -----
51 | BRN05dec23_003.gcd | 2023-12-05 12:06 | QC reference tank | Unknown | 0 | 6.045 | 2860 | -0.001 | ----- | ----- | ----- | ----- | 51 | BRN05dec23_003.gcd | 2023-12-05 12:06 | QC reference tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN05dec23_003.gcd | 2023-12-05 12:06 | QC reference tank | Unknown | 0 | 12.265 | 1532 | 0.175 | ----- | ----- | ----- | ----- | 1 |  | 51 | 3.5091 | 351.0175 | 3.5391 | 318.7155 | 3.7448 | 289.0222 | 1.7713 | 212.9045 | 3.5091 | 351.0175 | 51 | BRN05dec23_003.gcd | 2023-12-05 12:06 | QC reference tank | Unknown | 0 | 2.709 | 5455154 | 0 | ----- | ----- | ----- | -----
52 | BRN05dec23_004.gcd | 2023-12-05 12:36 | 257 | Unknown | 0 | 6.06 | 2328 | -0.002 | ----- | ----- | ----- | ----- | 52 | BRN05dec23_004.gcd | 2023-12-05 12:36 | 257 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN05dec23_004.gcd | 2023-12-05 12:36 | 257 | Unknown | 0 | 12.214 | 14240 | 3.696 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4.5537 | 3360.3531 | 2.0414 | 2662.1977 | 1.8709 | 2715.5328 | 0.92611 | 2834.5331 | 4.5537 | 3360.3531 | 52 | BRN05dec23_004.gcd | 2023-12-05 12:36 | 257 | Unknown | 0 | 2.875 | 755476 | 0 | ----- | ----- | ----- | -----
53 | BRN05dec23_005.gcd | 2023-12-05 13:07 | 386 | Unknown | 0 | 6.039 | 7640 | 0.009 | ----- | ----- | ----- | ----- | 53 | BRN05dec23_005.gcd | 2023-12-05 13:07 | 386 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN05dec23_005.gcd | 2023-12-05 13:07 | 386 | Unknown | 0 | 12.222 | 5268 | 1.216 | ----- | ----- | ----- | ----- | 1 |  | 53 | 7.835 | 1251.0144 | 17.5356 | 1009.7752 | 19.1102 | 1002.9324 | 13.0547 | 984.4874 | 7.835 | 1251.0144 | 53 | BRN05dec23_005.gcd | 2023-12-05 13:07 | 386 | Unknown | 0 | 2.868 | 914326 | 0 | ----- | ----- | ----- | -----
54 | BRN05dec23_006.gcd | 2023-12-05 13:38 | 80 | Unknown | 0 | 6.027 | 495408 | 1.056 | ----- | ----- | ----- | ----- | 54 | BRN05dec23_006.gcd | 2023-12-05 13:38 | 80 | Unknown | 0 | 5.978 | 5081 | 1.274 | ----- | ----- | ----- | ----- | 54 | BRN05dec23_006.gcd | 2023-12-05 13:38 | 80 | Unknown | 0 | 12.192 | 36182 | 9.654 | ----- | ----- | ----- | ----- | 1 |  | 54 | 1110.6265 | 8209.5906 | 1356.2275 | 6660.7983 | 1275.3166 | 6892.8538 | 1140.9811 | 7341.7102 | 1110.6265 | 8209.5906 | 54 | BRN05dec23_006.gcd | 2023-12-05 13:38 | 80 | Unknown | 0 | 2.876 | 743145 | 0 | ----- | ----- | ----- | -----
55 | BRN05dec23_007.gcd | 2023-12-05 14:08 | 340 | Unknown | 0 | 6.036 | 7313 | 0.008 | ----- | ----- | ----- | ----- | 55 | BRN05dec23_007.gcd | 2023-12-05 14:08 | 340 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN05dec23_007.gcd | 2023-12-05 14:08 | 340 | Unknown | 0 | 12.222 | 5024 | 1.148 | ----- | ----- | ----- | ----- | 1 |  | 55 | 6.7527 | 1192.6238 | 16.5471 | 964.6952 | 18.1434 | 956.3204 | 12.0713 | 934.1167 | 6.7527 | 1192.6238 | 55 | BRN05dec23_007.gcd | 2023-12-05 14:08 | 340 | Unknown | 0 | 2.866 | 903930 | 0 | ----- | ----- | ----- | -----
56 | BRN05dec23_008.gcd | 2023-12-05 14:39 | 396 | Unknown | 0 | 6.028 | 116608 | 0.243 | ----- | ----- | ----- | ----- | 56 | BRN05dec23_008.gcd | 2023-12-05 14:39 | 396 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN05dec23_008.gcd | 2023-12-05 14:39 | 396 | Unknown | 0 | 12.129 | 92435 | 24.284 | ----- | ----- | ----- | ----- | 1 |  | 56 | 322.975 | 20769.6905 | 355.6377 | 16635.9577 | 305.2071 | 17530.7848 | 270.2304 | 18784.5658 | 322.975 | 20769.6905 | 56 | BRN05dec23_008.gcd | 2023-12-05 14:39 | 396 | Unknown | 0 | 2.879 | 680777 | 0 | ----- | ----- | ----- | -----
57 | BRN05dec23_009.gcd | 2023-12-05 15:09 | 133 | Unknown | 0 | 6.078 | 2191 | -0.003 | ----- | ----- | ----- | ----- | 57 | BRN05dec23_009.gcd | 2023-12-05 15:09 | 133 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN05dec23_009.gcd | 2023-12-05 15:09 | 133 | Unknown | 0 | 12.206 | 15309 | 3.99 | ----- | ----- | ----- | ----- | 1 |  | 57 | 4.8721 | 3606.7819 | 1.6577 | 2858.4075 | 1.383 | 2919.412 | 0.72178 | 3054.6893 | 4.8721 | 3606.7819 | 57 | BRN05dec23_009.gcd | 2023-12-05 15:09 | 133 | Unknown | 0 | 2.876 | 792153 | 0 | ----- | ----- | ----- | -----
58 | BRN05dec23_010.gcd | 2023-12-05 15:40 | 413 | Unknown | 0 | 6.037 | 7615 | 0.009 | ----- | ----- | ----- | ----- | 58 | BRN05dec23_010.gcd | 2023-12-05 15:40 | 413 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN05dec23_010.gcd | 2023-12-05 15:40 | 413 | Unknown | 0 | 12.214 | 4355 | 0.962 | ----- | ----- | ----- | ----- | 1 |  | 58 | 7.7482 | 1032.2496 | 17.4598 | 841.0565 | 19.0367 | 828.5096 | 12.9785 | 795.9945 | 7.7482 | 1032.2496 | 58 | BRN05dec23_010.gcd | 2023-12-05 15:40 | 413 | Unknown | 0 | 2.872 | 829081 | 0 | ----- | ----- | ----- | -----
59 | BRN05dec23_011.gcd | 2023-12-05 16:11 | 186 | Unknown | 0 | 6.028 | 150094 | 0.314 | ----- | ----- | ----- | ----- | 59 | BRN05dec23_011.gcd | 2023-12-05 16:11 | 186 | Unknown | 0 | 5.972 | 1373 | 0.32 | ----- | ----- | ----- | ----- | 59 | BRN05dec23_011.gcd | 2023-12-05 16:11 | 186 | Unknown | 0 | 12.222 | 8540 | 2.124 | ----- | ----- | ----- | ----- | 1 |  | 59 | 410.7891 | 2028.7759 | 453.5279 | 1613.5681 | 392.3629 | 1627.8041 | 348.1363 | 1659.6568 | 410.7891 | 2028.7759 | 59 | BRN05dec23_011.gcd | 2023-12-05 16:11 | 186 | Unknown | 0 | 2.867 | 903149 | 0 | ----- | ----- | ----- | -----
60 | BRN05dec23_012.gcd | 2023-12-05 16:41 | 319 | Unknown | 0 | 6.077 | 2498 | -0.002 | ----- | ----- | ----- | ----- | 60 | BRN05dec23_012.gcd | 2023-12-05 16:41 | 319 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN05dec23_012.gcd | 2023-12-05 16:41 | 319 | Unknown | 0 | 12.211 | 16562 | 4.334 | ----- | ----- | ----- | ----- | 1 |  | 60 | 4.1866 | 3894.2998 | 2.5187 | 3088.207 | 2.4732 | 3158.3363 | 1.1873 | 3312.6653 | 4.1866 | 3894.2998 | 60 | BRN05dec23_012.gcd | 2023-12-05 16:41 | 319 | Unknown | 0 | 2.873 | 823070 | 0 | ----- | ----- | ----- | -----
61 | BRN05dec23_013.gcd | 2023-12-05 17:12 | 358 | Unknown | 0 | 6.044 | 8346 | 0.01 | ----- | ----- | ----- | ----- | 61 | BRN05dec23_013.gcd | 2023-12-05 17:12 | 358 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN05dec23_013.gcd | 2023-12-05 17:12 | 358 | Unknown | 0 | 12.237 | 6278 | 1.496 | ----- | ----- | ----- | ----- | 1 |  | 61 | 10.5654 | 1492.1356 | 19.6851 | 1196.2972 | 21.1552 | 1195.8547 | 15.2841 | 1192.9568 | 10.5654 | 1492.1356 | 61 | BRN05dec23_013.gcd | 2023-12-05 17:12 | 358 | Unknown | 0 | 2.875 | 819774 | 0 | ----- | ----- | ----- | -----
62 | BRN05dec23_014.gcd | 2023-12-05 17:42 | 251 | Unknown | 0 | 6.045 | 8027 | 0.01 | ----- | ----- | ----- | ----- | 62 | BRN05dec23_014.gcd | 2023-12-05 17:42 | 251 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN05dec23_014.gcd | 2023-12-05 17:42 | 251 | Unknown | 0 | 12.24 | 5249 | 1.211 | ----- | ----- | ----- | ----- | 1 |  | 62 | 9.265 | 1246.4695 | 18.7112 | 1006.2652 | 20.2383 | 999.3028 | 14.2588 | 980.5652 | 9.265 | 1246.4695 | 62 | BRN05dec23_014.gcd | 2023-12-05 17:42 | 251 | Unknown | 0 | 2.876 | 863370 | 0 | ----- | ----- | ----- | -----
63 | BRN05dec23_015.gcd | 2023-12-05 18:13 | 178 | Unknown | 0 | 6.055 | 3929 | 0.001 | ----- | ----- | ----- | ----- | 63 | BRN05dec23_015.gcd | 2023-12-05 18:13 | 178 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN05dec23_015.gcd | 2023-12-05 18:13 | 178 | Unknown | 0 | 12.219 | 12006 | 3.081 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.3343 | 2841.9999 | 6.585 | 2251.6945 | 7.411 | 2289.3454 | 3.7183 | 2374.2616 | 2.3343 | 2841.9999 | 63 | BRN05dec23_015.gcd | 2023-12-05 18:13 | 178 | Unknown | 0 | 2.864 | 982132 | 0 | ----- | ----- | ----- | -----
64 | BRN05dec23_016.gcd | 2023-12-05 18:44 | 233 | Unknown | 0 | 6.06 | 4073 | 0.001 | ----- | ----- | ----- | ----- | 64 | BRN05dec23_016.gcd | 2023-12-05 18:44 | 233 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN05dec23_016.gcd | 2023-12-05 18:44 | 233 | Unknown | 0 | 12.227 | 11048 | 2.817 | ----- | ----- | ----- | ----- | 1 |  | 64 | 2.2704 | 2618.3212 | 6.999 | 2075.4676 | 7.8947 | 2106.5349 | 4.006 | 2176.8067 | 2.2704 | 2618.3212 | 64 | BRN05dec23_016.gcd | 2023-12-05 18:44 | 233 | Unknown | 0 | 2.874 | 854077 | 0 | ----- | ----- | ----- | -----
65 | BRN05dec23_017.gcd | 2023-12-05 19:14 | 318 | Unknown | 0 | 6.031 | 150032 | 0.314 | ----- | ----- | ----- | ----- | 65 | BRN05dec23_017.gcd | 2023-12-05 19:14 | 318 | Unknown | 0 | 5.97 | 1378 | 0.322 | ----- | ----- | ----- | ----- | 65 | BRN05dec23_017.gcd | 2023-12-05 19:14 | 318 | Unknown | 0 | 12.226 | 7929 | 1.954 | ----- | ----- | ----- | ----- | 1 |  | 65 | 410.6297 | 1884.2814 | 453.3484 | 1500.9203 | 392.2018 | 1511.1445 | 347.9922 | 1533.6199 | 410.6297 | 1884.2814 | 65 | BRN05dec23_017.gcd | 2023-12-05 19:14 | 318 | Unknown | 0 | 2.857 | 1138789 | 0 | ----- | ----- | ----- | -----
66 | BRN05dec23_018.gcd | 2023-12-05 19:45 | 373 | Unknown | 0 | 6.06 | 4036 | 0.001 | ----- | ----- | ----- | ----- | 66 | BRN05dec23_018.gcd | 2023-12-05 19:45 | 373 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN05dec23_018.gcd | 2023-12-05 19:45 | 373 | Unknown | 0 | 12.223 | 10614 | 2.697 | ----- | ----- | ----- | ----- | 1 |  | 66 | 2.2847 | 2516.7131 | 6.8925 | 1995.5941 | 7.7707 | 2023.707 | 3.9315 | 2087.3388 | 2.2847 | 2516.7131 | 66 | BRN05dec23_018.gcd | 2023-12-05 19:45 | 373 | Unknown | 0 | 2.862 | 1048899 | 0 | ----- | ----- | ----- | -----
67 | BRN05dec23_019.gcd | 2023-12-05 20:15 | 326 | Unknown | 0 | 6.069 | 2501 | -0.002 | ----- | ----- | ----- | ----- | 67 | BRN05dec23_019.gcd | 2023-12-05 20:15 | 326 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN05dec23_019.gcd | 2023-12-05 20:15 | 326 | Unknown | 0 | 12.207 | 19899 | 5.247 | ----- | ----- | ----- | ----- | 1 |  | 67 | 4.1804 | 4653.034 | 2.5271 | 3699.2496 | 2.4838 | 3794.3923 | 1.1919 | 3999.3181 | 4.1804 | 4653.034 | 67 | BRN05dec23_019.gcd | 2023-12-05 20:15 | 326 | Unknown | 0 | 2.836 | 1449903 | 0 | ----- | ----- | ----- | -----
68 | BRN05dec23_020.gcd | 2023-12-05 20:46 | 414 | Unknown | 0 | 6.067 | 3165 | -0.001 | ----- | ----- | ----- | ----- | 68 | BRN05dec23_020.gcd | 2023-12-05 20:46 | 414 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN05dec23_020.gcd | 2023-12-05 20:46 | 414 | Unknown | 0 | 12.224 | 13184 | 3.406 | ----- | ----- | ----- | ----- | 1 |  | 68 | 3.0481 | 3115.8977 | 4.4032 | 2468.2331 | 4.8043 | 2514.0965 | 2.293 | 2616.997 | 3.0481 | 3115.8977 | 68 | BRN05dec23_020.gcd | 2023-12-05 20:46 | 414 | Unknown | 0 | 2.868 | 921028 | 0 | ----- | ----- | ----- | -----
69 | BRN05dec23_021.gcd | 2023-12-05 21:17 | 59 | Unknown | 0 | 6.066 | 3984 | 0.001 | ----- | ----- | ----- | ----- | 69 | BRN05dec23_021.gcd | 2023-12-05 21:17 | 59 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN05dec23_021.gcd | 2023-12-05 21:17 | 59 | Unknown | 0 | 12.227 | 11796 | 3.023 | ----- | ----- | ----- | ----- | 1 |  | 69 | 2.3073 | 2793.0397 | 6.743 | 2213.0742 | 7.596 | 2249.2747 | 3.8275 | 2330.9822 | 2.3073 | 2793.0397 | 69 | BRN05dec23_021.gcd | 2023-12-05 21:17 | 59 | Unknown | 0 | 2.874 | 882119 | 0 | ----- | ----- | ----- | -----
70 | BRN05dec23_022.gcd | 2023-12-05 21:47 | 74 | Unknown | 0 | 6.069 | 3507 | 0 | ----- | ----- | ----- | ----- | 70 | BRN05dec23_022.gcd | 2023-12-05 21:47 | 74 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN05dec23_022.gcd | 2023-12-05 21:47 | 74 | Unknown | 0 | 12.206 | 17310 | 4.539 | ----- | ----- | ----- | ----- | 1 |  | 70 | 2.6506 | 4065.256 | 5.3768 | 3225.2958 | 5.9795 | 3300.9419 | 2.91 | 3466.6303 | 2.6506 | 4065.256 | 70 | BRN05dec23_022.gcd | 2023-12-05 21:47 | 74 | Unknown | 0 | 2.857 | 993034 | 0 | ----- | ----- | ----- | -----
71 | BRN05dec23_023.gcd | 2023-12-05 22:18 | 321 | Unknown | 0 | 6.091 | 8853 | 0.012 | ----- | ----- | ----- | ----- | 71 | BRN05dec23_023.gcd | 2023-12-05 22:18 | 321 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN05dec23_023.gcd | 2023-12-05 22:18 | 321 | Unknown | 0 | 12.28 | 8125 | 2.009 | ----- | ----- | ----- | ----- | 1 |  | 71 | 12.8583 | 1930.6703 | 21.2418 | 1537.0612 | 22.5882 | 1548.5686 | 16.9743 | 1574.0528 | 12.8583 | 1930.6703 | 71 | BRN05dec23_023.gcd | 2023-12-05 22:18 | 321 | Unknown | 0 | 2.919 | 1004832 | 0 | ----- | ----- | ----- | -----
72 | BRN05dec23_024.gcd | 2023-12-05 22:49 | 356 | Unknown | 0 | 6.063 | 3999 | 0.001 | ----- | ----- | ----- | ----- | 72 | BRN05dec23_024.gcd | 2023-12-05 22:49 | 356 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN05dec23_024.gcd | 2023-12-05 22:49 | 356 | Unknown | 0 | 12.221 | 11497 | 2.941 | ----- | ----- | ----- | ----- | 1 |  | 72 | 2.3004 | 2723.2602 | 6.7861 | 2158.0768 | 7.6464 | 2192.2191 | 3.8574 | 2269.3566 | 2.3004 | 2723.2602 | 72 | BRN05dec23_024.gcd | 2023-12-05 22:49 | 356 | Unknown | 0 | 2.869 | 913984 | 0 | ----- | ----- | ----- | -----
73 | BRN05dec23_025.gcd | 2023-12-05 23:19 | 304 | Unknown | 0 | 6.039 | 13593 | 0.022 | ----- | ----- | ----- | ----- | 73 | BRN05dec23_025.gcd | 2023-12-05 23:19 | 304 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN05dec23_025.gcd | 2023-12-05 23:19 | 304 | Unknown | 0 | 12.234 | 8634 | 2.15 | ----- | ----- | ----- | ----- | 1 |  | 73 | 30.6521 | 2050.9756 | 36.3244 | 1630.8944 | 35.3841 | 1645.7507 | 29.4315 | 1679.0454 | 30.6521 | 2050.9756 | 73 | BRN05dec23_025.gcd | 2023-12-05 23:19 | 304 | Unknown | 0 | 2.873 | 891186 | 0 | ----- | ----- | ----- | -----
74 | BRN05dec23_026.gcd | 2023-12-05 23:50 | 69 | Unknown | 0 | 6.03 | 476736 | 1.016 | ----- | ----- | ----- | ----- | 74 | BRN05dec23_026.gcd | 2023-12-05 23:50 | 69 | Unknown | 0 | 5.987 | 4219 | 1.053 | ----- | ----- | ----- | ----- | 74 | BRN05dec23_026.gcd | 2023-12-05 23:50 | 69 | Unknown | 0 | 12.19 | 41413 | 11.052 | ----- | ----- | ----- | ----- | 1 |  | 74 | 1074.7405 | 9300.8238 | 1312.3943 | 7605.1474 | 1228.3104 | 7886.4211 | 1098.6012 | 8412.5994 | 1074.7405 | 9300.8238 | 74 | BRN05dec23_026.gcd | 2023-12-05 23:50 | 69 | Unknown | 0 | 2.877 | 796287 | 0 | ----- | ----- | ----- | -----
75 | BRN05dec23_027.gcd | 2023-12-06 00:20 | 68 | Unknown | 0 | 6.041 | 13324 | 0.021 | ----- | ----- | ----- | ----- | 75 | BRN05dec23_027.gcd | 2023-12-06 00:20 | 68 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN05dec23_027.gcd | 2023-12-06 00:20 | 68 | Unknown | 0 | 12.226 | 8998 | 2.25 | ----- | ----- | ----- | ----- | 1 |  | 75 | 29.845 | 2136.8643 | 35.4429 | 1697.9771 | 34.6762 | 1715.2431 | 28.8005 | 1754.1204 | 29.845 | 2136.8643 | 75 | BRN05dec23_027.gcd | 2023-12-06 00:20 | 68 | Unknown | 0 | 2.865 | 1059617 | 0 | ----- | ----- | ----- | -----
76 | BRN05dec23_028.gcd | 2023-12-06 00:51 | 111 | Unknown | 0 | 6.044 | 8278 | 0.01 | ----- | ----- | ----- | ----- | 76 | BRN05dec23_028.gcd | 2023-12-06 00:51 | 111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN05dec23_028.gcd | 2023-12-06 00:51 | 111 | Unknown | 0 | 12.225 | 5708 | 1.338 | ----- | ----- | ----- | ----- | 1 |  | 76 | 10.279 | 1356.1717 | 19.4772 | 1091.0481 | 20.9608 | 1086.9818 | 15.063 | 1075.3121 | 10.279 | 1356.1717 | 76 | BRN05dec23_028.gcd | 2023-12-06 00:51 | 111 | Unknown | 0 | 2.87 | 932660 | 0 | ----- | ----- | ----- | -----
77 | BRN05dec23_029.gcd | 2023-12-06 01:22 | 393 | Unknown | 0 | 6.032 | 8952 | 0.012 | ----- | ----- | ----- | ----- | 77 | BRN05dec23_029.gcd | 2023-12-06 01:22 | 393 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN05dec23_029.gcd | 2023-12-06 01:22 | 393 | Unknown | 0 | 12.227 | 6100 | 1.447 | ----- | ----- | ----- | ----- | 1 |  | 77 | 13.3384 | 1449.7085 | 21.5471 | 1163.4343 | 22.8645 | 1161.857 | 17.3131 | 1156.2204 | 13.3384 | 1449.7085 | 77 | BRN05dec23_029.gcd | 2023-12-06 01:22 | 393 | Unknown | 0 | 2.861 | 925881 | 0 | ----- | ----- | ----- | -----
78 | BRN05dec23_030.gcd | 2023-12-06 01:52 | 228 | Unknown | 0 | 6.032 | 131384 | 0.274 | ----- | ----- | ----- | ----- | 78 | BRN05dec23_030.gcd | 2023-12-06 01:52 | 228 | Unknown | 0 | 5.965 | 974 | 0.218 | ----- | ----- | ----- | ----- | 78 | BRN05dec23_030.gcd | 2023-12-06 01:52 | 228 | Unknown | 0 | 12.136 | 91998 | 24.174 | ----- | ----- | ----- | ----- | 1 |  | 78 | 362.1597 | 20664.7421 | 399.0583 | 16559.997 | 343.6988 | 17448.5409 | 304.6294 | 18696.2947 | 362.1597 | 20664.7421 | 78 | BRN05dec23_030.gcd | 2023-12-06 01:52 | 228 | Unknown | 0 | 2.852 | 1259701 | 0 | ----- | ----- | ----- | -----
79 | BRN05dec23_031.gcd | 2023-12-06 02:23 | 90 | Unknown | 0 | 6.072 | 2638 | -0.002 | ----- | ----- | ----- | ----- | 79 | BRN05dec23_031.gcd | 2023-12-06 02:23 | 90 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN05dec23_031.gcd | 2023-12-06 02:23 | 90 | Unknown | 0 | 12.22 | 18379 | 4.832 | ----- | ----- | ----- | ----- | 1 |  | 79 | 3.9078 | 4308.6911 | 2.9127 | 3421.0937 | 2.9668 | 3504.7144 | 1.4086 | 3686.619 | 3.9078 | 4308.6911 | 79 | BRN05dec23_031.gcd | 2023-12-06 02:23 | 90 | Unknown | 0 | 2.871 | 906184 | 0 | ----- | ----- | ----- | -----
80 | BRN05dec23_032.gcd | 2023-12-06 02:53 | 381 | Unknown | 0 | 6.059 | 2916 | -0.001 | ----- | ----- | ----- | ----- | 80 | BRN05dec23_032.gcd | 2023-12-06 02:53 | 381 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN05dec23_032.gcd | 2023-12-06 02:53 | 381 | Unknown | 0 | 12.199 | 17187 | 4.505 | ----- | ----- | ----- | ----- | 1 |  | 80 | 3.4169 | 4037.1793 | 3.6975 | 3202.758 | 3.9401 | 3277.4933 | 1.8651 | 3441.3145 | 3.4169 | 4037.1793 | 80 | BRN05dec23_032.gcd | 2023-12-06 02:53 | 381 | Unknown | 0 | 2.858 | 970335 | 0 | ----- | ----- | ----- | -----
81 | BRN05dec23_033.gcd | 2023-12-06 03:24 | 113 | Unknown | 0 | 6.065 | 3892 | 0.001 | ----- | ----- | ----- | ----- | 81 | BRN05dec23_033.gcd | 2023-12-06 03:24 | 113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN05dec23_033.gcd | 2023-12-06 03:24 | 113 | Unknown | 0 | 12.219 | 13918 | 3.608 | ----- | ----- | ----- | ----- | 1 |  | 81 | 2.3544 | 3285.9205 | 6.4787 | 2603.068 | 7.2863 | 2654.1139 | 3.6454 | 2768.2071 | 2.3544 | 3285.9205 | 81 | BRN05dec23_033.gcd | 2023-12-06 03:24 | 113 | Unknown | 0 | 2.871 | 910739 | 0 | ----- | ----- | ----- | -----